Water Storage Inspection

Type:

(     )
Elevated

(     )
Standpipe



(     )
Ground Storage
(     ) 
Clearwell
Size:





Location:




Date Constructed:









Type Tank:
(     )
Welded Metal
(     )
Steel-lined Glass



(     )
Concrete

Site:
1. Does site slope away from bank?



(     )
Yes
(     )
No

2. Is ground soft or soggy?




(     )
Yes
(     )
No

Foundations:
1. Is the concrete foundation cracked?



(     )
Yes
(     )
No

2. Is the concrete foundation level?



(     )
Yes
(     )
No

3. Is there a gap between riser base and the concrete?
(     )
Yes
(     )
No

4. Condition of anchor bolts?




(     )
Yes
(     )
No

Columns (Elevated Tanks Only)

1. Is there condensation on columns?



(     )
Yes
(     )
No

2. Are they straight?





(     )
Yes
(     )
No
3. Is there any slack in the diagonal X-rods?


(     )
Yes
(     )
No

4. Condition of bolted connection on riser rods?

(     )
Yes
(     )
No

Tank or Shell
1. Any disfiguration in tank bottom, shell, roof or irregularities in the contour of the steel?







(     )
Yes
(     )
No

2. Are any weld seams concave?



(     )
Yes
(     )
No


a.
Are there any rust streaks originating from the weld seams?











(     )
Yes
(     )
No


b.
Any evidence of water leaking from tank?

(     )
Yes
(     )
No

3.
Is there any metal loss by pitting?



(     )
Yes
(     )
No

4.
Condition of finish coat?


(     )
Good
(     )
Fair
(     )
Poor
5.
Condition of intermediate coat?

(     )
Good
(     )
Fair
(     )
Poor
6.
Condition of primer coat?


(     ) 
Good
(     )
Fair
(     )
Poor
7.
Amount of surface area showing rust?







8.
Any water ponding on roof?




(     )
Yes
(     )
No
Accessories
1.
Is there a safety climbing device or cage on the ladder?
(     )
Yes
(     )
No
2.
Is there a target on tank?




(     )
Yes
(     )
No


a.
Is it working properly?




(     )
Yes
(     )
No

3.
Does the utility have a climbing harness?


(     )
Yes
(     )
No

4.
How often does the utility climb tank?
(     )
Day
(     )
Week  (     )
Month


Other












5.
What is the condition of the overflow?
(     )
Good
(     )
Fair
(     )
Poor


a.
Does overflow have a screen or flapper?



(     )
Screen
(     )
Flapper
(     )
Neither


b.
Any evidence of cross connections?


(     )
Yes
(     )
No


c.
Rip-rap to prevent erosion at end of overflow?

(     )
Yes
(     )
No

Comments:













Site Facility Inspection
Treatment Plant Location:










Deficiency:

(    )
1.
Does the treatment plan meter raw water?




Source of Water:










(     )
2.
Does the treatment plant meter finished water?

3.
Chemical Feed Equipment:








(     )
4.
Does the treatment plant meter water used to backflush filters?

Condition of the following:
1.
Vents and overflows:










2.
Valves and gauges:











3.
Weirs and sweeps:










4.
Building – Structures:










5.
Paint:












Building Inspection
Building Type:
(     )
Concrete
(     )
Metal

(     )
Frame Construction

Building Purpose:











Location:













Exterior:

1.
Structure condition:



(     )
Good
(     )
Fair
(     )
Poor

2.
Roof Type:




(     )
Flat
(     )
Sloped



Roof Material:











a.
Does roof show any signs of leakage?


(     )
Yes
(     )
No


b.
Is the roof guttered?





(     )
Yes
(     )
No

3.
Does structure contain any windows?


(     )
Yes
(     )
No


a.
Are any windows broken?




(     )
Yes
(     )
No


b.
Are windows secured with locks or bars?

(     )
Yes
(     )
No

4.
Door type:






(     )
Wood
(     )
Metal

a.
Does door have adequate security:


(     )
Yes
(     )
No


b.
Are doors in good shape?




(     )
Yes
(     )
No

c.
Would door prevent general public from entry?

(     )
Yes
(     )
No

5.
Does structure need painting:


(     )
Yes
(     )
No
(     )
N/A

6.
Does structure meet general safety codes?


(     )
Yes
(     )
No

7.
Does structure have all wiring in conduit?


(     )
Yes
(     )
No

8.
Does structure have a fence?




(     )
Yes
(     )
No

9.
Is access road to structure adequate?


(     )
Yes
(     )
No

10.
Does structure have a sign identifying ownership and who to contact in case of an emergency?






(     )
Yes
(     )
No

Pump Station Inspection
Type:

(     )
Centrifugal Pump

(     )
Axial Flow Pump




(     )
Vertical Turbine Pump
(     )
Immersible Pump

Location:













Number of pumps in station:









Size motor:




 Rating of pump:






Year pump station was constructed:








1.
Any visible signs of wear and tear or problem?

(     )
Yes
(     )
No


If yes, explain:












2.
Are there any coupling alignment problems?

(     )
Yes
(     )
No


If yes, explain:












a.
Does coupling require grease?



(     )
Yes
(     )
No

3.
Have bearings been greased?




(     )
Yes
(     )
No

4.
Is there sufficient packing?




(     )
Yes
(     )
No

5.
Are there any violations?




(     )
Yes
(     )
No


a.
Are all hold-down bolts on pumps and motors tightened properly?











(     )
Yes
(     )
No

6.
Is there an excessive noise from the pump?


(     )
Yes
(     )
No

7.
Is there any repainting needed?



(     )
Yes
(     )
No

8.
Are there any visible signs of corrosion?


(     )
Yes
(     )
No


If yes, where:












9.
Will one pump meet the demand from customers for water service?











(     )
Yes
(     )
No

10.
Do both pumps need to be operated together?

(     )
Yes
(     )
No
11.
Is there a written inspection record of the pump station?
(     )
Yes
(     )
No


If yes, how often:










Inspection Date


Hydrant Record
Location:





Number:





Type:






Make:






Number Outlets:

2 1/2”


4 1/2”
In Service:




Size of Main:





Size of Riser:






Static Pressure:




Flow Pressure:





Connected to Grid System?


Discharge:









(Gallons per Minimum)
Provided with Street Gate Valve?


Give Location:














































Remarks:













Annual Inspection Report

	Date
	Flushed
	Lubricated
	Painted
	Repaired
	Pentagon
	Cap & Chain
	Checked By
	Remarks

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	

	
	
	
	
	
	
	
	
	


Inspected By:



 Follow-up Inspected By:





Valve Record
Location:




        Number:






Valve Location:











Book No:


 Map No:


 Pole No:





Size:

 Make:
 Type:


 Gearing:

 Bypass:


Opens:
 Turns to Operate:

 Set In:

 Depth of Nut:


Remarks:



















(sketch on back if necessary)

Maintenance & Inspection Report

	Date
	Work Completed
	OK By
	Date
	Work Completed
	OK By

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	

	
	
	
	
	
	


	
                                                                                                                                N

Location








WStorInspect.doc

072606


