## Test Year Analysis
Kentucky Power
Test Year Fuel Rate Workpaper
Case No. 2017-00179
Test Year March 2016 - February 2017
Fuel Rate Comparison Table 2
Month & Year | As Filed Base Fuel Rate in $ Per kWh | As Filed Monthly Fuel Rate in $ per kWh | As Filed $ per kWh (Below) or Above Existing Base Fuel Rate (C3) - (C2) | Monthly Fuel Rate Incl BLIs in $ per kWh | $ per kWh (Below) or Above As Filed Base Fuel Rate (C5) - (C2) | Month & Year | As Filed Monthly Fuel Rate in Cents per kWh | BLI Supplemented As Filed Monthly Fuel Rate Cents per kWh | BLI Supplemented Monthly Fuel Rate Above or (Below) As Filed Fuel Cents per kWh Rate (C3) - (C2)
1 | 2 | 3 | 4 | 5 | 6 | 1 | 2 | 3 | 4
March 2016 | 0.027247 | 0.02707 | -0.00017731 | 0.02747 | 0.00022269 | March 2016 | 2.707 | 2.747 | 0.04
April 2016 | 0.027247 | 0.02519 | -0.0020573 | 0.02498 | -0.0022673 | April 2016 | 2.519 | 2.498 | -0.021
May 2016 | 0.027247 | 0.02406 | -0.0031873 | 0.02402 | -0.0032273 | May 2016 | 2.406 | 2.402 | -0.004
June 2016 | 0.027247 | 0.02823 | 0.00098269 | 0.02845 | 0.0012027 | June 2016 | 2.823 | 2.845 | 0.022
July 2016 | 0.027247 | 0.0298 | 0.0025527 | 0.03009 | 0.0028427 | July 2016 | 2.98 | 3.009 | 0.029
August 2016 | 0.027247 | 0.03076 | 0.0035127 | 0.03063 | 0.0033827 | August 2016 | 3.076 | 3.063 | -0.013
September 2016 | 0.027247 | 0.03095 | 0.0037027 | 0.03107 | 0.0038227 | September 2016 | 3.095 | 3.107 | 0.012
October 2016 | 0.027247 | 0.0307 | 0.0034527 | 0.03105 | 0.0038027 | October 2016 | 3.07 | 3.105 | 0.035
November 2016 | 0.027247 | 0.02961 | 0.0023627 | 0.02978 | 0.0025327 | November 2016 | 2.961 | 2.978 | 0.017
December 2016 | 0.027247 | 0.02828 | 0.0010327 | 0.02843 | 0.0011827 | December 2016 | 2.828 | 2.843 | 0.015
January 2017 | 0.027247 | 0.02818 | 0.00093269 | 0.02802 | 0.00077269 | January 2017 | 2.818 | 2.802 | -0.016
February 2017 | 0.027247 | 0.02769 | 0.00044269 | 0.02738 | 0.00013269 | February 2017 | 2.769 | 2.738 | -0.031
[6 empty] | Test Year Avg |  |  | 0.0070833
| 2.7247 | 2.707 | -0.017731 | 2.747 | 0.022269
| 2.7247 | 2.519 | -0.20573 | 2.498 | -0.22673
| 2.7247 | 2.406 | -0.31873 | 2.402 | -0.32273
| 2.7247 | 2.823 | 0.098269 | 2.845 | 0.12027
| 2.7247 | 2.98 | 0.25527 | 3.009 | 0.28427
| 2.7247 | 3.076 | 0.35127 | 3.063 | 0.33827
| 2.7247 | 3.095 | 0.37027 | 3.107 | 0.38227
| 2.7247 | 3.07 | 0.34527 | 3.105 | 0.38027
| 2.7247 | 2.961 | 0.23627 | 2.978 | 0.25327
| 2.7247 | 2.828 | 0.10327 | 2.843 | 0.11827
| 2.7247 | 2.818 | 0.093269 | 2.802 | 0.077269
| 2.7247 | 2.769 | 0.044269 | 2.738 | 0.013269

## Fac-Page 1
FAC Page 1 of 5 | What Was Filed In 2016 | [11 empty] | What was filed in 2017
| ` |  | TEST YEAR
| January | February | March | April | May | June | July | August | September | October | November | December | January | February
Fuel Cost Schedule | 17202770.3639 | 14448357.8176 | 13089233.1584 | 11047814.8006 | 10622574.1925 | 13366847.8599 | 15164337.3708 | 16631325.5723 | 14140732.6606 | 12751556.6882 | 13793355.1985 | 16154152 | 15471284 | 12771984
Sales Schedule (Sm) | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000 | 548930000 | 461262000
Rate | 0.02584 | 0.02558 | 0.02707 | 0.02519 | 0.02406 | 0.02823 | 0.0298 | 0.03076 | 0.03095 | 0.0307 | 0.02961 | 0.02828 | 0.02818 | 0.02769
Base Fuel | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307
Base Sales | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000
Base FAC Rate | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247
Billed FAC Rate | -0.00141 | -0.00167 | -0.00018 | -0.00206 | -0.00319 | 0.00098 | 0.00255 | 0.00351 | 0.0037 | 0.00345 | 0.00236 | 0.00103 | 0.00093 | 0.00044
| Billed in March | Billed in April | Billed in May | Billed in June | Billed in July | Billed in August | Billed in September | Billed in October | Billed in November | Billed in December | Billed in January | Billed in February | Billed in | Billed in
| -925403.4239 | -929799.382 | -85832.2616 | -891296.871 | -1389317.9776 | 457377.9854 | 1278118.7877 | 1869476.9898 | 1666707.5611 | 1414020.5121 | 1084293.9477 | 579994.2545 | 503185.8828 | 200123.8668
Recalculated Including PJM Billing Line Items
| January | February | March | April | May | June | July | August | September | October | November | December | January | February
Fuel Cost Schedule | 16894757.99 | 14241192.61 | 13281060.9 | 10954900.23 | 10603772.35 | 13468876.11 | 15312314.46 | 16559265.63 | 14199033.09 | 12894718.83 | 13871809.5 | 16238570.66 | 15378994.88 | 12627372.82
Sales Schedule | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000 | 548930000 | 461262000
Rate | 0.02538 | 0.02522 | 0.02747 | 0.02498 | 0.02402 | 0.02845 | 0.03009 | 0.03063 | 0.03107 | 0.03105 | 0.02978 | 0.02843 | 0.02802 | 0.02738
Base Fuel | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307
Base Sales | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000
Base FAC Rate | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247
Billed FAC Rate | -0.00187 | -0.00203 | 0.00022 | -0.00227 | -0.00323 | 0.0012 | 0.00284 | 0.00338 | 0.00382 | 0.0038 | 0.00253 | 0.00118 | 0.00077 | 0.00013
Fuel Cost Schedule | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Sales Schedule | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000 | 548930000 | 461262000
Rate | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Base Fuel | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307 | 12504307
Base Sales | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000 | 458919000
Base FAC Rate | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247 | 0.027247
Billed FAC Rate | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725 | -0.02725

## Fac-Page 2
| FAC Page 2 of 5 | What Was Filed In 2016
|  | January | February | March | April | May | June | July | August | September | October | November | December | January | February
A | Company Generation | 8820866 | 9832712 | 8428101 | 5587445 | 4806184 | 11843717 | 13194809 | 12251157 | 7830234 | 4358443 | 13797634 | 11436907 | 6793505 | 5654760
B | Purchases | 7538545 | 4059086 | 5387336 | 7201921 | 7247688 | 5611933 | 6567510 | 8793557 | 7270844 | 9762189 | 5758728 | 7852262 | 10104479 | 7849621
C | Inter-System Sales Fuel Costs | 502402 | 755054 | 969052 | 703891 | 1123896 | 4499777 | 5975920 | 5714686 | 1248892 | 1852540 | 6414581 | 3580827 | 1626412 | 651807
D | Estimated Total Fuel Costs (A+B-C-C1) | 15857009 | 13136744 | 12846385 | 12085475 | 10929976 | 12955873 | 13786399 | 15330028 | 13852186 | 12268092 | 13141781 | 15708342 | 15271572 | 12852574
E | Actual Total Fuel Cost | 16373912 | 13298935 | 11687664 | 11547381 | 10790095 | 13458305 | 14432453 | 15241777 | 13724872 | 12267527 | 13164721 | 15563212 | 14833214 | 12610474
E2 | Previous Month Est/Act Total Fuel Cost Difference | 101877 | 516903 | 162191 | -1158721 | -538094 | -139881 | 502432 | 646054 | -88251 | -127314 | -565 | 22940 | -145130 | -438358
F | Over/(Under) Recovery | -287904.3639 | -105653.8176 | 188688.8416 | 188882.1995 | 12600.8075 | -16462.8599 | -118183.3708 | 33772.4277 | -13651.6606 | -360489.6882 | -168485.1985 | 416766.138 | 282132.1513 | -62687.654
G | Grand Total Fuel Costs (D+E2-F) | 16246790.3639 | 13759300.8176 | 12819887.1584 | 10737871.8006 | 10379281.1925 | 12832454.8599 | 14407014.3708 | 15942309.5723 | 13777586.6606 | 12501267.6882 | 13309701.1985 | 15314515.862 | 14844309.8487 | 12476903.654
H | Marginal Line Loss | 955980 | 689057 | 269346 | 309943 | 243293 | 541017 | 757323 | 689016 | 363146 | 250289 | 483654 | 872311 | 626974 | 295081
H1 | Purchaseses Excess of PUE | 0 | 0 | 0 | 0 | 0 | 6624 | 0 | 0 | 0 | 0 | 0 | 32674 | 0 | 0
I | Adjusted Grand Total Fuel Costs (G+H-H1) | 17202770.3639 | 14448357.8176 | 13089233.1584 | 11047814.8006 | 10622574.1925 | 13366847.8599 | 15164337.3708 | 16631325.5723 | 14140732.6606 | 12751556.6882 | 13793355.1985 | 16154152.862 | 15471283.8487 | 12771984.654
Recalculated Including PJM Billing Line Items
|  | January | February | March | April | May | June | July | August | September | October | November | December | January | February
A | Company Generation | 8820866 | 9832712 | 8428101 | 5587445 | 4806184 | 11843717 | 13194809 | 12251157 | 7830234 | 4358443 | 13797634 | 11436907 | 6793505 | 5654760
B | Purchases | 7538545 | 4059086 | 5387336 | 7201921 | 7247688 | 5611933 | 6567510 | 8793557 | 7270844 | 9762189 | 5758728 | 7852262 | 10104479 | 7849621
C | Inter-System Sales Fuel Costs | 502402 | 755054 | 969052 | 703891 | 1123896 | 4499777 | 5975920 | 5714686 | 1248892 | 1852540 | 6414581 | 3580827 | 1626412 | 651807
D | Estimated Total Fuel Costs (A+B-C-C1) | 15857009 | 13136744 | 12846385 | 12085475 | 10929976 | 12955873 | 13786399 | 15330028 | 13852186 | 12268092 | 13141781 | 15708342 | 15271572 | 12852574
E | Actual Total Fuel Cost | 16373912 | 13298935 | 11687664 | 11547381 | 10790095 | 13458305 | 14432453 | 15241777 | 13724872 | 12267527 | 13164721 | 15563212 | 14833214 | 12610474
E2 | Previous Month Est/Act Total Fuel Cost Difference ** | 101877 | 516903 | 162191 | -1158721 | -538094 | -139881 | 502432 | 646054 | -88251 | -127314 | -565 | 22940 | -145130 | -438358
F | Over/(Under) Recovery | -227689 | -63904 | 250247 | 229599 | -15402 | -18141 | -119666 | 41354 | -15204 | -347138 | -173949 | 459047 | 302455 | -71816
G | Grand Total Fuel Costs (D+E2-F) | 16186575 | 13717551 | 12758329 | 10697155 | 10407284 | 12834133 | 14408497 | 15934728 | 13779139 | 12487916 | 13315165 | 15272235 | 14823987 | 12486032
H | Marginal Line Loss Plus BLIs | 708182.99 | 523641.61 | 522731.9 | 257745.23 | 196488.35 | 641367.11 | 903817.46 | 624537.63 | 419894.09 | 406802.83 | 556644.5 | 999009.66 | 555007.88 | 141340.82
H1 | Purchaseses Excess of PUE | 0 | 0 | 0 | 0 | 0 | 6624 | 0 | 0 | 0 | 0 | 0 | 32674 | 0 | 0
I | Adjusted Grand Total Fuel Costs (G+H-H1) | 16894757.99 | 14241192.61 | 13281060.9 | 10954900.23 | 10603772.35 | 13468876.11 | 15312314.46 | 16559265.63 | 14199033.09 | 12894718.83 | 13871809.5 | 16238570.66 | 15378994.88 | 12627372.82
|  | #VALUE! | 516905 | 162190 | -1158720 | -538095 | -139881 | 502532 | 646053 | -88250 | -127314 | -566 | 22939 | -145129 | -438359
Reconciliation of previous month actual (from page 5) not changing with the addition of BLI amounts.
Note on C11: Manually entered December 2015 estimate to actual change.
Note on C33: Manually entered December 2015 estimate to actual change.

## Fac-Page 4
| FAC Page 4 of 5 | What was Filed in 2016
|  | January | February | March | April | May | June | July | August | September | October | November | December | January | February
1 | FAC Rate Billed | -0.00306 | -0.00124 | -0.00141 | -0.00167 | -0.00018 | -0.00206 | -0.00319 | 0.00098 | 0.00255 | 0.00351 | 0.0037 | 0.00345 | 0.00236 | 0.00103
2 | Retail KWH Billed at Above Rate | 567845023 | 588442120 | 524342891 | 445188132 | 407783644 | 440546445 | 472014095 | 500664142 | 495945424 | 431269026 | 405548859 | 528950295 | 577279581 | 503088824
3 | FAC Revenue/(Refund) (L1 * L2) | -1737606 | -729668 | -739323 | -743464 | -73401 | -907526 | -1505725 | 490651 | 1264661 | 1513754 | 1500531 | 1824879 | 1362380 | 518181
4 | KWH Used to Determine Last FAC Rate Billed | 481798000 | 511879000 | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000
5 | Non-Jurisdictional KWH Included in L4 | 6700799 | 7432620 | 9473815 | 8014903 | 6687102 | 5914616 | 5950123 | 6725770 | 7650946 | 7994473 | 6481497 | 5491982 | 6382412 | 8098782
6 | Kentucky Jurisdictional KWH Included in L4 (L4 - L5) | 475097201 | 504446380 | 656314185 | 556766097 | 476845898 | 432668384 | 435522877 | 466712230 | 501223054 | 532614527 | 450461503 | 409861018 | 459446588 | 563101218
7 | Recoverable FAC Revenue/(Refund) (L1 * L6) | -1453797.4351 | -625513.5112 | -925403.0008 | -929799.382 | -85832.2616 | -891296.871 | -1389317.9776 | 457377.9854 | 1278118.7877 | 1869476.9898 | 1666707.5611 | 1414020.5121 | 1084293.9477 | 579994.2545
8 | Over or (Under) Recovery (L3 - L7) | -283809 | -104154 | 186080 | 186335 | 12431 | -16229 | -116407 | 33273 | -13458 | -355723 | -166177 | 410858 | 278086 | -61813
9 | Total Sales (Page 3) | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000 | 548930000 | 461262000
10 | Kentucky Jurisdictional Sales | 656314485 | 556766097 | 476845898 | 432668384 | 435522877 | 466712230 | 501223054 | 532614527 | 450461503 | 409861018 | 459446588 | 563101218 | 541060089 | 454826970
11 | Ratio of Total Sales to KY. Jurisdictional Sales (L9 / L10) | 1.0144 | 1.0144 | 1.014 | 1.0137 | 1.0137 | 1.0144 | 1.0153 | 1.015 | 1.0144 | 1.0134 | 1.0139 | 1.0144 | 1.0146 | 1.0142
12 | Total Company Over or (Under) Recovery (L8 * L11) | -287904.3639 | -105653.8176 | 188688.8416 | 188882.1995 | 12600.8075 | -16462.8599 | -118183.3708 | 33772.4277 | -13651.6606 | -360489.6882 | -168485.1985 | 416766.138 | 282132.1513 | -62687.654
Recalculated Including PJM Billing Line Items
|  | What was Filed in 2016 | [11 empty] | What was Filed in 2017
|  | January | February | March | April | May | June | July | August | September | October | November | December | January | February
1 | FAC Rate Billed | -0.00242 | -0.00075 | -0.00187 | -0.00203 | 0.00022 | -0.00227 | -0.00323 | 0.0012 | 0.00284 | 0.00338 | 0.00382 | 0.0038 | 0.00253 | 0.00118
2 | Retail KWH Billed at Above Rate | 567845023 | 588442120 | 524342891 | 445188132 | 407783644 | 440546445 | 472014095 | 500664142 | 495945424 | 431269026 | 405548859 | 528950295 | 577279581 | 503088824
3 | FAC Revenue/(Refund) (L1 * L2) | -1374185 | -441332 | -980521 | -903732 | 89712 | -1000040 | -1524606 | 600797 | 1408485 | 1457689 | 1549197 | 2010011 | 1460517 | 593645
4 | KWH Used to Determine Last FAC Rate Billed | 481798000 | 511879000 | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000
5 | Non-Jurisdictional KWH Included in L4 | 6700799 | 7432620 | 9473815 | 8014903 | 6687102 | 5914616 | 5950123 | 6725770 | 7650946 | 7994473 | 6481497 | 5491982 | 6382412 | 8098782
6 | Kentucky Jurisdictional KWH Included in L4 (L4 - L5) | 475097201 | 504446380 | 656314185 | 556766097 | 476845898 | 432668384 | 435522877 | 466712230 | 501223054 | 532614527 | 450461503 | 409861018 | 459446588 | 563101218
7 | Recoverable FAC Revenue/(Refund) (L1 * L6) | -1149735.2264 | -378334.785 | -1227307.5259 | -1130235.1769 | 104906.0976 | -982157.2317 | -1406738.8927 | 560054.676 | 1423473.4734 | 1800237.1013 | 1720762.9415 | 1557471.8684 | 1162399.8676 | 664459.4372
8 | Over or (Under) Recovery (L3 - L7) | -224450 | -62997 | 246787 | 226503 | -15194 | -17883 | -117867 | 40742 | -14988 | -342548 | -171566 | 452539 | 298117 | -70814
9 | Total Sales (Page 3) | 665788000 | 564781000 | 483533000 | 438583000 | 441473000 | 473438000 | 508874000 | 540609000 | 456943000 | 415353000 | 465829000 | 571200000 | 548930000 | 461262000
10 | Kentucky Jurisdictional Sales | 656314485 | 556766097 | 476845898 | 432668384 | 435522877 | 466712230 | 501223054 | 532614527 | 450461503 | 409861018 | 459446588 | 563101218 | 541060089 | 454826970
11 | Ratio of Total Sales to KY. Jurisdictional Sales (L9 / L10) | 1.0144 | 1.0144 | 1.014 | 1.0137 | 1.0137 | 1.0144 | 1.0153 | 1.015 | 1.0144 | 1.0134 | 1.0139 | 1.0144 | 1.0146 | 1.0142
12 | Total Company Over or (Under) Recovery (L8 * L11) | -227689 | -63904 | 250247 | 229599 | -15402 | -18141 | -119666 | 41354 | -15204 | -347138 | -173949 | 459047 | 302455 | -71816
Note on C4: Manually entered November 2015 billed rate.
Note on D4: Manually entered December 2015 billed rate.
Note on C35: Manually input November 2015 billed rate.
Note on D35: Manually entered December 2016 billed rate.

## FAC-Page 5
| FAC Page 5 of 5 | [12 empty] | 2017
|  | January | February | March | April | May | June | July | August | September | October | November | December | January
PRIOR MONTH ACTUAL
A | Company Generation
| Coal Burned | 8646947 | 9915543 | 8336791 | 5416082 | 4598721 | 10043716 | 9782892 | 8204102 | 5062526 | 2753235 | 10631245 | 9692450 | 5123275
| Oil Burned | 173919 | -82831 | 91310 | 171363 | 207463 | 54575 | 62001 | 132967 | 165325 | 116955 | 49331 | 72036 | 183357
| Gas Burned | 0 | 0 | 0 | 0 | 0 | 1745525 | 3349916 | 3914089 | 2602383 | 1488253 | 3117057 | 1672421 | 1486872
| Fuel (jointly owned plant) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fuel (assigned cost during F.O.) | 285831 | 0 | 0 | 157637 | 448088 | 0 | 0 | 351712 | 960018 | 0 | 0 | 787198 | 2460421
| Fuel (substitue for F.O.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SUBTOTAL | 9106697 | 9832712 | 8428101 | 5745082 | 5254272 | 11843816 | 13194809 | 12602870 | 8790252 | 4358443 | 13797633 | 12224105 | 9253925
B | Purchases
| Net Energy Cost - Economy Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Identifiable Fuel Cost - Other Purchases | 8935644 | 4466806 | 4233946 | 6890415 | 7213164 | 5377896 | 6586114 | 8793557 | 7270845 | 9762188 | 5758728 | 7852995 | 10104479
| Identifiable Fuel Cost (substitute for F.O.) | 355055 | 0 | 0 | 157637 | 454581 | 0 | 0 | 461459 | 991792 | 0 | 0 | 944953 | 2900034
| Purchase Adjustment for Peaking Unit Equivalent | 731561 | 257792 | 116163 | 261520 | 147634 | 9031 | 0 | 16702 | 75733 | 0 | 19 | 2640 | 6682
| SUBTOTAL | 7849028 | 4209014 | 4117783 | 6471258 | 6610949 | 5368865 | 6586114 | 8315396 | 6203320 | 9762188 | 5758709 | 6905402 | 7197763
C | Inte-System Sales Fuel Costs | 581811 | 742792 | 858219 | 668960 | 1075126 | 3754276 | 5348471 | 5676488 | 1268700 | 1853105 | 6391622 | 3566294 | 1618475
D | Sub-Total Fuel Cost (A + B -C) | 16373914 | 13298934 | 11687665 | 11547380 | 10790095 | 13458405 | 14432452 | 15241778 | 13724872 | 12267526 | 13164720 | 15563213 | 14833213
E | Net Transmission Marginal Line Loss for Month | 955980 | 689057 | 269346 | 309943 | 243293 | 541017 | 757323 | 689016 | 363146 | 250289 | 483654 | 872311 | 626974
F | Grand Total Fuel Cost (D + E) | 17329894 | 13987991 | 11957011 | 11857323 | 11033388 | 13999422 | 15189775 | 15930794 | 14088018 | 12517815 | 13648374 | 16435524 | 15460187
Recalculated Using PJM Billing Line Items
| Expense Month | January | February | March | April | May | June | July | August | September | October | November | December | January
PRIOR MONTH ACTUAL
A | Company Generation
| Coal Burned | 8646947 | 9915543 | 8336791 | 5416082 | 4598721 | 10043716 | 9782892 | 8204102 | 5062526 | 2753235 | 10631245 | 9692450 | 5123275
| Oil Burned | 173919 | -82831 | 91310 | 171363 | 207463 | 54575 | 62001 | 132967 | 165325 | 116955 | 49331 | 72036 | 183357
| Gas Burned | 0 | 0 | 0 | 0 | 0 | 1745525 | 3349916 | 3914089 | 2602383 | 1488253 | 3117057 | 1672421 | 1486872
| Fuel (jointly owned plant) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Fuel (assigned cost during F.O.) | 285831 | 0 | 0 | 157637 | 448088 | 0 | 0 | 351712 | 960018 | 0 | 0 | 787198 | 2460421
| Fuel (substitue for F.O.) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| SUBTOTAL | 9106697 | 9832712 | 8428101 | 5745082 | 5254272 | 11843816 | 13194809 | 12602870 | 8790252 | 4358443 | 13797633 | 12224105 | 9253925
B | Purchases
| Net Energy Cost - Economy Purchases | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Identifiable Fuel Cost - Other Purchases | 8935644 | 4466806 | 4233946 | 6890415 | 7213164 | 5377896 | 6586114 | 8793557 | 7270845 | 9762188 | 5758728 | 7852995 | 10104479
| Identifiable Fuel Cost (substitute for F.O.) | 355055 | 0 | 0 | 157637 | 454581 | 0 | 0 | 461459 | 991792 | 0 | 0 | 944953 | 2900034
| Purchase Adjustment for Peaking Unit Equivalent | 731561 | 257792 | 116163 | 261520 | 147634 | 9031 | 0 | 16702 | 75733 | 0 | 19 | 2640 | 6682
| SUBTOTAL | 7849028 | 4209014 | 4117783 | 6471258 | 6610949 | 5368865 | 6586114 | 8315396 | 6203320 | 9762188 | 5758709 | 6905402 | 7197763
C | Inte-System Sales Fuel Costs | 581811 | 742792 | 858219 | 668960 | 1075126 | 3754276 | 5348471 | 5676488 | 1268700 | 1853105 | 6391622 | 3566294 | 1618475
D | Sub-Total Fuel Cost (A + B -C) | 16373914 | 13298934 | 11687665 | 11547380 | 10790095 | 13458405 | 14432452 | 15241778 | 13724872 | 12267526 | 13164720 | 15563213 | 14833213
E | Net Transmission Marginal Line Loss Plus BLIs for Month | 790564.61 | 942442.9 | 217148.23 | 263138.35 | 343643.11 | 687511.46 | 692844.63 | 745764.09 | 519659.83 | 323279.5 | 610352.66 | 800344.88 | 473233.82
F | Grand Total Fuel Cost (D + E) | 17164478.61 | 14241376.9 | 11904813.23 | 11810518.35 | 11133738.11 | 14145916.46 | 15125296.63 | 15987542.09 | 14244531.83 | 12590805.5 | 13775072.66 | 16363557.88 | 15306446.82

## BLI
In Accounting Terms - Billing Line Item (Revenues) / Expenses
|  |  | 2016 | [11 empty] | 2017
Account | OSS / LSE | Journal Line Description | 2016-01-01 | 2016-02-01 | 2016-03-01 | 2016-04-01 | 2016-05-01 | 2016-06-01 | 2016-07-01 | 2016-08-01 | 2016-09-01 | 2016-10-01 | 2016-11-01 | 2016-12-01 | 2017-01-01 | 2017-02-01 | Grand Total
4470116 | LSE | 1250 | 2016-12-01: 2094.21 | 2094.21
|  | 1250 - Meter Correction Charge | 2016-09-01: -1809.69; 2016-10-01: -7072.25; 2016-11-01: 9291.4; 2016-12-01: -7641.68; 2017-01-01: -23809.87; 2017-02-01: -58549.12 | -89591.21
|  | 1250 - Meter Error Correction | 10874.66 | -61217.89 | -2450.51 | -50368.06 | -5118.98 | 1545.1 | 18274.57 | 334.96 | 153.86 | 17.64 | 12891.55 | -19.04 | -107.22 | -952.97 | -25799.1
|  | 1250A - Adj. to Meter Error Co | 113643.47 | -8418.71 | 26553.14 | -70729.24 | 18228.83 | 16417.25 | 14546.26 | 8880.35 | 7504.12 | -14709.89 | 2180.98 | -39057.03 | -37901.92 | -141226.44 | -209313.59
|  | 1250A - Meter Error Correction | 2016-01-01: -113996.46 | 0
|  | Rev 1250A MeterCorr - Jul16 | 2016-09-01: -13603.39 | -13603.39
5550001 | LSE | 1400 - Load Reconciliation for | 2017-02-01: 26.14 | 26.14
5550040 | LSE | 1230 - Inadvertent Interchange | 5641.94 | 4633.5 | -1035.12 | 3436.43 | -2254.09 | -3085.05 | -4312.06 | -6306.69 | -8392.22 | -23166.96 | -8064.65 | -11713.81 | -13155.14 | -350.47 | -78399.83
|  | 1230A - Adj. to Inadvertent In | 2016-03-01: -23.22; 2016-04-01: 102.08; 2016-07-01: -105.87; 2016-08-01: -116.91; 2016-09-01: 14.66; 2016-11-01: 257.28; 2016-12-01: 1.19; 2017-02-01: 80.09 | 209.3
|  | 1430 - Load Reconciliation for | [14 empty] | 0
5550041 | LSE | 1377 - Synchronous Condensing | 2016-08-01: 0.28; 2016-09-01: 0; 2016-11-01: 4.41; 2016-12-01: -4.41 | 0.28
5550078 | LSE | 1340 - Regulation and Frequenc | 69340.51 | 70589.46 | 42015.06 | 64092.87 | 53345.08 | 50421.1 | 45668.76 | 60124.67 | 54733.71 | 46672.04 | 26870.3 | 38097.03 | 59831.67 | 38148.34 | 580020.63
|  | 1340A - Adj. to Regulation and |  | 0.02 |  |  | 1082.85 | 105.28 | 790.86 | -0.05 | -0.1 |  | 0.1 |  | 0.66 | 165.14 | 2144.74
|  | 1460 - Load Reconciliation for | [14 empty] | 0
5550079 | LSE | 2340 - Regulation and Frequenc | -2799.68 | -14292.39 | -3860.52 | -14194.86 | -14205.55 | -3476.45 | -4497.48 | -4919.02 | -7448.56 | -4110.86 | -13236.45 | -8396.51 | -47614.36 | -7213.77 | -133174.39
5550083 | LSE | 1360 - Synchronized Reserve - | 2016-02-01: -31.76; 2016-05-01: -50.62; 2016-12-01: 2.4 | -48.22
|  | 1360 - Synchronized Reserve Ti | 30329.61 | 7156.25 | 19676.65 | 35038.5 | 9797.75 | 20581.94 | 18436.02 | 34575.42 | 26888.7 | 22886.49 | 14015.08 | 19597.9 | 25400.49 | 10793.31 | 257688.25
|  | 1360A - Adj. to Synchronized R | 2016-05-01: -0.74; 2016-07-01: -277.49; 2016-10-01: 3.74; 2016-11-01: -15.96; 2016-12-01: -0.48; 2017-02-01: 0.5 | -290.43
|  | 1360A - Synchronized Reserve - | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-Apr14 | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-Feb14 | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-Jan14 | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-Jun14 | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-Mar14 | [14 empty] | 0
|  | 1360A&2360A-SyncResAdj-May14 | [14 empty] | 0
5550084 | LSE | 2360 - Synchronized Reserve (L | [14 empty] | 0
|  | 2360 - Synchronized Reserve Ti | -21238.27 | -3981.97 | -5235.13 | -6332.13 | -4250.88 | -5423.79 | -2913.3 | -6179.74 | -879.5 | -3096.61 | -2318.12 | -3397.4 | -7574.36 | -698.24 | -48299.2
|  | 2360A - Adj. to Synchronized R | [14 empty] | 0
5550123 | LSE | 1370 - Day-Ahead Operating Res | 61607.4 | 63958.08 | 46691.32 | 23997.78 | 19388.53 | 24308.41 | 19118.95 | 12524.05 | 17463.29 | 20128.94 | 31395.12 | 50036.31 | 21331.21 | 14856.31 | 301240.22
|  | 1370A - Adj. to Day-ahead Oper | 2016-01-01: 53.22; 2016-02-01: 158.15; 2016-04-01: 44.43; 2016-10-01: 10.12; 2016-11-01: -31.84; 2017-02-01: -0.49 | 22.22
|  | 1375 - Balancing Operating Res | 24047.41 | 20196.47 | 16156.55 | 20879.83 | 5781.68 | 22905.45 | 28803.35 | 53057.87 | 28227.32 | 27479.75 | 9647.9 | 17451.15 | 49883.25 | 5545.13 | 285819.23
|  | 1375A - Adj. to Balancing Oper | -66.22 | -1388.39 | 7849.42 | 2813.17 | 1909.23 | 646.34 | 407.27 | 44.22 | -144.77 | 590.1 | -682.25 | 203.87 | -591.9 | -200.54 | 12844.16
|  | 1375A - Balancing Operating Re | [14 empty] | 0
|  | 1378 - Reactive Services Charg | 111.69 | 698.76 | 0 | [5 empty] | 1009.21 | 16.9 | 646.08 | 665.33 | 1427.5 | 1764.38 | 5529.4
|  | 1378A - Reactive Services | 2016-02-01: 147.08 | 0
|  | 1478 - Load Reconciliation for | [14 empty] | 0
|  | 1490 - Load Reconciliation for | [14 empty] | 0
5550124 | LSE | 1210 - Day-Ahead Transmission | -45580.18 | -29736.8 | 340426.51 | 278041.93 | 80903.22 | 150827.1 | 120738.98 | 362236.48 | 314589.79 | 549074.93 | 186363.26 | 348055.89 | 268247.79 | 213442 | 3212947.88
|  | 1210/1215 Transmission Congest | 2016-11-01: 4107.9; 2016-12-01: -4107.9 | 0
|  | 1215 - Balancing Transmission | -7355.9 | -34466.06 | -52918.38 | -19180.85 | 21929.82 | -6318.65 | -102.77 | -376745.74 | -116907.34 | -44432.66 | 6871.13 | 40273.53 | -49597.87 | -6756.96 | -603886.74
|  | 1410 - Load Reconciliation for | 2016-09-01: -0.53; 2016-10-01: 0.24; 2016-11-01: 0; 2016-12-01: -0.07; 2017-01-01: 0; 2017-02-01: 1.36 | 1
|  | 1410A - Adj. to Load Reconcili | 2016-01-01: 0.29; 2016-07-01: -0.06 | -0.06
|  | 1490 - Load Reconciliation for | [14 empty] | 0
5550132 | LSE | 1500 - Financial Transmission | 624855.22 | 584541.98 | 624855.22 | 544228.74 | 685325.08 | 574138.2 | 593276.14 | 593276.14 | 574138.2 | 593276.14 | 574138.2 | 593276.14 | 593276.14 | 535862.32 | 7079066.66
|  | 2210 - End-of-Month FTR Credit | -19813.18 | -15346.24 | -18124.4 | -62732.34 | -13771.13 | -10553.53 | -4140.98 | -4528.01 | -24179.37 | -31693.1 | -14538.72 | -15614.13 | -12268.91 | -31301.53 | -243446.15
|  | 2210 - Transmission Congestion | -351763.05 | -163701.99 | -159895.03 | -255472.55 | -88726.37 | -153035.14 | -99256.18 | -124162.93 | -205748.52 | -339501.25 | -212474.09 | -289255.23 | -301576.13 | -184117.34 | -2413220.76
|  | 2210A - Adj. to Transmission C | [14 empty] | 0
|  | 2217 - Planning Period Excess | 2016-05-01: -129330.34; 2016-06-01: 3320.09 | -126010.25
|  | 2217A - Adj. to Planning Perio | 2016-07-01: 568.39 | 568.39
|  | 2510 - Auction Revenue Rights | -625689.49 | -583708.31 | -624855.53 | -544229.01 | -685325.42 | -574137.9 | -593275.83 | -594343.78 | -574137.9 | -603961.22 | -574137.9 | -593275.83 | -593275.83 | -535862.04 | -7090818.19
|  | 2510 - Auction Revenue Rights* | [14 empty] | 0
|  | Remove from LSE FTR Revenues | [14 empty] | 0
5550137 | LSE | 2370 - Day-Ahead Operating Res |  | -1204.63 | 0 | -0.64 | -1462.61 | -3799.18 | -5253.07 | 0 | -4410.46 | -4106.53 | -5354.23 | -982.13 | -12574.79 | -1613.66 | -39557.3
|  | 2375 - Balancing Operating Res |  |  | -2438.96 | -1633.85 | 0.01 | -5036.46 | 0 | -72229.94 | -10312.42 | -27791.87 | 25164.02 | -9590.64 | 8683.47 | -5581.63 | -100768.27
|  | 2375A - Adj. to Balancing Oper | 2016-03-01: -1.17 | -1.17
Grand Total |  |  | -247797.01 | -165415.39 | 253385.9 | -52197.77 | -46804.65 | 100350.11 | 146494.46 | -64478.37 | 56748.09 | 156513.83 | 72990.5 | 126698.66 | -71966.12 | -153740.18 | 523994.46 | 523994.46
|  |  | -247797.01 | -165415.39 | 253385.9 | -52197.77 | -46804.65 | 100350.11 | 146494.46 | -64478.37 | 56748.09 | 156513.83 | 72990.5 | 126698.66 | -71966.12 | -153740.18