## ssplant
weighted customer
| account description | original capital cost | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
source of supply (SS)
LD | land & land rights | 119753 | 83827.1 | 35925.9 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
ST | structures/system | 1576793 | 1103755.1 | 473037.9 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
EQ | equipment | 136351 | 95445.7 | 40905.3 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
total source of supply |  | 1832897 | 1283027.9 | 549869.1 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
LD | land & land rights | 50497 | 50497 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
ST | structures | 2390812 | 2390812 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
TR | treatment | 17887365 | 17887365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
SH | sludge handling | 1041544 | 729080.8 | 312463.2 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
IT | cmptr, softwr & periph |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
LE | lab equipment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
EQ | other equipment | 249758 | 249758 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total water treatment plant |  | 21619976 | 21307512.8 | 312463.2 | 0 | 0 | 0 | 0 | 0 | 0 | balance
distribution & transmission (DT)
LD | land & land rights | 66016 | 2949.2547 | 16185.9196 | 16499.0225 | 0 | 0 | 7779.857 | 0 | 22601.9462 | as TM and DL
TM | transmission mains | 1896731 | 1028331 | 0 | 0 | 0 | 0 | 0 | 0 | 868400 | 100% COMM
DS | distribution lines | 21121389 | 0 | 5643623.364 | 5752794.4563 | 0 | 0 | 2712640.5897 | 0 | 7012330.59 | dist main analysis
TK | storage tanks | 5880980 | 0 | 1686149.568 | 1718766.6968 | 0 | 0 | 810457.6552 | 0 | 1665606.08 | dist main analysis
PM | pumping | 1716024 | 0 | 371365.312 | 378549.058 | 0 | 0 | 178498.91 | 0 | 787610.72 | dist main analysis
EQ | equipment & valves | 379402 | 0 | 151760.8 | 154696.4836 | 0 | 0 | 72944.7164 | 0 | 0 | dist main analysis
VE | vehicles | 472591 | 472591 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
SY | hydraulic model | 23536 | 23536 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 WCMS
MT | meters | 1787596 | 0 | 0 | 0 | 0 | 1787596 | 0 | 0 | 0 | 100 WCMS
BL | building | 81646 | 81646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 PFP
HE | heavy equipment | 558609 | 558609 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
IT | cmptr, softwr & periph | 68293 | 68293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
total transmission & distribution |  | 34052813 | 2235955.2547 | 7869084.9636 | 8021305.7171 | 0 | 1787596 | 3782321.7284 | 0 | 10356549.3362 | balance
shared use
ST | structures | 1461120 | 1461120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
LD | land | 590000 | 590000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total shared use |  | 2051120 | 2051120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
total SS, WTP, TD & shared |  | 59556806 | 26877615.9547 | 8731417.2636 | 8021305.7171 | 0 | 1787596 | 3782321.7284 | 0 | 10356549.3362 | balance
| % total |  | 45.13% | 14.66% | 13.47% | 0% | 3.001% | 6.351% | 0% | 17.39% | ftr "operation plant"
general plant (AD)
ST | structures |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
FN | furniture |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
VE | vehicles |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
IT | cmptr, softwr & periph |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
MC | miscellaneous |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
total general plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
gross plant in service |  | 59556806 | 26877615.9547 | 8731417.2636 | 8021305.7171 | 0 | 1787596 | 3782321.7284 | 0 | 10356549.3362 | balance
| % of gross plant in service |  | 45.13% | 14.66% | 13.47% | 0% | 3.001% | 6.351% | 0% | 17.39% | ftr "plant in service"
less | accumulated depreciation
| from sheet | -31463614 | -15229604.1408 | -4809626.9141 | -4190603.1777 | 0 | -798094 | -1976013.6333 | 0 | -4459672.134 | see acc dep sheet
net plant in service |  | 28093192 | 11648011.8139 | 3921790.3496 | 3830702.5393 | 0 | 989502 | 1806308.095 | 0 | 5896877.2022
less | contributions and grants in aid
| distribution lines | -5463789 | 0 | 0 | -5203974 | 0 | 0 | 0 | 0 | -259815 | actual customer
| transmission mains | -1134310 | -265910 | 0 | 0 | 0 | 0 | 0 | 0 | -868400 | commodity
total contributions in aid |  | -6598099 | -265910 | 0 | -5203974 | 0 | 0 | 0 | 0 | -1128215 | balance
plus
| materials & supplies | 274898.97 | 124060.1946 | 40301.9869 | 37024.2937 | 0 | 8251.0855 | 17458.2288 | 0 | 47803.1805 | as plant in service
| prepayments |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% WCA
| 1/8 O&M (working capital) | 632143.0363 | 381601.4174 | 115954.3035 | 49384.8151 | 24086.2775 | 31193.2682 | 22420.7921 | 0 | 7502.1625 | as O&M expense
total working capital |  | 907042.0062 | 505661.612 | 156256.2904 | 86409.1089 | 24086.2775 | 39444.3537 | 39879.0209 | 0 | 55305.3429 | balance
total rate base |  | 22402135.0063 | 11887763.4259 | 4078046.6399 | -1286862.3518 | 24086.2775 | 1028946.3537 | 1846187.1159 | 0 | 4823967.5451
| % total rate base |  | 53.07% | 18.2% | -5.744% | 0.1075% | 4.593% | 8.241% | 0% | 21.53% | factor RATE BASE
Note on K2: Connie Lea Allen, PE: for breakout of direct assigns (DA), see worksheet titled "Bardstown just water CLA"
Note on L16: Connie Allen: average day (602K) to peak day (883K)
Note on F23: Connie Lea Allen, PE: add all residential contributed lines, here, to keep their effect away from wholesales
Note on B25: Connie Lea Allen, PE: As per late direction, there is an asset "#1410 - Culverton Pump Station" that should be taken out of the common bag and given to DA, specifically, 50% Larue Co; 50% non-owner residential. I am not opening any of the DA sheets or equations to make the change. I am simply manually subtracting and adding at the appropriate places. Installed cost, $116,417; 30-year life; installed on 6/30/2005; annual dep $3,981; accum dep $71,694.
Note on C51: Connie Lea Allen, PE: matches original depreciation schedule assets from Bardstown
Note on K59: Connie Lea Allen, PE: this is $157,996 commercial and $101,819 industrial
Note on K60: Connie Lea Allen, PE: this is all industrial
Note on C64: Connie Lea Allen, PE: from JT, see worksheet "Final FY23 Inventory..." and CLA "inventory"
Note on F69: Connie Lea Allen, PE: this is negative because these particular assets were contributed--100% gifted by developers--plus, we have good records on these assets; giving them accumulated depreciation and recognizing the gift creates the negative--undoubtedly an accounting principle, of which I am ignorant, applies, here

## acc dep
weighted customer
| account description | total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
source of supply (SS)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 COMM/32 CAP
ST | structures/system | -852744 | -545756.16 | -306987.84 | 0 | 0 | 0 | 0 | 0 | 0 | 68 COMM/32 CAP
EQ | equipment | -54359 | -34789.76 | -19569.24 | 0 | 0 | 0 | 0 | 0 | 0 | 68 COMM/32 CAP
total source of supply |  | -907103 | -580545.92 | -326557.08 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
ST | structures | -1890786 | -1890786 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
TR | treatment | -10806589 | -10806589 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
SH | sludge handling | -1033311 | -661319.04 | -371991.96 | 0 | 0 | 0 | 0 | 0 | 0 | 68 COMM/32 CAP
IT | cmptr, softwr & periph |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
LE | lab equipment |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 COMM/32 CAP
EQ | other equipment | -121986 | -121986 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total water treatment plant |  | -13852672 | -13480680.04 | -371991.96 | 0 | 0 | 0 | 0 | 0 | 0 | balance
distribution & transmission (DT)
LD | land & land rights | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
TM | transmission mains | -422890 | -43744.1808 | 0 | 0 | 0 | 0 | 0 | 0 | -379145.8192 | 100% COMM
DS | distribution lines | -10254512 | 0 | -2976740.6501 | -3034323.1654 | 0 | 0 | -1430787.8099 | 0 | -2812660.3746 | dist main analysis
TK | storage tanks | -2751884 | 0 | -875560.0456 | -892497.0097 | 0 | 0 | -420843.0587 | 0 | -562983.886 | dist main analysis
PS | pumping | -1204057 | 0 | -199669.9783 | -203532.4241 | 0 | 0 | -95972.5433 | 0 | -704882.0542 | dist main analysis
EQ | equipment & valves | -147768 | 0 | -59107.2 | -60250.5785 | 0 | 0 | -28410.2215 | 0 | 0 | dist main analysis
VE | vehicles | -404855 | -404855 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
SY | hydraulic model | -12871 | 0 | 0 | 0 | 0 | -12871 | 0 | 0 | 0 | 100 WCMS
MT | meters | -785223 | 0 | 0 | 0 | 0 | -785223 | 0 | 0 | 0 | 100 WCMS
BL | building | -81646 | -81646 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 PFP
HE | heavy equipment | -451945 | -451945 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
IT | cmptr, softwr & periph | -68293 | -68293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100% COMM
total transmission & distribution |  | -16585944 | -1050483.1808 | -4111077.8741 | -4190603.1777 | 0 | -798094 | -1976013.6333 | 0 | -4459672.134 | balance
shared use
ST | structures | -117895 | -117895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
LD | land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as trans & dist lines
total shared use |  | -117895 | -117895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
total SS, WTP, DT & shared |  | -31463614 | -15229604.1408 | -4809626.9141 | -4190603.1777 | 0 | -798094 | -1976013.6333 | 0 | -4459672.134 | balance
| % total |  | 48.4% | 15.29% | 13.32% | 0% | 2.537% | 6.28% | 0% | 14.17% | ftr "operation plant"
general plant (AD)
ST | structures |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
FN | furniture |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
VE | vehicles |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
IT | cmptr, softwr & periph |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
MC | miscellaneous |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | as operation plant
total general plant |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
total accumulated depreciation |  | -31463614 | -15229604.1408 | -4809626.9141 | -4190603.1777 | 0 | -798094 | -1976013.6333 | 0 | -4459672.134 | balance
|  | 31423700 | is what the pdf version of the Auditor's accumulated depreciation showed
Note on K2: Connie Lea Allen, PE: for breakout of direct assigns (DA), see worksheet titled "Bardstown just water CLA"
Note on L5: Connie Allen: average day (602K) to peak day (883K)
Note on L6: Connie Allen: average day (602K) to peak day (883K)
Note on L7: Connie Allen: average day (602K) to peak day (883K)
Note on L14: Connie Allen: average day (602K) to peak day (883K)
Note on L16: Connie Allen: average day (602K) to peak day (883K)

## TYexpenses
weighted customer
acct no | account description | TY (FY23) total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
Bardstown MORs
water source & treatment plant | [13 empty] | average | maximum
| salaries & wages | 576575.35 | 576575.35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2022-07-01 | 5349813 | 6320580
| overtime wages | 24458.19 | 24458.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2022-08-01 | 4800326 | 5561660
| employee retirement | 84832.46 | 84832.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2022-09-01 | 4351309 | 4982840
| health self-funding | 118878.65 | 118878.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2022-10-02 | 4348197 | 4899600
| janitorial supplies | 2081.69 | 2081.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2022-11-02 | 4481482 | 5042660
| power | 707328.05 | 495129.635 | 212198.415 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP |  | 2022-12-03 | 4329288 | 5600190
| cell and telephone | 21815.41 | 21815.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2023-01-03 | 4297885 | 4927820
| maint building & plant | 134236.7 | 134236.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2023-02-03 | 4006974 | 4606610
| technical supplies | 74014.61 | 74014.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM |  | 2023-03-06 | 4037781 | 4818540
| chemicals | 846924.21 | 592846.947 | 254077.263 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP |  | 2023-04-06 | 3896947 | 4818540
total treatment plant expense |  | 2591145.32 | 2124869.642 | 466275.678 | 0 | 0 | 0 | 0 | 0 | 0 | balance |  | 2023-05-07 | 4593605 | 5439360
[13 empty] | 2023-06-07 | 4914413 | 5776140
water distribution and maintenance | [13 empty] | 4450668.3333 | 6320580
| salaries & wages | 541991.45 | 0 | 216796.58 | 220990.3254 | 0 | 0 | 104204.5446 | 0 | 0 | distr main analysis |  |  | 70.42% | 29.58%
| overtime wages | 56571.86 | 0 | 22628.744 | 23066.4778 | 0 | 0 | 10876.6382 | 0 | 0 | distr main analysis
| employee retirement | 71527.48 | 71527.48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| health self-funding | 111830.27 | 111830.27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| contract services | 364492.49 | 204338.981 | 88797.225 | 1247.0412 | 69521.22 | 0 | 588.0228 | 0 | 0 | COMM/CAP & WCA
| motor fuel & lubricants | 69672.11 |  | 27868.844 | 28407.9431 | 0 | 0 | 13395.3229 | 0 | 0 | distr main analysis
| office supplies | 64188.64 | 64188.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| maint (not incl elsewhere) | 21032.54 | 21032.54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| maint & heating supplies | 163436.31 | 0 | 65374.524 | 66639.1385 | 0 | 0 | 31422.6475 | 0 | 0 | distr main analysis
| meter maint & ag supplies | 245831.11 | 0 | 0 | 0 | 0 | 245831.11 | 0 | 0 | 0 | WCMS
| vehicle repair and lease | 62921.67 | 0 | 25168.668 | 25655.5345 | 0 | 0 | 12097.4675 | 0 | 0 | distr main analysis
total maintenance expense |  | 1773495.93 | 472917.911 | 446634.585 | 366006.4604 | 69521.22 | 245831.11 | 172584.6436 | 0 | 0 | balance
administration & general expenses
| salaries & wages | 284719.63 | 243460.75 | 0 | 0 | 41258.88 | 0 | 0 | 0 | 0 | COMM & WCA
| overtime wages | 5050.44 | 3509.81 | 0 | 0 | 1540.63 | 0 | 0 | 0 | 0 | COMM & WCA
| employee retirement | 40248.42 | 33962.5 | 0 | 0 | 6285.92 | 0 | 0 | 0 | 0 | COMM & WCA
| health self-funding | 56269.11 | 41640.1 | 0 | 0 | 14629.01 | 0 | 0 | 0 | 0 | COMM & WCA
| workers comp & unempl | 25540.78 | 25540.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| elected official salary alloc | 25914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25914 | DA
| elected official health | 9582.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9582.57 | DA
| elected official retirement | 2381.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2381.2 | DA
| employee education | 7900.78 | 7900.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| dues & subscriptions | 7119.56 | 7119.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| billing expenses | 31225.6 | 0 | 0 | 0 | 31225.6 | 0 | 0 | 0 | 0 | WCA
| software | 26203.89 | 0 | 0 | 0 | 26203.89 | 0 | 0 | 0 | 0 | WCA
| insurance & surety bonds | 105474.48 | 43731.876 | 14724.1651 | 14382.1805 | 0 | 3715.0356 | 6781.6931 | 0 | 22139.5296 | as plant in service
| professional services | 23670.17 | 23670.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| bad debt | 14689.88 | 0 | 0 | 14689.88 | 0 | 0 | 0 | 0 | 0 | AC
| publication expense | 7058.08 | 7058.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| postage | 2025.07 | 0 | 0 | 0 | 2025.07 | 0 | 0 | 0 | 0 | WCA
| travel & conference | 3964.95 | 3964.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| uniform & clothing | 13464.43 | 13464.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total all administrative expense |  | 692503.04 | 455023.786 | 14724.1651 | 29072.0605 | 123169 | 3715.0356 | 6781.6931 | 0 | 60017.2996 | balance
total operation & maintenance |  | 5057144.29 | 3052811.339 | 927634.4281 | 395078.5209 | 192690.22 | 249546.1456 | 179366.3367 | 0 | 60017.2996
|  |  | 60.37% | 18.34% | 7.812% | 3.81% | 4.935% | 3.547% | 0% | 1.187% | factor O&M
| payroll tax & FICA/UC | 115930.07 | 65721 | 18745 | 19107 | 3347 | 0 | 9010 | 0 | 0 | as employee cost
| payment in lieu of taxes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total taxes and fees |  | 115930.07 | 65721 | 18745 | 19107 | 3347 | 0 | 9010 | 0 | 0 | rounding error only
| principal expense | 373137.14 | 228707.157 | 98017.353 | 0 | 0 | 46412.63 | 0 | 0 | 0 | 70 COMM/30 CAP
| interest expense | 140787.21 | 86596.314 | 37112.706 | 0 | 0 | 17078.19 | 0 | 0 | 0 | 70 COMM/30 CAP
total debt service |  | 513924.35 | 315303.471 | 135130.059 | 0 | 0 | 63490.82 | 0 | 0 | 0 | balance
total annual depreciation |  | 1750196.54 | 585767.0455 | 559629.2259 | 348276.0546 | 0 | 52335.2441 | 164224.147 | 0 | 39964.8229 | see "depreciation"
total revenue requirement |  | 7437195.25 | 4019602.8555 | 1641138.7131 | 762461.5756 | 196037.22 | 365372.2097 | 352600.4836 | 0 | 99982.1226 | rounding error only
less miscellaneous revenues
OO | other operating | -69177 | 0 | 0 | 0 | -69177 | 0 | 0 | 0 | 0 | penalties
NO | non-operating | -71023 | -71023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | lease, dispos & int
MI | customer charge | -890432 | 0 | 0 | -890432 | 0 | 0 | 0 | 0 | 0 | misc and grants
OO | other operating | -276615 | 0 | 0 | 0 | 0 | -276615 | 0 | 0 | 0 | connects & svcs
total miscellaneous revenues |  | -1307247 | -71023 | 0 | -890432 | -69177 | -276615 | 0 | 0 | 0 | balance
net revenue requirement |  | 6129948.25 | 3948579.8555 | 1641138.7131 | -127970.4244 | 126860.22 | 88757.2097 | 352600.4836 | 0 | 99982.1226 | rounding error only
[10 empty] | 707328 | total power cost w/Mago reassign
[10 empty] | 362128 | portion of power cost by WTP | COMM/CAP
[10 empty] | 345200 | portion of power cost by distrib | dist main analysis
Note on C10: Connie Lea Allen, PE: $362,128 is the plant
Note on L22: Connie Lea Allen, PE: this account had a lot in it--$5,504.38 was "collections"; $64,016.84 was credit card fees; $24,719.97 was solids disposal; and, $3,058.44 was tank inspection (dist main analysis)
Note on L58: Connie Lea Allen, PE: rounding error only
Note on C60: Connie Lea Allen, PE: I am using the water principal due from debt schedules b/c this doesn't show up as an expense in GL
Note on H60: Connie Lea Allen, PE: part of loan that matures in 2033 went for meters (53%)
Note on C61: Connie Lea Allen, PE: this came from GL; doesn't match the Audit ($141,823), but...
Note on C66: Connie Lea Allen, PE: see Excel file "Bardstown Summary Expenses" for reconciliation of COS revenue requirements and Audit (and Ledger) numbers
Note on L66: Connie Lea Allen, PE: rounding error only
Note on C71: Connie Lea Allen, PE: this includes $9,800 boating & fishing fees; $842,158 in grants; $23,110 in insurance recovery; and $15,364 in misc revenue
Note on L75: Connie Lea Allen, PE: rounding error only

## PFexpenses
weighted customer
acct no | account description | TY (FY23) total expenses | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
water source & treatment plant
| cost of purchased water | 425628 | 297939.6 | 127688.4 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
| salaries & wages | 747830.29 | 747830.29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| overtime wages | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| employee retirement | 133436.56 | 133436.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| health self-funding | 118878.65 | 118878.65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| janitorial supplies | 2081.69 | 2081.69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| power | 707328.05 | 253489.6 | 246718.4 | 140751.0401 | 0 | 0 | 66368.9599 | 0 | 0 | see note cell C11
| cell and telephone | 21815.41 | 21815.41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| maint building & plant | 153576.7 | 153576.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| technical supplies | 98507.61 | 98507.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| chemicals | 846924.21 | 592846.947 | 254077.263 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
| raw water equipment | 36417 | 36417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total treatment plant expense |  | 3292424.17 | 2456820.057 | 628484.063 | 140751.0401 | 0 | 0 | 66368.9599 | 0 | 0 | rounding error only
water distribution and maintenance
| salaries & wages | 593678.74 | 0 | 237471.496 | 242065.18 | 0 | 0 | 114142.064 | 0 | 0 | distr main analysis
| overtime wages | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | distr main analysis
| employee retirement | 109894.35 | 0 | 43957.74 | 44808.0651 | 0 | 0 | 21128.5449 | 0 | 0 | distr main analysis
| health self-funding | 111830.27 | 0 | 44732.108 | 45597.4126 | 0 | 0 | 21500.7494 | 0 | 0 | distr main analysis
| contract services | 364492.49 | 204338.981 | 88797.225 | 1247.0412 | 69521.22 | 0 | 588.0228 | 0 | 0 | ds main anal & WCA
| motor fuel & lubricants | 69672.11 |  | 27868.844 | 28407.9431 | 0 | 0 | 13395.3229 | 0 | 0 | distr main analysis
| office supplies | 64188.64 | 64188.64 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| maint (not incl elsewhere) | 59166.54 | 22282.26 | 0 | 0 | 0 | 0 | 0 | 0 | 36884.28 | COMM
| maint & heating supplies | 182579.31 | 0 | 73031.724 | 74444.4606 | 0 | 0 | 35103.1254 | 0 | 0 | distr main analysis
| meter maint & ag supplies | 245831.11 | 0 | 0 | 0 | 0 | 245831.11 | 0 | 0 | 0 | WCMS
| vehicle repair and lease | 62921.67 | 0 | 25168.668 | 25655.5345 | 0 | 0 | 12097.4675 | 0 | 0 | distr main analysis
total maintenance expense |  | 1864255.23 | 290809.881 | 541027.805 | 462225.637 | 69521.22 | 245831.11 | 217955.297 | 0 | 36884.28 | balance
administration & general expenses
| salaries & wages | 504550.65 | 354656.01 | 0 | 0 | 149894.64 | 0 | 0 | 0 | 0 | COMM & WCA
| overtime wages | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM & WCA
| employee retirement | 93947.33 | 66036.95 | 0 | 0 | 27910.38 | 0 | 0 | 0 | 0 | COMM & WCA
| health self-funding | 56269.11 | 41640.1 | 0 | 0 | 14629.01 | 0 | 0 | 0 | 0 | COMM & WCA
| workers comp & unempl | 25540.78 | 17952.9867 | 0 | 0 | 7587.7933 | 0 | 0 | 0 | 0 | COMM & WCA
| elected official salary alloc | 25914 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25914 | DA
| elected official health | 9582.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9582.57 | DA
| elected official retirement | 2381.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2381.2 | DA
| employee education | 7900.78 | 7900.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| dues & subscriptions | 7119.56 | 7119.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| billing expenses | 31225.6 | 0 | 0 | 0 | 31225.6 | 0 | 0 | 0 | 0 | WCA
| software | 26203.89 | 0 | 0 | 0 | 26203.89 | 0 | 0 | 0 | 0 | WCA
| insurance & surety bonds | 144941.6 | 60095.7509 | 20233.748 | 19763.7974 | 0 | 5105.1516 | 9319.3107 | 0 | 30423.8414 | as plant in service
| professional services | 23670.17 | 23670.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| bad debt | 14689.88 | 0 | 0 | 14689.88 | 0 | 0 | 0 | 0 | 0 | AC
| publication expense | 7058.08 | 0 | 0 | 0 | 7058.08 | 0 | 0 | 0 | 0 | WCA
| postage | 2025.07 | 0 | 0 | 0 | 2025.07 | 0 | 0 | 0 | 0 | WCA
| travel & conference | 3964.95 | 3964.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
| uniform & clothing | 13464.43 | 13464.43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total all administrative expense |  | 1000449.65 | 596501.6877 | 20233.748 | 34453.6774 | 266534.4633 | 5105.1516 | 9319.3107 | 0 | 68301.6114 | balance
total operation & maintenance |  | 6157129.05 | 3344131.6257 | 1189745.616 | 637430.3545 | 336055.6833 | 250936.2616 | 293643.5676 | 0 | 105185.8914
|  |  | 54.31% | 19.32% | 10.35% | 5.458% | 4.076% | 4.769% | 0% | 1.708% | factor O&M
| payroll tax & FICA/UC | 115930.07 | 65721 | 18745 | 19107 | 3347 | 0 | 9010 | 0 | 0 | as employee cost
| payment in lieu of taxes |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total taxes and fees |  | 115930.07 | 65721 | 18745 | 19107 | 3347 | 0 | 9010 | 0 | 0 | rounding error only
| principal expense | 373137.14 |  |  | 326724.51 | 0 | 46412.63 | 0 | 0 | 0 | fixed cost (CUST)
| interest expense | 174030.54 |  |  | 156952.35 | 0 | 17078.19 | 0 | 0 | 0 | fixed cost (CUST)
total debt service |  | 547167.68 | 0 | 0 | 483676.86 | 0 | 63490.82 | 0 | 0 | 0 | balance
total annual depreciation |  | 1712714 | 563371.8645 | 360063.994 | 173107.6676 | 0 | 141113 | 81626.2234 | 0 | 393431.2504 | see "depreciation"
total revenue requirement |  | 8532940.8 | 3973224.4902 | 1568554.61 | 1313321.8821 | 339402.6833 | 455540.0816 | 384279.7911 | 0 | 498617.1418 | rounding error only
| test year revenue requirement | 7437195.25
14.73%
Note on B5: Connie Lea Allen, PE: this is the contracted minimum purchase (30,000,000 per month) from NNWD at FY26 rate ($3.06), less the cost of production, based on TY WTP costs ($2,592,257), divided by gallons sold (1,380,534,400), $1.877 multiplied by the contract volume to get a net expense for Bardstown
Note on C5: Connie Lea Allen, PE: new cost
Note on B6: Connie Lea Allen, PE: spreadsheet titled, "FY26 Water Budget" from Dylan has council-approved FY26 pay increases applied to prior year actual hours and overtime
Note on B8: Connie Lea Allen, PE: According to PH, retirement rates in the test year were 26.79% and 49.59% for non-haz and haz, respectively; they are currently (FY26) 18.62% and 35.73% According to PH, all water employees are non-haz
Note on C8: Connie Lea Allen, PE: AB said to use the expense of retirement rather than the net cost
Note on B9: Connie Lea Allen, PE: I don't show pro forma changes for health care premiums because Bardstown is self funded and costs are just as claims are made
Note on C11: Connie Lea Allen, PE: no pro forma power information was provided; $362,128 is the plant (allocated 70COMM/30CAP) and $345,200 is distribution (allocated by Distribution Main Analysis)
Note on C13: Connie Lea Allen, PE: increased by $10,140--skid steer at a cost of $50,700 expensed over 5 years; increased by $9,200--mini-splits cost of $46,000 expensed over 5 years
Note on C14: Connie Lea Allen, PE: increased by $24,493--filter media inspect/repair/replace cost of $122,466 expensed over 5 years
Note on C15: Connie Lea Allen, PE: JF's best estimate was $848,168 for chemical cost and $61,163 for transport and delivery fees. Since JF's estimate involved some extrapolation and some uncertainty as to who would charge delivery fees, we kept test year number.
Note on C16: Connie Lea Allen, PE: 3 PF additions; $10,000 for catwalk safety addition expensed over 5 years; $39,876 for Solaraft to kill algae expensed over 3 years; $105,624 for maintenance to pumps expensed over 5 years
Note on B20: Connie Lea Allen, PE: spreadsheet titled, "FY26 Water Budget" from Dylan has council-approved FY26 pay increases applied to prior year actual hours and overtime
Note on B22: Connie Lea Allen, PE: According to PH, retirement rates in the test year were 26.79% and 49.59% for non-haz and haz, respectively; they are currently (FY26) 18.62% and 35.73%
Note on L24: Connie Lea Allen, PE: this account had a lot in it--$5,504.38 was "collections"; $64,016.84 was credit card fees; $24,719.97 was solids disposal; and, $3,058.44 was tank inspection (dist main analysis)
Note on C27: Connie Lea Allen, PE: increased by $28,776--generator for Mago PS at cost of $143,881 expensed over 5 years; increased by $1,250--tank inspection cost of $3,750 expensed over 3 years; increased by $5,000--tank exterior cleaning cost of $15,000 expensed over 3 years (Fairgrounds); increased by $1,658--tank cleaning and inspection cost of $4,975 expensed over 3 years (Withrow); increased by $1,450--tank cleaning and inspection cost of $4,350 expensed over 3 years (Boston)
Note on K27: Connie Lea Allen, PE: $16,165 to industrial; $13,237 to commercial; $7,482 to wholesale
Note on C28: Connie Lea Allen, PE: increased by $7,615--repeater and base antenna cost of $38,075 expensed over 5 years; increased by $3,861--water utility portion of mini excavator cost of $19,306 expensed over 5 years--increased by $7,667--SCADA cost of $23,000 expensed over 3 years
Note on B34: Connie Lea Allen, PE: spreadsheet titled, "FY26 Water Budget" from Dylan has council-approved FY26 pay increases applied to prior year actual hours and overtime
Note on B36: Connie Lea Allen, PE: According to PH, retirement rates in the test year were 26.79% and 49.59% for non-haz and haz, respectively; they are currently (FY26) 18.62% and 35.73%
Note on L38: Connie Lea Allen, PE: used a proportion of salaries and wages to pull some workers comp off COMM
Note on C46: Connie Lea Allen, PE: actual FY25 cost for liability ($126,159.13) and property (18,782.47) from KLC
Note on B58: Connie Lea Allen, PE: previously linked to workbook Peggy provided, but manually entered values to unlink PII
Note on L60: Connie Lea Allen, PE: rounding error only
Note on C62: Connie Lea Allen, PE: I am using the water principal due from debt schedules and adding, here, loan service fees for the 2 new loans, B23 and B24; principal wasn't provided
Note on H62: Connie Lea Allen, PE: part of loan that matures in 2033 went for meters (53%)
Note on C63: Connie Lea Allen, PE: I am using the water interest due from debt schedules and adding, here, 2 new loans, B23 and B24; $23,904.53 and $28,776.01, respectively
Note on L68: Connie Lea Allen, PE: rounding error only

## TY depreciation
weighted customer
| account description | total depreciation | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification | TY annual depreciation using Auditor's service lives
intangible | [12 empty] | 1663302.31 | Audit
MC | legal, capitalizd int, study | 941 | 424.6674 | 137.9568 | 126.737 | 0 | 28.2441 | 59.7608 | 0 | 163.6339 | as operation plant |  | 1745739 | CLA
total intangible plant |  | 941 | 424.6674 | 137.9568 | 126.737 | 0 | 28.2441 | 59.7608 | 0 | 163.6339 | balance |  | 4.956%
source of supply (SS)
EQ | equipment & line | 32484 | 22738.8 | 9745.2 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
total source of supply |  | 32484 | 22738.8 | 9745.2 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
BL | structures | 117772 | 82440.4 | 35331.6 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
PM | pumping | 485185 | 339629.5 | 145555.5 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
SH | sludge handling | 3029 | 2120.3 | 908.7 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
EQ | equipment | 19113 | 13379.1 | 5733.9 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
total water treatment plant |  | 625099 | 437569.3 | 187529.7 | 0 | 0 | 0 | 0 | 0 | 0 | balance
distribution & transmission (DT)
TM | transmission mains | 73446 | 73368 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 100% COMM
DS | distribution lines | 606110 | 0 | 242007.2 | 246688.6234 | 0 | 0 | 116322.1766 | 0 | 1092 | dist main analysis
TK | storage tanks | 166824 | 0 | 52956.4 | 53980.7965 | 0 | 0 | 25453.8035 | 0 | 34433 | dist main analysis
PM | pumping | 68913 | 48239.1 | 20673.9 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
EQ | equipment | 43437 | 0 | 17374.8 | 17710.9007 | 0 | 0 | 8351.2993 | 0 | 0 | dist main analysis
VE | vehicles | 13587 | 1466.9152 | 4838.6768 | 4932.2768 | 0 | 0 | 2325.7383 | 0 | 23.3929 | as trans & dist lines
MT | meters | 52383 | 0 | 0 | 0 | 0 | 52307 | 0 | 0 | 76 | 100 WCMS
HE | heavy equipment | 17169 | 1853.6444 | 6114.3182 | 6232.5945 | 0 | 0 | 2938.8828 | 0 | 29.5601 | as trans & dist lines
WS | wholesale meters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | direct assignment
total transmission & distribution |  | 1041869 | 124927.6596 | 343965.295 | 329545.1919 | 0 | 52307 | 155391.9005 | 0 | 35731.953 | balance
shared use
BL | structures | 51249 | 5533.0784 | 18251.0742 | 18604.1257 | 0 | 0 | 8772.4856 | 0 | 88.236 | as trans & dist lines
total TY annual depreciation |  | 1751642 | 591193.5055 | 559629.2259 | 348276.0546 | 0 | 52335.2441 | 164224.147 | 0 | 35983.8229 | balance
| Auditor adjustment | -5426.46 | -5426.46 | 0 | 0 | 0 | 0 | 0 | 0 | 0
total TY annual depreciation |  | 1746215.54 | 585767.0455 | 559629.2259 | 348276.0546 | 0 | 52335.2441 | 164224.147 | 0 | 35983.8229
Note on P4: Connie Lea Allen, PE: I have to create a spreadsheet in order to change service life of pipe to PSC's 62.5. My spreadsheet is more crude than the accountant's because I use years to calculate; the accountant uses months. My depreciation will always be a little different than the Audit, even before the alteration of pipe service life.
Note on L8: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on L12: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on L13: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on L14: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on L15: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on L22: Connie Allen: average day (4,450,668) to peak day (6,320,580), so, 70% commodity (4450K/6320K) and 30% capacity
Note on C33: Connie Lea Allen, PE: This differs from the Auditor's number by almost $90,000; however, I had to create my own spreadsheet (because I had to change the pipe SL for PSC) and my spreadsheet does not allow for partial years. This will not be much of an issue with the pro-forma depreciation because I won't use many, if any, new assets unless they had at least 1 used and useful year.

## PF deprec
weighted customer
| account description | total depreciation | commodity (COMM) | capacity (CAP) | actual customer (AC) | customer accounting (WCA) | meters and services (WCMS) | public fire (PFP) | revenue related (RR) | direct assign (DA) | basis of classification
intangible
MC | legal, capitalizd int, study | 941 | 941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | COMM
total intangible plant |  | 941 | 941 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | balance
source of supply (SS)
EQ | equipment & line | 32484 | 22738.8 | 9745.2 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
total source of supply |  | 32484 | 22738.8 | 9745.2 | 0 | 0 | 0 | 0 | 0 | 0 | balance
water treatment plant (WTP)
BL | structures | 50661 | 35462.7 | 15198.3 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
TR | treatment | 482169 | 337518.3 | 144650.7 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
SH | sludge handling | 3029 | 2120.3 | 908.7 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
EQ | equipment | 19113 | 13379.1 | 5733.9 | 0 | 0 | 0 | 0 | 0 | 0 | 70 COMM/30 CAP
total water treatment plant |  | 554972 | 388480.4 | 166491.6 | 0 | 0 | 0 | 0 | 0 | 0 | balance
distribution & transmission (DT)
TM | transmission mains | 168089 | 103197.73 | 0 | 0 | 0 | 0 | 0 | 0 | 64891.27 | 100% COMM
DS | distribution lines | 339013 | 0 | 65863.252 | 67137.3206 | 0 | 0 | 31657.5574 | 0 | 174354.87 | dist main analysis
TK | storage tanks | 290170 | 0 | 76796.4 | 78281.961 | 0 | 0 | 36912.639 | 0 | 98179 | dist main analysis
PM | pumping | 67133 | 32677.4 | 14004.6 | 0 | 0 | 0 | 0 | 0 | 20451 | 70 COMM/30 CAP
EQ | equipment | 43437 | 0 | 17374.8 | 17710.9007 | 0 | 0 | 8351.2993 | 0 | 0 | dist main analysis
VE | vehicles | 13587 | 2765.0208 | 1764.7022 | 1798.8388 | 0 | 0 | 848.2144 | 0 | 6410.2238 | as trans & dist lines
MT | meters | 141113 | 0 | 0 | 0 | 0 | 141113 | 0 | 0 | 0 | 100 WCMS
HE | heavy equipment | 10526 | 2142.0923 | 1367.1344 | 1393.5805 | 0 | 0 | 657.1212 | 0 | 4966.0717 | as trans & dist lines
WS | wholesale meters | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | direct assignment
total transmission & distribution |  | 1073068 | 140782.2431 | 177170.8886 | 166322.6016 | 0 | 141113 | 78426.8313 | 0 | 369252.4354 | balance
shared use
BL | structures | 51249 | 10429.4214 | 6656.3054 | 6785.066 | 0 | 0 | 3199.3922 | 0 | 24178.815 | as trans & dist lines
total PF annual depreciation |  | 1712714 | 563371.8645 | 360063.994 | 173107.6676 | 0 | 141113 | 81626.2234 | 0 | 393431.2504 | balance
Note on C19: Connie Lea Allen, PE: this is from my PF worksheet plus new transmission main at ($4,133,450/62.5)
Note on C20: Connie Lea Allen, PE: the addition of $3,502 is the difference in the test year used and useful for Downtown Waterline Replacement and the installed cost; the other is from my worksheet
Note on C21: Connie Lea Allen, PE: $141,364 (from my worksheet) plus $42,600 and new tank annual depreciation at $4,779,250/45
Note on C25: Connie Lea Allen, PE: addt'l pro forma changes of $37,375 and $53,663 for 2 phases of AMI meter changeout

## debt svc
fnctn | issue/loan | description | % water | annual water portion of DS | interest payment | principal payment | total annual debt service | outstanding principal | fiscal year ended
for WTP - all | KIA | water matures 2032 ($3,500,000) | 100% | 233031 | 56697 | 176334 | 233031 | 1966966 | 30 June 2024
see note 1 | KIA | water matures 2033 ($1,800,000) | 100% | 119794 | 32223 | 87571 | 119794 | 1114004 | 30 June 2024
bashwash - all | KIA | water matures 2037 ($1,220,499) | 100% | 72590 | 15960 | 56630 | 72590 | 926071 | 30 June 2024
chloramine - all | KIA | water matures 2039 ($1,123,048) | 100% | 66794 | 16470 | 50324 | 66794 | 953661 | 30 June 2024
| KIA |  | 100% | 30046.57 | 28776.01 | 1270.56 | 30046.57
| KIA |  | 100% | 24912.11 | 23904.53 | 1007.58 | 24912.11
|  |  |  | 547167.68 | 174030.54 | 373137.14
fnctn | issue/loan | description | % water | annual sewer portion of DS | interest payment | principal payment | total annual debt service | outstanding principal | fiscal year ended
| KIA | sewer matures 2032 ($1,800,000) | 0% | 109640 | 18433 | 91207 | 109640 | 944331 | 30 June 2024
| KIA | sewer matures 2041 ($6,218,035) | 0% | 378758 | 115352 | 263406 | 378758 | 5832626 | 30 June 2024
| KIA | sewer matures 2043 ($1,326,918) | 0% | 38520 | 9953 | 28567 | 38520 | 1326916 | 30 June 2024
|  |  |  | 526918 | 143738 | 383180
note 1 - per JF, for 16" transmission main from Bloomfield Road to NCIP tank; serves Bloomfield, industrial, commercial and residential at same percentage allocation as Mago pump station ($844,550; 47% of loan); remainder ($955,450; 53% of loan) for metering.
WATER future principal and interest requirements YE 2024 |  |  |  | 547167.68 | 174030.54 | 373137.14
payments made during test year (YE 30 June 2023) |  |  |  |  | 141823 |  | from Audit (may include other)
Note on H6: Connie Lea Allen, PE: actually, principal isn't due yet; this is loan service fee
Note on H7: Connie Lea Allen, PE: actually, principal isn't due yet; this is loan service fee

## COMM-1
Commodity Distribution Factor
Customer Class | FY21 Metered Water (gallons) | % of sales | Plus % Non-Revenue | Total at the Source (gallons) | % of loss
Owner Residential | 196524700 | 14.24% | 11.53% | 219187146.7079 | 14.24% | average residential daily usage (ERU), in gallons based on residential customers, only (this is per household) | 125.4046 | 3793.4882
Non-Owner Residential | 301874800 | 21.87% | 11.53% | 336685801.1997 | 21.87% |  |  | average monthly residential usage in gallons
Owner Commercial | 172154000 | 12.47% | 11.53% | 192006114.5208 | 12.47%
Non-Owner Commercial | 42388700 | 3.07% | 11.53% | 47276796.2788 | 3.07%
Owner Industrial | 241303300 | 17.48% | 11.53% | 269129436.7487 | 17.48%
Non-Owner Industrial | 52896100 | 3.832% | 11.53% | 58995867.8526 | 3.832%
"City Books" | 43012500 | 3.116% | 11.53% | 47972530.4136 | 3.116%
Wholesale - Bloomfield | 170084700 | 12.32% | 11.53% | 189698191.0756 | 12.32% | average per person water usage, in gallons, at home, per US EPA (USGS 2015) | 82
Wholesale - Larue County Water District | 72623000 | 5.26% | 11.53% | 80997595.495 | 5.26%
Wholesale - North Nelson Water District | 87672600 | 6.351% | 11.53% | 97782655.5057 | 6.351%
Total | 1380534400 | 100% |  | 1539732135.7985 | 100% | people per household Nelson County U.S. Bureau of Census | 2.48
DISTRIBUTION FACTOR |  |  |  | (COMM-1)
gallons
water treated (through HS pumps) | 1600933020 |  | 11.53% | percent PSC-defined loss
|  |  | 15% | water loss limit for wholesale
water sales | 1380534400
accounted-for non-revenue (flushing & fire) | 35785392 |  | 0% | credit to wholesale
|  |  | 0 | gallons for direct to make up
|  |  | 0% | direct customer add
unaccounted-for water (loss) | 184613228
Note on B2: Connie Allen: from usage summaries from Jessica, test year unshifted
Note on A9: Connie Lea Allen, PE: So, "City Books" is a category for city-owned facilities, and almost all Jerry Riley WWTP and the WTP. As of now, Bardstown charges the WWTP "outside city" rates. I'm carrying it through, basically as another owner commercial class. I will recommend they do not charge the WWTP the differential.
Note on A11: Connie Lea Allen, PE: includes four months of New Haven prior to merger
Note on B17: Connie Allen: from Jessica's "water loss tracker" unshifted
Note on B19: Connie Lea Allen, PE: matches with "water loss tracker" which is 1,380,534,400 gallons

## CAP-1
Capacity Distribution Factor
Customer Class | Total Annual plus NR Water (gallons) | Ave Day Use plus NR Water (gallons) | Peaking Factor | Peak Day Est'd (gallons) | % of Total
Owner Residential | 219187146.7079 | 600512.7307 | 3 | 1801538.1921 | 20.28%
Non-Owner Residential | 336685801.1997 | 922426.8526 | 3 | 2767280.5578 | 31.16% | reduce $0.20 going from 2.5 to 2.0 on industrial
Owner Commercial | 192006114.5208 | 526044.1494 | 1.4 | 736461.8091 | 8.292%
Non-Owner Commercial | 47276796.2788 | 129525.4693 | 1.4 | 181335.657 | 2.042%
Owner Industrial | 269129436.7487 | 737340.9226 | 2 | 1474681.8452 | 16.6%
Non-Owner Industrial | 58995867.8526 | 161632.5147 | 2 | 323265.0293 | 3.64%
"City Books" | 47972530.4136 | 131431.5902 | 1.4 | 184004.2262 | 2.072%
Wholesale - Bloomfield | 189698191.0756 | 519721.0714 | 1.4 | 727609.5 | 8.192%
Wholesale Larue County Water District | 80997595.495 | 221911.2205 | 1.4 | 310675.7087 | 3.498%
Wholesale - North Nelson Water District | 97782655.5057 | 267897.6863 | 1.4 | 375056.7608 | 4.223%
Total | 1539732135.7985 | 4218444.2077 |  | 8881909.2864 | 100%
DISTRIBUTION FACTOR |  |  | (CAP-1)
Note on D2: Connie L Allen: the peaking factor reflects the way the customer class used the distribution system at the current time; if demands significantly change in quantity or diurnal pattern, the peaking factor will have to be adjusted
Note on A11: Connie Lea Allen, PE: includes four months of New Haven prior to merger

## CUST-X
Customer Distribution Factors
Customer Class | Ave Number of Customers or Meters | % of Total | Customer Accounting Weighting Factor | Customers Weighted for Customer Accounting | % of Total | Meters and Services Weighting Factor. (see note 1) | Weighted Customer | % of Total | using meter equivalent ratio from AWWA Manual M-1, Table VI.2-5, page 274
Owner Residential | 4847.5833 | 38.45% | 1 | 4847.5833 | 35.94% | 650 | 3150929.1667 | 31.12% | 5/8 | 1
Non-Owner Residential | 6041 | 47.92% | 1 | 6041 | 44.79% | 650 | 3926650 | 38.78% | 5/8 | 1
Owner Commercial | 1137.25 | 9.021% | 1.5 | 1705.875 | 12.65% | 1625 | 1848031.25 | 18.25% | 1 | 2.5
Non-Owner Commercial | 496.6667 | 3.94% | 1.5 | 745 | 5.523% | 1625 | 807083.3333 | 7.971% | 1 | 2.5
Owner Industrial | 56 | 0.4442% | 2 | 112 | 0.8304% | 5200 | 291200 | 2.876% | 2 | 8
Non-Owner Industrial | 7.9167 | 0.06279% | 2 | 15.8333 | 0.1174% | 5200 | 41166.6667 | 0.4066% | 3 | 16
"City Books" | 17.75 | 0.1408% | 1 | 17.75 | 0.1316% | 1625 | 28843.75 | 0.2849% | 2 | 8
Wholesale - Bloomfield | 1 | 0.007932% | 1 | 1 | 0.007414% | 10400 | 10400 | 0.1027% | 3 | 16
Wholesale Larue County Water District | 1 | 0.007932% | 1 | 1 | 0.007414% | 10400 | 10400 | 0.1027% | 3 | 16
Wholesale - North Nelson Water District | 1 | 0.007932% | 1 | 1 | 0.007414% | 10400 | 10400 | 0.1027% | 3 | 16
Total | 12607.1667 | 100% |  | 13488.0417 | 100% |  | 10125104.1667 | 100%
DISTRIBUTION FACTOR | AC | (CUST-1) |  | WCA | (CUST-2) |  | WCMS | (CUST-3)
Meters and Services Weighting Factor based on meter equivalent ratios from AWWA Manual M-1, Table VI.2-5, page 274
Note 1: Bardstown is going to incorporate minimum bills based on size of meter, for example, a customer with a 2-inch meter will pay a minimum bill of the customer charge + (volumetric rate * (2,000 gallons * 8)), 8 being the meter equivalent ratio from AWWA. Therefore, using a factor, here, is not necessary.
Note on A12: Connie Lea Allen, PE: When COS rates are implemented, North Nelson will no longer be buying water from Bardstown (only some pass-through volumes). They will still have a customer cost but volumetric costs will be re-allocated using the COMM/CAP factor--if re-allocated at all

## PFP-1
Public Fire Distribution Factor
Customer Class | Number of Units | Public Fire Protection Requirements (GPM) | Duration (mins) | Total Fire Protection Requirement (MG) | % of Total
Owner Residential | 4847.5833 | 750 | 120 | 436.2825 | 22.9%
Non-Owner Residential | 6041 | 750 | 120 | 543.69 | 28.54%
Owner Commercial | 1137.25 | 3000 | 180 | 614.115 | 32.24%
Non-Owner Commercial | 496.6667 | 3000 | 180 | 268.2 | 14.08%
Owner Industrial | 56 | 3000 | 180 | 30.24 | 1.588%
Non-Owner Industrial | 7.9167 | 3000 | 180 | 4.275 | 0.2244%
City Books | 17.75 | 2500 | 180 | 7.9875 | 0.4193%
Wholesale - Bloomfield | 1 | 0 | 120 | 0 | 0%
Wholesale Larue County Water District | 1 | 0 | 120 | 0 | 0%
Wholesale - North Nelson Water District | 1 | 0 | 120 | 0 | 0%
Total | 12607.1667 |  |  | 1904.79 | 100%
DISTRIBUTION FACTOR |  |  | (PFP-1)
This table is meant to distinguish the possible demands placed upon the water distribution system during fire fighting activities. It is not meant for fire protection design purposes as generalities were used, recognizing the vast differences in building size and construction materials that exist within the various customer classes.
Fire protection flow requirements are based on AWWA Manual M-31 (Table 1-6), specifically 750 gpm for 1 and 2-family dwellings, 31 to 100 feet apart, 3000 gpm for the example of a supermarket, 30 feet away from the exposure building of masonry construction; and, that same example building but 60 feet away from the exposure building (2250 gpm). Again, these are not specific design requirements--just an estimate to differientiate demands between the customer classes.

## REV-1
Revenue Related Distribution Factor
Customer Class | Revenues at Present Rates | % of Total
Owner Residential | 1458426.46 | 19.17%
Non-Owner Residential | 2646608.5 | 34.78%
Owner Commercial | 945806.08 | 12.43%
Non-Owner Commercial | 304119.78 | 3.997%
Owner Industrial | 992139.71 | 13.04%
Non-Owner Industrial | 213482.34 | 2.806%
City Books | 177591.06 | 2.334%
Wholesale - Bloomfield | 447870.59 | 5.886%
Wholesale Larue County Water District | 191724.72 | 2.52%
Wholesale - North Nelson Water District | 230828.3 | 3.034%
Total | 7608597.54 | 100%
REVENUE RELATED DISTRIBUTION FACTOR |  | (REV-1)
Note on B2: Connie Lea Allen, PE: from utility summaries from Jessica, test year unshifted
Note on A11: Connie Lea Allen, PE: includes four months of New Haven prior to merger

## distr main analysis
Distribution Main Analysis
Pipe Size (in) | Linear Feet | Installed Cost ($/LF) | Replacement Cost ($)
2 | 92174 | 32 | 2949568
3 | 21511 | 37 | 795907
4 | 420136 | 60 | 25208160
6 | 739612 | 75 | 55470900
8 | 410078 | 82 | 33626396
10 | 21224 | 90 | 1910160
12 | 91535 | 130 | 11899550
16 | 117597 | 143 | 16816371
18 | 247 | 148 | 36556
20 | 13036 | 162 | 2111832
24 | 4272 | 177 | 756144
Totals | 1931422 |  | 151581544
Customer % = total LF X $20.00 = |  | 61805504
divided by | 151581544 | gives | 40.77%
Customer Component
Add cost of 2 inch through 6 inch pipe |  |  | 84424535
Equivalent for 8 inch through 24 inch
Add | 410078 | 21224 | 91535
117597 | 247 | 13036 | 4272
|  | multiplied by | 75
Add | -61805504 | 84424535 | 49349175
| customer component | gives | 71968206
|  | divided by | 151581544
40%
Capacity Component
100% | minus | 40.77% | 40%
19.23%
Fire Protection Component
Note on B2: Connie Lea Allen, PE: from Dylan Durbin (Bardstown) 6 June 2025 email

## DA rate base
Annotation of Direct Assignments for Rate Base
Direct Assignment | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale |  |  | notes
|  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue County | North Nelson
land | 22601.9462 | 3217.4792 | 4942.2586 | 2818.485 | 693.9828 | 4816.5978 | 704.1956 | 2784.6066 | 1188.9752 | 1435.3655 | by usage proportion
transmission mains | 868400 |  |  |  |  | 868400 |  |  |  |  | note 1
distribution lines | 7012330.59 | 168093.6616 | 3797892.3451 | 232286.1094 |  | 1540234.1524 |  |  | 1273824.3215 |  | note 2
storage tanks | 1665606.08 |  | 407876.1053 |  |  | 1257729.9747 |  |  |  |  | note 3
pumping | 787610.72 | 207505.0679 |  | 207505.0679 |  | 372600.5841 |  | 0 |  |  | note 4
grants in aid of const | -259815 |  |  | -157996 |  | -101819
grants in aid of const | -868400 |  |  |  |  | -868400
accumulated depreciation | -4459672.134 | -234243 | -777732 | -259991 | -35847 | -2605078 |  | 0 | -546781 |  | as accum deprec
materials & supplies | 47803.1805 | 11950.7951 | 11950.7951 | 11950.7951 | 11950.7951 | [5 empty] | most service related
1/8 O&M (working capital) | 7502.1625 | 1067.9634 | 1640.4617 | 935.5271 | 230.3506 | 1598.7517 | 233.7405 | 924.282 | 394.6512 | 476.4344 | by usage proportion
Total of Direct Assign for Rate Base | 4823967.5451 | 157591.9672 | 3446569.9658 | 37508.9844 | -22971.8715 | 470083.0608 | 937.936 | 3708.8886 | 728626.9478 | 1911.7999 |  | 0
note 1: | ...the 16-inch to the industrial park
note 2: | ...some residential (Owner and Non-Owner) split with commercial, and some industrial
note 3: | ...the Boston Road tank
note 4: | ...the Mago pumping station which serves residential, commercial, industrial and Bloomfield

## DA expense
Annotation of Direct Assignments for Expenses
Direct Assignment | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale |  |  | notes
|  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue County | North Nelson
maint (not incl elsewhere) | 36884 |  |  |  | 13237 | 16165 |  | 7482 |  |  | Mago & tank maint
elected official salary | 25914 | 4849.5179 | 7449.1768 | 4248.1373 | 1045.9996 | 7259.7757 | 1061.3927 |  |  |  | demand proportion
elected official health | 9583 | 1793.3522 | 2754.7064 | 1570.9616 | 386.8108 | 2684.6659 | 392.5031 |  |  |  | demand proportion
elected official retirement | 2381 | 445.5778 | 684.4366 | 390.3224 | 96.1073 | 667.0343 | 97.5217 |  |  |  | demand proportion
insurance & surety bonds | 30439 | 1888.9808 |  | 2727.2248 |  | 23933.8136 |  | 1888.9808 |  |  | as plant in service
depr - transmission mains | 64891.27 | 4027 |  | 5814 |  | 51023 |  | 4027 |  |  | by asset; note 1
depr - distribution lines | 174354.87 | 92 | 65928.21 | 28843 |  | 61256.08 |  |  | 18235 |  | by asset; note 2
depr - storage tanks | 98179 | 6164 |  | 9246 | 24474 | 58296 |  |  |  |  | by asset; note 3
depr - pumping | 20451 | 14 |  | 14 | 1990.5 | 10562 |  | 5881 | 1990.5 |  | by asset; note 4
depr - vehicles & equipmt | 11376.2954 | 195.8609 | 3134.9254 | 1647.9608 | 0 | 5338.9367 | 0 | 191.4862 | 867.085 | 0 | trans & distr lines
depr - shared use | 24178.815 | 416.2765 | 6662.8703 | 3502.5233 | 0 | 11347.2054 | 0 | 406.9787 | 1842.8748 | 0 | trans & distr lines
Total of Direct Assign for Expenses | 498632.2504 | 19886.566 | 86614.3254 | 58004.1303 | 41230.4177 | 248533.5115 | 1551.4175 | 19877.4458 | 22935.4599 | 0 | rounding error only
note 1: | Heaven Hill and Nazareth TMs (comm/ind); 16-in to Ind Pk (ind); 16-in Mago PS to Bloomfield Rd (res/comm/ind/Bloomfield)
note 2: | New Haven waterlines (Larue); contributed lines (NO res); various (comm/ind); Hur-be, Life Care Way (res)
note 3: | coatings & extension of life (ind); Withrow (res/comm/ind); Boston and Botland (NO res)
note 4: | Mago PS (res/comm/ind/Bloomfield); Nelson Ind Park (ind); Culvertown $3,981, (50% to LCWD and 50% to NO comm)
Note on L6: Connie Lea Allen, PE: doing this only to keep the cost away from wholesale customers, spec., regulated utilities

## rate base
Rate Base - Distribution of Costs
Direct Assignment | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale |  |  | notes
|  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue County | North Nelson
commodity (COMM) | 11887763.4259 | 1692271.5877 | 2599439.9029 | 1482415.8129 | 365008.534 | 2533347.1352 | 370380.0676 | 1464597.098 | 625355.6907 | 754947.5969 | COMM-1
capacity (CAP) | 4078046.6399 | 827159.6269 | 1270571.3171 | 338139.6397 | 83258.5926 | 825510.7065 | 84483.8415 | 334075.1837 | 142643.8831 | 172203.8487 | CAP-1
actual customer (AC) | -1286862.3518 | -494811.6142 | -616628.2776 | -116083.5141 | -50696.6911 | -6524.2218 | -1811.8113 | -102.0739 | -102.0739 | -102.0739 | CUST-1
customer accounting (WCA) | 24086.2775 | 8656.5745 | 10787.7189 | 3046.2672 | 1330.3841 | 228.2784 | 31.6971 | 1.7858 | 1.7858 | 1.7858 | CUST-2
meters and services (WCMS) | 1028946.3537 | 320207.775 | 399039.0749 | 187803.0077 | 82018.4602 | 33776.1927 | 2931.1966 | 1056.8822 | 1056.8822 | 1056.8822 | CUST-3
public fire (PFP) | 1846187.1159 | 422859.8063 | 526962.8007 | 595221.1009 | 259948.5426 | 33453.1094 | 7741.7561 | 0 | 0 | 0 | PFP-1
revenue related (RR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RR-1
direct assign (DA) | 4823967.5451 | 157591.9672 | 3446569.9658 | 37508.9844 | -22971.8715 | 470083.0608 | 937.936 | 3708.8886 | 728626.9478 | 1911.7999 | direct assignment
Total Rate Base | 22402135.0063 | 2933935.7233 | 7636742.5026 | 2528051.2987 | 717895.9509 | 3889874.2613 | 464694.6837 | 1803337.7644 | 1497583.1157 | 930019.8396 | rounding error
-0.13404

## expenses
Expenses - Distribution of Costs
Assignment | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale |  |  | Basis of Distribution
|  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue County | North Nelson
commodity (COMM) | 3973224.4902 | 565604.7042 | 868805.8395 | 495465.009 | 121996.106 | 846715.7798 | 123791.4234 | 489509.4939 | 209011.4394 | 252324.695 | COMM-1
capacity (CAP) | 1568554.61 | 318153.5575 | 488704.6846 | 130059.9374 | 32024.0695 | 317519.327 | 32495.3417 | 128496.6102 | 54865.66 | 66235.4222 | CAP-1
actual customer (AC) | 1313321.8821 | 504985.5717 | 629306.941 | 118470.3391 | 51739.0797 | 6658.3681 | 1849.0644 | 104.1726 | 104.1726 | 104.1726 | CUST-1
customer accounting (WCA) | 339402.6833 | 121980.8502 | 152011.0673 | 42925.3235 | 18746.6057 | 3216.6995 | 446.6473 | 25.1632 | 25.1632 | 25.1632 | CUST-2
meters and services (WCMS) | 455540.0816 | 141763.9272 | 176664.4996 | 83145.0514 | 36311.6074 | 14953.5586 | 1297.7135 | 467.908 | 467.908 | 467.908 | CUST-3
public fire (PFP) | 384279.7911 | 88017.3394 | 109686.1489 | 123893.9641 | 54107.7179 | 6963.1912 | 1611.4295 | 0 | 0 | 0 | PFP-1
revenue related (RR) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | RR-1
direct assign (DA) | 498617.1418 | 19886.566 | 86614.3254 | 58004.1303 | 41230.4177 | 248533.5115 | 1551.4175 | 19877.4458 | 22935.4599 | 0 | direct assign
Total Expenses | 8532940.8 | 1760392.5162 | 2511793.5064 | 1051963.7548 | 356155.604 | 1444560.4357 | 163043.0374 | 638480.7937 | 287409.8032 | 319157.361 | rounding error only
-16.1323
Note on L12: Connie Lea Allen, PE: rounding error only

## summary
Line No. | Cost Component | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale
|  |  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue County | North Nelson
1 | revenues at present rates | 7608597.54 | 1458426.46 | 2646608.5 | 945806.08 | 304119.78 | 1205622.05 | 177591.06 | 447870.59 | 191724.72 | 230828.3
2 | allocated revenue requirement | 8532940.8 | 1760392.5162 | 2511793.5064 | 1051963.7548 | 356155.604 | 1444560.4357 | 163043.0374 | 638480.7937 | 287409.8032 | 319157.361
3 | net income | -924343.26 | -301966.0562 | 134814.9936 | -106157.6748 | -52035.824 | -238938.3857 | 14548.0226 | -190610.2037 | -95685.0832 | -88329.061
4 | rate base | 22402135.0063 | 2933935.7233 | 7636742.5026 | 2528051.2987 | 717895.9509 | 3889874.2613 | 464694.6837 | 1803337.7644 | 1497583.1157 | 930019.8396
5 | present return on rate base | -4.126% | -10.29% | 1.765% | -4.199% | -7.248% | -6.143% | 3.131% | -10.57% | -6.389% | -9.498%
6 | proposed rate of return | 2.238% | 0% | 6% | 0% | 6% | 0% | 0% | 0% | 0% | 0%
7 | proposed return component | 501278.3072 | 0 | 458204.5502 | 0 | 43073.7571 | 0 | 0 | 0 | 0 | 0
8 | proposed rate revenues | 9034219.1072 | 1760392.5162 | 2969998.0565 | 1051963.7548 | 399229.361 | 1444560.4357 | 163043.0374 | 638480.7937 | 287409.8032 | 319157.361
9 | balance (deficiency) of funds | -1425621.5672 | -301966.0562 | -323389.5565 | -106157.6748 | -95109.581 | -238938.3857 | 14548.0226 | -190610.2037 | -95685.0832 | -88329.061
10 | change over present rates | -18.74% | -20.7% | -12.22% | -11.22% | -31.27% | -19.82% | 8.192% | -42.56% | -49.91% | -38.27%
|  |  | O Res | N-O Res | O Com | N-O Com | Ind | City | W Bloom | W LC | W NN

## unit cost
Cost Component | Total | Residential |  | Commercial |  | Industrial | City Books | Wholesale
|  | Owner | Non-Owner | Owner | Non-Owner |  |  | Bloomfield | Larue Co | North Nelson
Allocated Commodity Costs | 3973224.4902 | 565604.7042 | 868805.8395 | 495465.009 | 121996.106 | 846715.7798 | 123791.4234 | 489509.4939 | 209011.4394 | 252324.695 |  | 8532940.68 | matches expenses
Commodity Costs - $/1000 gal | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 | 2.878 |  | 9034218.9872 | total, with return component
Allocated Capacity Costs | 1568554.61 | 318153.5575 | 488704.6846 | 130059.9374 | 32024.0695 | 317519.327 | 32495.3417 | 128496.6102 | 54865.66 | 66235.4222
Capacity Costs - $/1000 gal | 1.1362 | 1.6189 | 1.6189 | 0.75549 | 0.75549 | 1.0793 | 0.75549 | 0.75549 | 0.75549 | 0.75549
Allocated Pub Fire Pro Costs | 384279.7911 | 88017.3394 | 109686.1489 | 123893.9641 | 54107.7179 | 6963.1912 | 1611.4295 | 0 | 0 | 0
PFP Costs - $/1000 gal | 0.27836 | 0.44787 | 0.36335 | 0.71967 | 1.2765 | 0.023668 | 0.037464 | 0 | 0 | 0
Allocated Direct Assignments | 498617.1418 | 19886.566 | 86614.3254 | 58004.1303 | 41230.4177 | 248533.5115 | 1551.4175 | 19877.4458 | 22935.4599 | 0
DA Costs - $/1000 gal | 0.36118 | 0.10119 | 0.28692 | 0.33693 | 0.97267 | 0.84478 | 0.036069 | 0.11687 | 0.31582 | 0
Allocated Return Component | 501278.3072 | 0 | 458204.5502 | 0 | 43073.7571 | 0 | 0 | 0 | 0 | 0
Retn Cmp Costs - $/1000 gal | 0.3631 | 0 | 1.5179 | 0 | 1.0162 | 0 | 0 | 0 | 0 | 0
Allocated Customer Costs | 2108264.6469 | 768730.3491 | 957982.5079 | 244540.7141 | 106797.2929 | 24828.6262 | 3593.4252 | 597.2438 | 597.2438 | 597.2438 | COS | current rates
Customer Costs - $/Cust/Mn |  | 13.215 | 13.215 | 17.919 | 17.919 | 32.3711 | 16.8705 | 49.7703 | 49.7703 | 49.7703 | 23.307 | 18.18 | minimum, inside city (2,000 gal)
Volumetric Cost - $/1000 gal |  | 5.046 | 6.6651 | 4.6901 | 6.8988 | 4.8257 | 3.7071 | 3.7504 | 3.9493 | 3.6335 | 26.5451 | 26.63 | minimum, outside city (2,000 gal)
Basic Data: | [11 empty] | 5.72 | per 1,000 for next 76,000 gal
TY Water Purchase (in Kgal) | 1380534.4 | 196524.7 | 301874.8 | 172154 | 42388.7 | 294199.4 | 43012.5 | 170084.7 | 72623 | 87672.6 |  | 4.36 | per 1,000 gallons over 78,000 gal
Number of Customers | 12607.1667 | 4847.5833 | 6041 | 1137.25 | 496.6667 | 63.9167 | 17.75 | 1 | 1 | 1
average residential and commercial - owner |  |  | 4.8798 | minimum bill |  | 22.9746 |  | 3.8099 | if single wholesale rate
average residential and commercial - non-owner |  |  | 6.6938 | minimum bill |  | 26.6027