## Ex SCW-4
KPSC Case No. 2012-00578
Kentucky Industrial Utility Customers First Set of Data Requests
Dated February 6, 2013
Item No. 11
Attachment 1
Page 1 of 1
Estimated Non-Recurring Major Environmental Capital Expenditures
Associated with Emerging and Proposed U.S. EPA Rulemaking
o Mercury and Air Toxics Standards (MATs) Rule
o Coal Combustion Residuals (CCR) Rule
o Clean Water Act "316(b)" Rule
o Steam Electric Effluent Limitations Guidelines (ELG)
o NPDES Permit Limits (Mitchell only)
Included in Strategist® KPCo-Resource Modeling for either Big Sandy or Mitchell Plants 'Options'
All Costs Exclude AFUDC
| ($000) | 2012 Est. * | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | Total
Option #1 (Big Sandy 2 Retrofit)
(Excluding DFGD & Assoc. Projects)
| BS U2 Ash Waste Water Treatment System | 0 | 0 | 0 | 781.0001 | 9621 | 17335.9999 | 6934.0001 | 0 | 0 | 0 |  | 34672.0001
| BS U2 316(b) | 0 | 0 | 0 | 17 | 35 | 178 | 1157 | 0 | 0 | 0 |  | 1387.0001
| BS U2 Bottom Ash Pond Reline | 0 | 0 | 0 | 0 | 883 | 4089 | 4213 | 0 | 0 | 0 |  | 9185
| TOTAL | 0 | 0 | 0 | 798.0001 | 10539 | 21602.9999 | 12304.0001 | 0 | 0 | 0 |  | 45244.0002
|  | 2012 Est. * | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  | Total
Option #5 (Big Sandy 1 Convert to Gas)
| BS U1 316(b) |  | 0 | 71.292 | 159.882 | 199.659 | 356 | 2312 | 0 | 0 | 0 |  | 3098.833
|  | 2012 Est. * | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Subtotal | Total
Options #1A, 2A, 3A, 5A & 6 (Mitchell Asset Transfer) | [11 empty] | (2014-2021)
| 100% of Est. Unit Costs | (A) | 2013: (A) |  | (A)
| ML U1&2 Dry Fly Ash Conversion | 29219.0515 | 54797.7791 | 20779.5407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 20779.5407 | 104796.3713
| ML U1&2 Bottom Ash Pond Reline | 0 | 0 | 0 | 0 | 1442.145 | 6417.1256 | 6784.9592 | 0 | 0 | 0 | 14644.2298 | 14644.2298
| ML U1 Ash Waste Water Treatment System | 566.4245 | 1528.6375 | 4345.6178 | 3335.7896 | 0 | 0 | 0 | 0 | 0 | 0 | 7681.4074 | 9776.4694
| ML U1 Electro-static Precipitator Upgrades (Ph 1) | 1223.7335 | 4527.3077 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5751.0412
| ML U1 316(b) | 0 | 0 | 40.2034 | 72.2498 | 88.3814 | 26.5042 | 42.0383 | 1143.0332 | 0 | 0 | 1412.4104 | 1412.4104
| ML U1 ELG Waste Water Treatment System | 0 | 0 | 0 | 1631.1621 | 4127.5185 | 6753.4087 | 7613.2825 | 0 | 0 | 0 | 20125.3718 | 20125.3718
| ML U1 Electro-static Precipitator Upgrades (Ph 2) | 0 | 0 | 0 | 0 | 0 | 0 | 5696.859 | 19172.8204 | 0 | 0 | 24869.6794 | 24869.6794
| ML U2 Ash Waste Water Treatment System | 566.4245 | 1528.6375 | 4345.6178 | 3335.7896 | 0 | 0 | 0 | 0 | 0 | 0 | 7681.4074 | 9776.4694
| ML U2 Electro-static Precipitator Upgrades (Ph 1) | 0 | 0 | 880.8532 | 4189.8252 | 0 | 0 | 0 | 0 | 0 | 0 | 5070.6785 | 5070.6785
| ML U2 316(b) | 0 | 0 | 40.2034 | 72.2498 | 88.8521 | 26.6363 | 42.1568 | 1143.1794 | 0 | 0 | 1413.2778 | 1413.2778
| ML U2 ELG Waste Water Treatment System | 0 | 0 | 0 | 1631.1621 | 4127.5185 | 6753.4087 | 7613.2825 | 0 | 0 | 0 | 20125.3718 | 20125.3718
| ML U2 Electro-static Precipitator Upgrades (Ph 2) | 0 | 0 | 0 | 0 | 0 | 12360.9022 | 10040.7142 | 0 | 0 | 0 | 22401.6164 | 22401.6164
| ML U0 New Haul Road and Landfill Expansion | 10107.6169 | 11673.3303 | 13733.7122 | 0 | 805.4964 | 3884.4586 | 5754.7791 | 4194.0544 | 4445.7428 | 4240.5741 | 37058.8176 | 58839.7648
| TOTAL | 41683.251 | 74055.692 | 44165.7485 | 14268.2283 | 10679.9119 | 36222.4444 | 43588.0715 | 25653.0874 | 4445.7428 | 4240.5741 | 183263.8089 | 299002.752
| 20% of TOTAL Mitchell (KPCo Options: #1A, 2A & 3A) | 8336.6502 | 14811.1384 | 8833.1497 | 2853.6457 | 2135.9824 | 7244.4889 | 8717.6143 | 5130.6175 | 889.1486 | 848.1148 | 36652.7618 | 59800.5504
| 50% of TOTAL Mitchell (KPCo Options: #5A & 6) | 20841.6255 | 37027.846 | 22082.8743 | 7134.1141 | 5339.9559 | 18111.2222 | 21794.0357 | 12826.5437 | 2222.8714 | 2120.2871 | 91631.9045 | 149501.376
* Note: 2012 represents a full-year forecast estimate
(A) Estimated Costs incurred prior to 1/1/2014 were incorporated into the overall "Asset Transfer" Cost
Source: AEP Generartion and Engineering, Projects & Field Services (EP&FS)