## Table 3
KPSC Case No. 2012-00578
Kentucky Industrial Utility Customers First Set of Data Requests
Dated February 6, 2013
Item No. 12
Attachment 1
Page 1 of 1
TABLE 3
|  | (a) | (b) | (c) | (d) | (e) | (f) | (g)
(1) | Estimated "Alternative" Capital Expenditures (A) |  |  | Direct (EPC) & Indirect Cost |  | KPCo Prod. Capital Overhead Alloc. | TOTAL COST (Excluding AFUDC)
(Excluding AFUDC)
(2) |  |  | Unit Capacity | Millions | $/kW Installed | Millions | Millions | $/kW Installed
(3) | Option #1: Big Sandy Unit 2 |  | MW | ('As-Spent' $) | (2011 $) | ('As-Spent' $) | ('As-Spent' $) | (2011 $)
(4) | RETROFIT Option |  | (C)
(5) |  | Dry (NID™) FGD (B) | 788 | 858 | 949.1866 | 89.7468 | 947.7468 | 1048.4715
(6) | Plus: Additional Non-Recurring BS2 Environmental
(7) | Costs included in Modeling (thru 2021) |  |  | 45.244 | 48.092 | 4.7325 | 49.9765 | 53.1224
(8) | TOTAL All Major Projects |  |  | 903.244 | 997.2786 | 94.4793 | 997.7233 | 1101.594
(9) |  |  | Unit Capacity
(10) |  |  | (w/ Duct-Firing) | Millions | $/kW Installed | Millions | Millions | $/kW Installed
(11) | Option #2: Big Sandy Unit 2 |  | MW | ('As-Spent' $) | (2011 $) | ('As-Spent' $) | ('As-Spent' $) | (2011 $)
(12) | REPLACEMENT Option
(13) |  | New-Build CC (@ BS site) | 918 | 1137.4 | 1076.8507 | 96.679 | 1234.079 | 1168.3831
(14) |  |  | Unit Capacity
(15) |  |  | (w/ Duct-Firing) | Millions | $/kW Installed | Millions | Millions | $/kW Installed
(16) | Option #3: Big Sandy Unit 2 |  | MW | ('As-Spent' $) | (2011 $) | ('As-Spent' $) | ('As-Spent' $) | (2011 $)
(17) | REPLACEMENT Option
(18) |  | BS1 CC Repowering | 802 | 1071.6 | 1161.2379 | 91.086 | 1162.686 | 1259.9432
(19) |  |  | Unit Capacity | Millions | $/kW Installed | Millions | Millions | $/kW Installed
(20) | Option #5: Big Sandy Unit 1 |  | MW | ('As-Spent' $) | (2011 $) | ('As-Spent' $) | ('As-Spent' $) | (2011 $)
(21) | REPLACEMENT Option |  | (D) |  |  | (E)
(22) |  | BS1 Gas Conversion | 268.27 | 53.829 | 181.4693 | N/A | 53.829 | 181.4693
(23) | Plus: Additional Non-Recurring BS1 Environmental
(24) | Costs included in Modeling (thru 2021) |  |  | 3.0988 | 9.543 | 0.28199 | 3.3808 | 10.4115
(25) | TOTAL All Major Projects |  |  | 56.9278 | 191.0123 | 0.28199 | 57.2098 | 191.8807
(26) |  |  | Unit Capacity | Millions | $/kW | Millions | Millions | $/kW
(27) | Options #1,2,3,5 & 6: Big Sandy Unit 1 or 2 |  | MW | ('As-Spent' $) | (2011 $) | ('As-Spent' $) | ('As-Spent' $) | (2011 $)
(28) | REPLACEMENT Option |  |  | (F) |  |  | No AFUDC would apply
(29) |  | Mitchell 1&2 Asset Transfer @ 20% | 312 | 214.3644 | 647.625 | N/A | 214.3644 | 647.625
(30) |  | Mitchell 1&2 Asset Transfer @ 50% | 780 | 535.911 | 647.625 | N/A | 535.911 | 647.625
(31) | Plus: Additional Non-Recurring Mitchell Environmental
(32) | Costs included in Modeling (thru 2021), post-1/2014
(33) |  | Mitchell 1&2 Asset Transfer @ 20% |  | 36.6528 | 99.2935 | 3.8339 | 40.4866 | 109.6796
(34) |  | Mitchell 1&2 Asset Transfer @ 50% |  | 91.6319 | 99.2935 | 9.5847 | 101.2166 | 109.6796
(35) | TOTAL All Major Projects
(36) |  | Mitchell 1&2 Asset Transfer @ 20% |  | 251.0172 | 746.9186 | 3.8339 | 254.851 | 758.3265
(37) |  | Mitchell 1&2 Asset Transfer @ 50% |  | 627.5429 | 746.9186 | 9.5847 | 637.1276 | 758.3265
(A) Represents AEP EP&FS and FEL capital cost estimates utilized for modeling purposes in Strategist®
(B)"DFGD" also includes necessary landfill and associated boiler modifications
(C) Reflects an assumed ~1.5% unit derate to compensate for assumed NID-FGD parasitic load
(D) Reflects an assumed ~3.5% unit derate; also reflects all required interconnection and gas pipeline/infrastructure costs
(E) Costs estimated were already 'fully-loaded'
(F) Reflects estimated "per book" cost @ 12/31/2013

## Supporting Cost Detail
KPSC Case No. 2012-00578
Kentucky Industrial Utility Customers First Set of Data Requests
Dated February 6, 2013
Item No. 12
Attachment 1
Page 1 of 1
DFGD and Alternative Project Cost Estimates
Cost per kW
| 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | TOTAL |  | "w/o ~20% Contengency" | "w/ ~20% Contengency" |  | Nominal | 2011 $
Nominal k$ | [14 empty] | ('As-Spent')$
Big Sandy 2 DFGD Retrofit
Total FGD Direct -- Contingency-Adj. | 0 | 0 | 9000 | 135000 | 205000 | 299000 | 210000 | 0 |  | 858000 |  |  |  |  | 1088.8325
AEP Allocated Costs/OH (10.46%) | 0 | 0 | 941.4 | 14121 | 21443 | 31275.4 | 21966 | 0 |  | 89746.8 |  |  |  |  | 113.8919
GRAND TOTAL FGD | 0 | 0 | 9941.4 | 149121 | 226443 | 330275.4 | 231966 | 0 |  | 947746.8
AFUDC (KPCo @ 8.58%) | 0 | 0 | 426.4861 | 7286.8555 | 24023.7633 | 20820.0923 | 0 | 0 |  | 52557.1972
GRAND TOTAL w/ AFUDC | 0 | 0 | 10367.8861 | 156407.8555 | 250466.7633 | 351095.4923 | 231966 | 0 |  | 1000303.9972
CCR & 316(b)
000020353 BS U2 Bottom Ash Reline |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
000020356 BS U2 Ash WWT System |  |  | 0 | 0 | 781.0001 | 9621 | 17335.9999 | 6934.0001 |  | 34672.0001
000021653 BS U2 316(b) |  |  | 0 | 0 | 17 | 35 | 178 | 1157 |  | 1387.0001
000021737 BS U2 BA Pond Reline |  |  | 0 | 0 | 0 | 883 | 4089 | 4213 |  | 9185
TOTAL CCR Direct | 0 | 0 | 0 | 0 | 798.0001 | 10539 | 21602.9999 | 12304.0001 |  | 45244.0002
2011 k$ | (Escalation Factor) |  | 3%
TOTAL Unit (Contingency-Adjusted) | [14 empty] | Cost per kW
Big Sandy 2 DFGD Retrofit | [15 empty] | 2011$
Total FGD Direct -- Contingency-Adj. | 0 | 0 | 8483.3632 | 123544.124 | 182139.8448 | 257920.0265 | 175871.6939 | 0 |  | 747959.0525 | [5 empty] | 949.1866
CCR & 316(b)
000020353 BS U2 Bottom Ash Reline | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
000020356 BS U2 Ash WWT System | 0 | 0 | 0 | 0 | 693.9085 | 8299.1591 | 14518.627 | 5637.9766 |  | 29149.6712
000021653 BS U2 316(b) | 0 | 0 | 0 | 0 | 15.1043 | 30.1913 | 149.0722 | 940.7469 |  | 1135.1147
000021737 BS U2 BA Pond Reline | 0 | 0 | 0 | 0 | 0 | 761.6836 | 3424.4731 | 3425.5545 |  | 7611.7112
TOTAL CCR Direct | 0 | 0 | 0 | 0 | 709.0128 | 9091.034 | 18092.1723 | 10004.2781 |  | 37896.4971 | [5 empty] | 48.092
New-Build CC (Brownfield @ BS site) | [14 empty] | Cost per kW
Cash Flow | 0% | 0% | 0.4836% | 5.513% | 29.98% | 46.03% | 17.99% |  |  | 100% |  |  |  |  | Nominal | '2011 $'/kW
Assuming 2x1 Mitsubishi 501-GAC (918-MW w/ Duct-Firing) | [14 empty] | ('As-Spent')$
Contingency-Adjusted
Nominal k$
Project Estimate (Per S&L/Kiewet Study) | 0 | 0 | 5000 | 57000 | 310000 | 476000 | 186000 | 0 |  | 1034000 |  | w/o Corp OH and Contingency |  |  |  |  | Includes pipeline costs
Contingency Adder @ 10% (Per EP&FS) | 0 | 0 | 500 | 5700 | 31000 | 47600 | 18600 | 0 |  | 103400
Total EPC | 0 | 0 | 5500 | 62700 | 341000 | 523600 | 204600 | 0 |  | 1137400 |  | Total (Nominal), excl. AFUDC |  |  | 1238.9978
AEP Allocated Costs/OH (Increm 8.5%) | 0 | 0 | 467.5 | 5329.5 | 28985 | 44506 | 17391 | 0 |  | 96679 |  | 1234079 |  |  | 105.3148
GRAND CC @ BS | 0 | 0 | 5967.5 | 68029.5 | 369985 | 568106 | 221991 | 0 |  | 1234079
Total '2011 $' EPC | 0 | 0 | 5184.2775 | 57379.382 | 302974.0833 | 451661.9595 | 171349.2789 | 0 |  | 988548.9813 | [5 empty] | 1076.8507
Total '2011 $' OH | 0 | 0 | 440.6636 | 4877.2475 | 25752.7971 | 38391.2666 | 14564.6887 | 0 |  | 84026.6634
Total '2011 $' TOTAL | 0 | 0 | 5624.9411 | 62256.6295 | 328726.8804 | 490053.2261 | 185913.9676 | 0 |  | 1072575.6447 | [5 empty] | 1168.3831
(Big Sandy Unit 1) Repowered CC | [14 empty] | Cost per kW
Cash Flow | 0% | 0% | 0.4479% | 5.487% | 30.01% | 46.02% | 18.03% |  |  | 100% |  |  |  |  | Nominal | '2011 $'/kW
Assuming 2x1 Mitsubishi 501-GAC (802-MW w/ Duct-Firing) | [14 empty] | ('As-Spent')$
Contingency-Adjusted
Nominal k$
Project Estimate (Per S&L/Kiewet Study) | 0 | 0 | 4000 | 49000 | 268000 | 411000 | 161000 | 0 |  | 893000 |  | w/o Corp OH and Contingency |  |  |  |  | Includes pipeline costs
Contingency Adder @ 20% (Per EP&FS) | 0 | 0 | 800 | 9800 | 53600 | 82200 | 32200 | 0 |  | 178600
Total EPC | 0 | 0 | 4800 | 58800 | 321600 | 493200 | 193200 | 0 |  | 1071600 |  | Total (Nominal), excl. AFUDC |  |  | 1336.1596
AEP Allocated Costs/OH (Increm 8.5%) | 0 | 0 | 408 | 4998 | 27336 | 41922 | 16422 | 0 |  | 91086 |  | 1162686 |  |  | 113.5736
GRAND CC @ BS | 0 | 0 | 5208 | 63798 | 348936 | 535122 | 209622 | 0 |  | 1162686
Total '2011 $' EPC | 0 | 0 | 4524.4604 | 53810.3296 | 285737.4346 | 425438.6525 | 161801.9584 | 0 |  | 931312.8354 | [5 empty] | 1161.2379
Total '2011 $' OH | 0 | 0 | 384.5791 | 4573.878 | 24287.6819 | 36162.2855 | 13753.1665 | 0 |  | 79161.591
Total '2011 $' TOTAL | 0 | 0 | 4909.0395 | 58384.2076 | 310025.1166 | 461600.9379 | 175555.1249 | 0 |  | 1010474.4264 | [5 empty] | 1259.9432
(Big Sandy Unit 1) Gas Conversion |  |  | 3514 | 7879 | 15285 | [9 empty] | Cost per kW
Cash Flow | 0% | 0% | 13.17% | 29.53% | 57.29% | 0% | 0% |  |  | 100% |  |  |  |  | Nominal | '2011 $'/kW
Assuming 2x1 Mitsubishi 501-GAC (278-MW) | [14 empty] | ('As-Spent')$
Contingency-Adjusted
Nominal k$
Project Estimate (Per Black & Veatch Study) | 0 | 0 | 7090.3031 | 15897.6944 | 30841.0025 | 0 | 0 | 0 |  | 53829 |  | w/o Corp OH and Contingency |  |  |  |  | Excludes pipeline costs
Contingency Adder @ 0% (Per EP&FS) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total EPC | 0 | 0 | 7090.3031 | 15897.6944 | 30841.0025 | 0 | 0 | 0 |  | 53829 |  | Total (Nominal), excl. AFUDC |  |  | 200.8545
AEP Allocated Costs/OH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 |  | 53829 |  |  | 0
(cost estimates above are fully-loaded)
GRAND CC @ BS | 0 | 0 | 7090.3031 | 15897.6944 | 30841.0025 | 0 | 0 | 0 |  | 53829
316(b) (only)
Big Sandy U1 316(b) (Direct) | 0 | 0 | 0 | 71.292 | 159.882 | 199.659 | 356 | 2312 |  | 3098.833
2011 k$
Gas Conversion
Total '2011 $' EPC | 0 | 0 | 6683.2907 | 14548.6424 | 27401.8313 | 0 | 0 | 0 |  | 48633.7644 | [5 empty] | 181.4693
Total '2011 $' OH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0
Total '2011 $' TOTAL | 0 | 0 | 6683.2907 | 14548.6424 | 27401.8313 | 0 | 0 | 0 |  | 48633.7644 | [5 empty] | 181.4693
Big Sandy U1 316(b) (Direct) | 0 | 0 | 0 | 65.2423 | 142.0531 | 172.2276 | 298.1444 | 1879.8676 |  | 2557.5349 | [5 empty] | 9.543
Mitchell 1 & 2 Transfer Cost | [16 empty] | Cost per kW
[17 empty] | Nominal | '2011 $'/kW
Nominal k$ | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 |  |  |  | TOTAL
Total Transfer Cost (Net Book Value) @ 12/31/2013 |  |  | 1071822
@ 20% (Options #1A, 2A, 3A) |  |  | 214364.4 | [8 empty] | w/o Corp OH and Contingency |  |  | 214364.4 |  | 687.0654
@ 50% (Options #5A, 6) |  |  | 535911 | [11 empty] | 535911 |  | 687.0654
CCR, ELG & 316(b)
Total (Post-Transfer) |  |  |  | 44165.7485 | 14268.2283 | 10679.9119 | 36222.4444 | 43588.0715 | 25653.0874 | 4445.7428 | 4240.5741 |  |  |  | 183263.8089 |  | 234.9536
@ 20% (Options #1A, 2A, 3A) |  |  |  | 8833.1497 | 2853.6457 | 2135.9824 | 7244.4889 | 8717.6143 | 5130.6175 | 889.1486 | 848.1148 | 0 | 0 | 0 | 36652.7618 |  | 117.4768
@ 50% (Options #5A, 6) |  |  |  | 22082.8743 | 7134.1141 | 5339.9559 | 18111.2222 | 21794.0357 | 12826.5437 | 2222.8714 | 2120.2871 | 0 | 0 | 0 | 91631.9045 |  | 117.4768
2011 k$
Total Transfer Cost
@ 20% (Options #1A, 2A, 3A) |  |  | 202059.0065 | [11 empty] | 202059.0065 |  |  | 647.625
@ 50% (Options #5A, 6) |  |  | 505147.5163 | [11 empty] | 505147.5163 |  |  | 647.625
CCR, 316(b), ELG
@ 20% (Options #1A, 2A, 3A) |  |  |  | 8083.5833 | 2535.4272 | 1842.5172 | 6067.1454 | 7088.2182 | 4050.1568 | 681.4583 | 631.0771 |  |  |  | 30979.5834 |  |  | 99.2935
@ 50% (Options #5A, 6) |  |  |  | 20208.9582 | 6338.568 | 4606.2929 | 15167.8635 | 17720.5455 | 10125.392 | 1703.6458 | 1577.6927 |  |  |  | 77448.9586 |  |  | 99.2935
CC (2x1 GE-7FA Series)… 100% (624-MW, nominal [ISP rating]… 740-MW w/ Duct-Firing)
Per EP&FS Estimates 2x1 GE 7FA.05 Series ($000):
(Excl. AFUDC) | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | TOTAL
Greenfield CC (Option #4) with Duct Firing | [10 empty] | $/kW
2011 $ CC (BEFORE Add'l OH & AFUDC) | 0 | 0 | 4118.1 | 45299.1 | 247086 | 378865.2 | 148251.6 |  |  | 823620 | 1113 |  |  |  | with duct-firing
Annual Inflator/Escalator | 0% | #DIV/0! | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% |  |  | 12.48%
'As Spent', Nominal $ CC (BEFORE Add'l OH & AFUDC) | 0 | 0 | 4326.5788 | 48782.1761 | 272736.7119 | 428651.1989 | 171926.4048 |  | Ann Escalator | 926423.0704 | 1251.9231
Ann Cash Flow | 0% | 0% | 0.5% | 5.5% | 30% | 46% | 18% |  | 2.5%
Note: Any subsequent years' in-service date established in Strategist resource optimization modeling escalated these annual cash flows by 2.5% per year