## CC BE
Determination of (Unit-Specific) Relative Impacts on CC-Build Costs per $100MM Change in CPW
Brownfield CC-Build
2011 Installed Cost |  | 1168 | /kW (excl. AFUDC)
In-Svc Date (6/1) |  | 2017
As-Spent $ |  | 1344.2266 | $/kW (excl. AFUDC)
AFUDC $ |  | 161.3072 | $/kW | 0.12
TOTAL $ |  | 1505.5338 | $/kW | 0
Carrying Charge |  | 13.32%
WACC |  | 8.62%
1234
| Replaced Unit |  | BS2
2x1 MHI-501GAC
CC Size (MW) |  |  | 918 | (with duct-firing)
Annual Carrying Costs ($MM) |  |  | 184.0931 |  | 1941.4965
CPW of Carrying Costs ($MM) (2011$) |  |  |  |  | 835.2671
(2017 thru 2040 only) |  |  | 1106.2294 |  | 1106.2294
Therefore…
A +/- ___% change in CC-Build Costs ('As-Spent' TOTAL $) that would equate to a +/- $100 MM change in CPW
9.04%
2011
2012
2013
2014
2015
|  | 2016 | 184.0931 | 121.7555
|  | 2017 | 184.0931 | 112.093
|  | 2018 | 184.0931 | 103.1974
|  | 2019 | 184.0931 | 95.0077
|  | 2020 | 184.0931 | 87.468
|  | 2021 | 184.0931 | 80.5266
|  | 2022 | 184.0931 | 74.1361
|  | 2023 | 184.0931 | 68.2527
|  | 2024 | 184.0931 | 62.8362
|  | 2025 | 184.0931 | 57.8496
|  | 2026 | 184.0931 | 53.2587
|  | 2027 | 184.0931 | 49.0321
|  | 2028 | 184.0931 | 45.141
|  | 2029 | 184.0931 | 41.5586
|  | 2030 | 184.0931 | 38.2606
|  | 2031 | 184.0931 | 35.2242
|  | 2032 | 184.0931 | 32.4289
|  | 2033 | 184.0931 | 29.8553
|  | 2034 | 184.0931 | 27.486
|  | 2035 | 184.0931 | 25.3048
|  | 2036 | 184.0931 | 23.2966
|  | 2037 | 184.0931 | 21.4478
|  | 2038 | 184.0931 | 19.7457
|  | 2039 | 184.0931 | 18.1787
|  | 2040 | 184.0931 | 16.7361
1340.0778
1218.3224

## ML BE (hidden)
Determination of (Unit-Specific) Relative Impacts on Mitchell Tranfer Cost per $100MM Change in CPW
("Retrofits" include: FGD only)
ML Transfer
Installed Cost (2011 $) |  | 948 | /kW (excl. AFUDC)
In-Svc Date (1/1) |  | 2014
As-Spent $ | 1048.75 | 687.0513 | $/kW (excl. AFUDC)
AFUDC $ | 126.25 | 0 | $/kW
TOTAL $ |  | 687.0513 | $/kW |  | 0
Carrying Charge (25-Year Recovery) |  | 13.98%
WACC |  | 8.62%
Unit Size (MW) Pre-Retrofit |  | 780
Annual Carrying Costs ($MM) |  | 74.9188
CPW of Carrying Costs ($MM) (2011$)
(6/2016 thru 2040 only) |  | 574.9146 |  | 994.2717
Therefore…
A +/- ___% change in RETROFIT-Build Costs ('As-Spent' TOTAL $) that would equate to a +/- $100 MM change in CPW
17.39%

## CC-BE Calcs
"Break-Even" CPW Differentials (Cost / <Savings> vs. CC Builds) vs. Option #6 (Mitchell 50% Transfer)
($Millions)
Option #2B
KPCo
Brownfield
Relative CPW Economics (vs. Retrofit) | CC-Repl
Pricing Scenario
"Higher Band" | 934
"Fleet Transition" No Carbon | 651
"Fleet Transition-CSAPR" (Base) | 560
"Fleet Transition" Early Carbon (2017) | 473
"Lower Band" | 372
"Multiple" per
100M of CPW Diff
"Higher Band" | 9.34
"Fleet Transition" No Carbon | 6.51
"Fleet Transition-CSAPR" (Base) | 5.6
"Fleet Transition" Early Carbon (2017) | 4.73
"Lower Band" | 3.72
CC Breakeven Cost (per kW)
% Change in CC Cost (Total 'As Spent')
that would Equal $100 MM CPW
(Assumes ALL OTHER Modeling Variables Remain Constant)
9.04%
x -1 = | (Since the 'CPW Differential is a function of the Mitchell option)
Total Change Required
to achieve Modeled CPW Differential
(Above)
"Higher Band" | -84.43%
"Fleet Transition" No Carbon | -58.85%
"Fleet Transition-CSAPR" (Base) | -50.62%
"Fleet Transition" Early Carbon (2017) | -42.76%
"Lower Band" | -33.63%
"BASE" CC Cost per kW
(Excluding AFUDC)
('As Spent' $) | 1344.2266
('2011' $) | 1168
BREAK-EVEN
CC-BUILD COST ('2011' $/kW)
(Excluding AFUDC)
"Higher Band" | 181.8465
"Fleet Transition" No Carbon | 480.6489
"Fleet Transition-CSAPR" (Base) | 576.7302
"Fleet Transition" Early Carbon (2017) | 668.5882
"Lower Band" | 775.2279
NECESSARY CHANGE to... (all else being equal)
CC
"Higher Band" (+2011$/kW) | -986.1535
+ $M ('As Spent') | -1041.878
"Fleet Transition" No Carbon (+2011$/kW) | -687.3511
+ $M ('As Spent') | -726.1912
"Fleet Transition-CSAPR" (Base) (+2011$/kW) | -591.2698
+ $M ('As Spent') | -624.6806
"Fleet Transition" Early Carbon (2017) (+2011/kW) | -499.4118
+ $M ('As Spent') | -527.632
"Lower Band" (+2011/kW) | -392.7721
+ $M ('As Spent') | -414.9664

## Retrofit-BE Calcs (hidden)
15-Year RETROFIT Recovery
"Break-Even" CPW Differentials (Cost / <Savings> vs. Retrofit)
($Millions)
| KPCo | KPCo
| BS2 | BS2
Relative CPW Economics (vs. Retrofit) | CC-Repl | Repower
Pricing Scenario
"Higher Band" | 437.1486 | 458.1325
"Fleet Transition" No Carbon | 314.7602 | 334.2289
"Fleet Transition-CSAPR" (Base) | 236.4178 | 252.3032
"Fleet Transition" Early Carbon (2017) | 180.4311 | 190.3236
"Lower Band" | 176.8189 | 182.7623
"Multiple" per
100M of CPW Diff
"Higher Band" | 4.3715 | 4.5813
"Fleet Transition" No Carbon | 3.1476 | 3.3423
"Fleet Transition-CSAPR" (Base) | 2.3642 | 2.523
"Fleet Transition" Early Carbon (2017) | 1.8043 | 1.9032
"Lower Band" | 1.7682 | 1.8276
RETROFIT Breakeven Cost (per kW)
("Retrofits" include: FGD only)
% Change in RETROFIT Cost (Total 'As Spent')
that would Equal $100 MM CPW
(Assumes ALL OTHER Modeling Variables Remain Constant)
| 17.39% | 17.39%
Total Change Required
to achieve Modeled CPW Differential
(Above)
"Higher Band" | 76.04% | 79.69%
"Fleet Transition" No Carbon | 54.75% | 58.14%
"Fleet Transition-CSAPR" (Base) | 41.12% | 43.89%
"Fleet Transition" Early Carbon (2017) | 31.38% | 33.1%
"Lower Band" | 30.76% | 31.79%
"BASE" (UNIT-SPECIFIC) RETROFIT Cost per kW
(Excluding AFUDC)
('As Spent' $) | 687.0513 | 687.0513
('2011' $) | 948 | 948
BREAK-EVEN
RETROFIT COST ('2011' $/kW)
(Excluding AFUDC)
"Higher Band" | 1668.832 | 1703.4331
"Fleet Transition" No Carbon | 1467.0208 | 1499.1236
"Fleet Transition-CSAPR" (Base) | 1337.8389 | 1364.0329
"Fleet Transition" Early Carbon (2017) | 1245.5202 | 1261.8322
"Lower Band" | 1239.5638 | 1249.3642
NECESSARY CHANGE to BS2 RETROFIT Cost (all else being equal)
"Higher Band" (+2011$/kW) | 720.832 | 755.4331
+ $M ('As Spent') | 407.483 | 427.0428
"Fleet Transition" No Carbon (+2011$/kW) | 519.0208 | 551.1236
+ $M ('As Spent') | 293.4001 | 311.5476
"Fleet Transition-CSAPR" (Base) (+2011$/kW) | 389.8389 | 416.0329
+ $M ('As Spent') | 220.3741 | 235.1815
"Fleet Transition" Early Carbon (2017) (+2011/kW) | 297.5202 | 313.8322
+ $M ('As Spent') | 168.1868 | 177.4079
"Lower Band" (+2011/kW) | 291.5638 | 301.3642
+ $M ('As Spent') | 164.8197 | 170.3598