## Item 5 Attachment 1
KPCo Administrative Case No. 387
Order Dated December 20, 2001
Calendar Year 2021
Annual Resource Assessment
Item No. 5
Attachment 1
Page 1 of 1
KENTUCKY POWER COMPANY
Projected Summer Peak Demands, Generating Capabilities, and Margins (UCAP)
|  |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17
[5 empty] | =(1)+(2) |  |  |  | =((3)-((4)*(5)))*(6) | -10: =(8)-(9) | =(13)+(14) -(7) | =(13)+(14)+(15)-(7)
|  |  | Obligation to PJM | [6 empty] | -8: Resources | KPCo Position (MW) |  | PJM Reserve Margin
Planning Year |  |  | Internal Demand (a) | DSM(b) | Net Internal Demand | Interruptible Demand Response(c) | Demand Response Factor | Forecast Pool Req't(d) | Total UCAP Obligation | ICAP Existing Capacity & Planned Changes(e) | ICAP Net Capacity Sales | Net ICAP | Incremental Planned Capacity Additions (ICAP) |  | Annual UCAP Purchases | UCAP Existing Capacity(f) | UCAP Planned Additions Capacity | Net Position w/o New Capacity | Net Position w/New Capacity | Total UCAP Obligation Less IDR and IRM | Installed Reserve Margin (IRM) | KPCo Reserve Margin Above PJM IRM | Total KPCo Reserve Margin
[13 empty] | Units | MW
2021 | /22 | (g) | 938.5989 | 0 | 938.5989 | 3.4035 | 1 | 1.0871 | 1016.6758 | 1468 | 227.3265 | 1240.6735 |  |  | 0 | 1047.6 | 0 | 30.9242 | 30.9242 | 889.604 | 14.7% | 3.476% | 18.18%
2022 | /23 | (g) | 946.137 | 0 | 946.137 | 3.4044 | 1 | 1.0868 | 1024.5939 | 1075 | 0 | 1075 | RFP Solar | 20 | 150 | 948.2 | 10 | 73.6061 | 83.6061 | 898.0732 | 14.5% | 9.31% | 23.81%
2023 | /24 | (g) | 951.7063 | 0 | 951.7063 | 3.4059 | 1 | 1.0863 | 1030.1789 | 1075 | 0 | 1075 | 101 MW Solar | 101 | 100 | 948.2 | 62 | 18.0211 | 80.0211 | 903.7403 | 14.4% | 8.854% | 23.25%
2024 | /25 | (g) | 956.0268 | 0 | 956.0268 | 3.4056 | 1 | 1.0865 | 1034.9818 | 1075 | 0 | 1075 | 152 MW Solar | 152 | 0 | 948.2 | 175 | -86.7818 | 88.2182 | 907.9386 | 14.4% | 9.716% | 24.12%
2025 | /26 |  | 885.1086 | 0 | 885.1086 | 3.4056 | 1 | 1.0865 | 957.9323 | 1075 | 0 | 1075 |  | 0 | 0 | 948.2 | 158 | -9.7323 | 148.2677 | 840.5877 | 14.4% | 17.64% | 32.04%
Notes: | (a) | Based on Sep. 2020 Mgt. Adj. Load Forecast (with implied PJM diversity factor).
| (b) | Projected "Passive" EE, DG, and VVO. DSM is included in the PJM forecast.
| (c) | Demand Response approved by PJM in the prior planning year plus forecasted "Active" DR.
| (d) | Forecast Pool Requirement (FPR) = (1 + IRM) * (1 - PJM EFORd).
| (e) | Reflects the members ownership ratio of summer capability.
| (f) | Based on 12-month avg. AEP EFORd in eCapacity as of twelve months ended 9/30 of the previous year.
| (g) | PJM forecast.