## Item 5 Attachment 1
KPCo Administrative Case No. 387
Order Dated December 20, 2001
Calendar Year 2021
Annual Resource Assessment
Item No. 5
Attachment 1
Page 1 of 1
KENTUCKY POWER COMPANY
Projected Summer Peak Demands, Generating Capabilities, and Margins (UCAP)
|  |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17
[5 empty] | =(1)+(2) |  |  |  | =((3)-((4)*(5)))*(6) | -10: =(8)-(9) | =(13)+(14) -(7) | =(13)+(14)+(15)-(7)
|  |  | Obligation to PJM | [6 empty] | -8: Resources | KPCo Position (MW) |  | PJM Reserve Margin
Planning Year |  |  | Internal Demand (a) | DSM(b) | Net Internal Demand | Interruptible Demand Response(c) | Demand Response Factor | Forecast Pool Req't(d) | Total UCAP Obligation | ICAP Existing Capacity & Planned Changes(e) | ICAP Net Capacity Sales | Net ICAP | Incremental Planned Capacity Additions (ICAP) |  | Annual UCAP Purchases | UCAP Existing Capacity(f) | UCAP Planned Additions Capacity | Net Position w/o New Capacity | Net Position w/New Capacity | Total UCAP Obligation Less IDR and IRM | Installed Reserve Margin (IRM) | KPCo Reserve Margin Above PJM IRM | Total KPCo Reserve Margin
[13 empty] | Units | MW
2022 | /23 | (g) | 930.1374 | 0 | 930.1374 | 6.2349 | 1 | 1.0906 | 1007.6365 | 1076 | 0 | 1076 | IRP Solar 20 MW | 20 | 150 | 853.6 | 10.22 | -4.0365 | 6.1835 | 882.8864 | 14.9% | 0.7004% | 15.6%
2023 | /24 | (g) | 930.9568 | 0 | 930.9568 | 8.531 | 1 | 1.0901 | 1005.5739 | 1076 | 0 | 1076 | IRP Solar 101MW | 101 | 100 | 935.3 | 65.34 | 29.7261 | 95.0661 | 884.0365 | 14.8% | 10.75% | 25.55%
2024 | /25 | (g) | 935.928 | 0 | 935.928 | 5.4157 | 1 | 1.0894 | 1013.7192 | 1076 | 0 | 1076 | IRP Solar 152 MW | 152 | 0 | 935.3 | 147.42 | -78.4192 | 69.0008 | 888.9444 | 14.7% | 7.762% | 22.46%
2025 | /26 | (g) | 935.7991 | 0 | 935.7991 | 5.4157 | 1 | 1.0894 | 1013.5788 | 1076 | 0 | 1076 |  | 0 | 0 | 935.3 | 139.23 | -78.2788 | 60.9512 | 888.822 | 14.7% | 6.858% | 21.56%
2026 | /27 |  | 861.3259 | 0 | 861.3259 | 5.4157 | 1 | 1.0894 | 932.4461 | 1076 | 0 | 1076 |  | 0 | 0 | 935.3 | 128.31 | 2.8539 | 131.1639 | 818.0873 | 14.7% | 16.03% | 30.73%
Notes: | (a) | Based on Sep. 2021 Mgt. Adj. Load Forecast (with implied PJM diversity factor)
| (b) | Projected "Passive" EE, DG, and VVO. DSM is included in the PJM forecast.
| (c) | Demand Response approved by PJM in the prior planning year plus forecasted "Active" DR.
| (d) | Forecast Pool Requirement (FPR) = (1 + IRM) * (1 - PJM EFORd).
| (e) | Reflects the members ownership ratio of summer capability.
| (f) | Based on 12-month avg. AEP EFORd in eCapacity as of twelve months ended 9/30 of the previous year.
| (g) | PJM forecast.