## Item 5 Attachment 1
KPCo Administrative Case No. 387
Order Dated December 20, 2001
Calendar Year 2024
Annual Resource Assessment
Item No. 5
Attachment 1
Page 1 of 1
KENTUCKY POWER COMPANY
Projected Summer Peak Demands, Generating Capabilities, and Margins (UCAP)
|  |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17
[5 empty] | =(1)+(2) |  |  |  | =((3)-((4)*(5)))*(6) | -10: =(8)-(9) | =(13)+(14) -(7) | =(13)+(14)+(15)-(7)
|  |  | Obligation to PJM | [6 empty] | -8: Resources | KPCo Position (MW) |  | PJM Reserve Margin
Planning Year |  |  | Internal Demand (a) | DSM(b) | Net Internal Demand | Interruptible Demand Response(c) | Demand Response Factor | Forecast Pool Req't(d) | Total UCAP Obligation | ICAP Existing Capacity & Planned Changes(e) | ICAP Net Capacity Sales | Net ICAP | Incremental Planned Capacity Additions (ICAP) |  | Annual UCAP Purchases | UCAP Existing Capacity(f) | UCAP Planned Additions Capacity (f) | Net Position w/o New Capacity | Net Position w/New Capacity | Total UCAP Obligation Less IDR and IRM | Installed Reserve Margin (IRM) | KPCo Reserve Margin Above PJM IRM | Total KPCo Reserve Margin
[13 empty] | Units | MW
2024 | /25 | (g) | 949.0055 | 0 | 949.0055 | 8.8632 | 1 | 1.117 | 1050.1136 | 1076 | 0 | 1076 |  |  | 25 | 1025.9 | 0 | 0.78645 | 0.78645 | 900.6062 | 17.7% | 0.08732% | 17.79%
2025 | /26 | (g) | 903.6794 | 0 | 903.6794 | 5.9657 | 1 | 0.9387 | 842.6839 | 1076 | 0 | 1076 |  |  | 0 | 936.143 | 0 | 93.4591 | 93.4591 | 720.1052 | 17.8% | 12.98% | 30.78%
2026 | /27 | (g) | 906.2382 | 0 | 906.2382 | 10.8661 | 1 | 0.9387 | 840.4858 | 1076 | 0 | 1076 | IRP 100 MW Wind | 100 | 0 | 851.143 | 35 | 10.6572 | 45.6572 | 722.1442 | 17.8% | 6.322% | 24.12%
2027 | /28 | (g) | 910.6455 | 0 | 910.6455 | 10.8661 | 1 | 0.9387 | 844.623 | 1076 | 0 | 1076 | IRP 200 MW Wind & IRP 250 MW Solar | 450 | 0 | 851.143 | 140 | 6.52 | 146.52 | 725.6562 | 17.8% | 20.19% | 37.99%
2028 | /29 |  | 889.2528 | 0 | 889.2528 | 10.8661 | 1 | 0.9387 | 824.5416 | 295 | 0 | 295 | IRP 200 MW Wind & IRP 450 MW Solar | 650 | 310 | 241.544 | 273 | -272.9976 | 0.0023899 | 708.6092 | 17.8% | 0.0003373% | 17.8%
Notes: | (a) | Based on Sep. 2023 Mgt. Adj. Load Forecast (with implied PJM diversity factor).
| (b) | Projected "Passive" EE, DG, and VVO. DSM is included in the PJM forecast.
| (c) | Demand Response approved by PJM in the prior planning year plus forecasted "Active" DR.
| (d) | Forecast Pool Requirement (FPR) = (1 + IRM) * (1 - PJM EFORd) for 2024/25. FPR 25/26 based on the aligned changes to capacity evaluation (see footnote f).
| (e) | Reflects the members ownership ratio of summer capability.
| (f) | Based on 12-month avg. AEP EFORd in eCapacity as of twelve months ended 9/30 of the previous year.
Based on Effective Load Carrying Capability (ELCC) for renewables beginning in 2024/25 and Fossil beginning in 2025/26.
| (g) | PJM forecast.