## Item 5 Attachment 1
KPCo Administrative Case No. 387
Order Dated December 20, 2001
Calendar Year 2022
Annual Resource Assessment
Item No. 5
Attachment 1
Page 1 of 1
KENTUCKY POWER COMPANY
Projected Summer Peak Demands, Generating Capabilities, and Margins (UCAP)
|  |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17
[5 empty] | =(1)+(2) |  |  |  | =((3)-((4)*(5)))*(6) | -10: =(8)-(9) | =(13)+(14) -(7) | =(13)+(14)+(15)-(7)
|  |  | Obligation to PJM | [6 empty] | -8: Resources | KPCo Position (MW) |  | PJM Reserve Margin
Planning Year |  |  | Internal Demand (a) | DSM(b) | Net Internal Demand | Interruptible Demand Response(c) | Demand Response Factor | Forecast Pool Req't(d) | Total UCAP Obligation | ICAP Existing Capacity & Planned Changes(e) | ICAP Net Capacity Sales | Net ICAP | Incremental Planned Capacity Additions (ICAP) |  | Annual UCAP Purchases | UCAP Existing Capacity(f) | UCAP Planned Additions Capacity (f) | Net Position w/o New Capacity | Net Position w/New Capacity | Total UCAP Obligation Less IDR and IRM | Installed Reserve Margin (IRM) | KPCo Reserve Margin Above PJM IRM | Total KPCo Reserve Margin
[13 empty] | Units | MW
2023 | /24 | (g) | 945.7138 | 0 | 945.7138 | 8.5084 | 1 | 1.093 | 1024.4066 | 1076 | 0 | 1076 |  |  | 90 | 935.3 | 0 | 0.89345 | 0.89345 | 899.6576 | 14.9% | 0.09931% | 15%
2024 | /25 | (g) | 953.0806 | 0 | 953.0806 | 5.4002 | 1 | 1.0926 | 1035.3898 | 1076 | 0 | 1076 |  |  | 101 | 935.3 | 0 | 0.91024 | 0.91024 | 907.0468 | 14.8% | 0.1004% | 14.9%
2025 | /26 | (g) | 939.0625 | 0 | 939.0625 | 5.4038 | 1 | 1.0918 | 1019.3959 | 1076 | 0 | 1076 |  |  | 85 | 935.3 | 0 | 0.9041 | 0.9041 | 893.8935 | 14.7% | 0.1011% | 14.8%
2026 | /27 | (g) | 940.7223 | 0 | 940.7223 | 5.4038 | 1 | 1.0918 | 1021.2081 | 1076 | 0 | 1076 | IRP 100 MW Wind | 100 | 72 | 935.3 | 14 | -13.9081 | 0.091873 | 895.4735 | 14.7% | 0.01026% | 14.71%
2027 | /28 |  | 1020.0517 | 0 | 1020.0517 | 5.4038 | 1 | 1.0918 | 1107.8223 | 1076 | 0 | 1076 | IRP 200 MW Wind & IRP 250 MW Solar | 450 | 24 | 935.3 | 149 | -148.5223 | 0.47766 | 970.9872 | 14.7% | 0.04919% | 14.75%
Notes: | (a) | Based on Sep. 2022 Mgt. Adj. Load Forecast (with implied PJM diversity factor).
| (b) | Projected "Passive" EE, DG, and VVO. DSM is included in the PJM forecast.
| (c) | Demand Response approved by PJM in the prior planning year plus forecasted "Active" DR.
| (d) | Forecast Pool Requirement (FPR) = (1 + IRM) * (1 - PJM EFORd).
| (e) | Reflects the members ownership ratio of summer capability.
| (f) | Based on 12-month avg. AEP EFORd in eCapacity as of twelve months ended 9/30 of the previous year. Based on Effective Load Carrying Capability (ELCC) for renewables.
| (g) | PJM forecast.