## Item 5 Attachment 1
KPCo Administrative Case No. 387
Order Dated December 20, 2001
Calendar Year 2024
Annual Resource Assessment
Item No. 5
Attachment 1
Page 1 of 1
KENTUCKY POWER COMPANY
Projected Summer Peak Demands, Generating Capabilities, and Margins (UCAP)
|  |  | -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 | -12 | -13 | -14 | -15 | -16 | -17
[5 empty] | =(1)+(2) |  |  |  | =((3)-((4)*(5)))*(6) | -10: =(8)-(9) | =(13)+(14) -(7) | =(13)+(14)+(15)-(7)
|  |  | Obligation to PJM | [6 empty] | -8: Resources | KPCo Position (MW) |  | PJM Reserve Margin
Planning Year |  |  | Internal Demand (a) | DSM(b) | Net Internal Demand | Interruptible Demand Response(c) | Demand Response Factor | Forecast Pool Req't(d) | Total UCAP Obligation | ICAP Existing Capacity & Planned Changes(e) | ICAP Net Capacity Sales | Net ICAP | Incremental Planned Capacity Additions (ICAP) |  | Annual UCAP Purchases | UCAP Existing Capacity(f) | UCAP Planned Additions Capacity (f) | Net Position w/o New Capacity | Net Position w/New Capacity | Total UCAP Obligation Less IDR and IRM | Installed Reserve Margin (IRM) | KPCo Reserve Margin Above PJM IRM | Total KPCo Reserve Margin
[13 empty] | Units | MW
2025 | /26 | (g) | 893.8114 | 0 | 893.8114 | 6.6098 | 1 | 0.938 | 832.195 | 1076 | 0 | 1076 | Short Term Capacity Purchase (STCP) |  | 8 | 824.469 | 0 | 0.27395 | 0.27395 | 711.7106 | 17.8% | 0.03849% | 17.84%
2026 | /27 | (g) | 892.5289 | 0 | 892.5289 | 6.2159 | 1 | 0.917 | 812.749 | 1076 | 0 | 1076 | IRP Wind 100 MW | 100 | 0 | 831.986 | 41 | 19.237 | 60.237 | 690.0919 | 18.6% | 8.729% | 27.33%
2027 | /28 | (g) | 891.0436 | 0 | 891.0436 | 5.2864 | 1 | 0.9269 | 821.0083 | 1076 | 0 | 1076 | IRP Solar 250 MW, Wind 200 MW | 450 | 0 | 839.128 | 119 | 18.1197 | 137.1197 | 687.6838 | 20.1% | 19.94% | 40.04%
2028 | /29 | (g) | 890.5084 | 0 | 890.5084 | 5.1752 | 1 | 0.9275 | 821.1466 | 295 | 0 | 295 | IRP Solar 450 MW, Wind 200 MW & STCP | 650 | 390 | 242.646 | 189 | -188.5006 | 0.49942 | 677.5608 | 21.9% | 0.07371% | 21.97%
2029 | /30 |  | 909.1053 | 0 | 909.1053 | 5.1752 | 1 | 0.9275 | 838.3951 | 295 | 0 | 295 | IRP Solar 100 MW, CT 480 MW & STCP | 580 | 89 | 242.646 | 507.4 | -506.7491 | 0.65088 | 691.7105 | 21.9% | 0.0941% | 21.99%
Notes: | (a) | Based on July 2024 Load Forecast (with implied PJM diversity factor).
| (b) | Projected "Passive" EE, DG, and VVO. DSM is included in the PJM forecast.
| (c) | Demand Response approved by PJM in the prior planning year plus forecasted "Active" DR.
| (d) | Forecast Pool Requirement (FPR) based on the aligned changes to capacity evaluation (see footnote f).
| (e) | Reflects the members ownership ratio of summer capability.
| (f) | Based on Effective Load Carrying Capability (ELCC).
| (g) | PJM forecast.