## Contents
KENTUCKY-AMERICAN WATER COMPANY
CONTENTS OF COST OF SERVICE ALLOCATION STUDY IN SPREADSHEET FORM,
FOR THE TWELVE MONTHS ENDING NOVEMBER 30, 2008
SHEET NAME | CONTENTS
USER MANUAL | READ USER MANUAL BEFORE MAKING CHANGES TO THIS WORKBOOK.
This contains helpful information for working with this file, as well as information on avoiding and troubleshooting possible errors that may occur. There are many cells that contain formulas, tables, and links to other cells, and therefore small changes may cause errors to occur throughout the entire workbook. These errors may not be repairable by clicking "undo."
Schedule A | COMPARISON OF COST OF SERVICE WITH REVENUES UNDER PRESENT AND PROPOSED RATES
Results of Schedule B by cost function are brought forward to column 2 of Schedule A. Column 3 represents the percent of the total in column 2. Columns 4 and 5 show the revenues for each classification under present rates. Columns 6 and 7 show the revenues under proposed rates. Columns 8 and 9 show the amount of the proposed revenue increase and the percent increase by class.
Schedule B | ALLOCATION OF COST OF SERVICE BY COST FUNCTION TO CUSTOMER CLASSIFICATIONS
The Cost of Service for each of the cost functions is located in column 3 of this sheet and is taken from the Total Cost of Service Related to Sales of Water listed on the sheet "Schedule D." These costs are allocated to the various customer classifications based on the factor that is referenced in column 2 and described further on the sheet "Schedule C."
Schedule C | FACTORS FOR ALLOCATING COSTS BY FUNCTION TO CUSTOMER CLASSIFICATIONS
These are direct factors for allocating costs by function to classes based on specific information about each customer classification, such as average and peak usage, relative size of meters and services, and the number of customers and meter readings.
Schedule D | COST OF SERVICE ALLOCATED TO COST FUNCTIONS
The cost of service for each account, listed in column 3, was taken from Company Exhibits. These amounts are allocated to the cost functions of base, extra capacity, customer facilities, customer accounting, and fire protection. The basis of allocation for each account is referenced in column 2, as the factor number, and is described on the sheet labeled "Schedule E." The calculation of the allocation is performed through the use of "V-Lookup" tables, which are further described in the "User Manual."
Schedule E | FACTORS FOR ALLOCATING COST OF SERVICE TO COST FUNCTIONS
There are two types of factors used in this allocation. Factors 1 through 7 and 9 through 13 are direct Factors. These Factors are derived from information from the company, such as the amount of consumption, meter costs, etc. Factor 8 and Factors 14 through 19 are composite Factors. These are generated internally within the spreadsheet and are based on the allocation of a specified group of costs.
Meters & Services | BASIS FOR ALLOCATING METER COSTS TO CUSTOMER CLASSIFICATIONS
Schedule of cost of Meters and Services, in support of Factors D and E, which are located on "Schedule C." The Weighted Total for each customer classification on the "Meters & Services" sheet is brought forward to column 2 of Factors D and E.
Service Charges | CALCULATION OF MONTHLY SERVICE CHARGES
Determines the unit costs of meters, services, billing and collecting, meter reading and public fire deficiency. The sum of the unit costs is used as the basis for the 5/8-inch monthly charge.
Rate Base | CALCULATION OF RATE BASE BY ACCOUNT
Based on Company records, this calculation is Utility Plant in Service, less Accumulated Depreciation, less Customer Advances and Contributions in Aid of Construction. The rate base column is brought forward to Schedule D where it is allocated to the various cost functions.

## User Manual
KENTUCKY-AMERICAN WATER COMPANY
USER MANUAL
Instructions for Making Changes to This Workbook (See Disclaimer Below)
Disclaimer: This cost of service allocation model is provided to the parties for the purpose of making revisions to the model and calculating the results of the revisions. However, Gannett Fleming Inc., Valuation and Rate Division is not responsible for any errors which may occur as a result of using the model.
1 | This cost of service allocation model is based on the Base Extra-Capacity method as described in AWWA Manual M1, "Water Rates". The model performs the cost allocation in a two-step process first allocating each element of cost to the several cost functions. The result of the functional allocation is then allocated to customer classifications in proportion to each classification's use of the commodities, facilities and services which entail the total cost of providing water service. The cost of service by account shown in column 3 under the tab "Schedule D" is allocated to the several cost functions using the factor referenced in column 2. Descriptions and calculations of the factors are found under the tab "Schedule E". The results of the functional allocation on line 279 of Schedule D is brought forward to column 3 of "Schedule B". The costs by function are allocated to customer classifications based on the factors referenced in column 2 and described under the tab "Schedule C". The cost of service by class is then brought forward to "Schedule A" to be compared with revenues under present and proposed rates.
2 | COLOR CODE: Each cell is color-coded so the user can quickly determine if a number has been inputted, calculated, or linked from another cell. A description of the color coding is presented below:
3 | PURPLE indicates that the cell contents have been manually entered or inputted into the workbook. Changes to the model should be limited to these cells.
4 | BLACK indicates that the cell contents are the result of formulas that are being performed within the workbook.
5 | GREEN indicates that the cell contents are linked from another cell located elsewhere in the workbook.
6 | BLUE indicates that the results of the cell has been adjusted for purposes of rounding. (so that factors sum to 1.0000 or results of allocating a number sum to the number being allocated.) Otherwise, cell would be black.
7 | Before saving any changes to worksheet, make sure that there are no error messages replacing cell contents. Common error messages may appear as "#REF!" "#ERR!" "#N/A!" "#VALUE!" "#NAME!" or "FALSE".
8 | If such error messages occur, click "undo". If this does not work, do not save the file. Close the file. When asked to save changes, click "No". After the file is closed, you may then reopen it, but any changes since the last time it was saved will be lost.
9 | A good place to check for error messages is on the "Schedule B" or "Schedule D" worksheets.
10 | Avoid dragging and dropping cell contents to a different location. This changes the cell reference and may result in a "#REF!" error in cells to which the cell is linked. Instead, edit by using the Cut and Paste operations. There are many linked cells throughout the entire workbook.
11 | Avoid deleting cell contents, rows, and columns, even if the contents equal zero; this may result in a "#REF!" error elsewhere in the workbook.
12 | If you have saved the worksheet with errors in it, try to find the source cell that causes the error. Retype the correct formula in that cell. If you have deleted information, try replacing that information or change the formula of the cells that previously contained the deleted information.
13 | This worksheet can include circular calculations if composite factors include cells in its basis that also are being allocated by the same factor. This should be avoided if possible. If a circular calculation exists within the workbook, the word "Calculate" will appear in the edit bar below. If a circular calculation exists, and in order for the sheet to calculate changes properly, go to the Tools menu, choose Options, choose the Calculation tab. The setting should be on Automatic and there should be a check mark in the box for Iteration. Maximum Iteration should be 100. Maximum Change should be .0001.
14 | If you have opened any files in Excel before opening this file, the calculation settings will default to those of the file that was first opened. If this has happened, change the settings, as described above, in order for the sheet to calculate changes properly.
15 | V-LOOKUP TABLES: The calculation of the Cost of Service in column 3 of "Schedule D" is performed through the use of V-Lookup tables. The formula will identify the Factor Reference number in column 2 and find the matching reference number in the table. It will then apply the appropriate allocation factor for each cost function. The tables are located at the bottom, right-hand corner of the sheet (Schedule D, Y378 - AR428). There are two separate tables. The first is for composite factors (Factors 8 and 14 - 19), and the second is for the direct factors (Factors 1 - 7 and 9 - 13).
If you change the Factor Reference in column 2, the formula will automatically recalculate the answer, as long as the new factor is the same type (ie. Replacing a direct factor with another direct factor, or replacing a composite factor with another composite factor).
If you change the Factor Reference to a different type of factor, you must also change the formulas for each cost function in that account so that the formula looks up the value in the correct table (table "Factors" for direct factors and table "COMP" for composite factors).
16 | A final check to make sure the model is calculated properly, check cells AS384 through AS396 in tab Schedule D. These cells should read "OK" if the factor equals 1.0000. If not, "Round Up" or "Round Down" the "base" column so that the factor equals 1.0000. The same check should be made in column U in Schedule B, lines 11 through 27. Round the Residential column up or down one dollar so that column U reads "OK".
Disclaimer: This cost of service allocation model is provided to the parties for the purpose of making revisions to the model and calculating the results of the revisions. However, Gannett Fleming Inc., Valuation and Rate Division is not responsible for any errors which may occur as a result of using the model.

## Schedule A
Schedule A
KENTUCKY-AMERICAN WATER COMPANY
COMPARISON OF COST OF SERVICE WITH REVENUES UNDER PRESENT AND PROPOSED RATES
FOR THE TWELVE MONTHS ENDING NOVEMBER 30, 2008
| Cost of Service | [5 empty] | Proposed Increase
Customer | Amount |  | Revenues, Present Rates |  | Revenues, Proposed Rates |  |  |  | Percent
Classification | (Schedule B) | Percent | Amount | Percent | Amount | Percent | Amount |  | Increase
(1) | (2) | (3) | (4) | (5) | (6) | (7) | (8) |  | (9)
Residential | 31622575 | 52.6% | 26854095 | 54.5% | 32158528 | 53.4% | 5304433 |  | 19.75%
Commercial | 16202266 | 26.9% | 12739187 | 25.9% | 16121212 | 26.8% | 3382025 |  | 26.55%
Industrial | 2409929 | 4% | 1522907 | 3.1% | 1975575 | 3.3% | 452668 |  | 29.72%
Public Authority | 4772787 | 7.9% | 3781085 | 7.8% | 4758160 | 7.9% | 977075 |  | 25.84%
Sales for Resale | 1323307 | 2.2% | 1018444 | 2.1% | 1321378 | 2.2% | 302934 |  | 29.74%
Private Fire Service | 1305274 | 2.2% | 1065763 | 2.2% | 1305398 | 2.2% | 239635 |  | 22.48%
Public Fire Service | 2538004 | 4.2% | 2261424 | 4.6% | 2533890 | 4.2% | 272466 |  | 12.05%
Total Sales | 60174142 | 100% | 49242905 | 100.2% | 60174141 | 100% | 10931236 |  | 22.2%
Other Revenues | 3834620 |  | 3760392 |  | 3834620 |  | 74228 |  | 1.974%
Total | 64008762 |  | 53003297 |  | 64008761 |  | 11005464 |  | 20.76%

## Schedule B
Schedule B
KENTUCKY-AMERICAN WATER COMPANY
ALLOCATION OF COST OF SERVICE BY COST FUNCTION TO CUSTOMER CLASSIFICATIONS
|  | Cost of | [5 empty] | Fire Service
| Factor | Service |  |  |  | Public | Sales for | Private |  | Public
Cost Function | Ref.* | (Schedule D) | Residential | Commercial | Industrial | Authorities | Resale | Fire |  | Fire
-1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 |  | -10
Base | A | 26405656 | 12315598 | 8653133 | 1528887 | 2925747 | 871387 | 26406 |  | 84498 | OK
Extra Capacity - Maximum Day | B | 9552045 | 4744501 | 3148354 | 458498 | 939921 | 260771 |  |  |  | OK
Extra Capacity - Maximum Hour | C | 9298169 | 4801573 | 3175325 | 403541 | 738275 | 179455 |  |  |  | OK
Customer Facilities - Meters | D | 3302847 | 2524696 | 601779 | 15523 | 117251 | 9909 | 33689 |  |  | OK
Customer Facilities - Services | E | 878804 | 758232 | 82080 | 615 | 7909 | 352 | 29616 |  |  | OK
Billing and Collecting | F | 5163763 | 4669591 | 390380 | 2066 | 31499 | 1033 | 67645 |  | 1549 | OK
Meter Reading | G | 1997553 | 1808384 | 151215 | 799 | 12185 | 400 | 24570 |  |  | OK
Private Fire | H | 1123348 | [5 empty] | 1123348 |  |  | OK
Public Fire | I | 2451957 | [7 empty] | 2451957 | OK
Total |  | 60174142 | 31622575 | 16202266 | 2409929 | 4772787 | 1323307 | 1305274 |  | 2538004
* Schedule C.

## Schedule C
Schedule C
KENTUCKY-AMERICAN WATER COMPANY
FACTORS FOR ALLOCATING COSTS BY FUNCTION TO CUSTOMER CLASSIFICATIONS
FACTOR A. ALLOCATION OF BASE COSTS.
Factors are based on the pro forma test year average daily consumption for each customer classification.
Average Daily
|  | Consumption, |  | Allocation
Classification |  | CCF |  | Factor
(1) |  | -2 |  | (3)
CCF-2007
Residential |  | 23398 |  | 0.4664 |  | 8264488 | 174563 | 23929 | 77405
Commercial |  | 16437 |  | 0.3277 |  | 5893968 | 30796 | 0 | 74741
Industrial |  | 2904 |  | 0.0579 |  | 1059832 | 0
Other Public Authority |  | 5560 |  | 0.1108 |  | 2020163 | 9223
Sales for Resale |  | 1653 |  | 0.033 |  | 603242 | 0
Private Fire Protection |  | 49.5161 |  | 0.001
Public Fire Protection |  | 159.1386 |  | 0.0032 |  | 41730943
208654.715
Total |  | 50160.6547 |  | 1
FACTOR B. ALLOCATION OF MAXIMUM DAY EXTRA CAPACITY COSTS.
Factors are based on the maximum day extra capacity demand for each customer classification.
| Average Daily |  | Rate of Flow,
Customer | Consumption, |  | CCF | Allocation
Classification | CCF | Factor* | Per Day | Factor
(1) | (2) | (3) | (4)=(2)x(3) | -5
Residential | 23398 | 0.9 | 21058 | 0.4967 | 1
Commercial | 16437 | 0.85 | 13971 | 0.3296 | 0.9
Industrial | 2904 | 0.7 | 2033 | 0.048 | 0.6
Other Public Authority | 5560 | 0.75 | 4170 | 0.0984 | 0.8
Sales for Resale | 1653 | 0.7 | 1157 | 0.0273 | 0.7
Total | 49952 |  | 42389 | 1
* Ratio of Maximum Day To Average Day Minus 1.0.
FACTOR C. ALLOCATION OF MAXIMUM HOUR EXTRA CAPACITY COSTS.
Factors are based on the maximum hour extra capacity demand for each customer classification.
| Average Hourly |  | Rate of Flow,
Customer | Consumption, |  | CCF | Allocation
Classification | CCF | Factor* | Per Hour | Factor
(1) | (2) | (3) | (4)=(2)x(3) | -5
Residential | 974.9 | 1.7 | 1657.3 | 0.5164 | 2
Commercial | 684.9 | 1.6 | 1095.8 | 0.3415 | 1.9
Industrial | 121 | 1.15 | 139.2 | 0.0434 | 1
Other Public Authority | 231.7 | 1.1 | 254.9 | 0.0794 | 1.4
Sales for Resale | 68.9 | 0.9 | 62 | 0.0193 | 1
Total | 2081.4 |  | 3209.2 | 1
* Ratio of Maximum Hour To Average Hour Minus 1.0.
FACTOR D. ALLOCATION OF COSTS ASSOCIATED WITH METERS.
Factors are based on the relative cost of meters by size and customer classification, as developed on the following page and summarized below.
Customer |  | 5/8" Dollar |  | Allocation
Classification |  | Equivalents |  | Factor
(1) |  | (2) |  | -3
Residential |  | 109213 |  | 0.7644
Commercial |  | 26032 |  | 0.1822
Industrial |  | 669 |  | 0.0047
Other Public Authority |  | 5077 |  | 0.0355
Sales for Resale |  | 427 |  | 0.003
Private Fire Protection |  | 1451 |  | 0.0102
Total |  | 142869 |  | 1
FACTOR E. ALLOCATION OF COSTS ASSOCIATED WITH SERVICES.
Factors are based on the relative cost of services by size and customer classification, as developed on the following page and summarized below.
Customer |  | 3/4" Dollar |  | Allocation
Classification |  | Equivalents |  | Factor
(1) |  | (2) |  | (3)
Residential |  | 95230 |  | 0.8628
Commercial |  | 10312 |  | 0.0934
Industrial |  | 75 |  | 0.0007
Other Public Authority |  | 993 |  | 0.009
Sales for Resale |  | 40 |  | 0.0004
Private Fire Protection |  | 3719 |  | 0.0337
Total |  | 110369 |  | 1
FACTOR F. ALLOCATION OF BILLING AND COLLECTING COSTS.
Factors are based on the total number of customers.
Customer |  | Total |  | Allocation
Classification |  | Customers |  | Factor
(1) |  | (2) |  | (3)
Residential |  | 106817 |  | 0.9043
Commercial |  | 8926 |  | 0.0756
Industrial |  | 44 |  | 0.0004
Other Public Authority |  | 719 |  | 0.0061
Sales for Resale |  | 21 |  | 0.0002
Private Fire Protection |  | 1545 |  | 0.0131
Public Fire Protection |  | 38 |  | 0.0003
Total |  | 118110 |  | 1
FACTOR G. ALLOCATION OF METER READING COSTS.
Factors are based on the number of metered customers.
Customer |  | Total Metered |  | Allocation
Classification |  | Customers |  | Factor
(1) |  | (2) |  | (2)
Residential |  | 106817 |  | 0.9053 | 0.8778
Commercial |  | 8926 |  | 0.0757 | 0.101
Industrial |  | 44 |  | 0.0004 | 0.0013
Other Public Authority |  | 719 |  | 0.0061 | 0.0094
Sales for Resale |  | 21 |  | 0.0002 | 0.0002
Private Fire Protection |  | 1451 |  | 0.0123 | 0.0103
Total |  | 117978 |  | 1 | 1
FACTOR H. ALLOCATION OF PRIVATE FIRE PROTECTION COSTS.
These costs are assigned directly to Private Fire Protection.
Cost |  |  |  | Allocation
Function |  |  |  | Factor
(1) |  |  |  | (2)
Private Fire Protection |  |  |  | 1
FACTOR I. ALLOCATION OF PUBLIC FIRE PROTECTION COSTS.
These costs are assigned directly to Public Fire Protection.
Cost |  |  |  | Allocation
Function |  |  |  | Factor
(1) |  |  |  | (2)
Public Fire Protection |  |  |  | 1

## Meters & Services
KENTUCKY-AMERICAN WATER COMPANY
BASIS FOR ALLOCATING METER COSTS TO CUSTOMER CLASSIFICATIONS
| 5/8" | Residential |  |  | Commercial |  | Industrial |  | Other Public Authority |  | Sales for Resale |  | Private Fire Protection |  | Total
Meter | Dollar | Number of |  |  | Number of |  | Number of |  | Number of |  | Number of |  | Number of |  | Number of
Size | Equivalent | Meters |  | Weighting | Meters | Weighting | Meters | Weighting | Meters | Weighting | Meters | Weighting | Meters | Weighting | Meters | Weighting
-1 | -2 | -3 |  | (4)=(2)X(3) | -5 | (6)=(2)X(5) | -7 | (8)=(2)X(7) | -9 | (10)=(2)X(9) | -11 | (12)=(2)X(11) | -13 | (14)=(2)X(11) | -15 | -16 | Residential |  |  |  | Commercial |  |  |  | Industrial | OPA | SFR
[17 empty] | M | TV | Elk | Owen | M | TV | Elk | Owen
5/8 | 1 | 104938 |  | 104938 | 4858 | 4858 | 2 | 2 | 141 | 141 | 0 | 0 | 1451 | 1451 | 111390 | 111390 | 1229400 | 26235 | 3612 | 0 | 56725 | 443 | 12 | 1116 | 24 | 1692 | 0
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
1 | 1.8 | 1754 |  | 3157 | 2191 | 3944 | 2 | 4 | 167 | 301 | 0 | 0 | 0 | 0 | 4114 | 7406 | 20876 | 156 | 12 | 0 | 26123 | 36 | 0 | 132 | 24 | 2004 | 0
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
1-1/2 | 5.4 | 16 |  | 86 | 168 | 907 | 1 | 5 | 26 | 140 | 3 | 16 | 0 | 0 | 214 | 1154 | 192 | 0 | 0 |  | 2016 | 0 | 0 |  | 12 | 312 | 36
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
2 | 8.9 | 107 |  | 952 | 1660 | 14774 | 24 | 214 | 335 | 2982 | 7 | 62 | 0 | 0 | 2133 | 18984 | 1236 | 48 | 0 |  | 19848 | 60 | 0 | 12 | 288 | 4020 | 84
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
3 | 14 | 0 |  | 0 | 5 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 70 | 0 | 0 | 0 |  | 60 | 0 | 0 |  | 0 | 0 | 0
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
4 | 27 | 0 |  | 0 | 27 | 729 | 12 | 324 | 39 | 1053 | 7 | 189 | 0 | 0 | 85 | 2295 | 0 | 0 | 0 |  | 324 | 0 | 0 |  | 144 | 468 | 84
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
6 | 40 | 2 |  | 80 | 10 | 400 | 3 | 120 | 9 | 360 | 4 | 160 | 0 | 0 | 28 | 1120 | 24 | 0 | 0 |  | 72 | 0 | 0 | 48 | 36 | 108 | 48
[17 empty] | 0 | 0 | 0 |  | 0 | 0 | 0 |  | 0 | 0 | 0
8 | 50 | 0 |  | 0 | 7 | 350 | 0 | 0 | 2 | 100 | 0 | 0 | 0 | 0 | 9 | 450 | 0 | 0 | 0 |  | 84 | 0 | 0 |  | 0 | 24 | 0
Total |  | 106817 |  | 109213 | 8926 | 26032 | 44 | 669 | 719 | 5077 | 21 | 427 | 1451 | 1451 | 117978 | 142869 | 1251728 | 26439 | 3624
KENTUCKY-AMERICAN WATER COMPANY
BASIS FOR ALLOCATING SERVICE COSTS TO CUSTOMER CLASSIFICATIONS
| 3/4" | Residential |  |  | Commercial |  | Industrial |  | Other Public Authority |  | Sales for Resale |  | Private Fire Protection |  | Total
Service | Dollar | Number of |  |  | Number of |  | Number of |  | Number of |  | Number of |  | Number of |  | Number of
Size | Equivalent | Services |  | Weighting | Services | Weighting | Services | Weighting | Services | Weighting | Services | Weighting | Services | Weighting | Services | Weighting
-1 | -2 | -3 |  | (4)=(2)X(3) | -5 | (6)=(2)X(5) | -7 | (8)=(2)X(7) | -9 | (10)=(2)X(9) | -11 | (12)=(2)X(11) | -13 | (14)=(2)X(11) | -15 | -16
3/4 | 1 | 74938 | * | 74938 | 4858 | 4858 | 2 | 2 | 141 | 141 | 0 | 0 | 0 | 0 | 79939 | 79939
1 | 1.2 | 16754 | * | 20105 | 2191 | 2629 | 2 | 2 | 167 | 200 | 0 | 0 | 0 | 0 | 19114 | 22936
1-1/2 | 1.3 | 16 |  | 21 | 168 | 218 | 1 | 1 | 26 | 34 | 3 | 4 | 0 | 0 | 214 | 278
2 | 1.5 | 107 |  | 161 | 1660 | 2490 | 24 | 36 | 335 | 503 | 7 | 11 | 43 | 65 | 2176 | 3266
4 | 2.2 | 0 |  | 0 | 32 | 70 | 12 | 26 | 39 | 86 | 7 | 15 | 331 | 728 | 421 | 925
6 | 2.5 | 2 |  | 5 | 10 | 25 | 3 | 8 | 9 | 23 | 4 | 10 | 798 | 1995 | 826 | 2066
8 | 3.2 | 0 |  | 0 | 7 | 22 | 0 | 0 | 2 | 6 | 0 | 0 | 265 | 848 | 274 | 876
10 | 5.6 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 39 | 7 | 39
12 | 6 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6 | 36 | 6 | 36
>12 | 8 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 8 | 1 | 8
Total |  | 91817 |  | 95230 | 8926 | 10312 | 44 | 75 | 719 | 993 | 21 | 40 | 1451 | 3719 | 102978 | 110369
*Adjusted to reflect that approximately 30,000 residential customers are served by 1-inch service lines each serving two residences.

## Schedule D
Schedule D
KENTUCKY-AMERICAN WATER COMPANY
COST OF SERVICE FOR THE TWELVE MONTHS ENDING NOVEMBER 30, 2008, ALLOCATED TO COST FUNCTIONS
[9 empty] | Customer Accounting |  | Fire Service
|  | Factor | Cost of |  | Extra Capacity |  | Customer Facilities |  | Billing & | Meter | Private |  | Public
| Account | Ref. | Service | Base | Max Day | Max Hour | Meters | Services | Collecting | Reading | Fire |  | Fire
| -1 | -2 | -3 | -4 | -5 | -6 | -7 | -8 | -9 | -10 | -11 |  | -12
OPERATION AND MAINTENANCE EXPENSES
SOURCE OF SUPPLY EXPENSES
-OPERATION-
| 600 Supervision & Engineering | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 601 Operation Expense and Labor | [12 empty] | 0
5350 | Expenses | 2 | 5350 | 3242.635 | 2107.365 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 2 | 0 | 0 | 0 | [8 empty] | 0
477462.9736 | 602 Purchased Water | 1 | 477462.9736 | 477462.9736 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
40435 | 603 Miscellaneous Expenses | 2 | 40435 | 24507.6535 | 15927.3465 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 604 Rents | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Operation |  | 523247.9736 | 505213.2621 | 18034.7115 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| -MAINTENANCE- | [12 empty] | 0
| 610 Supervision & Engineering | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 612 Maint Coll & Impound Res | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 613.1 Maint Lakes, River & Intakes | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 613.2 Amort Lakes, River & Intakes | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 614 Wells and Springs Maint | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 616 Maint Supply Mains Mat | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 617 Maint Misc Water Source |  | 0 | [10 empty] | 0
167580 | Expenses | 2 | 167580 | 101570.238 | 66009.762 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Maintenance |  | 167580 | 101570.238 | 66009.762 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Source of Supply |  | 690827.9736 | 606783.5001 | 84044.4735 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| POWER AND PUMPING EXPENSES | [12 empty] | 0
| 620 Pumping Supervision & Eng Electric | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 622 Pump Power Prod Labor & Exp | [12 empty] | 0
| Expenses | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
2986276.975 | 623 Pump Fuel and Power Purchase | 1 | 2986276.975 | 2986276.975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 624 Pump Labor and Expenses | [12 empty] | 0
| Expenses | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 626 Misc Pumping Expenses Electic | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 627 Rents | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Operation |  | 2986276.975 | 2986276.975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| -MAINTENANCE- | [12 empty] | 0
329578.15 | 630 Supervision & Engineering | 6 | 329578.15 | 185585.4563 | 111133.7522 | 21916.947 | 0 | 0 | 0 | 0 | 4647.0519 |  | 6294.9427 | 0
| 631 Pump Struc & Imp Maint | [12 empty] | 0
| Expenses | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 632 Pump Maint Power Prod Equipment | [12 empty] | 0
| Expenses | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 633 Pump Maint Pumping Equipment | [12 empty] | 0
| Expenses | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Maintenance |  | 329578.15 | 185585.4563 | 111133.7522 | 21916.947 | 0 | 0 | 0 | 0 | 4647.0519 |  | 6294.9427 | 0
0
| Total Power and Pumping |  | 3315855.125 | 3171862.4312 | 111133.7522 | 21916.947 | 0 | 0 | 0 | 0 | 4647.0519 |  | 6294.9427 | 0
0
| WATER TREATMENT | [12 empty] | 0
| -OPERATION- | [12 empty] | 0
0
672687.84 | 640 Supervision and Engineering | 2 | 672687.84 | 407716.0998 | 264971.7402 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
1505218.0784 | 641 Chemicals | 1 | 1505218.0784 | 1505218.0784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 642.1 Labor and Expenses | [12 empty] | 0
167587 | Expenses | 2 | 167587 | 101574.4807 | 66012.5193 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
1042519.51 | Labor | 2 | 1042519.51 | 631871.075 | 410648.435 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 643 Misc Water Treatment Exp-Current | [12 empty] | 0
88321 | Expenses - Other | 2 | 88321 | 53531.3581 | 34789.6419 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
262237 | Expenses - Waste Disposal | 1 | 262237 | 262237 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 644 Rents | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Operation |  | 3738570.4284 | 2962148.092 | 776422.3364 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| -MAINTENANCE- | [12 empty] | 0
| 650 Supervision and Engineering | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 651 Structures and Improvements | [12 empty] | 0
323019 | Expenses | 2 | 323019 | 195781.8159 | 127237.1841 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 652 General Water Equip | [12 empty] | 0
90040 | Expenses | 2 | 90040 | 54573.244 | 35466.756 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Maintenance |  | 413059 | 250355.0599 | 162703.9401 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Water Treatment Expenses |  | 4151629.4284 | 3212503.1519 | 939126.2765 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| TRANSMISSION AND DISTRIBUTION EXPENSES | [12 empty] | 0
| -OPERATION- | [12 empty] | 0
0
386078.64 | 660 Supervision and Engineering | 8 | 386078.64 | 153196.0044 | 29187.5452 | 162461.8917 | 0 | 0 | 0 | 0 | 17412.1467 |  | 23821.0521 | 0
| 661 Storage Facilities Expense | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 662 Lines Expense | [12 empty] | 0
23522 | Expenses | 7 | 23522 | 9333.1996 | 1777.2597 | 9898.2041 | 0 | 0 | 0 | 0 | 1060.9684 |  | 1452.3683 | 0
800431.45 | Labor | 7 | 800431.45 | 317599.9684 | 60478.47 | 336826.5379 | 0 | 0 | 0 | 0 | 36103.7521 |  | 49422.7215 | 0
| 663 Meter Expense | [12 empty] | 0
| Expenses | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 664 Customer Installation Expenses | [12 empty] | 0
| Expenses | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 665 Maps and Records | [12 empty] | 0
0 | Expenses | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
41760.49 | Labor | 8 | 41760.49 | 16570.5624 | 3157.093 | 17572.8142 | 0 | 0 | 0 | 0 | 1883.3981 |  | 2576.6222 | 0
| 665 Miscellaneous Expenses | [12 empty] | 0
326912 | Expenses - Other | 8 | 326912 | 129718.6816 | 24714.5472 | 137564.5696 | 0 | 0 | 0 | 0 | 14743.7312 |  | 20170.4704 | 0
| Expenses - Distribution Reservoirs | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
23765 | 666 Rents | 8 | 23765 | 9429.952 | 1796.634 | 10000.312 | 0 | 0 | 0 | 0 | 1071.8015 |  | 1466.3005 | 0
0
| Total Operation |  | 1602469.58 | 635848.3684 | 121111.5492 | 674324.3295 | 0 | 0 | 0 | 0 | 72275.798 |  | 98909.535 | 0
0
| -MAINTENANCE- | [12 empty] | 0
0
| 670 Supervision and Engineering | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 671 T & D Structures & Improve Maint | [12 empty] | 0
| Expenses | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 672 Reservoirs and Standpipes | [12 empty] | 0
163622.12 | Expenses | 5 | 163622.12 | 55975.1273 | 0 | 83954.5098 | 0 | 0 | 0 | 0 | 9997.3115 |  | 13695.1714 | 0
| Labor | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 673 T & D Mains | [12 empty] | 0
| Expenses | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
1057485.66 | Labor | 7 | 1057485.66 | 419595.4722 | 79900.802 | 444996.55 | 0 | 0 | 0 | 0 | 47698.2759 |  | 65294.5599 | 0
| 675 Services | [12 empty] | 0
| Expenses | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 676 Meters | [12 empty] | 0
| Expenses | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
42962.44 | Labor | 9 | 42962.44 | 0 | 0 | 0 | 42962.44 | 0 | 0 | 0 | 0 |  | 0 | 0
| 677 Hydrants | [12 empty] | 0
| Expenses | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Labor | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 678 Miscellaneous Plant | [12 empty] | 0
577113 | Expenses | 14 | 577113 | 217109.9106 | 36473.5416 | 241521.7905 | 19621.842 | 0 | 0 | 0 | 26316.3528 |  | 36069.5625 | 0
| Labor | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Maintenance |  | 1841183.22 | 692680.5101 | 116374.3436 | 770472.8502 | 62584.282 | 0 | 0 | 0 | 84011.9402 |  | 115059.2939 | 0
0
| Total Transmission and Distribution |  | 3443652.8 | 1328528.8785 | 237485.8928 | 1444797.1797 | 62584.282 | 0 | 0 | 0 | 156287.7382 |  | 213968.8289 | 0
0
| CUSTOMER ACCOUNTS | [12 empty] | 0
43797.63 | 901 Supervision | 11 | 43797.63 | 0 | 0 | 0 | 0 | 0 | 43797.63 | 0 | 0 |  | 0 | 0
| 902 Meter Reading Expenses | [12 empty] | 0
| Expenses | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
595914.8 | Labor | 12 | 595914.8 | 0 | 0 | 0 | 0 | 0 | 0 | 595914.8 | 0 |  | 0 | 0
| 903 Recording and Collecting Expenses | [12 empty] | 0
953859 | Expenses | 11 | 953859 | 0 | 0 | 0 | 0 | 0 | 953859 | 0 | 0 |  | 0 | 0
235670.87 | Labor | 11 | 235670.87 | 0 | 0 | 0 | 0 | 0 | 235670.87 | 0 | 0 |  | 0 | 0
512109.1835 | 904 Uncollectible Accounts | 11 | 512109.1835 | 0 | 0 | 0 | 0 | 0 | 512109.1835 | 0 | 0 |  | 0 | 0
3950 | 905 Misc Customer Accounting Expenses | 11 | 3950 | 0 | 0 | 0 | 0 | 0 | 3950 | 0 | 0 |  | 0 | 0
| 907 Customer Service Expenses | [12 empty] | 0
| Labor | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Customers' Accounting and |  | 2345301.4835 | 0 | 0 | 0 | 0 | 0 | 1749386.6835 | 595914.8 | 0 |  | 0 | 0
| Collecting Expenses | [12 empty] | 0
0
| ADMINISTRATIVE AND GENERAL EXPENSES | [12 empty] | 0
| -OPERATION- | [12 empty] | 0
| 920 Administrative & General Salaries | [12 empty] | 0
116089 | Expenses | 15 | 116089 | 41118.7238 | 18272.4086 | 19537.7787 | 835.8408 | 0 | 23299.0623 | 7940.4876 | 2147.6465 |  | 2937.0517 | 0
999589.85 | Labor | 15 | 999589.85 | 354054.7249 | 157335.4424 | 168230.9718 | 7197.0469 | 0 | 200617.6829 | 68371.9457 | 18492.4122 |  | 25289.6232 | 0
334992 | 921 Miscellaneous Office Expenses | 15 | 334992 | 118654.1664 | 52727.7408 | 56379.1536 | 2411.9424 | 0 | 67232.8944 | 22913.4528 | 6197.352 |  | 8475.2976 | 0
7017688.48 | 923 Outside Services
| Customer Related | 11 | 2028366 | 0 | 0 | 0 | 0 | 0 | 2028366 | 0 | 0 |  | 0 | 0
| Employee Related | 16 | 237745 | 94622.51 | 42485.0315 | 43840.178 | 1901.96 | 0 | 18258.816 | 25272.2935 | 4802.449 |  | 6561.762 | 0
| Water Quality | 1 | 191177 | 191177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Other | 15 | 4560400.48 | 1615293.85 | 717807.0356 | 767515.4008 | 32834.8835 | 0 | 915272.3763 | 311931.3928 | 84367.4089 |  | 115378.1321 | 0
133349 | 924 Property Insurance | 15 | 133349 | 47232.2158 | 20989.1326 | 22442.6367 | 960.1128 | 0 | 26763.1443 | 9121.0716 | 2466.9565 |  | 3373.7297 | 0
151340 | 925 Workers Compensation | 16 | 151340 | 60233.32 | 27044.458 | 27907.096 | 1210.72 | 0 | 11622.912 | 16087.442 | 3057.068 |  | 4176.984 | 0
397221 | 925.4 General Liability | 15 | 397221 | 140695.6782 | 62522.5854 | 66852.2943 | 2859.9912 | 0 | 79722.2547 | 27169.9164 | 7348.5885 |  | 10049.6913 | 0
2687581.878 | 926 Employee Pensions and Benefits | 16 | 2687581.878 | 1069657.5874 | 480270.8816 | 495590.0983 | 21500.655 | 0 | 206406.2882 | 285689.9536 | 54289.1539 |  | 74177.2598 | 0
292195 | 928 Regulatory Expenses | 15 | 292195 | 103495.469 | 45991.493 | 49176.4185 | 2103.804 | 0 | 58643.5365 | 19986.138 | 5405.6075 |  | 7392.5335 | 0
1231780 | 930 Miscellaneous General Expense | 15 | 1231780 | 436296.476 | 193882.172 | 207308.574 | 8868.816 | 0 | 247218.246 | 84253.752 | 22787.93 |  | 31164.034 | 0
28400 | 931 Administrative and General Rents | 15 | 28400 | 10059.28 | 4470.16 | 4779.72 | 204.48 | 0 | 5699.88 | 1942.56 | 525.4 |  | 718.52 | 0
0
| Total Operation |  | 13390226.208 | 4282591.0015 | 1823798.5414 | 1929560.3206 | 82890.2526 | 0 | 3889123.0937 | 880680.4061 | 211887.973 |  | 289694.619 | 0
| -MAINTENANCE- | [12 empty] | 0
185836 | 932 Maintenance of General Plant | 15 | 185836 | 65823.1112 | 29250.5864 | 31276.1988 | 1338.0192 | 0 | 37297.2852 | 12711.1824 | 3437.966 |  | 4701.6508 | 0
| Total Maintenance | [12 empty] | 0
0
| Total Administrative and General |  | 13576062.208 | 4348414.1127 | 1853049.1278 | 1960836.5194 | 84228.2718 | 0 | 3926420.3789 | 893391.5885 | 215325.939 |  | 294396.2698 | 0
| Expenses | [12 empty] | 0
0
| Total Operation and Maintenance | [12 empty] | 0
| Expenses |  | 27523329.0185 | 12668092.0745 | 3224839.5228 | 3427550.6461 | 146812.5538 | 0 | 5675807.0624 | 1489306.3885 | 376260.7291 |  | 514660.0413 | 0
0
| 503 DEPRECIATION EXPENSE | [12 empty] | 0
0
| 301 Organization | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 302 Franchise and Consents | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 303 Other P/E Intangibles | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 310 Land and Land Rights | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
150622 | 311 Source of Supply Struct & Improv | 2 | 150622 | 91291.9942 | 59330.0058 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
16976 | 312 Collecting &Impounding Reservoirs | 1 | 16976 | 16976 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
14148 | 313 Lake, River and Other Intakes | 2 | 14148 | 8575.1028 | 5572.8972 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 314 Wells and Springs | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
98128 | 316 Supply Mains | 2 | 98128 | 59475.3808 | 38652.6192 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
105306 | 321 Pumping Structures & Improvements | 6 | 105306 | 59297.8086 | 35509.1832 | 7002.849 | 0 | 0 | 0 | 0 | 1484.8146 |  | 2011.3446 | 0
0 | 322 Boiler Plant Equipment | 6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
19463 | 323 Other Power Production Equipment | 6 | 19463 | 10959.6153 | 6562.9236 | 1294.2895 | 0 | 0 | 0 | 0 | 274.4283 |  | 371.7433 | 0
278586 | 325 Electric Pumping Equipment | 6 | 278586 | 156871.7766 | 93939.1992 | 18525.969 | 0 | 0 | 0 | 0 | 3928.0626 |  | 5320.9926 | 0
46490 | 326 Diesel Pumping Equipment | 6 | 46490 | 26178.519 | 15676.428 | 3091.585 | 0 | 0 | 0 | 0 | 655.509 |  | 887.959 | 0
1983 | 328 Other Pumping Equipment | 6 | 1983 | 1116.6273 | 668.6676 | 131.8695 | 0 | 0 | 0 | 0 | 27.9603 |  | 37.8753 | 0
267950 | 331 Water Treat Structures & Improv | 2 | 267950 | 162404.495 | 105545.505 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
587110 | 332 Water Treat and Equipment | 2 | 587110 | 355847.371 | 231262.629 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 334 GAC | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
78897 | 341 T & D Structures & Improvements | 14 | 78897 | 29681.0514 | 4986.2904 | 33018.3945 | 2682.498 | 0 | 0 | 0 | 3597.7032 |  | 4931.0625 | 0
247643 | 342 Distrib. Reservoirs & Standpipes | 5 | 247643 | 84718.6703 | 0 | 127065.6233 | 0 | 0 | 0 | 0 | 15130.9873 |  | 20727.7191 | 0
2378058 | 343 Transmission & Distribution Mains | [12 empty] | 0
| Distribution | 4 | 1455847 | 511730.2205 | 0 | 767522.5384 | 0 | 0 | 0 | 0 | 74539.3664 |  | 102054.8747 | 0
| Transmission | 3 | 922211 | 531101.3149 | 345275.7984 | 0 | 0 | 0 | 0 | 0 | 19366.431 |  | 26467.4557 | 0
561242.9623 | 345 Services | 10 | 561242.9623 | 0 | 0 | 0 | 0 | 561242.9623 | 0 | 0 | 0 |  | 0 | 0
315450 | 346 Meters | 9 | 315450 | 0 | 0 | 0 | 315450 | 0 | 0 | 0 | 0 |  | 0 | 0
478762 | 347 Meter Installations | 9 | 478762 | 0 | 0 | 0 | 478762 | 0 | 0 | 0 | 0 |  | 0 | 0
175931 | 348 Fire Hydrants | 13 | 175931 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 175931 | 0
0 | 349 Other T & D | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 389 Land and Land Rights | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 390 General Structures & Improvements | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
85364 | 390.1 Office Structures | 15 | 85364 | 30235.9288 | 13436.2936 | 14366.7612 | 614.6208 | 0 | 17132.5548 | 5838.8976 | 1579.234 |  | 2159.7092 | 0
24654 | 390.2 Stores Shop and Gar. Structures | 15 | 24654 | 8732.4468 | 3880.5396 | 4149.2682 | 177.5088 | 0 | 4948.0578 | 1686.3336 | 456.099 |  | 623.7462 | 0
72529 | 390.3 Miscellaneous Structures & Improv | 15 | 72529 | 25689.7718 | 11416.0646 | 12206.6307 | 522.2088 | 0 | 14556.5703 | 4960.9836 | 1341.7865 |  | 1834.9837 | 0
87816 | 391 Office Furniture and Equipment | 15 | 87816 | 31104.4272 | 13822.2384 | 14779.4328 | 632.2752 | 0 | 17624.6712 | 6006.6144 | 1624.596 |  | 2221.7448 | 0
294223 | 391.20 Computers & Peripheral Equipment | 15 | 294223 | 104213.7866 | 46310.7002 | 49517.7309 | 2118.4056 | 0 | 59050.5561 | 20124.8532 | 5443.1255 |  | 7443.8419 | 0
473989 | 391.25 Computer Software | 15 | 473989 | 167886.9038 | 74605.8686 | 79772.3487 | 3412.7208 | 0 | 95129.5923 | 32420.8476 | 8768.7965 |  | 11991.9217 | 0
267078 | 391.26 Personal Computer Software | 15 | 267078 | 94599.0276 | 42038.0772 | 44949.2274 | 1922.9616 | 0 | 53602.5546 | 18268.1352 | 4940.943 |  | 6757.0734 | 0
171055 | 391.30 Other Office Equipment | 15 | 171055 | 60587.681 | 26924.057 | 28788.5565 | 1231.596 | 0 | 34330.7385 | 11700.162 | 3164.5175 |  | 4327.6915 | 0
154535 | 392.11 Transportation Equip-Light Trucks | 15 | 154535 | 54736.297 | 24323.809 | 26008.2405 | 1112.652 | 0 | 31015.1745 | 10570.194 | 2858.8975 |  | 3909.7355 | 0
60958 | 392.12 Transportation Equip-Heavy Trucks | 15 | 60958 | 21591.3236 | 9594.7892 | 10259.2314 | 438.8976 | 0 | 12234.2706 | 4169.5272 | 1127.723 |  | 1542.2374 | 0
25392 | 392.2 Transportation Equip-Cars | 15 | 25392 | 8993.8464 | 3996.7008 | 4273.4736 | 182.8224 | 0 | 5096.1744 | 1736.8128 | 469.752 |  | 642.4176 | 0
8738 | 392.3 Transportation Equip-Other | 15 | 8738 | 3094.9996 | 1375.3612 | 1470.6054 | 62.9136 | 0 | 1753.7166 | 597.6792 | 161.653 |  | 221.0714 | 0
2314 | 393 Stores Equipment | 15 | 2314 | 819.6188 | 364.2236 | 389.4462 | 16.6608 | 0 | 464.4198 | 158.2776 | 42.809 |  | 58.5442 | 0
129223 | 394 Tools, Shop & Garage Equipment | 15 | 129223 | 45770.7866 | 20339.7002 | 21748.2309 | 930.4056 | 0 | 25935.0561 | 8838.8532 | 2390.6255 |  | 3269.3419 | 0
70783 | 395 Laboratory Equipment | 2 | 70783 | 42901.5763 | 27881.4237 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
74403 | 396 Power Operated Equipment | 15 | 74403 | 26353.5426 | 11711.0322 | 12522.0249 | 535.7016 | 0 | 14932.6821 | 5089.1652 | 1376.4555 |  | 1882.3959 | 0
133640 | 397 Communication Equipment | 15 | 133640 | 47335.288 | 21034.936 | 22491.612 | 962.208 | 0 | 26821.548 | 9140.976 | 2472.34 |  | 3381.092 | 0
70904 | 398 Miscellaneous Equipment | 15 | 70904 | 25114.1968 | 11160.2896 | 11933.1432 | 510.5088 | 0 | 14230.4328 | 4849.8336 | 1311.724 |  | 1793.8712 | 0
8309 | 399 Other Tangible Property | 15 | 8309 | 2943.0478 | 1307.8366 | 1398.4047 | 59.8248 | 0 | 1667.6163 | 568.3356 | 153.7165 |  | 210.2177 | 0
0
| Total Depreciation Expense |  | 8038652.9623 | 2908930.4448 | 1308506.0879 | 1318677.4874 | 812339.3908 | 561242.9623 | 430526.3868 | 146726.4816 | 158690.0567 |  | 393013.664 | 0
0
| 404 AMORTIZATION EXPENSE | [12 empty] | 0
25730.41 | AFUDC | 18 | 25730.41 | 10436.2543 | 4793.5754 | 4484.8105 | 2351.7595 | 319.0571 | 913.4296 | 311.338 | 581.5073 |  | 1538.6785 | 0
13049.3 | Acquisition Adjustment | 18 | 13049.3 | 5292.7961 | 2431.0846 | 2274.493 | 1192.706 | 161.8113 | 463.2501 | 157.8965 | 294.9142 |  | 780.3481 | 0
412191.88 | Property Losses | 2 | 412191.88 | 249829.4985 | 162362.3815 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Amortizations |  | 450971.59 | 265558.5488 | 169587.0415 | 6759.3035 | 3544.4655 | 480.8684 | 1376.6797 | 469.2345 | 876.4214 |  | 2319.0267 | 0
0
| 507.1 TAXES, OTHER THAN INCOME | [12 empty] | 0
482787 | Federal and State Payroll Taxes | 16 | 482787 | 192149.226 | 86274.0369 | 89025.9228 | 3862.296 | 0 | 37078.0416 | 51320.2581 | 9752.2974 |  | 13324.9212 | 0
2729050 | Property Taxes | 18 | 2729050 | 1106902.68 | 508422.015 | 475673.415 | 249435.17 | 33840.22 | 96881.275 | 33021.505 | 61676.53 |  | 163197.19 | 0
104422 | Gross Receipts and surtax | 19 | 104422 | 44379.35 | 16164.5256 | 15715.511 | 5670.1146 | 1472.3502 | 11632.6108 | 3299.7352 | 1900.4804 |  | 4187.3222 | 0
| Other General Taxes | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Taxes, Other Than Income |  | 3316259 | 1343431.256 | 610860.5775 | 580414.8488 | 258967.5806 | 35312.5702 | 145591.9274 | 87641.4983 | 73329.3078 |  | 180709.4334 | 0
0
0
7218051 | 507.2 INCOME TAXES | 18 | 7218051 | 2927641.4856 | 1344722.9013 | 1258106.2893 | 659729.8614 | 89503.8324 | 256240.8105 | 87338.4171 | 163127.9526 |  | 431639.4498 | 0
0
| Utility Operating Income Available | [12 empty] | 0
17461498.4292 | for Return | 18 | 17461498.4292 | 7082383.7629 | 3253077.1574 | 3043539.1762 | 1595980.9564 | 216522.5805 | 619883.1942 | 211284.131 | 394629.8645 |  | 1044197.6061 | 0
0
| Total Cost of Service |  | 64008762 | 27196037.5726 | 9911593.2883 | 9635047.7513 | 3477374.8085 | 903062.8139 | 7129426.061 | 2022766.151 | 1166914.3322 |  | 2566539.2213 | 0
0
86345 | Less: Other Water Revenues | 19 | 86345 | 36696.625 | 13366.206 | 12994.9225 | 4688.5335 | 1217.4645 | 9618.833 | 2728.502 | 1571.479 |  | 3462.4345 | 0
986550 | Customer Related | 11 | 986550 | 0 | 0 | 0 | 0 | 0 | 986550 | 0 | 0 |  | 0 | 0
1858197 | AFUDC | 18 | 1858197 | 753684.7032 | 346182.1011 | 323883.7371 | 169839.2058 | 23041.6428 | 65965.9935 | 22484.1837 | 41995.2522 |  | 111120.1806 | 0
903528 | Billing and Collecting Services | 11 | 903528 | 0 | 0 | 0 | 0 | 0 | 903528 | 0 | 0 |  | 0 | 0
0
| Total Other Water Revenues |  | 3834620 | 790381.3282 | 359548.3071 | 336878.6596 | 174527.7393 | 24259.1073 | 1965662.8265 | 25212.6857 | 43566.7312 |  | 114582.6151 | 0
0
| Total Cost of Service Related to | [12 empty] | 0
| Sales of Water |  | 60174142 | 26405656.2444 | 9552044.9812 | 9298169.0917 | 3302847.0692 | 878803.7066 | 5163763.2345 | 1997553.4653 | 1123347.601 |  | 2451956.6062 | 0 | 60174142
| Annual Consumption, Thousand Gallons |  |  | 18232480
| Base Costs per Thousand Gallons |  |  | 1.4483
0
RATE BASE
37347 | 301 Organization | 17 | 37347 | 14008.8597 | 5628.1929 | 7883.9517 | 2935.4742 | 3118.4745 | 265.1637 | 89.6328 | 963.5526 |  | 2453.6979 | 0
70261 | 302 Franchise and Consents | 17 | 70261 | 26354.9011 | 10588.3327 | 14832.0971 | 5522.5146 | 5866.7935 | 498.8531 | 168.6264 | 1812.7338 |  | 4616.1477 | 0
0 | 303 Other P/E Intangibles | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 303.6 Other P/E Comprehensive Studies | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
1065891 | 310 Land and Land Rights | 2 | 1065891 | 646036.5351 | 419854.4649 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
4693066 | 311 Source of Supply Struct & Improv | 2 | 4693066 | 2844467.3026 | 1848598.6974 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
675105 | 312 Collecting &Impounding Reservoirs | 1 | 675105 | 675105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
457035 | 313 Lake, River and Other Intakes | 2 | 457035 | 277008.9135 | 180026.0865 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0 | 314 Wells and Springs | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
4078812 | 316 Supply Mains | 2 | 4078812 | 2472167.9532 | 1606644.0468 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
91826 | 320 Pumping Land & Land Rights | 6 | 91826 | 51707.2206 | 30963.7272 | 6106.429 | 0 | 0 | 0 | 0 | 1294.7466 |  | 1753.8766 | 0
3497135 | 321 Pumping Structures & Improvements | 6 | 3497135 | 1969236.7185 | 1179233.922 | 232559.4775 | 0 | 0 | 0 | 0 | 49309.6035 |  | 66795.2785 | 0
421907 | 323 Other Power Production Equipment | 6 | 421907 | 237575.8317 | 142267.0404 | 28056.8155 | 0 | 0 | 0 | 0 | 5948.8887 |  | 8058.4237 | 0
5238131 | 325 Electric Pumping Equipment | 6 | 5238131 | 2949591.5661 | 1766297.7732 | 348335.7115 | 0 | 0 | 0 | 0 | 73857.6471 |  | 100048.3021 | 0
1617687 | 326 Diesel Pumping Equipment | 6 | 1617687 | 910919.5497 | 545484.0564 | 107576.1855 | 0 | 0 | 0 | 0 | 22809.3867 |  | 30897.8217 | 0
68164 | 330 Land and Land Rights | 2 | 68164 | 41314.2004 | 26849.7996 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
11806160 | 331 Water Treat Structures & Improv | 2 | 11806160 | 7155713.576 | 4650446.424 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
12634736 | 332 Water Treat and Equipment | 2 | 12634736 | 7657913.4896 | 4976822.5104 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| 334 GAC | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
4024896 | 340 Land and Land Rights | 7 | 4024896 | 1597022.2592 | 304110.4296 | 1693701.2971 | 0 | 0 | 0 | 0 | 181544.4002 |  | 248517.614 | 0
1326141 | 341 T & D Structures & Improvements | 14 | 1326141 | 498894.2442 | 83812.1112 | 554990.0085 | 45088.794 | 0 | 0 | 0 | 60472.0296 |  | 82883.8125 | 0
8990906 | 342 Distrib. Reservoirs & Standpipes | 5 | 8990906 | 3075788.9426 | 0 | 4613233.8686 | 0 | 0 | 0 | 0 | 549344.3566 |  | 752538.8322 | 0
149921984 | 343 Transmission & Distribution Mains | [12 empty] | 0
| Distribution | 4 | 91782239 | 32261457.0085 | 0 | 48387596.4008 | 0 | 0 | 0 | 0 | 4699250.6368 |  | 6433934.9539 | 0
| Transmission | 3 | 58139745 | 33482679.1455 | 21767520.528 | 0 | 0 | 0 | 0 | 0 | 1220934.645 |  | 1668610.6815 | 0
22766460 | 345 Services | 10 | 22766460 | 0 | 0 | 0 | 0 | 22766460 | 0 | 0 | 0 |  | 0 | 0
10487829 | 346 Meters | 9 | 10487829 | 0 | 0 | 0 | 10487829 | 0 | 0 | 0 | 0 |  | 0 | 0
10843675 | 347 Meter Installations | 9 | 10843675 | 0 | 0 | 0 | 10843675 | 0 | 0 | 0 | 0 |  | 0 | 0
8269854 | 348 Fire Hydrants | 13 | 8269854 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 8269854 | 0
2719275 | 390.1 Office Structures | 15 | 2719275 | 963167.205 | 428013.885 | 457653.9825 | 19578.78 | 0 | 545758.4925 | 185998.41 | 50306.5875 |  | 68797.6575 | 0
2674685 | 390.2 General Structures - HVAC | 15 | 2674685 | 947373.427 | 420995.419 | 450149.4855 | 19257.732 | 0 | 536809.2795 | 182948.454 | 49481.6725 |  | 67669.5305 | 0
| 390.3 Miscellaneous Structures & Improv | 15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
-327066 | 391 Office Furniture and Equipment | 15 | -327066 | -115846.7772 | -51480.1884 | -55045.2078 | -2354.8752 | 0 | -65642.1462 | -22371.3144 | -6050.721 |  | -8274.7698 | 0
507231 | 392.11 Transportation Equip | 15 | 507231 | 179661.2202 | 79838.1594 | 85366.9773 | 3652.0632 | 0 | 101801.2617 | 34694.6004 | 9383.7735 |  | 12832.9443 | 0
3511 | 393 Stores Equipment | 15 | 3511 | 1243.5962 | 552.6314 | 590.9013 | 25.2792 | 0 | 704.6577 | 240.1524 | 64.9535 |  | 88.8283 | 0
1313774 | 394 Tools, Shop & Garage Equipment | 15 | 1313774 | 465338.7508 | 206788.0276 | 221108.1642 | 9459.1728 | 0 | 263674.4418 | 89862.1416 | 24304.819 |  | 33238.4822 | 0
175665 | 395 Laboratory Equipment | 2 | 175665 | 106470.5565 | 69194.4435 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
760593 | 396 Power Operated Equipment | 15 | 760593 | 269402.0406 | 119717.3382 | 128007.8019 | 5476.2696 | 0 | 152651.0151 | 52024.5612 | 14070.9705 |  | 19243.0029 | 0
1228549 | 397 Communication Equipment | 15 | 1228549 | 435152.0558 | 193373.6126 | 206764.7967 | 8845.5528 | 0 | 246569.7843 | 84032.7516 | 22728.1565 |  | 31082.2897 | 0
876505 | 398 Miscellaneous Equipment | 15 | 876505 | 310458.071 | 137961.887 | 147515.7915 | 6310.836 | 0 | 175914.5535 | 59952.942 | 16215.3425 |  | 22175.5765 | 0
-173794 | 399 Other Tangible Property | 15 | -173794 | -61557.8348 | -27355.1756 | -29249.5302 | -1251.3168 | 0 | -34880.4558 | -11887.5096 | -3215.189 |  | -4396.9882 | 0
-1282042 | Boonesboro Water Depr. Reserve | 17 | -1282042 | -480893.9542 | -193203.7294 | -270639.0662 | -100768.5012 | -107050.507 | -9102.4982 | -3076.9008 | -33076.6836 |  | -84230.1594 | 0
271561894 | [13 empty] | 0
| Total Depreciable Plant |  | 271561894 | 101864931.5747 | 40929544.4535 | 57337096.3395 | 21353281.7752 | 22668394.761 | 1915022.4027 | 652676.5476 | 7011756.3091 |  | 17829189.8368 | 0
0
| OTHER RATE BASE ELEMENTS | [12 empty] | 0
38065 | Utility Plant Acquisition Adjustments | 17 | 38065 | 14278.1815 | 5736.3955 | 8035.5215 | 2991.909 | 3178.4275 | 270.2615 | 91.356 | 982.077 |  | 2500.8705 | 0
0 | Accumulated Amortization | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
| Contributions/Advances | [12 empty] | 0
-48551836 | Mains | 7 | -48551836 | -19264687.2902 | -3668447.5085 | -20430914.8877 | 0 | 0 | 0 | 0 | -2189948.248 |  | -2997838.0656 | 0
-526155 | Meters | 9 | -526155 | 0 | 0 | 0 | -526155 | 0 | 0 | 0 | 0 |  | 0 | 0
-17460970 | Services | 10 | -17460970 | 0 | 0 | 0 | 0 | -17460970 | 0 | 0 | 0 |  | 0 | 0
-1405305 | Hydrants | 13 | -1405305 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | -1405305 | 0
23186818 | Construction Work in Progress | 15 | 23186818 | 8212770.9356 | 3649605.1532 | 3902341.4694 | 166945.0896 | 0 | 4653594.3726 | 1585978.3512 | 428956.133 |  | 586626.4954 | 0
3596000 | Working Capital Allowance | 15 | 3596000 | 1273703.2 | 566010.4 | 605206.8 | 25891.2 | 0 | 721717.2 | 245966.4 | 66526 |  | 90978.8 | 0
523761 | Other Working Capital Allowance | 15 | 523761 | 185516.1462 | 82439.9814 | 88148.9763 | 3771.0792 | 0 | 105118.8327 | 35825.2524 | 9689.5785 |  | 13251.1533 | 0
-30854190 | Deferred Income Taxes | 17 | -30854190 | -11573406.669 | -4649726.433 | -6513319.509 | -2425139.334 | -2576324.865 | -219064.749 | -74050.056 | -796038.102 |  | -2027120.283 | 0
-94805 | Deferred Investment Tax Credits | 17 | -94805 | -35561.3555 | -14287.1135 | -20013.3355 | -7451.673 | -7916.2175 | -673.1155 | -227.532 | -2445.969 |  | -6228.6885 | 0
1741451 | Deferred Maintenance | [12 empty] | 0
625158 | Treatment Plant | 2 | 625158 | 378908.2638 | 246249.7362 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
1116295 | Distribution Reservoir | 5 | 1116295 | 381884.5195 | 0 | 572770.9645 | 0 | 0 | 0 | 0 | 68205.6245 |  | 93433.8915 | 0
1897923 | Deferred Debits | [12 empty] | 0
1859858 | Source of Supply | 2 | 1859858 | 1127259.9338 | 732598.0662 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
38065 | General | 15 | 38065 | 13482.623 | 5991.431 | 6406.3395 | 274.068 | 0 | 7639.6455 | 2603.646 | 704.2025 |  | 963.0445 | 0
-1552510.4167 | Other Rate Base Elements | 17 | -1552510.4167 | -582346.6573 | -233963.3198 | -327734.949 | -122027.3188 | -129634.6198 | -11022.824 | -3726.025 | -40054.7688 |  | -101999.9344 | 0
| Community Education Costs | 11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0
0
| Total Other Rate Base Elements |  | -69461751.4167 | -19868198.1686 | -3277793.2113 | -22109072.61 | -2880899.98 | -20171667.2748 | 5257579.6238 | 1792461.3926 | -2453423.4722 |  | -5750737.7163 | 0
0
| Total Original Cost Measure of Value |  | 202100142.5833 | 81996733.4061 | 37651751.2422 | 35228023.7295 | 18472381.7953 | 2496727.4862 | 7172602.0265 | 2445137.9402 | 4558332.8368 |  | 12078452.1205 | 0
202100142.5833
156483244
|  |  | 45616898.5833 | [11 empty] | 0
Table of Composite Factors - Table Name "COMP"
[14 empty] | 1 | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20
[15 empty] | base | max day | max hour | meters | services | billing | meter read | private fire | public fire | Total
[15 empty] | 326933.168 | 62255.7297 | 346724.742 | 0 | 0 | 0 | 0 | 37164.7205 | 50875.0898 | 823953.45
[14 empty] | 8 | 0.3968 | 0.0756 | 0.4208 | 0 | 0 | 0 | 0 | 0.0451 | 0.0617 | 1 | OK
[15 empty] | 475570.5995 | 79900.802 | 528951.0597 | 42962.44 | 0 | 0 | 0 | 57695.5874 | 78989.7314 | 1264070.22
[14 empty] | 14 | 0.3762 | 0.0632 | 0.4185 | 0.034 | 0 | 0 | 0 | 0.0456 | 0.0625 | 1 | OK
[15 empty] | 3088482.9348 | 1371790.3949 | 1466714.1267 | 62584.282 | 0 | 1749386.6835 | 595914.8 | 160934.7901 | 220263.7716 | 8716071.7835
[14 empty] | 15 | 0.3542 | 0.1574 | 0.1683 | 0.0072 | 0 | 0.2007 | 0.0684 | 0.0185 | 0.0253 | 1 | OK
[15 empty] | 2486189.3634 | 1116813.28 | 1152005.7125 | 50159.4869 | 0 | 480086.1829 | 664286.7457 | 126237.0369 | 172699.5216 | 6248477.33
[14 empty] | 16 | 0.398 | 0.1787 | 0.1844 | 0.008 | 0 | 0.0768 | 0.1063 | 0.0202 | 0.0276 | 1 | OK
[15 empty] | 102305461.7681 | 41106531.6573 | 57585019.3569 | 21445592.2876 | 22766460 | 1923360.8841 | 655495.1892 | 7042056.7063 | 17906350.1506 | 272736328
[14 empty] | 17 | 0.3751 | 0.1507 | 0.2111 | 0.0786 | 0.0835 | 0.0071 | 0.0024 | 0.0258 | 0.0657 | 1 | OK
[15 empty] | 81996733.4061 | 37651751.2422 | 35228023.7295 | 18472381.7953 | 2496727.4862 | 7172602.0265 | 2445137.9402 | 4558332.8368 | 12078452.1205 | 202100142.5833
[14 empty] | 18 | 0.4056 | 0.1863 | 0.1743 | 0.0914 | 0.0124 | 0.0355 | 0.0121 | 0.0226 | 0.0598 | 1 | OK
[15 empty] | 27151658.2226 | 9895428.7627 | 9619332.2403 | 3471704.6939 | 901590.4637 | 7117793.4502 | 2019466.4158 | 1165013.8518 | 2562351.8991 | 63904340
[14 empty] | 19 | 0.425 | 0.1548 | 0.1505 | 0.0543 | 0.0141 | 0.1114 | 0.0316 | 0.0182 | 0.0401 | 1 | OK
Table of Factors - Table Name "FACTORS"
[15 empty] | 2 | 4 | 6 | 8 | 10 | 12 | 14 | 16 | 18 | 20
[15 empty] | base | max day | max hour | meters | services | billing | meter read | private fire | public fire | Total
[14 empty] | 1 | 1 | [8 empty] | 1
[14 empty] | 2 | 0.6061 | 0.3939 | [7 empty] | 1
[14 empty] | 3 | 0.5759 | 0.3744 | [5 empty] | 0.021 | 0.0287 | 1
[14 empty] | 4 | 0.3515 |  | 0.5272 |  |  |  |  | 0.0512 | 0.0701 | 1
[14 empty] | 5 | 0.3421 |  | 0.5131 |  |  |  |  | 0.0611 | 0.0837 | 1
[14 empty] | 6 | 0.5631 | 0.3372 | 0.0665 |  |  |  |  | 0.0141 | 0.0191 | 1
[14 empty] | 7 | 0.39679 | 0.075557 | 0.42081 |  |  |  |  | 0.045105 | 0.061745 | 1
[14 empty] | 9 |  |  |  | 1 | [5 empty] | 1
[14 empty] | 10 |  |  |  |  | 1 |  |  |  |  | 1
[14 empty] | 11 | [5 empty] | 1 |  |  |  | 1
[14 empty] | 12 | [6 empty] | 1 |  |  | 1
[14 empty] | 13 | [8 empty] | 1 | 1

## Schedule E
Schedule E
KENTUCKY-AMERICAN WATER COMPANY
FACTORS FOR ALLOCATING COST OF SERVICE TO COST FUNCTIONS
FACTOR 1. ALLOCATION OF COSTS WHICH VARY WITH THE AMOUNT OF WATER CONSUMED.
Costs are allocated directly to the Base Cost Function.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Base | [5 empty] | 1
FACTOR 2. ALLOCATION OF COSTS ASSOCIATED WITH FACILITIES SERVING BASE AND MAXIMUM DAY EXTRA CAPACITY FUNCTIONS.
The weighting of the Factors is based on the maximum day ratio of 1.65, based on a review of maximum day ratios experienced by the Company. (see Schedule F).
| Cost |  | Maximum |  |  |  | Allocation
| Function |  | Day Ratio |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Average Day |  | 1 |  |  |  | 0.6061
| Maximum Day Extra Capacity |  | 0.65 |  |  |  | 0.3939
| Total |  | 1.65 |  |  |  | 1
FACTOR 3. ALLOCATION OF COSTS ASSOCIATED WITH FACILITIES SERVING BASE, MAXIMUM DAY EXTRA CAPACITY AND FIRE PROTECTION FUNCTIONS.
Factors are based on the potential demand of general and fire protection service. The bases for the potential demand of general service are the maximum day ratio of 1.65 and the average pumpage for the test year. The system demand for fire protection is 10,000 Gallons per minute for 6 hours, or 3.6 MGD. The Allocation of Fire Protection is based on the relative demand flows, as shown on the following page and summarized below.
Allocation
Cost |  |  | Rate of Flow, |  | Allocation |  | of Fire |  | Weighted
Function |  | Ratio | (GPD) |  | Factor |  | Protection |  | Factor
(1) |  | -2 | -3 |  | -4 |  | -5 |  | -6
Average Day |  | 1 | 41730943 |  | 0.5759 | [6 empty] | 20363361 | CCF
Maximum Day Extra Capacity |  | 0.65 | 27125113 |  | 0.3744
Subtotal |  | 1.65 | 68856056 |  | 0.9503
Fire Protection |  |  | 3600000 |  | 0.0497
Private Fire | [6 empty] | 0.4221 |  | 0.021
Public Fire | [6 empty] | 0.5779 |  | 0.0287
Total |  |  | 72456056 |  | 1 |  | 1 |  | 0.0497
FACTOR 4. ALLOCATION OF COSTS ASSOCIATED WITH FACILITIES SERVING BASE AND MAXIMUM HOUR EXTRA CAPACITY.
The bases for the potential demand of general service are the maximum hour ratio of 2.5 and the average pumpage for the test year. The system demand for fire protection is 10,000 Gallons per minute for 6 hours. The Allocation of Fire Protection is based on the relative demand flows, as shown on the following page and summarized below.
Allocation
Cost |  |  | Rate of Flow, |  | Allocation |  | of Fire |  | Weighted
Function |  | Ratio | (GPM) |  | Factor |  | Protection |  | Factor
(1) |  | -2 | -3 |  | -4 |  | -5 |  | -6
Average Hour |  | 1 | 28980 |  | 0.3515
Maximum Hour Extra Capacity |  | 1.5 | 43470 |  | 0.5272
Subtotal |  | 2.5 | 72450 |  | 0.8787
Fire Protection |  |  | 10000 |  | 0.1213
Private Fire | [6 empty] | 0.4221 |  | 0.0512
Public Fire | [6 empty] | 0.5779 |  | 0.0701
Total |  |  | 82450 |  | 1 |  | 1 |  | 0.1213
BASIS FOR ALLOCATING DEMAND RELATED COSTS OF FIRE SERVICE
TO PRIVATE AND PUBLIC FIRE PROTECTION CUSTOMER CLASSIFICATIONS
The demand for fire protection is assigned to private and public fire service based on the relative potential demands, as follows:
Restrictive
|  | Diameter |  |  | Relative |  | Allocation
|  | Squared | Quantity |  | Demand* |  | Factor
|  | -1 | -2 |  | -3 |  | -4
Private Fire Protection:
2 | -inch Fire Line | 4 | 43 |  | 258
3 | -inch Fire Line | 9 | 0 |  | 0
4 | -inch Fire Line | 16 | 331 |  | 7944
6 | -inch Fire Line | 36 | 798 |  | 43092
8 | -inch Fire Line | 64 | 265 |  | 25440
10 | -inch Fire Line | 100 | 7 |  | 1050
12 | -inch Fire Line | 144 | 6 |  | 1296
14 | -inch Fire Line | 196 | 0 |  | 0
16 | -inch Fire Line | 256 | 1 |  | 384
Private Hydrants |  | 27.6 | 798 |  | 33037
| Total Private Fire |  | 2249 |  | 112501 |  | 0.4221
Public Fire Protection:
4 -1/4 inch w/ 2-2 1/2, 1-4 1/2 |  | 20.3 | 6228 |  | 126428
5 -1/4 inch w/ 2-2 1/2, 1-4 1/2 |  | 27.6 | 1000 |  | 27600
| Total Public Fire |  | 7228 |  | 154028 |  | 0.5779
| Total Fire Protection |  | 9477 |  | 266529 |  | 1
* Relative Demand for Private Fire lines and hydrants are calculated at 1.5 times the Public Fire Relative
Demand.
FACTOR 5. ALLOCATION OF COSTS ASSOCIATED WITH STORAGE FACILITIES.
Factors are based on the potential demand of general and fire protection service using the ratio of the capacity required for a 6-hour demand of fire flow as related to total storage capacity.
| Fire Protection Weight = |  | 10000 | gpm for 6 hours |  | = | 0.1448
|  |  | 24860000 | Gallons Storage
| General Service = |  | 1 | - | 0.1448 | = | 0.8552
The General Service weight is assigned to base and maximum hour extra capacity, based on the maximum hour ratio, as follows:
|  | Ratio | Percent |  | Weight
| Base | 1 | 0.4 |  | 0.3421
Maximum Hour
| Extra Capacity | 1.5 | 0.6 |  | 0.5131
| Total | 2.5 | 1 |  | 0.8552
| Private Fire |  | 0.4221 |  | 0.0611
| Public Fire |  | 0.5779 |  | 0.0837
| Total Fire |  | 1 |  | 0.1448
| Total |  |  |  | 1
KENTUCKY-AMERICAN WATER COMPANY
FACTORS FOR ALLOCATING COST OF SERVICE TO COST FUNCTIONS
FACTOR 6. ALLOCATION OF PUMPS AND PUMPING EXPENSES.
Cost |  |  | Weighted |  |  |  | Weighted |  |  | Weighted | Allocation
Function |  | Factor 2 | Factor |  | Factor 3 |  | Factor |  | Factor 4 | Factor | Factor
-1 |  | -2 | (3)=(2)x |  | -4 |  | (5)=(4)x |  | -6 | (7)=(6)x | (8)=(3)+(5)+(7)
|  |  | 0.5141 |  |  |  | 0.3597 |  |  | 0.1262
Base |  | 0.6061 | 0.3116 |  | 0.5759 |  | 0.2071 |  | 0.3515 | 0.0444 | 0.5631
Maximum Day Extra Capacity |  | 0.3939 | 0.2025 |  | 0.3744 |  | 0.1347 |  |  |  | 0.3372
Maximum Hour Extra Capacity | [8 empty] | 0.5272 | 0.0665 | 0.0665
Private Fire Service |  |  |  |  | 0.021 |  | 0.0076 |  | 0.0512 | 0.0065 | 0.0141
Public Fire Service |  |  |  |  | 0.0287 |  | 0.0103 |  | 0.0701 | 0.0088 | 0.0191
Total |  | 1 | 0.5141 |  | 1 |  | 0.3597 |  | 1 | 0.1262 | 1
The weighting of the factors is based on the horsepower of pumps associated with maximum day facilities, maximum day and fire facilities, and maximum hour facilities, as follows:
Horsepower
[5 empty] | of Pumps |  |  |  | Weight
Associated with Maximum Day |  |  |  |  | 10130 |  |  |  | 0.5141
Associated with Maximum Day and Fire |  |  |  |  | 7087 |  |  |  | 0.3597
Associated with Maximum Hour |  |  |  |  | 2486 |  |  |  | 0.1262
| Total |  |  |  | 19703 |  |  |  | 1
FACTOR 7. ALLOCATION OF LINES EXPENSES.
|  | Transmission Mains |  |  | Distribution Mains
Cost |  |  | Weighted |  |  |  | Weighted |  | Allocation
Function |  | Factor 3 | Factor |  | Factor 4 |  | Factor |  | Factor
-1 |  | -2 | (3)=(2)x |  | -4 |  | (5)=(4)x |  | (6)=(3)+(5)
|  |  | 0.20181 |  |  |  | 0.79819
Base |  | 0.5759 | 0.11622 |  | 0.3515 |  | 0.28056 |  | 0.39679
Maximum Day Extra Capacity |  | 0.3744 | 0.075557 |  | 0 |  | 0 |  | 0.075557
Maximum Hour Extra Capacity |  | 0 | 0 |  | 0.5272 |  | 0.42081 |  | 0.42081
Private Fire Service |  | 0.021 | 0.004238 |  | 0.0512 |  | 0.040867 |  | 0.045105
Public Fire Service |  | 0.0287 | 0.0057919 |  | 0.0701 |  | 0.055953 |  | 0.061745
Total |  | 1 | 0.20181 |  | 1 |  | 0.79819 |  | 1
The weighting of the factors is based on the total footage of mains, designated as either transmission mains or distribution mains, as follows:
Total Footage
|  |  | of Mains |  |  |  | Weight
Transmission Mains |  |  | 1978836 |  |  |  | 0.20181
Distribution Mains |  |  | 7826647 |  |  |  | 0.79819
| Total |  | 9805483 |  |  |  | 1
FACTOR 8. ALLOCATION OF TRANSMISSION AND DISTRIBUTION OPERATION SUPERVISION SALARIES
AND WAGES.
The factors are based on the allocation of other transmission and distribution operating expenses, as follows:
Transmission
& Distribution
| Cost |  | Operating |  |  |  | Allocation
| Function |  | Expenses |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 326933.168 |  |  |  | 0.3968
| Maximum Day Extra Capacity |  | 62255.7297 |  |  |  | 0.0756
| Maximum Hour Extra Capacity |  | 346724.742 |  |  |  | 0.4208
| Private Fire Service |  | 37164.7205 |  |  |  | 0.0451
| Public Fire Service |  | 50875.0898 |  |  |  | 0.0617
| Total |  | 823953.45 |  |  |  | 1
FACTOR 9. ALLOCATION OF COSTS ASSOCIATED WITH METERS.
These costs are assigned directly to the Customer Facilities Cost Function.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Meters | [5 empty] | 1
FACTOR 10. ALLOCATION OF COSTS ASSOCIATED WITH SERVICES.
These costs are assigned directly to the Customer Facilities Cost Function.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Services | [5 empty] | 1
FACTOR 11. ALLOCATION OF COSTS ASSOCIATED WITH BILLING AND COLLECTING.
These costs are assigned directly to the Customer Accounting Cost Function.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Billing and Collecting | [5 empty] | 1
FACTOR 12. ALLOCATION OF COSTS ASSOCIATED WITH METER READING.
These costs are assigned directly to the Customer Accounting Cost Function.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Meter Reading | [5 empty] | 1
FACTOR 13. ALLOCATION OF COSTS ASSOCIATED WITH FIRE HYDRANTS.
These costs are assigned directly to Public Fire Protection.
| Cost | [5 empty] | Allocation
| Function | [5 empty] | Factor
| (1) | [5 empty] | (2)
| Public Fire Protection | [5 empty] | 1
FACTOR 14. ALLOCATION OF TRANSMISSION AND DISTRIBUTION MISCELLANEOUS MAINTENANCE EXPENSES.
The factors are based on the allocation of other transmission and distribution maintenance expenses.
Transmission
& Distribution
| Cost |  | Maintenance |  |  |  | Allocation
| Function |  | Expenses |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 475570.5995 |  |  |  | 0.3762
| Maximum Day Extra Capacity |  | 79900.802 |  |  |  | 0.0632
| Maximum Hour Extra Capacity |  | 528951.0597 |  |  |  | 0.4185
| Meters |  | 42962.44 |  |  |  | 0.034
| Services |  | 0 |  |  |  | 0
| Private Fire Service |  | 57695.5874 |  |  |  | 0.0456
| Public Fire Service |  | 78989.7314 |  |  |  | 0.0625
| Total |  | 1264070.22 |  |  |  | 1
FACTOR 15. ALLOCATION OF ADMINISTRATIVE AND GENERAL EXPENSES.
The factors are based on the allocation of all other operation and maintenance expenses excluding power, chemicals, and purchased water, as follows:
Other
| Cost |  | Operating |  |  |  | Allocation
| Function |  | Expenses |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 3088482.9348 |  |  |  | 0.3543
| Maximum Day Extra Capacity |  | 1371790.3949 |  |  |  | 0.1574
| Maximum Hour Extra Capacity |  | 1466714.1267 |  |  |  | 0.1683
| Meters |  | 62584.282 |  |  |  | 0.0072
| Services |  | 0 |  |  |  | 0
| Billing and Collecting |  | 1749386.6835 |  |  |  | 0.2007
| Meter Reading |  | 595914.8 |  |  |  | 0.0684
| Private Fire Service |  | 160934.7901 |  |  |  | 0.0185
| Public Fire Service |  | 220263.7716 |  |  |  | 0.0253
| Total |  | 8716071.7835 |  |  |  | 1.0001
FACTOR 16. ALLOCATION OF LABOR RELATED TAXES AND BENEFITS.
The factors are based on the allocation of operation and maintenance direct labor expense, as summarized below.
Direct
| Cost |  | Labor |  |  |  | Allocation
| Function |  | Expense |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 2486189.3634 |  |  |  | 0.3978
| Maximum Day Extra Capacity |  | 1116813.28 |  |  |  | 0.1787
| Maximum Hour Extra Capacity |  | 1152005.7125 |  |  |  | 0.1844
| Meters |  | 50159.4869 |  |  |  | 0.008
| Services |  | 0 |  |  |  | 0
| Billing and Collecting |  | 480086.1829 |  |  |  | 0.0768
| Meter Reading |  | 664286.7457 |  |  |  | 0.1063
| Private Fire Service |  | 126237.0369 |  |  |  | 0.0202
| Public Fire Service |  | 172699.5216 |  |  |  | 0.0276
| Total |  | 6248477.33 |  |  |  | 0.9998
FACTOR 17. ALLOCATION OF ORGANIZATION AND OTHER RATE BASE ELEMENTS.
The factors are based on the allocation of utility plant in service, as follows:
| Cost |  | Utility Plant |  |  |  | Allocation
| Function |  | in Service |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 102305461.7681 |  |  |  | 0.3751
| Maximum Day Extra Capacity |  | 41106531.6573 |  |  |  | 0.1507
| Maximum Hour Extra Capacity |  | 57585019.3569 |  |  |  | 0.2111
| Meters |  | 21445592.2876 |  |  |  | 0.0786
| Services |  | 22766460 |  |  |  | 0.0835
| Billing and Collecting |  | 1923360.8841 |  |  |  | 0.0071
| Meter Reading |  | 655495.1892 |  |  |  | 0.0024
| Private Fire Service |  | 7042056.7063 |  |  |  | 0.0258
| Public Fire Service |  | 17906350.1506 |  |  |  | 0.0657
| Total |  | 272736328 |  |  |  | 1
FACTOR 18. ALLOCATION OF TAXES AND UTILITY OPERATING INCOME.
The factors are based on the allocation of original cost rate base, as shown on the following pages and summarized below.
| Cost |  | Original Cost |  |  |  | Allocation
| Function |  | Rate Base |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 81996733.4061 |  |  |  | 0.4056
| Maximum Day Extra Capacity |  | 37651751.2422 |  |  |  | 0.1863
| Maximum Hour Extra Capacity |  | 35228023.7295 |  |  |  | 0.1743
| Meters |  | 18472381.7953 |  |  |  | 0.0914
| Services |  | 2496727.4862 |  |  |  | 0.0124
| Billing and Collecting |  | 7172602.0265 |  |  |  | 0.0355
| Meter Reading |  | 2445137.9402 |  |  |  | 0.0121
| Private Fire Service |  | 4558332.8368 |  |  |  | 0.0226
| Public Fire Service |  | 12078452.1205 |  |  |  | 0.0598
| Total |  | 202100142.5833 |  |  |  | 1
FACTOR 19. ALLOCATION OF OTHER REVENUES.
The factors are based on the allocation of total cost of service, as follows:
| Cost |  | Total Cost |  |  |  | Allocation
| Function |  | of Service |  |  |  | Factor
| (1) |  | (2) |  |  |  | (3)
| Base |  | 27151658.2226 |  |  |  | 0.4249
| Maximum Day Extra Capacity |  | 9895428.7627 |  |  |  | 0.1548
| Maximum Hour Extra Capacity |  | 9619332.2403 |  |  |  | 0.1505
| Meters |  | 3471704.6939 |  |  |  | 0.0543
| Services |  | 901590.4637 |  |  |  | 0.0141
| Billing and Collecting |  | 7117793.4502 |  |  |  | 0.1114
| Meter Reading |  | 2019466.4158 |  |  |  | 0.0316
| Private Fire Service |  | 1165013.8518 |  |  |  | 0.0182
| Public Fire Service |  | 2562351.8991 |  |  |  | 0.0401
| Total |  | 63904340 |  |  |  | 0.9999

## ServiceCharges
KENTUCKY-AMERICAN WATER COMPANY
CALCULATION OF MONTHLY SERVICE CHARGES
Cost of
| Service | Number |  |  | Cost Per Unit
Cost Function | (Schedule D) | of Units | Description |  | Per Month
(1) | (2) | (3) | (4) |  | (5)
Meters | 3302847 | 142869 | 5/8-inch meter equivalents |  | 1.93
Services | 878804 | 110369 | 3/4-inch service equivalents |  | 0.66
Billing & Collecting | 5163763 | 118110 | Number of customers |  | 3.64
Meter Reading | 1997553 | 117978 | No. of metered customers |  | 1.41
Total | 11342967 |  |  |  | 7.64
|  | Capacity |  | Present | Proposed
Meter Size |  | Ratio |  | Rate | Rate
-1
5/8-inch |  | 1 |  | 7.95 | 7.95 | 0%
3/4-inch |  | 1.5 |  | 11.94 | 11.94 | 0%
1-inch |  | 2.5 |  | 19.89 | 19.89 | 0%
1-1/2-inch |  | 5 |  | 39.77 | 39.77 | 0%
2-inch |  | 8 |  | 63.64 | 63.64 | 0%
3-inch |  | 15 |  | 119.32 | 119.32 | 0%
4-inch |  | 25 |  | 198.86 | 198.86 | 0%
6-inch |  | 50 |  | 397.73 | 397.73 | 0%
8-inch |  | 80 |  | 636.36 | 636.36 | 0%
* Includes Public Fire Deficiency in addition to meter costs.
** Meter reading unit costs were modified to recognize differences in cost by size.

## Sch F
KENTUCKY-AMERICAN WATER COMPANY
SUMMARYOF AVERAGE DAY AND PEAK DAY DELIVERY FOR THE YEARS 1990-2006
Annual
| Sendout | Average Day | Peak Day
Year | (MG) | (MGD) | (MGD) | Date | Ratio
-1 | -2 | -3 | -4 | -5 | -6
2006 | 15619 | 42.7918 | 67.22 | 8/7 | 1.5709
2005 | 16068 | 44.0219 | 69.65 | 8/2 | 1.5822
2004 | 14931 | 40.9068 | 56.89 | 6/29 | 1.3907
2003 | 15005 | 41.1096 | 61.37 | 7/8 | 1.4928
2002 | 15956 | 43.7151 | 71.82 | 8/5 | 1.6429
2001 | 14962 | 40.9918 | 56.04 | 6/19 | 1.3671
2000 | 14565 | 39.9041 | 66.37 | 6/13 | 1.6632
1999 | 15077 | 41.3068 | 61.18 | 8/11 | 1.4811
1998 | 14799 | 40.5452 | 64.67 | 9/14 | 1.595
1997 | 14419 | 39.5041 | 60.7 | 7/18 | 1.5365
1996 | 14265 | 39.0822 | 53.7 | 6/30 | 1.374
1995 | 14549 | 39.8603 | 63.77 | 7/14 | 1.5998
1994 | 14471 | 39.6466 | 58.36 | 6/16 | 1.472
1993 | 14290 | 39.1507 | 60.39 | 7/8 | 1.5425
1992 | 13303 | 36.4466 | 47.22 | 7/13 | 1.2956
1991 | 13450 | 36.8493 | 56.42 | 8/7 | 1.5311
1990 | 12557 | 34.4027 | 58.05 | 7/9 | 1.6874

## Sch G
KENTUCKY-AMERICAN WATER COMPANY
COMPARISON OF PRESENT AND PROPOSED RATES
CENTRAL DIVISION
Meter Charges, Per Month:
Meter | Present |  | Proposed
Size | Rate |  | Rate
5/8 | 7.95 |  | 7.95
3/4 | 11.94 |  | 11.94
1 | 19.89 |  | 19.89
1-1/2 | 39.77 |  | 39.77
2 | 63.64 |  | 63.64
3 | 119.32 |  | 119.32
4 | 198.86 |  | 198.86
6 | 397.73 |  | 397.73
8 | 636.36 |  | 636.36
| Per Thousand Gallons |  |  | Per CCF
Consumption Charges: | Present | Proposed |  | Present | Proposed
Residential | 2.4317 | 3.3623 |  | 1.8237 | 2.5217
Commercial | 2.2516 | 3.0256 |  | 1.6887 | 2.2692
Industrial | 1.8374 | 2.4068 |  | 1.378 | 1.8051
Other Public Authority | 2.157 | 2.8127 |  | 1.6177 | 2.1095
Sales for Resale | 2.157 | 2.8265 |  | 1.6177 | 2.1199
Hidden Leak | 0.60792 | 0.84057 |  | 0.45594 | 0.63043
Fire Protection:
| Present |  | Proposed
Private Fire | Rate |  | Rate
Line Size | Per Annum |  | Per Annum
2 | 52.23 |  | 63.96
4 | 208.93 |  | 255.96
6 | 469.57 |  | 575.16
8 | 834.67 |  | 1022.28
10 | 1304.23 |  | 1597.44
12 | 1878.39 |  | 2300.64
14 | 2557.02 |  | 3131.88
16 | 3338.93 |  | 4089.48
PrivateFire Hydrant | 469.57 |  | 575.16
Public Fire Hydrant | 312.87 |  | 350.52
KENTUCKY-AMERICAN WATER COMPANY
COMPARISON OF PRESENT AND PROPOSED RATES
NORTHERN DIVISION - TRI-VILLAGE
Meter Charges, Per Month:
Present
Meter | Minimum |  | Proposed
Size | Rate |  | Rate
5/8 | 19.4 |  | 7.95
3/4 | 19.4 |  | 11.94
1 | 19.4 |  | 19.89
1-1/2 | 19.4 |  | 39.77
2 | 19.4 |  | 63.64
3 | 19.4 |  | 119.32
4 | 19.4 |  | 198.86
6 | 19.4 |  | 397.73
8 | 19.4 |  | 636.36
| Present Rate |  |  | Proposed Rate
| Per |  |  | Per
Consumption Charges: | 1,000 Gals. | Per CCF |  | 1,000 Gals. | Per CCF
First 2,000 Gallons | Minimum | Minimum |  | Applicable Central Div. Rate
Next 4,000 Gallons | 6.22 | 4.665 |  | Applicable Central Div. Rate
Next 4,000 Gallons | 6.1 | 4.575 |  | Applicable Central Div. Rate
Next 10,000 Gallons | 5.98 | 4.485 |  | Applicable Central Div. Rate
Over 20,000 Gallons | 5.74 | 4.305 |  | Applicable Central Div. Rate
Hidden Leak | 0 | 0 |  | Applicable Central Div. Rate
KENTUCKY-AMERICAN WATER COMPANY
COMPARISON OF PRESENT AND PROPOSED RATES
NORTHERN DIVISION - ELK LAKE SHORES
Meter Charges, Per Month:
Present
Meter | Minimum |  | Proposed
Size | Rate |  | Rate
5/8 | 20.95 |  | 7.95
3/4 | 20.95 |  | 11.94
1 | 20.95 |  | 19.89
1-1/2 | 20.95 |  | 39.77
2 | 20.95 |  | 63.64
3 | 20.95 |  | 119.32
4 | 20.95 |  | 198.86
6 | 20.95 |  | 397.73
8 | 20.95 |  | 636.36
| Present Rate |  |  | Proposed Rate
| Per |  |  | Per
Consumption Charges: | 1,000 Gals. | Per CCF |  | 1,000 Gals. | Per CCF
First 2,000 Gallons | Minimum | Minimum |  | Applicable Central Div. Rate
Next 2,000 Gallons | 2.35 | 1.7625 |  | Applicable Central Div. Rate
Over 4,000 Gallons | 1.7 | 1.275 |  | Applicable Central Div. Rate
Hidden Leak | 0 | 0 |  | Applicable Central Div. Rate
KENTUCKY-AMERICAN WATER COMPANY
COMPARISON OF PRESENT AND PROPOSED RATES
CITY OF OWENTON
Meter Charges, Per Month:
Meter | Present Minimum Per Month |  |  |  | Proposed
Size | Inside City | Rate B | Rate G |  | Rate
5/8 | 16.77 | 39.35 | 22.68 |  | 7.95
3/4 | 16.77 | 39.35 | 22.68 |  | 11.94
1 | 19.4 | 39.35 | 22.68 |  | 19.89
1-1/2 | 19.4 | 39.35 | 22.68 |  | 39.77
2 | 19.4 | 39.35 | 22.68 |  | 63.64
3 | 19.4 | 39.35 | 22.68 |  | 119.32
4 | 19.4 | 39.35 | 22.68 |  | 198.86
6 | 19.4 | 39.35 | 22.68 |  | 397.73
8 | 19.4 | 39.35 | 22.68 |  | 636.36
| Present Rate |  |  | Proposed Rate
Inside City | Per |  |  | Per
Consumption Charges: | 1,000 Gals. | Per CCF |  | 1,000 Gals. | Per CCF
First 2,000 Gallons | Minimum | Minimum |  | Applicable Central Div. Rate
Next 1,000 Gallons | 6.26 | 4.695 |  | Applicable Central Div. Rate
Next 2,000 Gallons | 5.18 | 3.885 |  | Applicable Central Div. Rate
Next 5,000 Gallons | 4.2 | 3.15 |  | Applicable Central Div. Rate
Next 10,000 Gallons | 3.42 | 2.565 |  | Applicable Central Div. Rate
Next 20,000 Gallons | 3.1 | 2.325 |  | Applicable Central Div. Rate
Over 40,000 Gallons | 3.06 | 2.295 |  | Applicable Central Div. Rate
Hidden Leak | 0 | 0 |  | Applicable Central Div. Rate
Rate B Consumption Charges:
First 6,000 Gallons | Minimum | Minimum |  | Applicable Central Div. Rate
Next 2,000 Gallons | 6.04 | 4.53 |  | Applicable Central Div. Rate
Over 8,000 Gallons | 4.55 | 3.4125 |  | Applicable Central Div. Rate
Hidden Leak | 0 | 0 |  | Applicable Central Div. Rate
Rate G Consumption Charges:
First 2,000 Gallons | Minimum | Minimum |  | Applicable Central Div. Rate
Next 2,000 Gallons | 7.56 | 5.67 |  | Applicable Central Div. Rate
Over 4,000 Gallons | 4.55 | 3.4125 |  | Applicable Central Div. Rate
Hidden Leak | 0 | 0 |  | Applicable Central Div. Rate