{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["LGE Section 1-4","Excel LGE Section 5","LGE Section 6-7"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"LGE Section 1-4","index":0,"n_rows":45,"n_cols":8,"rows_kept":45,"cut":false,"hidden":false,"merged":[[34,6,34,8],[30,1,30,3],[31,1,31,3],[30,6,30,8],[31,6,31,8],[34,1,34,3],[33,0,33,8],[0,0,0,8],[10,0,10,8],[11,0,11,3],[28,3,28,5],[29,6,29,8],[29,1,29,3],[1,0,1,8],[20,0,21,8],[25,2,25,6],[26,0,26,1],[26,5,26,6],[3,0,3,8],[4,0,4,3],[5,0,5,3],[4,5,4,8],[5,5,5,8],[24,0,24,8],[6,0,6,3],[7,0,7,3],[16,0,16,3],[16,5,16,8],[17,0,17,3],[18,0,18,3],[17,5,17,8],[18,5,18,8],[6,5,6,8],[7,5,7,8],[15,0,15,3],[15,5,15,8],[14,0,14,8],[11,5,11,8],[43,0,43,8],[44,3,44,5],[35,6,35,8],[36,6,36,8],[35,1,35,3],[36,1,36,3],[41,1,41,8],[38,1,38,8],[39,1,39,8],[40,1,40,8],[37,0,37,8]]}
["KENTUCKY PUBLIC SERVICE COMMISSION"]
["ELECTRIC DISTRIBUTION UTILITY ANNUAL RELIABILITY REPORT"]
[]
["SECTION 1: CONTACT INFORMATION"]
["UTILITY NAME",null,null,null,null,"LOUISVILLE GAS AND ELECTRIC"]
["REPORT PREPARD BY",null,null,null,null,"Karmen Powell (Mgr Investment Strategy & Reliability)"]
["E-MAIL ADDRESS OF PREPARER",null,null,null,null,"Karmen.Powell@lge-ku.com"]
["PHONE NUMBER OF PREPARER",null,null,null,null,"(502) 399-4805"]
[]
[]
["SECTION 2: REPORTING YEAR"]
["CALENDAR YEAR OF REPORT",null,null,null,null,2023]
[]
[]
["SECTION 3: MAJOR EVENT DAYS (MED)"]
["TMED",null,null,null,null,3.3279999999999998]
["FIRST DATE USED TO DETERMINE TMED",null,null,null,null,"2018-01-01"]
["LAST DATE USED TO DETERMINE TMED",null,null,null,null,"2022-12-31"]
["NUMBER OF MED IN REPORTING YEAR",null,null,null,null,14]
[]
["NOTE: Per IEEE 1366 TMED should be calculated using the daily SAIDI values for the five prior years.  If five years of data are not available, then utilities should use what is available until five years are accumulated.        \n"]
[]
[]
[]
["SECTION 4: SYSTEM RELIABILITY INFORMATION AND RESULTS"]
[null,null,"System-wide Information"]
["TOTAL CUSTOMERS",null,445693,null,null,"TOTAL CIRCUITS",null,630]
[]
[null,null,null,"Excluding MED"]
[null,"5 YEAR AVERAGE",null,null,null,null,"REPORTING YEAR"]
["SAIDI",74.952778701435619,null,null,null,"SAIDI",68.125450377026965]
["SAIFI",0.86264858533499156,null,null,null,"SAIFI",0.67504657777540877]
[]
["Including MED"]
[null,"5 YEAR AVERAGE",null,null,null,null,"REPORTING YEAR"]
["SAIDI",336.82622057779406,null,null,null,"SAIDI",1161.0392006513]
["SAIFI",1.1490109401723299,null,null,null,"SAIFI",1.4302153438797438]
["Notes:  "]
["1)","All duration indices (SAIDI) are to be reported in units of minutes."]
["2)","Reports are due on the first business day of May of each year"]
["3)","Reports cover the calendar year ending in the December before the reports are due."]
["4)","IEEE 1366 (latest version) is used to define SAIDI, SAIFI, and TMED"]
[]
["SECTION 5: CIRCUIT REPORTING"]
[null,null,null,"BEGIN ON NEXT PAGE"]

{"sheet":"Excel LGE Section 5","index":1,"n_rows":239,"n_cols":22,"rows_kept":239,"cut":false,"hidden":false,"merged":[]}
["Substation Name","Substation Location   \n(County - Road - Town)","Circuit\nNumber","Circuit Location\n (Town - Road - General Area)","Total Circuit Length (Miles)","Average 2023 OMS Custs","Date of Last Circuit Trim (VM)","Animal","Construction","Lightning","Non-Company","Other/Unknown","Overload","Planned Work","Trees","Vehicle","Utility Equipment","2019-2023 SAIDI Average","2023 SAIDI","2019-2023 SAIFI Average","2023 SAIFI","LIST OF CORRECTION ACTION, IF ANY, TAKEN OR TO BE TAKEN"]
["ASHBY","Jefferson - 5400 Vesper Ln - Lousivlle","AB1202","Louisville - Greentree Ln & Dixie Hwy - S of Substation",19.45,1905,"2020-10-24",2.8203199580012456E-3,0,3.470076475871315E-2,6.7565261097358715E-4,0,0,0.76368284819357091,0.13920562557309821,0,5.8914788905642876E-2,62.998853618265699,42.283738592240212,0.61294145312382642,0.84009108424719348,"Continue to Monitor"]
["ASHBY","Jefferson - 5400 Vesper Ln - Lousivlle","AB1204","Louisville - Dixie Hwy - N of Substation",14.68,1238,"2020-10-24",1.6505993526836336E-3,8.0035107669424073E-4,5.0795348882464906E-4,0,2.0863515941281975E-2,0,9.8148788957550206E-2,0.87526448634201393,0,2.76430484095143E-3,72.073166456362614,163.25265734287768,0.87083651840688603,1.7303060305702991,"Continue to Monitor"]
["ASHBY","Jefferson - 5400 Vesper Ln - Lousivlle","AB1205","Louisville - Valley Station Rd & Dodge Ln - E of Substation",24.61,2216,"2020-09-12",6.1997179192792859E-3,0,0,0,2.377288925222186E-2,0,0.71653046513673702,0.22133798548479766,0,3.215894220696424E-2,90.03549391235714,121.29618786816199,1.3191766812814261,1.6785685204516474,"Reliability Improvements Completed in 2023"]
["ASHBY","Jefferson - 5400 Vesper Ln - Lousivlle","AB1206","Louisville - Valley Station Rd & 3rd St - E of Substation",25.05,1411,"2021-01-30",4.8189931113181903E-4,0,0,0,3.759200146277094E-2,0,0.70388967094262811,7.1762793187540891E-2,0,0.18627363509592826,73.083585035681082,89.29214484910257,0.7742086389789582,0.94347683357125844,"Continue to Monitor"]
["AIKEN","Jefferson - 12909 Shelbyville Rd. - Louisville","AK1290","Louisville - Shelbyville Rd & SW of Substation",26.129999999999995,1628,"2023-06-24",3.5588058332761147E-3,4.4968037082337821E-3,0,0,6.5374727823507436E-2,0,0.26243458163083616,0.65930194803305575,0,4.8331329710908123E-3,38.558541129768201,59.282194313951159,0.38303269531402256,0.78591237217589305,"Trees Trimmed in 2023"]
["AIKEN","Jefferson - 12909 Shelbyville Rd. - Louisville","AK1292","Louisville - Shelbyville Rd - W of Substation",17.89,1383,"2023-08-05",1.3010957132110199E-3,0,3.9542670398099822E-4,4.4463339023872333E-4,2.3353227315828463E-3,0,0.86578809827683501,9.0043359513359178E-2,0,3.9692063670792199E-2,66.240083202608844,90.946078221111392,0.53128166941344956,0.57024610513859963,"Continue to Monitor"]
["AIKEN","Jefferson - 12909 Shelbyville Rd. - Louisville","AK1294","Louisville - Old Shelbyville Rd - W of Substation",6.6899999999999995,489,"2023-08-05",0,0,0,0,1.9075692625466559E-3,0,0.87488054598050213,0.11908820960537334,0,4.1236751515778556E-3,77.63217949687288,155.96234086287367,0.66403558226259618,0.69906295498948468,"Continue to Monitor"]
["AIKEN","Jefferson - 12909 Shelbyville Rd. - Louisville","AK1295","Louisville - N English Station Rd & Avoca Rd - N of Substation",20.34,954,"2023-07-29",5.8265734733302924E-5,0,0,0,1.9884853535703285E-2,0,0.91486277703088326,5.7850233182335925E-2,0,7.3438705163442553E-3,63.281161735930858,161.7868854162204,0.66170207936760028,1.9873645835886644,"Continue to Monitor"]
["AIKEN","Jefferson - 12909 Shelbyville Rd. - Louisville","AK1296","Louisville - ShelbyvilleRd  & N Beckley Station - NE of Substation",36.799999999999997,1599,"2020-03-08",1.1793056881417496E-2,0,0,0,1.5198258399497077E-2,0,1.4488113809401848E-2,0.26089664485785463,0,0.69762392605182888,71.691218386408167,80.240354899505704,0.30914510131920298,0.40605251084510235,"Tree Trim Scheduled for 2024"]
["ALGONQUIN","Jefferson - 1800 S 11th St - Louisville","AL1373","Louisville - S 12 St - N of Substation",3.17,983,"2023-05-12",0,0,0,0.99853048493996976,0,0,0,0,0,1.46951506003019E-3,140.3567607282387,225.63535760347332,0.99729971763940983,1.9358014823426826,"Continue to Monitor"]
["ALGONQUIN","Jefferson - 1800 S 11th St - Louisville","AL1441","Louisville - Bernheim Ln & 7th St Rd - SW of Substation",4.82,46,"2023-05-12",0,0,0,0,0,0,0,0,0,1,35.180363058441273,46.094202891304349,0.50373265494912134,0.10869565217391304,"Continue to Monitor"]
["ASHBOTTOM","Jefferson - 8113 Grade Ln - Louisville","AS1417","Louisville - Grade Ln - N of Substation",1.92,23,"2021-10-30",0,0,0,0,0.95876813438533981,0,4.1231865614660218E-2,0,0,0,109.5433529673077,163.66388883333335,0.90094871794871789,1,"Continue to Monitor"]
["BRANDENBURG","Meade - Weldon Church Rd. - Brandenburg","BB1102","Brandenburg - E Broadway St - W of Substation",14.74,841,"2020-11-17",3.3470516452504067E-3,1.5504127669591617E-3,0,0,0.28864735279872505,0,0.58608849528788165,1.7597049615914323E-2,0,0.10276963788526945,104.1075969659659,148.0839461016206,1.2996659800385562,1.1972772523164099,"Continue to Monitor"]
["BISHOP","Jefferson - 3920 Bishop Ln - Louisville","BI1217","Louisville - Robarus Ln - N of Substation",2.3200000000000003,68,"2021-05-08",0,0,0,0,3.4493771957840945E-2,0,0.17055253912488022,0.1322261258383903,0,0.66272756307888858,31.467845574450337,45.817014752770675,0.28840434005815541,0.45311167945439046,"Continue to Monitor"]
["BISHOP","Jefferson - 3920 Bishop Ln - Louisville","BI1220","Louisville - Popular Level Rd. & Gilmore Ln - W of Substation",13.72,1107,"2021-05-08",1.1036271198007302E-2,0.36230297653575366,2.0573014410664118E-3,0,4.6532682749286292E-2,0,0.23782259073486425,6.085872544670784E-2,0,0.27938945189431419,48.9421993381658,67.475720030765501,0.59598249968593575,0.66679858558249672,"Continue to Monitor"]
["BISHOP","Jefferson - 3920 Bishop Ln - Louisville","BI1221","Louisville - Robards Ln - N of Substation",2.66,64,"2021-05-08",2.7538726333907058E-2,0,0,0,0,0,0.23958691910499139,0.46678141135972462,0,0.26609294320137694,31.201288809312427,45.213509605048074,0.18373092185592194,0.2170673076923077,"Continue to Monitor"]
["BISHOP","Jefferson - 3920 Bishop Ln - Louisville","BI1223","Louisville - Bishop Ln & Gilmore Ln - SW of Substation",8.7899999999999991,67,"2021-05-08",0,0,0,0,3.9293453816903134E-2,0,0.35200556078014478,0,0,0.60870098540295214,70.061511270101079,241.50294113235296,0.45335972107902062,1.1911764705882351,"Continue to Monitor"]
["BISHOP","Jefferson - 3920 Bishop Ln - Louisville","BI1224","Louisville - Popular Level Rd & Preston Hwy - W of Substation",13.62,1219,"2021-05-08",1.3319398111003196E-3,0,2.4166701856622045E-3,1.8712258772855875E-3,1.1882768182649946E-2,0,0.50860746308573679,0.41171192094928427,0,6.21780119082809E-2,52.016671784829008,58.935350115136629,0.73471766225694257,0.31967218246434509,"Continue to Monitor"]
["BROOK","Jefferson - 913 S 1st Street - Louisivlle","BK0001","Louisivlle - S 1st St - N of Substation",1.33,172,"2020-02-01",0,0,0,0,4.682493275640276E-2,0,0.24132849959069114,0,0,0.7118465676529061,94.296723031163907,248.92608741299469,0.81364507622846483,2.3850129198966412,"Continue to Monitor"]
["BROOK","Jefferson - 913 S 1st Street - Louisivlle","BK0002","Louisville - S Brook St & S Floyd St - E of Substation",2.0299999999999998,195,"2020-02-01",0,0,0,4.5927740355174526E-4,0,0,4.8114775610182837E-3,4.9426996763187823E-3,0,0.98978654535911115,44.887177068374555,39.601213822030772,0.43186839902204505,1.0563598077174328,"Continue to Monitor"]
["BRECKENRIDGE","Jefferson - 3920 Dutchmans Ln. - Louisville","BR1179","Louisville - Breckenridge Ln - S of Substation",11.87,2110,"2020-11-14",5.4480578571770681E-4,0,0,0,8.7125384792897612E-3,0,0.47202386913340505,0.47518602858896936,0,4.3532758012618161E-2,69.421446957602569,76.621531265406944,0.95648014143546245,0.13886572319161491,"Continue to Monitor"]
["BRECKENRIDGE","Jefferson - 3920 Dutchmans Ln. - Louisville","BR1180","Louisville - Dutchmans Ln - W of Substation",8.6999999999999993,545,"2020-07-18",1.0336347543179752E-2,0,4.4068704846658056E-2,0,4.376249940194249E-2,0,0.57067317353236691,0.3184460073680685,0,1.2713267307784316E-2,107.13884536866949,116.54039252240931,1.0785500091725526,1.4267137815247453,"Continue to Monitor"]
["BRECKENRIDGE","Jefferson - 3920 Dutchmans Ln. - Louisville","BR1186","Louisville - Richland Dr & Hunsinger Ln - S of Substation",13.15,1670,"2020-09-19",2.2056520478834157E-4,0,0,0,0.32642716439283809,0,0.29952545918419382,0.29376446806369433,0,8.006234315448546E-2,70.936732481146834,73.057900779312945,0.83059039950272895,0.34100909694950082,"Continue to Monitor"]
["BRECKENRIDGE","Jefferson - 3920 Dutchmans Ln. - Louisville","BR1352","Louisville - Brekenridge Ln - NW of Substation",3.4099999999999997,106,"2020-07-18",5.4181581516433451E-2,0,0,0,0,0,0.5531782188957588,0,0,0.39264019958780777,78.032247088459471,154.16871068241932,0.81775680835688791,1.2169811320754718,"Continue to Monitor"]
["CANAL","Jefferson - 2005 Northwestern Parkway - Louisville","CA1304","Louisivlle - Portland Ave & S 20th St - S of Substation",4.43,2539,"2023-03-31",0,0,0,0.19405093813578481,0.58351334153835854,0,4.4709014643458164E-3,9.2995169082125601E-2,0,0.12496964977938529,137.65129960095788,358.20517947248379,1.6802899810050396,2.6704500698199007,"Continue to Monitor"]
["CANAL","Jefferson - 2005 Northwestern Parkway - Louisville","CA1306","Louisville - Portland Ave - W of Substation",3.5,1337,"2023-03-31",0,0,0,0,0,0,0,7.3248148449580851E-3,0,0.99267518515504194,106.28464944557952,114.13077158040389,1.2593454670080519,1.7782348541510844,"Continue to Monitor"]
["CANAL","Jefferson - 2005 Northwestern Parkway - Louisville","CA1341","Louisville - S 20th St & W Market St - S of Substation",5.83,1069,"2023-03-31",0,0,6.7000683215668419E-2,0,0.66865341445163806,0,5.316068581839477E-3,0,0,0.25902983375085403,235.86504723336583,309.49160432754337,2.4999872225806747,3.6337344184366498,"Continue to Monitor"]
["CANAL","Jefferson - 2005 Northwestern Parkway - Louisville","CA1343","Louisville - S 20th St & W Chestnut St - S of Substation",2.73,13,"2023-03-31",0,0,0,0,0,0,0,1,0,0,41.317920367611336,53.133333307692311,0.61854251012145745,1,"Trees Trimmed in 2023"]
["CLARKS LANE","Jefferson - 934 Clarks Ln - Louisville","CK0001","Louisville - Clarks Ln - E of Substation",0.7,150,"2023-05-12",0,0,0,0,2.6434232200993554E-2,0,0.5611891513288455,0.41237661647016094,0,0,79.931626053564628,305.80725220649435,0.5541175682867252,1.9071320522563604,"Trees Trimmed in 2023"]
["CLARKS LANE","Jefferson - 934 Clarks Ln - Louisville","CK0002","Louisville - Pindell Ave - S of Substation",1.93,246,"2023-05-12",0,0,0,0,3.6994641583304303E-3,0,0.67958990693276267,0.30946100632060919,0,7.2496225882977489E-3,90.270055686615109,260.61148806945471,0.62241259384788483,1.9718293902560295,"Trees Trimmed in 2023"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1227","Louisville - Frankfort Ave, Clifton Ave, & Ewing Ave - E of Substation",3.14,648,"2022-05-13",2.2515074888154057E-2,0,0,0,6.8436750307981589E-2,0,0.17259936458535954,0,0,0.73644881021850483,43.578360802000297,79.261329752797693,0.67538145113387471,1.2850539291217256,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1229","Louisville - Brownsboro Rd, Hite Ave, Birchwood Ave, & Cleveland Blvd - NE of Substation",10.59,2678,"2022-06-17",4.6022268388691502E-4,0,0.2706748302117723,0,3.9258692069095297E-2,0,0.56122608913545025,0.12506376729703531,0,3.3163986027599387E-3,25.296746124663439,20.033134092800985,0.28947693358916737,0.31741942405457019,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1230","Louisville - Mellwood Ave, Shiloh Ave, & River Rd - N of Substation",15.360000000000001,2094,"2022-07-22",1.9555836072804042E-3,2.1124143712030553E-5,2.765534487245018E-2,1.9600004736929195E-2,9.9291797078915001E-2,0,0.58711868920207388,0.23690119053753583,0,2.7456265821103467E-2,65.829934060860836,139.5496016484405,0.80613046413327605,1.2781030196816712,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1231","Louisville - Payne St, Grindstead Dr, & Lexington Rd - SE of Substation",5.2799999999999994,671,"2022-05-13",8.5299534492509821E-2,0,0.19307684499035632,4.5434111112722421E-2,6.3372826544078192E-3,0,0.34074858244993256,0.27768029351624923,0,5.1423350783821799E-2,40.599712105005096,44.396970137536819,0.26236638133742324,0.40970300191611669,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1232","Louisville - Frankfort Ave, Story Ave, & E Main St - W of Substation",13.43,1907,"2022-08-12",1.5447091678489112E-3,0,3.2223446246153468E-2,0,0.51894097991471577,1.370319632847021E-2,0.12119056426599892,0.29479148458746102,0,1.760561948935167E-2,43.291037909246207,44.843596880605176,0.68558834352150166,0.3520894223425588,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1402","Louisville - Mellwood Ave & Zorn Ave - N of Substation",3.77,10,"2022-08-12",0.16613756613756614,0,0,0,0,0,0.42116402116402119,0.3746031746031746,0,3.8095238095238099E-2,64.278134561818177,89.770302809090907,0.54464646464646482,0.94545454545454555,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1403","Louisville - Payne St, Spring St, & Story Ave - W of Substation",1.46,4,"2018-07-28",0,0,0,0,0,0,0,0.25338768315522747,0,0.74661231684477247,380.44833314999994,1694.3333332499999,0.6,1,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1404","Louisville - None - In Sub",2.71,2,"2022-05-13",0,0,0,0,1,0,0,0,0,0,45.816666599999998,120.333333,0.3,1,"Continue to Monitor"]
["CLIFTON","Jefferson - 2009 New Main Street - Louisville","CL1405","Louisville - Mellwood Ave, River Rd, & River Green Cir - N of Substation",5.65,86,"2022-07-22",2.3825065274151436E-3,3.0443864229765014E-2,0.53199086161879894,6.1514360313315926E-2,5.6416449086161877E-2,0,4.7865535248041775E-2,0.23710835509138381,0,3.2278067885117494E-2,213.47165557218423,342.35630843130178,1.545581026750614,2.8329323710237908,"Continue to Monitor"]
["COLLINS","Jefferson - 3401 Coillins Ln. - Louisville","CO1195","Louisville - Collins Ln, Westport Rd, & Northumberland Dr - N of Substation",16.580000000000002,1135,"2020-04-25",0,0,1.8532769466468042E-2,0,2.8911120367690148E-2,0,0.30456576838627236,0.54431979440981071,0,0.10367054736975875,66.27039507989052,122.50362921310177,0.78857005031079541,1.225760874941116,"Continue to Monitor"]
["CANE RUN","Jefferson - 5252 Cane Run Rd. - Louisville","CR1420","Louisville - Cane Run Rd - At Substation",2.2599999999999998,30,"2021-06-12",0,0,0,0,0.79899574586791267,0,0.12011297858985982,6.6775925796778018E-2,0,1.4115349745449474E-2,75.507008543589734,341.57350425641022,0.7384615384615385,1.9230769230769231,"Continue to Monitor"]
["CANE RUN","Jefferson - 5252 Cane Run Rd. - Louisville","CR1421","Louisville - Elmwood St, Lees Ln, & Campground Rd - NE of Substation",2.33,3,"2021-06-12",0,0,0,0,0,0,0,0.13544668587896252,0,0.86455331412103742,52.999999933333335,115.77777766666668,0.1999999999999999,0.66666666666666663,"Continue to Monitor"]
["CANE RUN","Jefferson - 5252 Cane Run Rd. - Louisville","CR1422","Louisville - No Road - At Substation",0.52,6,"2021-06-12",0,0,0,0,0,0,0,0,0,1,28.561666633333335,79.266666666666666,0.46666666666666667,0.66666666666666663,"Continue to Monitor"]
["CONESTOGA","Bullitt - 1365 N Buckman St. - Shepherdsville","CS1261","Shepherdsville - I 65 S, HWY 44, & Joe B Hall Ave - S of Substation",6.5299999999999994,232,"2021-05-15",1.2525545520469378E-2,2.1820818775133494E-2,0,0,0,0,0,9.4468982793855891E-2,0,0.87118465291054126,31.702229597955927,66.897636945688305,0.33132476744704142,0.29618476086561191,"Continue to Monitor"]
["CARTER","Jefferson - Opposite 2215 Carter St - Louisville","CT0001","Louisville - N 22nd St & Griffiths Ave - S of Substation",2.3999999999999995,354,"2023-04-07",1.0680662620961128E-2,0,0,0,0,0,0.81917664425127112,0.16795145153354107,0,2.1912415942266688E-3,16.210262191278435,5.5257909604519782,0.13798656669651019,0.26534839924670434,"Continue to Monitor"]
["CARTER","Jefferson - Opposite 2215 Carter St - Louisville","CT0003","Louisville - Portland Ave & N 20th St - SE of Substation",0.48000000000000004,43,"2023-04-07",0,0,0,0,0,0,0,0,0,1,8.0575360706709951,20.973412690476192,0.18748196248196244,0.26190476190476186,"Continue to Monitor"]
["CRESTWOOD","Oldham - Floydsburg Rd. - Crestwood","CW1223","Crestwood - Floydsburg Rd - NW of Substation",0.34,46,"2023-04-04",0.99227945829641817,0,0,0,0,0,0,0,0,7.7205417035818248E-3,46.298913040579713,171.76123186956522,0.39101449275362321,1.0217391304347827,"Continue to Monitor"]
["CRESTWOOD","Oldham - Floydsburg Rd. - Crestwood","CW1224","Crestwood - W HWY 146, Glenarm Rd, & Fox Run Rd - N of Substation",49.41,1962,"2023-04-04",1.2580434406160032E-3,0,2.2158053306270626E-3,0,1.4506996680862631E-3,0,0.8819451966335351,1.0981749918763578E-2,0,0.10214850500837201,35.426174952977775,25.103702757640665,0.45525859796375523,1.1075007653631193,"Continue to Monitor"]
["CRESTWOOD","Oldham - Floydsburg Rd. - Crestwood","CW1225","Crestwood - Hwy 146, Muirs Ln, Elm Ave, & Hwy 362 - SW of Substation",35.29,1529,"2021-04-24",1.3355548321883192E-2,0,2.4472750946564099E-2,0,0.12241772173585294,0,0.81295357981120109,2.4922904281382236E-2,0,1.8774949031163802E-3,49.276125022607594,66.068020914243817,0.70699107229728975,1.3117647142596509,"Continue to Monitor"]
["CLAY","Jefferson - 908 Clay St. - Louisville","CY1482","Louisville - Clay St, E Broadway, Logan St, Chestnut St, & Preston St - N of Substation",3.93,34,"2022-06-17",0,0,0,0,0.29571984435797666,0,0.13723436096976954,0.5670457946722538,0,0,67.060266872875829,147.77500000000001,0.39019607843137244,1.0294117647058822,"Continue to Monitor"]
["CLAY","Jefferson - 908 Clay St. - Louisville","CY1484","Louisville - Jackson St, Jacob St, Floyd St, & 1st St - NW of Substation",4.1399999999999997,59,"2022-06-17",0,0,4.6264602763265474E-2,0,1.1640636909133742E-3,0,0.68400521057080699,0.2685661229750142,0,0,103.15130676895726,173.83662672926025,1.0037022008851921,1.8883498053309371,"Continue to Monitor"]
["CLAY","Jefferson - 908 Clay St. - Louisville","CY1486","Louisville - Caldwell St, Logan St, Jackson St, Goss Ave, & Ash St - S of Substation",4.21,1593,"2022-06-17",0,0,0,0.33128797807696891,0.33319432860717263,0,3.1573930656499465E-3,0,0,0.33236030025020852,42.897410135606833,64.396440103141515,0.60272642480172423,1.0496183206106868,"Continue to Monitor"]
["DAHLIA","Jefferson - 2135 Dahlia Ave. - Louisville","DA1238","Louisville - Bardstown Rd, Gold Smith Ln, & Peabody Ln - SE of Substation",10.01,1771,"2022-02-11",5.7223378611331657E-3,0,0,3.7910488330007225E-4,4.6108759162127116E-2,0,0.76362555064728843,0.16679184280737896,0,1.7372404638772314E-2,55.945307725743305,59.986268937444208,0.31175422153024357,0.29475833307010724,"Continue to Monitor"]
["DAHLIA","Jefferson - 2135 Dahlia Ave. - Louisville","DA1240","Louisville - Eleanor Ave, Lakeside Dr, Dundee Rd, & Newburg Rd - W of Substation",11.61,1265,"2022-03-11",3.1531750388032577E-3,0,4.1692163449038389E-5,5.7876601701302899E-4,3.1153238069475557E-2,0,0.87271152699682475,8.4402337912686753E-2,0,7.9592638017475254E-3,75.20931267527024,85.028616150413896,0.50998846829780253,0.42046195141130077,"Continue to Monitor"]
["DAHLIA","Jefferson - 2135 Dahlia Ave. - Louisville","DA1242","Louisville - Bardstown Rd, Doup Ave, Taylorsville Rd, & Millvale Rd - N of Substation",11.100000000000001,1281,"2024-02-11",6.7088766309889884E-3,1.5342541664145819E-3,0,0,7.8664502682621221E-2,8.4490073994576015E-4,0.84321234137286727,5.8221341898080557E-2,0,1.081378250908163E-2,87.899089368111689,142.88127504979937,0.76944342916815467,1.6823063677201997,"Continue to Monitor"]
["DAHLIA","Jefferson - 2135 Dahlia Ave. - Louisville","DA1243","Louisville - Bon Air Ave, Gardiner Ln, & Goldsmith Ln - E of Substation",13.909999999999998,1639,"2024-02-18",5.5957835175898839E-4,0,0,6.7342873449718687E-5,0.34242623350936735,0,0.11117006196288477,0.43545018152811027,0,0.11032660177442891,83.736075371430246,88.277683634943912,0.88650446699788643,0.68768508835055153,"Reliability Improvements Scheduled for 2024"]
["DEL PARK","Jefferson - 3135 Del Park Terrance - Louisville","DE1409","Louisville - Magazine St, S 30th St, & W Broadway - E of Substation",0.97,6,"2023-03-24",0,0,0,0,0,0,0,0,0,1,75.596111100000002,130.23055550000001,0.65833333333333344,1.1666666666666667,"Continue to Monitor"]
["DIXIE","Jefferson - 1706 Bernheim Ln. - Louisville","DX1220","Louisville - Bernheim Ln, 7th Street Rd, & Taylor Blvd - SE of Substation",20.77,3109,"2023-08-19",6.8642902893825885E-3,0,1.525717699044987E-3,3.4961965009247865E-3,3.5665810249656357E-2,0,0.324478413253593,0.51063468416923952,0,0.11733488783815878,64.064942998342531,48.212333063248352,1.2571479202397324,1.4744430279810627,"Reliability Improvements Scheduled for 2024"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1166","Louisville - Old Shephardsville Rd, Bardstown Rd, & Bray Ave - N of Substation",5.67,630,"2020-03-28",2.0836737882349562E-2,0,2.2675643302631037E-2,0,0.10383889464544503,0,0.50461611951448593,0.29900709882141246,0,4.9025505833676035E-2,95.048207432432974,158.43341559359908,1.0347597889635762,1.8495555614216013,"Continue to Monitor"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1169","Louisville - Hikes Ln, Champ Trace Ln, & Bashford Manor Ln - N of Substation",5.63,699,"2020-05-30",1.0881586522437354E-2,0,0,0,0.16472366148531953,0,0.58859800624185676,0.23060529850821643,0,5.191447242169904E-3,160.33744074122245,236.34811903857141,0.55074396060041553,0.88571428571428568,"Continue to Monitor"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1170","Louisville - Newburg Rd & Goldsmith Ln - NW of Substation",7.42,1015,"2020-05-30",0,0,0,0,8.933131523572739E-2,0,0.70661076771707254,7.4315962820350273E-2,0,0.12974195422684978,41.875115696520027,91.692018997033117,0.33776177509888611,0.39295509462031264,"Continue to Monitor"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1172","Louisville - Hikes Ln - NE of Substation",13.61,2027,"2020-07-11",1.5549524467634089E-3,0,0,0,8.1513157675115744E-3,0,0.84739199957270528,9.5740071238053268E-2,0,4.7161660974966532E-2,42.294603979352182,69.05583403559929,0.29866599805896155,0.51929401793733343,"Continue to Monitor"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1421","Louisville - Ethel Ave, Bardstown Rd, Buechel Bank Rd, & Progress Blvd - E of Substation",3.46,9,"2020-05-02",0,0,0,0,0,0,0,0.89548033354909951,0,0.10451966645090051,565.00037031111117,609.95925922222227,1.711111111111111,1,"Continue to Monitor"]
["ETHEL","Jefferson - 3532 Ethel Ave. - Louisville","ET1423","Louisville - Jennings Ln, Bishop Ln, & Robards Ln - W of Substation",5.18,49,"2020-05-02",1.8617659470596511E-4,0,0.15160566969789743,0,0.13422505026768056,0,7.1239439649822517E-2,0.64274366378989345,0,0,168.7083962014585,651.97191540616257,0.7077542203322007,0.84433773509403764,"Continue to Monitor"]
["EASTWOOD","Jefferson - 100 Flat Road Rd. - Louisville","EW1240","Louisville - Shelbyville Rd & Beckley Creek PKWY - W of Substation",13.93,367,"2020-02-22",4.9190371991247261E-2,0,0,0,0.91730853391684897,0,1.575492341356674E-3,1.5842450765864331E-2,0,1.6083150984682715E-2,44.134190407439078,124.02296813640415,0.28414199779093396,0.32360715134236162,"Continue to Monitor"]
["EASTWOOD","Jefferson - 16000 Shelbyville Rd - Middletown","EW1242","Simpsonville - Liberty Ave, Johnson Rd, & Aiken Rd- N & NW of Substation",33.529999999999994,956,"2024-01-20",2.1931106339182476E-2,0,0.12354353820154763,0,0,0,0.78750375895266056,2.3904821200916547E-2,0,4.3116775305692856E-2,63.303864399868225,108.67687160265498,0.61710063568370854,1.5953049208318224,"Continue to Monitor"]
["FARNSLEY","Jefferson - 2428 Farnsley Rd. - Louisvlle","FA1123","Louisville - Kramers Ln, Campground Rd, & Lees Ln - SW of Substation",17.239999999999998,897,"2021-10-30",6.2813786918053657E-2,0,3.2638713837472126E-2,0,7.8449340777641454E-3,0,0.80858110168889608,8.8121463477814008E-2,0,0,161.41810944437856,134.1133529587824,0.9920814382660339,1.093765919557679,"Continue to Monitor"]
["FALLS CITY","Jefferson - 1048 S 43rd St - Louisville","FC0002","Louisville - S 43rd St, Virginia Ave, Southwestern PKY - S of Substation",2.0500000000000003,319,"2023-02-10",0,0,0,0,0,0,0.18610407552383146,0.81389592447616854,0,0,45.04888952933068,163.7810670115731,0.34693689159321822,1.1663019262238521,"Trees Trimmed in 2023"]
["FALLS CITY","Jefferson - 1048 S 43rd St - Louisville","FC0003","Louisville - S 43rd St, Fordson Way, & Cecil Ave - S of Substation",1.9,282,"2023-02-10",0,0,0,0.60639186016175317,0,0,0.22885468301591444,7.5658752935037826E-3,0,0.15718758152882858,26.168192469305172,114.21670757695523,0.37006523106095524,1.5867832124480814,"Continue to Monitor"]
["FREYS HILL","Jefferson - 3300 Freys Hill Rd. - Louisville","FH1209","Louisville - Westport Rd, Langdon Dr, & Tiverton Way - SW of Substation",14.020000000000001,1535,"2019-08-10",0,0,9.50591194600642E-4,0,1.0772084023025089E-3,0,0.82718713907841923,0.14099884428123183,0,2.9786217043445865E-2,84.964156604764895,96.466732450054721,1.6701789610811801,1.1512025225109317,"Continue to Monitor"]
["FREYS HILL","Jefferson - 3300 Freys Hill Rd. - Louisville","FH1210","Louisville - N Hurstbourne PKY, Whipps Mill Rd, & La Grange Rd - SW of Substation",16.989999999999998,1579,"2023-09-09",1.7965675711097808E-3,0,2.0693106020117875E-2,0,1.4955728685469115E-2,0,0.72577375633579799,0.23672264692299255,0,5.8194464512692239E-5,39.969762607426922,82.401381509741753,0.404827258770457,1.195559415617935,"Continue to Monitor"]
["FREYS HILL","Jefferson - 3300 Freys Hill Rd. - Louisville","FH1213","Louisville - Westport Rd, Blossom Ln, Goose Creek Rd & Brownsboro Rd - W of Substation",28.270000000000003,1993,"2023-12-30",4.5801271185467252E-3,0,0.17937059024107366,0,4.3809198126598045E-3,0,0.61114799527547214,0.1219339058382837,0,7.8586461713963912E-2,91.597490988175835,150.86540412423929,1.058347474912404,1.7687327133538344,"Continue to Monitor"]
["FREYS HILL","Jefferson - 3300 Freys Hill Rd. - Louisville","FH1216","Louisville - Springhurst Blvd & N Hurstbourne PKY - NW of Substation",15.8,1069,"2019-08-10",0,0,0,0,0,0,0,0,0,1,60.625388342811064,116.37218584284379,0.58822015186337651,1,"Continue to Monitor"]
["FLOYD","Jefferson - 1806 S Floyd St. - Louisville","FL1496","Louisville - Floyd St, Warnock St, & Crittenden Dr - SE of Substation",3.73,1106,"2019-12-07",0,0,0,4.1654634709789203E-2,0,0,0.29622677832322647,0.39254259312734624,0,0.2695759938396381,129.24348706103359,267.85665566827538,1.1751626440039775,1.9829607012705606,"Continue to Monitor"]
["FAIRMOUNT","Jefferson - 10713 Fairmount Rd. - Louisville","FM1260","Louisville - Thixton Ln & Independence School Rd - SW of Substation",46.440000000000005,1772,"2021-07-24",1.8391732512040165E-2,0,2.3776216042863541E-4,3.7931358617219508E-4,3.9921925541738318E-4,0,1.2309444687121585E-2,0.40790255069033965,0,0.56037997710848042,12.792453851806355,16.399919273824896,0.33477626334702421,6.7714403772259193E-2,"Continue to Monitor"]
["FAIRMOUNT","Jefferson - 10713 Fairmount Rd. - Louisville","FM1262","Louisville - Bardstown Rd & Stone Breaker Rd - NNW of Substation",33.550000000000004,2142,"2021-08-28",1.6473406471323428E-2,0,0,0,0.41114081377586448,0,0.43351617830856826,3.1714345229829188E-2,0,0.10715525621441467,26.732698388251443,31.677635137696551,0.23610270326168936,0.15403974404302795,"Continue to Monitor"]
["FORTY FOURTH","Jefferson - 128 N 44th St - Louisville","FO0001","Louisville - N 44th St & Bank St - N of Substation",1.34,211,"2023-03-17",0,0,0,2.7844109033566117E-2,0,0,0.97215589096643384,0,0,0,37.0109807630609,105.18562400947867,0.40388227812742272,0.18009478672985782,"Continue to Monitor"]
["FORTY FOURTH","Jefferson - 128 N 44th St - Louisville","FO0002","Louisville - N 44th St, W Market St, & Fontaine Landing Ct - SW of Substation",2.5799999999999996,353,"2023-03-17",0,0,0.13126855861073572,0,3.1955284664956743E-2,0,0.55919909539700485,0.27218069996414684,0,5.3963613631558141E-3,81.644218088205974,234.92615914836432,0.62005525663291183,0.36167867259559838,"Trees Trimmed in 2023"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1134","Louisville - Preston Hwy, Loretta St, & Ulrich Ave - NW of Substation",15.519999999999998,1832,"2021-01-23",9.4301067874370034E-3,1.0649271546600387E-3,5.107622481358863E-2,0,0.69028892534703457,0,0.21572044679785049,1.0807438771600633E-2,0,2.1611930327828589E-2,44.01132555833756,71.945655123053101,0.4077715916021093,0.60170901898722351,"Continue to Monitor"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1144","Louisville - Preston Hwy & Oaklawn Dr - S of Substation",1.24,31,"2021-05-01",0,0,0,0,0,0,5.6201380998164498E-2,6.4504850974565167E-2,0,0.87929376802727033,14.756097991348412,20.730107516129031,0.28493387714744778,6.4516129032258063E-2,"Continue to Monitor"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1472","Louisville - Grade Ln & Lotus Ave - W of Substation",7.22,3,"2021-02-27",0,0,0,0,0,0,0,1,0,0,45.694444399999995,42.95,0.4,1,"Continue to Monitor"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1475","Louisville - Old/Fern Valley Rd, & Industrial Blvd - W of Substation",2.4299999999999997,11,"2021-02-27",0,0,0,0,0.18121219602518207,0,0.69892605851129486,0,0,0.11986174546352302,140.45484845454544,221.66666663636363,1.2363636363636363,2,"Continue to Monitor"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1477","Louisville - Preston Hwy & Outer Loop - SW of Substation",6.22,28,"2021-02-27",0,0,0,0,0.84012929941688497,0,0,0.15987070058311501,0,0,159.43559977513218,341.11933492857139,0.9452107279693488,1.9125615763546799,"Continue to Monitor"]
["FERN VALLEY","Jefferson - 1256 Old Fern Valley Rd. - Louisville","FV1478","Louisville - Preston Hwy, & Standiford Ave/Ln - NW of Substation",6.7700000000000005,115,"2021-02-27",0,0,0,0,0,0,0,4.1701682337831197E-3,0,0.99582983176621687,20.437662261598565,30.792345074587708,0.37957470729004383,0.46049475262368811,"Continue to Monitor"]
["GAULBERT","Jefferson - 2950 Wilson Ave - Louisville","GA0001","Louisville - Catalpa St, Woodland Ave, & Hemlock St - NE of Substation",2.8899999999999997,448,"2023-01-20",0,0,0,0,0.61566302518929683,0,0.31594419969064497,6.5282733887275068E-2,0,3.110041232783094E-3,62.296720915395028,78.698242995695239,0.33417576901774076,9.584498328991721E-2,"Continue to Monitor"]
["GRADE LANE","Jefferson - 6909 Grade Lane - Louisville","GL1333","Shepherdsville - Grade Lane - NE of Substation",2.7600000000000002,1,"2021-06-12",0,0,0,0,0.34787350054525629,0,0,0,0,0.65212649945474377,402.42222199999998,916.53333299999997,1,2,"Continue to Monitor"]
["GRADE LANE","Jefferson - 6909 Grade Lane - Louisville","GL1334","Shepherdsville - Grade Lane - NE of Substation",2.75,1,"2021-06-12",0,0,0,0,0.34716157205240172,0,0,0,0,0.65283842794759828,402.21666599999998,916.53333199999997,1,2,"Continue to Monitor"]
["GRADE LANE","Jefferson - 6909 Grade Lane - Louisville","GL1335","Louisville - Grade Ln & Midfield Access Rd - N of Substation",2.77,1,"2021-06-12",0,0,0,0,0.34678298800436202,0,0,0,0,0.65321701199563798,241.26999979999999,916.83333300000004,0.6,2,"Continue to Monitor"]
["GOSS","Jefferson - 1260 Goss Ave - Louisville","GO0002","Louisville - Reasor Ave, E Burnett Ave, & Texas Avenue - SW of Substation",3.35,700,"2022-07-15",0,0,0,0,2.9751346993108245E-3,0,3.0534671071243076E-4,0.99315714029833169,0,3.5623782916450256E-3,22.60109071056943,24.577877860607295,0.23828270968698995,0.34098227022620742,"Continue to Monitor"]
["GOSS","Jefferson - 1260 Goss Ave - Louisville","GO0003","Louisville - Ash St & Hickory St - NW of Substation",1.6400000000000001,409,"2022-07-15",0,0,0,0,0,4.9653280499885696E-2,0,0.93302598491198663,0,1.7320734588127714E-2,14.423126500623592,21.464254740100429,0.10840443790634628,0.20497369679579147,"Continue to Monitor"]
["GRADY","Jefferson - 1838 S 39th St. - Louisville","GR1466","Louisville - S 41st St & Bells Ln - SW of Substation",1.19,3,"2023-04-14",0,0,0,0,0,0,1,0,0,0,31.24666666666667,37.233333333333334,0.16666666666666666,0.33333333333333331,"Continue to Monitor"]
["HALE","Jefferson - Rear 185 Hale Ave - Louisville","HA0002","Louisville - Dixie Hwy, Hale Ave, Dumesnil St, & St Louis Ave - S of Substation",2.77,589,"2022-11-18",0,0,0,2.1789113511951953E-3,3.6259836889628361E-2,1.8763348038313395E-3,0.95691634154696581,2.6518673115389366E-3,0,1.167080968403444E-4,74.222904345247088,194.00989044977797,0.31679537246806683,0.55828422334043792,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1142","Louisville - Hurstbourne Pky, Taylorsville Rd, & Stony Brook Dr - W of Substation",19.939999999999998,2029,"2023-09-09",1.1604569219449294E-2,0,5.9671101678245939E-3,2.4101564112588908E-4,9.7995624078737451E-2,0,0.3336973863462514,0.24871235724224683,0,0.30178193730436453,42.734451906191659,107.23449274424379,0.53696555150563263,1.1635470525294789,"Reliability Improvements Scheduled for 2024"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1143","Louisville - Hurstbourne Pky & Stone Creek Pky - N of Subsation",9.75,403,"2023-11-18",0.12722634289223791,0,0,0,2.1259507724287808E-3,0,1.6629659375442907E-2,9.1604856616431238E-2,0,0.76241319034345911,47.167610909792131,52.52444167990074,0.37610161154598509,0.31761786600496278,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1144","Louisville - Old Hickory Rd, Waterson Trl, & Blankenbaker Access Dr - SE of Substation",6.55,279,"2023-09-16",1.6214082282942785E-4,0,0,0,0.71094521050108561,0,0.23859233567380086,4.107238530299185E-2,0,9.22792769929222E-3,95.915063346059725,104.54399189501781,0.8053000924434679,1.1106790799661321,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1145","Louisville - Gateway Dr, Taylorsville Rd, & Greene Way - SW of Substation",17.61,1896,"2023-12-16",1.1011889810931992E-3,4.9198667728783771E-4,0,0,0.12313063003797946,0,0.74610297911089951,0.11575880373080595,0,1.3414411461934025E-2,73.389615654740354,146.67273557599094,0.89443469231274797,2.1849786337717294,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1146","Louisville - Plantside Dr, Carton Dr, & Bunsen Way - SW of Substation",3.81,164,"2023-11-18",0,0,0.36482208433582375,0,0.51639863239204764,0,0.11877928327212865,0,0,0,31.877525446686427,21.518559506061056,0.66252963646678142,1.0481927710843375,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1148","Louisville - Old Hickory Rd, Taylorsville Rd, College Dr, & Rown Tree Rd - S of Substation",19.89,2287,"2024-01-20",5.7707522030953486E-4,1.9491993279531529E-3,1.0065577505800638E-3,0,0.12077424441691006,0,0.54414546150038579,0.29993518119381263,0,3.1612280590048739E-2,68.532140074871066,134.44099467343793,0.79576728481548409,1.7456592236841704,"Trees Trimmed in 2024"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1149","Louisville - Plantside Dr, Production Dr, & Research Dr - E of Substation",2.39,32,"2023-11-18",0,0,0,0,0.7299767066833901,0,0,0,0,0.2700232933166099,39.097838768621699,174.40468749999999,0.25986070381231674,1.0625,"Continue to Monitor"]
["HURSTBOURNE","Jefferson - 1830 Plantside Drive - Louisville","HB1150","Louisville - Bunsen Way & Production Dr - E of Substation",2.79,326,"2023-11-18",1.9728608331637907E-4,0,3.3865389239277191E-2,0,1.8495570310910537E-3,0,0.95617166355324568,1.1775513097946374E-3,0,6.7385527832750725E-3,112.99784498612658,480.69713700920249,0.20244335770447036,0.47239263803680986,"Continue to Monitor"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1290","Louisville - Frankfort Ave, Fenley Ave, & Breckenridge Ln - E of Substation",14.47,1673,"2022-10-15",2.1178533716375521E-2,0,0,7.3634943936765258E-4,1.4394519406144127E-2,0,0.63192478699716936,0.30830096439533888,0,2.3464846045604497E-2,41.944096392594602,54.122415625266235,0.39802768670692645,0.21606130892095102,"Continue to Monitor"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1292","Louisville - Grinstead Dr, Lexington Rd, & Alta Vista Rd - S of Substation",14.53,854,"2023-09-16",3.2439813584963263E-3,5.5082010664965887E-4,0,0,6.24183901735113E-3,0,0.64535349812182774,0.30543300317653399,0,3.9176858219141207E-2,112.70284004913603,291.33086423819617,0.78071247773684349,2.0438330076665623,"Trees Trimmed in 2023"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1293","Louisville - Lexington Rd, Cannons Ln, & Old Cannons Ln - SE of Substation",19.8,2317,"2021-04-10",2.4874382034372438E-3,0,2.2143443827300869E-4,5.4073614879563553E-4,1.9780351574546825E-2,0,0.78853270739814274,0.18259255336492083,0,5.844778871883693E-3,64.635986195920495,113.07879360661489,0.27418775113771404,0.216686210435796,"Continue to Monitor"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1294","Louisville - Hillcrest Ave, Zorn Ave, & River Rd - N of Substation",20.67,1128,"2023-05-19",7.037848128073429E-2,0,6.5144487550355956E-3,0,2.768501085663884E-3,0,0.74364787719547309,0.15456595553548946,0,2.2124736147603744E-2,117.2464324824191,182.91364669654996,0.86540137440581189,0.88827700122909292,"Continue to Monitor"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1434","Louisville - Stilz Ave, Lexington Rd, & Alta Vista Rd - S & E of Substation",3.2399999999999998,7,"2021-04-10",0,0,0,0,4.4692737430167599E-2,0,0,0,0,0.95530726256983245,117.58139125765766,127.85714285714285,0.98211926211926226,2,"Continue to Monitor"]
["HILLCREST","Jefferson - 3015 Frankfort Ave. - Louisville","HC1435","Louisville - Hillcrest Ave, Zorn Ave, & Frankfort Ave - N & W of Substation",2.84,40,"2023-05-19",0,0,0,0,0,0,0.98125174269317361,1.8748257306826364E-2,0,0,101.07558333,112.633333325,0.8,2,"Continue to Monitor"]
["HERMAN","Jefferson - Rear 3619 Jefferson St - Louisville","HE0001","Louisville - W Market St, 37th, 36th, 35th & 34th St - NE of Substation",3.58,674,"2023-02-17",0,0,0,0,0,0,0.15015462146374986,0.78066659031038832,0,6.9178788225861876E-2,10.241102653053998,12.984780944986602,0.13187557285310744,0.14575855456370707,"Trees Trimmed in 2023"]
["HERMAN","Jefferson - Rear 3619 Jefferson St - Louisville","HE0002","Louisville - Amy Ave, W Market St, 39th, 40th, 41st, & 42nd St - NW of Substation",2.8999999999999995,588,"2023-02-17",0,0,0,0,3.594477590221188E-2,0,2.9949432479627475E-2,0.92693720896391152,0,7.1685826542491268E-3,25.594097618192045,51.543938619886688,0.26599518304237796,0.83336869206441644,"Trees Trimmed in 2023"]
["HERMAN","Jefferson - Rear 3619 Jefferson St - Louisville","HE0004","Louisville - W Market St, S 43rd St, & Herman St - W of Substation",1.9,297,"2023-02-17",0,0,0,0.42786149041420657,0.55376478902136006,0,0,1.8373720564433402E-2,0,0,84.780675680507187,147.63206057958462,0.61233654993144904,1.4491202612007981,"Continue to Monitor"]
["HIGHLAND","Jefferson - 1917 Stevens Ave. - Louisville","HI1104","Louisville - Fernwood Ave, Norris Pl, Dundee Rd, & Newburg Rd - S of Substation",14.73,2275,"2021-04-10",3.3131336390225329E-2,4.2067320998013982E-4,1.022900121109603E-3,0,2.8447472307525399E-2,0,0.66062963709186395,0.15599226846921446,0,0.1203557124100811,73.603547195424341,70.969015121314129,0.72298289134268434,1.0587116722675465,"Continue to Monitor"]
["HIGHLAND","Jefferson - 1917 Stevens Ave. - Louisville","HI1473","Louisville - Eastern Pky, Poplar Level Rd, & Nightingale Rd - SW of Substation",5.64,1186,"2021-04-10",0,0,0,0,0,0,0.69661177687731701,0.30338822312268299,0,0,126.9019752164204,93.662286703421657,1.2824620095876678,1.9093455910351955,"Continue to Monitor"]
["HIGHLAND","Jefferson - 1917 Stevens Ave. - Louisville","HI1475","Louisville - Cherokee Pky, Bardstown Rd, & Richmond Dr - N & SE of Substation",4.6400000000000006,21,"2021-04-10",0,0,0,0,0,0,0,6.4043915827996345E-2,0,0.93595608417200371,72.232222199999995,156.12619042857145,0.74285714285714288,0.71428571428571419,"Continue to Monitor"]
["HARRODS CREEK","Jefferson - 6611 Del Haven Rd. - Louisville","HK1235","Louisville - US 42, Marina Dr, & Seminary Dr - S of Substation",27.910000000000004,1467,"2023-01-14",1.6830551746111706E-5,0,0,0,0,0,0.37155687053107744,0.61593299970149951,0,1.2493299215676943E-2,63.353625334875403,85.083842670685982,0.71964143249664114,0.89565495995890099,"Trees Trimmed in 2023"]
["HARRODS CREEK","Jefferson - 6611 Del Haven Rd. - Louisville","HK1238","Louisville - Timber Bridge Dr & Fox Harbor Rd - E of Substation",10.79,428,"2023-02-17",8.8456908085360558E-4,0,0,0,1.2972729469408237E-4,0,0.91293088885293272,1.2953840605070911E-2,0,7.3100974166448673E-2,370.44415922901578,1132.194292106409,2.0328548580509209,4.7631963052523805,"Continue to Monitor"]
["HARRODS CREEK","Jefferson - 6611 Del Haven Rd. - Louisville","HK1241","Louisville - River Rd, Avish Ln, & Rockledge Dr - SW of Substation",19.57,538,"2023-01-28",2.5428043869224742E-4,0,0,5.1471778873297535E-4,0.72557845721346814,0,0.1707268418554222,7.8388563906584885E-2,0,2.4537138797099602E-2,142.68852835963406,131.57399022958344,1.2751527558353541,2.2412256502951839,"Continue to Monitor"]
["HARMONY LANDING","Oldham - 11943 W Hwy 42 - Goshen","HL1155","Goshen - Goshen Ln - NW of Substation",15.07,386,"2021-12-24",2.9090284798657076E-3,8.1414646243061245E-2,0,0,1.1159224004730747E-3,0,0.8385727638631898,4.5295004101253269E-2,0,3.0692634912156878E-2,38.378894378592939,75.03574420985062,0.35781078560703605,0.26647171092114591,"Continue to Monitor"]
["HARMONY LANDING","Oldham - 11943 W Hwy 42 - Goshen","HL1158","Goshen - US 42 & Buckeye Ln - NE of Substation",31.909999999999997,540,"2021-11-21",8.4070574541192955E-5,3.2148876358885375E-4,3.6514773148363638E-4,0,0.12175764510021898,0,0.80606109152471184,7.0798248301179048E-2,0,6.1230800427641396E-4,188.66262384454166,218.40643190632147,1.1789186365839059,0.99049312260176392,"Continue to Monitor"]
["HANCOCK","Jefferson - 630 E Caldwell St - Louisville","HN1201","Louisville - Shelby St, Logan St, & Barrett Ave - E & S of Substation",6.41,906,"2022-06-10",6.9862878223559389E-5,0,0,2.5124324167384197E-2,0.80788343605595925,5.6253226621567308E-5,2.3506590246960737E-2,3.9221201296727605E-2,0,0.10413833212812308,48.420225655921215,48.662520130989698,0.63566524594789509,0.89018275199131913,"Continue to Monitor"]
["HANCOCK","Jefferson - 630 E Caldwell St - Louisville","HN1204","Louisville - S Preston St, E Broadway, S Shelby St, & E Madison St - N of Substation",8.57,1227,"2022-06-10",5.2115315391619201E-3,0,0,1.1982022995320474E-2,3.0967455057488301E-3,0,0.45552597031359182,0.51484320409934992,0,9.3405255468270269E-3,61.272688859650067,147.78735026514292,0.43821236553028681,1.061795170943951,"Continue to Monitor"]
["INTERNATIONAL","Jefferson - 5599 Cane Run Rd. - Louisville","IN1291","Louisville - Lower Hunters Trace, Terry Rd, & Mt Everest Dr - ESE of Substation",33.909999999999997,3043,"2021-11-20",4.6115861490408504E-4,0,2.1794757147858279E-4,0,0.93104796490703245,0,2.6458273767012243E-2,1.9514628552775994E-2,0,2.2300026586796667E-2,66.707694556988088,110.61468844335687,1.1230318633674063,1.0515713033390943,"Continue to Monitor"]
["JEFFERSONTOWN","Jefferson - 11412 Taylorsville Rd. - Louisville","JT1120","Louisville - Taylorsville Rd & Tucker Station Rd - E of Substation",13.419999999999998,771,"2020-04-04",9.8984233225707613E-4,0,0,0,4.6899672409323372E-3,0,1.3952063349909264E-2,0.84549032546958591,0,0.13487780160731541,4.2219701342881137,14.573143070682589,5.5896304364711213E-2,0.20492532134676289,"Continue to Monitor"]
["JEFFERSONTOWN","Jefferson - 11412 Taylorsville Rd. - Louisville","JT1123","Louisville - Taylorsville Rd, I 265 S, & Eastwood Fisherville Rd - E of Substation",68.14,1425,"2020-08-01",0,0,6.9388549835116935E-4,0,2.8803379265783572E-3,3.7205656748051974E-6,0.32499761263702531,7.2462977271064294E-2,0,0.59896146610130607,43.558764993911176,56.283746160667512,0.3271577163280644,0.37514944025772318,"Continue to Monitor"]
["JEFFERSONTOWN","Jefferson - 11412 Taylorsville Rd. - Louisville","JT1127","Louisville - Taylorsville Rd, Old Routt Rd, & Taylorsville Lake Rd - SE of Substation",44.240000000000009,383,"2020-06-27",0.17362492862951365,0,0,0,0.10763101891101615,0,0.25335225011678808,0.32890547952315863,0,0.1364863228195235,98.715273216190965,166.79199875618878,0.53470153451974467,0.45319953041806099,"Continue to Monitor"]
["KENWOOD","Jefferson - 115 Steedly Dr. - Louisville","KE1156","Louisville - Strawberry Ln, Southside Dr, & National TPke - S of Substation",12.71,1264,"2020-12-19",4.4682963510172695E-4,0,6.419043066630517E-2,3.7125591246295705E-4,1.8529732119493391E-2,0,0.75442602229991618,0.13375131899762793,0,2.8284410369092614E-2,67.232712629313909,99.847861120045039,0.84563142728025054,1.6421140729610302,"Continue to Monitor"]
["KENWOOD","Jefferson - 115 Steedly Dr. - Louisville","KE1157","Louisville - S 3rd St - NW of Substation",2.0299999999999998,299,"2020-12-19",0,0,0,0,0,0,0.98301397372604815,0,0,1.698602627395197E-2,25.669369163212814,39.938383943381972,0.26155225994678621,0.21721427876665694,"Continue to Monitor"]
["KENWOOD","Jefferson - 115 Steedly Dr. - Louisville","KE1158","Louisville - Inverness Ave, New Cut Rd, & Palatka Rd - W & SW of Substation",19.560000000000002,2422,"2021-07-10",1.1430923602092942E-2,2.9258479757775336E-2,1.3206617776231533E-2,0,0.18710064104109758,0,0.53146302732605599,0.20364163701435367,0,2.3898673482392899E-2,35.461580007888116,48.157661331718906,0.25581125525004106,0.3000668982462284,"Continue to Monitor"]
["KENWOOD","Jefferson - 115 Steedly Dr. - Louisville","KE1159","Louisville - Kenwood Dr, Homestead Dr, & Southside Dr - SW of Substation",12.540000000000001,1440,"2021-07-17",2.0110632670504943E-2,0,0,0,0.11851529307622974,0,0.51148884624137414,0.33034442347906956,0,1.9540804532821563E-2,109.02306261521323,229.20730945335598,1.1416908523115283,0.69104141794044549,"Tree Trim Scheduled for 2024"]
["KENWOOD","Jefferson - 115 Steedly Dr. - Louisville","KE1161","Louisville - Southside Dr, 3rd St, & W Kenwood Way - N of Substation",6.0500000000000007,737,"2021-07-17",2.1774739100703276E-4,0,3.101269255250913E-2,0,1.436154140686834E-3,0,0.69472672090778642,0.25383759388317401,0,1.8769091124836535E-2,59.977127645360746,81.45054767503359,0.52090555017330975,0.46561558825832972,"Continue to Monitor"]
["LYNN","Jefferson - Rear of 2071 S Preston St & Lynn St - Louisville","LN0004","Louisville - Preston St & Gernert Ct - NW of Substation",2.2200000000000002,483,"2022-07-15",0,0,0,0,7.5908040384381467E-2,0,0.92230142318452746,2.2868264201435348E-4,0,1.5618537890767547E-3,65.461805223846895,217.77941426776945,0.24809955427085981,0.52697500128330177,"Continue to Monitor"]
["LOCUST","Jefferson - 2929 Preston Hwy - Louisville","LO1190","Louisville - Hess Ln, Poplar Level Rd, & Sheridan Ave - E of Substation",19.04,2272,"2023-09-02",6.3946839188027457E-3,0,2.5057247523576688E-3,0,9.2375688325635787E-3,0,0.81819270794340049,0.16200313409215886,0,1.6661804607167106E-3,122.36312816231516,127.94287778345728,1.0019158712645833,0.40164071831821996,"Reliability Improvements Scheduled for 2024"]
["LOCUST","Jefferson - 2929 Preston Hwy - Louisville","LO1191","Louisville - Hess Ln & Polar Level Rd - E of Substation",1.78,53,"2023-09-02",0,0,2.1145975443383355E-2,0,0,0,2.5011368804001817E-3,3.4333788085493408E-2,0,0.94201909959072305,28.640297966680965,74.64811313207548,0.61523891203136483,1.0943396226415094,"Continue to Monitor"]
["LOCUST","Jefferson - 2929 Preston Hwy - Louisville","LO1192","Louisville - Preston Hwy, Crittenden Dr, & Boxley Ave - NW of Substation",7.919999999999999,1124,"2023-11-18",6.0296983714259716E-3,8.3502128495017546E-3,0,0,7.3102431129179773E-2,0,0.3214405769203143,0.1156522197162326,0,0.47542486101334558,68.948960893573485,86.673824221854659,0.83172290764655299,0.83313020147119121,"Continue to Monitor"]
["LYNDON SOUTH","Jefferson - 918 Ormsby Ln. - Bellemeade","LS1241","Bellemeade - Old Whipps Mill Rd, Dorchester Rd, & Shelbyville Rd - S & SE of Substation",5.79,529,"2020-12-26",5.6113117752328761E-3,0,0,0,2.8285993352955446E-3,0,0.41100345899787388,0.44094575076423531,0,0.13961087912736236,122.02139352495813,260.28302391636407,0.98848637474239442,2.3603523914826834,"Tree Trim Scheduled for 2024"]
["LYNDON SOUTH","Jefferson - 918 Ormsby Ln. - Louisville","LS1243","Louisville - Ormsby Ln & LaGrange Rd - NE of Substation",10.049999999999999,815,"2023-05-05",1.7561816120053606E-3,0,0,0,3.446092219784104E-2,0,0.83565527296290298,5.9746992032752605E-2,0,6.838063119449804E-2,96.742872704342716,115.34093067723744,0.92663007666878916,1.5433809783090418,"Continue to Monitor"]
["LYNDON SOUTH","Jefferson - 918 Ormsby Ln. - Louisville","LS1245","Louisville - Ormsby Ln, Westport Rd, & Colonel Dr - N of Substation",21.020000000000003,1929,"2020-12-26",1.3526876015171074E-3,0,1.0362740482164972E-3,0,5.3766710672705181E-4,0,0.88061771685207579,9.7634946317176924E-2,0,1.8820708074286666E-2,38.169952096820303,37.701218841659291,0.58311467523812299,1.2357290291281635,"Continue to Monitor"]
["LYNDON SOUTH","Jefferson - 918 Ormsby Ln. - Louisville","LS1248","Louisville - Whipps Mill Rd, Ormsby Station Rd, & Shelbyville Rd - NE of Substation",14.440000000000001,529,"2021-05-22",1.0717703467406979E-3,8.9287450164839081E-3,1.3050725011132772E-3,0,0.31945206088198708,0,0.65799910073746315,9.8045538975809719E-3,0,1.4386966186309051E-3,150.28492787305862,162.90590470036835,1.4099102164916359,2.3474809907533047,"Continue to Monitor"]
["LYNDON  ","Jefferson - 8407 LaGrange Rd. - Louisville","LY1111","Louisville - Ormsby Ln, Herr Ln, & Graymoor Rd - NW of Substation",25.880000000000003,2182,"2020-12-12",3.3605998379834592E-3,4.7776040391100395E-5,0.35703080198187676,0,7.1686968971948525E-2,0,0.3700688381906897,0.1768316346715397,0,2.0973380305570732E-2,85.399293978633821,118.62801425348209,0.8914059409024413,2.3954681348359523,"Continue to Monitor"]
["LYNDON  ","Jefferson - 8407 LaGrange Rd. - Louisville","LY1163","Louisville - Railroad Ave, Lyndon Ln, & Westport Rd - W of Substation",18.509999999999998,2187,"2022-06-10",8.6929840144144808E-3,0,0.13352312707490777,4.0488818856946425E-3,1.6472374167441452E-3,0,0.49674589863260837,0.20292857587789218,0,0.1524132950977384,60.291151387256946,132.00405067120917,1.02403044346508,1.2911700676972349,"Continue to Monitor"]
["MILL CREEK - LGE","Jefferson - 14660 Dixie Hwy - Louisville","MC1262","Louisville - Watson Ln, Galston Blvd, & Dixie Hwy - NE & S of Substation",19.330000000000002,1293,"2024-01-13",4.5321364319481118E-3,0.19059543824396122,0.34921684749773224,0,3.5784187505574716E-2,0,0.39108315199738808,1.1524719749714323E-2,0,1.7263518573681295E-2,51.132845505996848,157.53065932327829,0.64668457386178169,1.4398617941012999,"Continue to Monitor"]
["MADISON","Jefferson - 635 E Madison - Louisville","MD1451","Louisville - Madison St, Wenzel St, Baxter Ave, & Lexington Rd - E of Substation",2.16,19,"2022-06-03",0,0,0,0,0,0,7.63898516567309E-2,0.92361014834326904,0,0,27.908089738256411,27.5425,0.11205128205128205,0.15,"Continue to Monitor"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG0411","Louisville - W Broadway, 15th St, Garland Ave, & 16th St  - SW of Substation",4.04,371,"2023-03-17",0,0,0,0,3.757066041637943E-3,0,7.5658348269681513E-2,0.90562525851371845,0,1.4959327174962084E-2,75.018065180690513,78.451885255609284,0.71782847839642128,1.1148523590964945,"Trees Trimmed in 2023"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG0417","Louisville - 15th St, Cedar St, Chestnut St, 18th & 19th St - NW of Substation",5.04,769,"2023-03-17",0,0,0.14279503405632579,0.25422684894449543,3.5276073619631906E-2,3.0493695956717065E-3,1.5512535626298247E-2,0.20467006424810397,0,0.34447007390947298,87.848062003292185,103.33015883801002,1.2002826667863933,1.8115105277381176,"Continue to Monitor"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG0452","Louisville - 12th St, W Kentucky St, & W Oak St - S of Substation",2.52,65,"2023-03-17",1.0904751667648094E-4,0,0,5.9197223338661078E-4,0.99785332174314012,0,6.2001302338913448E-4,8.2564548340764146E-4,0,0,153.67451011257862,173.81117966980625,1.1095788890302991,1.2760270979020978,"Continue to Monitor"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG1314","Louisville - Magazine St, W Chestnut St - W and E of Substation",1.9900000000000002,5,"2023-03-17",0,0,0,0,0,0,0.46724890829694321,0.53275109170305679,0,0,44.877333266666668,125.31999993333334,0.36,1.2,"Trees Trimmed in 2023"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG1328","Louisville - 15th St, 13th St, 12th St, 11th St & W Kentucky St - S of Substation",5.67,1255,"2023-03-17",0,0,0,0,8.4261397580048325E-4,0,5.140391079883371E-3,3.5684033133899833E-2,0,0.95833296181041627,137.02994488434618,175.86377739346537,2.2500960626884794,4.3097194930684495,"Continue to Monitor"]
["MAGAZINE","Jefferson - 646 S 13th St. - Louisville","MG1329","Louisville - W Broadway, 9th St, 8th St, 7th St, & 5th St - SE of Substation",4.59,468,"2023-03-17",0,0,0,0,0.55693607504503939,0,0,0.236918542447523,0,0.20614538250743755,190.4711652512778,149.31818292268764,3.1268923233158161,3.6225936594250641,"Continue to Monitor"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1290","Louisville - 3rd Street Rd, Chistland Rd - N of Substation",12.05,493,"2022-03-26",0,0,0,0,0.92346661286153675,0,6.0550144853301478E-2,5.477538642116659E-3,0,1.0505703643045174E-2,35.401250905181065,82.128529849069153,0.28502536242259596,0.24706621445171675,"Continue to Monitor"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1291","Louisville - Saint Anthonys Church Rd - NW of Substation",8.19,147,"2022-02-11",1.0462600817929205E-4,0,0,0,0,0,0.70086193367326532,0.29903344031855544,0,0,135.69877101003874,287.32414216560858,0.76323375992838183,1.0067114093959733,"Tree Trim Scheduled for 2024"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1292","Louisville - Outer Loop & National Tpike - NE of Substation",17.200000000000003,1364,"2021-10-30",1.2068339932795911E-2,0,0,0,0.17362633895470825,0,8.1717648172395844E-4,0.67951537332975753,0,0.13397277130101437,41.305084992573391,77.94540567075137,0.46494932753190971,1.0193439048405288,"Continue to Monitor"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1293","Louisville - Manslick Rd and Brown Austin Rd - SE of Substation",20.170000000000002,1456,"2022-05-06",0,1.1082479854999671E-3,0,0,4.2163922433559715E-2,0,0.93561311226606692,2.0759177166815891E-2,0,3.5554014805756339E-4,29.372592880329687,43.423999675924001,0.24132527835331957,0.24143919901479113,"Continue to Monitor"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1294","Louisville - Greyling Dr and Blevins Gap Rd - SW of Substation",21.410000000000004,416,"2022-08-19",1.6457485255392005E-3,1.280553607768254E-4,0,0,4.5888328428800853E-3,0,0.83815042820107388,0.14869160985654151,0,6.7953252131884613E-3,549.31080265896276,827.04897201178881,3.8637906751725608,3.0969405159736016,"Continue to Monitor"]
["MANSLICK","Jefferson - 8703 Manslick Rd. - Louisville","MK1296","Louisville - 3rd St Rd, Christland Rd, & Manslick Rd - N of Substation",17.259999999999998,1738,"2022-03-25",8.0771641281775837E-4,0,1.4428027430464502E-5,1.9794241141444282E-4,0.42015289152857105,1.0259086872925023E-3,0.5346172674632288,4.0687290477198143E-2,0,2.4965549920468663E-3,77.898751838364092,191.68675655576422,0.51652204330075868,0.97300597254449583,"Continue to Monitor"]
["MUD LANE","Jefferson - 4900 Mud Ln. - Louisville","ML1281","Louisville - Mud Ln, Brookley Dr, & Elda Dr - W of Substation",4.33,377,"2023-10-07",0,0,0,0,0,0,0.94794311056736502,0,0,5.2056889432634958E-2,26.461281131170004,56.830197325024898,0.19290576140134216,5.2966190897225374E-2,"Continue to Monitor"]
["MUD LANE","Jefferson - 4900 Mud Ln. - Louisville","ML1285","Louisville - Preston Hwy, Lees Ln, Rogers Ave, & Zoneton Rd - S of Substation",29.840000000000003,1820,"2023-11-04",5.4811337474442272E-3,0,0,9.0343608297779453E-4,2.3264559801849233E-2,0,6.4061831338425431E-3,0.3348851685189268,0,0.62905951871495946,49.515690165893275,50.511940600294295,0.40848174260404713,0.31575254899553434,"Trees Trimmed in 2023"]
["MUD LANE","Jefferson - 4900 Mud Ln. - Louisville","ML1286","Louisville - Overdale Dr, Blossom Rd, Summers Dr, & Summit Dr - SW of Substation",27.06,2649,"2023-10-07",1.0493801238352534E-2,0,0.48322578236910746,2.8999099464811469E-3,1.7054176756860166E-3,0,0.23990864000522591,0.24365076032232627,0,1.8115688442820681E-2,35.663895033284341,16.169566217025228,0.85476350882814622,1.0807755242905259,"Continue to Monitor"]
["MUD LANE","Jefferson - 4900 Mud Ln. - Louisville","ML1288","Louisville - Preston Hwy, Hebron Ln, & Bells Mill Rd - S of Substation",39.129999999999995,1664,"2019-08-03",1.7519656602761211E-2,0,0,0,0,1.754132529871845E-4,0.40247539055244858,0.32159646697071631,0,0.25823307262108675,76.912488634794528,203.79147726349106,1.0376378925627676,1.9112046478219877,"Continue to Monitor"]
["NACHAND","Jefferson - 7201 Verona Way - Louisville","NA1265","Louisville - Hunsinger Ln - NNE of Substation",15.97,1344,"2021-07-24",1.2048945247492521E-3,0,0,0,0,0,0.94426257415213843,3.4619714837944453E-2,0,1.9912816485167913E-2,75.319745979747395,165.90418596123487,0.47713988521717904,1.0163607496902107,"Continue to Monitor"]
["NACHAND","Jefferson - 7201 Verona Way - Louisville","NA1266","Louisville - Six Mile Ln, Stony Brook Dr, & Hampton Ridge Ct - E of Substation",31.200000000000003,2680,"2021-06-26",1.9033201976830516E-3,1.4650785703323786E-6,0,2.0163143824199363E-4,0.42369211520352323,0,0.17548820996334008,0.37529690732901888,0,2.3416350789622408E-2,36.746239038190083,69.154047116428117,0.56949143035134453,0.5861788723061564,"Reliability Improvements Completed in 2023"]
["NACHAND","Jefferson - 7201 Verona Way - Louisville","NA1271","Louisville - Nachand Ln, Watterson Trl, & Hurstbourne Pky - SE of Substation",20.900000000000002,1559,"2021-08-14",2.4806358461277607E-2,0,0,0,2.8127805387131923E-4,0,0.51564313438387621,0.459045783917993,0,2.2344518298188912E-4,19.344403399080353,18.084098405968795,0.20299752507552027,0.27620242614927959,"Continue to Monitor"]
["OLD HENRY","Jefferson - 13601 Terra View Trail - Louisville","OH1170","Louisville - Old Henry Rd, Nelson Miller Pky, & Stanley Gault Pky - W of Substation",8.89,149,"2020-11-14",0,0,0,0,7.8584941855080904E-3,0,0.12570944739174725,0.23014539537222009,0,0.63628666305052461,78.234959395958214,354.69988812080538,0.23966010931009177,1.0335570469798658,"Continue to Monitor"]
["OLD HENRY","Jefferson - 13601 Terra View Trail - Louisville","OH1173","Louisville - Old Henry Rd and Factory Ln - NW of Substation",43.21,2256,"2020-11-21",2.5112827968073954E-4,0,0,0,5.5924643407163629E-5,0,0.94435178411596321,2.2982365362086767E-4,0,5.5111339307328019E-2,66.400920351820986,113.24755521153429,0.59723017431331349,0.5531948826695724,"Continue to Monitor"]
["OKOLONA","Jefferson - 811 N 27th St. - Louisville","OK1271","Louisville - Outer Loop, Robbs Ln, & Monaco Dr - E of Substation",10.98,952,"2023-11-04",2.565395265077766E-3,0,8.7501017624770604E-3,0,3.7558936412919276E-2,0,0.70947818163449672,0.23309590390091128,0,8.5514810241179521E-3,43.773880679233237,103.87139790423694,0.34908167554749353,0.47851214975055123,"Continue to Monitor"]
["OKOLONA","Jefferson - 811 N 27th St. - Louisville","OK1272","Louisville - Outer Loop, Shepherdsville Rd, & Applegate Ln - E of Substation",18.559999999999999,1686,"2023-11-04",6.5924017689933797E-3,0,0,0,1.0740568152843841E-2,0,0.87105691199873392,0.10853284331396115,0,3.0772747654677019E-3,49.477614088225863,65.136075661072283,0.68075955348477557,0.48740390186893529,"Continue to Monitor"]
["OKOLONA","Jefferson - 811 N 27th St. - Louisville","OK1275","Louisville - Blue Lick Rd & Freedom Way - S of Substation",10.39,1233,"2023-11-11",2.378454727086594E-3,0,0,0,1.4748357635821479E-2,0,0.35224684858435695,0.63017399231705817,0,4.5234673567675769E-4,41.115629790339533,58.614349244517513,0.55929089336517956,0.42890912795008579,"Trees Trimmed in 2023"]
["ORMSBY","Jefferson - Rear of 436 E Ormsby Jackson St - Louisville","OR0003","Louisville - Preston St, Woodbine St, Floyd St, & Burnett Ave- SW of Substation",3.34,607,"2020-02-29",0,0,0,0,4.1038467897198505E-2,0,1.8320649362423801E-2,3.854522764483459E-2,0,0.90209565509554313,45.504233307390997,79.087578280335023,0.35993923775936454,0.60372510606919372,"Continue to Monitor"]
["OXMOOR","Jefferson - 8004 Shelbyville Rd - Louisville","OX1273","Louisville - Shelbyville Rd, Lyndon Rd, & Hurstbourne Club Ln - E of Substation",25.630000000000003,1964,"2020-08-22",3.1291596409706015E-3,0,8.7547531165287334E-3,2.1201036348208841E-3,0.11659295096233346,0,0.63169219683816524,0.22426163495404003,0,1.3449200853141035E-2,39.421093498564929,42.864420648920714,0.73153399000786035,0.38999559821421637,"Continue to Monitor"]
["OXMOOR","Jefferson - 8004 Shelbyville Rd - Louisville","OX1279","Louisville - Shelbyville Rd, New La Grange Rd, & Wood Rd - N of Substation",13.31,1495,"2020-07-25",1.8917963224893919E-2,0,1.6275025882558802E-2,0.11480555272022047,1.2658758512080957E-2,0,0.59814411117105815,0.23008136601583576,0,9.1172224733519006E-3,68.091233206732753,56.400068501948532,0.68647645019692816,0.84260631467788394,"Continue to Monitor"]
["PIRTLE","Jefferson - Rear 1506 W Main St - Louisville","PI0003","Louisville - Main St, 15th St, Rowan St, & Portland Ave - NW of Substation",5.21,536,"2023-03-24",0,0,2.6776226594848119E-2,0,0.44893921072881166,0,6.7009270455461508E-3,3.4727565864204314E-2,0,0.48285606976658973,75.571849966075646,79.50276230649996,0.58626913717876228,0.42678577844164051,"Continue to Monitor"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1270","Louisville - St. Andrews Church Rd & St. Anthonys Church Rd - NE of Substation",24.549999999999997,2512,"2023-09-16",6.7048260256488852E-4,0,2.7901662551623817E-2,1.431254632906595E-3,3.2022093042697979E-2,0,0.29808330035725633,0.5038908055266047,0,0.13600040128634566,61.030162734522591,143.80622835618055,0.58690491169291004,1.2251746816880891,"Trees Trimmed in 2023"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1272","Louisville - Dixie Hwy, Greenwood Rd, Sky Blue Ave, & Galaxie Dr - NW of Substation",16.29,1434,"2023-03-03",5.8090525675512407E-3,2.9552148849507627E-3,3.0607582736990042E-3,7.8363188687970695E-2,0.3838668597925517,0,0.4205584633993581,9.9557967623176771E-2,0,5.8284947707417057E-3,81.225540430813723,40.368677930733789,1.1539558274201833,1.4848361719895116,"Continue to Monitor"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1273","Louisville - Atlas Power Rd, Greenwood Rd & St. Pauls Church Rd - N of Substation",3.1399999999999997,934,"2023-03-03",0,0,0,0,0.96813869356769178,0,2.1275054975551677E-3,2.9115789824046751E-2,0,6.1801111070630037E-4,96.780894406700185,75.667982379555426,0.82180307686319409,1.3249407788640344,"Continue to Monitor"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1274","Louisville - Dixie Hwy, Lower Hunters Trace, & Flintlock Dr - N of Substation",13.219999999999999,1044,"2023-03-03",0,0,0,0,0.5454775964511922,0,0.19274815645495635,3.2497627767278089E-2,0,0.22927661932657345,92.576306030447441,106.06221154388663,0.81308262268976694,0.66429925756336705,"Continue to Monitor"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1276","Louisville - Dixie Hwy, Cofer Ave, and Fury Way - W of Substation",2.75,1652,"2023-09-09",1.0057427464282264E-2,0,0,0,2.5916424254784727E-3,2.9797876793937378E-4,0.74604523352046459,0.22381211021779501,0,1.7195607604040316E-2,31.754753077099039,45.414825429380073,0.39982891697420292,0.51325807638192633,"Continue to Monitor"]
["PLEASURE RIDGE","Jefferson - 4400 Atlas Power Rd. - Louisville","PL1277","Louisville - Dixie Hwy, Lower Hunters Trace, & Upper Hunters Trace - N of Substation",2.21,405,"2023-09-09",7.4170964072186392E-4,9.8426873944441936E-3,0,0,0,0,0.86194929312064306,0.1049093159733185,0,2.2556993870872361E-2,59.068131558309268,98.497798306710138,0.31656233872245759,0.43702500247200066,"Continue to Monitor"]
["PADDYS RUN","Floyd - 4222 Hwy 111 - New Albany","PR1389","New Albany - Campground Rd & Senn Rd - S of Substation",4.71,6,"2021-11-13",0,0,0,0,0,0,0.24716929025131179,0.75283070974868815,0,0,124.9546030952381,127.91428571428571,0.56190476190476191,0.2857142857142857,"Continue to Monitor"]
["PADDYS RUN","Floyd - 4222 Hwy 111 - New Albany","PR1392","New - Albany - No Road - SE of Substation",0.16999999999999998,1,"2021-11-13",4.8359240069084632E-2,0,0,0,0,0,0,0.95164075993091535,0,0,5.6533332000000005,28.266666000000001,0.2,1,"Continue to Monitor"]
["PLAINVIEW","Jefferson - 9900 Shelbyville Rd - Louisville","PV1251","Louisville - Dorsey Way & Cambridge Station Rd - N & S of Substation",20.37,1424,"2024-02-10",8.8227671737003727E-4,0,2.1038262738994392E-3,1.9013502515157987E-4,6.6098172005472702E-2,0,0.57556570399218709,0.29484190241283231,0,6.0317983573086834E-2,95.183378759330964,263.92123344520331,0.96923331712522687,1.4522462434957006,"Trees Trimmed in 2024"]
["PLAINVIEW","Jefferson - 9900 Shelbyville Rd - Louisville","PV1253","Louisville - Shelbyville Rd, Hurstbourne Pky, & Whittington Pky - NW of Substation",5.33,394,"2020-02-15",0,0,0,0,0,0,0.37515409812968897,0.53345543775609638,0,9.1390464114214601E-2,39.110389787127993,55.954578269870851,0.4450114735244538,1.1545139111996401,"Continue to Monitor"]
["PLAINVIEW","Jefferson - 9900 Shelbyville Rd - Louisville","PV1255","Louisville - Hurstbourne Pky & Vieux Carre Dr - S of Substation",1.1800000000000002,330,"2024-02-10",0,0,0.90109809663250362,0,0,0,9.8901903367496338E-2,0,0,0,69.410158125746889,186.5,0.38469590161433059,1,"Continue to Monitor"]
["PLAINVIEW","Jefferson - 9900 Shelbyville Rd - Louisville","PV1256","Louisville - Hurstbourne Pky, Timberwood Cir, & Vieux Carre Dr - S of Substation",2.1100000000000003,1094,"2023-11-04",2.5445862726772247E-3,0,0.45128157527494334,0,2.173220710051596E-2,0,6.1281319215947351E-2,3.205458537647074E-2,0,0.43110572675944536,165.84172622801103,454.33996955159819,1.1782841404863653,3.1031963470319628,"Continue to Monitor"]
["PLAINVIEW","Jefferson - 9900 Shelbyville Rd - Louisville","PV1257","Louisville - US 60 and Moser Rd - E of Substation",1.3199999999999998,1331,"0/00/00",4.2143703118831428E-2,0,0,0.17272009474930913,0,0,0,0.40130280300039478,0,0.38383339913146469,13.283503968746006,10.881012958017985,0.14513578992293877,0.18178437432653299,"Continue to Monitor"]
["SEVENTH","Louisville - 1231 S 7th St - Louisville","SE0003","Louisville - 7th St, Hill St, 6th St, & Shipp Ave - S of Substation",3.96,406,"2019-12-21",0,0,0,0,0.25722914628440169,0,0.35773533540346253,0.3778808116040665,0,7.1547067080692502E-3,28.304581898156847,84.343982821400488,0.30887303257856191,0.36468468967481549,"Continue to Monitor"]
["SEVENTH","Louisville - 1231 S 7th St - Louisville","SE0004","Louisville - Oak St, Garvin Pl, & 4th St - NE of Substation",1.9100000000000001,556,"2019-12-21",0,4.5868524500836803E-2,0,0.14140038142684777,6.6399408399174867E-2,0,0.74498890748452884,0,0,1.3427781886116842E-3,54.230937175431642,92.108785089373029,0.54220362231976604,0.65065383529171672,"Continue to Monitor"]
["SHIVELY","Jefferson - 3624 Elderwood Way - Louisville","SH1281","Louisville - 7th Street Rd, Arcade Ave, Taylor Blvd, & Clara Ave - NE of Substation",12.67,1688,"2021-12-25",5.8847612072046888E-4,0,1.4159475156078427E-3,6.4208034969619979E-4,9.7678375094304812E-2,0,0.23996506596012079,0.64640497035264799,0,1.3305084606901931E-2,39.807425490452928,51.798476303094574,0.41177065876795299,0.89930854407951122,"Continue to Monitor"]
["SHIVELY","Jefferson - 3624 Elderwood Way - Louisville","SH1457","Louisville - Crums Ln & San Jose Ave - SW of Substation",2.4,48,"2021-08-07",0,0,0,0,0,0,1,0,0,0,1.1272222166666661,4.345138875,8.3333333333333263E-3,2.0833333333333332E-2,"Continue to Monitor"]
["SHIVELY","Jefferson - 3624 Elderwood Way - Louisville","SH1459","Louisville - Manslick Rd, Bluegrass Ave, & Taylor Blvd - SE of Substation",4.46,16,"2021-08-07",0,0,0,0,4.7270450030232357E-2,0,0.13408050444847541,0.81864904552129225,0,0,93.138541650000008,136.807291625,0.82499999999999996,1.25,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1232","Louisville - Tug Rd, Crittenden Dr, Woodlawn Ave, & 1st St - S of Substation",11.33,1470,"2022-01-14",8.6295114016464805E-4,0,0,0,0.21253035602462084,0,8.5519030745498131E-2,1.7336344752798865E-2,0,0.68375131733691752,26.716307139891747,25.881143852917965,0.36922999777562465,0.69509768156033425,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1360","Louisville - Allmond Ave, Strawbery Ln, & Crittenden Dr - S of Substation",7.8500000000000005,104,"2021-08-21",0,0,0,0,0.51743010664508327,0,2.5992733444340252E-3,0.39191265871077469,0,8.8057961299707985E-2,156.79858642606072,246.57859691479905,1.0803289814145807,1.02803738317757,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1380","Louisville - Dakota St & Crittenden Dr - S of Substation",2.2599999999999998,1,"2021-08-21",0,0,0,0,1,0,0,0,0,0,1637.4722216666667,322.999999,1.3333333333333333,2,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1381","Louisville - Dakota St & Crittenden Dr - S of Substation",2.2400000000000002,1,"2021-08-21",0,0,0,0,1,0,0,0,0,0,2187.705555,557.11666600000001,1.3333333333333333,2,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1382","Louisville - Dakota St & Crittenden Dr - S of Substation",2.2400000000000002,1,"2021-08-21",0,0,0,0,0.98932384341637014,0,0,0,0,1.0676156583629894E-2,1996.6611106666667,562.24999900000012,2,3,"Continue to Monitor"]
["SEMINOLE","Jefferson - 4161 Park Blvd. - Louisville","SM1397","Louisville - Crittenden Dr, Strawberry Ln, & Mclean Ave - S of Substation",2.34,5,"2021-08-21",0,0,0,0,0.52522419142334986,0,0,0.40651961409324661,0,6.8256194483403462E-2,238.39833314666672,386.68611099999998,1.6466666666666669,1.5,"Continue to Monitor"]
["SHAWNEE","Jefferson - Rear of 3908 W Broadway - Louisville","SN0002","Louisville - Broadway, 37th St, & Lindell Ave - E of Substation",2.4400000000000004,528,"2023-03-03",0,0,0,0,0.3351892073786289,0,0.17703202912294655,0.21713726329958088,0,0.27064150019884364,24.197442395809862,37.390804583515234,0.72941634367538799,0.16424841636706045,"Continue to Monitor"]
["SHAWNEE","Jefferson - Rear of 3908 W Broadway - Louisville","SN0003","Louisville - 40th St & Garland Ave - S of Substation",1.5599999999999998,272,"2023-03-03",0,0,0,0,0,1.3019507118659079E-2,0.84447445918118813,0.13468990102517547,0,7.8161326749773049E-3,12.493509400406349,18.8987301996337,0.17182476391087659,0.14968851100237962,"Continue to Monitor"]
["SOUTHERN","Jefferson - 1475 S 3rd Street - Louisville","SO0405","Louisville - 3rd St & Ormsby Ave - N of Substation",2.61,672,"2019-12-31",0,0,6.8072615510996071E-3,0,0.33465170544474698,5.1112000254940355E-3,0.62455252656513904,2.0697970037426662E-2,0,8.1793363760936759E-3,23.829865548564047,39.257621268057129,0.25898853595291044,0.48299956548226841,"Continue to Monitor"]
["SOUTHERN","Jefferson - 1475 S 3rd Street - Louisville","SO0409","Louisville - 3rd St - S of Substation",1.97,174,"2019-12-31",0,0,0,0,0,0,0.96100278551532026,0,0,3.8997214484679667E-2,21.505870849958768,24.639151107118085,0.41545285740552995,0.13727497935590421,"Continue to Monitor"]
["SOUTHERN","Jefferson - 1475 S 3rd Street - Louisville","SO0410","Louisville - 4th St & Hill St - W of Substation",1.66,696,"2019-12-31",0,4.2417114843347386E-3,0,0,1.8202360030128044E-3,0,5.3199783289506718E-2,1.0042681395932714E-3,0,0.93973400108355243,133.71095529291006,411.27229375250357,0.88596444771108229,1.0014306151645207,"Continue to Monitor"]
["SOUTH PARK","Jefferson - 1412 Fairdale Rd. - Louisville","SP1114","Louisville - Farmers Ln, South Park Rd, & Minor Ln - NE & S of Substation",9.15,531,"2019-10-12",1.6730957829355998E-2,0,8.7983000980712656E-2,0,8.0287675711016679E-2,0,0.52317750898986592,0.22551814318404706,0,6.6302713305001634E-2,278.02398812064428,272.32259389316198,1.7896044636053978,3.3934348272374053,"Continue to Monitor"]
["SOUTH PARK","Jefferson - 1412 Fairdale Rd. - Louisville","SP1115","Louisville - National Tpke, Glengarry Dr, & Grange Rd - NW & S of Substation",22.55,1518,"2019-10-05",0,1.4363496365043806E-3,0,0,4.8484162782067214E-2,0,0.90558023511325003,4.2091419013161067E-2,0,2.4078334550173357E-3,68.308343946556761,185.03715039024294,0.453783057214937,0.72841516559653163,"Continue to Monitor"]
["SHEPHERDSVILLE","Bullitt - 1706 4th St. - Shepardsville","SV1121","Shepherdsville - Hwy 44, Blue Lick Rd, & Buckman St - E of Substation",9.9600000000000009,959,"2021-05-15",0.28066138144495967,0,0,1.6361941801194352E-2,4.1491675200497069E-2,0,0.44874523927326282,0,0,0.21273976228008606,39.818779493064611,69.788417265058101,0.22991584260023443,0.30832682969129377,"Continue to Monitor"]
["STEWART","Jefferson - 4701 Stewart Ln. - Louisville","SW1187","Louisville - San Jose Ave, Dixie Hwy, Sadie Ln, & Estate Dr - NE of Substation",14.27,1528,"2022-05-13",1.7606950326646317E-3,0,0,0.12674285015057682,0.42194138721014818,0,0.35521512430235008,5.6372832271704476E-2,0,3.7967111032555866E-2,52.528768418319075,76.848678251450238,0.57583166483855774,0.99061466037160084,"Continue to Monitor"]
["STEWART","Jefferson - 4701 Stewart Ln. - Louisville","SW1188","Louisville - Rockford Ln, Imperial Ter, & Dover Rd - W of Substation",14.040000000000001,1899,"2022-07-08",1.9920794907785973E-2,1.8409280726226448E-3,5.6736441193061321E-3,8.5122881584451661E-4,7.1280939033651236E-2,0,4.8806457678331708E-2,0.82376794103199835,0,2.785806634045946E-2,57.536675365386088,64.698303806878982,0.85493395591265897,0.87882903532154255,"Reliability Improvements Scheduled for 2024"]
["STEWART","Jefferson - 4701 Stewart Ln. - Louisville","SW1451","Louisville - Gagel Ave, Hazelwood Ave, Manslick Rd, & Brick Kiln Ln - E & SW of Substation",8.3500000000000014,2,"2022-01-07",0,0,0,0,0,0.17694369973190349,5.8981233243967826E-2,0.76407506702412864,0,0,365.11573308569507,526.48333300000002,3.0090418353576247,6,"Continue to Monitor"]
["SMYRNA","Jefferson - 7000 Manslick Rd. - Louisville","SY1251","Louisville - Smyrna Pky, Michael Ray Dr, & Lantana Dr - NW & SW of Substation",21.759999999999998,1556,"2022-11-18",5.4741703244638555E-3,0,7.4934922069859388E-3,0,7.2713014496857747E-3,0,0.75370154553276769,0.20168167906505616,0,2.4377811421040594E-2,32.567978614784828,49.299114036812476,0.3153005882416765,0.47190147540849392,"Continue to Monitor"]
["SMYRNA","Jefferson - 7000 Manslick Rd. - Louisville","SY1252","Louisville - Cooper Chapel Rd, McNeely Lake Dr, & Beulah Church Rd - SW & SE of Substation",37.059999999999995,2405,"2022-10-29",9.5257718196763413E-3,0,5.972288927614291E-3,0,2.0731794022777694E-2,0,0.66213763253011171,0.29206176008404156,0,9.5707526157783919E-3,38.072312192309759,34.260488144676835,0.92838115447760039,1.1604832924151729,"Continue to Monitor"]
["SMYRNA","Jefferson - 7000 Manslick Rd. - Louisville","SY1254","Louisville - Vaughn Mill Rd, Outer Loop & Smyrna Rd - NW of Substation",17.080000000000002,1211,"2022-04-15",2.5282123753187663E-3,0,4.8676192933150994E-2,0,7.4510350054906554E-2,0,0.79246924206138125,6.1574779061086667E-2,0,2.0241223514155842E-2,65.766036726611063,163.72257967059997,0.52369304215213952,0.71435843115925279,"Continue to Monitor"]
["SMYRNA","Jefferson - 7000 Manslick Rd. - Louisville","SY1255","Louisville - Manslick Rd, Beulah Church Rd, & Fegenbush Ln - NE of Substation",33.25,2964,"2022-05-06",1.0636659125195028E-2,1.489648620203284E-3,0,0,0.83825737789141141,0,1.9664050243584655E-2,0.10944915702755291,0,2.0503107092052712E-2,42.114196817974815,73.693092442205199,0.45783348221782588,0.29699813570167632,"Continue to Monitor"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1105","Louisville - Brownsboro Rd & Springcrest Dr - NE of Substation",25.16,1478,"2023-04-15",3.8752392166340219E-3,0,2.2256631323960444E-4,0,0.3641797503997482,0,0.52965330800423782,7.6333501007449789E-2,0,2.5735635058690625E-2,108.14121703161736,139.9605489655122,0.67536244201885998,0.39339575698742735,"Continue to Monitor"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1106","Louisville - Blankenbaker Ln, Riviera Dr, & Woodside Rd - NW of Substation",40.92,1221,"2020-04-18",4.9867251849735196E-4,0,0,0,3.1081377251655537E-2,0,0.56432043211811667,0.39473744441084513,0,9.362073700885265E-3,173.73153785771007,276.53503792927586,1.6758950090350759,1.5253422580091121,"Tree Trim Scheduled for 2024"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1132","Louisville - Brownsboro Rd, Country Ln, & Country Club Rd - W of Substation",9.64,536,"2020-07-25",2.2926684594800841E-3,0,2.7991882354117305E-5,0,9.3978079690223162E-2,0,0.60660208539523541,0.26015122281205116,0,3.694795176065608E-2,242.89994009012077,567.20171772862261,1.4853065901900504,2.1981702998863502,"Tree Trim Scheduled for 2024"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1133","Louisville - US 42 & Lime Kiln Ln - N of Substation",32.28,1168,"2020-04-04",1.5646121779401517E-3,0,0,0,0.46964691174850115,0,0.4671739903061945,5.3118825941405712E-2,0,8.4956598259584779E-3,170.53719631224175,228.79228841646363,1.3992270802133768,3.0682284917902565,"Continue to Monitor"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1134","Louisville - Brownsboro Rd, Winding Bluff Trce, I264, & Blankenbaker Ln - NE of Substation",19.769999999999996,1123,"2022-09-16",3.1489968070227904E-4,0,6.5530799475753605E-4,0,0.17397151829144933,0,0.49840204538191113,0.26303593785275947,0,6.3620290798420229E-2,232.2043846545329,325.02124112356762,1.6069322211059938,1.1436013353311134,"Tree Trim Scheduled for 2024"]
["TAYLOR","Jefferson - 4488 Brownsboro Rd. - Louisville","TA1138","Louisville - Brownsboro Rd, Chenoweth Ln, Canoe Ln, & Wampum Rd - W of Substation",11.86,571,"2022-09-09",6.1736249645521334E-3,0,0,7.2210239762533478E-5,0.13391038428817353,0,0.82316413352444506,2.7343143409886705E-2,0,9.336503573179996E-3,179.06943366052889,180.07848139838191,1.2211329089077032,1.2146573828820459,"Continue to Monitor"]
["TERRY","Jefferson - 8408 Terry Ln. - Louisville","TE1244","Louisville - Terry Rd, Johnsontown Rd, & Dixie Hwy - S of Substation",18.54,1227,"2020-09-19",1.4833692109183696E-3,0,0,1.0135819987837015E-3,0.39724370050743457,0,0.51422393404959787,7.7199553380376415E-2,0,8.8358608528890312E-3,42.249852327591483,100.41406275728477,0.38409223937122511,0.72858317266507833,"Continue to Monitor"]
["TERRY","Jefferson - 8408 Terry Ln. - Louisville","TE1245","Louisville - Pages Ln, Poinsettia Dr, Greenwood Rd, & Feyhurst Dr - NE of Substation",23.01,1516,"2020-09-12",5.5972351287596816E-3,0,0,0,0.18256761317070819,0,0.75206592336093436,5.782590554021548E-2,0,1.9433227993822593E-3,44.967590700137315,63.745031037634462,0.85065774961458673,0.30471210914198699,"Continue to Monitor"]
["TERRY","Jefferson - 8408 Terry Ln. - Louisville","TE1247","Louisville - Cane Run Rd - W of Substation",7.73,419,"2020-09-19",0,0,0,0,3.8519916464594378E-2,0,3.8988065848136731E-3,0.49088388798063032,0,0.46669738896996166,61.092974818526045,176.75375253857456,0.83537699215752759,1.0109289617486337,"Continue to Monitor"]
["Tip Top","Meade - US 60 - Tip Top","TT3311","Tip Top - Hwy 1638, Railroad Trestle Rd, & Katherine Station Rd - NE of Substation",8.66,1239,"2020-02-15",0,0,0.22318857274507545,0,0.20317359751180739,0,0,0.57363782974311717,0,0,7.5405254560129151,28.025827280064572,0.66522782889426957,2.7885391444713479,"Continue to Monitor"]
["Tip Top","Meade - US 60 - Tip Top","TT3313","Tip Top - US 60, Baker Rd, & Eisenhower Ave - E of Substation",6.9,2,"2020-02-15",0,0,0,0,0,0,0,0,0,1,176.49333309999997,295.33333299999998,1.5,1,"Continue to Monitor"]
["Tip Top","Meade - US 60 - Tip Top","TT3316","Tip Top - Chaffee Ave, Bullion Blvd, & Black Horse Regiment Ave - SE of Substation",4.49,2,"2020-02-15",0,0,0.45109489051094892,0,0,0,0,0,0,0.54890510948905114,61.253333300000008,154.17500000000001,0.4,1,"Continue to Monitor"]
["VERMONT","Jefferson - Rear 529 Southwestern Pkwy - Louisville","VE0003","Louisville - Southwestern Pky & Broadway - SW of Substation",1.76,259,"2023-02-03",0,0,0,0,0.19583239250346762,0,0.7656527208799716,0,0,3.8514886616560759E-2,95.123309333831401,95.881538461538469,0.70271749929110539,1.0423076923076924,"Continue to Monitor"]
["WESTERN","Jefferson - 2807 W Broadway - Louisville","WE0001","Louisville - 28th St, Chestnut St, 26th St, & Muhammad Ali Blvd - NE of Substation",5.1100000000000003,867,"2022-11-04",1.3845226772762583E-2,0,0,0,0.19143004421469903,0,0.17086185992144451,0.4929467027741275,0,0.1309161663169664,42.261613821150135,67.165825713454382,0.35373277961030669,0.43853630776040858,"Continue to Monitor"]
["WESTERN","Jefferson - 2807 W Broadway - Louisville","WE0002","Louisville - Broadway, Louis Coleman Jr Dr, & 35th St - W of Substation",2.86,424,"2022-11-04",0,0,0,0,9.16827606697935E-4,0,0.18244020458838262,0.29628812156454931,0,0.52035484624037009,140.09733232904063,57.223694921463135,0.69275477551292508,0.89248067119856889,"Continue to Monitor"]
["WESTERN","Jefferson - 2807 W Broadway - Louisville","WE0003","Louisville - 28th St, Garland Ave, 26th St, & Dr W J Hodge St - SE of Substation",4,572,"2022-11-04",0,5.1860090224060582E-4,0,0,0.87703535233620333,4.4662159629106635E-2,8.5475425815078158E-3,2.0419129500268671E-2,0,4.8817215050672928E-2,102.8934035339466,242.54252443519778,0.62373191190644306,0.74397282110777863,"Continue to Monitor"]
["WESTERN","Jefferson - 2807 W Broadway - Louisville","WE0004","Louisville - Broadway, 24th, 234d, 22nd, & Dr W J Hodge St - E of Substation",3.57,412,"2022-11-04",0,0,0,0,0.88844405972733176,0,0.10185836399047826,6.0931075524778191E-3,0,3.6044687297121835E-3,55.860623553267864,110.47484354903965,0.36233831290936797,0.3104840856148976,"Continue to Monitor"]
["WESTERN","Jefferson - 2807 W Broadway - Louisville","WE0005","Louisville - 28th St, Magazine St, & 30th St - NW of Substation",0.55000000000000004,3,"2022-11-04",0,0.24300585556278465,0,0,0,0,0.75699414443721535,0,0,0,207.2207405333333,1024.4499989999999,0.68888888888888888,3.333333333333333,"Continue to Monitor"]
["WHAS","Jefferson - 1310 Flat Road Rd. - Louisville","WH1115","Louisville - Flat Rock Rd, Polo Fields Ln, & Glen Lakes Dr - SW of Substation",28.549999999999997,1106,"2020-10-17",1.5221987862203641E-4,0,1.6750171914639751E-2,3.9071494328474968E-2,0.92345944504935173,0,1.9087337489911996E-2,2.4216063580997718E-4,0,1.2371707031895161E-3,78.890812888335304,109.57945050052389,0.79944885078680428,1.1521466524954722,"Continue to Monitor"]
["WORTHINGTON","Jefferson - 10300 Ballardsville Rd. - Louisville","WO1178","Louisville - Chamberlain Rd, Sweet Water Dr, & Shenandoa Dr - E of Substation",11.780000000000001,712,"2021-08-28",2.2124956814006218E-3,0,0.29650645330307074,0,2.5739996293440533E-2,0,0.6444288352022477,0,0,3.1112219519840389E-2,50.74864601147236,36.238248435678884,0.50965393660302005,0.77856461856060011,"Continue to Monitor"]
["WORTHINGTON","Jefferson - 10300 Ballardsville Rd. - Louisville","WO1179","Louisville - Chamberlain Ln - NW of Substation",27.13,1228,"2021-10-02",4.0816504393221262E-4,0,0,0,1.3247207119792808E-3,0,0.58462016683927742,0.25440157339635444,0,0.1592453740084567,66.212124554264477,96.461082601665495,0.75603456342112207,1.8771172916881065,"Continue to Monitor"]
["WORTHINGTON","Jefferson - 10300 Ballardsville Rd. - Louisville","WO1181","Louisville - Chamberlain Ln - S of Substation",8,987,"2021-08-28",0,0,0,0,0.20824557532478821,0,2.2914033926410313E-2,0.76884039074880151,0,0,30.945242428579199,35.030387358894842,0.48638976870025319,0.26951895945465498,"Continue to Monitor"]
["WEST POINT","Hardin - Crop St and I-C Railroad - West Point","WP1104","West Point - Main St, Dixie Hwy, 16th St, & Private Rd - W, SW & NE of Substation",24.349999999999998,691,"2019-02-09",4.6984156326301113E-4,0,0,0,3.9281835617071426E-3,0,0.8092212183530898,0.14791151573969236,0,3.8469240782247692E-2,101.5678435629053,155.05040646212723,1.2207159079630778,1.6665672731421914,"Continue to Monitor"]
["WATERSIDE","Jefferson - 221 North Third St. - Louisville","WS1305","Louisville - Main St, 1st St, Floyd St, & Bingham Way - E of Substation",3.5100000000000002,48,"2023-03-24",0,0,0,0,0,0,0,0.58070419442207744,0,0.41929580557792256,74.319251700680269,278.80102040816325,0.43809523809523815,1,"Trees Trimmed in 2023"]
["WATERSIDE","Jefferson - 221 North Third St. - Louisville","WS1306","Louisville - Main St, 2nd St, & 3rd St - W of Substation",2.25,37,"2023-03-24",0,0,0,0,0.25025553662691652,0,0.16235093696763203,0.58211243611584329,0,5.2810902896081773E-3,35.162280700000004,154.42324560526316,0.35353383458646603,1.3684210526315788,"Trees Trimmed in 2023"]
["WATERSIDE","Jefferson - 221 North Third St. - Louisville","WS1308","Louisville - 3rd St & 1st St - S of Substation",3.87,2,"2023-03-24",0,0,0,0,0,0,0,0,0,1,54.0616664,50.841666000000004,0.8,1,"Continue to Monitor"]
["WATERSIDE WEST","Jefferson - 150 North 3rd Street - Louisville","WS1310","Louisville - N 3rd St, E Main St, S 1st St, & E Muhammad Ali Blvd - SE of Substation",0.89,1,"2023-03-24",0,0,0,0,0,0,1,0,0,0,13.406666599999999,67.033332999999999,0.2,1,"Continue to Monitor"]
["WATTERSON","Jefferson - 5239 Bardstown Rd. - Louisville","WT1151","Louisville - Hurstbourne Pky, Watterson Trl, Ferndale Rd, & Johnson School Rd - S of Substation",27.68,2674,"2021-10-23",3.7511654202455814E-2,1.4630506467605513E-2,6.7903372737635099E-4,1.9867458720090091E-3,2.4434532756129231E-2,0,0.61614910054734695,2.2681252412858607E-2,0,0.28192717401421852,96.566549146768551,121.10389838179938,0.95053045999966412,1.3760395058666473,"Continue to Monitor"]
["WATTERSON","Jefferson - 5239 Bardstown Rd. - Louisville","WT1152","Louisville - Bardstown Rd, Seatonville Rd, & Fern Creek Rd - SE of Substation",29.01,2622,"2021-11-13",4.7768359607537857E-3,0,2.7171568426608568E-2,0,0.39472041530997615,6.2771287889925503E-2,8.9704255529392485E-2,9.0304372660687984E-2,0,0.33055126422265552,55.639045974933609,148.85799204077682,0.66787903058734743,1.9439200657394742,"Continue to Monitor"]
["WATTERSON","Jefferson - 5239 Bardstown Rd. - Louisville","WT1209","Louisville - Laverne Dr, Watterson Trl, & Dell Rd - NE of Substation",25.830000000000002,1552,"2021-11-13",4.8811319897052488E-4,0,5.2299002344242101E-3,0,0.41835792659037241,0,0.4869800403910966,8.5674418755668502E-2,0,3.2696008294677511E-3,28.827101597920802,55.180434040577474,0.36741609724451452,1.0573527746602809,"Continue to Monitor"]
["WATTERSON","Jefferson - 5239 Bardstown Rd. - Louisville","WT1212","Louisville - Stony Brook Dr, Guttenberg Rd, & Billtown Rd - NE of Substation",24.82,1436,"2021-09-25",0,6.5858830657376549E-2,0,0,0.23188932646672725,0,0,2.2518428758961932E-2,0,0.67973341411693422,28.292063175451496,33.685574854513575,0.44058018970873192,0.46211696015244763,"Continue to Monitor"]

{"sheet":"LGE Section 6-7","index":2,"n_rows":30,"n_cols":1,"rows_kept":30,"cut":false,"hidden":false,"merged":[[29,0,32,8],[20,0,21,8],[28,0,28,8],[16,0,16,3],[17,0,17,3],[18,0,18,3],[19,0,19,3],[25,0,26,8],[15,0,15,3],[0,0,0,8],[2,0,2,8],[4,0,4,8],[5,0,10,8],[11,0,14,8]]}
["KENTUCKY PUBLIC SERVICE COMMISSION"]
[]
["ELECTRIC DISTRIBUTION UTILITY ANNUAL RELIABILITY REPORT"]
[]
["SECTION 6: VEGETATION MANAGEMENT PLAN REVIEW"]
["The Companies’ Vegetation Management Plan was submitted December 19, 2007.  The Distribution Vegetation Management Program encompasses right of way maintenance for Louisville Gas and Electric Company and Kentucky Utilities Company (referred to as the “Companies”).  The program is centralized and managed by a Forestry Manager and eight company Utility Arborists.  All are certified arborists by the International Society of Arboriculture."]
[]
[]
[]
[]
[]
["The Companies’ plan is to maintain a proactive trim cycle while balancing the reactive needs of worst performing circuits. The Companies’ goal is to maintain an average trim cycle of five years or less.   The effectiveness of the plan is evaluated by the cycle and system performance as measured by system SAIDI, SAIFI, and CAIDI.  "]
[]
[]
[]
["Effectiveness of the program"]
["KU/LG&E Tree Cycle – 4.91 years"]
["LGE Tree SAIDI – 20.80 minutes"]
["LGE Tree SAIFI – 0.118"]
["LGE Tree CAIDI – 176.2 minutes"]
["The hazard tree program, mid cycle, herbicide, and worst performing circuits were completed as planned.  "]
[]
["Adjustments made to the tree plan in 2023 included"]
["No changes made to plan."]
["Changes to be implemented in 2024"]
["The routine trimming cycle plan is a proactive plan to trim work areas based on clearance thresholds and risk mitigation. Danger trees are prioritized and mitigated based on reliability disruption potential."]
[]
[]
["SECTION 7: UTILITY COMMENTS"]
["SAIDI and SAIFI improved in 2023 compared to the previous 5 year average excluding major events.  238 Circuits were above their previous 5 year average SAIDI and/or SAIFI in 2023.  "]