## Comparison
Ratemaking Impact of Owenton WTP Improvements vs. Proposed KRS II Scenario
AG DR1 21A & AG DR1 21B
| Ratemaking Impact: Owenton WTP Option | [5 empty] | Ratemaking Impact: Proposed KRS II Scenario
| Investment in Owenton WTP | [5 empty] | Investment in Pipeline to KRS II, Shift in Production Cost from Owenton WTP to KRS II
| O&M & Depreciation & Tax - Incremental Due to Capital Investments | [5 empty] | O&M & Depreciation & Tax - Incremental KRS II Costs for Additional Production & for Capital Investments
Line # | Item | 2014 | 2015 | 2016 | 2017 | 2018 | Item | 2014 | 2015 | 2016 | 2017 | 2018
1 | O&M* | [5 empty] | O&M*
2 | Labor | [5 empty] | Labor | 0 | 0 | 0 | 0 | 0
3 | Chemical | [5 empty] | Chemical | 40292 | 40292 | 40292 | 43113 | 46113
4 | Fuel & Power | [5 empty] | Fuel & Power KRS II | 93612 | 102973 | 113270 | 124597 | 137057
5 | Sludge Disposal | [5 empty] | Fuel & Power New Booster Station | 16662 | 18328 | 20161 | 22177 | 24395
6
7 | Depreciation (for New Investments) | 329090 | 329090 | 329090 | 329090 | 329090 | Depreciation (for New Investments) | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279
8 | General Tax | [5 empty] | General Tax (for New Investments) | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612
9 | Income Tax (Effect of Above Items) | -128016.01 | -128016.01 | -128016.01 | -128016.01 | -128016.01 | Income Tax (Effect of Above Items) | -196193.7795 | -200483.2825 | -205201.8525 | -211489.6485 | -218366.3905
10 | Income Tax (Interest Effect) | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901 | Income Tax (Interest Effect) | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196
11 | Total O&M, Depreciation, Tax (Sum Lines 1-9) | 52003.8999 | 52003.8999 | 52003.8999 | 52003.8999 | 52003.8999 | Total O&M, Depreciation, Tax (Sum Lines 1-9) | 123720.5899 | 130458.0869 | 137869.5169 | 147745.7209 | 158546.9789
12
13 | [6 empty] | O&M & Depreciation & Tax - Savings from Elimination of Owenton WTP Production Costs
14 | Capital Investments to Improve Owenton WTP | [5 empty] | Item | 2014 | 2015 | 2016 | 2017 | 2018
15 | Item | 2014 | 2015 | 2016 | 2017 | 2018 | O&M:
16 | Additional UPIS | 11400000 | 11400000 | 11400000 | 11400000 | 11400000 | Labor | -362653 | -373532 | -384738 | -396280 | -408169
17 | Accumulated Depreciation |  | -329090 | -658180 | -987270 | -1316360 | Chemical | -222307 | -222307 | -222307 | -237868 | -254519
18 | Net Rate Base | 11400000 | 11070910 | 10741820 | 10412730 | 10083640 | Fuel & Power | -141320 | -150126 | -153529 | -168882 | -185770
19 | [6 empty] | Sludge Disposal | -32083 | -33687 | -35371 | -37140 | -38997
20 | Rate of Return ** | 7.74% | 7.74% | 7.74% | 7.74% | 7.74%
21 | Return on Rate Base (Line 17 x Line 19) | 882360 | 856888.434 | 831416.868 | 805945.302 | 780473.736 | Depreciation (for New Investments)
22 | [6 empty] | General Tax (for New Investments) | 0 | 0 | 0 | 0 | 0
23 | Total Impact Pre-Gross Up (Line 10 + Line 20) | 934363.8999 | 908892.3339 | 883420.7679 | 857949.2019 | 832477.6359 | Income Tax (Effect of Above Items) | 295003.207 | 303284.628 | 309622.605 | 326826.13 | 345219.995
24 | [6 empty] | Total O&M, Depreciation, Tax (Sum Lines 15-22) | -463359.793 | -476367.372 | -486322.395 | -513343.87 | -542235.005
25 | Gross Up** | 1.6516 | 1.6516 | 1.6516 | 1.6516 | 1.6516
26 | [6 empty] | Net O&M, Depreciation & Tax (Line 10 + Line 23) | -339639.2031 | -345909.2851 | -348452.8781 | -365598.1491 | -383688.0261
27 | Ratemaking Impact (Line 22 x Line 24) | 1543168.8812 | 1501100.7661 | 1459032.6511 | 1416964.5361 | 1374896.4211
28 | [6 empty] | Capital Investments to Build Pipeline and Booster
29 | [6 empty] | Item | 2014 | 2015 | 2016 | 2017 | 2018
30 | [6 empty] | Additional UPIS | 14104868 | 14104868 | 14104868 | 14104868 | 14104868
31 | [6 empty] | Accumulated Depreciation |  | -249912.9279 | -499825.8558 | -749738.7837 | -999651.7116
32 | [6 empty] | Net Rate Base | 14104868 | 13854955.0721 | 13605042.1442 | 13355129.2163 | 13105216.2884
33
34 | [6 empty] | Rate of Return ** | 7.74% | 7.74% | 7.74% | 7.74% | 7.74%
35 | [6 empty] | Return on Rate Base (Line 31 x Line 33) | 1091716.7832 | 1072373.5226 | 1053030.262 | 1033687.0013 | 1014343.7407
36
37 | [6 empty] | Total Impact Pre-Gross Up | 752077.5801 | 726464.2375 | 704577.3839 | 668088.8523 | 630655.7146
38
39 | [6 empty] | Gross Up** | 1.6516 | 1.6516 | 1.6516 | 1.6516 | 1.6516
40
41 | [6 empty] | Ratemaking Impact | 1242109.9723 | 1199807.7031 | 1163659.9972 | 1103396.5747 | 1041573.0677
42
43
[7 empty] | More Expensive or (Less Expensive) Than Owenton WTP | -301058.9088 | -301293.0631 | -295372.6539 | -313567.9615 | -333323.3534
* O&M Costs and Capital Investments are Per the Company's original filing in this Case, No. 2012-00096.
** Per Final Order for Cause 2010-0036, p. 72

## Owenton Project
Owenton WTP Option
O&M Costs as Filed in Case No. 2012-00096
Depreciation & Income Tax as Calculated
Line # | Continued O&M | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | Labor | 362653 | 373532 | 384738 | 396280 | 408169 | 420414 | 433026
2 | Chemical | 222307 | 222307 | 222307 | 237868 | 254519 | 272336 | 291399
3 | Fuel & Power | 141320 | 150126 | 153529 | 168882 | 185770 | 204347 | 224782
4 | Sludge Disposal | 32083 | 33687 | 35371 | 37140 | 38997 | 40947 | 42994
5 | Total | 758363 | 779652 | 795945 | 840170 | 887455 | 938044 | 992201
6
7 | Incremental Depreciation | 329090 | 329090 | 329090 | 329090 | 329090 | 329090 | 329090
8 | Incremental Amortization | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | General Tax | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | Income Tax (Depreciation Only) | -128016.01 | -128016.01 | -128016.01 | -128016.01 | -128016.01 | -128016.01 | -128016.01
11 | Income Tax (Interest Only) | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901 | -149070.0901
12 | Total Non-Rate Base Cost | 810366.8999 | 831655.8999 | 847948.8999 | 892173.8999 | 939458.8999 | 990047.8999 | 1044204.8999
13
14 | Incremental Capital 2 | Capital Investment |  | Depreciation Rate | Subsidiary | Description |  | Annual Depreciaiton & COR Expense
15 | Chemical Bulk Storage Improvements | 2100000 |  | 2.59% | 320100 | WT Equip Non-Media |  | 54390 | 0
16 | Pretreatment Reliability Improvements | 1200000 |  | 2.59% | 320100 | WT Equip Non-Media |  | 31080
17 | Residuals Handling Improvements | 1800000 |  | 2.59% | 320100 | WT Equip Non-Media |  | 46620
18 | Filter Reliability Improvements | 1700000 |  | 2.59% | 320100 | WT Equip Non-Media |  | 44030
19 | Emergency Power Reliability Improvements | 600000 |  | 2.93% | 310000 | Power Generation Equip |  | 17580
20 | SCADA Improvements | 300000 |  | 20% | 340330 | Comp Software Other |  | 60000
21 | Raw Water Intake Improvements | 1400000 |  | 2.05% | 306000 | Lake, River & Other Intak |  | 28700
22 | New Storage Tank | 2300000 |  | 2.03% | 330100 | Elevated Tanks & Standpip |  | 46690
23 |  | 2014: 11400000; 2020: 329090
24
25 | 2- See Page 5 of Feasability Report in Case No. 2012-0096
26
27 | Interest (Total Investment x Weighted Cost of Debt, Case 2010-00036) | 2014: 383213.5992
28 | Interest Tax Effect (Interest x .389) | 2014: -149070.0901

## Northern Connection Project
KRS II Option
O&M Costs as Filed in Case No. 2012-00096
Depreciation & Income Tax as Calculated
Line # | Incremental O&M | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020
1 | Labor | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Chemical | 40292 | 40292 | 40292 | 43113 | 46113 | 49360 | 52815
3 | Fuel & Power KRS II | 93612 | 102973 | 113270 | 124597 | 137057 | 150762 | 165839
4 | Fuel & Power New Booster Station | 16662 | 18328 | 20161 | 22177 | 24395 | 26835 | 29518
5 | Total | 150566 | 161593 | 173723 | 189887 | 207565 | 226957 | 248172
6
7 | Incremental Depreciation | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279 | 249912.9279
8 | Incremental Amortization | 0 | 0 | 0 | 0 | 0 | 0 | 0
9 | General Tax | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612 | 103875.2612
10 | Income Tax (Expense Effect) | -196193.7795 | -200483.2825 | -205201.8525 | -211489.6485 | -218366.3905 | -225909.8785 | -234162.5135
11 | Income Tax (Interest Effect) | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196 | -184439.8196
12 | Total Non-Rate Base Cost | 123720.5899 | 130458.0869 | 137869.5169 | 147745.7209 | 158546.9789 | 170395.4909 | 183357.8559
13
14 | Incremental Capital1 | Amount |  | Depreciation Rate | Subsidiary | Description |  | Annual Depreciaiton & COR Expense | 0
15 | Phase 1 - US 127 Material Cost | 1472260 |  | 1.66% | 331300 | TD Mains 10in to 16in |  | 24439.516
16 | Phase 1 - US 127 Construction Contractor Costs | 2792219 |  | 1.66% | 331300 | TD Mains 10in to 16in |  | 46350.8354
17 | Phase 2 Materials Costs | 1685357 |  | 1.66% | 331300 | TD Mains 10in to 16in |  | 27976.9262
18 | Phase 2 Construction Contractor Costs | 2352760 |  | 1.66% | 331300 | TD Mains 10in to 16in |  | 39055.816
19 | Phase 3 Constructions Costs (Includes Materials) - 83% for Tanks | 3041203 |  | 2.03% | 330100 | Elevated Tanks & Standpip |  | 61736.4209
20 | Phase 3 Constructions Costs (Includes Materials) - 17% for Pumping Equipment and Controls | 622897 |  | 2.43% | 311540 | Pumping Equipment TD |  | 15136.3971
21 | Design, Easement Development & Acquisition | 2014: 512960; 2016: 1.794%; 2018: Weighted Average, Depreciation Lines 14 - 19; 2020: 9203.0762
22 | BPS and Tank Site Purchase | 81250 |  | 0% | 303500 | Land & Ld Rights TD |  | 0
23 | Easement Purchase | 94000 |  | 0% | 303501 | Land & Ld Rights TD |  | 0
24 | Construction Administration & Inspection | 2014: 257000; 2016: 1.794%; 2018: Weighted Average, Depreciation Lines 14 - 19; 2020: 4610.8675
25 | 9.2% Misc. | 2014: 1192962; 2016: 1.794%; 2018: Weighted Average, Depreciation Lines 14 - 19; 2020: 21403.0727
26 |  | 2014: 14104868; 2020: 249912.9279
27
28 | 1 - See Appendix C of Application
29
30 | Interest (Total Investment x Weighted Cost of Debt, Case 2010-00036) | 2014: 474138.3537
31 | Interest Tax Effect (Interest x .389) | 2014: -184439.8196

## Cap Strux Per Cause 2010-00036
Kentucky American Water
Authorized Capital Structure Per Case 2010-00036
Page 60 for Weight, Page 71-72 for Costs
| Weight | Cost | Weighted Cost
Short Term Debt | 2.577% | 1.9% | 0.04896%
Long Term Debt | 51.92% | 6.38% | 3.313%
Preferred Stock | 1.647% | 7.74% | 0.1275%
Common Equity | 43.85% | 9.7% | 4.254%
|  | Cost Short Term and Long Term Debt | 3.362%

## Est Prop Tax Rate
Kentucky American
High Level Estimate of Property Tax Rate
| 9 | 10 | 11
Property Taxes Accrued | 2789816.96 | 4077368 | 4417195.22
| 9 | 10 | 11 | 12
Beginning Balance Utility Plant in Service | 369485720.92 | 384865342.75 | 563384358.37 | 580644329.25
High Level Estimate - Property Tax Accrued Compared to Final UPIS | 0.7249% | 0.7237% | 0.7607%
Three Year Average | 0.7364%
Kentucky American
Tax Rate
State Tax at 6% | 6%
Federal Tax at 35% of Remainder | 32.9%
Sum | 38.9%

## Pasted Pivot- Avg Dep Rate
Average Total Depreciaiton Rate (Depreciation + Cost of Removal Rate) By Subsidiary Type
Average of Sum Rate
First 3 | Parse subsidiary | Description | Total
304 | 304100 | Struct & Imp SS | 3.07%
| 304200 | Struct & Imp P | 2.85%
| 304300 | Struct & Imp WT | 2.95%
| 304400 | Struct & Imp TD | 2.63%
| 304500 | Struct & Imp AG | 2.96%
| 304600 | Struct & Imp Offices | 2.01%
| 304610 | Gen Structures - HVAC | 2.01%
| 304700 | Struct & Imp Store,Shop,G | 2.03%
| 304800 | Struct & Imp Misc | 4.98%
304 Total |  |  | 2.931%
305 | 305000 | Collect & Impounding | 1.33%
305 Total |  |  | 1.33%
306 | 306000 | Lake, River & Other Intak | 2.05%
306 Total |  |  | 2.05%
307 | 307000 | Wells & Springs | 2.05%
307 Total |  |  | 2.05%
309 | 309000 | Supply Mains | 2.2%
309 Total |  |  | 2.2%
310 | 310000 | Power Generation Equip | 2.93%
310 Total |  |  | 2.93%
311 | 311200 | Pump Equip Electric | 2.25%
| 311300 | Pump Equip Diesel | 2.26%
| 311400 | Pump Equip Hydraulic | 2.28%
| 311500 | Pump Equip Other | 2.43%
| 311520 | Pumping Equipment SS | 2.43%
| 311530 | Pumping Equipment WT | 2.43%
| 311540 | Pumping Equipment TD | 2.43%
311 Total |  |  | 2.374%
320 | 320100 | WT Equip Non-Media | 2.59%
| 320200 | WT Equip Filter Media | 24.28%
320 Total |  |  | 9.82%
330 | 330000 | Dist Reservoirs & Standpi | 1.66%
| 330100 | Elevated Tanks & Standpip | 2.03%
| 330200 | Ground Level Facilities | 1.38%
| 330400 | Clearwell | 1.68%
330 Total |  |  | 1.756%
331 | 331001 | TD Mains Not Classified b | 1.66%
| 331100 | TD Mains 4in & Less | 1.66%
| 331200 | TD Mains 6in to 8in | 1.66%
| 331300 | TD Mains 10in to 16in | 1.66%
| 331400 | TD Mains 18in & Grtr | 1.66%
331 Total |  |  | 1.66%
333 | 333000 | Services | 3%
333 Total |  |  | 3%
334 | 334100 | Meters | 2.68%
| 334110 | Meters Bronze Case | 2.74%
| 334120 | Meters Plastic Case | 3.25%
| 334130 | Meters Other | 2.9%
| 334131 | Meters Other-Rem Rdr Unts | 2.9%
| 334200 | Meter Installations | 2.78%
| 334300 | Meter Vaults | 2.73%
334 Total |  |  | 2.825%
335 | 335000 | Hydrants | 1.49%
335 Total |  |  | 1.49%
339 | 339100 | Other P/E Intangible | 19.4%
| 339600 | Other P/E CPS | 10.72%
339 Total |  |  | 15.06%
340 | 340100 | Office Furniture & Equip | 5%
| 340210 | Comp & Periph Mainframe | 20%
| 340220 | Comp & Periph Personal | 20%
| 340230 | Comp & Periph Other | 20%
| 340240 | Comp & Periph Capital Lea | 0%
| 340300 | Computer Software | 20%
| 340320 | Comp Software Personal | 20%
| 340325 | Comp Software Customized | 20%
| 340330 | Comp Software Other | 20%
| 340500 | Other Office Equipment | 6.67%
340 Total |  |  | 14.89%
341 | 341100 | Trans Equip Lt Duty Trks | 1.528%
| 341200 | Trans Equip Hvy Duty Trks | 2.34%
| 341300 | Trans Equip Autos | 8.5%
| 341400 | Trans Equip Other | 5.51%
341 Total |  |  | 3.624%
342 | 342000 | Stores Equipment | 4%
342 Total |  |  | 4%
343 | 343000 | Tools,Shop,Garage Equip | 5%
343 Total |  |  | 5%
344 | 344000 | Laboratory Equipment | 6.67%
344 Total |  |  | 6.67%
345 | 345000 | Power Operated Equipment | 2.14%
345 Total |  |  | 2.14%
346 | 346100 | Comm Equip Non-Telephone | 6.67%
| 346190 | Remote Control & Instrume | 6.67%
| 346200 | Comm Equip Telephone | 6.67%
346 Total |  |  | 6.67%
347 | 347000 | Misc Equipment | 5%
347 Total |  |  | 5%
348 | 348000 | Other Tangible Property | 5%
348 Total |  |  | 5%
354 | 354200 | WW Struct & Imp Coll | 5%
| 354300 | WW Struct & Imp SPP | 2%
| 354400 | WW Struct & Imp TDP | 2%
| 354500 | WW Struct & Imp Gen | 10%
354 Total |  |  | 4.75%
360 | 360000 | WW Collection Sewers Forc | 2%
360 Total |  |  | 2%
361 | 361100 | WW Collecting Mains | 2%
361 Total |  |  | 2%
363 | 363000 | WW Services Sewer | 2%
363 Total |  |  | 2%
364 | 364000 | WW Flow Measuring Devices | 2%
364 Total |  |  | 2%
371 | 371100 | WW Pump Equip Elect | 5%
| 371200 | WW Pump Equip Oth Pwr | 5%
371 Total |  |  | 5%
380 | 380000 | WW TD Equipment | 5%
380 Total |  |  | 5%
390 | 390000 | WW Office Furniture & Equ | 10%
| 390200 | WW Computers & Peripheral | 20%
| 390300 | WW Computer Software | 6.87%
390 Total |  |  | 12.29%
391 | 391100 | WW Trans Equip Lt Dty Trk | 10%
391 Total |  |  | 10%
392 | 392000 | WW Stores Equipment | 10%
392 Total |  |  | 10%
393 | 393000 | WW Tool Shop & Garage Equ | 10%
393 Total |  |  | 10%
394 | 394000 | WW Laboratory Equipment | 20%
394 Total |  |  | 20%
395 | 395000 | WW Power Operated Equip | 10%
395 Total |  |  | 10%
396 | 396000 | WW Communication Equip | 10%
396 Total |  |  | 10%
397 | 397000 | WW Misc Equipment | 10%
397 Total |  |  | 10%
(blank) | 271110 | #N/A | 0.83%
| 271120 | #N/A | 0.8867%
| 271130 | #N/A | 1.5%
| 271140 | #N/A | 1.205%
| 271150 | #N/A | 0.745%
| 271160 | #N/A | 1.083%
| 271180 | #N/A | 0%
| 271210 | #N/A | 0.83%
| 271220 | #N/A | 0.83%
| 271230 | #N/A | 1.5%
| 271240 | #N/A | 1.41%
| 271250 | #N/A | 0.745%
| 271260 | #N/A | 1.125%
| (blank) | (blank) | 0%
(blank) Total |  |  | 0.9733%
Grand Total |  |  | 4.288%

## Pivot- Avg Depreciation Rates
Average Total Depreciaiton Rate (Depreciation + Cost of Removal Rate) By Subsidiary Type
Average of Sum Rate
First 3 | Parse subsidiary | Description | Total
304 | 304100 | Struct & Imp SS | 3.07%
| 304200 | Struct & Imp P | 2.85%
| 304300 | Struct & Imp WT | 2.95%
| 304400 | Struct & Imp TD | 2.63%
| 304500 | Struct & Imp AG | 2.96%
| 304600 | Struct & Imp Offices | 2.01%
| 304610 | Gen Structures - HVAC | 2.01%
| 304700 | Struct & Imp Store,Shop,G | 2.03%
| 304800 | Struct & Imp Misc | 4.98%
304 Total |  |  | 2.931%
305 | 305000 | Collect & Impounding | 1.33%
305 Total |  |  | 1.33%
306 | 306000 | Lake, River & Other Intak | 2.05%
306 Total |  |  | 2.05%
307 | 307000 | Wells & Springs | 2.05%
307 Total |  |  | 2.05%
309 | 309000 | Supply Mains | 2.2%
309 Total |  |  | 2.2%
310 | 310000 | Power Generation Equip | 2.93%
310 Total |  |  | 2.93%
311 | 311200 | Pump Equip Electric | 2.25%
| 311300 | Pump Equip Diesel | 2.26%
| 311400 | Pump Equip Hydraulic | 2.28%
| 311500 | Pump Equip Other | 2.43%
| 311520 | Pumping Equipment SS | 2.43%
| 311530 | Pumping Equipment WT | 2.43%
| 311540 | Pumping Equipment TD | 2.43%
311 Total |  |  | 2.374%
320 | 320100 | WT Equip Non-Media | 2.59%
| 320200 | WT Equip Filter Media | 24.28%
320 Total |  |  | 9.82%
330 | 330000 | Dist Reservoirs & Standpi | 1.66%
| 330100 | Elevated Tanks & Standpip | 2.03%
| 330200 | Ground Level Facilities | 1.38%
| 330400 | Clearwell | 1.68%
330 Total |  |  | 1.756%
331 | 331001 | TD Mains Not Classified b | 1.66%
| 331100 | TD Mains 4in & Less | 1.66%
| 331200 | TD Mains 6in to 8in | 1.66%
| 331300 | TD Mains 10in to 16in | 1.66%
| 331400 | TD Mains 18in & Grtr | 1.66%
331 Total |  |  | 1.66%
333 | 333000 | Services | 3%
333 Total |  |  | 3%
334 | 334100 | Meters | 2.68%
| 334110 | Meters Bronze Case | 2.74%
| 334120 | Meters Plastic Case | 3.25%
| 334130 | Meters Other | 2.9%
| 334131 | Meters Other-Rem Rdr Unts | 2.9%
| 334200 | Meter Installations | 2.78%
| 334300 | Meter Vaults | 2.73%
334 Total |  |  | 2.825%
335 | 335000 | Hydrants | 1.49%
335 Total |  |  | 1.49%
339 | 339100 | Other P/E Intangible | 19.4%
| 339600 | Other P/E CPS | 10.72%
339 Total |  |  | 15.06%
340 | 340100 | Office Furniture & Equip | 5%
| 340210 | Comp & Periph Mainframe | 20%
| 340220 | Comp & Periph Personal | 20%
| 340230 | Comp & Periph Other | 20%
| 340240 | Comp & Periph Capital Lea | 0%
| 340300 | Computer Software | 20%
| 340320 | Comp Software Personal | 20%
| 340325 | Comp Software Customized | 20%
| 340330 | Comp Software Other | 20%
| 340500 | Other Office Equipment | 6.67%
340 Total |  |  | 14.89%
341 | 341100 | Trans Equip Lt Duty Trks | 1.528%
| 341200 | Trans Equip Hvy Duty Trks | 2.34%
| 341300 | Trans Equip Autos | 8.5%
| 341400 | Trans Equip Other | 5.51%
341 Total |  |  | 3.624%
342 | 342000 | Stores Equipment | 4%
342 Total |  |  | 4%
343 | 343000 | Tools,Shop,Garage Equip | 5%
343 Total |  |  | 5%
344 | 344000 | Laboratory Equipment | 6.67%
344 Total |  |  | 6.67%
345 | 345000 | Power Operated Equipment | 2.14%
345 Total |  |  | 2.14%
346 | 346100 | Comm Equip Non-Telephone | 6.67%
| 346190 | Remote Control & Instrume | 6.67%
| 346200 | Comm Equip Telephone | 6.67%
346 Total |  |  | 6.67%
347 | 347000 | Misc Equipment | 5%
347 Total |  |  | 5%
348 | 348000 | Other Tangible Property | 5%
348 Total |  |  | 5%
354 | 354200 | WW Struct & Imp Coll | 5%
| 354300 | WW Struct & Imp SPP | 2%
| 354400 | WW Struct & Imp TDP | 2%
| 354500 | WW Struct & Imp Gen | 10%
354 Total |  |  | 4.75%
360 | 360000 | WW Collection Sewers Forc | 2%
360 Total |  |  | 2%
361 | 361100 | WW Collecting Mains | 2%
361 Total |  |  | 2%
363 | 363000 | WW Services Sewer | 2%
363 Total |  |  | 2%
364 | 364000 | WW Flow Measuring Devices | 2%
364 Total |  |  | 2%
371 | 371100 | WW Pump Equip Elect | 5%
| 371200 | WW Pump Equip Oth Pwr | 5%
371 Total |  |  | 5%
380 | 380000 | WW TD Equipment | 5%
380 Total |  |  | 5%
390 | 390000 | WW Office Furniture & Equ | 10%
| 390200 | WW Computers & Peripheral | 20%
| 390300 | WW Computer Software | 6.87%
390 Total |  |  | 12.29%
391 | 391100 | WW Trans Equip Lt Dty Trk | 10%
391 Total |  |  | 10%
392 | 392000 | WW Stores Equipment | 10%
392 Total |  |  | 10%
393 | 393000 | WW Tool Shop & Garage Equ | 10%
393 Total |  |  | 10%
394 | 394000 | WW Laboratory Equipment | 20%
394 Total |  |  | 20%
395 | 395000 | WW Power Operated Equip | 10%
395 Total |  |  | 10%
396 | 396000 | WW Communication Equip | 10%
396 Total |  |  | 10%
397 | 397000 | WW Misc Equipment | 10%
397 Total |  |  | 10%
(blank) | 271110 | #N/A | 0.83%
| 271120 | #N/A | 0.8867%
| 271130 | #N/A | 1.5%
| 271140 | #N/A | 1.205%
| 271150 | #N/A | 0.745%
| 271160 | #N/A | 1.083%
| 271180 | #N/A | 0%
| 271210 | #N/A | 0.83%
| 271220 | #N/A | 0.83%
| 271230 | #N/A | 1.5%
| 271240 | #N/A | 1.41%
| 271250 | #N/A | 0.745%
| 271260 | #N/A | 1.125%
| (blank) | (blank) | 0%
(blank) Total |  |  | 0.9733%
Grand Total |  |  | 4.288%

## Data-Depreciation Rates
First 3 | Parse subsidiary | Parse Descrip | Description | description | effective_date | set_of_books_id | rate | net_gross | over_depr_check | net_salvage_pct | depr_method_id | end_of_life | mortality_curve_id | expected_average_life | reserve_ratio_id | rate_used_code | cost_of_removal_rate | Sum Rate | cost_of_removal_pct | company_id
|  |  |  | 00000:Individual Asset Amortization-Kentucky-AM | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 57035 |  |  |  |  | 1 | 0% | 0% | 0 | 12
|  |  |  | 00000:Non Depreciable-Kentucky-AM | 2008-01-01 | 1 | 0% | 2 | 0 | 0 | 57010 |  |  |  |  | 1 | 0% | 0% | 0 | 12
|  |  |  | 00000:Non Depreciable-Kentucky-AM0 | 2008-01-01 | 1 | 0% | 2 | 0 | 0 | 57151 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271110 |  | #N/A | 00012:252 271110:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12114 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271110 |  | #N/A | 00012:252 271110:RA 12-01 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12128 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271120 |  | #N/A | 00012:252 271120:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12124 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271120 |  | #N/A | 00012:252 271120:RA 12-01 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12121 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271120 |  | #N/A | 00012:252 271120:RA 12-01 WW | 2006-01-01 | 1 | 0% | 2 | 1 | 0 | 12113 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271130 |  | #N/A | 00012:252 271130:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12120 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271130 |  | #N/A | 00012:252 271130:RA 12-01 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12115 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271140 |  | #N/A | 00012:252 271140:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12131 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271140 |  | #N/A | 00012:252 271140:RA 12-00 WW | 2006-01-01 | 1 | 0% | 2 | 1 | 0 | 12110 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271140 |  | #N/A | 00012:252 271140:RA 12-01 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12116 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271140 |  | #N/A | 00012:252 271140:RA 12-01 WW | 2006-01-01 | 1 | 0% | 2 | 1 | 0 | 12111 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271150 |  | #N/A | 00012:252 271150:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12119 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271150 |  | #N/A | 00012:252 271150:RA 12-01 | 2010-02-01 | 1 | 0% | 2 | 1 | 0 | 56949 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271160 |  | #N/A | 00012:252 271160:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12118 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271160 |  | #N/A | 00012:252 271160:RA 12-01 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12122 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271160 |  | #N/A | 00012:252 271160:RA 12-01 WW | 2006-01-01 | 1 | 0% | 2 | 1 | 0 | 12112 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271180 |  | #N/A | 00012:252 271180:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12130 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271210 |  | #N/A | 00012:252 271210:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12125 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271220 |  | #N/A | 00012:252 271220:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12117 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271230 |  | #N/A | 00012:252 271230:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12127 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271230 |  | #N/A | 00012:252 271230:RA 12-01 | 2010-09-01 | 1 | 0% | 2 | 1 | 0 | 57177 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271240 |  | #N/A | 00012:252 271240:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12126 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271250 |  | #N/A | 00012:252 271250:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12129 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271260 |  | #N/A | 00012:252 271260:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 1 | 0 | 12123 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271110 |  | #N/A | 00012:271110:RA 12-00 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12088 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271110 |  | #N/A | 00012:271110:RA 12-01 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12089 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271120 |  | #N/A | 00012:271120:RA 12-00 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12090 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271120 |  | #N/A | 00012:271120:RA 12-01 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12091 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271120 |  | #N/A | 00012:271120:RA 12-01 WW | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12108 |  |  |  |  | 1 | 0% | 2% | 0 | 12
| 271130 |  | #N/A | 00012:271130:RA 12-00 | 2010-10-01 | 1 | 3% | 2 | 1 | 0 | 12092 |  |  |  |  | 1 | 0% | 3% | 0 | 12
| 271130 |  | #N/A | 00012:271130:RA 12-01 | 2010-10-01 | 1 | 3% | 2 | 1 | 0 | 12093 |  |  |  |  | 1 | 0% | 3% | 0 | 12
| 271140 |  | #N/A | 00012:271140:RA 12-00 | 2010-10-01 | 1 | 2.82% | 2 | 1 | 0 | 12094 |  |  |  |  | 1 | 0% | 2.82% | 0 | 12
| 271140 |  | #N/A | 00012:271140:RA 12-00 WW | 2007-04-01 | 1 | 2% | 2 | 0 | 0 | 12106 |  |  |  |  | 1 | 0% | 2% | 0 | 12
| 271140 |  | #N/A | 00012:271140:RA 12-01 | 2010-10-01 | 1 | 2.82% | 2 | 1 | 0 | 12095 |  |  |  |  | 1 | 0% | 2.82% | 0 | 12
| 271140 |  | #N/A | 00012:271140:RA 12-01 WW | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12107 |  |  |  |  | 1 | 0% | 2% | 0 | 12
| 271150 |  | #N/A | 00012:271150:RA 12-00 | 2010-10-01 | 1 | 1.49% | 2 | 1 | 0 | 12096 |  |  |  |  | 1 | 0% | 1.49% | 0 | 12
| 271150 |  | #N/A | 00012:271150:RA 12-01 | 2010-10-01 | 1 | 1.49% | 2 | 1 | 0 | 56950 |  |  |  |  | 1 | 0% | 1.49% | 0 | 12
| 271160 |  | #N/A | 00012:271160:RA 12-00 | 2010-10-01 | 1 | 2.25% | 2 | 1 | 0 | 12097 |  |  |  |  | 1 | 0% | 2.25% | 0 | 12
| 271160 |  | #N/A | 00012:271160:RA 12-01 | 2010-10-01 | 1 | 2.25% | 2 | 1 | 0 | 12098 |  |  |  |  | 1 | 0% | 2.25% | 0 | 12
| 271160 |  | #N/A | 00012:271160:RA 12-01 WW | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12109 |  |  |  |  | 1 | 0% | 2% | 0 | 12
| 271180 |  | #N/A | 00012:271180:RA 12-00 | 2007-12-01 | 1 | 0% | 2 | 0 | 0 | 12099 |  |  |  |  | 1 | 0% | 0% | 0 | 12
| 271210 |  | #N/A | 00012:271210:RA 12-00 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12100 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271220 |  | #N/A | 00012:271220:RA 12-00 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12101 |  |  |  |  | 1 | 0% | 1.66% | 0 | 12
| 271230 |  | #N/A | 00012:271230:RA 12-00 | 2010-10-01 | 1 | 3% | 2 | 1 | 0 | 12102 |  |  |  |  | 1 | 0% | 3% | 0 | 12
| 271230 |  | #N/A | 00012:271230:RA 12-01 | 2010-10-01 | 1 | 3% | 2 | 1 | 0 | 57176 |  |  |  |  | 1 | 0% | 3% | 0 | 12
| 271240 |  | #N/A | 00012:271240:RA 12-00 | 2010-10-01 | 1 | 2.82% | 2 | 1 | 0 | 12103 |  |  |  |  | 1 | 0% | 2.82% | 0 | 12
| 271250 |  | #N/A | 00012:271250:RA 12-00 | 2010-10-01 | 1 | 1.49% | 2 | 1 | 0 | 12104 |  |  |  |  | 1 | 0% | 1.49% | 0 | 12
| 271260 |  | #N/A | 00012:271260:RA 12-00 | 2010-10-01 | 1 | 2.25% | 2 | 1 | 0 | 12105 |  |  |  |  | 1 | 0% | 2.25% | 0 | 12
304 | 304100 | Struct & Im | Struct & Imp SS | 00012:304100:RA 12-00 | 2010-10-01 | 1 | 2.92% | 2 | 1 | 0 | 12003 |  |  |  |  | 1 | 0.15% | 3.07% | 0.05 | 12
304 | 304200 | Struct & Im | Struct & Imp P | 00012:304200:RA 12-00 | 2012-02-01 | 1 | 2.37% | 2 | 1 | 0 | 12004 |  |  |  |  | 1 | 0.48% | 2.85% | 0.2 | 12
304 | 304300 | Struct & Im | Struct & Imp WT | 00012:304300:RA 12-00 | 2010-10-01 | 1 | 2.46% | 2 | 1 | 0 | 12005 |  |  |  |  | 1 | 0.49% | 2.95% | 0.2 | 12
304 | 304300 | Struct & Im | Struct & Imp WT | 00012:304300:RA 12-01 | 2010-10-01 | 1 | 2.46% | 2 | 1 | 0 | 56105 |  |  |  |  | 1 | 0.49% | 2.95% | 0.2 | 12
304 | 304400 | Struct & Im | Struct & Imp TD | 00012:304400:RA 12-00 | 2010-10-01 | 1 | 2.5% | 2 | 1 | 0 | 12006 |  |  |  |  | 1 | 0.13% | 2.63% | 0 | 12
304 | 304400 | Struct & Im | Struct & Imp TD | 00012:304400:RA 12-01 | 2010-10-01 | 1 | 2.5% | 2 | 1 | 0 | 12007 |  |  |  |  | 1 | 0.13% | 2.63% | 0 | 12
304 | 304500 | Struct & Im | Struct & Imp AG | 00012:304500:RA 12-00 | 2010-10-01 | 1 | 2.82% | 2 | 1 | 0 | 56268 |  |  |  |  | 1 | 0.14% | 2.96% | 0.05 | 12
304 | 304500 | Struct & Im | Struct & Imp AG | 00012:304500:RA 12-01 | 2011-03-01 | 1 | 2.82% | 2 | 1 | 0 | 57316 |  |  |  |  | 1 | 0.14% | 2.96% | 0.05 | 12
304 | 304600 | Struct & Im | Struct & Imp Offices | 00012:304600:RA 12-00 | 2010-10-01 | 1 | 1.91% | 2 | 1 | 0 | 12008 |  |  |  |  | 1 | 0.1% | 2.01% | 0.05 | 12
304 | 304610 | Gen Structu | Gen Structures - HVAC | 00012:304610:RA 12-00 | 2010-10-01 | 1 | 1.91% | 2 | 1 | 0 | 56106 |  |  |  |  | 1 | 0.1% | 2.01% | 0.05 | 12
304 | 304700 | Struct & Im | Struct & Imp Store,Shop,G | 00012:304700:RA 12-00 | 2010-10-01 | 1 | 2.03% | 2 | 1 | 0 | 12009 |  |  |  |  | 1 | 0% | 2.03% | 0 | 12
304 | 304700 | Struct & Im | Struct & Imp Store,Shop,G | 00012:304700:RA 12-01 | 2010-10-01 | 1 | 2.03% | 2 | 1 | 0 | 12010 |  |  |  |  | 1 | 0% | 2.03% | 0 | 12
304 | 304800 | Struct & Im | Struct & Imp Misc | 00012:304800:RA 12-00 | 2010-10-01 | 1 | 4.53% | 2 | 1 | 0 | 12011 |  |  |  |  | 1 | 0.45% | 4.98% | 0 | 12
304 | 304800 | Struct & Im | Struct & Imp Misc | 00012:304800:RA 12-01 | 2010-10-01 | 1 | 4.53% | 2 | 1 | 0 | 12012 |  |  |  |  | 1 | 0.45% | 4.98% | 0 | 12
305 | 305000 | Collect & I | Collect & Impounding | 00012:305000:RA 12-00 | 2010-10-01 | 1 | 1.33% | 2 | 1 | 0 | 12013 |  |  |  |  | 1 | 0% | 1.33% | 0 | 12
306 | 306000 | Lake, River | Lake, River & Other Intak | 00012:306000:RA 12-00 | 2010-10-01 | 1 | 2.05% | 2 | 1 | 0 | 12014 |  |  |  |  | 1 | 0% | 2.05% | 0 | 12
307 | 307000 | Wells & Spr | Wells & Springs | 00012:307000:RA 12-00 | 2012-02-01 | 1 | 2.05% | 2 | 1 | 0 | 12015 |  |  |  |  | 1 | 0% | 2.05% | 0 | 12
309 | 309000 | Supply Main | Supply Mains | 00012:309000:RA 12-00 | 2010-10-01 | 1 | 2% | 2 | 1 | 0 | 12016 |  |  |  |  | 1 | 0.2% | 2.2% | 0.1 | 12
310 | 310000 | Power Gener | Power Generation Equip | 00012:310000:RA 12-00 | 2010-10-01 | 1 | 2.93% | 2 | 1 | 0 | 12017 |  |  |  |  | 1 | 0% | 2.93% | 0 | 12
311 | 311200 | Pump Equip | Pump Equip Electric | 00012:311200:RA 12-00 | 2012-02-01 | 1 | 1.87% | 2 | 1 | 0 | 12018 |  |  |  |  | 1 | 0.38% | 2.25% | 0.15 | 12
311 | 311300 | Pump Equip | Pump Equip Diesel | 00012:311300:RA 12-00 | 2010-10-01 | 1 | 1.88% | 2 | 1 | 0 | 12019 |  |  |  |  | 1 | 0.38% | 2.26% | 0.15 | 12
311 | 311400 | Pump Equip | Pump Equip Hydraulic | 00012:311400:RA 12-00 | 2010-10-01 | 1 | 1.9% | 2 | 1 | 0 | 12020 |  |  |  |  | 1 | 0.38% | 2.28% | 0.15 | 12
311 | 311500 | Pump Equip | Pump Equip Other | 00012:311500:RA 12-01 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0.2 | 57290 |  |  |  |  | 1 | 0.41% | 2.43% | 0 | 12
311 | 311520 | Pumping Equ | Pumping Equipment SS | 00012:311520:RA 12-00 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0 | 56404 |  |  |  |  | 1 | 0.41% | 2.43% | 0.15 | 12
311 | 311520 | Pumping Equ | Pumping Equipment SS | 00012:311520:RA 12-01 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0 | 56514 |  |  |  |  | 1 | 0.41% | 2.43% | 0.15 | 12
311 | 311530 | Pumping Equ | Pumping Equipment WT | 00012:311530:RA 12-00 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0 | 56107 |  |  |  |  | 1 | 0.41% | 2.43% | 0.15 | 12
311 | 311540 | Pumping Equ | Pumping Equipment TD | 00012:311540:RA 12-00 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0 | 56269 |  |  |  |  | 1 | 0.41% | 2.43% | 0.15 | 12
311 | 311540 | Pumping Equ | Pumping Equipment TD | 00012:311540:RA 12-01 | 2012-02-01 | 1 | 2.02% | 2 | 1 | 0 | 56340 |  |  |  |  | 1 | 0.41% | 2.43% | 0.15 | 12
320 | 320100 | WT Equip No | WT Equip Non-Media | 00012:320100:RA 12-00 | 2010-10-01 | 1 | 2.16% | 2 | 1 | 0 | 12021 |  |  |  |  | 1 | 0.43% | 2.59% | 0.15 | 12
320 | 320100 | WT Equip No | WT Equip Non-Media | 00012:320100:RA 12-01 | 2010-10-01 | 1 | 2.16% | 2 | 1 | 0 | 12022 |  |  |  |  | 1 | 0.43% | 2.59% | 0.15 | 12
320 | 320200 | WT Equip Fi | WT Equip Filter Media | 00012:320200:RA 12-00 | 2010-10-01 | 1 | 24.28% | 2 | 1 | 0 | 56607 |  |  |  |  | 1 | 0% | 24.28% | 0.15 | 12
330 | 330000 | Dist Reserv | Dist Reservoirs & Standpi | 00012:330000:RA 12-00 | 2010-10-01 | 1 | 1.66% | 2 | 1 | 0 | 12023 |  |  |  |  | 1 | 0% | 1.66% | 0.3 | 12
330 | 330100 | Elevated Ta | Elevated Tanks & Standpip | 00012:330100:RA 12-00 | 2010-10-01 | 1 | 1.62% | 2 | 1 | 0 | 12024 |  |  |  |  | 1 | 0.41% | 2.03% | 0.3 | 12
330 | 330100 | Elevated Ta | Elevated Tanks & Standpip | 00012:330100:RA 12-01 | 2010-10-01 | 1 | 1.62% | 2 | 1 | 0 | 12025 |  |  |  |  | 1 | 0.41% | 2.03% | 0.3 | 12
330 | 330200 | Ground Leve | Ground Level Facilities | 00012:330200:RA 12-00 | 2010-10-01 | 1 | 1.38% | 2 | 1 | 0 | 56108 |  |  |  |  | 1 | 0% | 1.38% | 0.3 | 12
330 | 330400 | Clearwell | Clearwell | 00012:330400:RA 12-00 | 2010-10-01 | 1 | 1.68% | 2 | 1 | 0 | 56588 |  |  |  |  | 1 | 0% | 1.68% | 0.3 | 12
331 | 331001 | TD Mains No | TD Mains Not Classified b | 00012:331001:RA 12-00 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12030 |  |  |  |  | 1 | 0.22% | 1.66% | 0.2 | 12
331 | 331001 | TD Mains No | TD Mains Not Classified b | 00012:331001:RA 12-01 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12031 |  |  |  |  | 1 | 0.22% | 1.66% | 0.2 | 12
331 | 331100 | TD Mains 4i | TD Mains 4in & Less | 00012:331100:RA 12-00 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12029 |  |  |  |  | 1 | 0.22% | 1.66% | 0.2 | 12
331 | 331100 | TD Mains 4i | TD Mains 4in & Less | 00012:331100:RA 12-01 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 56219 |  |  |  |  | 1 | 0.22% | 1.66% | 0.2 | 12
331 | 331200 | TD Mains 6i | TD Mains 6in to 8in | 00012:331200:RA 12-00 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12028 |  |  |  |  | 1 | 0.22% | 1.66% | 0.2 | 12
331 | 331200 | TD Mains 6i | TD Mains 6in to 8in | 00012:331200:RA 12-01 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 56220 |  |  |  |  | 1 | 0.22% | 1.66% | 0.15 | 12
331 | 331300 | TD Mains 10 | TD Mains 10in to 16in | 00012:331300:RA 12-00 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12027 |  |  |  |  | 1 | 0.22% | 1.66% | 0.15 | 12
331 | 331300 | TD Mains 10 | TD Mains 10in to 16in | 00012:331300:RA 12-01 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0.15 | 56745 |  |  |  |  | 1 | 0.22% | 1.66% | 0 | 12
331 | 331400 | TD Mains 18 | TD Mains 18in & Grtr | 00012:331400:RA 12-00 | 2010-10-01 | 1 | 1.44% | 2 | 1 | 0 | 12026 |  |  |  |  | 1 | 0.22% | 1.66% | 0.15 | 12
333 | 333000 | Services | Services | 00012:333000:RA 12-00 | 2010-10-01 | 1 | 1.5% | 2 | 1 | 0 | 12032 |  |  |  |  | 1 | 1.5% | 3% | 1 | 12
333 | 333000 | Services | Services | 00012:333000:RA 12-01 | 2010-10-01 | 1 | 1.5% | 2 | 1 | 0 | 12033 |  |  |  |  | 1 | 1.5% | 3% | 1 | 12
334 | 334100 | Meters | Meters | 00012:334100:RA 12-00 | 2010-10-01 | 1 | 2.44% | 2 | 1 | 0 | 12034 |  |  |  |  | 1 | 0.24% | 2.68% | 0.1 | 12
334 | 334100 | Meters | Meters | 00012:334100:RA 12-01 | 2010-10-01 | 1 | 2.44% | 2 | 1 | 0 | 12038 |  |  |  |  | 1 | 0.24% | 2.68% | 0.1 | 12
334 | 334110 | Meters Bron | Meters Bronze Case | 00012:334110:RA 12-00 | 2010-10-01 | 1 | 2.49% | 2 | 1 | 0 | 12035 |  |  |  |  | 1 | 0.25% | 2.74% | 0.1 | 12
334 | 334120 | Meters Plas | Meters Plastic Case | 00012:334120:RA 12-00 | 2010-10-01 | 1 | 2.95% | 2 | 1 | 0 | 12037 |  |  |  |  | 1 | 0.3% | 3.25% | 0.1 | 12
334 | 334130 | Meters Othe | Meters Other | 00012:334130:RA 12-00 | 2010-10-01 | 1 | 2.64% | 2 | 1 | 0 | 12036 |  |  |  |  | 1 | 0.26% | 2.9% | 0.1 | 12
334 | 334130 | Meters Othe | Meters Other | 00012:334130:RA 12-01 | 2010-11-01 | 1 | 2.64% | 2 | 1 | 0 | 56270 |  |  |  |  | 1 | 0.26% | 2.9% | 0.1 | 12
334 | 334131 | Meters Othe | Meters Other-Rem Rdr Unts | 00012:334131:RA 12-00 | 2010-10-01 | 1 | 2.64% | 2 | 1 | 0 | 56109 |  |  |  |  | 1 | 0.26% | 2.9% | 0.1 | 12
334 | 334200 | Meter Insta | Meter Installations | 00012:334200:RA 12-00 | 2010-10-01 | 1 | 2.53% | 2 | 1 | 0 | 12039 |  |  |  |  | 1 | 0.25% | 2.78% | 0.1 | 12
334 | 334200 | Meter Insta | Meter Installations | 00012:334200:RA 12-01 | 2010-10-01 | 1 | 2.53% | 2 | 1 | 0 | 12040 |  |  |  |  | 1 | 0.25% | 2.78% | 0.1 | 12
334 | 334300 | Meter Vault | Meter Vaults | 00012:334300:RA 12-00 | 2010-10-01 | 1 | 2.48% | 2 | 1 | 0 | 56221 |  |  |  |  | 1 | 0.25% | 2.73% | 0.1 | 12
334 | 334300 | Meter Vault | Meter Vaults | 00012:334300:RA 12-01 | 2010-10-01 | 1 | 2.48% | 2 | 1 | 0 | 56222 |  |  |  |  | 1 | 0.25% | 2.73% | 0.1 | 12
335 | 335000 | Hydrants | Hydrants | 00012:335000:RA 12-00 | 2010-10-01 | 1 | 1.19% | 2 | 1 | 0 | 12041 |  |  |  |  | 1 | 0.3% | 1.49% | 0.25 | 12
335 | 335000 | Hydrants | Hydrants | 00012:335000:RA 12-01 | 2010-10-01 | 1 | 1.19% | 2 | 1 | 0 | 12042 |  |  |  |  | 1 | 0.3% | 1.49% | 0.25 | 12
339 | 339100 | Other P/E I | Other P/E Intangible | 00012:339100:RA 12-00 | 2010-10-01 | 1 | 19.4% | 2 | 1 | 0 | 12043 |  |  |  |  | 1 | 0% | 19.4% | 0 | 12
339 | 339600 | Other P/E C | Other P/E CPS | 00012:339600:RA 12-00 | 2010-10-01 | 1 | 10.72% | 2 | 1 | 0 | 12044 |  |  |  |  | 1 | 0% | 10.72% | 0 | 12
340 | 340100 | Office Furn | Office Furniture & Equip | 00012:340100:RA 12-00 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12045 |  |  |  |  | 1 | 0% | 5% | 0 | 12
340 | 340100 | Office Furn | Office Furniture & Equip | 00012:340100:RA 12-01 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12046 |  |  |  |  | 1 | 0% | 5% | 0 | 12
340 | 340210 | Comp & Peri | Comp & Periph Mainframe | 00012:340210:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12049 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340220 | Comp & Peri | Comp & Periph Personal | 00012:340220:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12047 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340220 | Comp & Peri | Comp & Periph Personal | 00012:340220:RA 12-01 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12050 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340230 | Comp & Peri | Comp & Periph Other | 00012:340230:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12048 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340230 | Comp & Peri | Comp & Periph Other | 00012:340230:RA 12-01 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 56579 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340240 | Comp & Peri | Comp & Periph Capital Lea | 00012:340240:RA 12-01 | 2009-12-01 | 1 | 0% | 2 | 1 | 0 | 56928 |  |  |  |  | 1 | 0% | 0% | 0 | 12
340 | 340300 | Computer So | Computer Software | 00012:340300:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12053 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340300 | Computer So | Computer Software | 00012:340300:RA 12-01 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12054 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340320 | Comp Softwa | Comp Software Personal | 00012:340320:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12051 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340325 | Comp Softwa | Comp Software Customized | 00012:340325:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 56110 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340330 | Comp Softwa | Comp Software Other | 00012:340330:RA 12-00 | 2010-10-01 | 1 | 20% | 2 | 1 | 0 | 12052 |  |  |  |  | 1 | 0% | 20% | 0 | 12
340 | 340500 | Other Offic | Other Office Equipment | 00012:340500:RA 12-00 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 12055 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
340 | 340500 | Other Offic | Other Office Equipment | 00012:340500:RA 12-01 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 12056 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
341 | 341100 | Trans Equip | Trans Equip Lt Duty Trks | 00012:341100:RA 12-00 | 2010-10-01 | 1 | 1.91% | 2 | 1 | 0 | 12057 |  |  |  |  | 1 | -0.38% | 1.53% | -0.2 | 12
341 | 341100 | Trans Equip | Trans Equip Lt Duty Trks | 00012:341100:RA 12-01 | 2010-10-01 | 1 | 1.91% | 2 | 1 | 0 | 12058 |  |  |  |  | 1 | -0.385% | 1.525% | -0.2 | 12
341 | 341200 | Trans Equip | Trans Equip Hvy Duty Trks | 00012:341200:RA 12-00 | 2010-10-01 | 1 | 2.75% | 2 | 1 | 0 | 12059 |  |  |  |  | 1 | -0.41% | 2.34% | -0.15 | 12
341 | 341200 | Trans Equip | Trans Equip Hvy Duty Trks | 00012:341200:RA 12-01 | 2010-10-01 | 1 | 2.75% | 2 | 1 | 0 | 56493 |  |  |  |  | 1 | -0.41% | 2.34% | -0.15 | 12
341 | 341300 | Trans Equip | Trans Equip Autos | 00012:341300:RA 12-00 | 2010-10-01 | 1 | 10% | 2 | 1 | 0 | 12060 |  |  |  |  | 1 | -1.5% | 8.5% | -0.15 | 12
341 | 341400 | Trans Equip | Trans Equip Other | 00012:341400:RA 12-00 | 2010-10-01 | 1 | 5.51% | 2 | 1 | 0 | 12061 |  |  |  |  | 1 | 0% | 5.51% | 0 | 12
342 | 342000 | Stores Equi | Stores Equipment | 00012:342000:RA 12-00 | 2010-10-01 | 1 | 4% | 2 | 1 | 0 | 12062 |  |  |  |  | 1 | 0% | 4% | 0 | 12
343 | 343000 | Tools,Shop, | Tools,Shop,Garage Equip | 00012:343000:RA 12-00 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12063 |  |  |  |  | 1 | 0% | 5% | 0 | 12
343 | 343000 | Tools,Shop, | Tools,Shop,Garage Equip | 00012:343000:RA 12-01 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12064 |  |  |  |  | 1 | 0% | 5% | 0 | 12
344 | 344000 | Laboratory | Laboratory Equipment | 00012:344000:RA 12-00 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 12065 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
344 | 344000 | Laboratory | Laboratory Equipment | 00012:344000:RA 12-01 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 57178 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
345 | 345000 | Power Opera | Power Operated Equipment | 00012:345000:RA 12-00 | 2010-10-01 | 1 | 2.52% | 2 | 1 | 0 | 12066 |  |  |  |  | 1 | -0.38% | 2.14% | -0.25 | 12
345 | 345000 | Power Opera | Power Operated Equipment | 00012:345000:RA 12-01 | 2010-10-01 | 1 | 2.52% | 2 | 1 | 0 | 12067 |  |  |  |  | 1 | -0.38% | 2.14% | -0.25 | 12
346 | 346100 | Comm Equip | Comm Equip Non-Telephone | 00012:346100:RA 12-00 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 12068 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
346 | 346190 | Remote Cont | Remote Control & Instrume | 00012:346190:RA 12-00 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 56513 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
346 | 346190 | Remote Cont | Remote Control & Instrume | 00012:346190:RA 12-01 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 56923 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
346 | 346200 | Comm Equip | Comm Equip Telephone | 00012:346200:RA 12-00 | 2010-10-01 | 1 | 6.67% | 2 | 1 | 0 | 56625 |  |  |  |  | 1 | 0% | 6.67% | 0 | 12
347 | 347000 | Misc Equipm | Misc Equipment | 00012:347000:RA 12-00 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12069 |  |  |  |  | 1 | 0% | 5% | 0 | 12
347 | 347000 | Misc Equipm | Misc Equipment | 00012:347000:RA 12-01 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12070 |  |  |  |  | 1 | 0% | 5% | 0 | 12
348 | 348000 | Other Tangi | Other Tangible Property | 00012:348000:RA 12-00 | 2010-10-01 | 1 | 5% | 2 | 1 | 0 | 12071 |  |  |  |  | 1 | 0% | 5% | 0 | 12
354 | 354200 | WW Struct & | WW Struct & Imp Coll | 00012:354200:RA 12-00 | 2010-09-01 | 1 | 5% | 2 | 1 | 0 | 12072 |  |  |  |  | 1 | 0% | 5% | 0 | 12
354 | 354300 | WW Struct & | WW Struct & Imp SPP | 00012:354300:RA 12-01 | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12073 |  |  |  |  | 1 | 0% | 2% | 0 | 12
354 | 354400 | WW Struct & | WW Struct & Imp TDP | 00012:354400:RA 12-01 | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12074 |  |  |  |  | 1 | 0% | 2% | 0 | 12
354 | 354500 | WW Struct & | WW Struct & Imp Gen | 00012:354500:RA 12-01 | 2006-01-01 | 1 | 10% | 2 | 0 | 0 | 12075 |  |  |  |  | 1 | 0% | 10% | 0 | 12
360 | 360000 | WW Collecti | WW Collection Sewers Forc | 00012:360000:RA 12-01 | 2010-09-01 | 1 | 2% | 2 | 1 | 0 | 12076 |  |  |  |  | 1 | 0% | 2% | 0 | 12
361 | 361100 | WW Collecti | WW Collecting Mains | 00012:361100:RA 12-01 | 2007-12-01 | 1 | 2% | 2 | 0 | 0 | 56257 |  |  |  |  | 1 | 0% | 2% | 0 | 12
363 | 363000 | WW Services | WW Services Sewer | 00012:363000:RA 12-01 | 2006-01-01 | 1 | 2% | 2 | 0 | 0 | 12077 |  |  |  |  | 1 | 0% | 2% | 0 | 12
364 | 364000 | WW Flow Mea | WW Flow Measuring Devices | 00012:364000:RA 12-01 | 2009-09-01 | 1 | 2% | 2 | 1 | 0 | 56856 |  |  |  |  | 1 | 0% | 2% | 0 | 12
371 | 371100 | WW Pump Equ | WW Pump Equip Elect | 00012:371100:RA 12-00 | 2010-09-01 | 1 | 5% | 2 | 1 | 0 | 12078 |  |  |  |  | 1 | 0% | 5% | 0 | 12
371 | 371100 | WW Pump Equ | WW Pump Equip Elect | 00012:371100:RA 12-01 | 2011-12-01 | 1 | 5% | 2 | 1 | 0 | 59595 |  |  |  |  | 1 | 0% | 5% | 0 | 12
371 | 371200 | WW Pump Equ | WW Pump Equip Oth Pwr | 00012:371200:RA 12-01 | 2010-09-01 | 1 | 5% | 2 | 1 | 0 | 56515 |  |  |  |  | 1 | 0% | 5% | 0 | 12
380 | 380000 | WW TD Equip | WW TD Equipment | 00012:380000:RA 12-00 | 2008-08-01 | 1 | 5% | 2 | 0 | 0 | 56574 |  |  |  |  | 1 | 0% | 5% | 0 | 12
380 | 380000 | WW TD Equip | WW TD Equipment | 00012:380000:RA 12-01 | 2006-01-01 | 1 | 5% | 2 | 0 | 0 | 12079 |  |  |  |  | 1 | 0% | 5% | 0 | 12
390 | 390000 | WW Office F | WW Office Furniture & Equ | 00012:390000:RA 12-01 | 2010-09-01 | 1 | 10% | 2 | 1 | 0 | 12080 |  |  |  |  | 1 | 0% | 10% | 0 | 12
390 | 390200 | WW Computer | WW Computers & Peripheral | 00012:390200:RA 12-01 | 2010-09-01 | 1 | 20% | 2 | 1 | 0 | 12081 |  |  |  |  | 1 | 0% | 20% | 0 | 12
390 | 390300 | WW Computer | WW Computer Software | 00012:390300:RA 12-01 | 2010-09-01 | 1 | 6.87% | 2 | 1 | 0 | 57168 |  |  |  |  | 1 | 0% | 6.87% | 0 | 12
391 | 391100 | WW Trans Eq | WW Trans Equip Lt Dty Trk | 00012:391100:RA 12-01 | 2010-09-01 | 1 | 10% | 2 | 1 | 0 | 12082 |  |  |  |  | 1 | 0% | 10% | 0 | 12
392 | 392000 | WW Stores E | WW Stores Equipment | 00012:392000:RA 12-01 | 2006-01-01 | 1 | 10% | 2 | 0 | 0 | 12083 |  |  |  |  | 1 | 0% | 10% | 0 | 12
393 | 393000 | WW Tool Sho | WW Tool Shop & Garage Equ | 00012:393000:RA 12-01 | 2010-09-01 | 1 | 10% | 2 | 1 | 0 | 12084 |  |  |  |  | 1 | 0% | 10% | 0 | 12
394 | 394000 | WW Laborato | WW Laboratory Equipment | 00012:394000:RA 12-01 | 2007-10-01 | 1 | 20% | 2 | 0 | 0 | 56111 |  |  |  |  | 1 | 0% | 20% | 0 | 12
395 | 395000 | WW Power Op | WW Power Operated Equip | 00012:395000:RA 12-01 | 2010-09-01 | 1 | 10% | 2 | 1 | 0 | 12085 |  |  |  |  | 1 | 0% | 10% | 0 | 12
396 | 396000 | WW Communic | WW Communication Equip | 00012:396000:RA 12-01 | 2006-01-01 | 1 | 10% | 2 | 0 | 0 | 12086 |  |  |  |  | 1 | 0% | 10% | 0 | 12
397 | 397000 | WW Misc Equ | WW Misc Equipment | 00012:397000:RA 12-01 | 2010-09-01 | 1 | 10% | 2 | 1 | 0 | 12087 |  |  |  |  | 1 | 0% | 10% | 0 | 12