## Plant Retirement Percentage Rev
KENTUCKY UTILITIES COMPANY
| STEAM PLANT | ORIGINAL COST | REGULAR | 2011 Plant | Spanos | SKM
|  |  | RETIREMENTS | Balance % | Proposed | Proposed
| Column 1 | Column 2 | Column 3 | Column 4 | Column 5 | Column 6
(Col 3/ Col2)
311 | STRUCTURES AND IMPROVEMENTS | 333950215.3 | 4392646 | 1.315% | -25% | -25%
312 | BOILER PLANT EQUIPMENT | 2674446282.96 | 75497711 | 2.823% | -30% | -30%
314 | TURBOGENERATOR UNITS | 319664519.66 | 29396283 | 9.196% | -15% | -15%
315 | ACCESSORY ELECTRIC EQUIPMENT | 201634659.45 | 1676295 | 0.8314% | -20% | -20%
316 | MISCELLANEOUS POWER PLANT EQUIPMENT | 30010398.68 | 5814519 | 19.38% | 0% | 0%
| TOTAL STEAM PRODUCTION PLANT | 3559706076.05
HYDRAULIC PRODUCTION PLANT
330.1 | LAND RIGHTS | 879311.47 | 0 | 0% | 0% | 0%
331 | STRUCTURES AND IMPROVEMENTS | 616526.69 | 92725 | 15.04% | -5% | -5%
332 | RESERVOIRS, DAMS AND WATERWAY | 21603969.66 | 379697 | 1.758% | -10% | -10%
333 | WATER WHEELS, TURBINES AND GENERATORS | 4430624.31 | 207052 | 4.673% | -20% | -20%
334 | ACCESSORY ELECTRIC EQUIPMENT | 578333.28 | 267817 | 46.31% | 0% | 0%
335 | MISCELLANEOUS POWER PLANT EQUIPMENT | 297023.86 | 172906 | 58.21% | -5% | -5%
336 | ROADS, RAILROADS AND BRIDGES | 176359.59 | 0 | 0% | 0% | 0%
| TOTAL HYDRAULIC PRODUCTION PLANT | 28582148.86
OTHER PRODUCTION PLANT
340.1 | LAND RIGHTS | 176409.31 | 0 | 0% | 0% | 0%
341 | STRUCTURES AND IMPROVEMENTS | 36018413.21 | 0 | 0% | 0% | 0%
342 | FUEL HOLDERS, PRODUCERS AND ACCESSORIES | 22747816.41 | 578432 | 2.543% | -5% | -5%
343 | PRIME MOVERS | 358823032.37 | 18146939 | 5.057% | -5% | -5%
344 | GENERATORS | 59360761.14 | 40984 | 0.06904% | -5% | -5%
345 | ACCESSORY ELECTRIC EQUIPMENT | 44367406.07 | 146882 | 0.3311% | -5% | -5%
346 | MISCELLANEOUS POWER PLANT EQUIPMENT | 5362941.07 | 0 | 0% | 0% | 0%
| TOTAL OTHER PRODUCTION PLANT | 526856779.58
TRANSMISSION PLANT
350.1 | LAND RIGHTS | 23413728.55 | 0 | 0% | 0% | 0%
352.1 | STRUCTURES AND IMPROVEMENTS | 17020058.51 | 0 |  | -25% | -5%
352.2 | STRUCTURES AND IMPROVEMENTS-SYSTEM CONTROL ROOM | 1220542.62 | 154743 | 0.8483% | -25% | -5%
353.1 | STATION EQUIPMENT | 191753788.17 | 0 |  | -10% | 0%
353.2 | STATION EQUIPMENT-SYSTEM CONTROL ROOM | 14668403.51 | 16601801 | 8.043% | -10% | 0%
354 | TOWERS AND FIXTURES | 95353356.62 | 1197224 | 1.256% | -25% | -10%
355 | POLES AND FIXTURES | 148658780.48 | 8180681 | 5.503% | -55% | -25%
356 | OVERHEAD CONDUCTORS AND DEVICES | 160446879.27 | 6044662 | 3.767% | -50% | -25%
357 | UNDERGROUND CONDUIT | 448760.26 | 0 | 0% | 0% | 0%
358 | UNDERGROUND CONDUCTORS AND DEVICES | 1161549.29 | 0 | 0% | 0% | 0%
| TOTAL TRANSMISSION PLANT | 654145847.28
DISTRIBUTION PLANT
360.1 | LAND RIGHTS | 2039033.29 | 0 | 0% | 0% | 0%
361 | STRUCTURES AND IMPROVEMENTS | 7658288.09 | 299301 | 3.908% | -20% | -20%
362 | STATION EQUIPMENT | 141200430.9 | 11705592 | 8.29% | -20% | -10%
364 | POLES, TOWERS, AND FIXTURES | 287791923.15 | 29087737 | 10.11% | -45% | -25%
365 | OVERHEAD CONDUCTORS AND DEVICES | 276285758.81 | 37009338 | 13.4% | -60% | -30%
366 | UNDERGROUND CONDUIT | 1861963.15 | 229435 | 12.32% | -5% | 0%
367 | UNDERGROUND CONDUCTORS AND DEVICES | 140620009.32 | 4976290 | 3.539% | -10% | -5%
368 | LINE TRANSFORMERS | 286070399.06 | 33999927 | 11.89% | -15% | 0%
369 | SERVICES | 89050180.39 | 13249169 | 14.88% | -30% | -15%
370 | METERS | 70049355.34 | 15214452 | 21.72% | 0% | 0%
371 | INSTALLATIONS ON CUSTOMERS' PREMISES | 18253214.45 | 6777106 | 37.13% | -10% | 0%
373 | STREET LIGHTING AND SIGNAL SYSTEMS | 81534875.55 | 20369023 | 24.98% | -10% | -2%
| TOTAL DISTRIBUTION PLANT | 1402415431.5
GENERAL PLANT
390.1 | STRUCTURES AND IMPROVEMENTS - TO OWNED PROPERTY | 47011269.52 | 6792691 | 14.45% | -10% | -2%
390.2 | STRUCTURES AND IMPROVEMENTS - TO LEASED PROPERTY | 531973.44 | 235547 | 44.28% | -10% | 0%
391.1 | OFFICE FURNITURE AND EQUIPMENT | 7513787.56 | 0 | 0% | 0% | 0%
391.2 | NON PC COMPUTER EQUIPMENT | 17256012.35 | 0 | 0% | 0% | 0%
391.31 | PERSONAL COMPUTERS | 6398371.65 | 0 | 0% | 0% | 0%
392.1 | TRANSPORTATION EQUIPMENT - CARS AND LIGHT TRUCKS | 1865090.97 | 0 |  | 0% | 0%
392.3 | TRANSPORTATION EQUIPMENT - HEAVY TRUCKS AND OTHER | 14101987.63 | 14260319 | 89.31% | 0% | 0%
393 | STORES EQUIPMENT | 551794.27 | 0 | 0% | 0% | 0%
394 | TOOLS, SHOP AND GARAGE EQUIPMENT | 7648755.44 | 0 | 0% | 0% | 0%
396.3 | POWER OPERATED EQUIPMENT - LARGE MACHINERY | 1174225.44 | 269509 | 22.95% | 0% | 0%
397.1 | COMMUNICATION EQUIPMENT - GENERAL ASSETS | 10171295.9 | 0 | 0% | 0% | 0%
397.2 | COMMUNICATION EQUIPMENT - SPECIFIC ASSETS | 19915035.9 | 0 | 0% | 0% | 0%
397.3 | COMMUNICATION EQUIPMENT - FULLY ACCRUED | 786233.2 | 0 | 0% | 0% | 0%
| TOTAL GENERAL PLANT | 134925833.27
Note on G44: SK Test: Combine amounts used in calculations
Note on G46: SK Test: Combined amounts used in calculations
Note on G81: SK Test: Combined amounts used in calculation.