## KU Ratios
(KU used LE in error)
| Rate RS | Rate GS | Rate AES | PS Secondary | PS Primary | TOD Secondary | TOD Primary | RTS | TE
Allocators from Load Research Data
Sum of the Individual Customer Demand | 4034432.3355 | 932584.5581 | 55457.2376 | 737213.7519 | 192381.2682 | 99763.6432 | 786623.7273 | 309253.7899 | 9.6992
Maximum Class Non-Coincident Peak Demand | 1752066.7718 | 538546.4767 | 50815.7149 | 598716.0038 | 162870.1236 | 79968.8426 | 657068.2151 | 276358.7748 | 9.6992
Summer Peak Period Demand | 1401109.3265 | 428550.4912 | 24503.4551 | 555356.7441 | 152348.6249 | 78673.4049 | 559177.544 | 241913.7925 | 0
Winter Peak Period Demand | 1571845.588 | 434246.2533 | 29464.224 | 441140.7793 | 108476.8506 | 59132.2435 | 506574.9866 | 231809.1971 | 0
Base Demand | 735533.38 | 240420.89 | 19492.23 | 379826.12 | 96148.75 | 51116.06 | 270918.09 | 187329.72 | 4.96
Known Allocator for Comparison | Base | Base + SICD | Base + SICD | SICD | SICD | SICD | SICD | SICD | Base
Sum of the Individual Customer Demand | 5.485 | 3.879 | 1 | 1 | 1 | 1 | 1 | 1 | 1.9555
Maximum Class Non-Coincident Peak Demand | 2.382 | 2.24 | 0.9163 | 0.81213 | 0.8466 | 0.80158 | 0.8353 | 0.89363 | 1.9555
Summer Peak Period Demand | 1.9049 | 1.7825 | 0.44184 | 0.75332 | 0.79191 | 0.7886 | 0.71086 | 0.78225 | 0
Winter Peak Period Demand | 2.137 | 1.8062 | 0.5313 | 0.59839 | 0.56386 | 0.59272 | 0.64399 | 0.74958 | 0
Base Demand | 1 | 1 | 0.35148 | 0.51522 | 0.49978 | 0.51237 | 0.34441 | 0.60575 | 1
Average 12 CP | 1331272.5228 | 341682.0295 | 33693.4222 | 452563.5243 | 116524.604 | 61285.3109 | 509247.9384 | 214257.6168 | 1.6165
Ratio | 1.8099 | 1.4212 | 0.60756 | 0.61388 | 0.6057 | 0.61431 | 0.64738 | 0.69282 | 0.32591
Average PJM 5 CP | 1373903.4229 | 427831.8436 | 23685.3524 | 573978.0434 | 146364.5005 | 77800.0007 | 592895.6343 | 240796.1684 | 0
Ratio | 1.8679 | 1.7795 | 0.42709 | 0.77858 | 0.7608 | 0.77984 | 0.75372 | 0.77864 | 0
TRANSFER TO - BASE/SICD
Rate RS | 102.874 | 894.4274
Rate GS | 271.9096 | 155.1192 | 7.4164 | 13708.8333 | 161.25 | 4182.6667 | 1551.3333 |  | 7.4164
Rate AES |  | 90.2342 |  | 121.3333
PS Secondary |  | 5603.0819 | 25.9167 |  | 850.5833 | 5144.8333
PS Primary |  | 8.7008 |  | 198.3333 |  | 276.25 | 18574.4167
TOD Secondary
TOD Primary
RTS | [6 empty] | 361.2167
TE
Summer CP
Transfer to | 713.921 | 12034.6692 | 14.728 | 10567.9283 | 801.2808 | 7573.4976 | 14563.3183 | 0 | 0
Transfer from | 1790.2813 | 15653.7672 | 252.2453 | 14729.741 | 13586.5348 | 0 | 0 | 256.7737 | 0
Net | -1076.3602 | -3619.098 | -237.5172 | -4161.8127 | -12785.254 | 7573.4976 | 14563.3183 | -256.7737 | 0
Average 12CP
Transfer to | 678.3364 | 9595.2058 | 20.2518 | 8611.8678 | 612.8636 | 5899.6322 | 13262.9428 | 0 | 2.4171
Transfer from | 1457.3407 | 12806.5567 | 202.7239 | 11654.4417 | 12328.6086 | 0 | 0 | 233.846 | 0
Net | -779.0043 | -3211.3509 | -182.4722 | -3042.5738 | -11715.7449 | 5899.6322 | 13262.9428 | -233.846 | 2.4171
Average PJM 5CP
Transfer to | 700.0585 | 12014.4879 | 14.2363 | 10922.2745 | 769.8072 | 7489.4193 | 15441.4781 | 0 | 0
Transfer from | 1783.8026 | 16014.2714 | 255.0403 | 14641.1109 | 14385.2798 | 0 | 0 | 272.257 | 0
Net | -1083.7441 | -3999.7835 | -240.804 | -3718.8363 | -13615.4726 | 7489.4193 | 15441.4781 | -272.257 | 0
CCOSS Model Classes
| Residential | General Service | All Electric School | Power Service | Power Service | Time of Day | Time of Day | Retail Transmission | Fluctuating Load | Outdoor Lighting | Lighting Energy | Traffic Energy
| Rate RS | GSS | AES | PS-Secondary | PS-Primary | TOD-Secondary | TOD-Primary | RTS | FLS - Transmission | ST & POL | LE | TE
CCOSS Summer CP | -1076.3602 | -3619.098 | -237.5172 | -4161.8127 | -12785.254 | 7573.4976 | 14563.3183 | -256.7737 | 0 | 0 | 0 | 0
Summer CP | -1076.3602 | -3619.098 | -237.5172 | -4161.8127 | -12785.254 | 7573.4976 | 14563.3183 | -256.7737 | 0 | 0 | 0 | 0
Average 12CP | -779.0043 | -3211.3509 | -182.4722 | -3042.5738 | -11715.7449 | 5899.6322 | 13262.9428 | -233.846 | 0 | 0 | 0 | 2.4171
Average PJM 5CP | -1083.7441 | -3999.7835 | -240.804 | -3718.8363 | -13615.4726 | 7489.4193 | 15441.4781 | -272.257 | 0 | 0 | 0 | 0
This is to verify that our calculation method matches the Company's result and rate class grouping.

## KU Rate Switch Adj Calc
Test Year Billing Determinants at Original Rates
Rate Switch To: | From Rate Category: | Customer-Months on the Old Rate | Energy -- kWh on Old Rate | Summer or Peak Demand, kW or kVa on Old Rate | Winter or Intermediate Demand, kW or kVa on Old Rate | Basic Demand, kW or kVa on Old Rate | Average Annual kWh per Cust | Known Customer Summer kW moving from Rate | Known Customer Winter kW moving from Rate | Average kW per Customer | Sum of the Individual Customer Demand | Maximum Class Non-Coincident Peak Demand | Summer Peak Period Demand | Winter Peak Period Demand | Base Demand | Net Sum of the Individual Customer Demand Adjustment | Net Maximum Class Non-Coincident Peak Demand Adjustment | Net Summer Peak Period Demand Adjustment | Net Winter Peak Period Demand Adjustment | Net Base Demand Adjustment
Rate RS | GS | 583 | 198087 | 0 | 0 | 0 | 4077.2624 | 0 | 0 | 0.46544 | 1488.3777 | 646.3703 | 516.8955 | 579.8833 | 271.3521
| GS 3 phase | 1 | 407 | 0 | 0 | 0 | 4884 | 0 | 0 | 0.55753 | 3.0581 | 1.3281 | 1.062 | 1.1915 | 0.55753
| VFD | 34 | 75098 | 0 | 0 | 0 | 26505.1765 | 0 | 0 | 3.0257 | 564.2682 | 245.0495 | 195.9635 | 219.8432 | 102.874
|  | 618 | 273592 | 0 | 0 | 0 | [9 empty] | -1978.018 | -1355.8327 | -1076.3602 | -1034.4327 | -622.5178
Rate GS | RS | 471 | 468872 | 0 | 0 | 0 | 11945.7834 | 0 | 0 | 1.3637 | 2491.4229 | 1438.7404 | 1144.8833 | 1160.0997 | 642.2904
| VFD | 10 | 33577 | 0 | 0 | 0 | 40292.4 | 0 | 0 | 4.5996 | 178.4165 | 103.0315 | 81.9877 | 83.0774 | 45.9959
| GS 3 phase | 53 | 113237 | 0 | 0 | 0 | 25638.566 | 0 | 0 | 2.9268 | 601.7021 | 347.4693 | 276.5001 | 280.175 | 155.1192
| AES | 15 | 53213 | 0 | 0 | 0 | 42570.4 | 0 | 0 | 4.8596 | 282.7554 | 163.2848 | 129.9346 | 131.6615 | 72.8945
| PS Secondary | 1021 | 6873463 | 30663 | 20449 | 0 | 80785.0695 | 30663 | 20449 |  | 4259.3333 | 2459.6686 | 1957.291 | 1983.3049 | 1098.0588
|  | 1570 | 7542362 | 30663 | 20449 | 0
Rate GS 3 Phase | RS | 18 | 150483 | 0 | 0 | 0 | 100322 | 0 | 0 | 11.4523 | 799.6144 | 461.7592 | 367.4467 | 372.3304 | 206.1411
| AES | 5 | 12658 | 0 | 0 | 0 | 30379.2 | 0 | 0 | 3.4679 | 67.2602 | 38.8413 | 30.9081 | 31.3189 | 17.3397
| PS Secondary | 2072 | 19563972 | 164231 | 45467 | 0 | 113304.8571 | 164231 | 45467 |  | 17474.8333 | 10091.3208 | 8030.2085 | 8136.936 | 4505.0231
| PS Primary | 13 | 142240 | 255 | 150 | 0 | 131298.4615 | 255 | 150 |  | 33.75 | 19.4899 | 15.5091 | 15.7153 | 8.7008
|  | 2108 | 19869353 | 164486 | 45617 | 0 | [9 empty] | 4469.9478 | -1811.364 | -3619.098 | -442.9144 | -3506.4906
Rate AES | GS | 3 | 5414 | 0 | 0 | 0 | 21656 | 0 | 0 | 2.4721 | 7.4164 | 6.7957 | 3.2769 | 3.9403 | 2.6067
Rate AES 3 Phase | PS Secondary | 2 | 76800 | 131 | 180 | 0 | 460800 | 131 | 180 |  | 25.9167 | 23.7476 | 11.4511 | 13.7694 | 9.1092
[16 empty] | -438.0158 | -270.1217 | -237.5172 | -217.8752 | -141.0314
PS Secondary | GS (a) | 603 | 17508813 | 33564 | 24666 | 0 | 348434.0896 | 33564 | 24666 |  | 4852.5 | 3940.8779 | 3655.4779 | 2903.6838 | 2500.0975
| GS 3 Phase (a) | 1089 | 32379484 | 58842 | 47434 | 0 | 356798.7218 | 58842 | 47434 |  | 8856.3333 | 7192.5252 | 6671.6396 | 5299.5346 | 4562.9463
| AES 3 Phase | 6 | 317560 | 728 | 728 | 0 | 635120 | 728 | 728 |  | 121.3333 | 98.5389 | 91.4026 | 72.6046 | 62.5132
| PS Primary | 24 | 767547 | 1961 | 419 | 0 | 383773.5 | 1961 | 419 |  | 198.3333 | 161.0731 | 149.4082 | 118.6805 | 102.185
|  | 1722 | 50973404 | 95095 | 73247 | 0 | [9 empty] | -13727 | -6025.8373 | -4161.8127 | -5268.5831 | -1445.6224
PS Primary | PS Secondary | 9 | 5071800 | 5639 | 4568 | 0 | 6762400 | 5639 | 4568 |  | 850.5833 | 720.1045 | 673.5853 | 479.6132 | 425.1065
| GS 3 Phase (a) | 2 | 425800 | 1051 | 884 | 0 | 2554800 | 1051 | 884 |  | 161.25 | 136.5144 | 127.6955 | 90.9231 | 80.5899
|  | 11 | 5497600 | 6690 | 5452 | 0 | [9 empty] | -18070.9167 | -15060.6251 | -12785.254 | -11689.2712 | -6143.8763
TOD Secondary | GS (a) | 48 | 5342200 | 16938 | 8067 | 0 | 1335550 | 16938 | 8067 |  | 2083.75 | 1670.2986 | 1643.241 | 1235.0873 | 1067.6544
| GS 3 Phase (a) | 51 | 6893560 | 9955 | 15232 | 0 | 1622014.1176 | 9955 | 15232 |  | 2098.9167 | 1682.456 | 1655.2014 | 1244.077 | 1075.4253
| PS Secondary | 107 | 26356116 | 37442 | 24296 | 0 | 2955826.0935 | 37442 | 24296 |  | 5144.8333 | 4124.0111 | 4057.205 | 3049.463 | 2636.0666
| PS Primary | 8 | 1687600 | 2133 | 1182 | 0 | 2531400 | 2133 | 1182 |  | 276.25 | 221.4373 | 217.8502 | 163.7398 | 141.5427
|  | 214 | 40279476 | 66468 | 48777 | 0 | [9 empty] | 9603.75 | 7698.2029 | 7573.4976 | 5692.3671 | 4920.689
TOD Primary | GS (a) | 12 | 4433400 | 10501 | 5691 | 0 | 4433400 | 10501 | 5691 |  | 1349.3333 | 1127.1006 | 959.184 | 868.9523 | 464.7188
| GS 3 Phase (a) | 3 | 538200 | 881 | 1543 | 0 | 2152800 | 881 | 1543 |  | 202 | 168.731 | 143.5933 | 130.0853 | 69.5701
| PS Secondary | 0 | 0 | 0 | 0 | 0
| PS Primary | 165 | 82159500 | 131890 | 91003 | 0 | 5975236.3636 | 131890 | 91003 |  | 18574.4167 | 15515.2437 | 13203.7674 | 11961.6718 | 6397.1443
| RTS | 1 | 1973830 | 4334.6 | 4334.6 | 4334.6 | 23685960 | 4334.6 | 0 |  | 361.2167 | 301.7249 | 256.7737 | 232.6186 | 124.4053
|  | 181 | 89104930 | 147606.6 | 102571.6 | 4334.6 | [9 empty] | 20486.9667 | 17112.8001 | 14563.3183 | 13193.328 | 7055.8384
TE | GS | 3 | 853 | 0 | 0 | 0 | 3412 | 0 | 0 | 0.3895 | 14.5027 | 14.5027 | 0 | 0 | 7.4164 | 14.5027 | 14.5027 | 0 | 0 | 7.4164
Total Moving to New Rates |  | 6432 | 213623784 | 511139.6 | 296293.6 | 4334.6 | [9 empty] | -361.2167 | -301.7249 | -256.7737 | -232.6186 | -124.4053
[16 empty] | -1.7053e-12 | -5.6843e-13 | 3.3538e-12 | 0 | -3.4106e-13
Test Year Billing Determinants at Original Rates
Rate Switch From | To Rate Category: | Customer-Months on the Old Rate | Energy -- kWh on Old Rate | Summer or Peak Demand, kW or kVa on Old Rate | Winter or Intermediate Demand, kW or kVa on Old Rate | Basic Demand, kW or kVa on Old Rate
Rate RS | GS | 471 | 468872 | 0 | 0 | 0 | 11945.7834 | 0 | 0 | 1.3637 | 2491.4229 | 1438.7404 | 1144.8833 | 1160.0997 | 642.2904
| GS 3 phase | 18 | 150483 | 0 | 0 | 0 | 100322 | 0 | 0 | 11.4523 | 799.6144 | 461.7592 | 367.4467 | 372.3304 | 206.1411
|  | 489 | 619355 | 0 | 0 | 0
Rate VFD | RS | 34 | 75098 | 0 | 0 | 0 | 26505.1765 | 0 | 0 | 3.0257 | 564.2682 | 245.0495 | 195.9635 | 219.8432 | 102.874
| GS | 10 | 33577 | 0 | 0 | 0 | 40292.4 | 0 | 0 | 4.5996 | 178.4165 | 103.0315 | 81.9877 | 83.0774 | 45.9959
|  | 44 | 108675 | 0 | 0 | 0
Rate GS | RS | 583 | 198087 | 0 | 0 | 0 | 4077.2624 | 0 | 0 | 0.46544 | 1488.3777 | 646.3703 | 516.8955 | 579.8833 | 271.3521
| AES | 3 | 5414 | 0 | 0 | 0 | 21656 | 0 | 0 | 2.4721 | 7.4164 | 6.7957 | 3.2769 | 3.9403 | 2.6067
| PS Secondary | 603 | 17508813 | 33564 | 24666 | 0 | 348434.0896 | 33564 | 24666 | 39.7756 | 4852.5 | 3940.8779 | 3655.4779 | 2903.6838 | 2500.0975
| TOD Secondary | 48 | 5342200 | 16938 | 8067 | 0 | 1335550 | 16938 | 8067 | 152.46 | 2083.75 | 1670.2986 | 1643.241 | 1235.0873 | 1067.6544
| TOD Primary | 12 | 4433400 | 10501 | 5691 | 0 | 4433400 | 10501 | 5691 | 506.0959 | 1349.3333 | 1127.1006 | 959.184 | 868.9523 | 464.7188
| TE | 3 | 853 | 0 | 0 | 0 | 3412 | 0 | 0 | 0.3895 | 14.5027 | 14.5027 | 0 | 0 | 7.4164
|  | 1252 | 27488767 | 61003 | 38424 | 0
Rate GS 3 Phase | RS | 1 | 407 | 0 | 0 | 0 | 4884 | 0 | 0 | 0.55753 | 3.0581 | 1.3281 | 1.062 | 1.1915 | 0.55753
| GS | 53 | 113237 | 0 | 0 | 0 | 25638.566 | 0 | 0 | 2.9268 | 601.7021 | 347.4693 | 276.5001 | 280.175 | 155.1192
| PS Secondary | 1089 | 32379484 | 58842 | 47434 | 0 | 356798.7218 | 58842 | 47434 | 40.7304 | 8856.3333 | 7192.5252 | 6671.6396 | 5299.5346 | 4562.9463
| PS Primary | 2 | 425800 | 1051 | 884 | 0 | 2554800 | 1051 | 884 | 291.6438 | 161.25 | 136.5144 | 127.6955 | 90.9231 | 80.5899
| TOD Secondary | 51 | 6893560 | 9955 | 15232 | 0 | 1622014.1176 | 9955 | 15232 | 185.1614 | 2098.9167 | 1682.456 | 1655.2014 | 1244.077 | 1075.4253
| TOD Primary | 3 | 538200 | 881 | 1543 | 0 | 2152800 | 881 | 1543 | 245.7534 | 202 | 168.731 | 143.5933 | 130.0853 | 69.5701
|  | 1199 | 40350688 | 70729 | 65093 | 0
Rate AES | GS | 15 | 53213 | 0 | 0 | 0 | 42570.4 | 0 | 0 | 4.8596 | 282.7554 | 163.2848 | 129.9346 | 131.6615 | 72.8945
| GS 3 Phase | 5 | 12658 | 0 | 0 | 0 | 30379.2 | 0 | 0 | 3.4679 | 67.2602 | 38.8413 | 30.9081 | 31.3189 | 17.3397
|  | 20 | 65871 | 0 | 0 | 0
Rate AES 3 Phase | PS Secondary | 6 | 317560 | 728 | 728 | 0 | 635120 | 728 | 728 | 72.5023 | 121.3333 | 98.5389 | 91.4026 | 72.6046 | 62.5132
PS Secondary | GS | 1021 | 6873463 | 30663 | 20449 | 0 | 80785.0695 | 30663 | 20449 | 9.222 | 4259.3333 | 2459.6686 | 1957.291 | 1983.3049 | 1098.0588
| GS 3 Phase | 2072 | 19563972 | 164231 | 45467 | 0 | 113304.8571 | 164231 | 45467 | 12.9343 | 17474.8333 | 10091.3208 | 8030.2085 | 8136.936 | 4505.0231
| AES 3 Phase | 2 | 76800 | 131 | 180 | 0 | 460800 | 131 | 180 | 52.6027 | 25.9167 | 23.7476 | 11.4511 | 13.7694 | 9.1092
| PS Primary | 9 | 5071800 | 5639 | 4568 | 0 | 6762400 | 5639 | 4568 | 771.9635 | 850.5833 | 720.1045 | 673.5853 | 479.6132 | 425.1065
| TOD Secondary | 107 | 26356116 | 37442 | 24296 | 0 | 2955826.0935 | 37442 | 24296 | 337.4231 | 5144.8333 | 4124.0111 | 4057.205 | 3049.463 | 2636.0666
| TOD Primary | 0 | 0 | 0 | 0 | 0
|  | 3211 | 57942151 | 238106 | 94960 | 0
PS Primary | GS 3 Phase | 13 | 142240 | 255 | 150 | 0 | 131298.4615 | 255 | 150 | 14.9884 | 33.75 | 19.4899 | 15.5091 | 15.7153 | 8.7008
| PS Secondary | 24 | 767547 | 1961 | 419 | 0 | 383773.5 | 1961 | 419 | 43.8098 | 198.3333 | 161.0731 | 149.4082 | 118.6805 | 102.185
| TOD Secondary | 8 | 1687600 | 2133 | 1182 | 0 | 2531400 | 2133 | 1182 | 288.9726 | 276.25 | 221.4373 | 217.8502 | 163.7398 | 141.5427
| TOD Primary | 165 | 82159500 | 131890 | 91003 | 0 | 5975236.3636 | 131890 | 91003 | 682.1046 | 18574.4167 | 15515.2437 | 13203.7674 | 11961.6718 | 6397.1443
|  | 210 | 84756887 | 136239 | 92754 | 0
RTS | TOD Primary | 1 | 1973830 | 4334.6 | 4334.6 | 4334.6 | 23685960 | 4334.6 | 4334.6 | 2703.8767 | 361.2167 | 301.7249 | 256.7737 | 232.6186 | 124.4053
Total Moving From Previous Rates |  | 6432 | 213623784 | 511139.6 | 296293.6 | 4334.6
Net Change From Previous Rate to Current Rate