## LG&E
LOUISVILLE GAS AND ELECTRIC COMPANY
Assignment of Production and Transmission Demand-Related Costs
Minimum System Demand | 861
Winter System Peak Demand | 2593
Summer System Peak Demand | 2704
Assignment of Production and Transmission
Demand-Related Costs to the Costing Periods
Non-Time-Differentiated Capacity Costs
1. Minimum System Demand |  | 861
2. Maximum System Demand |  | 2704
3. Non-Time-Differentiated Capacity Factor (Line 1/Line 2) |  | 0.31842
4. Non-Time-Differentiated Cost (Line 3) |  |  | 31.84%
Winter Peak Period Costs
5. Maximum Winter System Demand |  | 2593
6. Intermediate Peak Period Capacity Factor (Line 5/Line2 - Line 3) |  | 0.64053
7. Winter Peak Period Hours |  | 2416
8. Summer Peak Period Hours |  | 1320
9. Total Summer and Winter Peak Period Hours (Line 7 + Line 8) |  | 3736
10. Winter Peak Period Costs (Line 7/Line 9 x Line 6) |  |  | 41.42%
Summer Peak Period Costs
11. Peak Capacity Factor (1.0000 - Line 3 - Line 6) |  | 0.04105
12. Summer Peak Period Costs (Line 11 + Line 8/Line 9 x Line 6) |  |  | 26.74%
100%

## KU
KENTUCKY UTILITIES
Assignment of Production and Transmission Demand-Related Costs
Minimum System Demand | 1393
Winter System Peak Demand | 4024
Summer System Peak Demand | 4147
Assignment of Production and Transmission
Demand-Related Costs to the Costing Periods
Non-Time-Differentiated Capacity Costs
1. Minimum System Demand |  | 1393
2. Maximum System Demand |  | 4147
3. Non-Time-Differentiated Capacity Factor (Line 1/Line 2) |  | 0.33591
4. Non-Time-Differentiated Cost (Line 3) |  |  | 33.59%
Winter Peak Period Costs
5. Maximum Winter System Demand |  | 4024
6. Intermediate Peak Period Capacity Factor (Line 5/Line2 - Line 3) |  | 0.63443
7. Winter Peak Period Hours |  | 2416
8. Summer Peak Period Hours |  | 1320
9. Total Summer and Winter Peak Period Hours (Line 7 + Line 8) |  | 3736
10. Winter Peak Period Costs (Line 7/Line 9 x Line 6) |  |  | 41.03%
Summer Peak Period Costs
11. Peak Capacity Factor (1.0000 - Line 3 - Line 6) |  | 0.02966
12. Summer Peak Period Costs (Line 11 + Line 8/Line 9 x Line 6) |  |  | 25.38%
100%

## Combined
LOUISVILLE GAS AND ELECTRIC COMPANY AND KENTUCKY UTILITIES
Assignment of Production and Transmission Demand-Related Costs
Based on the 12 Months Ended March 31, 2012
Minimum System Demand | 2321
Winter System Peak Demand | 5704.361
Summer System Peak Demand | 6756
Assignment of Production and Transmission
Demand-Related Costs to the Costing Periods
Non-Time-Differentiated Capacity Costs
1. Minimum System Demand |  | 2321
2. Maximum System Demand |  | 6756
3. Non-Time-Differentiated Capacity Factor (Line 1/Line 2) |  | 0.34355
4. Non-Time-Differentiated Cost (Line 3) |  |  | 34.35%
Winter Peak Period Costs
5. Maximum Winter System Demand |  | 5704.361
6. Intermediate Peak Period Capacity Factor (Line 5/Line2 - Line 3) |  | 0.50079
7. Winter Peak Period Hours |  | 2416
8. Summer Peak Period Hours |  | 1320
9. Total Summer and Winter Peak Period Hours (Line 7 + Line 8) |  | 3736
10. Winter Peak Period Costs (Line 7/Line 9 x Line 6) |  |  | 32.39%
Summer Peak Period Costs
11. Peak Capacity Factor (1.0000 - Line 3 - Line 6) |  | 0.15566
12. Summer Peak Period Costs (Line 11 + Line 8/Line 9 x Line 6) |  |  | 33.26% | 100%