## Total Cost per Rate
Service Installation Costs
Capitalized Costs by Rate Class
| Non-Burdened | Burdened
RS | 181.479 | 296.6178
GS | 661.7981 | 996.006
PS-S | 496.342 | 797.2601
TOD-S | 309.86 | 606.7843
AES-S | 309.86 | 606.7843

## Material and Labor
| Labor Burden Rate | 114.9%
| Material Burden Rate | 32.3%
|  |  | Non-Burdened | Burdened
Labor
| Line Tech A | 1hr | 34.06 | 73.1813
Cable
7000416 | #2 Triplex, OH | ft | 0.55 | 0.72765
7000410 | 2/0 Triplex, OH | ft | 0.95 | 1.2569
7000412 | 397 Triplex, OH | ft | 2.56 | 3.3869
7000407 | 2/0 Quad, OH | ft | 1.17 | 1.5479
7000409 | 397 quad, OH | ft | 3.73 | 4.9348
7001428 | 2/0 triplex, UG | ft | 0.91 | 1.2039
7001429 | 4/0 Triplex, UG | ft | 1.29 | 1.7067
7003425 | 350mcm Triplex, UG | ft | 2.14 | 2.8312
938460 | 4/0 Quad, UG | ft | 1.84 | 2.4343
938478 | 350 Quad, UG | ft | 3.24 | 4.2865
Conduit
7006683 | 2 1/2" Sched 40, 10ft | ea | 0.77 | 1.0187
7006684 | 3" Sched 40, 10ft | ea | 0.93 | 1.2304
7006685 | 4" Sched 40. 10ft | ea | 1.4 | 1.8522
7000662 | 2 1/2" Sched 80, 10ft | ea | 1.15 | 1.5214
7000661 | 3" Sched 80, 10ft | ea | 1.43 | 1.8919
7000660 | 4" Sched 80, 10ft | ea | 2.22 | 2.9371
7001207 | 2 1/2" Elbow, Sched 40, 24" Radius | ea | 7.02 | 9.2875
7001208 | 3" Elbow, Sched 40, 24" Radius | ea | 11.34 | 15.0028
7001210 | 4" Elbow, Sched 40, 24" Radius | ea | 15.47 | 20.4668
7001223 | 2 1/2" Elbow, Sched 80, 24" Radius | ea | 16.58 | 21.9353
7001224 | 3" Elbow, Sched 80, 24" Radius | ea | 16.85 | 22.2926
7002447 | 4" Elbow, Sched 80, 24" Radius | ea | Do not use this size
7001167 | Standoffs | ea | 10.77 | 14.2487
7003022 | Lag Screws | ea | 0.62 | 0.82026
7001733 | Straps, 2 1/2" | ea | 1.43 | 1.8919
7001242 | Straps, 3" | ea | 1.85 | 2.4476
7001241 | Straps, 4" | ea | 2.99 | 3.9558
7005143 | Wedge Clamps | ea | 1.64 | 2.1697
| Fanner for 397 Triplex and Quad | ea
Connectors
See Below | Connectors, 189 thru 419, Average | ea | 0.59333 | 0.78498
See Below | Connectors, Large Size, Average | ea | 2.955 | 3.9095
7000551 | 350mcm and 600mcm paddles, Average | ea | 8 | 10.584
| Set Screw Connector, 2 hole | ea | 8.51 | 11.2587
| Set Screw Connector, 4 hole | ea | 14.84 | 19.6333
479678 | Set Screw Connector, 8 hole | ea | 17.86 | 23.6288
Average these for small conectors
7000421 | WR 189 | ea | 0.35 | 0.46305
7000423 | WR 279 | ea | 0.57 | 0.75411
7000422 | WR 289 | ea | 0.61 | 0.80703
7000424 | WR 379 | ea | 0.65 | 0.85995
7000425 | WR 399 | ea | 0.69 | 0.91287
7003769 | WR 419 | ea | 0.69 | 0.91287
|  |  | 0.59333 | 0.78498
Average these for large connectors
7000435 | WR 885 | ea | 3.15 | 4.1674
7003239 | WR 815 | ea | 2.63 | 3.4795
7000430 | WR 739 | ea | 2.99 | 3.9558
7000429 | WR 719 | ea | 3.05 | 4.0351
|  |  | 2.955 | 3.9095

## RS
RS |  | Average Cost: |  |  | 181.479 | 296.6178 | 112.6418 | 149.0251
Residential 200amp
200amp UG from Padmount Transformer |  | Non-Burdened | Burdened |  | Non-Burdened | Burdened
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 1.5 | 51.09 | 109.772
2/0 Triplex, UG | ft | 0.91 | 1.2039 | 125 | 113.75 | 150.4913
|  |  |  | Total | 164.84 | 260.2632
200amp UG from pole
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 3 | 102.18 | 219.5439
2/0 Triplex, UG | ft | 0.91 | 1.2039 | 160 | 145.6 | 192.6288
Standoffs | ea | 10.77 | 14.2487 | 3 | 32.31 | 42.7461
Straps, 2 1/2" | ea | 1.43 | 1.8919 | 3 | 4.29 | 5.6757
Lag Screws | ea | 0.62 | 0.82026 | 12 | 7.44 | 9.8431
Conduit, 2 1/2" Sched 80, 10ft | ea | 1.15 | 1.5214 | 1 | 1.15 | 1.5214
Conduit, 2 1/2" Sched 40, 10ft | ea | 0.77 | 1.0187 | 2 | 1.54 | 2.0374
Connectors, 189-419 | ea | 0.59333 | 0.78498 | 3 | 1.78 | 2.3549
|  |  |  | Total | 296.29 | 476.3515
200amp OH service
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 2.5 | 85.15 | 182.9533
2/0 Triplex, OH | ft | 0.55 | 0.72765 | 125 | 68.75 | 90.9563
Connectors, 189-419 | ea | 0.59333 | 0.78498 | 3 | 1.78 | 2.3549
Wedge Clamps | ea | 1.64 | 2.1697 | 2 | 3.28 | 4.3394
|  |  |  | Total | 158.96 | 280.6039
UG service 80% are from padmount and 20% are from pole.
Total
UG are 70% and OH are 30%

## GS
GS |  | Average Cost: |  |  | 661.7981 | 996.006
General Service-Non-Residential
0-50kw, 1 and 3 phase service
|  | Non-Burdened | Burdened |  | Non-Burdened | Burdened
200amp, 1 phase or 3 phase, UG, Single Customer (Cust supplies cable)
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 1 | 34.06 | 73.1813
|  |  |  | Total | 34.06 | 73.1813
200amp, 1 phase, Multiple Customer, From Padmount (KU supplies cable, generally 6 gang meter base)
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 4 | 136.24 | 292.7253
350mcm Triplex, UG | ft | 2.14 | 2.8312 | 250 | 535 | 707.805
Set Screw Connectors, 2 hole | ea | 8.51 | 11.2587 | 4 | 34.04 | 45.0349
|  |  |  | Total | 705.28 | 1045.5652
200amp, 3 phase, Multiple Customer, From Padmount (KU supplies cable, generally 6 gang meterbase)
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 5 | 170.3 | 365.9066
350mcm Quad, UG | ft | 3.24 | 4.2865 | 250 | 810 | 1071.63
Set Screw Connectors, 2 hole | ea | 8.51 | 11.2587 | 4 | 34.04 | 45.0349
|  |  |  | Total | 1014.34 | 1482.5715
200amp, 3 phase, Multiple Customer, From Pole (KU supplies cable, generally 6 gang meterbase)
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 9 | 306.54 | 658.6318
350mcm Quad, UG | ft | 3.24 | 4.2865 | 320 | 1036.8 | 1371.6864
Standoffs | ea | 10.77 | 14.2487 | 3 | 32.31 | 42.7461
Straps, 4" | ea | 2.99 | 3.9558 | 6 | 17.94 | 23.7346
Lag Screws | ea | 0.62 | 0.82026 | 12 | 7.44 | 9.8431
Conduit, Sched 80, 4", 10ft | ea | 2.22 | 2.9371 | 2 | 4.44 | 5.8741
Conduit, Sched 40, 4", 10ft | ea | 1.4 | 1.8522 | 4 | 5.6 | 7.4088
Connectors, Large Size, Average | ea | 2.955 | 3.9095 | 8 | 23.64 | 31.2757
|  |  |  | Total | 1434.71 | 2151.2008
200amp, 3 phase, OH, Single Customer
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 2.7 | 91.962 | 197.5896
2/0 Quad, OH | ft | 1.17 | 1.5479 | 125 | 146.25 | 193.4887
Wedge Clamp | ea | 1.64 | 2.1697 | 2 | 3.28 | 4.3394
Connectors, 189 thru 419, Average | ea | 0.59333 | 0.78498 | 8 | 4.7467 | 6.2798
|  |  |  | Total | 246.2387 | 401.6976
200amp, 3 phase, OH, Multiple Customers
Labor (Line Tech A) | 1 Manhour | 34.06 | 73.1813 | 4 | 136.24 | 292.7253
397 Quad, OH | ft | 3.73 | 4.9348 | 100 | 373 | 493.479
Wedge Clamp | ea | 1.64 | 2.1697 | 2 | 3.28 | 4.3394
Connectors, Large Size, Average | ea | 2.955 | 3.9095 | 8 | 23.64 | 31.2757
|  |  |  | Total | 536.16 | 821.8194
Lexington is estimated to be 70%/30% split UG/OH
Rest of state is estimated heavily OH
Results would be 50/50 split of all types

## PS-S
PS-S |  | Average Cost: |  |  | 496.342 | 797.2601
50-250kw
400amp up to 800amp, 3 phase
Generally Single Customer
Padmount Source
Line Tech A | 1 Manhour | 34.06 | 73.1813 | 4 | 136.24 | 292.7253
Set Screw Connector, 2 hole | ea | 8.51 | 11.2587 | 4 | 34.04 | 45.0349
|  |  |  | Total | 170.28 | 337.7602
OH source, UG Service
Line Tech A | 1 Manhour | 34.06 | 73.1813 | 9 | 306.54 | 658.6318
350 Quad, UG | ft | 3.24 | 4.2865 | 320 | 1036.8 | 1371.6864
Standoffs | ea | 10.77 | 14.2487 | 3 | 32.31 | 42.7461
Straps, 4" | ea | 2.99 | 3.9558 | 6 | 17.94 | 23.7346
Lag Screws | ea | 0.62 | 0.82026 | 12 | 7.44 | 9.8431
4" Sched 40. 10ft | ea | 1.4 | 1.8522 | 4 | 5.6 | 7.4088
4" Sched 80, 10ft | ea | 2.22 | 2.9371 | 2 | 4.44 | 5.8741
Connectors, Large Size, Average | ea | 2.955 | 3.9095 | 8 | 23.64 | 31.2757
|  |  |  | Total | 1434.71 | 2151.2008
OH Source, OH Service
Line Tech A | 1 Manhour | 34.06 | 73.1813 | 4 | 136.24 | 292.7253
397 quad, OH | ft | 3.73 | 4.9348 | 100 | 373 | 493.479
Wedge Clamp | ea | 1.64 | 2.1697 | 2 | 3.28 | 4.3394
Connectors, Large Size, Average | ea | 2.955 | 3.9095 | 8 | 23.64 | 31.2757
|  |  |  | Total | 536.16 | 821.8194
Generally not multi-metered
Based on:
60% padmount source
40% served from OH source (split 50/50)

## TOD-S and AES-S
Time of Day and All Electric School |  | Average Cost: |  |  | 309.86 | 606.7843
250kw - 5000kw
Padmount Source
Line Tech A | 1 Manhour | 34.06 | 73.1813 | 7 | 238.42 | 512.2692
Set Screw Connector, 8 hole | ea | 17.86 | 23.6288 | 4 | 71.44 | 94.5151
|  |  |  | Total | 309.86 | 606.7843
Padmount Served
Single meter
Customer installs cable
X8 - 600mcm average service