## 2012
Schedule GAW-2
Kentucky Utilities & LG&E
Test Year Generation Statistics
[14 empty] | Total |  |  | Total | Total
|  | Percent Ownership |  |  | Generator | Nameplate Ownership |  |  | Gross MWH | Net MWH | Generation | TY Gross Investment |  | Gross | Depreciation Reserve |  | Depreciation | Net | Maxs | Capacity Factor |  |  | Net Investment
Generating Unit | Fuel | KU | LG&E | Other | Nameplate (MW) | KU | LG&E | Other | Produced | Produced | Order | KU | LG&E | Investment | KU | LG&E | Reserve | Investment | MWH | Net | Gross |  | Energy | Demand
Ghent 2 | Coal | 100% |  |  | 556 | 556 |  |  | 3635340 | 3341264 | 3 | 273472042 |  | 273472042 | -190083224 |  | -190083224 | 83388818 | 4870560 | 68.6% | 74.64% | Base | 83388818 | 0
Ghent 1 | Coal | 100% |  |  | 557 | 557 |  |  | 3546945 | 3282901 | 7 | 457703835 |  | 457703835 | -186215746 |  | -186215746 | 271488089 | 4879320 | 67.28% | 72.69% | Base | 271488089 | 0
Trimble County 1 | Coal |  | 75% | 25% | 566 |  | 424.5 | 141.5 | 3607977 | 3308126 | 2 |  | 515981742 | 515981742 |  | -237557028 | -237557028 | 278424714 | 4958160 | 66.72% | 72.77% | Base | 278424714 | 0
Mill Creek 4 | Coal |  | 100% |  | 544 |  | 544 |  | 3447708 | 3150394 | 6 |  | 510585061 | 510585061 |  | -282006078 | -282006078 | 228578983 | 4765440 | 66.11% | 72.35% | Base | 228578983 | 0
Mill Creek 1 | Coal |  | 100% |  | 356 |  | 356 |  | 2287465 | 2053056 | 4 |  | 171459453 | 171459453 |  | -119312463 | -119312463 | 52146990 | 3118560 | 65.83% | 73.35% | Base | 52146990 | 0
Trimble County 2 | Coal | 60.75% | 14.25% | 25% | 838 | 509.085 | 119.415 | 209.5 | 5126802 | 4740434 | 1 | 826660812 | 193298671 | 1019959483 | -102647709 | -10364745 | -113012454 | 906947029 | 7340880 | 64.58% | 69.84% | Base | 906947029 | 0
Ghent 3 | Coal | 100% |  |  | 557 | 557 |  |  | 3242660 | 2940071 | 8 | 778865366 |  | 778865366 | -301031231 |  | -301031231 | 477834135 | 4879320 | 60.26% | 66.46% | Base | 477834135 | 0
Ghent 4 | Coal | 100% |  |  | 556 | 556 |  |  | 3093325 | 2801767 | 11 | 426413546 |  | 426413546 | -188011561 |  | -188011561 | 238401985 | 4870560 | 57.52% | 63.51% | Base | 238401985 | 0
Cane Run 4 | Coal |  | 100% |  | 164 |  | 164 |  | 884818 | 807948 | 24 |  | 82888694 | 82888694 |  | -66185231 | -66185231 | 16703463 | 1436640 | 56.24% | 61.59% | Base | 16703463 | 0
Mill Creek 2 | Coal |  | 100% |  | 356 |  | 356 |  | 1964196 | 1734022 | 5 |  | 132002570 | 132002570 |  | -91946259 | -91946259 | 40056311 | 3118560 | 55.6% | 62.98% | Base | 40056311 | 0
Mill Creek 3 | Coal |  | 100% |  | 463 |  | 463 |  | 2242869 | 2051810 | 10 |  | 284377385 | 284377385 |  | -161737586 | -161737586 | 122639799 | 4055880 | 50.59% | 55.3% | Intermediate | 62041669.3754 | 60598129.6246
Green River 4 | Coal | 100% |  |  | 114 | 114 |  |  | 542901 | 501882 | 9 | 46859950 |  | 46859950 | -38271009 |  | -38271009 | 8588941 | 998640 | 50.26% | 54.36% | Intermediate | 4316505.3342 | 4272435.6658
Cane Run 5 | Coal |  | 100% |  | 209 |  | 209 |  | 987054 | 905328 | 18 |  | 97221510 | 97221510 |  | -73589671 | -73589671 | 23631839 | 1830840 | 49.45% | 53.91% | Intermediate | 11685655.5123 | 11946183.4877
Green River 3 | Coal | 100% |  |  | 75 | 75 |  |  | 350701 | 320975 | 23 | 27716488 |  | 27716488 | -17627185 |  | -17627185 | 10089303 | 657000 | 48.85% | 53.38% | Intermediate | 4929092.8926 | 5160210.1074
Cane Run 6 | Coal |  | 100% |  | 272 |  | 272 |  | 1253786 | 1138782 | 21 |  | 153644905 | 153644905 |  | -97237301 | -97237301 | 56407604 | 2382720 | 47.79% | 52.62% | Intermediate | 26959090.4925 | 29448513.5075
Brown 2 | Coal | 100% |  |  | 180 | 180 |  |  | 651887 | 581164 | 25 | 59125163 |  | 59125163 | -30234057 |  | -30234057 | 28891106 | 1576800 | 36.86% | 41.34% | Intermediate | 10648446.6815 | 18242659.3185
Brown 3 | Coal | 100% |  |  | 464 | 464 |  |  | 1464795 | 1298614 | 27 | 617105989 |  | 617105989 | -147403796 |  | -147403796 | 469702193 | 4064640 | 31.95% | 36.04% | Intermediate | 150065403.9867 | 319636789.0133
Brown 1 | Coal | 100% |  |  | 114 | 114 |  |  | 331614 | 275317 | 32 | 76780399 |  | 76780399 | -40396765 |  | -40396765 | 36383634 | 998640 | 27.57% | 33.21% | Intermediate | 10030674.6795 | 26352959.3205
Trimble County 6 | Gas | 71% | 29% |  | 199 | 141.29 | 57.71 |  | 94809 | 93551 | 13 | 44764108 | 18154647 | 62918755 | -11870032 | -4882569 | -16752601 | 46166154 | 1743240 | 5.367% | 5.439% | Peak | 0 | 46166154
Trimble County 7 | Gas | 63% | 37% |  | 199 | 125.37 | 73.63 |  | 93192 | 91965 | 14 | 34198560 | 20038300 | 54236860 | -9134044 | -5401864 | -14535908 | 39700952 | 1743240 | 5.276% | 5.346% | Peak | 0 | 39700952
Trimble County 9 | Gas | 63% | 37% |  | 199 | 125.37 | 73.63 |  | 87040 | 85420 | 16 | 34083243 | 19945058 | 54028301 | -8832784 | -5218035 | -14050819 | 39977482 | 1743240 | 4.9% | 4.993% | Peak | 0 | 39977482
Trimble County 5 | Gas | 71% | 29% |  | 199 | 141.29 | 57.71 |  | 64157 | 62572 | 12 | 47344876 | 19459592 | 66804468 | -13018828 | -5424384 | -18443212 | 48361256 | 1743240 | 3.589% | 3.68% | Peak | 0 | 48361256
Trimble County 8 | Gas | 63% | 37% |  | 199 | 125.37 | 73.63 |  | 63054 | 61973 | 15 | 33976721 | 19896965 | 53873686 | -9068640 | -5360083 | -14428723 | 39444963 | 1743240 | 3.555% | 3.617% | Peak | 0 | 39444963
Trimble County 10 | Gas | 63% | 37% |  | 199 | 125.37 | 73.63 |  | 53874 | 53035 | 17 | 38049880 | 22412217 | 60462097 | -9511654 | -5714812 | -15226466 | 45235631 | 1743240 | 3.042% | 3.09% | Peak | 0 | 45235631
Brown 7 | Gas,Oil | 62% | 38% |  | 177 | 109.74 | 67.26 |  | 36921 | 34745 | 20 | 38302774 | 21922694 | 60225468 | -10549397 | -6271977 | -16821374 | 43404094 | 1550520 | 2.241% | 2.381% | Peak | 0 | 43404094
Paddys Run 13 | Gas | 47% | 53% |  | 178 | 83.66 | 94.34 |  | 32059 | 31743 | 22 | 30811079 | 34909382 | 65720461 | -9514308 | -10953547 | -20467855 | 45252606 | 1559280 | 2.036% | 2.056% | Peak | 0 | 45252606
Brown 6 | Gas,Oil | 62% | 38% |  | 177 | 109.74 | 67.26 |  | 32996 | 30756 | 19 | 40941008 | 23871399 | 64812407 | -10630445 | -3945762 | -14576207 | 50236200 | 1550520 | 1.984% | 2.128% | Peak | 0 | 50236200
Brown 9 | Gas,Oil | 100% |  |  | 126 | 126 |  |  | 5870 | 3807 | 28 | 48713646 |  | 48713646 | -25302272 |  | -25302272 | 23411374 | 1103760 | 0.3449% | 0.5318% | Peak | 0 | 23411374
Brown 5 | Gas | 47% | 53% |  | 123 | 57.81 | 65.19 |  | 5367 | 3196 | 26 | 23714800 | 25970484 | 49685284 | -7393580 | -8557121 | -15950701 | 33734583 | 1077480 | 0.2966% | 0.4981% | Peak | 0 | 33734583
Brown 11 | Gas,Oil | 100% |  |  | 126 | 126 |  |  | 4579 | 2890 | 31 | 44740278 |  | 44740278 | -20484420 |  | -20484420 | 24255858 | 1103760 | 0.2618% | 0.4149% | Peak | 0 | 24255858
Brown 8 | Gas,Oil | 100% |  |  | 126 | 126 |  |  | 3979 | 2436 | 30 | 37227939 |  | 37227939 | -15831770 |  | -15831770 | 21396169 | 1103760 | 0.2207% | 0.3605% | Peak | 0 | 21396169
Brown 10 | Gas,Oil | 100% |  |  | 126 | 126 |  |  | 3174 | 1568 | 29 | 30167921 |  | 30167921 | -14992796 |  | -14992796 | 15175125 | 1103760 | 0.1421% | 0.2876% | Peak | 0 | 15175125
Cane Run 11 | Gas,Oil |  | 100% |  | 16 |  | 16 |  | 198 | 198 | 34 |  | 3557311 | 3557311 |  | -2262940 | -2262940 | 1294371 | 140160 | 0.1413% | 0.1413% | Peak | 0 | 1294371
Haefling 1-3 | Gas,Oil | 100% |  |  | 21 | 21 |  |  | 292 | 169 | 37 | 6346312 |  | 6346312 | -4119242 |  | -4119242 | 2227070 | 183960 | 0.09187% | 0.1587% | Peak | 0 | 2227070
Paddys Run 11 | Gas |  | 100% |  | 16 |  | 16 |  | 148 | 100 | 33 |  | 1609957 | 1609957 |  | -1746312 | -1746312 | -136355 | 140160 | 0.07135% | 0.1056% | Peak | 0 | -136355
Zorn 1 | Gas |  | 100% |  | 18 |  | 18 |  | 37 | -49 | 36 |  | 1951456 | 1951456 |  | -2050826 | -2050826 | -99370 | 157680 | -0.03108% | 0.02347% | Peak | 0 | -99370
Paddys Run 12 | Gas |  | 100% |  | 33 |  | 33 |  | 14 | -273 | 35 |  | 3990011 | 3990011 |  | -3570369 | -3570369 | 419642 | 289080 | -0.09444% | 0.004843% | Peak | 0 | 419642
Tyrone 3 | Coal | 100% |  |  | 75 | 75 |  |  |  | -1477 |  | 28798957 |  | 28798957 | -22094535 |  | -22094535 | 6704422 | 657000 | -0.2248% | 0% | Peak | 0 | 6704422
Dix Dam 1-3 | Hydro | 100% |  |  | 9 | 9 |  |  | 82176 | 82033 |  | 28850449 |  | 28850449 | -8229141 |  | -8229141 | 20621308 | 236520 | 34.68% | 34.74% | Hydro | 20621308 | 0
Ohio Falls 1-8 | Hydro |  | 100% |  | 10 |  | 10 |  | 189744 | 185569 |  |  | 42551883 | 42551883 |  | -9096063 | -9096063 | 33455820 | 753360 | 24.63% | 25.19% | Hydro | 33455820 | 0
[10 empty] | 36059782 | [7 empty] | 3930544291 |  |  |  |  | 2928724183.9548 | 1001820107.0453
[20 empty] | Total System |  |  | 74.51% | 25.49%
[23 empty] | Net Investment Classified as Energy | Net Generation | Unit Cost
[22 empty] | Base | 2648047645 | 28427585 | 0.093151
[22 empty] | Intermediate | 280676538.9548 | 7073872 | 0.039678
Sources: Company responses to KU OAG 1-248, KU OAG 1-250, LG&E OAG 1-291, and LG&E OAG 1-293.