## LGE Ratios
USES RS INSTEAD
| Rate RS | Rate GS | PS Secondary | PS Primary | TOD Secondary-C | TOD Primary-C | TOD Secondary-I | TOD Primary-I | LE
Allocators from Load Research Data
Sum of the Individual Customer Demand | 2992683.7003 | 578729.3785 | 576432.7894 | 59675.1146 | 111918.2889 | 96619.5632 | 33448.5093 | 538785.5509 | 833.4556
Maximum Class Non-Coincident Peak Demand | 1472034.3155 | 412244.078 | 508964.8374 | 44064.6552 | 89468.3855 | 70695.2549 | 25583.717 | 335085.9114 | 879.6823
Summer Peak Period Demand | 1297080.1038 | 339939.0146 | 463883.3718 | 39312.703 | 79222.3135 | 65217.7286 | 19630.1565 | 207993.0975 | 0
Winter Peak Period Demand | 682504.5483 | 264455.0879 | 316058.3346 | 27708.0116 | 58166.6974 | 41548.047 | 16636.7535 | 165433.9415 | 0
Base Demand | 511517.94 | 170799.54 | 280789.89 | 26694.49 | 55180.67 | 44142.26 | 16729.71 | 180749.97 | 445.76
Known Allocator for Comparison | Base | Base + SICD | Base + SICD | SICD | SICD | SICD | SICD | SICD | Base
Sum of the Individual Customer Demand | 5.8506 | 3.3884 | 1 | 1 | 1 | 1 | 1 | 1 | 5.8506
Maximum Class Non-Coincident Peak Demand | 2.8778 | 2.4136 | 0.88296 | 0.73841 | 0.79941 | 0.73169 | 0.76487 | 0.62193 | 2.8778
Summer Peak Period Demand | 2.5357 | 1.9903 | 0.80475 | 0.65878 | 0.70786 | 0.675 | 0.58688 | 0.38604 | 2.5357
Winter Peak Period Demand | 1.3343 | 1.5483 | 0.5483 | 0.46431 | 0.51972 | 0.43002 | 0.49738 | 0.30705 | 1.3343
Base Demand | 1 | 1 | 0.48712 | 0.44733 | 0.49304 | 0.45687 | 0.50016 | 0.33548 | 1
Average 12 CP | 901375.6921 | 267937.6601 | 350516.0953 | 30348.9752 | 61058.093 | 49271.2925 | 17089.5964 | 184697.9807 | 146.6137
Ratio | 1.7622 | 1.5687 | 0.60808 | 0.50857 | 0.54556 | 0.50995 | 0.51092 | 0.3428 | 1.7622
Average PJM 5 CP | 1244812.642 | 361512.2226 | 469910.0616 | 39742.7738 | 79489.0893 | 64871.7142 | 20459.4931 | 230430.0631 | 0
Ratio | 2.4336 | 2.1166 | 0.8152 | 0.66599 | 0.71024 | 0.67141 | 0.61167 | 0.42768 | 2.4336
TRANSFER TO - BASE/SICD
Rate RS | 165.0507 | 1294.8932 | 1014.075
Rate GS | 157.3534 | 1762.5712 | 7660.625 |  | 1069.8167 | 169.25 | 1101.9167 |  | 8.8589
PS Secondary |  | 1127.5114 |  |  | 5741.9417 | 60.25 | 1716.4167 | 138.4167
PS Primary |  | 8.5341 |  |  |  | 153.3333 |  | 783.75
TOD Secondary-C |  |  | 606.5833 |  |  | 303.8333
TOD Primary-C
TOD Secondary-I
TOD Primary-I |  |  |  | 16.8
LE
Summer CP
Transfer to | 817.5353 | 8346.2616 | 7469.098 | 11.0675 | 4821.7611 | 463.4966 | 1654.0147 | 355.9938 | 22.4639
Transfer from | 3811.8028 | 11612.5707 | 7409.9746 | 423.0439 | 693.233 | 0 | 0 | 11.0675 | 0
Net | -2994.2675 | -3266.3092 | 59.1234 | -411.9764 | 4128.5281 | 463.4966 | 1654.0147 | 344.9263 | 22.4639
Average 12CP
Transfer to | 568.1271 | 6578.4676 | 5643.7442 | 8.544 | 3716.2199 | 350.1667 | 1439.9499 | 316.1227 | 15.6108
Transfer from | 2938.8146 | 8949.0931 | 5856.4579 | 360.2531 | 523.7902 | 0 | 0 | 8.544 | 0
Net | -2370.6874 | -2370.6255 | -212.7137 | -351.7091 | 3192.4297 | 350.1667 | 1439.9499 | 307.5787 | 15.6108
Average PJM 5CP
Transfer to | 784.5917 | 8875.932 | 7566.1352 | 11.1886 | 4837.9981 | 461.0375 | 1723.8936 | 394.3961 | 21.5587
Transfer from | 3969.0943 | 11927.5707 | 7614.1802 | 456.2109 | 698.4868 | 0 | 0 | 11.1886 | 0
Net | -3184.5027 | -3051.6387 | -48.045 | -445.0223 | 4139.5113 | 461.0375 | 1723.8936 | 383.2075 | 21.5587
CCOSS Model Classes
| Residential | General Service | Rate PS | Rate PS | Rate TOD | Rate TOD | Old Rate ITOD Primary Lines | Old Rate ITOD | Not Used | Rate RTS | Special Contract | Special Contract | Lighting Service Rate | Lighting Energy | Traffic Energy Service
| Rate RS | Rate GS | Primary | Secondary | Primary | Secondary | Primary | Secondary |  | Transmission | Customer No. 1 | Customer No. 2 | RLS, LS, DSK | Rate LE | Rate TE
CCOSS Summer CP | -2994.2675 | -3266.3092 | -411.9764 | 59.1234 | 808.4229 | 5782.5428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.4639 | 0
Summer CP | -2994.2675 | -3266.3092 | -411.9764 | 59.1234 | 808.4229 | 5782.5428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 22.4639 | 0
Average 12CP | -2370.6874 | -2370.6255 | -351.7091 | -212.7137 | 657.7454 | 4632.3796 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15.6108 | 0
Average PJM 5CP | -3184.5027 | -3051.6387 | -445.0223 | -48.045 | 844.2451 | 5863.4049 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21.5587 | 0
This is to verify that our calculation method matches the Company's result and rate class grouping.

## LGE Rate Switch Adj Calc
Test Year Billing Determinants at Original Rates
Rate Switch To: | From Rate Category: | Customer-Months on the Old Rate | Energy -- kWh on Old Rate | Summer or Peak Demand, kW or kVa on Old Rate | Winter or Intermediate Demand, kW or kVa on Old Rate | Basic Demand, kW or kVa on Old Rate | Average Annual kWh per Cust | Known Customer Summer kW moving from Rate | Known Customer Winter kW moving from Rate | Average kW per Customer | Sum of the Individual Customer Demand | Maximum Class Non-Coincident Peak Demand | Summer Peak Period Demand | Winter Peak Period Demand | Base Demand | Net Sum of the Individual Customer Demand Adjustment | Net Maximum Class Non-Coincident Peak Demand Adjustment | Net Summer Peak Period Demand Adjustment | Net Winter Peak Period Demand Adjustment | Net Base Demand Adjustment
Rate RS | RS water heating | 70 | 56658 | 0 | 0 | 0 | 9712.8 | 0 | 0 | 1.1088 | 454.0862 | 223.3549 | 196.8087 | 103.5579 | 77.6137
| RRP | 59 | 63829 | 0 | 0 | 0 | 12982.1695 | 0 | 0 | 1.482 | 511.5583 | 251.6241 | 221.7181 | 116.6648 | 87.437
| GS | 169 | 98510 | 0 | 0 | 0 | 6994.7929 | 0 | 0 | 0.79849 | 789.5096 | 388.3421 | 342.1869 | 180.0537 | 134.9452
| GS water heating | 8 | 1247 | 0 | 0 | 0 | 1870.5 | 0 | 0 | 0.21353 | 9.9941 | 4.9159 | 4.3316 | 2.2792 | 1.7082
| GS 3 phase | 31 | 15111 | 0 | 0 | 0 | 5849.4194 | 0 | 0 | 0.66774 | 121.1073 | 59.57 | 52.49 | 27.6194 | 20.7
|  | 337 | 235355 | 0 | 0 | 0 | [9 empty] | -4481.021 | -3567.9273 | -2994.2675 | -2350.9951 | -1631.5123
Rate GS | RS | 355 | 497117 | 0 | 0 | 0 | 16803.9549 | 0 | 0 | 1.9183 | 2307.409 | 1643.6278 | 1355.3457 | 1054.3893 | 680.9822
| GS 3 phase | 163 | 281910 | 0 | 0 | 0 | 20754.1104 | 0 | 0 | 2.3692 | 1308.5082 | 932.0846 | 768.6028 | 597.9335 | 386.1781
| GS water heating | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| PS Secondary | 117 | 1396830 | 3859.6 | 2245.3 | 0 |  | 3859.6 | 2245.3 |  | 508.7417 | 362.39 | 298.829 | 232.4736 | 150.1442
|  | 637 | 2175857 | 3859.6 | 2245.3 | 0
Rate GS 3 Phase | RS | 52 | 448155 | 0 | 0 | 0 | 103420.3846 | 0 | 0 | 11.806 | 2080.1479 | 1481.7438 | 1221.8551 | 950.5405 | 613.911
| GS | 159 | 967647 | 0 | 0 | 0 | 73029.9623 | 0 | 0 | 8.3368 | 4491.4123 | 3199.3505 | 2638.2042 | 2052.3873 | 1325.5438
| GS3 space heating | 11 | 37120 | 0 | 0 | 0 | 40494.5455 | 0 | 0 | 4.6227 | 172.2955 | 122.7306 | 101.2044 | 78.7318 | 50.8493
| PS Secondary | 1082 | 12497963 | 23727 | 16013 | 0 |  | 23727 | 16013 |  | 3311.6667 | 2358.9868 | 1945.2351 | 1513.293 | 977.3673
| PS Primary | 4 | 92280 | 29 | 318 | 0 |  | 29 | 318 |  | 28.9167 | 20.5981 | 16.9853 | 13.2137 | 8.5341
|  | 1308 | 14043165 | 23756 | 16331 | 0 | [9 empty] | -2737.1672 | -3196.8505 | -3266.3092 | -1835.0526 | -2622.8197
PS Secondary | RS | 4 | 360600 | 0 | 0 | 0 | 1081800 | 0 | 0 | 123.4932 | 1014.075 | 895.3837 | 816.0752 | 556.0177 | 493.9726
| GS | 282 | 10535682 | 20111.5 | 12217 | 0 |  | 20111.5 | 12217 |  | 2694.0417 | 2378.7205 | 2168.0258 | 1477.1441 | 1312.312
| GS 3 Phase | 552 | 20440090 | 33453 | 26146 | 0 |  | 33453 | 26146 |  | 4966.5833 | 4385.275 | 3996.85 | 2723.1797 | 2419.3044
| TOD Secondary-C | 17 | 1094665 | 4250 | 3029 | 2928.5 |  | 4250 | 3029 |  | 606.5833 | 535.5864 | 488.147 | 332.5899 | 295.4767
|  | 855 | 32431037 | 57814.5 | 41392 | 2928.5 | [9 empty] | -2196.15 | -559.5686 | 59.1234 | -563.1915 | -369.9271
PS Primary | TOD Primary (I) | 2 | 212400 | 201.6 | 0 | 203.8 |  | 201.6 | 0 |  | 16.8 | 12.4053 | 11.0675 | 7.8005 | 7.5151 | -949.2 | -607.821 | -411.9764 | -311.9994 | -334.0017
TOD Secondary-C | GS | 20 | 2927500 | 0 | 0 | 6285 |  | 3142.5 | 3142.5 |  | 523.75 | 418.69 | 370.7409 | 272.2058 | 258.2319
| GS 3 Phase | 17 | 2350400 | 0 | 0 | 6552.8 |  | 3276.4 | 3276.4 |  | 546.0667 | 436.5301 | 386.5379 | 283.8043 | 269.235
| PS Secondary | 150 | 29023655 | 41882.7 | 27020.6 | 0 |  | 41882.7 | 27020.6 |  | 5741.9417 | 4590.1546 | 4064.4823 | 2984.2288 | 2831.0314
|  | 187 | 34301555 | 41882.7 | 27020.6 | 12837.8 | [9 empty] | 5901.3417 | 4687.4774 | 4128.5281 | 3076.9956 | 2924.2103
TOD Primary-C | GS 3 Phase | 4 | 916200 | 0 | 0 | 2031 |  | 1015.5 | 1015.5 |  | 169.25 | 123.838 | 114.2429 | 72.7804 | 77.3247
| PS Secondary | 5 | 146732 | 587 | 136 | 0 |  | 587 | 136 |  | 60.25 | 44.0841 | 40.6685 | 25.9085 | 27.5262
| PS Primary | 4 | 567600 | 1353 | 487 | 0 |  | 1353 | 487 |  | 153.3333 | 112.192 | 103.4992 | 65.9359 | 70.0529
| TOD Secondary-C | 3 | 959040 | 1799 | 1847 | 1871.9 |  | 1799 | 1847 |  | 303.8333 | 222.3108 | 205.086 | 130.6535 | 138.8113
|  | 16 | 2589572 | 3739 | 2470 | 3902.9 | [9 empty] | 686.6667 | 502.4249 | 463.4966 | 295.2783 | 313.7151
TOD Secondary-I | GS | 10 | 1185300 | 0 | 0 | 3349 |  | 1674.5 | 1674.5 |  | 279.0833 | 213.4621 | 163.7876 | 138.8116 | 139.5872
| GS 3 Phase | 23 | 2702981 | 0 | 0 | 9874 |  | 4937 | 4937 |  | 822.8333 | 629.3594 | 482.9019 | 409.2641 | 411.5509
| PS Secondary | 40 | 7225080 | 13025 | 7572 | 0 |  | 13025 | 7572 |  | 1716.4167 | 1312.8333 | 1007.3252 | 853.7182 | 858.4883 | 2818.3333 | 2155.6549 | 1654.0147 | 1401.7939 | 1409.6263
|  | 73 | 11113361 | 13025 | 7572 | 13223
TOD Primary-I | PS Secondary | 11 | 558240 | 1014 | 647 | 0 |  | 1014 | 647 |  | 138.4167 | 86.0852 | 53.4345 | 42.5008 | 46.4356
| PS Primary | 18 | 3884400 | 6712 | 2693 | 0 |  | 6712 | 2693 |  | 783.75 | 487.4362 | 302.5593 | 240.6502 | 262.9298 | 905.3667 | 561.1162 | 344.9263 | 275.3505 | 301.8502
|  | 29 | 4442640 | 7726 | 3340 | 0
LE | GS | 303 | 6467 | 0 | 0 | 0 | 256.1188 | 0 | 0 | 0.029237 | 51.8298 | 25.4939 | 22.4639 | 11.8202 | 8.8589 | 51.8298 | 25.4939 | 22.4639 | 11.8202 | 8.8589
Total Moving to New Rates |  | 3747 | 101551409 | 152004.4 | 100370.9 | 33096 |  |  |  |  | 36684.1917 | 27959.16 | 23961.6924 | 17552.152 | 14444.559 | -2.2879e-12 | 3.6238e-13 | -2.8066e-13 | 2.931e-13 | -4.6008e-13
Test Year Billing Determinants at Original Rates
Rate Switch From | To Rate Category: | Customer-Months on the Old Rate | Energy -- kWh on Old Rate | Summer or Peak Demand, kW or kVa on Old Rate | Winter or Intermediate Demand, kW or kVa on Old Rate | Basic Demand, kW or kVa on Old Rate
Rate RS | GS | 355 | 497117 | 0 | 0 | 0 |  |  |  |  | 2307.409 | 1643.6278 | 1355.3457 | 1054.3893 | 680.9822
| GS 3 phase | 52 | 448155 | 0 | 0 | 0 |  |  |  |  | 2080.1479 | 1481.7438 | 1221.8551 | 950.5405 | 613.911
| PS Secondary | 4 | 360600 | 0 | 0 | 0 |  |  |  |  | 1014.075 | 895.3837 | 816.0752 | 556.0177 | 493.9726
|  | 411 | 1305872 | 0 | 0 | 0
Rate RS-Water Heating | RS | 70 | 56658 | 0 | 0 | 0 |  |  |  |  | 454.0862 | 223.3549 | 196.8087 | 103.5579 | 77.6137
Rate RRP | RS | 59 | 63829 | 0 | 0 | 0 |  |  |  |  | 511.5583 | 251.6241 | 221.7181 | 116.6648 | 87.437
Rate GS | RS | 169 | 98510 | 0 | 0 | 0 |  |  |  |  | 789.5096 | 388.3421 | 342.1869 | 180.0537 | 134.9452
| GS 3-Phase | 159 | 967647 | 0 | 0 | 0 |  |  |  |  | 4491.4123 | 3199.3505 | 2638.2042 | 2052.3873 | 1325.5438
| PS Secondary | 282 | 10535682 | 20111.5 | 12217 | 0 |  |  |  |  | 2694.0417 | 2378.7205 | 2168.0258 | 1477.1441 | 1312.312
| TOD Secondary-C | 20 | 2927500 | 0 | 0 | 6285 |  |  |  |  | 523.75 | 418.69 | 370.7409 | 272.2058 | 258.2319
| TOD Secondary-I | 10 | 1185300 | 0 | 0 | 3349 |  |  |  |  | 279.0833 | 213.4621 | 163.7876 | 138.8116 | 139.5872
| LE | 303 | 6467 | 0 | 0 | 0 |  |  |  |  | 51.8298 | 25.4939 | 22.4639 | 11.8202 | 8.8589
|  | 943 | 15721106 | 20111.5 | 12217 | 9634
Rate GS 3 Phase | RS | 31 | 15111 | 0 | 0 | 0 |  |  |  |  | 121.1073 | 59.57 | 52.49 | 27.6194 | 20.7
| GS | 163 | 281910 | 0 | 0 | 0 |  |  |  |  | 1308.5082 | 932.0846 | 768.6028 | 597.9335 | 386.1781
| PS Secondary | 552 | 20440090 | 33453 | 26146 | 0 |  |  |  |  | 4966.5833 | 4385.275 | 3996.85 | 2723.1797 | 2419.3044
| TOD Secondary-C | 17 | 2350400 | 0 | 0 | 6552.8 |  |  |  |  | 546.0667 | 436.5301 | 386.5379 | 283.8043 | 269.235
| TOD Secondary-I | 23 | 2702981 | 0 | 0 | 9874 |  |  |  |  | 822.8333 | 629.3594 | 482.9019 | 409.2641 | 411.5509
| TOD Primary-C | 4 | 916200 | 0 | 0 | 2031 |  |  |  |  | 169.25 | 123.838 | 114.2429 | 72.7804 | 77.3247
|  | 790 | 26706692 | 33453 | 26146 | 18457.8
Rate GS Water Heating | RS | 8 | 1247 | 0 | 0 | 0 |  |  |  |  | 9.9941 | 4.9159 | 4.3316 | 2.2792 | 1.7082
| GS | 2 | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0
|  | 10 | 1247 | 0 | 0 | 0
Rate GS 3 Phase Space Heat | GS 3-Phase | 11 | 37120 | 0 | 0 | 0 |  |  |  |  | 172.2955 | 122.7306 | 101.2044 | 78.7318 | 50.8493
PS Secondary | GS | 117 | 1396830 | 3859.6 | 2245.3 | 0 |  |  |  |  | 508.7417 | 362.39 | 298.829 | 232.4736 | 150.1442
| GS 3 Phase | 1082 | 12497963 | 23727 | 16013 | 0 |  |  |  |  | 3311.6667 | 2358.9868 | 1945.2351 | 1513.293 | 977.3673
| TOD Secondary-C | 150 | 29023655 | 41882.7 | 27020.6 | 0 |  |  |  |  | 5741.9417 | 4590.1546 | 4064.4823 | 2984.2288 | 2831.0314
| TOD Secondary-I | 40 | 7225080 | 13025 | 7572 | 0 |  |  |  |  | 1716.4167 | 1312.8333 | 1007.3252 | 853.7182 | 858.4883
| TOD Primary-C | 5 | 146732 | 587 | 136 | 0 |  |  |  |  | 60.25 | 44.0841 | 40.6685 | 25.9085 | 27.5262
| TOD Primary-I | 11 | 558240 | 1014 | 647 | 0 |  |  |  |  | 138.4167 | 86.0852 | 53.4345 | 42.5008 | 46.4356
|  | 1405 | 50848500 | 84095.3 | 53633.9 | 0
PS Primary | GS 3 Phase | 4 | 92280 | 29 | 318 | 0 |  |  |  |  | 28.9167 | 20.5981 | 16.9853 | 13.2137 | 8.5341
| TOD Primary-C | 4 | 567600 | 1353 | 487 | 0 |  |  |  |  | 153.3333 | 112.192 | 103.4992 | 65.9359 | 70.0529
| TOD Primary-I | 18 | 3884400 | 6712 | 2693 | 0 |  |  |  |  | 783.75 | 487.4362 | 302.5593 | 240.6502 | 262.9298
|  | 26 | 4544280 | 8094 | 3498 | 0
TOD Secondary-C | PS Secondary | 17 | 1094665 | 4250 | 3029 | 2928.5 |  |  |  |  | 606.5833 | 535.5864 | 488.147 | 332.5899 | 295.4767
| TOD Primary-C | 3 | 959040 | 1799 | 1847 | 1871.9 |  |  |  |  | 303.8333 | 222.3108 | 205.086 | 130.6535 | 138.8113
|  | 20 | 2053705 | 6049 | 4876 | 4800.4
TOD Primary-I | PS Primary | 2 | 212400 | 201.6 | 0 | 203.8 |  |  |  |  | 16.8 | 12.4053 | 11.0675 | 7.8005 | 7.5151
Total Moving From Previous Rates |  | 3747 | 101551409 | 152004.4 | 100370.9 | 33096 |  |  |  |  | 36684.1917 | 27959.16 | 23961.6924 | 17552.152 | 14444.559
Net Change From Previous Rate to Current Rate |  | 0 | 0 | 0 | 0 | 0