## KU Summary
KU Meter Installation Cost by Rate
|  |  | 2 | 3 | 4 | 5 | 6 | 7
| Hours per meter | Burdened Labor Cost ($/Hour) | Avg. Cost of Meter | Avg. Cost of CTs | Avg. Count of CTs | Avg. Cost of PTs | Avg. Count of PTs | Other Cost | Install Cost ($/meter) | Time to Test Meter (hrs/meter) | Meter and Labor (install and test) Only | Count of Meters
AES Pri | 2.8 | 67.5956 | 106 | 590 | 1.8333 | 678 | 1.8333 | 215 | 2834.9344 | 0.75 | 345.9645 | 12 | 52.2569
AES Sec | 1.4742 | 67.5956 | 65.0156 | 25.9593 | 1.2207 | 13.1956 | 0.23631 | 96.2285 | 295.6978 | 0.5 | 198.4615 | 639 | 290.2471
FLS | 4.2 | 67.5956 | 200 | 5000 | 3 | 7000 | 3 | 215 | 36698.9017 | 1 | 551.4973 | 2 | 342.504
GS | 0.76501 | 67.5956 | 43.1237 | 5.0486 | 0.23371 | 2.3516 | 0.041299 | 18.7147 | 114.8265 | 0.5 | 128.6326 | 86346
PS Pri | 3.3455 | 67.5956 | 107.9969 | 582.6935 | 2.356 | 669.6037 | 2.2198 | 212.3375 | 3405.7197 | 0.75 | 384.8356 | 323
PS Sec | 2.0451 | 67.5956 | 101.9831 | 42.3489 | 2.1057 | 16.6516 | 0.30274 | 156.983 | 491.4214 | 0.5 | 274.0197 | 5807
RS | 0.6 | 67.5956 | 21 | 0 | 0 | 0 | 0 | 0 | 61.5574 | 0.5 | 95.3552
RTS | 3.39 | 67.5956 | 195.6 | 5000 | 2.325 | 7000 | 2.325 | 215 | 28539.7492 | 1 | 492.3448 | 40
TOD Pri | 4.1266 | 67.5956 | 189.7021 | 590 | 2.9628 | 674.3936 | 2.9149 | 215 | 4397.4596 | 0.75 | 519.3387 | 188
TOD Sec | 3.0438 | 67.5956 | 112 | 58 | 3 | 48.6423 | 1.073 | 215 | 758.9402 | 0.5 | 351.5451 | 137
[11 empty] | Sum | 93494
Other cost includes the meter base, conduit, weatherhead, hangers, and conductor. | [9 empty] | Wtg.Avg. Cost/meter | 140.3299

## LGE Summary
LG&E Meter Installation Cost by Rate
|  |  | 2 | 3 | 4 | 5 | 6 | 7
| Hours per meter | Burdened Labor Cost ($/Hour) | Avg. Cost of Meter | Avg. Cost of CTs | Avg. Count of CTs | Avg. Cost of PTs | Avg. Count of PTs | Other Cost | Install Cost ($/meter) | Time to Test Meter (hrs/meter) | Meter and Labor (install and test) Only | Count of Meters | KU+LGE
AES Pri |  | 66.6237 | [6 empty] | 0 |  | 0 | 0 | 12
AES Sec |  | 66.6237
FLS | 0 | 66.6237 | [6 empty] | 0 |  | 0 | 0 | 2
GS | 0.81756 | 66.6237 | 58.5975 | 7.643 | 0.34149 | 1.4351 | 0.021105 | 28.3318 | 144.0382 | 0.5 | 146.378 | 46435 | 132781
PS Pri | 3.3152 | 66.6237 | 131.4343 | 590 | 2.3636 | 678 | 2.1616 | 215 | 3427.4234 | 0.75 | 402.27 | 99 | 422
PS Sec | 2.1716 | 66.6237 | 112.255 | 51.2726 | 2.5239 | 6.5076 | 0.095397 | 190.0621 | 577.0256 | 0.5 | 290.2465 | 3302 | 9109
RS | 0.6 | 66.6237 | 21 | 0 | 0 | 0 | 0 | 0 | 60.9742 | 0.5 | 94.2861 |  | 0
RTS | 3.1714 | 66.6237 | 200 | 5000 | 2.1429 | 7000 | 2.1429 | 215 | 26340.5782 | 1 | 477.9162 | 14 | 54
TOD Pri | 3.3026 | 66.6237 | 200 | 590 | 2.287 | 678 | 2.2174 | 215 | 3487.7278 | 0.75 | 470 | 115 | 303
TOD Sec | 2.3716 | 66.6237 | 112 | 56.3507 | 2.8483 | 7.09 | 0.10427 | 208.8863 | 640.134 | 0.5 | 303.3144 | 211 | 348
[11 empty] | Sum | 50176 | 143031
Other cost includes the meter base, conduit, weatherhead, hangers, and conductor. | [9 empty] | Wtg.Avg. Cost/meter | 157.8448

## Documentation
Source of Pricing Data
Meter cost and smaller CTs and PTs based on Itron contract (KU #459317 and LGE #776948).
Meter, CT, and PT cost were rounded up to capture the cost of various add-ons (ERT, A-base adaptors, etc.)
Larger PTs and CTs are based on pricing information from ABB and GE (see email from David Plummer to Scott Cooke dated March 2, 2011).
Cost of meter base, wire, hanger, etc. based upon current prices per David Plummer.
Wage rate based upon current wage rate for Meter Technician A as of May 2012.
Burden rate based on email from Pa McDonald to Scott Cooke dated July 5, 2011.
Hours per meter based upon capital allocation method.
Avg
Meter
Forms | IR vs. SC | CTs | PTs | Cost
F1 | SC | 0 | 0 | 47
F2 | SC | 0 | 0 | 20
F3 | IR | 1 | 1 if 120 V, 0 if 240 V | 100 | demand
F4 | IR | 2 | 1 if 120 V, 0 if 240 V | 100 | demand
F5 | IR | 2 | 2 if Primary or 120 V, 0 if 240 V, if autovoltage 50% 2 PTs and 50% 0 PTs | 112 | 200 if reactive
F6 | IR | 3 | LGE: 3 if Pri., 0 if Sec.; KU: 3 if Pri., 20% have 2 PTs and 80% have 0 PTs if Sec. | 112 | 200 if reactive
F8/9 | IR | 3 | LGE: 3 if Pri., 0 if Sec.; KU: 3 if Pri., 20% have 3 PTs and 80% have 0 PTs if Sec. | 112 | 200 if reactive
F8 | IR | 3 | 2 if 120 V, 0 if 240 V | 112 | 200 if reactive
F9 | IR | 3 | LGE: 3 if Pri., 0 if Sec.; KU: 3 if Pri., 20% have 3 PTs and 80% have 0 PTs if Sec. | 112 | 200 if reactive
F10 | IR | 3 | 3 | 112 | don't buy |  | Sec | Pri | Trans
F12 | SC | 0 | 0 | 112 | 200 if reactive | Cost of CTs | 58 | 590 | 5000
F13 | SC | 0 | 0 | 112 | don't buy | Cost of PTs | 136 | 678 | 7000
F14 | SC | 0 | 0 | 112 | don't buy
F15/16 | SC | 0 | 0 | 112 | 200 if reactive
F15 | SC | 0 | 0 | 112 | 200 if reactive
F16 | SC | 0 | 0 | 112 | 200 if reactive
F26 | IR | 2 | 2 if Primary, if autovoltage 50% 2 PTs and 50% 0 PTs | 112 | 200 if reactive
F29 | IR | 3 | 2 if Primary, all else 0 PTs | 112 | 200 if reactive
F36 | IR | 3 | LGE: 3 if Pri., 0 if Sec.; KU: 3 if Pri., 20% have 2 PTs and 80% have 0 PTs if Sec. | 112 | 200 if reactive
F45 | IR | 2 | 2 if Primary, all else 50% 2 PTs and 50% 0 PTs | 112 | 200 if reactive