## a,d-Consolidated
CONFIDENTIAL INFORMATION REDACTED
Sierra Club/NRDC Data Request
LKE 2014 BP - Power Generation & PE
$000's
75% Share of Trimble County (STEAM) is reflected in Capital; 100% in Fixed O&M
Capital
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
STEAM
Ghent
Brown
Green River
Tyrone
Pineville
Mill Creek
Cane Run
Trimble County
SCCT/NGCC
Trimble County
Cane Run
Paddys Run
Zorn
Canal
BR CTS
Green River 5
Haefling
HYDRO
Ohio Falls
Dix Dam
LGE Common
KU Common
Total Capital
Fixed Costs
| 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023
STEAM
Ghent
Brown
Green River
Tyrone
Pineville
Mill Creek
Cane Run
Trimble County
SCCT/NGCC
Trimble County
Cane Run
Paddys Run
Zorn
Canal
BR CTS
Green River 5
Haefling
HYDRO
Ohio Falls
Dix Dam
LGE Common
KU Common
Total Fixed Costs

## b-VO&M
CONFIDENTIAL INFORMATION REDACTED
Variable O&M ($000)
Mid Gas, Base Load, Zero Carbon Scenario; 75% Share of Trimble County 1 & 2
Unit | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Brown 1
Brown 10
Brown 11
Brown 2
Brown 3
Brown 5
Brown 6
Brown 7
Brown 8
Brown 9
Brown Solar
Cane Run 11
Cane Run 4
Cane Run 5
Cane Run 6
Cane Run 7
Dix Dam
Ghent 1
Ghent 2
Ghent 3
Ghent 4
Green River 3
Green River 4
Green River 5
Haefling
Mill Creek 1
Mill Creek 2
Mill Creek 3
Mill Creek 4
Ohio Falls
Paddys Run 11
Paddys Run 12
Paddys Run 13
Trimble Co 05
Trimble Co 06
Trimble Co 07
Trimble Co 08
Trimble Co 09
Trimble Co 10
Trimble County 1
Trimble County 2
Zorn 1

## c-Fuel Costs
CONFIDENTIAL INFORMATION REDACTED
Fuel Costs ($000)
Mid Gas, Base Load, Zero Carbon Scenario; 75% Share of Trimble County 1 & 2
Unit | Cost | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Brown 1 | Fuel Cost
Start Cost
Brown 10 | Fuel Cost
Start Cost
Brown 11 | Fuel Cost
Start Cost
Brown 2 | Fuel Cost
Start Cost
Brown 3 | Fuel Cost
Start Cost
Brown 5 | Fuel Cost
Start Cost
Brown 6 | Fuel Cost
Start Cost
Brown 7 | Fuel Cost
Start Cost
Brown 8 | Fuel Cost
Start Cost
Brown 9 | Fuel Cost
Start Cost
Brown Solar | Fuel Cost
Start Cost
Cane Run 11 | Fuel Cost
Start Cost
Cane Run 4 | Fuel Cost
Start Cost
Cane Run 5 | Fuel Cost
Start Cost
Cane Run 6 | Fuel Cost
Start Cost
Cane Run 7 | Fuel Cost
Start Cost
Dix Dam | Fuel Cost
Start Cost
Ghent 1 | Fuel Cost
Start Cost
Ghent 2 | Fuel Cost
Start Cost
Ghent 3 | Fuel Cost
Start Cost
Ghent 4 | Fuel Cost
Start Cost
Green River 3 | Fuel Cost
Start Cost
Green River 4 | Fuel Cost
Start Cost
Green River 5 | Fuel Cost
Start Cost
Haefling | Fuel Cost
Start Cost
Mill Creek 1 | Fuel Cost
Start Cost
Mill Creek 2 | Fuel Cost
Start Cost
Mill Creek 3 | Fuel Cost
Start Cost
Mill Creek 4 | Fuel Cost
Start Cost
Ohio Falls | Fuel Cost
Start Cost
Paddys Run 11 | Fuel Cost
Start Cost
Paddys Run 12 | Fuel Cost
Start Cost
Paddys Run 13 | Fuel Cost
Start Cost
Trimble Co 05 | Fuel Cost
Start Cost
Trimble Co 06 | Fuel Cost
Start Cost
Trimble Co 07 | Fuel Cost
Start Cost
Trimble Co 08 | Fuel Cost
Start Cost
Trimble Co 09 | Fuel Cost
Start Cost
Trimble Co 10 | Fuel Cost
Start Cost
Trimble County 1 | Fuel Cost
Start Cost
Trimble County 2 | Fuel Cost
Start Cost
Zorn 1 | Fuel Cost
Start Cost

## e-Heat Rate
Heat Rate (Btu/kWh)
Mid Gas, Base Load, Zero Carbon Scenario
Unit | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Brown 1 | 11264 | 11279 | 11213 | 11217 | 11491 | 11382 | 11443 | 11354 | 11429 | 11383 | 11394 | 11319 | 11355 | 11308 | 11385 | 11480 | 11420 | 11412 | 11287 | 11152 | 11060 | 10968 | 11004 | 10979 | 10956 | 10908 | 10876 | 10878 | 10803
Brown 10 | 15328 | 15208 | 15346 | 15282 | 15364 | 15326 | 14613 | 14786 | 15322 | 15219 | 15269 | 15378 | 14218 | 15251 | 15025 | 15307 | 14874 | 15348 | 15251 | 14708 | 15172 | 15014 | 15240 | 15066 | 15189 | 15307 | 15307 | 15142 | 15049
Brown 11 | 15036 | 14974 | 15008 | 15081 | 15025 | 15109 | 15015 | 14693 | 15057 | 14988 | 14888 | 14619 | 14245 | 15006 | 15015 | 15041 | 14870 | 14954 | 14984 | 14753 | 14945 | 14888 | 15033 | 14906 | 14940 | 15015 | 15015 | 15000 | 14946
Brown 2 | 10602 | 10253 | 10437 | 10490 | 10688 | 10617 | 10633 | 10625 | 10555 | 10507 | 10532 | 10489 | 10444 | 10393 | 10400 | 10457 | 10387 | 10361 | 10357 | 10298 | 10291 | 10270 | 10267 | 10289 | 10294 | 10265 | 10248 | 10241 | 10230
Brown 3 | 11778 | 11975 | 12088 | 12069 | 12124 | 12080 | 12058 | 12049 | 12013 | 11995 | 12019 | 11925 | 11918 | 11938 | 11979 | 12053 | 12043 | 12041 | 12013 | 11971 | 11985 | 11981 | 12048 | 12056 | 11983 | 11996 | 11943 | 11965 | 11922
Brown 5 | 15384 | 15148 | 15642 | 15490 | 15450 | 15304 | 15438 | 15102 | 15317 | 15221 | 15311 | 15262 | 14667 | 15447 | 15459 | 15316 | 15646 | 15415 | 15261 | 15092 | 15318 | 15316 | 15398 | 15050 | 15398 | 15288 | 15571 | 15798 | 14970
Brown 6 | 11851 | 11625 | 11632 | 11516 | 11550 | 11587 | 11598 | 11675 | 11756 | 11724 | 11669 | 11690 | 11552 | 11612 | 11675 | 11564 | 11587 | 11497 | 11532 | 11722 | 11594 | 11639 | 11655 | 11556 | 11724 | 11657 | 11662 | 11639 | 11588
Brown 7 | 11327 | 11274 | 11303 | 11270 | 11300 | 11286 | 11284 | 11303 | 11306 | 11286 | 11274 | 11302 | 11217 | 11279 | 11331 | 11290 | 11341 | 11300 | 11306 | 11311 | 11287 | 11288 | 11297 | 11272 | 11313 | 11289 | 11281 | 11300 | 11269
Brown 8 | 15101 | 15091 | 15102 | 15086 | 15039 | 15126 | 14644 | 14767 | 15020 | 15055 | 14916 | 14745 | 14332 | 15040 | 15088 | 14958 | 14866 | 14944 | 15005 | 14814 | 14928 | 14910 | 14986 | 14909 | 15044 | 15015 | 15015 | 15024 | 14938
Brown 9 | 15358 | 15354 | 15337 | 15336 | 15326 | 15328 | 14664 | 14869 | 15307 | 15379 | 15155 | 15373 | 14436 | 15314 | 15242 | 15291 | 14966 | 15326 | 15247 | 14796 | 15184 | 14991 | 15098 | 15112 | 15185 | 15307 | 15307 | 15307 | 15158
Brown Solar
Cane Run 11 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117 | 16117
Cane Run 4 | 10797 | 10579 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 5 | 10504 | 10369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 6 | 10751 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 7 | 0 | 6862 | 6837 | 6839 | 6848 | 6855 | 6846 | 6851 | 6863 | 6893 | 6914 | 6991 | 7006 | 7071 | 7083 | 7174 | 7200 | 7234 | 7294 | 7312 | 7315 | 7325 | 7375 | 7408 | 7406 | 7399 | 7410 | 7401 | 7404
Dix Dam
Ghent 1 | 10531 | 10646 | 10646 | 10653 | 10689 | 10677 | 10671 | 10659 | 10630 | 10631 | 10628 | 10630 | 10627 | 10630 | 10626 | 10627 | 10620 | 10625 | 10626 | 10631 | 10635 | 10642 | 10638 | 10640 | 10644 | 10644 | 10644 | 10652 | 10655
Ghent 2 | 10640 | 10663 | 10880 | 10918 | 10967 | 10931 | 10933 | 10916 | 10868 | 10852 | 10848 | 10845 | 10839 | 10840 | 10841 | 10839 | 10841 | 10841 | 10840 | 10837 | 10837 | 10833 | 10835 | 10841 | 10837 | 10841 | 10836 | 10839 | 10838
Ghent 3 | 11102 | 11106 | 11160 | 11267 | 11401 | 11375 | 11330 | 11297 | 11190 | 11150 | 11146 | 11123 | 11109 | 11097 | 11092 | 11100 | 11081 | 11070 | 11070 | 11051 | 11052 | 11043 | 11045 | 11048 | 11046 | 11047 | 11037 | 11042 | 11040
Ghent 4 | 11011 | 11337 | 11324 | 11604 | 11882 | 11708 | 11757 | 11703 | 11630 | 11523 | 11536 | 11489 | 11421 | 11367 | 11388 | 11379 | 11301 | 11283 | 11208 | 11186 | 11165 | 11153 | 11152 | 11133 | 11134 | 11137 | 11116 | 11117 | 11118
Green River 3 | 12242 | 12110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 4 | 10521 | 10418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 5 | 0 | 0 | 0 | 0 | 6822 | 6821 | 6820 | 6823 | 6823 | 6841 | 6845 | 6879 | 6874 | 6916 | 6923 | 6930 | 6948 | 6991 | 6986 | 7047 | 7044 | 7039 | 7084 | 7118 | 7151 | 7141 | 7183 | 7148 | 7121
Haefling | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000 | 18000
Mill Creek 1 | 10392 | 10490 | 10503 | 10511 | 10514 | 10522 | 10516 | 10513 | 10524 | 10533 | 10523 | 10531 | 10533 | 10537 | 10539 | 10542 | 10542 | 10545 | 10548 | 10546 | 10549 | 10548 | 10550 | 10549 | 10547 | 10547 | 10551 | 10549 | 10550
Mill Creek 2 | 10254 | 10367 | 10404 | 10397 | 10406 | 10406 | 10400 | 10397 | 10405 | 10406 | 10406 | 10407 | 10410 | 10410 | 10409 | 10410 | 10411 | 10411 | 10411 | 10412 | 10412 | 10412 | 10410 | 10411 | 10411 | 10411 | 10412 | 10411 | 10411
Mill Creek 3 | 10405 | 10427 | 10635 | 10598 | 10609 | 10603 | 10603 | 10602 | 10587 | 10580 | 10582 | 10575 | 10574 | 10569 | 10568 | 10567 | 10564 | 10564 | 10563 | 10561 | 10561 | 10560 | 10560 | 10562 | 10561 | 10561 | 10560 | 10560 | 10561
Mill Creek 4 | 10705 | 10862 | 10860 | 10751 | 10760 | 10749 | 10739 | 10734 | 10713 | 10709 | 10706 | 10705 | 10703 | 10705 | 10702 | 10703 | 10707 | 10709 | 10713 | 10713 | 10715 | 10713 | 10714 | 10714 | 10713 | 10716 | 10715 | 10714 | 10716
Ohio Falls
Paddys Run 11 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479 | 15479
Paddys Run 12 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005 | 17005
Paddys Run 13 | 10276 | 10320 | 10336 | 10326 | 10335 | 10292 | 10353 | 10327 | 10337 | 10284 | 10336 | 10288 | 10314 | 10294 | 10310 | 10374 | 10355 | 10357 | 10375 | 10285 | 10333 | 10343 | 10388 | 10343 | 10295 | 10376 | 10377 | 10348 | 10306
Trimble Co 05 | 11343 | 11153 | 10916 | 10875 | 11042 | 11030 | 11214 | 11335 | 11708 | 11684 | 11802 | 11823 | 11829 | 11896 | 11969 | 12001 | 11935 | 11913 | 11911 | 11965 | 11773 | 11838 | 11890 | 11885 | 11948 | 11835 | 11824 | 11815 | 11756
Trimble Co 06 | 11258 | 11122 | 10972 | 10926 | 11005 | 11005 | 11194 | 11333 | 11651 | 11574 | 11656 | 11645 | 11737 | 11778 | 11899 | 11875 | 11791 | 11765 | 11821 | 11831 | 11660 | 11738 | 11856 | 11905 | 11754 | 11752 | 11904 | 11722 | 11689
Trimble Co 07 | 11222 | 11090 | 10893 | 10924 | 10982 | 11007 | 11199 | 11275 | 11575 | 11465 | 11586 | 11580 | 11610 | 11683 | 11781 | 11872 | 11863 | 11686 | 11783 | 11816 | 11696 | 11683 | 11734 | 11791 | 11866 | 11762 | 11818 | 11651 | 11593
Trimble Co 08 | 10900 | 10846 | 10776 | 10794 | 10806 | 10827 | 10837 | 10938 | 11054 | 10930 | 11022 | 10978 | 10899 | 11018 | 10984 | 10956 | 11071 | 10916 | 10953 | 10965 | 10928 | 10976 | 11009 | 10903 | 10965 | 10940 | 10936 | 10975 | 10882
Trimble Co 09 | 11182 | 11085 | 10883 | 10896 | 11039 | 11005 | 11129 | 11176 | 11472 | 11392 | 11490 | 11412 | 11462 | 11592 | 11596 | 11647 | 11638 | 11559 | 11668 | 11595 | 11456 | 11481 | 11609 | 11463 | 11648 | 11574 | 11560 | 11471 | 11460
Trimble Co 10 | 10858 | 10813 | 10769 | 10766 | 10816 | 10811 | 10839 | 10912 | 10985 | 10918 | 10959 | 10977 | 10784 | 10951 | 10947 | 10882 | 11006 | 10899 | 10878 | 10910 | 10862 | 10890 | 10894 | 10938 | 10790 | 10801 | 10881 | 10956 | 10844
Trimble County 1 | 10395 | 10413 | 10473 | 10468 | 10479 | 10479 | 10474 | 10470 | 10469 | 10472 | 10471 | 10473 | 10474 | 10475 | 10474 | 10476 | 10474 | 10475 | 10475 | 10476 | 10475 | 10476 | 10475 | 10474 | 10474 | 10475 | 10474 | 10474 | 10474
Trimble County 2 | 9272 | 9270 | 9269 | 9271 | 9271 | 9270 | 9271 | 9270 | 9271 | 9270 | 9270 | 9270 | 9270 | 9270 | 9271 | 9270 | 9271 | 9270 | 9270 | 9270 | 9272 | 9270 | 9270 | 9270 | 9270 | 9270 | 9270 | 9270 | 9270
Zorn 1 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676 | 18676

## f-Generation
Generation (GWh)
Mid Gas, Base Load, Zero Carbon Scenario; 75% Share of Trimble County 1 & 2
Unit | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Brown 1 | 266.3 | 288.4 | 252.4 | 286.2 | 192.6 | 229.9 | 187.7 | 206.3 | 290.1 | 337.8 | 283.1 | 340.4 | 331.3 | 358.6 | 294.4 | 262 | 270.4 | 296.1 | 323.1 | 402.6 | 374.6 | 367 | 369 | 345.1 | 378.1 | 384.6 | 400.7 | 409.6 | 421.9
Brown 10 | 5.3 | 7.2 | 4 | 4.8 | 2.4 | 2.6 | 3.5 | 3.8 | 2.6 | 4.9 | 4.2 | 2.6 | 5.5 | 2.9 | 1 | 1.4 | 1.1 | 2.5 | 1.9 | 2.7 | 2.7 | 2.4 | 1.3 | 1.5 | 1.2 | 1.4 | 1.5 | 2 | 3.6
Brown 11 | 10.8 | 11.4 | 6.8 | 8.8 | 3.5 | 4.9 | 4.6 | 5.4 | 4.8 | 7.1 | 6.4 | 5.3 | 6.9 | 5 | 1.6 | 2.2 | 1.8 | 4 | 4.5 | 4.9 | 6.1 | 6 | 3.1 | 3 | 2.4 | 3.6 | 3.2 | 4.4 | 6.7
Brown 2 | 688 | 768.2 | 725 | 643.5 | 499.1 | 547.2 | 601.2 | 603.1 | 750.7 | 716.2 | 613.8 | 761.1 | 770.3 | 841.4 | 806.1 | 766.4 | 773.5 | 674.7 | 830.4 | 848 | 839.1 | 894.8 | 894.8 | 823.8 | 682 | 818.5 | 881 | 895.3 | 931.1
Brown 3 | 1225.2 | 1143.1 | 968.6 | 1035.9 | 941.9 | 837 | 804 | 893.4 | 885.2 | 1012.5 | 954.1 | 1071.8 | 1038.8 | 1203.8 | 1066.3 | 1065.7 | 1181.4 | 1228.6 | 1224.1 | 1210.4 | 1306.1 | 1433.9 | 1287.5 | 1315.1 | 1323.9 | 1350.7 | 1148.7 | 1409.4 | 1390.9
Brown 5 | 7.5 | 11.7 | 6.5 | 8.9 | 2.6 | 4.4 | 3.2 | 5.1 | 4.8 | 7.6 | 7.7 | 5.3 | 10.6 | 7.5 | 3.1 | 4.2 | 3.1 | 5.7 | 5 | 6 | 8.4 | 7.2 | 3.8 | 4.6 | 3.3 | 4.1 | 4.2 | 4.7 | 6.6
Brown 6 | 72.3 | 69.9 | 52.1 | 58.1 | 26 | 37 | 29.8 | 31.2 | 37.7 | 41 | 36.6 | 33 | 34.8 | 31.2 | 18 | 15.3 | 16.8 | 21.3 | 24.2 | 55.3 | 51 | 58 | 27.9 | 26.6 | 36.2 | 32.8 | 36.2 | 39.8 | 44.8
Brown 7 | 111.3 | 107.1 | 77.2 | 80.5 | 37.6 | 46.3 | 43.4 | 52.5 | 56.5 | 67.4 | 56.4 | 59.3 | 56.8 | 53.9 | 36.8 | 26.7 | 55.3 | 60.8 | 63.2 | 84.8 | 75.5 | 80.6 | 46.3 | 46.4 | 57.7 | 48.5 | 51.6 | 53.8 | 76.6
Brown 8 | 14.5 | 13.8 | 9.8 | 10.9 | 5 | 7.8 | 6 | 6.4 | 6.9 | 9.8 | 8.8 | 7.2 | 7.3 | 5.8 | 3 | 2.2 | 2.6 | 4.6 | 6.3 | 6.2 | 7.8 | 7.2 | 3.8 | 4.2 | 3.7 | 3.6 | 3.7 | 5.6 | 7.7
Brown 9 | 7.6 | 8.6 | 5.3 | 6.1 | 2.8 | 3.2 | 3.9 | 4.7 | 3.1 | 5.8 | 5.5 | 3.5 | 6.2 | 3.7 | 1.8 | 2.1 | 1.5 | 3 | 2.2 | 2.9 | 4.6 | 3.5 | 1.2 | 2.3 | 1.1 | 2.6 | 1.6 | 2.1 | 4.3
Brown Solar | 0 | 0 | 9.3 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2 | 15.2
Cane Run 11 | 0.4 | 0.3 | 0.2 | 0.3 | 0.1 | 0.2 | 0.1 | 0.1 | 0.1 | 0.2 | 0.4 | 0.1 | 0.4 | 0.3 | 0.1 | 0 | 0 | 0.1 | 0.3 | 0.3 | 0.1 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | 0.1 | 0.1 | 0.5
Cane Run 4 | 812.2 | 356.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 5 | 966.2 | 390.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 6 | 701 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 7 | 0 | 3419.9 | 5300.7 | 5134.9 | 5321.2 | 4403.9 | 5190.2 | 4881.5 | 4627.7 | 3364.1 | 4333.5 | 3852.6 | 4135.3 | 3501.9 | 3062.5 | 3170.8 | 3185.5 | 2923.1 | 2940.3 | 2417.6 | 2827.7 | 2815 | 2750.5 | 2462.4 | 2313.7 | 2594.8 | 2821.5 | 2631.7 | 2847.4
Dix Dam | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1 | 73.1
Ghent 1 | 3158 | 2665.3 | 2839.7 | 2855.3 | 2535.7 | 2772.3 | 2679.7 | 2703.2 | 2578.4 | 2922.5 | 2840.3 | 2964.7 | 2950 | 3012.8 | 2851.4 | 2500.8 | 2927.7 | 2740.1 | 2953.6 | 2967 | 3031.5 | 3030.3 | 2579.1 | 2930.8 | 2880.9 | 2976.1 | 2881.2 | 3015.3 | 3111.1
Ghent 2 | 3567.4 | 3203.5 | 3102.2 | 2994.2 | 2731.9 | 2566.3 | 2897.7 | 2923 | 3189.5 | 3280.6 | 3367.9 | 3326.3 | 3007.8 | 3446.2 | 3357.3 | 3370.5 | 3350.9 | 3379.9 | 3333.6 | 3042.7 | 3477.7 | 3372.4 | 3410.2 | 3300.9 | 3395.9 | 3361.2 | 2985.8 | 3434.2 | 3338.9
Ghent 3 | 2667.2 | 2916.8 | 2843.2 | 2416.6 | 1883.6 | 2059.8 | 2223 | 2380.2 | 2595.3 | 2645.2 | 2757.3 | 2456 | 2815 | 2932.4 | 2835.4 | 2826.9 | 2800.4 | 3008.1 | 2687.4 | 3128.4 | 3135.9 | 3113.2 | 3121.9 | 3019.5 | 3207.2 | 2796.2 | 3178.8 | 3122.4 | 3202.6
Ghent 4 | 2819.2 | 2746.3 | 2694.8 | 2007.4 | 1409.9 | 1668 | 1622.9 | 1634 | 2152.3 | 2311.6 | 2281.3 | 2351.2 | 2444.8 | 2571.3 | 2270.6 | 2526.5 | 2495.8 | 2598 | 2768 | 2903.8 | 2987.1 | 2691 | 2995.5 | 2828.9 | 3026 | 3026.5 | 3089.8 | 3038.6 | 2827.1
Green River 3 | 262.8 | 93.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 4 | 659.3 | 193.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 5 | 0 | 0 | 0 | 0 | 4941.5 | 4829.6 | 4339.9 | 4073.8 | 3308.4 | 3221.2 | 3146.4 | 3285.6 | 3302.1 | 2883.8 | 2715.6 | 1683.2 | 1784.3 | 1655.3 | 1816.1 | 2046.4 | 1756.8 | 1922.3 | 1387.4 | 1105.9 | 1224.8 | 1106.4 | 1170.1 | 1224.5 | 1381.4
Haefling | 0.3 | 0.7 | 0.4 | 0.5 | 0 | 0.3 | 0.1 | 0.1 | 0.2 | 0.3 | 0.6 | 0.2 | 0.3 | 0.2 | 0.1 | 0.1 | 0 | 0.2 | 0.1 | 0.2 | 0.3 | 0.1 | 0 | 0.2 | 0.2 | 0.2 | 0 | 0.1 | 0.4
Mill Creek 1 | 1986.3 | 1723.8 | 1801 | 1936.1 | 1978.9 | 1923.1 | 2042.3 | 1812.3 | 2153.1 | 2078.8 | 2178 | 2064.1 | 2211.1 | 2109.9 | 2190.9 | 1923.1 | 2243.1 | 2120.8 | 2255.3 | 2146.8 | 2282.8 | 2146.9 | 2294.8 | 1946.2 | 2280.3 | 2152.9 | 2277.7 | 2156.1 | 2298.4
Mill Creek 2 | 1957.6 | 1786.6 | 1701.1 | 2125.9 | 1922.6 | 2087.2 | 1804.5 | 2149.1 | 2084.1 | 2231.6 | 2098 | 2247.5 | 2129.4 | 2251.5 | 1935.8 | 2224.9 | 2124.4 | 2263.7 | 2149.9 | 2250.3 | 2123.9 | 2260.5 | 1951.8 | 2272.4 | 2134.2 | 2255.7 | 2148.7 | 2269.9 | 2139.3
Mill Creek 3 | 2590.6 | 2247.8 | 1442 | 1809.5 | 1858.1 | 1690.3 | 1903.7 | 1828 | 2033.2 | 1938.8 | 2076.2 | 2022.3 | 2182.4 | 1946.8 | 2234.6 | 2101.5 | 2280.2 | 2217.2 | 2490.1 | 2409.3 | 2661.1 | 2228.2 | 2639.1 | 2485.8 | 2597.3 | 2495.8 | 2653.9 | 2557.9 | 2694.8
Mill Creek 4 | 2297.7 | 2154.8 | 2063 | 2830 | 2536.4 | 2736 | 2660.7 | 2870.5 | 2630.4 | 3140.2 | 2929.2 | 3173.7 | 2994.3 | 3252.3 | 3075.3 | 3224 | 2814.9 | 3262.8 | 3164.2 | 3422.9 | 3149.4 | 3398.3 | 3261.6 | 3319.1 | 2960.6 | 3443.8 | 3223.4 | 3450.8 | 3263.9
Ohio Falls | 239.9 | 255.3 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1 | 261.1 | 261.8 | 261.1 | 261.1
Paddys Run 11 | 0.4 | 0.4 | 0.1 | 0.5 | 0.1 | 0.1 | 0.2 | 0.3 | 0.1 | 0.3 | 0.2 | 0.1 | 0.1 | 0.2 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0 | 0.2 | 0.1 | 0.2 | 0.3
Paddys Run 12 | 0.3 | 0.8 | 0.5 | 0.5 | 0.2 | 0.7 | 0.3 | 0.1 | 0.3 | 0.6 | 0.6 | 0.3 | 0.5 | 0.4 | 0.2 | 0 | 0.1 | 0.3 | 0.3 | 0.2 | 0.4 | 0.3 | 0.1 | 0 | 0.1 | 0.2 | 0.1 | 0.2 | 0.4
Paddys Run 13 | 175.1 | 151.8 | 121.5 | 132.5 | 80.8 | 111.7 | 92.5 | 101.8 | 101.7 | 106.7 | 100.2 | 111.3 | 116 | 116.8 | 98.5 | 68.5 | 73.6 | 70.7 | 83.5 | 103 | 91.4 | 100 | 58.1 | 58.7 | 65.7 | 61.7 | 63.3 | 66.8 | 76.1
Trimble Co 05 | 321 | 328.1 | 245.8 | 224.4 | 155.3 | 186.9 | 132.4 | 143.3 | 109 | 161.2 | 136.1 | 151.3 | 145.2 | 144.6 | 107.9 | 68.7 | 63.1 | 68.2 | 73.7 | 92.1 | 88 | 104.4 | 57 | 41.7 | 52.1 | 48.1 | 51.5 | 61.9 | 66.7
Trimble Co 06 | 284.1 | 290.7 | 166 | 213.6 | 130.8 | 162.7 | 115.3 | 106.2 | 129.7 | 150.6 | 118.9 | 136.8 | 131.6 | 119.6 | 95.2 | 59.6 | 56 | 58.1 | 68.3 | 74.9 | 81.1 | 88.9 | 50.3 | 38.5 | 42.1 | 43.7 | 50.9 | 54 | 62.1
Trimble Co 07 | 246.3 | 244.5 | 177.7 | 178.6 | 108.1 | 143.9 | 106.7 | 118.4 | 105.2 | 136.5 | 106.1 | 110.5 | 117.1 | 110.4 | 82.6 | 54 | 56.7 | 52.2 | 60.7 | 68.6 | 77.4 | 76.4 | 45.7 | 33.3 | 35.6 | 36.1 | 45.9 | 46.4 | 53.4
Trimble Co 08 | 70.6 | 70 | 54.4 | 53.9 | 28 | 38.1 | 31.8 | 32.6 | 28.5 | 42.1 | 36.4 | 32.4 | 35.5 | 30.6 | 14.6 | 13.3 | 16.1 | 17.7 | 17.6 | 16.1 | 22.4 | 26.9 | 13.1 | 12.2 | 8.8 | 13.7 | 12.4 | 18.5 | 24.1
Trimble Co 09 | 192.8 | 190 | 141.9 | 142.5 | 81.5 | 108.5 | 80.5 | 91.7 | 80.5 | 105.4 | 78.9 | 84.3 | 88.3 | 83 | 62.8 | 40.1 | 40.1 | 45.7 | 44.9 | 46.9 | 59 | 60.1 | 34.2 | 24.4 | 29.1 | 27.7 | 30.7 | 37.7 | 42.4
Trimble Co 10 | 53.6 | 57.3 | 42 | 46.7 | 15.9 | 27.4 | 22.3 | 21.3 | 20.5 | 26.6 | 31.2 | 23 | 24.6 | 22.2 | 12.3 | 8.6 | 9.9 | 12.6 | 9.4 | 11.7 | 15.4 | 19.2 | 10 | 7 | 6 | 8.3 | 8.1 | 12.2 | 17
Trimble County 1 | 2991.3 | 2798.4 | 2964.6 | 2353.3 | 2612.2 | 2434.9 | 2745 | 2560.8 | 2905.1 | 2707.1 | 2907.9 | 2466.4 | 2971.5 | 2704.4 | 2960.9 | 2618.7 | 2930.3 | 2707.2 | 2982.1 | 2500.8 | 2964.7 | 2688.2 | 2989.5 | 2627 | 2973.2 | 2721.5 | 3005 | 2463.8 | 3006.4
Trimble County 2 | 3758.9 | 4389.9 | 4032 | 4323.2 | 3644.1 | 4374.2 | 4007.6 | 4360.8 | 3995.2 | 4350.2 | 3986.8 | 4370.4 | 3686.7 | 4359.2 | 3947 | 4352.9 | 3973.6 | 4365 | 3967.6 | 4353.9 | 3611.8 | 4362.8 | 3943.8 | 4366.5 | 4019.3 | 4376 | 4031.7 | 4354.9 | 3623.8
Zorn 1 | 0.3 | 0.6 | 0.2 | 0.4 | 0.1 | 0.3 | 0.2 | 0.2 | 0 | 0.2 | 0.4 | 0 | 0.4 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.2 | 0.1 | 0.4

## g-Summer_Capacity Rating
Summer Capacity Rating (MW)
75% Share of Trimble County 1 & 2
Unit | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042
Brown 1 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106 | 106
Brown 2 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166 | 166
Brown 3 | 410 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405 | 405
Brown IAC | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98 | 98
Brown 5 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112 | 112
Brown 6 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146
Brown 7 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146 | 146
Brown 8 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Brown 9 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Brown 10 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Brown 11 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102
Brown Solar | 0 | 0 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Cane Run 11 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14
Cane Run 4 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 5 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 6 | 240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cane Run 7 | 0 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640
Dix Dam 1 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Dix Dam 2 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Dix Dam 3 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Ghent 1 | 487 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481 | 481
Ghent 2 | 493 | 493 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484 | 484
Ghent 3 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476 | 476
Ghent 4 | 477 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471 | 471
Green River 3 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 4 | 95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Green River 5 | 0 | 0 | 0 | 0 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 670
Haefling 1 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Haefling 2 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Haefling 3 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Mill Creek 1 | 303 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
Mill Creek 2 | 301 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297 | 297
Mill Creek 3 | 391 | 391 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385 | 385
Mill Creek 4 | 477 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466 | 466
Ohio Falls 1 | 6 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 2 | 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 3 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 4 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 5 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 6 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 7 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Ohio Falls 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8
Paddy's Run 11 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12
Paddy's Run 12 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
Paddy's Run 13 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147 | 147
Trimble County 1 | 383.25 | 383.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25 | 379.25
Trimble County 2 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549 | 549
Trimble County 5 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Trimble County 6 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Trimble County 7 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Trimble County 8 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Trimble County 9 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Trimble County 10 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157 | 157
Zorn 1 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14