## ANAL OF COAL PURCH - TOTAL KPCO
KENTUCKY POWER COMPANY
ANALYSIS OF COAL PURCHASES
APRIL 2014
| P | P
| B | O | [6 empty] | No. | FOB Mine |  | Trans Cost |  | Delivered Cost
| D | C |  | M |  |  | Tons | BTU | MMBTU | Price | Cents Per | Per | Cents Per | Per | Cents Per | % |  | %
Station and Supplier | U | N |  | T | ST | District | Purchased | Per LB. | Per Ton | Per Ton | MMBTU | Ton | MMBTU | Ton | MMBTU | SO2 | Ash | HO2
(a) | (b) | (c) |  | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q) | (r)
TOTAL KENTUCKY POWER
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 33953.25 | 12516 | 25.03 | 56.73 | 226.65 | 0 | 0 | 56.73 | 226.65 | 3.92 | 8.95 | 7.69
Southern Coal Sales Corp | P | 07-00-12-901 | A | T | KY | 08 | 2406.25 | 12469 | 24.94 | 71.16 | 285.32 | 10.51 | 42.14 | 81.67 | 327.47 | 1.35 | 8.43 | 7.54
Maple | P | 07-00-13-003 | A | R | KY | 08 | 21916.25 | 12496 | 24.99 | 54.55 | 218.29 | 6.99 | 27.97 | 61.54 | 246.26 | 0.79 | 12.82 | 4.73
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 3222.19 | 12581 | 25.16 | 58.17 | 231.2 | 6.95 | 27.62 | 65.12 | 258.82 | 0.98 | 12.82 | 4.6
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 2387.1 | 11913 | 23.83 | 59.63 | 250.23 | 5.64 | 23.67 | 65.27 | 273.9 | 0.93 | 11.39 | 7.8
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 5714.6 | 12177 | 24.35 | 50.9 | 209.03 | 6.97 | 28.62 | 57.87 | 237.66 | 0.96 | 12.58 | 6.67
Mercuria Trading | P | 03-00-14-004 | A | R | KY | 08 | 4580.01 | 11843 | 23.69 | 63.96 | 269.99 | 5.52 | 23.3 | 69.48 | 293.29 | 0.83 | 12.42 | 7.6
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 25536.39 | 12041 | 24.08 | 63.96 | 265.61 | 7 | 29.07 | 70.96 | 294.68 | 0.84 | 12.82 | 6.61
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 7074.02 | 11803 | 23.61 | 56.88 | 240.91 | 5.64 | 23.89 | 62.52 | 264.8 | 0.99 | 11.14 | 8.6
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 16749.58 | 11981 | 23.96 | 56.06 | 233.97 | 5.64 | 23.54 | 61.7 | 257.51 | 0.98 | 10.43 | 7.83
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 21430.76 | 11966 | 23.93 | 57.64 | 240.87 | 5.64 | 23.57 | 63.28 | 264.44 | 0.89 | 11.29 | 7.88
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 9869.52 | 11995 | 23.99 | 58.97 | 245.81 | 5.55 | 23.13 | 64.52 | 268.95 | 0.91 | 11.3 | 7.34
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 16427.08 | 12021 | 24.04 | 55.87 | 232.4 | 5.64 | 23.46 | 61.51 | 255.87 | 0.97 | 9.82 | 7.92
Rhino Energy, LLC | P | 03-30-10-900 | A | T | KY | 08 | 26488.98 | 11698 | 23.4 | 75.89 | 324.32 | 0 | 0 | 75.89 | 324.32 | 0.93 | 13.2 | 7.12
Beech Fork Processing | P | 03-30-14-001 | A | T | KY | 08 | 8266.38 | 11938 | 23.88 | 65.07 | 272.49 | 0 | 0 | 65.07 | 272.49 | 1.04 | 9.52 | 8.72
Southern Coal Sales Corp | P | 03-30-12-900 | A | T | KY | 08 | 75926.28 | 12063 | 24.13 | 75.91 | 314.59 | 0 | 0 | 75.91 | 314.59 | 0.99 | 12.91 | 6.25
TOTAL SYSTEM WEIGHTED AVERAGE | [6 empty] | 281948.64 | 12095 | 24.19 | 64.65 | 267.26 | 3.05 | 12.61 | 67.7 | 279.87 | 1.3 | 11.73 | 6.94

## ANALYSIS OF COAL PURCHASES
KENTUCKY POWER COMPANY
ANALYSIS OF COAL PURCHASES
APRIL 2014
| P | P
| B | O | [6 empty] | No. | FOB Mine |  | Trans Cost |  | Delivered Cost
| D | C |  | M |  |  | Tons | BTU | MMBTU | Price | Cents Per | Per | Cents Per | Per | Cents Per | % |  | %
Station and Supplier | U | N |  | T | ST | District | Purchased | Per LB. | Per Ton | Per Ton | MMBTU | Ton | MMBTU | Ton | MMBTU | SO2 | Ash | HO2
(a) | (b) | (c) |  | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q) | (r)
MITCHELL PLANT
Long Term Contracts:
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 68523.2 | 12516 | 25.03 | 56.73 | 226.65 | 0 | 0 | 56.73 | 226.65 | 3.92 | 8.95 | 7.69
Southern Coal Sales Corp | P | 07-00-12-901 | A | T | KY | 08 | 4856.2 | 12469 | 24.94 | 71.16 | 285.32 | 10.51 | 42.14 | 81.67 | 327.47 | 1.35 | 8.43 | 7.54
Station Weighted Average | [6 empty] | 73379.4 | 12513 | 25.03 | 57.65 | 230.32 | 0.78 | 3.12 | 58.43 | 233.44 | 3.75 | 8.92 | 7.68
Spot Market:
Maple | P | 07-00-13-003 | A | R | KY | 08 | 44230.58 | 12496 | 24.99 | 54.55 | 218.29 | 6.99 | 27.97 | 61.54 | 246.26 | 0.79 | 12.82 | 4.73
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 6502.9 | 12581 | 25.16 | 58.17 | 231.2 | 6.95 | 27.62 | 65.12 | 258.82 | 0.98 | 12.82 | 4.6
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 4817.55 | 11913 | 23.83 | 59.63 | 250.23 | 5.64 | 23.67 | 65.27 | 273.9 | 0.93 | 11.39 | 7.8
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 11533 | 12177 | 24.35 | 50.9 | 209.03 | 6.97 | 28.62 | 57.87 | 237.66 | 0.96 | 12.58 | 6.67
Mercuria Trading | P | 03-00-14-004 | A | R | KY | 08 | 9243.2 | 11843 | 23.69 | 63.96 | 269.99 | 5.52 | 23.3 | 69.48 | 293.29 | 0.83 | 12.42 | 7.6
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 51536.6 | 12041 | 24.08 | 63.96 | 265.61 | 7 | 29.07 | 70.96 | 294.68 | 0.84 | 12.82 | 6.61
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 14276.53 | 11803 | 23.61 | 56.88 | 240.91 | 5.64 | 23.89 | 62.52 | 264.8 | 0.99 | 11.14 | 8.6
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 33803.4 | 11981 | 23.96 | 56.06 | 233.97 | 5.64 | 23.54 | 61.7 | 257.51 | 0.98 | 10.43 | 7.83
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 43250.77 | 11966 | 23.93 | 57.64 | 240.87 | 5.64 | 23.57 | 63.28 | 264.44 | 0.89 | 11.29 | 7.88
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 19918.3 | 11995 | 23.99 | 58.97 | 245.81 | 5.55 | 23.13 | 64.52 | 268.95 | 0.91 | 11.3 | 7.34
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 33154.1 | 12021 | 24.04 | 55.87 | 232.4 | 5.64 | 23.46 | 61.51 | 255.87 | 0.97 | 9.82 | 7.92
Station Weighted Average | [6 empty] | 272266.93 | 12087 | 24.17 | 57.96 | 239.8 | 6.19 | 25.61 | 64.15 | 265.41 | 0.9 | 11.67 | 6.98
TOTAL STATION WEIGHTED AVERAGE | [6 empty] | 345646.33 | 12142 | 24.284 | 57.8921 | 238.4 | 5.0439 | 20.77 | 62.936 | 259.17 | 1.23 | 11.31 | 7.06
ANALYSIS OF OIL PURCHASES
| B | O | [6 empty] | Gal or
| D | C |  | M |  |  | Station |  | Cu. Ft. |  | BTU per |  | Delivered |  | Cents Per |  | %
Supplier | U | N |  | T |  |  | Name |  | Purchased |  | Unit |  | Cost Per Gal |  | MMBTU |  | SO2
(a) | (b) | (c) |  | (d) |  |  | (e) |  | (f) |  | (g) |  | (h) |  | (i) |  | (j)
Petroleum Traders | D | 406288 |  | T |  |  | Mitchell |  | 150007 |  | 137515 |  | 3.3405 |  | 2429.2249 |  | 0.36
MITCHELL PLANT - KENTUCKY POWER SHARE OF PURCHASES
Kentucky Power Share of Coal Receipts | [6 empty] | 171267
Mitchell Total Coal Receipts | [6 empty] | 345646.33
Mitchell - Kentucky Power Coal Receipts Ratio | [6 empty] | 49.55%
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 33953.25 | Long Term Contract
Southern Coal Sales Corp | P | 07-00-12-901 | A | T | KY | 08 | 2406.25 | Long Term Contract
Maple | P | 07-00-13-003 | A | R | KY | 08 | 21916.25 | Spot
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 3222.19 | Spot
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 2387.1 | Spot
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 5714.6 | Spot
Mercuria Trading | P | 03-00-14-004 | A | R | KY | 08 | 4580.01 | Spot
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 25536.39 | Spot
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 7074.02 | Spot
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 16749.58 | Spot
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 21430.76 | Spot
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 9869.52 | Spot
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 16427.08 | Spot
Total | [6 empty] | 171267
Kentucky Power Share of Oil Receipts | [6 empty] | 74232.6
Mitchell Total Oil Receipts | [6 empty] | 150007
Mitchell - Kentucky Power Oil Receipts Ratio | [6 empty] | 49.49%
Petroleum Traders | D | 406288 |  | T |  |  | 74232.6

## SCHEDULES FUEL INVENTORY COAL
KENTUCKY POWER COMPANY
MITCHELL PLANT - KPCO SHARE
APRIL 2014
COAL INVENTORY SCHEDULE
Per
|  | Tons | Amount | Unit
Beginning Inventory |  | 172828.32 | 11299798.66 | 65.3816
Purchases |  | 171267 | 10778094.71 | 62.9315
Adjustments | 1 | 0 | 0 | 0
Sub-Total |  | 344095.32 | 22077893.37 | 64.1621
Less Coal Burned | 2 | 146775.83 | 9310009.66 | 63.4301
Ending Inventory |  | 197319.49 | 12767883.71 | 64.7067
1 | Coal Pile Survey Adjustment
2 | Includes 0 tons and $0 of fuel used in power conversion transaction.

## SCHEDULES FUEL INVENTORY OIL
KENTUCKY POWER COMPANY
MITCHELL PLANT - KPCO SHARE
APRIL 2014
OIL INVENTORY SCHEDULE
Per
|  | Gallons | Amount | Unit
Beginning Inventory |  | 412185 | 1363216.05 | 3.3073
Purchases |  | 74232.5961 | 247999.2837 | 3.3408
Adjustments |  | 0 | 0 | 0
Sub-Total |  | 486417.5961 | 1611215.3337 | 3.3124
Less Disposed
Generation |  | 72619.3444 | 240545.1736 | 3.3124
Chemical Cleaning/Other |  | 117.7517 | 390.0401 | 3.3124
Ending Inventory |  | 413680.5 | 1370280.12 | 3.3124
Explain any adjustments fully. Use additional sheets if necessary.
Includes 0 tons and $0 of fuel used in power conversion transaction.

## UNIT PERFORMANCE APPENDIX A
APPENDIX A
KENTUCKY POWER COMPANY
MITCHELL - TOTAL PLANT
APRIL 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 1632.6
| b. | Capacity (average load) (MW) |  | 1293.6885
| c. | Net Demonstrated Capability (MW) |  | 1560
| d. | Net Capability Factor (%) |  | 66.39
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 7249.6
| b. | Gross Generation (MWH) |  | 807393
| c. | Net Generation (MWH) |  | 745902
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 9718.827
3. |  | Operating Availability:
| a. | Hours Unit Operated | Reported on Unit Basis Only
| b. | Hours Available | Reported on Unit Basis Only
| c. | Hours During the Period | Reported on Unit Basis Only
| d. | Availability Factor (%) | Reported on Unit Basis Only
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) |  | 2.391
| b. | Net Generation - FAC Basis (Cents/KWH) |  | 2.588
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station |  | 53.7761
MITCHELL - UNIT 1
APRIL 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 816.3
| b. | Capacity (average load) (MW) |  | 678.1421
| c. | Net Demonstrated Capability (MW) |  | 770
| d. | Net Capability Factor (%) |  | 79.45
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 4033.4
| b. | Gross Generation (MWH) |  | 478810
| c. | Net Generation (MWH) |  | 441145
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 9142.988
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 650.52
| b. | Hours Available |  | 650.52
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 90.35
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only
MITCHELL - UNIT 2
APRIL 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 816.3
| b. | Capacity (average load) (MW) |  | 615.5464
| c. | Net Demonstrated Capability (MW) |  | 790
| d. | Net Capability Factor (%) |  | 53.66
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 3216.2
| b. | Gross Generation (MWH) |  | 328583
| c. | Net Generation (MWH) |  | 304757
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 10553.4557
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 495.1
| b. | Hours Available |  | 495.1
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 68.7639
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only

## FUEL COST PRIN GEN PLTS
KENTUCKY POWER COMPANY
REPORT OF FUEL CONSUMED DATA FOR PRINCIPAL GENERATING PLANTS
APRIL 2014
|  | TONS / MCF's/ | BTU/LB
| FUEL | GALLONS | BTU/MCF | TOTAL | GROSS * | COST | OTHER & |  | COST
PLANT | TYPE | CONSUMED | BTU/GAL | MMBTU | ACCOUNT 501/547/549 | C/MMBTU | ACCOUNT 152 | ACCOUNT 151* | C/MMBTU
MITCHELL - KPCO | COAL | 146775.83 | 12184 | 3576633 | 9579428.07 |  | 269418.41 | 9310009.66
| OIL | 72619.3444 | 137515 | 9986 | 240545.1736 |  |  | 240545.1736
TOTAL |  |  |  | 3586619 | 9819973.2436 | 273.7947 | 269418.41 | 9550554.8336 | 266.2829
MITCHELL - OPCO | COAL | 149888.17 | 12184 | 3652475 | 9824330.78 |  | 316905.5 | 9507425.28
| OIL | 74158.6556 | 137515 | 10198 | 245644.0064 |  |  | 245644.0064
TOTAL |  |  |  | 3662673 | 10069974.7864 | 274.9351 | 316905.5 | 9753069.2864 | 266.2828
MITCHELL TOTAL | COAL | 296664 | 12184 | 7229108 | 19403758.85 |  | 586323.91 | 18817434.94
| OIL | 146778 | 137515 | 20184 | 486189.18 |  |  | 486189.18
TOTAL |  |  |  | 7249292 | 19889948.03 | 274.3709 | 586323.91 | 19303624.12 | 266.2829
* includes Coal Hedging gains 5010001, 5010000, 5010003, 5010013,5010019, 5010027,5010030, 5010031,5010032, 5010033, 5040035, 5010036, 5470001, 5470003, 5490001

## PURCHASE PRICE PAID BY %
KENTUCKY POWER COMPANY - MITCHELL PLANT
PURCHASE PRICE PAID FOR COAL BY PERCENTAGE RANGE OF TOTAL PURCHASES AND RELATED FUEL STATISTICS
APRIL 2014
Per Ton Cost Delivered
- Dollar Range - |  | January | February | March | April | May | June | July | August | September | October | November | December | CURRENT MO.
30.00 - 39.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
40.00 - 44.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
45.00 - 49.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
50.00 - 54.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
55.00 - 59.99 |  | 49.8 | 97.5 | 30.2 | 23.1 | [8 empty] | 23.1
60.00 - 64.99 |  | 0 | 0 | 2.1 | 54.6 | [8 empty] | 54.6
65.00 - 69.99 |  | 0 | 0 | 14.6 | 6 | [8 empty] | 6
70.00 - 74.99 |  | 0 | 0 | 31.4 | 14.9 | [8 empty] | 14.9
75.00 - 79.99 |  | 27.7 | 0 | 0 | 0 | [8 empty] | 0
80.00 - 84.99 |  | 22.5 | 0 | 21.7 | 1.4 | [8 empty] | 1.4
85.00 - 89.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
90.00 - 94.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
95.00 - 99.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
100.00 - 104.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
105.00 - 109.99
110.00 - 114.99
115.00 - 119.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
120.00 - 124.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
125.00 - 129.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
130.00 - 134.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
135.00 - 139.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
140.00 - 144.99 |  | 0 | 0.5 | 0 | 0 | [8 empty] | 0
145.00 - 149.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
150.00 - 154.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
155.00 - 159.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
160.00 - 164.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
165.00 - 169.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
170.00 - 174.99 |  | 0 | 0 | 0 | 0 | [8 empty] | 0
175.00 - 179.99
180.00 - 184.99
185.00 - 189.99 |  |  | 2 | 0 | 0 | [8 empty] | 0
190.00 - 194.99
195.99 - 199.99
|  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 100
Memo:
Number of Suppliers |  | 4 | 3 | 8 | 9 | [8 empty] | 9
Avg. Btu Per Lb. of Coal Received |  | 12359 | 12427 | 12332 | 12142 | [8 empty] | 12142
Cost cents/1M Btu as Rec'd.(Exc.Hand.Cost) |  | 274.37 | 246.61 | 281.33 | 259.17 | [8 empty] | 259.17
Cost cents/1M Btu as Rec'd.(Hand.Cost Only) |  | 8.02 | 14.29 | 13.19 | 5.95 | [8 empty] | 5.95
Total Cost cents/1M Btu as Received-Total |  | 282.39 | 260.9 | 294.52 | 265.12 | [8 empty] | 265.12
Moisture Content |  | 7.21 | 7.16 | 6.94 | 7.06 | [8 empty] | 7.06
Ash Content |  | 9.98 | 9.84 | 10.52 | 11.31 | [8 empty] | 11.31
Sulphur Content |  | 2.58 | 4.01 | 1.91 | 1.23 | [8 empty] | 1.23
Avg. Purchase Price ($'s) | * | 67.8178 | 61.2928 | 69.387 | 62.936 | [8 empty] | 62.936
End of Month Inventory Unit Price ($'s) |  | 70.6126 | 67.0792 | 65.3816 | 64.7067 | [8 empty] | 64.7067
Tonnage Burned - Kentucky Power Share |  | 145212 | 126817.32 | 168040.11 | 146775.83 | [8 empty] | 146775.83
Tonnage Purchased - Kentucky Power Share |  | 58360 | 60821.42 | 71891.35 | 171267 | [8 empty] | 171267
Excess of Burn-Over Purchases (T) |  | 86851 | 65995.9 | 96148.76 | -24491.17 | [8 empty] | -24491.17
Inventory End of Month-Tons - KPCO Share |  | 334973 | 268977.08 | 172828.32 | 197319.49 | [8 empty] | 197319.49
All Fuel-Avg. Cost cents/M Btu-Consumed |  | 316.2942 | 315.4611 | 301.7056 | 273.7947 | [8 empty] | 273.7947
* Does not include handling cost; does include Tentative Price Increase accruals