## ANALYSIS OF COAL PURCHASES
KENTUCKY POWER COMPANY
ANALYSIS OF COAL PURCHASES
SEPTEMBER 2013
| P | P
| B | O | [6 empty] | No. | FOB Mine |  | Trans Cost |  | Delivered Cost
| D | C |  | M |  |  | Tons | BTU | MMBTU | Price | Cents Per | Per | Cents Per | Per | Cents Per | % |  | %
Station and Supplier | U | N |  | T | ST | District | Purchased | Per LB. | Per Ton | Per Ton | MMBTU | Ton | MMBTU | Ton | MMBTU | SO2 | Ash | HO2
(a) | (b) | (c) |  | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q) | (r)
BIG SANDY PLANT
Long Term Contracts:
Beech Fork Processing | P | 03-30-08-901 | A | T | KY | 08 | 7451.43 | 11931 | 23.86 | 82.91 | 347.49 | 0 | 0 | 82.91 | 347.49 | 1.01 | 11.65 | 6.96
Rhino Energy, LLC | P | 03-30-10-900 | A | T | KY | 08 | 20690.22 | 12359 | 24.72 | 81.74 | 330.66 | 0 | 0 | 81.74 | 330.66 | 0.88 | 10.95 | 5.67
S.M.& J. | P | 03-30-10-901 | A | T | KY | 08 | 10027.72 | 12222 | 24.44 | 79.51 | 325.33 | 0 | 0 | 79.51 | 325.33 | 0.95 | 9.18 | 7.47
Southern Coal Sales Corp | P | 03-30-12-900 | A | T | KY | 08 | 10904.41 | 12497 | 24.99 | 76.2 | 304.92 | 0 | 0 | 76.2 | 304.92 | 0.88 | 11.57 | 4.88
Station Weighted Average | [6 empty] | 49073.78 | 12305 | 24.61 | 80.23 | 326.01 | 4.67 | 18.98 | 84.9 | 344.98 | 0.91 | 10.87 | 6
TOTAL SYSTEM WEIGHTED AVERAGE | [6 empty] | 49073.78 | 12305 | 24.61 | 80.23 | 326.01 | 4.67 | 18.98 | 84.9 | 344.98 | 0.91 | 10.87 | 6
ANALYSIS OF OIL PURCHASES
| B | O | [6 empty] | Gal or
| D | C |  | M |  |  | Station |  | Cu. Ft. |  | BTU per |  | Delivered |  | Cents Per |  | %
Supplier | U | N |  | T |  |  | Name |  | Purchased |  | Unit |  | Cost Per Gal |  | MMBTU |  | SO2
(a) | (b) | (c) |  | (d) |  |  | (e) |  | (f) |  | (g) |  | (h) |  | (i) |  | (j)
Ports Petroleum Company, Inc. | D | 406288 |  | T |  |  | Big Sandy |  | 0 |  | 0 |  | 0 |  | 0 |  | 0.36

## SCHEDULES FUEL INVENTORY COAL
KENTUCKY POWER COMPANY
BIG SANDY PLANT
SEPTEMBER 2013
COAL INVENTORY SCHEDULE
Per
|  | Tons | Amount | Unit
Beginning Inventory |  | 638867.56 | 50833499.91 | 79.5681
Purchases |  | 49073.78 | 4166362.57 | 84.9
Adjustments | 1 | 0 | 0 | 0
Sub-Total |  | 687941.34 | 54999862.48 | 79.9485
Less Coal Burned | 2 | 41983 | 3356476.92 | 79.9485
Ending Inventory |  | 645958.34 | 51643385.56 | 79.9485
1 | Coal Pile Survey Adjustment
2 | Includes 0 tons and $0 of fuel used in power conversion transaction.

## SCHEDULES FUEL INVENTORY OIL
KENTUCKY POWER COMPANY
BIG SANDY PLANT
SEPTEMBER 2013
OIL INVENTORY SCHEDULE
Per
|  | Gallons | Amount | Unit
Beginning Inventory |  | 288519.9 | 880206.38 | 3.0508
Purchases |  | 0 | 0 | #DIV/0!
Adjustments |  | 0 | 0 | 0
Sub-Total |  | 288519.9 | 880206.38 | 3.0508
Less Disposed
Generation |  | 5229 | 15952.45 | 3.0508
Chemical Cleaning/Other |  | 0 | 0 | 0
Ending Inventory |  | 283290.9 | 864253.93 | 3.0508
Explain any adjustments fully. Use additional sheets if necessary.
Includes 0 tons and $0 of fuel used in power conversion transaction.

## UNIT PERFORMANCE APPENDIX A
APPENDIX A
KENTUCKY POWER COMPANY
BIG SANDY - TOTAL PLANT
SEPTEMBER 2013
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 1096.8
| b. | Capacity (average load) (MW) |  | 132.2083
| c. | Net Demonstrated Capability (MW) |  | 1078
| d. | Net Capability Factor (%) |  | 12.26
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 984.2
| b. | Gross Generation (MWH) |  | 100700
| c. | Net Generation (MWH) |  | 95190
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 10339.4058
3. |  | Operating Availability:
| a. | Hours Unit Operated | Reported on Unit Basis Only
| b. | Hours Available | Reported on Unit Basis Only
| c. | Hours During the Period | Reported on Unit Basis Only
| d. | Availability Factor (%) | Reported on Unit Basis Only
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) |  | 3.349
| b. | Net Generation - FAC Basis (Cents/KWH) |  | 3.5428
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station |  | 219.4042
BIG SANDY - UNIT 1
SEPTEMBER 2013
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 280.5
| b. | Capacity (average load) (MW) |  | 132.2083
| c. | Net Demonstrated Capability (MW) |  | 278
| d. | Net Capability Factor (%) |  | 47.56
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 984.2
| b. | Gross Generation (MWH) |  | 100700
| c. | Net Generation (MWH) |  | 95190
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 10339.1642
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 720
| b. | Hours Available |  | 720
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 100
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only
BIG SANDY - UNIT 2
SEPTEMBER 2013
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 816.3
| b. | Capacity (average load) (MW) |  | 0
| c. | Net Demonstrated Capability (MW) |  | 800
| d. | Net Capability Factor (%) |  | 0
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 0
| b. | Gross Generation (MWH) |  | 0
| c. | Net Generation (MWH) |  | 0
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 0
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 0
| b. | Hours Available |  | 0
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 0
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only

## FUEL COST PRIN GEN PLTS
KENTUCKY POWER COMPANY
REPORT OF FUEL CONSUMED DATA FOR PRINCIPAL GENERATING PLANTS
SEPTEMBER 2013
TONS /
| FUEL | GALLONS | BTU/LB | TOTAL | GROSS | COST | OTHER & |  | COST
PLANT | TYPE | CONSUMED | BTU/GAL | MMBTU | ACCOUNT 501 | C/MMBTU | ACCOUNT 152 | ACCOUNT 151 | C/MMBTU
BIG SANDY | COAL | 41983 | 11713 | 983494 | 3509265.43 |  | 152788.51 | 3356476.92
| OIL | 5229 | 136600 | 714 | 15952.45 |  |  | 15952.45
TOTAL |  |  |  | 984208 | 3525217.88 | 358.1781 | 152788.51 | 3372429.37 | 342.6541
G:\internal\FuelContractAccounting\Fuel New\KP\CURRENT\[FR03PAGE24SEND.xls]BIG SANDY

## PURCHASE PRICE PAID BY %
KENTUCKY POWER COMPANY
PURCHASE PRICE PAID FOR COAL BY PERCENTAGE RANGE OF TOTAL PURCHASES AND RELATED FUEL STATISTICS
SEPTEMBER 2013
Per Ton Cost Delivered
- Dollar Range - |  | January | February | March | April | May | June | July | August | September | October | November | December | CURRENT MO.
30.00 - 39.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40.00 - 44.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45.00 - 49.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50.00 - 54.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55.00 - 59.99 |  | 0 | 0 | 0 | 3.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60.00 - 64.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
65.00 - 69.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
70.00 - 74.99 |  | 13.9 | 23.7 | 31.5 | 0 | 15.4 | 25.4 | 30.2 | 41.4 | 0 | 0 | 0 | 0 | 0
75.00 - 79.99 |  | 86.1 | 76.3 | 68.5 | 96.1 | 84.6 | 58.1 | 51.3 | 46.8 | 42.7 | 0 | 0 | 0 | 42.7
80.00 - 84.99 |  | 0 | 0 | 0 | 0 | 0 | 16.5 | 18.5 | 11.8 | 57.3 | 0 | 0 | 0 | 57.3
85.00 - 89.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
90.00 - 94.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
95.00 - 99.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100.00 - 104.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
105.00 - 109.99 |  | 0
110.00 - 114.99 |  | 0
115.00 - 119.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120.00 - 124.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
125.00 - 129.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
130.00 - 134.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135.00 - 139.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
140.00 - 144.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145.00 - 149.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150.00 - 154.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
155.00 - 159.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
160.00 - 164.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
165.00 - 169.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
170.00 - 174.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
175.00 - 179.99
180.00 - 184.99
185.00 - 189.99
190.00 - 194.99
195.99 - 199.99
|  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 100
Memo:
Number of Suppliers |  | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 0 | 0 | 0 | 4
Avg. Btu Per Lb. of Coal Received |  | 12180 | 12001 | 11895 | 11931 | 11996 | 12201 | 11983 | 11993 | 12305 | 0 | 0 | 0 | 12305
Cost cents/1M Btu as Rec'd.(Exc.Hand.Cost) |  | 323.47 | 324.97 | 323.28 | 336.69 | 331.68 | 329.6 | 332.38 | 328.47 | 344.98 | 0 | 0 | 0 | 344.98
Cost cents/1M Btu as Rec'd.(Hand.Cost Only) |  | 11.22 | 12.8 | 10.7 | 16.98 | 11.98 | 9.68 | 11.73 | 12.46 | 18.27 | 0 | 0 | 0 | 18.27
Total Cost cents/1M Btu as Received-Total |  | 334.69 | 337.77 | 333.98 | 353.67 | 343.66 | 339.28 | 344.11 | 340.93 | 363.25 | 0 | 0 | 0 | 363.25
Moisture Content |  | 8.31 | 7.61 | 6.96 | 7.18 | 6.91 | 6.68 | 7.32 | 7.11 | 6 | 0 | 0 | 0 | 6
Ash Content |  | 9.09 | 10.9 | 12.32 | 11.52 | 11.33 | 10.49 | 11.12 | 11.28 | 10.87 | 0 | 0 | 0 | 10.87
Sulphur Content |  | 0.93 | 1.06 | 0.94 | 0.88 | 0.88 | 0.86 | 0.91 | 0.9 | 0.91 | 0 | 0 | 0 | 0.91
Avg. Purchase Price ($'s) | * | 78.7961 | 77.9997 | 76.9093 | 80.3409 | 79.5761 | 80.4292 | 79.6579 | 78.7862 | 84.9 | 0 | 0 | 0 | 84.9
End of Month Inventory Unit Price ($'s) |  | 80.0909 | 79.865 | 79.4412 | 79.5506 | 79.5548 | 79.682 | 79.6784 | 79.5681 | 79.9485 | 0 | 0 | 0 | 79.9485
Tonnage Burned |  | 151230 | 171820 | 248190 | 183924 | 24026 | 52255 | 56481 | 50951 | 41983 | 0 | 0 | 0 | 41983
Tonnage Purchased |  | 95518.65 | 93746.27 | 116535.78 | 78172.9 | 90294.66 | 89370.65 | 98908.96 | 85244.35 | 49073.78 | 0 | 0 | 0 | 49073.78
Excess of Burn-Over Purchases (T) |  | 55711.35 | 78073.73 | 131654.22 | 105751.1 | -66268.66 | -37115.65 | -42427.96 | -34293.35 | -7090.78 | 0 | 0 | 0 | -7090.78
Inventory End of Month-Tons |  | 774240.99 | 696167.26 | 564513.04 | 458761.94 | 525030.6 | 562146.25 | 604574.21 | 638867.56 | 645958.34 | 0 | 0 | 0 | 645958.34
All Fuel-Avg. Cost cents/M Btu-Consumed |  | 356.0271 | 360.7089 | 348.0895 | 348.875 | 354.941 | 386.1267 | 370.5895 | 377.9921 | 358.1781 | 0 | 0 | 0 | 358.1781
* Does not include handling cost; does include Tentative Price Increase accruals