## ANAL OF COAL PURCH - TOTAL KPCO
KENTUCKY POWER COMPANY
ANALYSIS OF COAL PURCHASES
JUNE 2014
| P | P
| B | O | [6 empty] | No. | FOB Mine |  | Trans Cost |  | Delivered Cost
| D | C |  | M |  |  | Tons | BTU | MMBTU | Price | Cents Per | Per | Cents Per | Per | Cents Per | % |  | %
Station and Supplier | U | N |  | T | ST | District | Purchased | Per LB. | Per Ton | Per Ton | MMBTU | Ton | MMBTU | Ton | MMBTU | SO2 | Ash | HO2
(a) | (b) | (c) |  | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q) | (r)
TOTAL KENTUCKY POWER
Rhino Energy, LLC | P | 03-30-10-900 | A | T | KY | 08 | 11909.15 | 12215 | 24.43 | 79.25 | 324.4 | 0 | 0 | 79.25 | 324.4 | 0.85 | 10.58 | 6.88
Southern Coal Sales Corp | P | 03-30-12-900 | A | T | KY | 08 | 39923.13 | 12291 | 24.58 | 79.07 | 321.68 | 0 | 0 | 79.07 | 321.68 | 0.84 | 12.3 | 5.61
S.M.& J. | P | 03-30-14-002 | A | R | KY | 08 | 23914.78 | 12267 | 24.53 | 68.19 | 277.99 | 0 | 0 | 68.19 | 277.99 | 0.92 | 8.35 | 8.26
Alpha Coal Sales | P | 03-30-14-003 | A | R | KY | 08 | 24059.79 | 12057 | 24.11 | 71.28 | 295.64 | 0 | 0 | 71.28 | 295.64 | 0.96 | 11.08 | 7.2
Beech Fork Processing | P | 03-30-14-001 | A | T | KY | 08 | 38624.21 | 11887 | 23.77 | 65.57 | 275.85 | 0 | 0 | 65.57 | 275.85 | 0.96 | 9.8 | 8.99
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 50940.09 | 12724 | 25.45 | 57.14 | 224.52 | 0 | 0 | 57.14 | 224.52 | 3.81 | 9.02 | 6.18
Maple | P | 07-00-13-003 | A | R | KY | 08 | 5511.3 | 12369 | 24.74 | 61.26 | 247.62 | 7.09 | 28.66 | 68.35 | 276.27 | 0.99 | 12.76 | 5.76
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 2548.3 | 12683 | 25.37 | 59.94 | 236.26 | 6.97 | 27.47 | 66.91 | 263.74 | 0.94 | 11.96 | 4.67
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 1868.1 | 11822 | 23.64 | 64.2 | 271.57 | 5.78 | 24.45 | 69.98 | 296.02 | 0.89 | 11.09 | 8.52
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 5633.43 | 12191 | 24.38 | 56.33 | 231.05 | 6.97 | 28.59 | 63.3 | 259.64 | 0.86 | 12.94 | 5.69
Mercuria Trading | P | 03-00-14-012 | A | R | KY | 08 | 7142.54 | 11851 | 23.7 | 63.8 | 269.2 | 5.64 | 23.8 | 69.44 | 293 | 0.98 | 10.15 | 9.17
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 12980.75 | 12062 | 24.12 | 66.05 | 273.84 | 6.97 | 28.9 | 73.02 | 302.74 | 0.81 | 12.97 | 6.67
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 1470.07 | 11938 | 23.88 | 62.04 | 259.8 | 5.64 | 23.62 | 67.68 | 283.42 | 0.96 | 10.65 | 7.96
Patriot | P | 03-00-14-014 | A | T | KY | 08 | 12792.8 | 11879 | 23.76 | 59.34 | 249.75 | 12.14 | 51.09 | 71.48 | 300.84 | 0.82 | 12.99 | 6.08
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 789.14 | 11781 | 23.56 | 62.12 | 263.67 | 5.64 | 23.94 | 67.76 | 287.61 | 0.92 | 11.3 | 8.47
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 1572.64 | 11953 | 23.91 | 61.91 | 258.93 | 5.64 | 23.59 | 67.55 | 282.52 | 0.87 | 11.58 | 7.61
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 13063.8 | 11996 | 23.99 | 60.18 | 250.85 | 5.67 | 23.63 | 65.85 | 274.49 | 0.95 | 10.74 | 8.19
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 718.14 | 11991 | 23.98 | 60.3 | 251.46 | 5.64 | 23.52 | 65.94 | 274.98 | 0.88 | 9.73 | 8.21
TOTAL SYSTEM WEIGHTED AVERAGE | [6 empty] | 255462.16 | 12222 | 24.44 | 66.38 | 271.6 | 1.93 | 7.9 | 68.31 | 279.5 | 1.48 | 10.62 | 7.06

## ANALYSIS OF COAL PURCHASES
KENTUCKY POWER COMPANY
ANALYSIS OF COAL PURCHASES
JUNE 2014
| P | P
| B | O | [6 empty] | No. | FOB Mine |  | Trans Cost |  | Delivered Cost
| D | C |  | M |  |  | Tons | BTU | MMBTU | Price | Cents Per | Per | Cents Per | Per | Cents Per | % |  | %
Station and Supplier | U | N |  | T | ST | District | Purchased | Per LB. | Per Ton | Per Ton | MMBTU | Ton | MMBTU | Ton | MMBTU | SO2 | Ash | HO2
(a) | (b) | (c) |  | (d) | (e) | (f) | (g) | (h) | (i) | (j) | (k) | (l) | (m) | (n) | (o) | (p) | (q) | (r)
MITCHELL PLANT
Long Term Contracts:
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 105444.2 | 12724 | 25.45 | 57.14 | 224.52 | 0 | 0 | 57.14 | 224.52 | 3.81 | 9.02 | 6.18
Station Weighted Average | [6 empty] | 105444.2 | 12724 | 25.45 | 57.14 | 224.52 | 0 | 0 | 57.14 | 224.52 | 3.81 | 9.02 | 6.18
Spot Market:
Maple | P | 07-00-13-003 | A | R | KY | 08 | 11408.2 | 12369 | 24.74 | 61.26 | 247.62 | 7.09 | 28.66 | 68.35 | 276.27 | 0.99 | 12.76 | 5.76
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 5274.9 | 12683 | 25.37 | 59.94 | 236.26 | 6.97 | 27.47 | 66.91 | 263.74 | 0.94 | 11.96 | 4.67
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 3866.9 | 11822 | 23.64 | 64.2 | 271.57 | 5.78 | 24.45 | 69.98 | 296.02 | 0.89 | 11.09 | 8.52
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 11661 | 12191 | 24.38 | 56.33 | 231.05 | 6.97 | 28.59 | 63.3 | 259.64 | 0.86 | 12.94 | 5.69
Mercuria Trading | P | 03-00-14-012 | A | R | KY | 08 | 14784.8 | 11851 | 23.7 | 63.8 | 269.2 | 5.64 | 23.8 | 69.44 | 293 | 0.98 | 10.15 | 9.17
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 26869.7 | 12062 | 24.12 | 66.05 | 273.84 | 6.97 | 28.9 | 73.02 | 302.74 | 0.81 | 12.97 | 6.67
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 3043 | 11938 | 23.88 | 62.04 | 259.8 | 5.64 | 23.62 | 67.68 | 283.42 | 0.96 | 10.65 | 7.96
Patriot | P | 03-00-14-014 | A | T | KY | 08 | 26480.65 | 11879 | 23.76 | 59.34 | 249.75 | 12.14 | 51.09 | 71.48 | 300.84 | 0.82 | 12.99 | 6.08
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 1633.5 | 11781 | 23.56 | 62.12 | 263.67 | 5.64 | 23.94 | 67.76 | 287.61 | 0.92 | 11.3 | 8.47
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 3255.3 | 11953 | 23.91 | 61.91 | 258.93 | 5.64 | 23.59 | 67.55 | 282.52 | 0.87 | 11.58 | 7.61
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 27041.6 | 11996 | 23.99 | 60.18 | 250.85 | 5.67 | 23.63 | 65.85 | 274.49 | 0.95 | 10.74 | 8.19
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 1464 | 11991 | 23.98 | 60.3 | 251.46 | 5.64 | 23.52 | 65.94 | 274.98 | 0.88 | 9.73 | 8.21
Station Weighted Average | [6 empty] | 136783.55 | 12035 | 24.07 | 61.54 | 255.67 | 7.63 | 31.7 | 69.17 | 287.37 | 0.89 | 11.98 | 7.03
TOTAL STATION WEIGHTED AVERAGE | [6 empty] | 242227.75 | 12258 | 24.516 | 59.6781 | 243.43 | 4.3064 | 17.57 | 63.9845 | 260.99 | 1.84 | 11.02 | 6.76
ANALYSIS OF OIL PURCHASES
| B | O | [6 empty] | Gal or
| D | C |  | M |  |  | Station |  | Cu. Ft. |  | BTU per |  | Delivered |  | Cents Per |  | %
Supplier | U | N |  | T |  |  | Name |  | Purchased |  | Unit |  | Cost Per Gal |  | MMBTU |  | SO2
(a) | (b) | (c) |  | (d) |  |  | (e) |  | (f) |  | (g) |  | (h) |  | (i) |  | (j)
Petroleum Traders | D | 406288 |  | T |  |  | Mitchell |  | 7501 |  | 137516 |  | 3.5789 |  | 2602.5472 |  | 0.36
MITCHELL PLANT - KENTUCKY POWER SHARE OF PURCHASES
Kentucky Power Share of Coal Receipts | [6 empty] | 117031.1
Mitchell Total Coal Receipts | [6 empty] | 242227.75
Mitchell - Kentucky Power Coal Receipts Ratio | [6 empty] | 48.31%
Ohio Valley Resources | P | 07-77-05-900OVRI | A | T | KY | 08 | 50940.09 | Long Term Contract
Maple | P | 07-00-13-003 | A | R | KY | 08 | 5511.3 | Spot
Peabody COALTRADE | P | 03-00-14-4M1 | A | T | KY | 08 | 2548.3 | Spot
EDFTRADING | P | 03-00-14-002 | A | R | KY | 08 | 1868.1 | Spot
Trafigura AG | P | 03-00-14-003 | A | R | KY | 08 | 5633.43 | Spot
Mercuria Trading | P | 03-00-14-012 | A | R | KY | 08 | 7142.54 | Spot
Patriot Coal | P | 07-00-13-001 | A | R | KY | 08 | 12980.75 | Spot
RWE Supply | P | 03-00-14-005 | A | T | KY | 08 | 1470.07 | Spot
Patriot | P | 03-00-14-014 | A | T | KY | 08 | 12792.8 | Spot
Trafigura AG | P | 03-00-14-006 | A | R | KY | 08 | 789.14 | Spot
Trafigura AG | P | 03-00-14-008 | A | T | KY | 08 | 1572.64 | Spot
EDFTRADING | P | 03-00-14-001 | B | R | KY | 08 | 13063.8 | Spot
Trafigura AG | P | 03-00-14-009 | A | T | KY | 08 | 718.14 | Spot
Total | [6 empty] | 117031.1
Kentucky Power Share of Oil Receipts | [6 empty] | 1337.1
Mitchell Total Oil Receipts | [6 empty] | 7501
Mitchell - Kentucky Power Oil Receipts Ratio | [6 empty] | 17.83%
Petroleum Traders | D | 406288 |  | T |  |  | 1337.1

## SCHEDULES FUEL INVENTORY COAL
KENTUCKY POWER COMPANY
MITCHELL PLANT - KPCO SHARE
JUNE 2014
COAL INVENTORY SCHEDULE
Per
|  | Tons | Amount | Unit
Beginning Inventory |  | 146373.76 | 9298896.42 | 63.5284
Purchases |  | 117031.1 | 7493066.27 | 64.0263
Adjustments | 1 | 0 | 0 | 0
Sub-Total |  | 263404.86 | 16791962.69 | 63.7496
Less Coal Burned | 2 | 139290.72 | 8745655.97 | 62.7871
Ending Inventory |  | 124114.14 | 8046306.72 | 64.8299
1 | Coal Pile Survey Adjustment
2 | Includes 0 tons and $0 of fuel used in power conversion transaction.

## SCHEDULES FUEL INVENTORY OIL
KENTUCKY POWER COMPANY
MITCHELL PLANT - KPCO SHARE
JUNE 2014
OIL INVENTORY SCHEDULE
Per
|  | Gallons | Amount | Unit
Beginning Inventory |  | 499012.5 | 1651296.21 | 3.3091
Purchases |  | 1337.097 | 5431.6183 | 4.0622
Adjustments |  | 0 | 0 | 0
Sub-Total |  | 500349.597 | 1656727.8283 | 3.3111
Less Disposed
Generation |  | 82314.597 | 272555.2083 | 3.3111
Chemical Cleaning/Other |  | 0 | 0 | 0
Ending Inventory |  | 418035 | 1384172.62 | 3.3111
Explain any adjustments fully. Use additional sheets if necessary.
Includes 0 tons and $0 of fuel used in power conversion transaction.

## UNIT PERFORMANCE APPENDIX A
APPENDIX A
KENTUCKY POWER COMPANY
MITCHELL - TOTAL PLANT
JUNE 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 1632.6
| b. | Capacity (average load) (MW) |  | 1231.6014
| c. | Net Demonstrated Capability (MW) |  | 1560
| d. | Net Capability Factor (%) |  | 64.06
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 7177.6
| b. | Gross Generation (MWH) |  | 782078
| c. | Net Generation (MWH) |  | 720222
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 9965.8724
3. |  | Operating Availability:
| a. | Hours Unit Operated | Reported on Unit Basis Only
| b. | Hours Available | Reported on Unit Basis Only
| c. | Hours During the Period | Reported on Unit Basis Only
| d. | Availability Factor (%) | Reported on Unit Basis Only
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) |  | 2.374
| b. | Net Generation - FAC Basis (Cents/KWH) |  | 2.5777
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station |  | 29.4423
MITCHELL - UNIT 1
JUNE 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 816.3
| b. | Capacity (average load) (MW) |  | 599.3811
| c. | Net Demonstrated Capability (MW) |  | 770
| d. | Net Capability Factor (%) |  | 51.32
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 2951.1
| b. | Gross Generation (MWH) |  | 313543
| c. | Net Generation (MWH) |  | 285128
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 10350.1796
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 475.704
| b. | Hours Available |  | 475.704
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 66.07
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only
MITCHELL - UNIT 2
JUNE 2014
Line
No. |  | Item Description
1. |  | Unit Performance:
| a. | Capacity (name plate rating) (MW) |  | 816.3
| b. | Capacity (average load) (MW) |  | 632.2203
| c. | Net Demonstrated Capability (MW) |  | 790
| d. | Net Capability Factor (%) |  | 76.47
2. |  | Heat Rate:
| a. | Btu's Consumed (MMBTU) |  | 4226.5
| b. | Gross Generation (MWH) |  | 468535
| c. | Net Generation (MWH) |  | 435094
| d. | Heat Rate (L2a divided by L2c) (BTU/KWH) |  | 9713.9793
3. |  | Operating Availability:
| a. | Hours Unit Operated |  | 688.2
| b. | Hours Available |  | 688.2
| c. | Hours During the Period |  | 720
| d. | Availability Factor (L3b divided by L3c) (%) |  | 95.5833
4. |  | Cost per KWH:
| a. | Gross Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
| b. | Net Generation - FAC Basis (Cents/KWH) | Reported on total plant basis only
5. |  | Inventory Analysis:
| a. | Number of Days Supply based on actual burn at the station | Reported on total plant basis only

## FUEL COST PRIN GEN PLTS
KENTUCKY POWER COMPANY
REPORT OF FUEL CONSUMED DATA FOR PRINCIPAL GENERATING PLANTS
JUNE 2014
|  | TONS / MCF's/ | BTU/LB
| FUEL | GALLONS | BTU/MCF | TOTAL | GROSS * | COST | OTHER & |  | COST
PLANT | TYPE | CONSUMED | BTU/GAL | MMBTU | ACCOUNT 501/547/549 | C/MMBTU | ACCOUNT 152 | ACCOUNT 151* | C/MMBTU
MITCHELL - KPCO | COAL | 139290.72 | 12475 | 3475303 | 9313077.02 |  | 567421.05 | 8745655.97
| OIL | 82314.597 | 137516 | 11320 | 272555.2083 |  |  | 272555.2083
TOTAL |  |  |  | 3486623 | 9585632.2283 | 274.926 | 567421.05 | 9018211.1783 | 258.6517
MITCHELL - OPCO | COAL | 147456.28 | 12475 | 3679034 | 9866850.21 |  | 608505.15 | 9258345.06
| OIL | 87141.403 | 137516 | 11983 | 288537.4417 |  |  | 288537.4417
TOTAL |  |  |  | 3691017 | 10155387.6517 | 275.1379 | 608505.15 | 9546882.5017 | 258.6518
MITCHELL TOTAL | COAL | 286747 | 12475 | 7154338 | 19179927.23 |  | 1175926.2 | 18004001.03
| OIL | 169456 | 137516 | 23303 | 561092.65 |  |  | 561092.65
TOTAL |  |  |  | 7177641 | 19741019.88 | 275.0349 | 1175926.2 | 18565093.68 | 258.6517
* includes Coal Hedging gains 5010001, 5010000, 5010003, 5010013,5010019, 5010027,5010030, 5010031,5010032, 5010033, 5040035, 5010036, 5470001, 5470003, 5490001

## PURCHASE PRICE PAID BY %
KENTUCKY POWER COMPANY - MITCHELL PLANT
PURCHASE PRICE PAID FOR COAL BY PERCENTAGE RANGE OF TOTAL PURCHASES AND RELATED FUEL STATISTICS
JUNE 2014
Per Ton Cost Delivered
- Dollar Range - |  | January | February | March | April | May | June | July | August | September | October | November | December | CURRENT MO.
30.00 - 39.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
40.00 - 44.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
45.00 - 49.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
50.00 - 54.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
55.00 - 59.99 |  | 49.8 | 97.5 | 30.2 | 23.1 | 82.4 | 43.5 | [6 empty] | 43.5
60.00 - 64.99 |  | 0 | 0 | 2.1 | 54.6 | 3.5 | 4.8 | [6 empty] | 4.8
65.00 - 69.99 |  | 0 | 0 | 14.6 | 6 | 0 | 29.7 | [6 empty] | 29.7
70.00 - 74.99 |  | 0 | 0 | 31.4 | 14.9 | 13 | 22 | [6 empty] | 22
75.00 - 79.99 |  | 27.7 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
80.00 - 84.99 |  | 22.5 | 0 | 21.7 | 1.4 | 0 | 0 | [6 empty] | 0
85.00 - 89.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
90.00 - 94.99 |  | 0 | 0 | 0 | 0 | 1.1 | 0 | [6 empty] | 0
95.00 - 99.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
100.00 - 104.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
105.00 - 109.99
110.00 - 114.99
115.00 - 119.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
120.00 - 124.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
125.00 - 129.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
130.00 - 134.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
135.00 - 139.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
140.00 - 144.99 |  | 0 | 0.5 | 0 | 0 | 0 | 0 | [6 empty] | 0
145.00 - 149.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
150.00 - 154.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
155.00 - 159.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
160.00 - 164.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
165.00 - 169.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
170.00 - 174.99 |  | 0 | 0 | 0 | 0 | 0 | 0 | [6 empty] | 0
175.00 - 179.99
180.00 - 184.99
185.00 - 189.99 |  |  | 2 | 0 | 0 | 0 | 0 | [6 empty] | 0
190.00 - 194.99
195.99 - 199.99
|  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 0 | 0 | 100
Memo:
Number of Suppliers |  | 4 | 3 | 8 | 9 | 3 | 8 | [6 empty] | 8
Avg. Btu Per Lb. of Coal Received |  | 12359 | 12427 | 12332 | 12142 | 12519 | 12258 | [6 empty] | 12258
Cost cents/1M Btu as Rec'd.(Exc.Hand.Cost) |  | 274.37 | 246.61 | 281.33 | 259.17 | 243.21 | 260.99 | [6 empty] | 260.99
Cost cents/1M Btu as Rec'd.(Hand.Cost Only) |  | 8.02 | 14.29 | 13.19 | 5.95 | 14.85 | 9.14 | [6 empty] | 9.14
Total Cost cents/1M Btu as Received-Total |  | 282.39 | 260.9 | 294.52 | 265.12 | 258.06 | 270.13 | [6 empty] | 270.13
Moisture Content |  | 7.21 | 7.16 | 6.94 | 7.06 | 6.91 | 6.76 | [6 empty] | 6.76
Ash Content |  | 9.98 | 9.84 | 10.52 | 11.31 | 9.59 | 11.02 | [6 empty] | 11.02
Sulphur Content |  | 2.58 | 4.01 | 1.91 | 1.23 | 3.53 | 1.84 | [6 empty] | 1.84
Avg. Purchase Price ($'s) | * | 67.8178 | 61.2928 | 69.387 | 62.936 | 60.8956 | 63.9845 | [6 empty] | 63.9845
End of Month Inventory Unit Price ($'s) |  | 70.6126 | 67.0792 | 65.3816 | 64.7067 | 63.5284 | 64.8299 | [6 empty] | 64.8299
Tonnage Burned - Kentucky Power Share |  | 145212 | 126817.32 | 168040.11 | 146776 | 122227 | 139291 | [6 empty] | 139291
Tonnage Purchased - Kentucky Power Share |  | 58360 | 60821.42 | 71891.35 | 171267 | 71281 | 117031 | [6 empty] | 117031
Excess of Burn-Over Purchases (T) |  | 86851 | 65995.9 | 96148.76 | -24491 | 50946 | 22260 | [6 empty] | 22260
Inventory End of Month-Tons - KPCO Share |  | 334973 | 268977.08 | 172828.32 | 197319 | 146374 | 124114 | [6 empty] | 124114
All Fuel-Avg. Cost cents/M Btu-Consumed |  | 316.2942 | 315.4611 | 301.7056 | 273.7947 | 276.2064 | 274.926 | [6 empty] | 274.926
* Does not include handling cost; does include Tentative Price Increase accruals