## 01-2014
| STEP 1 & 3 | [10 empty] | STEP 2
| (1) | [5 empty] | (5) |  |  | (11) |  | (2) | (3) |  | (4) |  | (6) |  |  | (7) | (8) | (9) |  |  | (10) | (12)
| (1) |  |  | (2) |  |  | (3) | (3a) | (4) | (5) | (5a) | (6) | (7) | (8) | (9) | (10) | (11) |  |  | (12) | (13) | (14) |  |  | (15) | (16)
DAY AND HOUR | FORCED OUTAGE (FO) VOLUME FROM LASOR |  |  | TOTAL FO |  |  | PURCHASES ASSIGNED TO INTERNAL LOAD (MWh) | MARGINAL LOSSES | MINIMUM OF (2) OR (3) | INCLUDE ONLY IF FO > 6 HOURS REQUIRES PURCHASES | DISPATCHED GENERATION | NET AVAILABLE GENERATION RESOURCES | INTERNAL LOAD | PURCHASES DUE TO DEFICIENCY | MIN STEP 1 OR 2 | Net Position = Gen + losses + purchases - Load | MAX FO VOLUME REQUIRING REPLACEMENT POWER |  |  | AVERAGE PRICE OF PURCHASED POWER | TOTAL COST OF REPLACEMENT POWER DUE TO FO | FO UNIT FUEL COST FROM MONTHLY NET ENERGY REQUIREMENT REPORT |  |  | TOTAL ALLOWABLE FO REPLACEMENT COST | TOTAL FO REPLACEMENT COST EXCLUDED FROM FAC
| Mitchell 1 | Mitchell 2 | BS 1 | Total | Counter | Include | INPUT FROM LASOR | INPUT FROM LASOR | MIN (2), (3) | (4) >0 for > 6 hours | INPUT FROM POWER TRACKER | INPUT FROM POWER TRACKER | INPUT FROM POWER TRACKER | MAX [(7)-(6),0] | MIN (5),(8) | (3) + (3a) + (5a) - (7) | Mitchell 1 | Mitchell 2 | BS 1 | INPUT FROM LASOR | Σ(11x) x (12) | Mitchell 1 | Mitchell 2 | BS1 | Σ ((11x) X (14x)) | (13) - (15)
2014-01-01 | 385 | 0 | 0 | 385 | 1 | Yes | 99.856 | 30.054 | 99.856 | 99.856 | 892.95 | 895.9 | 1022.86 | 126.96 | 99.856 | 0 | 99.856 | 0 | 0 | 35.7 | 3564.8592 | 31.9076 | 29.167 | 31.1775 | 3186.1698 | 378.6894
2014-01-01 01:00 | 385 | 0 | 0 | 385 | 2 | Yes | 171.98 | 31.825 | 171.98 | 171.98 | 809 | 810.75 | 1012.805 | 202.055 | 171.98 | 1.1369e-13 | 171.98 | 0 | 0 | 31.8 | 5487.4769 | 31.9076 | 29.167 | 31.1775 | 5487.4769 | 0
2014-01-01 02:00 | 385 | 0 | 0 | 385 | 3 | Yes | 234.663 | 32.775 | 234.663 | 234.663 | 740.45 | 774.75 | 1007.888 | 233.138 | 233.138 | 0 | 233.138 | 0 | 0 | 31.7 | 7438.8846 | 31.9076 | 29.167 | 31.1775 | 7438.8846 | 0
2014-01-01 03:00 | 385 | 0 | 0 | 385 | 4 | Yes | 239.546 | 33.789 | 239.546 | 239.546 | 738.8 | 854.75 | 1011.135 | 156.385 | 156.385 | 1 | 156.385 | 0 | 0 | 31.7 | 4989.8771 | 31.9076 | 29.167 | 31.1775 | 4989.8771 | 0
2014-01-01 04:00 | 385 | 0 | 0 | 385 | 5 | Yes | 247.32 | 33.598 | 247.32 | 247.32 | 731.5 | 854.6 | 1012.418 | 157.818 | 157.818 | -1.1369e-13 | 157.818 | 0 | 0 | 32.18 | 5078.5832 | 31.9076 | 29.167 | 31.1775 | 5035.6008 | 42.9825
2014-01-01 05:00 | 385 | 0 | 0 | 385 | 6 | Yes | 266.491 | 31.894 | 266.491 | 266.491 | 739 | 855.05 | 1037.385 | 182.335 | 182.335 | 0 | 182.335 | 0 | 0 | 32.25 | 5880.3038 | 31.9076 | 29.167 | 31.1775 | 5817.8805 | 62.4232
2014-01-01 06:00 | 385 | 0 | 0 | 385 | 7 | Yes | 268.078 | 32.185 | 268.078 | 268.078 | 754.95 | 886.9 | 1055.213 | 168.313 | 168.313 | 0 | 168.313 | 0 | 0 | 33.91 | 5707.4938 | 31.9076 | 29.167 | 31.1775 | 5370.4715 | 337.0223
2014-01-01 07:00 | 385 | 0 | 0 | 385 | 8 | Yes | 247.86 | 33.276 | 247.86 | 247.86 | 812.05 | 890.9 | 1093.187 | 202.287 | 202.287 | -0.001 | 202.287 | 0 | 0 | 35.89 | 7260.0804 | 31.9076 | 29.167 | 31.1775 | 6454.5019 | 805.5786
2014-01-01 08:00 | 385 | 0 | 0 | 385 | 9 | Yes | 260.031 | 34.587 | 260.031 | 260.031 | 812.75 | 889.3 | 1107.368 | 218.068 | 218.068 | 0 | 218.068 | 0 | 0 | 36.47 | 7952.94 | 31.9076 | 29.167 | 31.1775 | 6958.0364 | 994.9035
2014-01-01 09:00 | 385 | 0 | 0 | 385 | 10 | Yes | 229.346 | 34.19 | 229.346 | 229.346 | 830.25 | 891.05 | 1093.786 | 202.736 | 202.736 | 0 | 202.736 | 0 | 0 | 36.03 | 7304.5781 | 31.9076 | 29.167 | 31.1775 | 6468.8284 | 835.7497
2014-01-01 10:00 | 385 | 0 | 0 | 385 | 11 | Yes | 176.681 | 31.906 | 176.681 | 176.681 | 834.1 | 891.05 | 1042.687 | 151.637 | 151.637 | 0 | 151.637 | 0 | 0 | 35.48 | 5380.0808 | 31.9076 | 29.167 | 31.1775 | 4838.3796 | 541.7011
2014-01-01 11:00 | 385 | 0 | 0 | 385 | 12 | Yes | 101.063 | 29.303 | 101.063 | 101.063 | 839.1 | 891.05 | 969.466 | 78.416 | 78.416 | 0 | 78.416 | 0 | 0 | 34.61 | 2713.9778 | 31.9076 | 29.167 | 31.1775 | 2502.0699 | 211.9078
2014-01-01 12:00 | 385 | 0 | 0 | 385 | 13 | Yes | 35.46 | 27.081 | 35.46 | 35.46 | 850.6 | 891.05 | 912.142 | 21.092 | 21.092 | 0.999 | 21.092 | 0 | 0 | 32.83 | 692.4504 | 31.9076 | 29.167 | 31.1775 | 672.9961 | 19.4543
2014-01-01 13:00 | 385 | 0 | 0 | 385 | 14 | Yes | 2.618 | 26.791 | 2.618 | 2.618 | 851.6 | 891.05 | 870.534 | 0 | 0 | 0 | 0 | 0 | 0 | 32.17 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 14:00 | 385 | 0 | 0 | 385 | 15 | Yes | 0 | 26.085 | 0 | 0 | 852.05 | 891.35 | 844.469 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 15:00 | 385 | 0 | 0 | 385 | 16 | Yes | 0 | 25.967 | 0 | 0 | 846.8 | 890.9 | 835.098 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 16:00 | 385 | 0 | 0 | 385 | 17 | Yes | 6.406 | 25.433 | 6.406 | 6.406 | 825.25 | 891.2 | 857.09 | 0 | 0 | 0 | 0 | 0 | 0 | 33.77 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 17:00 | 385 | 0 | 0 | 385 | 18 | Yes | 28.28 | 30.351 | 28.28 | 28.28 | 853.5 | 890.75 | 912.131 | 21.381 | 21.381 | 0 | 21.381 | 0 | 0 | 40.23 | 860.1576 | 31.9076 | 29.167 | 31.1775 | 682.2174 | 177.9403
2014-01-01 18:00 | 385 | 0 | 0 | 385 | 19 | Yes | 27.799 | 28.449 | 27.799 | 27.799 | 891.95 | 895.9 | 948.198 | 52.298 | 27.799 | 0 | 27.799 | 0 | 0 | 36.97 | 1027.729 | 31.9076 | 29.167 | 31.1775 | 887.0006 | 140.7284
2014-01-01 19:00 | 385 | 0 | 0 | 385 | 20 | Yes | 45.902 | 28.371 | 45.902 | 45.902 | 893.4 | 895.2 | 967.674 | 72.474 | 45.902 | -0.001 | 45.902 | 0 | 0 | 35.42 | 1625.8488 | 31.9076 | 29.167 | 31.1775 | 1464.6247 | 161.2241
2014-01-01 20:00 | 385 | 0 | 0 | 385 | 21 | Yes | 5.218 | 32.235 | 5.218 | 5.218 | 935.75 | 941.2 | 973.202 | 32.002 | 5.218 | 0.001 | 5.218 | 0 | 0 | 45.26 | 236.1667 | 31.9076 | 29.167 | 31.1775 | 166.4941 | 69.6726
2014-01-01 21:00 | 385 | 0 | 0 | 385 | 22 | Yes | 0 | 33.161 | 0 | 0 | 985.9 | 994.05 | 985.648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 22:00 | 385 | 0 | 0 | 385 | 23 | Yes | 0 | 29.889 | 0 | 0 | 979.6 | 988.05 | 968.526 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-01 23:00 | 385 | 0 | 0 | 385 | 24 | Yes | 0 | 28.864 | 0 | 0 | 988.3 | 993.9 | 944.417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
Total 01/01/2014 | [6 empty] | (11): 2144.361 | 0 | 0 | 34.1367 | 73201.4882 |  |  |  | 2.2291 | 4779.9777
2014-01-22 | 385 | 0 | 0 | 385 | 1 | Yes | 0 | 44.833 | 0 | 0 | 1690.95 | 1784.3 | 1263.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 01:00 | 385 | 0 | 0 | 385 | 2 | Yes | 0 | 48.495 | 0 | 0 | 1642.45 | 1748.45 | 1258.506 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 02:00 | 385 | 0 | 0 | 385 | 3 | Yes | 0 | 50.269 | 0 | 0 | 1595.6 | 1684.2 | 1277.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 03:00 | 385 | 0 | 0 | 385 | 4 | Yes | 0 | 51.528 | 0 | 0 | 1593.75 | 1621.05 | 1293.383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 04:00 | 385 | 397 | 0 | 782 | 5 | Yes | 0 | 50.464 | 0 | 0 | 1446.6 | 1449.2 | 1338.983 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 05:00 | 385 | 397 | 0 | 782 | 6 | Yes | 0 | 49.449 | 0 | 0 | 1438.7 | 1449.05 | 1375.214 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 06:00 | 385 | 397 | 0 | 782 | 7 | Yes | 0 | 52.468 | 0 | 0 | 1439.2 | 1450.05 | 1415.852 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 07:00 | 385 | 397 | 0 | 782 | 8 | Yes | 0 | 55.703 | 0 | 0 | 1447.05 | 1450.5 | 1466.107 | 15.607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 08:00 | 385 | 397 | 0 | 782 | 9 | Yes | 0 | 58.863 | 0 | 0 | 1449.35 | 1447.35 | 1476.724 | 29.374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 09:00 | 385 | 397 | 0 | 782 | 10 | Yes | 0 | 58.704 | 0 | 0 | 1455.3 | 1456.2 | 1457.671 | 1.471 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 10:00 | 385 | 397 | 0 | 782 | 11 | Yes | 0 | 59.039 | 0 | 0 | 1450.35 | 1457.05 | 1390.59 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 11:00 | 385 | 397 | 0 | 782 | 12 | Yes | 0 | 56.25 | 0 | 0 | 1457.65 | 1461.35 | 1328.141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 12:00 | 385 | 397 | 0 | 782 | 13 | Yes | 0 | 54.835 | 0 | 0 | 1468.05 | 1468.2 | 1284.985 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 13:00 | 385 | 397 | 0 | 782 | 14 | Yes | 0 | 51.516 | 0 | 0 | 1455.85 | 1471.05 | 1256.234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 14:00 | 385 | 397 | 0 | 782 | 15 | Yes | 0 | 50.588 | 0 | 0 | 1465.65 | 1471.2 | 1234.459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 15:00 | 385 | 397 | 0 | 782 | 16 | Yes | 0 | 53.735 | 0 | 0 | 1459.45 | 1471.2 | 1253.765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 16:00 | 385 | 397 | 0 | 782 | 17 | Yes | 0 | 54.866 | 0 | 0 | 1452.85 | 1470.45 | 1275.919 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 17:00 | 385 | 397 | 0 | 782 | 18 | Yes | 0 | 57.754 | 0 | 0 | 1465.7 | 1470.6 | 1305.858 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 18:00 | 385 | 397 | 0 | 782 | 19 | Yes | 0 | 54.77 | 0 | 0 | 1432 | 1468.75 | 1329.217 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 19:00 | 385 | 397 | 0 | 782 | 20 | Yes | 0 | 56.69 | 0 | 0 | 1434.15 | 1462.75 | 1317.483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 20:00 | 385 | 397 | 0 | 782 | 21 | Yes | 0 | 56.001 | 0 | 0 | 1448.45 | 1451.9 | 1297.068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 21:00 | 385 | 0 | 0 | 385 | 22 | Yes | 0 | 55.089 | 0 | 0 | 1469.05 | 1475.45 | 1269.656 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 22:00 | 385 | 0 | 0 | 385 | 23 | Yes | 0 | 54.403 | 0 | 0 | 1468.25 | 1480.6 | 1247.607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
2014-01-22 23:00 | 385 | 0 | 0 | 385 | 24 | Yes | 0 | 52.595 | 0 | 0 | 1475.75 | 1499.05 | 1212.488 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31.9076 | 29.167 | 31.1775 | 0 | 0
Total 01/22/2014 | [25 empty] | 0
Columns 1, 3, & 12 = Input from Laser
Columns 6, 7, 8, & 14 = Input from PowerTracker
Col 11 = IF (10)>0, then Min of (2) OR (10), allocated on (1); else 0.