## Menu
Industrial
Link | Table C-1 Industrial Energy Efficiency Equipment Data, Mining, Existing Vintage
Link | Table C-2 Industrial Energy Efficiency Equipment Data, Mining, New Vintage
Link | Table C-3 Industrial Energy Efficiency Equipment Data, Petroleum, Existing Vintage
Link | Table C-4 Industrial Energy Efficiency Equipment Data, Petroleum, New Vintage
Link | Table C-5 Industrial Energy Efficiency Equipment Data, Primary and Fabricated Metal, Existing Vintage
Link | Table C-6 Industrial Energy Efficiency Equipment Data, Primary and Fabricated Metal, New Vintage
Link | Table C-7 Industrial Energy Efficiency Equipment Data, Manufacturing, Existing Vintage
Link | Table C-8 Industrial Energy Efficiency Equipment Data, Manufacturing, New Vintage
Link | Table C-9 Industrial Energy Efficiency Equipment Data, Other, Existing Vintage
Link | Table C-10 Industrial Energy Efficiency Equipment Data, Other, New Vintage

## Industrial
Return to Menu
Table C-1 Industrial Energy Efficiency Equipment Data, Mining, Existing Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 1169.4053 | 226.9802 | 22.5 | 8.5179 | 0.010459
| Cooling | Air-Cooled Chiller | COP 4.425 | 1510.5645 | 454.0148 | 22.5 | 3.669 | 0.024586
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 918.9855 | 13.6526 | 25 | > 10.00 | 0.0015714
| Cooling | Water-Cooled Chiller | COP 7.82 | 1692.8989 | 227.5608 | 25 | 6.7559 | 0.014218
| Cooling | Water-Cooled Chiller | COP 9.02 | 2152.9774 | 682.6278 | 25 | 2.8642 | 0.033537
| Cooling | Water-Cooled Chiller | COP 9.77 | 2383.1344 | 696.2803 | 25 | 3.1082 | 0.030904
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 515.8534 | 562.4603 | 15 | 0.63238 | 0.14355
| Cooling | RTU | EER 11.2 | 1033.7539 | 1799.7515 | 15 | 0.39605 | 0.22922
| Cooling | RTU | EER 11.5 | 1157.8043 | 1874.7327 | 15 | 0.42583 | 0.21318
| Cooling | RTU | EER 12 | 1350.7717 | 2924.6047 | 15 | 0.31846 | 0.28506
| Cooling | RTU | EER 13.9 | 1957.439 | 13256.6556 | 15 | 0.10181 | 0.89165
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 486.3748 | 74.9526 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 573.0379 | 75.346 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 656.606 | 75.7395 | 15 | > 10.00 | 0.00061987
| Cooling | Room AC | EER 11.5 | 776.5079 | 637.0378 | 15 | 0.24729 | 0.36345
| Cooling | Room AC | EER 13 | 1293.0087 | 936.8088 | 15 | 0.57054 | 0.15753
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 180.9069 | 599.9731 | 22.5 | 0.38588 | 0.19414
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 350.8498 | 862.4656 | 22.5 | 0.5206 | 0.1439
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 510.796 | 2212.3882 | 22.5 | 0.29547 | 0.25354
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 110.3222 | 34.0261 | 20 | 3.9302 | 0.018909
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 1182.0237 | 1020.7843 | 20 | 1.4037 | 0.052946
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 158.1421 | 396.3986 | 22.5 | 0.38588 | 0.19414
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 306.6998 | 569.8257 | 22.5 | 0.5206 | 0.1439
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 446.5188 | 1461.7113 | 22.5 | 0.29547 | 0.25354
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 96.4396 | 29.7444 | 20 | 3.9302 | 0.018909
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 1033.2811 | 892.3316 | 20 | 1.4037 | 0.052946
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 13165.4151 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 214.8706 | 2.6941 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 267.6418 | 2.6417 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 472.3401 | 7.3025 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 531.2838 | 188.6124 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 566.9593 | 46.8163 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 914.9269 | 7.792 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 1267.6983 | 25.0974 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 1284.3601 | 45.0757 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 1532.8842 | -4.0092 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 1617.4407 | -6.2517 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 1733.0736 | 117.6499 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 2171.9219 | 20.2501 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 345.6127 | 134.2441 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 588.2731 | 174.4468 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 1105.7705 | 344.4266 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 1539.3872 | 2261.4603 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 1539.3872 | 145.529 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 53.0321 | 0.66494 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 66.0565 | 0.65199 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 116.578 | 1.8023 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 131.1258 | 46.5513 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 139.9309 | 11.5547 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 292.9183 | 1.9951 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 324.5852 | 6.426 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 328.8492 | 11.5412 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 395.2402 | -1.0265 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 414.1315 | -1.6007 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 533.098 | 30.1232 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 600.9917 | 5.1849 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 71.6933 | 27.8473 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 122.0303 | 36.1869 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 229.379 | 71.4472 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 319.3276 | 469.1131 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 319.3276 | 30.1883 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-2 Industrial Energy Efficiency Equipment Data, Mining, New Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 1169.4053 | 285.9227 | 22.5 | 6.762 | 0.013175
| Cooling | Air-Cooled Chiller | COP 4.425 | 1510.5645 | 571.914 | 22.5 | 2.9127 | 0.030971
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 918.9855 | 15.5213 | 25 | > 10.00 | 0.0017865
| Cooling | Water-Cooled Chiller | COP 7.82 | 1692.8989 | 258.7098 | 25 | 5.9425 | 0.016165
| Cooling | Water-Cooled Chiller | COP 9.02 | 2152.9774 | 776.0672 | 25 | 2.5193 | 0.038128
| Cooling | Water-Cooled Chiller | COP 9.77 | 2383.1344 | 791.5885 | 25 | 2.734 | 0.035134
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 515.8534 | 630.5245 | 15 | 0.56411 | 0.16093
| Cooling | RTU | EER 11.2 | 1033.7539 | 2017.5421 | 15 | 0.35329 | 0.25695
| Cooling | RTU | EER 11.5 | 1157.8043 | 2101.5969 | 15 | 0.37986 | 0.23898
| Cooling | RTU | EER 12 | 1350.7717 | 3278.5155 | 15 | 0.28408 | 0.31955
| Cooling | RTU | EER 13.9 | 1957.439 | 14860.8633 | 15 | 0.090821 | 0.99955
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 486.3748 | 91.633 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 573.0379 | 92.1141 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 656.606 | 92.5951 | 15 | > 10.00 | 0.00075782
| Cooling | Room AC | EER 11.5 | 776.5079 | 778.8087 | 15 | 0.20228 | 0.44434
| Cooling | Room AC | EER 13 | 1293.0087 | 1145.2928 | 15 | 0.46668 | 0.19259
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 180.9069 | 672.3677 | 22.5 | 0.34433 | 0.21757
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 350.8498 | 966.5332 | 22.5 | 0.46455 | 0.16126
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 510.796 | 2479.3416 | 22.5 | 0.26365 | 0.28414
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 110.3222 | 84.4802 | 20 | 1.583 | 0.046948
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 1182.0237 | 2534.4049 | 20 | 0.56535 | 0.13145
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 158.1421 | 984.179 | 22.5 | 0.34433 | 0.21757
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 306.6998 | 1414.7642 | 22.5 | 0.46455 | 0.16126
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 446.5188 | 3629.1393 | 22.5 | 0.26365 | 0.28414
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 96.4396 | 73.8494 | 20 | 1.583 | 0.046948
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 1033.2811 | 2215.4823 | 20 | 0.56535 | 0.13145
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 22598.3656 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 214.8706 | 2.6941 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 267.6418 | 2.6417 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 472.3401 | 7.3025 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 531.2838 | 188.6124 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 566.9593 | 46.8163 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 913.3385 | 7.7785 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 1265.4975 | 25.0539 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 1282.1303 | 44.9975 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 1530.223 | -4.0023 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 1614.6326 | -6.2409 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 1730.0648 | 117.4457 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 2168.1512 | 20.2149 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 345.6127 | 134.2441 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 588.2731 | 174.4468 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 1105.7705 | 344.4266 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 1539.3872 | 2261.4603 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 1539.3872 | 145.529 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 53.0321 | 0.66494 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 66.0565 | 0.65199 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 116.578 | 1.8023 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 131.1258 | 46.5513 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 139.9309 | 11.5547 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 292.4097 | 1.9916 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 324.0217 | 6.4148 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 328.2782 | 11.5212 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 394.5541 | -1.0248 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 413.4126 | -1.5979 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 532.1725 | 30.0709 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 599.9483 | 5.1759 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 71.6933 | 27.8473 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 122.0303 | 36.1869 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 229.379 | 71.4472 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 319.3276 | 469.1131 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 319.3276 | 30.1883 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-3 Industrial Energy Efficiency Equipment Data, Petroleum, Existing Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 5879.4694 | 1141.1979 | 22.5 | 8.5179 | 0.010459
| Cooling | Air-Cooled Chiller | COP 4.425 | 7594.7298 | 2282.6697 | 22.5 | 3.669 | 0.024586
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 4620.4228 | 68.6415 | 25 | > 10.00 | 0.0015714
| Cooling | Water-Cooled Chiller | COP 7.82 | 8511.4606 | 1144.1172 | 25 | 6.7559 | 0.014218
| Cooling | Water-Cooled Chiller | COP 9.02 | 10824.6169 | 3432.077 | 25 | 2.8642 | 0.033537
| Cooling | Water-Cooled Chiller | COP 9.77 | 11981.7869 | 3500.7185 | 25 | 3.1082 | 0.030904
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 2593.5783 | 2827.9058 | 15 | 0.63238 | 0.14355
| Cooling | RTU | EER 11.2 | 5197.4486 | 9048.6879 | 15 | 0.39605 | 0.22922
| Cooling | RTU | EER 11.5 | 5821.1424 | 9425.6742 | 15 | 0.42583 | 0.21318
| Cooling | RTU | EER 12 | 6791.3328 | 14704.1603 | 15 | 0.31846 | 0.28506
| Cooling | RTU | EER 13.9 | 9841.4998 | 66651.0557 | 15 | 0.10181 | 0.89165
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 2445.3674 | 376.8423 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 2881.0874 | 378.8204 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 3301.246 | 380.7986 | 15 | > 10.00 | 0.00061987
| Cooling | Room AC | EER 11.5 | 3904.0822 | 3202.8624 | 15 | 0.24729 | 0.36345
| Cooling | Room AC | EER 13 | 6500.9152 | 4710.0336 | 15 | 0.57054 | 0.15753
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 909.5535 | 3016.5106 | 22.5 | 0.38588 | 0.19414
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1763.9826 | 4336.2552 | 22.5 | 0.5206 | 0.1439
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 2568.1511 | 11123.3192 | 22.5 | 0.29547 | 0.25354
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 554.6717 | 171.0747 | 20 | 3.9302 | 0.018909
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 5942.9112 | 5132.2409 | 20 | 1.4037 | 0.052946
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 795.0978 | 1992.9901 | 22.5 | 0.38588 | 0.19414
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1542.0078 | 2864.9372 | 22.5 | 0.5206 | 0.1439
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 2244.9819 | 7349.1088 | 22.5 | 0.29547 | 0.25354
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 484.8733 | 149.5471 | 20 | 3.9302 | 0.018909
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 5195.0715 | 4486.4137 | 20 | 1.4037 | 0.052946
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 66192.322 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 510.281 | 6.3981 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 635.6037 | 6.2735 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1121.7274 | 17.3422 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1261.7087 | 447.9224 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 1346.4319 | 111.1808 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 2172.7957 | 18.5046 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 3010.5678 | 59.6022 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 3050.1366 | 107.0472 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 3640.3392 | -9.5213 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 3841.1464 | -14.8467 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 4115.7547 | 279.3986 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 5157.945 | 48.0905 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 820.7713 | 318.8068 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1397.0484 | 414.2814 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 2626.0168 | 817.9545 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 3655.7826 | 5370.5833 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 3655.7826 | 345.6067 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 125.9421 | 1.5791 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 156.873 | 1.5484 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 276.8528 | 4.2802 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 311.4015 | 110.5514 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 332.312 | 27.4405 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 695.631 | 4.738 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 770.8346 | 15.2606 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 780.9608 | 27.4085 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 938.6283 | -2.4378 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 983.4919 | -3.8014 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1266.017 | 71.5376 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 1427.253 | 12.3132 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 170.2593 | 66.1327 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 289.8011 | 85.9378 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 544.736 | 169.675 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 758.3487 | 1114.0638 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 758.3487 | 71.692 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-4 Industrial Energy Efficiency Equipment Data, Petroleum, New Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 5879.4694 | 1437.5458 | 22.5 | 6.762 | 0.013175
| Cooling | Air-Cooled Chiller | COP 4.425 | 7594.7298 | 2875.4367 | 22.5 | 2.9127 | 0.030971
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 4620.4228 | 78.0373 | 25 | > 10.00 | 0.0017865
| Cooling | Water-Cooled Chiller | COP 7.82 | 8511.4606 | 1300.7261 | 25 | 5.9425 | 0.016165
| Cooling | Water-Cooled Chiller | COP 9.02 | 10824.6169 | 3901.8662 | 25 | 2.5193 | 0.038128
| Cooling | Water-Cooled Chiller | COP 9.77 | 11981.7869 | 3979.9035 | 25 | 2.734 | 0.035134
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 2593.5783 | 3170.115 | 15 | 0.56411 | 0.16093
| Cooling | RTU | EER 11.2 | 5197.4486 | 10143.6832 | 15 | 0.35329 | 0.25695
| Cooling | RTU | EER 11.5 | 5821.1424 | 10566.2891 | 15 | 0.37986 | 0.23898
| Cooling | RTU | EER 12 | 6791.3328 | 16483.5327 | 15 | 0.28408 | 0.31955
| Cooling | RTU | EER 13.9 | 9841.4998 | 74716.5998 | 15 | 0.090821 | 0.99955
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 2445.3674 | 460.7074 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 2881.0874 | 463.1258 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 3301.246 | 465.5442 | 15 | > 10.00 | 0.00075782
| Cooling | Room AC | EER 11.5 | 3904.0822 | 3915.6499 | 15 | 0.20228 | 0.44434
| Cooling | Room AC | EER 13 | 6500.9152 | 5758.2376 | 15 | 0.46668 | 0.19259
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 909.5535 | 3380.4917 | 22.5 | 0.34433 | 0.21757
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1763.9826 | 4859.4806 | 22.5 | 0.46455 | 0.16126
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 2568.1511 | 12465.4919 | 22.5 | 0.26365 | 0.28414
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 554.6717 | 424.7445 | 20 | 1.583 | 0.046948
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 5942.9112 | 12742.336 | 20 | 0.56535 | 0.13145
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 795.0978 | 4948.199 | 22.5 | 0.34433 | 0.21757
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1542.0078 | 7113.0708 | 22.5 | 0.46455 | 0.16126
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 2244.9819 | 18246.3794 | 22.5 | 0.26365 | 0.28414
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 484.8733 | 371.2958 | 20 | 1.583 | 0.046948
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 5195.0715 | 11138.8752 | 20 | 0.56535 | 0.13145
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 113618.7718 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 510.281 | 6.3981 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 635.6037 | 6.2735 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1121.7274 | 17.3422 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1261.7087 | 447.9224 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 1346.4319 | 111.1808 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 2169.0235 | 18.4725 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 3005.3411 | 59.4987 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 3044.8412 | 106.8613 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 3634.0192 | -9.5048 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 3834.4777 | -14.821 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 4108.6093 | 278.9135 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 5148.9902 | 48.0071 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 820.7713 | 318.8068 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1397.0484 | 414.2814 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 2626.0168 | 817.9545 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 3655.7826 | 5370.5833 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 3655.7826 | 345.6067 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 125.9421 | 1.5791 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 156.873 | 1.5484 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 276.8528 | 4.2802 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 311.4015 | 110.5514 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 332.312 | 27.4405 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 694.4233 | 4.7297 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 769.4963 | 15.2341 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 779.605 | 27.3609 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 936.9987 | -2.4336 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 981.7845 | -3.7948 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1263.8191 | 71.4134 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 1424.7751 | 12.2918 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 170.2593 | 66.1327 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 289.8011 | 85.9378 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 544.736 | 169.675 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 758.3487 | 1114.0638 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 758.3487 | 71.692 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-5 Industrial Energy Efficiency Equipment Data, Primary and Fabricated Metal, Existing Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 3902.9979 | 757.5672 | 22.5 | 8.5179 | 0.010459
| Cooling | Air-Cooled Chiller | COP 4.425 | 5041.648 | 1515.3162 | 22.5 | 3.669 | 0.024586
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 3067.1986 | 45.5667 | 25 | > 10.00 | 0.0015714
| Cooling | Water-Cooled Chiller | COP 7.82 | 5650.206 | 759.5051 | 25 | 6.7559 | 0.014218
| Cooling | Water-Cooled Chiller | COP 9.02 | 7185.7603 | 2278.3331 | 25 | 2.8642 | 0.033537
| Cooling | Water-Cooled Chiller | COP 9.77 | 7953.9303 | 2323.8997 | 25 | 3.1082 | 0.030904
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 1721.7082 | 1877.2631 | 15 | 0.63238 | 0.14355
| Cooling | RTU | EER 11.2 | 3450.2486 | 6006.8363 | 15 | 0.39605 | 0.22922
| Cooling | RTU | EER 11.5 | 3864.2785 | 6257.093 | 15 | 0.42583 | 0.21318
| Cooling | RTU | EER 12 | 4508.3249 | 9761.1372 | 15 | 0.31846 | 0.28506
| Cooling | RTU | EER 13.9 | 6533.1327 | 44245.308 | 15 | 0.10181 | 0.89165
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 1623.3206 | 250.1611 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 1912.5668 | 251.4743 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 2191.4828 | 252.7875 | 15 | > 10.00 | 0.00061987
| Cooling | Room AC | EER 11.5 | 2591.6667 | 2126.1724 | 15 | 0.24729 | 0.36345
| Cooling | Room AC | EER 13 | 4315.5355 | 3126.6855 | 15 | 0.57054 | 0.15753
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 603.7935 | 2002.4655 | 22.5 | 0.38588 | 0.19414
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1170.9935 | 2878.5583 | 22.5 | 0.5206 | 0.1439
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 1704.8287 | 7384.0494 | 22.5 | 0.29547 | 0.25354
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 368.2105 | 113.5654 | 20 | 3.9302 | 0.018909
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 3945.1129 | 3406.9614 | 20 | 1.4037 | 0.052946
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 527.8138 | 1323.0167 | 22.5 | 0.38588 | 0.19414
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1023.6389 | 1901.8458 | 22.5 | 0.5206 | 0.1439
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 1490.2977 | 4878.5961 | 22.5 | 0.29547 | 0.25354
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 321.8759 | 99.2746 | 20 | 3.9302 | 0.018909
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 3448.6706 | 2978.2387 | 20 | 1.4037 | 0.052946
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 43940.7844 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 503.7415 | 6.3161 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 627.4581 | 6.1931 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1107.3518 | 17.1199 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1245.5391 | 442.182 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 1329.1766 | 109.756 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 2144.9501 | 18.2675 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 2971.9856 | 58.8383 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 3011.0474 | 105.6753 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 3593.6861 | -9.3993 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 3791.9199 | -14.6565 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 4063.009 | 275.8179 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 5091.8429 | 47.4742 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 810.2527 | 314.7212 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1379.1444 | 408.9721 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 2592.3629 | 807.472 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 3608.9316 | 5301.7562 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 3608.9316 | 341.1776 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 124.3281 | 1.5589 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 154.8625 | 1.5285 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 273.3048 | 4.2254 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 307.4107 | 109.1347 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 328.0532 | 27.0888 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 686.7161 | 4.6772 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 760.9559 | 15.065 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 770.9523 | 27.0572 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 926.5992 | -2.4066 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 970.8879 | -3.7527 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1249.7923 | 70.6208 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 1408.9619 | 12.1554 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 168.0773 | 65.2852 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 286.0871 | 84.8364 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 537.7549 | 167.5005 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 748.63 | 1099.7864 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 748.63 | 70.7732 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-6 Industrial Energy Efficiency Equipment Data, Primary and Fabricated Metal, New Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 3902.9979 | 954.2933 | 22.5 | 6.762 | 0.013175
| Cooling | Air-Cooled Chiller | COP 4.425 | 5041.648 | 1908.8157 | 22.5 | 2.9127 | 0.030971
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 3067.1986 | 51.8039 | 25 | > 10.00 | 0.0017865
| Cooling | Water-Cooled Chiller | COP 7.82 | 5650.206 | 863.4676 | 25 | 5.9425 | 0.016165
| Cooling | Water-Cooled Chiller | COP 9.02 | 7185.7603 | 2590.1956 | 25 | 2.5193 | 0.038128
| Cooling | Water-Cooled Chiller | COP 9.77 | 7953.9303 | 2641.9995 | 25 | 2.734 | 0.035134
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 1721.7082 | 2104.4335 | 15 | 0.56411 | 0.16093
| Cooling | RTU | EER 11.2 | 3450.2486 | 6733.7326 | 15 | 0.35329 | 0.25695
| Cooling | RTU | EER 11.5 | 3864.2785 | 7014.2732 | 15 | 0.37986 | 0.23898
| Cooling | RTU | EER 12 | 4508.3249 | 10942.347 | 15 | 0.28408 | 0.31955
| Cooling | RTU | EER 13.9 | 6533.1327 | 49599.4989 | 15 | 0.090821 | 0.99955
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 1623.3206 | 305.8337 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 1912.5668 | 307.4391 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 2191.4828 | 309.0446 | 15 | > 10.00 | 0.00075782
| Cooling | Room AC | EER 11.5 | 2591.6667 | 2599.3457 | 15 | 0.20228 | 0.44434
| Cooling | Room AC | EER 13 | 4315.5355 | 3822.52 | 15 | 0.46668 | 0.19259
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 603.7935 | 2244.0889 | 22.5 | 0.34433 | 0.21757
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1170.9935 | 3225.8936 | 22.5 | 0.46455 | 0.16126
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 1704.8287 | 8275.0306 | 22.5 | 0.26365 | 0.28414
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 368.2105 | 281.9603 | 20 | 1.583 | 0.046948
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 3945.1129 | 8458.8095 | 20 | 0.56535 | 0.13145
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 527.8138 | 3284.788 | 22.5 | 0.34433 | 0.21757
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 1023.6389 | 4721.9059 | 22.5 | 0.46455 | 0.16126
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 1490.2977 | 12112.5865 | 22.5 | 0.26365 | 0.28414
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 321.8759 | 246.4792 | 20 | 1.583 | 0.046948
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 3448.6706 | 7394.376 | 20 | 0.56535 | 0.13145
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 75424.1249 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 503.7415 | 6.3161 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 627.4581 | 6.1931 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1107.3518 | 17.1199 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1245.5391 | 442.182 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 1329.1766 | 109.756 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 2141.2262 | 18.2358 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 2966.8259 | 58.7362 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 3005.8199 | 105.4919 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 3587.4471 | -9.3829 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 3785.3367 | -14.631 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 4055.9552 | 275.339 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 5083.0029 | 47.3918 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 810.2527 | 314.7212 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1379.1444 | 408.9721 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 2592.3629 | 807.472 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 3608.9316 | 5301.7562 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 3608.9316 | 341.1776 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 124.3281 | 1.5589 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 154.8625 | 1.5285 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 273.3048 | 4.2254 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 307.4107 | 109.1347 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 328.0532 | 27.0888 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 685.5239 | 4.6691 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 759.6348 | 15.0389 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 769.6139 | 27.0103 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 924.9905 | -2.4024 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 969.2023 | -3.7461 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1247.6225 | 70.4982 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 1406.5158 | 12.1343 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 168.0773 | 65.2852 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 286.0871 | 84.8364 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 537.7549 | 167.5005 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 748.63 | 1099.7864 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 748.63 | 70.7732 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-7 Industrial Energy Efficiency Equipment Data, Manufacturing, Existing Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 7957.8075 | 1544.6008 | 22.5 | 8.5179 | 0.010459
| Cooling | Air-Cooled Chiller | COP 4.425 | 10279.3967 | 3089.5724 | 22.5 | 3.669 | 0.024586
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 6253.6996 | 92.9057 | 25 | > 10.00 | 0.0015714
| Cooling | Water-Cooled Chiller | COP 7.82 | 11520.1833 | 1548.552 | 25 | 6.7559 | 0.014218
| Cooling | Water-Cooled Chiller | COP 9.02 | 14651.0191 | 4645.2845 | 25 | 2.8642 | 0.033537
| Cooling | Water-Cooled Chiller | COP 9.77 | 16217.238 | 4738.1902 | 25 | 3.1082 | 0.030904
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 3510.3843 | 3827.5445 | 15 | 0.63238 | 0.14355
| Cooling | RTU | EER 11.2 | 7034.6987 | 12247.3156 | 15 | 0.39605 | 0.22922
| Cooling | RTU | EER 11.5 | 7878.8626 | 12757.563 | 15 | 0.42583 | 0.21318
| Cooling | RTU | EER 12 | 9192.0063 | 19901.9453 | 15 | 0.31846 | 0.28506
| Cooling | RTU | EER 13.9 | 13320.3791 | 90211.5889 | 15 | 0.10181 | 0.89165
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 3309.7822 | 510.0525 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 3899.5252 | 512.73 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 4468.206 | 515.4074 | 15 | > 10.00 | 0.00061987
| Cooling | Room AC | EER 11.5 | 5284.1392 | 4335.0448 | 15 | 0.24729 | 0.36345
| Cooling | Room AC | EER 13 | 8798.9287 | 6374.9871 | 15 | 0.57054 | 0.15753
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 1231.0723 | 4082.8193 | 22.5 | 0.38588 | 0.19414
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 2387.5341 | 5869.0814 | 22.5 | 0.5206 | 0.1439
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 3475.9688 | 15055.31 | 22.5 | 0.29547 | 0.25354
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 750.743 | 231.548 | 20 | 3.9302 | 0.018909
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 8043.6755 | 6946.4406 | 20 | 1.4037 | 0.052946
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 1076.1575 | 2697.4937 | 22.5 | 0.38588 | 0.19414
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 2087.0933 | 3877.6661 | 22.5 | 0.5206 | 0.1439
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 3038.5624 | 9946.951 | 22.5 | 0.29547 | 0.25354
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 656.2716 | 202.4107 | 20 | 3.9302 | 0.018909
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 7031.4813 | 6072.3195 | 20 | 1.4037 | 0.052946
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 89590.697 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 775.9064 | 9.7286 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 966.4654 | 9.5392 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1705.6395 | 26.3696 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1918.4876 | 681.0872 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 2047.3132 | 169.0557 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 3303.8384 | 28.1372 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 4577.7104 | 90.6279 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 4637.8767 | 162.7703 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 5535.3075 | -14.4776 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 5840.6443 | -22.5752 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 6258.1993 | 424.8387 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 7842.8987 | 73.1239 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 1248.0215 | 484.7609 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 2124.278 | 629.9344 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 3992.9825 | 1243.7384 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 5558.7899 | 8166.2253 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 5558.7899 | 525.5113 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 191.501 | 2.4011 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 238.5327 | 2.3544 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 420.9678 | 6.5083 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 473.5007 | 168.0987 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 505.2961 | 41.7245 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 1057.7397 | 7.2043 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 1172.0903 | 23.2045 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 1187.4877 | 41.6759 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 1427.2286 | -3.7069 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 1495.4459 | -5.7802 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1925.0386 | 108.7762 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 2170.2056 | 18.7227 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 258.8873 | 100.5579 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 440.6563 | 130.6724 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 828.2968 | 257.9988 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 1153.105 | 1693.9865 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 1153.105 | 109.0111 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-8 Industrial Energy Efficiency Equipment Data, Manufacturing, New Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 7957.8075 | 1945.705 | 22.5 | 6.762 | 0.013175
| Cooling | Air-Cooled Chiller | COP 4.425 | 10279.3967 | 3891.8771 | 22.5 | 2.9127 | 0.030971
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 6253.6996 | 105.6228 | 25 | > 10.00 | 0.0017865
| Cooling | Water-Cooled Chiller | COP 7.82 | 11520.1833 | 1760.5208 | 25 | 5.9425 | 0.016165
| Cooling | Water-Cooled Chiller | COP 9.02 | 14651.0191 | 5281.1399 | 25 | 2.5193 | 0.038128
| Cooling | Water-Cooled Chiller | COP 9.77 | 16217.238 | 5386.7627 | 25 | 2.734 | 0.035134
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 3510.3843 | 4290.7213 | 15 | 0.56411 | 0.16093
| Cooling | RTU | EER 11.2 | 7034.6987 | 13729.3816 | 15 | 0.35329 | 0.25695
| Cooling | RTU | EER 11.5 | 7878.8626 | 14301.3748 | 15 | 0.37986 | 0.23898
| Cooling | RTU | EER 12 | 9192.0063 | 22310.3095 | 15 | 0.28408 | 0.31955
| Cooling | RTU | EER 13.9 | 13320.3791 | 101128.2283 | 15 | 0.090821 | 0.99955
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 3309.7822 | 623.5632 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 3899.5252 | 626.8365 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 4468.206 | 630.1098 | 15 | > 10.00 | 0.00075782
| Cooling | Room AC | EER 11.5 | 5284.1392 | 5299.796 | 15 | 0.20228 | 0.44434
| Cooling | Room AC | EER 13 | 8798.9287 | 7793.7214 | 15 | 0.46668 | 0.19259
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 1231.0723 | 4575.4643 | 22.5 | 0.34433 | 0.21757
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 2387.5341 | 6577.2622 | 22.5 | 0.46455 | 0.16126
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 3475.9688 | 16871.9282 | 22.5 | 0.26365 | 0.28414
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 750.743 | 574.8878 | 20 | 1.583 | 0.046948
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 8043.6755 | 17246.6342 | 20 | 0.56535 | 0.13145
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 1076.1575 | 6697.3417 | 22.5 | 0.34433 | 0.21757
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 2087.0933 | 9627.4757 | 22.5 | 0.46455 | 0.16126
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 3038.5624 | 24696.3062 | 22.5 | 0.26365 | 0.28414
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 656.2716 | 502.5455 | 20 | 1.583 | 0.046948
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 7031.4813 | 15076.3648 | 20 | 0.56535 | 0.13145
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 153781.9591 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 775.9064 | 9.7286 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 966.4654 | 9.5392 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 1705.6395 | 26.3696 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 1918.4876 | 681.0872 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 2047.3132 | 169.0557 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 3298.1026 | 28.0883 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 4569.763 | 90.4705 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 4629.8248 | 162.4877 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 5525.6976 | -14.4524 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 5830.5043 | -22.536 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 6247.3344 | 424.1011 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 7829.2825 | 72.997 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 1248.0215 | 484.7609 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 2124.278 | 629.9344 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 3992.9825 | 1243.7384 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 5558.7899 | 8166.2253 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 5558.7899 | 525.5113 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 191.501 | 2.4011 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 238.5327 | 2.3544 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 420.9678 | 6.5083 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 473.5007 | 168.0987 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 505.2961 | 41.7245 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 1055.9034 | 7.1918 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 1170.0555 | 23.1642 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 1185.4261 | 41.6036 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 1424.7508 | -3.7004 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 1492.8496 | -5.7701 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 1921.6965 | 108.5874 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 2166.4378 | 18.6902 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 258.8873 | 100.5579 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 440.6563 | 130.6724 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 828.2968 | 257.9988 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 1153.105 | 1693.9865 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 1153.105 | 109.0111 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-9 Industrial Energy Efficiency Equipment Data, Other, Existing Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 22946.707 | 4453.9281 | 22.5 | 8.5179 | 0.010459
| Cooling | Air-Cooled Chiller | COP 4.425 | 29641.117 | 8908.9253 | 22.5 | 3.669 | 0.024586
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 18032.8327 | 267.8979 | 25 | > 10.00 | 0.0015714
| Cooling | Water-Cooled Chiller | COP 7.82 | 33218.9829 | 4465.3216 | 25 | 6.7559 | 0.014218
| Cooling | Water-Cooled Chiller | COP 9.02 | 42246.8928 | 13394.8933 | 25 | 2.8642 | 0.033537
| Cooling | Water-Cooled Chiller | COP 9.77 | 46763.1579 | 13662.7912 | 25 | 3.1082 | 0.030904
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 10122.3559 | 11036.9019 | 15 | 0.63238 | 0.14355
| Cooling | RTU | EER 11.2 | 20284.8799 | 35315.7024 | 15 | 0.39605 | 0.22922
| Cooling | RTU | EER 11.5 | 22719.0655 | 36787.0245 | 15 | 0.42583 | 0.21318
| Cooling | RTU | EER 12 | 26505.5765 | 57388.182 | 15 | 0.31846 | 0.28506
| Cooling | RTU | EER 13.9 | 38409.9309 | 260129.2996 | 15 | 0.10181 | 0.89165
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 9543.9105 | 1470.7601 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 11244.4618 | 1478.4806 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 12884.2791 | 1486.2011 | 15 | > 10.00 | 0.00061987
| Cooling | Room AC | EER 11.5 | 15237.0605 | 12500.3026 | 15 | 0.24729 | 0.36345
| Cooling | Room AC | EER 13 | 25372.1189 | 18382.5708 | 15 | 0.57054 | 0.15753
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 3549.854 | 11772.9987 | 22.5 | 0.38588 | 0.19414
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 6884.5653 | 16923.7684 | 22.5 | 0.5206 | 0.1439
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 10023.1171 | 43412.6844 | 22.5 | 0.29547 | 0.25354
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 2164.8024 | 667.6795 | 20 | 3.9302 | 0.018909
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 23194.3113 | 20030.3837 | 20 | 1.4037 | 0.052946
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 3103.1501 | 7778.348 | 22.5 | 0.38588 | 0.19414
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 6018.2304 | 11181.43 | 22.5 | 0.5206 | 0.1439
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 8761.8354 | 28682.4943 | 22.5 | 0.29547 | 0.25354
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 1892.3896 | 583.6605 | 20 | 3.9302 | 0.018909
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 20275.6025 | 17509.8149 | 20 | 1.4037 | 0.052946
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 258338.9291 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 1963.8237 | 24.6231 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 2446.1297 | 24.1438 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 4316.9836 | 66.7417 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 4855.7034 | 1723.8357 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 5181.762 | 427.881 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 8362.0347 | 71.2154 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 11586.2121 | 229.3797 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 11738.4933 | 411.9726 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 14009.8961 | -36.6428 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 14782.7053 | -57.1379 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 15839.5395 | 1075.2692 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 19850.423 | 185.0771 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 3158.7498 | 1226.9326 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 5376.5603 | 1594.3677 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 10106.2624 | 3147.9094 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 14069.3302 | 20668.7647 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 14069.3302 | 1330.0723 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 484.6901 | 6.0772 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 603.7277 | 5.9589 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 1065.472 | 16.4725 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 1198.4331 | 425.4588 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 1278.9074 | 105.605 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 2677.1456 | 18.2341 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 2966.5676 | 58.7307 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 3005.5385 | 105.482 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 3612.324 | -9.3821 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 3784.9823 | -14.6297 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 4872.2841 | 275.3133 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 5492.8031 | 47.3874 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 655.2452 | 254.5126 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1115.3036 | 330.7327 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 2096.4242 | 652.9964 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 2918.5156 | 4287.4899 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 2918.5156 | 275.9077 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
Table C-10 Industrial Energy Efficiency Equipment Data, Other, New Vintage
| End Use | Technology | Efficiency Definition | Incremental Savings (kWh/sq ft) | Incremental Cost ($/sq ft) | Average Lifetime | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Cooling | Air-Cooled Chiller | COP 3.06 | 0 | 0 | 20 | 1 | 0
| Cooling | Air-Cooled Chiller | COP 4.02 | 22946.707 | 5610.5307 | 22.5 | 6.762 | 0.013175
| Cooling | Air-Cooled Chiller | COP 4.425 | 29641.117 | 11222.4081 | 22.5 | 2.9127 | 0.030971
| Cooling | Water-Cooled Chiller | COP 5.25 | 0 | 0 | 25 | 1 | 0
| Cooling | Water-Cooled Chiller | COP 6.39 | 18032.8327 | 304.5682 | 25 | > 10.00 | 0.0017865
| Cooling | Water-Cooled Chiller | COP 7.82 | 33218.9829 | 5076.5434 | 25 | 5.9425 | 0.016165
| Cooling | Water-Cooled Chiller | COP 9.02 | 42246.8928 | 15228.4119 | 25 | 2.5193 | 0.038128
| Cooling | Water-Cooled Chiller | COP 9.77 | 46763.1579 | 15532.9801 | 25 | 2.734 | 0.035134
| Cooling | RTU | EER 9.2 | 0 | 0 | 15 | 1 | 0
| Cooling | RTU | EER 10.1 | 10122.3559 | 12372.494 | 15 | 0.56411 | 0.16093
| Cooling | RTU | EER 11.2 | 20284.8799 | 39589.3085 | 15 | 0.35329 | 0.25695
| Cooling | RTU | EER 11.5 | 22719.0655 | 41238.6774 | 15 | 0.37986 | 0.23898
| Cooling | RTU | EER 12 | 26505.5765 | 64332.8118 | 15 | 0.28408 | 0.31955
| Cooling | RTU | EER 13.9 | 38409.9309 | 291607.9357 | 15 | 0.090821 | 0.99955
| Cooling | Room AC | EER 9.8 | 0 | 0 | 15 | 0 | 0
| Cooling | Room AC | EER 10.8 | 9543.9105 | 1798.0733 | 15 | 0 | 0
| Cooling | Room AC | EER 11 | 11244.4618 | 1807.5121 | 15 | 1 | 0
| Cooling | Room AC | EER 11.2 | 12884.2791 | 1816.9508 | 15 | > 10.00 | 0.00075782
| Cooling | Room AC | EER 11.5 | 15237.0605 | 15282.2076 | 15 | 0.20228 | 0.44434
| Cooling | Room AC | EER 13 | 25372.1189 | 22473.5572 | 15 | 0.46668 | 0.19259
| Cooling | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Cooling | Air-Source Heat Pump | EER 9.8, COP 3.2 | 3549.854 | 13193.5636 | 22.5 | 0.34433 | 0.21757
| Cooling | Air-Source Heat Pump | EER 11.0, COP 3.3 | 6884.5653 | 18965.8404 | 22.5 | 0.46455 | 0.16126
| Cooling | Air-Source Heat Pump | EER 12, COP 3.4 | 10023.1171 | 48650.9874 | 22.5 | 0.26365 | 0.28414
| Cooling | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Cooling | Geothermal Heat Pump | EER 14, COP 3.5 | 2164.8024 | 1657.7156 | 20 | 1.583 | 0.046948
| Cooling | Geothermal Heat Pump | EER 27.8, COP 4.9 | 23194.3113 | 49731.4695 | 20 | 0.56535 | 0.13145
| Heating | Electric Furnace | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Electric Zonal Heating | Standard | 0 | 0 | 18 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.3, COP 3.1 | 0 | 0 | 22.5 | 1 | 0
| Heating | Air-Source Heat Pump | EER 9.8, COP 3.2 | 3103.1501 | 19312.0953 | 22.5 | 0.34433 | 0.21757
| Heating | Air-Source Heat Pump | EER 11.0, COP 3.3 | 6018.2304 | 27761.2728 | 22.5 | 0.46455 | 0.16126
| Heating | Air-Source Heat Pump | EER 12, COP 3.4 | 8761.8354 | 71212.944 | 22.5 | 0.26365 | 0.28414
| Heating | Geothermal Heat Pump | EER 13.8, COP 3.4 | 0 | 0 | 20 | 1 | 0
| Heating | Geothermal Heat Pump | EER 14, COP 3.5 | 1892.3896 | 1449.1132 | 20 | 1.583 | 0.046948
| Heating | Geothermal Heat Pump | EER 27.8, COP 4.9 | 20275.6025 | 43473.3971 | 20 | 0.56535 | 0.13145
| Ventilation | Ventilation | Constant Volume | 0 | 0 | 20 | 1 | 0
| Ventilation | Ventilation | Variable Air Volume | 0 | 443437.4101 | 20 | 0 | #DIV/0!
| Interior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Interior Lighting | Screw-in | Halogen (19.4 lm/W) | 1963.8237 | 24.6231 | 3 | 1 | 0
| Interior Lighting | Screw-in | Halogen (45 lm/W) | 2446.1297 | 24.1438 | 3 | 0 | 0
| Interior Lighting | Screw-in | CFL (67.3 lm/W) | 4316.9836 | 66.7417 | 3 | 6.9342 | 0.0078
| Interior Lighting | Screw-in | LED (73.4 lm/W) | 4855.7034 | 1723.8357 | 15 | 0.71413 | 0.074339
| Interior Lighting | Screw-in | LED (170 lm/W) | 5181.762 | 427.881 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (51.2 lm/W) | 8347.5172 | 71.0917 | 15 | 0 | 0
| Interior Lighting | High-Bay Fixtures | Metal Halide (55.6 lm/W) | 11566.0971 | 228.9815 | 15 | 1 | 0
| Interior Lighting | High-Bay Fixtures | High Pressure Sodium (56.6 lm/W) | 11718.114 | 411.2574 | 15 | 0.37874 | 0.15787
| Interior Lighting | High-Bay Fixtures | High Output T8 (70.3 lm/W) | 13985.5734 | -36.5792 | 15 | 1 | -0.014451
| Interior Lighting | High-Bay Fixtures | High Output T5 (75.5 lm/W) | 14757.0409 | -57.0387 | 15 | 1 | -0.011801
| Interior Lighting | High-Bay Fixtures | LED (85.4 lm/W) | 15812.0403 | 1073.4024 | 15 | 2.2834 | 0.026184
| Interior Lighting | High-Bay Fixtures | LED (170 lm/W) | 19815.9605 | 184.7558 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Interior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 3158.7498 | 1226.9326 | 15 | 1 | 0
| Interior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 5376.5603 | 1594.3677 | 15 | 2.7411 | 0.021813
| Interior Lighting | Linear Fluorescent | T5 | 10106.2624 | 3147.9094 | 15 | 1.6424 | 0.036403
| Interior Lighting | Linear Fluorescent | LED (91 lm/W) | 14069.3302 | 20668.7647 | 15 | 0.25485 | 0.23461
| Interior Lighting | Linear Fluorescent | LED (170 lm/W) | 14069.3302 | 1330.0723 | 15 | 0 | 0
| Exterior Lighting | Screw-in | Incandescent (10.0 lm/W) | 0 | 0 | 2 | 0 | 0
| Exterior Lighting | Screw-in | Halogen (19.4 lm/W) | 484.6901 | 6.0772 | 3 | 1 | 0
| Exterior Lighting | Screw-in | Halogen (45 lm/W) | 603.7277 | 5.9589 | 3 | 0 | 0
| Exterior Lighting | Screw-in | CFL (67.3 lm/W) | 1065.472 | 16.4725 | 3 | 6.5449 | 0.0078
| Exterior Lighting | Screw-in | LED (73.4 lm/W) | 1198.4331 | 425.4588 | 15 | 0.67844 | 0.074339
| Exterior Lighting | Screw-in | LED (170 lm/W) | 1278.9074 | 105.605 | 15 | 0 | 0
| Exterior Lighting | HID | Mercury Vapor (28.8 lm/W) | 0 | 0 | 15 | 1 | 0
| Exterior Lighting | HID | Metal Halide (51.2 lm/W) | 2672.4977 | 18.2024 | 15 | 0 | 0
| Exterior Lighting | HID | Metal Halide (55.6 lm/W) | 2961.4173 | 58.6287 | 15 | > 10.00 | 0.0026065
| Exterior Lighting | HID | High Pressure Sodium (56.6 lm/W) | 3000.3205 | 105.2989 | 15 | > 10.00 | 0.0046207
| Exterior Lighting | HID | High Output T8 (70.3 lm/W) | 3606.0526 | -9.3658 | 15 | 1 | -0.00034195
| Exterior Lighting | HID | High Output T5 (75.5 lm/W) | 3778.4112 | -14.6043 | 15 | 1 | -0.00050889
| Exterior Lighting | HID | LED (85.4 lm/W) | 4863.8253 | 274.8353 | 15 | 7.3951 | 0.0074395
| Exterior Lighting | HID | LED (170 lm/W) | 5483.267 | 47.3051 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T12 - F40 (59.9 lm/W) | 0 | 0 | 15 | 0 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F32 (60.0 lm/W) | 655.2452 | 254.5126 | 15 | 1 | 0
| Exterior Lighting | Linear Fluorescent | T8 - F28HE (62.6 lm/W) | 1115.3036 | 330.7327 | 15 | 2.5222 | 0.021813
| Exterior Lighting | Linear Fluorescent | T5 | 2096.4242 | 652.9964 | 15 | 1.5113 | 0.036403
| Exterior Lighting | Linear Fluorescent | LED (91 lm/W) | 2918.5156 | 4287.4899 | 15 | 0.2345 | 0.23461
| Exterior Lighting | Linear Fluorescent | LED (170 lm/W) | 2918.5156 | 275.9077 | 15 | 0 | 0
| Motors | Pumps | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Fans & Blowers | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Compressed Air | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Conveyors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Motors | Other Motors | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0
| Process | Process Heating | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Cooling | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Refrigeration | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Electro-Chemical | Standard | 0 | 0 | 15 | 1 | 0
| Process | Process Other | Standard | 0 | 0 | 15 | 1 | 0
| Miscellaneous | Miscellaneous | Standard NEMA Premium | 0 | 0 | 15 | 1 | 0