## Menu
Residential
Link | Table A-1 Residential Energy Efficiency Non-Equipment Data, Single Family, Existing Vintage
Link | Table A-2 Residential Energy Efficiency Non-Equipment Data, Single Family, New Vintage
Link | Table A-3 Residential Energy Efficiency Non-Equipment Data, Multi Family, Existing Vintage
Link | Table A-4 Residential Energy Efficiency Non-Equipment Data, Multi Family, New Vintage
Link | Table A-5 Residential Energy Efficiency Non-Equipment Data, Mobile Home, Existing Vintage
Link | Table A-6 Residential Energy Efficiency Non-Equipment Data, Mobile Home, New Vintage
Link | Table A-7 Residential Energy Efficiency Non-Equipment Data, Low Income Single Family, Existing Vintage
Link | Table A-8 Residential Energy Efficiency Non-Equipment Data, Low Income Single Family, New Vintage
Link | Table A-9 Residential Energy Efficiency Non-Equipment Data, Low Income Multi Family, Existing Vintage
Link | Table A-10 Residential Energy Efficiency Non-Equipment Data, Low Income Multi Family, New Vintage
Link | Table A-11 Residential Energy Efficiency Non-Equipment Data, Low Income Mobile Home, Existing Vintage
Link | Table A-12 Residential Energy Efficiency Non-Equipment Data, Low Income Mobile Home, New Vintage

## Residential
Return to Menu
Table A-1 Residential Energy Efficiency Non-Equipment Data, Single Family, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 25% | 45 | 204.7372 | 0.0087525 | 0 | 2.1989
| Insulation - Ducting | 15% | 25% | 20 | 542.0834 | 0.07547 | 0 | 0.83027
| Insulation - Foundation | 15% | 25% | 45 | 1298.7819 | 0.14469 | 0 | 0.8438
| Insulation - Floor | 15% | 25% | 25 | 1460.9704 | 0.13567 | 0 | 1.1459
| Insulation - Infiltration Control | 15% | 25% | 15 | 67.7604 | 0.033933 | 0 | 0.26448
| Insulation - Radiant Barrier | 15% | 25% | 15 | 287.2792 | 0.03108 | 0 | 1.2243
| Insulation - Wall Cavity | 15% | 25% | 45 | 4537.1217 | 0.18174 | 0 | 2.3468
| Insulation - Wall Sheathing | 20% | 25% | 25 | 2098.2675 | 0.041791 | 0 | 5.3426
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.021656 | 0 | 3.2661
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 12208.487 | 1.4325 | 0 | 0.90686
| Windows - Install Reflective Film | 15% | 75% | 10 | 757.4297 | 0.1764 | 0 | 0.72453
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.21954 | 0 | 0.13523
| Roofs - High Reflectivity | 15% | 75% | 15 | 765.9684 | 1.4002 | 0 | 0.072453
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.041395 | 0 | 0.20769
| Whole-House Fan - Installation | 15% | 75% | 20 | 302.9408 | 0.079891 | 0 | 0.43831
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.09488 | 0 | 0.25847
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.030948 | 0 | 1.1434
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.21175 | 0 | 0.62827
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.50595 | 0 | 0.74529
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.14464 | 0 | 3.4312
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.21979 | 0 | 1.251
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.2904 | 0 | 0.022849
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.70041 | 0 | 0.11246
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.10153 | 0 | 0.77292
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.095089 | 0 | 0.7697
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.010018 | 0 | 0.27975
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0036381 | 0 | 0.66718
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0029391 | 0 | 1.061
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.0088247 | 0 | 0.14676
| Water Heater - Desuperheater | 0.1% | 1% | 20 | 1026.6731 | 0.076848 | 0 | 1.5443
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.30307 | 0 | 1.5394
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 15.5988 | 0.021734 | 0 | 0.14133
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 60.15 | 0.23318 | 0 | 0.034165
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 87.9884 | 4.1019 | 0 | 0.0060738
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.028159 | 0 | 0.11477
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.35777 | 0 | 0.38427
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015127 | 0 | 0.90411
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.054133 | 0 | 0.31371
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070259 | 0 | 0.62741
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.078619 | 0 | 0.016316
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0060398 | 0 | 0.89281
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.49123 | 0 | 0.88662
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.20701 | 0 | 1.2515
Table A-2 Residential Energy Efficiency Non-Equipment Data, Single Family, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 204.7372 | 0.0095461 | 0 | 2.0161
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.08024 | 0 | 0.78091
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.15781 | 0 | 0.77366
| Insulation - Floor | 15% | 75% | 25 | 1460.9704 | 0.14797 | 0 | 1.0506
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.035443 | 0 | 0.25322
| Insulation - Radiant Barrier | 15% | 50% | 15 | 287.2792 | 0.033898 | 0 | 1.1225
| Insulation - Wall Cavity | 15% | 50% | 45 | 4537.1217 | 0.19822 | 0 | 2.1517
| Insulation - Wall Sheathing | 20% | 40% | 25 | 2098.2675 | 0.04558 | 0 | 4.8985
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.018421 | 0 | 3.8398
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 12208.487 | 1.3161 | 0 | 0.98706
| Windows - Install Reflective Film | 15% | 75% | 10 | 757.4297 | 0.17778 | 0 | 0.71889
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.49405 | 0 | 0.060091
| Roofs - High Reflectivity | 15% | 75% | 15 | 765.9684 | 1.2701 | 0 | 0.079877
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.044316 | 0 | 0.194
| Whole-House Fan - Installation | 15% | 75% | 20 | 302.9408 | 0.093858 | 0 | 0.37309
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.11363 | 0 | 0.21582
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.032086 | 0 | 1.1028
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.23664 | 0 | 0.56219
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.53408 | 0 | 0.70604
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.14528 | 0 | 3.416
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.27427 | 0 | 1.0025
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.6446 | 0 | 0.021416
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.67885 | 0 | 0.11603
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.1138 | 0 | 0.68958
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.1052 | 0 | 0.69571
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.011082 | 0 | 0.25289
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0040251 | 0 | 0.60304
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0032517 | 0 | 0.95896
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.0098012 | 0 | 0.13214
| Water Heater - Desuperheater | 0.1% | 1% | 20 | 1026.6731 | 0.08227 | 0 | 1.4425
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.3353 | 0 | 1.3914
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 13.7299 | 0.021083 | 0 | 0.12824
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 52.9437 | 0.25407 | 0 | 0.0276
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 77.4469 | 4.4693 | 0 | 0.0049066
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.034858 | 0 | 0.092714
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.4464 | 0 | 0.30797
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015127 | 0 | 0.90411
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.054434 | 0 | 0.31197
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070649 | 0 | 0.62395
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.070681 | 0 | 0.018148
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0062032 | 0 | 0.86928
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.52288 | 0 | 0.83296
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.19313 | 0 | 1.3414
Table A-3 Residential Energy Efficiency Non-Equipment Data, Multi Family, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 249.2515 | 0.023874 | 0 | 0.98143
| Insulation - Ducting | 15% | 50% | 20 | 542.0834 | 0.072309 | 0 | 0.86656
| Insulation - Foundation | 15% | 50% | 45 | 1298.7819 | 0.32418 | 0 | 0.37661
| Insulation - Floor | 15% | 50% | 25 | 1626.0694 | 0.33831 | 0 | 0.51144
| Insulation - Infiltration Control | 15% | 50% | 15 | 67.7604 | 0.031762 | 0 | 0.28256
| Insulation - Radiant Barrier | 15% | 50% | 15 | 349.74 | 0.084775 | 0 | 0.54641
| Insulation - Wall Cavity | 15% | 50% | 45 | 466.2464 | 0.041844 | 0 | 1.0474
| Insulation - Wall Sheathing | 20% | 25% | 25 | 215.6234 | 0.009622 | 0 | 2.3845
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.063254 | 0 | 1.1182
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 3699.4217 | 0.82512 | 0 | 0.47708
| Windows - Install Reflective Film | 15% | 75% | 10 | 229.5167 | 0.091684 | 0 | 0.42241
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.52105 | 0 | 0.056977
| Roofs - High Reflectivity | 15% | 75% | 15 | 932.5066 | 1.1466 | 0 | 0.10772
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.049628 | 0 | 0.17323
| Whole-House Fan - Installation | 15% | 75% | 20 | 337.1751 | 0.15797 | 0 | 0.24672
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.07257 | 0 | 0.33793
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.078578 | 0 | 0.45033
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.45617 | 0 | 0.29164
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 1.2349 | 0 | 0.30535
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.38773 | 0 | 1.28
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.39381 | 0 | 0.69821
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 3.8794 | 0 | 0.03116
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.1769 | 0 | 0.066925
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.10628 | 0 | 0.73837
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.114 | 0 | 0.64201
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.012005 | 0 | 0.23346
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0043618 | 0 | 0.55649
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0035237 | 0 | 0.88494
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.01059 | 0 | 0.1223
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.076738 | 0 | 1.5465
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.36335 | 0 | 1.284
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 4.7846 | 0.010304 | 0 | 0.091433
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 18.3509 | 0.023933 | 0 | 0.10155
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 26.8439 | 0.42101 | 0 | 0.018054
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.094784 | 0 | 0.034097
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.3585 | 0 | 0.38348
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015158 | 0 | 0.90225
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.053756 | 0 | 0.31591
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.069769 | 0 | 0.63182
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.085071 | 0 | 0.015078
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0060543 | 0 | 0.89067
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.49334 | 0 | 0.88283
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.19027 | 0 | 1.3616
Table A-4 Residential Energy Efficiency Non-Equipment Data, Multi Family, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 249.2515 | 0.0256 | 0 | 0.91527
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.079164 | 0 | 0.79152
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.34762 | 0 | 0.35122
| Insulation - Floor | 15% | 75% | 25 | 1626.0694 | 0.36277 | 0 | 0.47696
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.032695 | 0 | 0.2745
| Insulation - Radiant Barrier | 15% | 50% | 15 | 349.74 | 0.090904 | 0 | 0.50958
| Insulation - Wall Cavity | 15% | 50% | 45 | 466.2464 | 0.044869 | 0 | 0.97682
| Insulation - Wall Sheathing | 20% | 40% | 25 | 215.6234 | 0.010318 | 0 | 2.2238
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.055823 | 0 | 1.2671
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 3699.4217 | 0.72332 | 0 | 0.54422
| Windows - Install Reflective Film | 15% | 75% | 10 | 229.5167 | 0.10658 | 0 | 0.36336
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 1.1278 | 0 | 0.026324
| Roofs - High Reflectivity | 15% | 75% | 15 | 932.5066 | 2.2672 | 0 | 0.054477
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.053018 | 0 | 0.16216
| Whole-House Fan - Installation | 15% | 75% | 20 | 337.1751 | 0.19218 | 0 | 0.20281
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.085241 | 0 | 0.28769
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.078052 | 0 | 0.45336
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.5129 | 0 | 0.25938
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 1.2432 | 0 | 0.30332
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.3922 | 0 | 1.2654
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.50553 | 0 | 0.5439
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 4.4487 | 0 | 0.027173
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.2119 | 0 | 0.064994
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.11914 | 0 | 0.65867
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.12586 | 0 | 0.58151
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.013255 | 0 | 0.21143
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0048155 | 0 | 0.50405
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0038903 | 0 | 0.80155
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.011695 | 0 | 0.11074
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.081987 | 0 | 1.4475
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.40115 | 0 | 1.163
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 3.7445 | 0.0093066 | 0 | 0.079228
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 14.3615 | 0.0253 | 0 | 0.075185
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 21.0083 | 0.44504 | 0 | 0.013366
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.12803 | 0 | 0.025243
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.44732 | 0 | 0.30734
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015158 | 0 | 0.90225
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.054043 | 0 | 0.31423
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070142 | 0 | 0.62846
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.07544 | 0 | 0.017003
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0062032 | 0 | 0.86928
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.52288 | 0 | 0.83296
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.18282 | 0 | 1.4171
Table A-5 Residential Energy Efficiency Non-Equipment Data, Mobile Home, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 255.4303 | 0.012025 | 0 | 1.9968
| Insulation - Ducting | 15% | 50% | 20 | 542.0834 | 0.087087 | 0 | 0.71951
| Insulation - Foundation | 15% | 50% | 45 | 1298.7819 | 0.15934 | 0 | 0.76624
| Insulation - Floor | 15% | 50% | 25 | 2274.0051 | 0.23254 | 0 | 1.0406
| Insulation - Infiltration Control | 15% | 50% | 15 | 67.7604 | 0.034963 | 0 | 0.25669
| Insulation - Radiant Barrier | 15% | 50% | 15 | 358.4098 | 0.0427 | 0 | 1.1117
| Insulation - Wall Cavity | 15% | 50% | 45 | 4049.3887 | 0.17862 | 0 | 2.1311
| Insulation - Wall Sheathing | 20% | 25% | 25 | 1872.7072 | 0.041074 | 0 | 4.8515
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.031349 | 0 | 2.2563
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 9484.8954 | 1.5319 | 0 | 0.65884
| Windows - Install Reflective Film | 15% | 75% | 10 | 588.4547 | 0.17512 | 0 | 0.56701
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.21876 | 0 | 0.13571
| Roofs - High Reflectivity | 15% | 75% | 15 | 955.6228 | 1.0671 | 0 | 0.11861
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.045919 | 0 | 0.18723
| Whole-House Fan - Installation | 15% | 75% | 20 | 471.5284 | 0.11583 | 0 | 0.47057
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.098982 | 0 | 0.24775
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.033943 | 0 | 1.0425
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.27549 | 0 | 0.48291
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.55172 | 0 | 0.68346
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.16035 | 0 | 3.095
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.25777 | 0 | 1.0667
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.5434 | 0 | 0.021807
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.1536 | 0 | 0.068277
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.044608 | 0 | 1.7592
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.10548 | 0 | 0.69387
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.011113 | 0 | 0.25219
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0040357 | 0 | 0.60145
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0032603 | 0 | 0.95643
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.0097891 | 0 | 0.1323
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.085246 | 0 | 1.3921
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.33619 | 0 | 1.3877
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 6.1327 | 0.011932 | 0 | 0.10121
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 23.6481 | 0.24054 | 0 | 0.013021
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 34.5928 | 4.2313 | 0 | 0.0023149
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.073884 | 0 | 0.043742
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.35859 | 0 | 0.38339
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015162 | 0 | 0.90204
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.054083 | 0 | 0.314
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070194 | 0 | 0.62799
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.079049 | 0 | 0.016227
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0060398 | 0 | 0.89281
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.49123 | 0 | 0.88662
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.20697 | 0 | 1.2518
Table A-6 Residential Energy Efficiency Non-Equipment Data, Mobile Home, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 255.4303 | 0.013028 | 0 | 1.8431
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.093065 | 0 | 0.67329
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.17263 | 0 | 0.70726
| Insulation - Floor | 15% | 75% | 25 | 2274.0051 | 0.25193 | 0 | 0.96047
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.036082 | 0 | 0.24873
| Insulation - Radiant Barrier | 15% | 50% | 15 | 358.4098 | 0.046261 | 0 | 1.0261
| Insulation - Wall Cavity | 15% | 50% | 45 | 4049.3887 | 0.19352 | 0 | 1.967
| Insulation - Wall Sheathing | 20% | 40% | 25 | 1872.7072 | 0.044499 | 0 | 4.4781
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.024878 | 0 | 2.8431
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 9484.8954 | 1.2738 | 0 | 0.79236
| Windows - Install Reflective Film | 15% | 75% | 10 | 588.4547 | 0.16391 | 0 | 0.60579
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.40489 | 0 | 0.073323
| Roofs - High Reflectivity | 15% | 75% | 15 | 955.6228 | 0.96229 | 0 | 0.13153
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.049433 | 0 | 0.17392
| Whole-House Fan - Installation | 15% | 75% | 20 | 471.5284 | 0.13291 | 0 | 0.4101
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.10496 | 0 | 0.23365
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.034622 | 0 | 1.0221
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.29743 | 0 | 0.44728
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.57828 | 0 | 0.65207
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.16217 | 0 | 3.0602
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.32756 | 0 | 0.83943
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.6323 | 0 | 0.021462
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.1239 | 0 | 0.070085
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.050006 | 0 | 1.5693
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.11735 | 0 | 0.62369
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.012362 | 0 | 0.22671
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0044899 | 0 | 0.54061
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0036272 | 0 | 0.85969
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.010933 | 0 | 0.11846
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.091771 | 0 | 1.2932
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.37402 | 0 | 1.2474
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 5.4251 | 0.010823 | 0 | 0.0987
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 20.9194 | 0.25407 | 0 | 0.010905
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 30.6013 | 4.4693 | 0 | 0.0019387
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.08822 | 0 | 0.036634
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.44742 | 0 | 0.30727
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015162 | 0 | 0.90204
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.054383 | 0 | 0.31226
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070583 | 0 | 0.62453
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.070667 | 0 | 0.018152
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0062032 | 0 | 0.86928
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.52288 | 0 | 0.83296
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.17897 | 0 | 1.4475
Table A-7 Residential Energy Efficiency Non-Equipment Data, Low Income Single Family, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 204.7372 | 0.011633 | 0 | 1.6545
| Insulation - Ducting | 15% | 50% | 20 | 542.0834 | 0.075471 | 0 | 0.83025
| Insulation - Foundation | 15% | 50% | 45 | 1298.7819 | 0.19231 | 0 | 0.63488
| Insulation - Floor | 15% | 50% | 25 | 1460.9704 | 0.18031 | 0 | 0.86218
| Insulation - Infiltration Control | 15% | 50% | 15 | 67.7604 | 0.036064 | 0 | 0.24885
| Insulation - Radiant Barrier | 15% | 50% | 15 | 287.2792 | 0.041307 | 0 | 0.92113
| Insulation - Wall Cavity | 15% | 50% | 45 | 4537.1217 | 0.24155 | 0 | 1.7657
| Insulation - Wall Sheathing | 20% | 25% | 25 | 2098.2675 | 0.055543 | 0 | 4.0198
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.028876 | 0 | 2.4495
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 12208.487 | 2.2048 | 0 | 0.58922
| Windows - Install Reflective Film | 15% | 75% | 10 | 757.4297 | 0.28783 | 0 | 0.44404
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.28064 | 0 | 0.10579
| Roofs - High Reflectivity | 15% | 75% | 15 | 765.9684 | 2.2847 | 0 | 0.044404
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.045849 | 0 | 0.18751
| Whole-House Fan - Installation | 15% | 75% | 20 | 302.9408 | 0.13036 | 0 | 0.26863
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.15481 | 0 | 0.15841
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.04019 | 0 | 0.88047
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.27382 | 0 | 0.48586
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.63542 | 0 | 0.59343
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.19285 | 0 | 2.5734
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.29305 | 0 | 0.93825
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 7.0539 | 0 | 0.017137
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.93394 | 0 | 0.084337
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.13537 | 0 | 0.57969
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.10532 | 0 | 0.69492
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.011096 | 0 | 0.25257
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0040296 | 0 | 0.60236
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0032554 | 0 | 0.95788
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.0097742 | 0 | 0.1325
| Water Heater - Desuperheater | 0.1% | 1% | 20 | 1026.6731 | 0.085117 | 0 | 1.3942
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.33568 | 0 | 1.3898
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 15.5988 | 0.032477 | 0 | 0.094579
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 60.15 | 0.24054 | 0 | 0.033121
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 87.9884 | 4.2313 | 0 | 0.0058881
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.029047 | 0 | 0.11126
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.36883 | 0 | 0.37274
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015595 | 0 | 0.87699
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.055809 | 0 | 0.30429
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.072433 | 0 | 0.60858
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.078053 | 0 | 0.016434
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0062266 | 0 | 0.86602
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.50643 | 0 | 0.86002
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.27653 | 0 | 0.93687
Table A-8 Residential Energy Efficiency Non-Equipment Data, Low Income Single Family, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 204.7372 | 0.012301 | 0 | 1.5646
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.08024 | 0 | 0.78091
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.20335 | 0 | 0.60041
| Insulation - Floor | 15% | 75% | 25 | 1460.9704 | 0.19066 | 0 | 0.81536
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.036663 | 0 | 0.24479
| Insulation - Radiant Barrier | 15% | 50% | 15 | 287.2792 | 0.043679 | 0 | 0.87111
| Insulation - Wall Cavity | 15% | 50% | 45 | 4537.1217 | 0.25542 | 0 | 1.6699
| Insulation - Wall Sheathing | 20% | 40% | 25 | 2098.2675 | 0.058732 | 0 | 3.8015
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.024561 | 0 | 2.8798
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 12208.487 | 1.9459 | 0 | 0.66761
| Windows - Install Reflective Film | 15% | 75% | 10 | 757.4297 | 0.28504 | 0 | 0.44838
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.6152 | 0 | 0.048258
| Roofs - High Reflectivity | 15% | 75% | 15 | 765.9684 | 2.0363 | 0 | 0.04982
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.049274 | 0 | 0.17448
| Whole-House Fan - Installation | 15% | 75% | 20 | 302.9408 | 0.15048 | 0 | 0.2327
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.18218 | 0 | 0.13461
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.040344 | 0 | 0.8771
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.29862 | 0 | 0.44551
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.65333 | 0 | 0.57717
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.19371 | 0 | 2.562
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.36569 | 0 | 0.75189
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 7.5261 | 0 | 0.016062
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.90514 | 0 | 0.087021
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.15173 | 0 | 0.51718
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.11697 | 0 | 0.6257
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.012322 | 0 | 0.22745
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0044754 | 0 | 0.54236
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0036155 | 0 | 0.86247
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.010898 | 0 | 0.11884
| Water Heater - Desuperheater | 0.1% | 1% | 20 | 1026.6731 | 0.091475 | 0 | 1.2973
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.37282 | 0 | 1.2514
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 13.7299 | 0.030731 | 0 | 0.087976
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 52.9437 | 0.25407 | 0 | 0.0276
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 77.4469 | 4.4693 | 0 | 0.0049066
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.034858 | 0 | 0.092714
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.46021 | 0 | 0.29873
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015595 | 0 | 0.87699
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.056117 | 0 | 0.30261
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.072834 | 0 | 0.60523
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.069707 | 0 | 0.018402
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0063951 | 0 | 0.8432
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.53905 | 0 | 0.80797
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.25018 | 0 | 1.0355
Table A-9 Residential Energy Efficiency Non-Equipment Data, Low Income Multi Family, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 249.2515 | 0.022733 | 0 | 1.0307
| Insulation - Ducting | 15% | 50% | 20 | 542.0834 | 0.072309 | 0 | 0.86656
| Insulation - Foundation | 15% | 50% | 45 | 1298.7819 | 0.3087 | 0 | 0.3955
| Insulation - Floor | 15% | 50% | 25 | 1626.0694 | 0.32215 | 0 | 0.5371
| Insulation - Infiltration Control | 15% | 50% | 15 | 67.7604 | 0.03167 | 0 | 0.28338
| Insulation - Radiant Barrier | 15% | 50% | 15 | 349.74 | 0.080725 | 0 | 0.57383
| Insulation - Wall Cavity | 15% | 50% | 45 | 466.2464 | 0.039846 | 0 | 1.1
| Insulation - Wall Sheathing | 20% | 25% | 25 | 215.6234 | 0.0091624 | 0 | 2.5042
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.060504 | 0 | 1.1691
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 3699.4217 | 0.79117 | 0 | 0.49755
| Windows - Install Reflective Film | 15% | 75% | 10 | 229.5167 | 0.088031 | 0 | 0.43993
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.49499 | 0 | 0.059977
| Roofs - High Reflectivity | 15% | 75% | 15 | 932.5066 | 1.1009 | 0 | 0.11219
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.047683 | 0 | 0.1803
| Whole-House Fan - Installation | 15% | 75% | 20 | 337.1751 | 0.15168 | 0 | 0.25696
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.069679 | 0 | 0.35195
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.074727 | 0 | 0.47354
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.47304 | 0 | 0.28124
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 1.1717 | 0 | 0.32181
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.37087 | 0 | 1.3381
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.37668 | 0 | 0.72995
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 3.7107 | 0 | 0.032576
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.1258 | 0 | 0.069967
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.10166 | 0 | 0.77193
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.10953 | 0 | 0.66819
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.011534 | 0 | 0.24298
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0041908 | 0 | 0.57919
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0033856 | 0 | 0.92104
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.010175 | 0 | 0.12729
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.07373 | 0 | 1.6096
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.34911 | 0 | 1.3364
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 4.7846 | 0.01296 | 0 | 0.072697
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 18.3509 | 0.023933 | 0 | 0.10155
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 26.8439 | 0.42101 | 0 | 0.018054
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.094784 | 0 | 0.034097
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.34143 | 0 | 0.40265
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.014437 | 0 | 0.94737
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.051197 | 0 | 0.3317
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.066448 | 0 | 0.66339
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.080136 | 0 | 0.016007
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.005766 | 0 | 0.9352
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.46985 | 0 | 0.92697
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.18311 | 0 | 1.4148
Table A-10 Residential Energy Efficiency Non-Equipment Data, Low Income Multi Family, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 249.2515 | 0.024326 | 0 | 0.96319
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.079164 | 0 | 0.79152
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.33033 | 0 | 0.36961
| Insulation - Floor | 15% | 75% | 25 | 1626.0694 | 0.34472 | 0 | 0.50193
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.032545 | 0 | 0.27576
| Insulation - Radiant Barrier | 15% | 50% | 15 | 349.74 | 0.086381 | 0 | 0.53625
| Insulation - Wall Cavity | 15% | 50% | 45 | 466.2464 | 0.042637 | 0 | 1.028
| Insulation - Wall Sheathing | 20% | 40% | 25 | 215.6234 | 0.0098043 | 0 | 2.3402
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.053396 | 0 | 1.3247
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 3699.4217 | 0.69098 | 0 | 0.5697
| Windows - Install Reflective Film | 15% | 75% | 10 | 229.5167 | 0.10225 | 0 | 0.37874
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 1.0694 | 0 | 0.027761
| Roofs - High Reflectivity | 15% | 75% | 15 | 932.5066 | 2.1751 | 0 | 0.056783
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.051321 | 0 | 0.16752
| Whole-House Fan - Installation | 15% | 75% | 20 | 337.1751 | 0.18437 | 0 | 0.21139
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.081779 | 0 | 0.29987
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.074053 | 0 | 0.47784
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.54404 | 0 | 0.24453
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 1.1775 | 0 | 0.32024
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.37515 | 0 | 1.3229
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.48355 | 0 | 0.56863
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 4.2553 | 0 | 0.028408
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 1.1592 | 0 | 0.067949
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.11396 | 0 | 0.68861
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.12183 | 0 | 0.60075
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.012831 | 0 | 0.21843
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0046613 | 0 | 0.52073
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0037657 | 0 | 0.82807
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.01132 | 0 | 0.11441
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.079362 | 0 | 1.4954
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.38831 | 0 | 1.2015
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 3.7445 | 0.013104 | 0 | 0.05627
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 14.3615 | 0.0253 | 0 | 0.075185
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 21.0083 | 0.44504 | 0 | 0.013366
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.12803 | 0 | 0.025243
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.42602 | 0 | 0.32271
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.014437 | 0 | 0.94737
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.05147 | 0 | 0.32994
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.066802 | 0 | 0.65988
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.069939 | 0 | 0.018341
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0059079 | 0 | 0.91274
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.49798 | 0 | 0.8746
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.17605 | 0 | 1.4716
Table A-11 Residential Energy Efficiency Non-Equipment Data, Low Income Mobile Home, Existing Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 255.4303 | 0.011632 | 0 | 2.0642
| Insulation - Ducting | 15% | 50% | 20 | 542.0834 | 0.0751 | 0 | 0.83436
| Insulation - Foundation | 15% | 50% | 45 | 1298.7819 | 0.15413 | 0 | 0.79212
| Insulation - Floor | 15% | 50% | 25 | 2274.0051 | 0.22494 | 0 | 1.0757
| Insulation - Infiltration Control | 15% | 50% | 15 | 67.7604 | 0.03414 | 0 | 0.26288
| Insulation - Radiant Barrier | 15% | 50% | 15 | 358.4098 | 0.041305 | 0 | 1.1493
| Insulation - Wall Cavity | 15% | 50% | 45 | 4049.3887 | 0.17279 | 0 | 2.203
| Insulation - Wall Sheathing | 20% | 25% | 25 | 1872.7072 | 0.039732 | 0 | 5.0154
| Ducting - Repair and Sealing | 20% | 50% | 20 | 611.9191 | 0.024148 | 0 | 2.9291
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 9484.8954 | 1.6216 | 0 | 0.6224
| Windows - Install Reflective Film | 15% | 75% | 10 | 588.4547 | 0.18933 | 0 | 0.52446
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.20634 | 0 | 0.14388
| Roofs - High Reflectivity | 15% | 75% | 15 | 955.6228 | 1.1537 | 0 | 0.10971
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.045883 | 0 | 0.18737
| Whole-House Fan - Installation | 15% | 75% | 20 | 471.5284 | 0.12522 | 0 | 0.43525
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.10701 | 0 | 0.22916
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.032406 | 0 | 1.0919
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.28735 | 0 | 0.46298
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.51729 | 0 | 0.72896
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.1638 | 0 | 3.0298
| Central AC - Early Replacement | 15% | 50% | 14 | 2000 | 0.26331 | 0 | 1.0442
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.6626 | 0 | 0.021348
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.7076 | 0 | 0.11131
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.045568 | 0 | 1.7221
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.1054 | 0 | 0.69441
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.011105 | 0 | 0.25238
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0040326 | 0 | 0.60191
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0032578 | 0 | 0.95717
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.0097815 | 0 | 0.1324
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.085181 | 0 | 1.3932
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.33593 | 0 | 1.3888
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 6.1327 | 0.017286 | 0 | 0.069861
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 23.6481 | 0.24054 | 0 | 0.013021
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 34.5928 | 4.2313 | 0 | 0.0023149
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.073884 | 0 | 0.043742
| Refrigerator - Early Replacement | 15% | 75% | 14 | 1000 | 0.35859 | 0 | 0.38339
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015162 | 0 | 0.90204
| Freezer - Early Replacement | 15% | 75% | 8 | 86.2405 | 0.054084 | 0 | 0.31399
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070195 | 0 | 0.62798
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.076841 | 0 | 0.016693
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0060398 | 0 | 0.89281
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.49123 | 0 | 0.88662
| ENERGY STAR Home Design | 0% | 0% | 15 | 1956.0173 | 0.20225 | 0 | 1.281
Table A-12 Residential Energy Efficiency Non-Equipment Data, Low Income Mobile Home, New Vintage
| Measure | Base Saturation | Applicability | Lifetime | Cost ($/HH) | Savings (kWh/HH) | BC Ratio (2016) | Levelized Cost ($/kWh saved)
| Insulation - Ceiling | 15% | 50% | 45 | 255.4303 | 0.012095 | 0 | 1.9852
| Insulation - Ducting | 15% | 75% | 20 | 542.0834 | 0.080069 | 0 | 0.78257
| Insulation - Foundation | 15% | 75% | 45 | 1298.7819 | 0.16027 | 0 | 0.76179
| Insulation - Floor | 15% | 75% | 25 | 2274.0051 | 0.2339 | 0 | 1.0345
| Insulation - Infiltration Control | 15% | 75% | 15 | 67.7604 | 0.033977 | 0 | 0.26414
| Insulation - Radiant Barrier | 15% | 50% | 15 | 358.4098 | 0.04295 | 0 | 1.1053
| Insulation - Wall Cavity | 15% | 50% | 45 | 4049.3887 | 0.17967 | 0 | 2.1187
| Insulation - Wall Sheathing | 20% | 40% | 25 | 1872.7072 | 0.041314 | 0 | 4.8234
| Ducting - Repair and Sealing | 25% | 50% | 20 | 611.9191 | 0.018927 | 0 | 3.7371
| Windows - High Efficiency/ENERGY STAR | 15% | 75% | 25 | 9484.8954 | 1.2931 | 0 | 0.78051
| Windows - Install Reflective Film | 15% | 75% | 10 | 588.4547 | 0.17322 | 0 | 0.57323
| Doors - Storm and Thermal | 15% | 75% | 25 | 279 | 0.36843 | 0 | 0.08058
| Roofs - High Reflectivity | 15% | 75% | 15 | 955.6228 | 1.0169 | 0 | 0.12446
| Water Heater - Tank Blanket/Insulation | 15% | 75% | 5 | 30.3628 | 0.049356 | 0 | 0.17419
| Whole-House Fan - Installation | 15% | 75% | 20 | 471.5284 | 0.14045 | 0 | 0.38806
| Ceiling Fan - Installation | 15% | 75% | 10 | 145.3341 | 0.11092 | 0 | 0.2211
| Thermostat - Clock/Programmable | 40% | 50% | 15 | 267.1689 | 0.031676 | 0 | 1.1171
| Home Energy Management System | 15% | 50% | 5 | 469.8433 | 0.30184 | 0 | 0.44076
| Space Heating - Heat Recovery Ventilator | 15% | 75% | 15 | 2847 | 0.52052 | 0 | 0.72443
| Ductless Mini Split Heat Pump | 15% | 75% | 18 | 4099.8941 | 0.16566 | 0 | 2.9958
| Central AC - Early Replacement | 0% | 0% | 14 | 2000 | 0.3346 | 0 | 0.82175
| Central AC - Maintenance and Tune-Up | 15% | 75% | 3 | 275.7364 | 5.7534 | 0 | 0.02101
| Central Heat Pump - Maintenance | 15% | 75% | 3 | 179.6678 | 0.64578 | 0 | 0.12197
| Room AC - Removal of Second Unit | 15% | 75% | 3 | 179 | 0.051081 | 0 | 1.5362
| Water Heater - Drainwater Heat Recovery | 1% | 10% | 25 | 687.8178 | 0.11717 | 0 | 0.62466
| Water Heater - Thermostat Setback | 15% | 75% | 4 | 8.2134 | 0.012343 | 0 | 0.22707
| Water Heater - Faucet Aerators | 45% | 60% | 10 | 14.385 | 0.0044829 | 0 | 0.54145
| Water Heater - Low-Flow Showerheads | 45% | 60% | 10 | 18.4801 | 0.0036216 | 0 | 0.86103
| Water Heater - Pipe Insulation | 25% | 75% | 15 | 9.7783 | 0.010916 | 0 | 0.11864
| Water Heater - Desuperheater | 0% | 0% | 20 | 1026.6731 | 0.091628 | 0 | 1.2952
| Water Heater - Solar System | 0.4% | 5% | 25 | 4384.5075 | 0.37344 | 0 | 1.2493
| Interior Lighting - Occupancy Sensors | 15% | 75% | 8 | 5.4251 | 0.015681 | 0 | 0.068124
| Exterior Lighting - Photosensor Control | 15% | 40% | 15 | 20.9194 | 0.25407 | 0 | 0.010905
| Exterior Lighting - Photovoltaic Installation | 15% | 60% | 5 | 30.6013 | 4.4693 | 0 | 0.0019387
| Exterior Lighting - Timeclock Installation | 15% | 40% | 10 | 19.1529 | 0.08822 | 0 | 0.036634
| Refrigerator - Early Replacement | 0% | 0% | 14 | 1000 | 0.44742 | 0 | 0.30727
| Refrigerator - Remove Second Unit | 15% | 75% | 14 | 99.4815 | 0.015162 | 0 | 0.90204
| Freezer - Early Replacement | 0% | 0% | 8 | 86.2405 | 0.054383 | 0 | 0.31226
| Freezer - Remove Second Unit | 15% | 75% | 4 | 129.1859 | 0.070583 | 0 | 0.62453
| Electronics - Smart Power Strips | 15% | 75% | 4 | 3.7592 | 0.068452 | 0 | 0.018739
| Pool Pump - Timer | 15% | 75% | 10 | 31.9571 | 0.0062032 | 0 | 0.86928
| Pool Heater - Solar System | 15% | 45% | 20 | 3767.9208 | 0.52288 | 0 | 0.83296
| ENERGY STAR Home Design | 15% | 75% | 15 | 1956.0173 | 0.1681 | 0 | 1.5412