## 2017-2018 Parameters
2017-2018 RPM Base Residual Auction Planning Parameters | [5 empty] | 2014-01-31 | 777383-v2A
| RTO | Notes:
Installed Reserve Margin (IRM) | 15.7% | 1. Load data: from 2014 Load Report with adjustments due to load served outside PJM.
Pool-Wide Average EFORd | 5.65% | 2. Fixed Resource Requrement (FRR) load adjustments are not made yet.
Forecast Pool Requirement (FPR) | 1.0916 | 3. See "Net CONE" worksheet for Net CONE calculations.
Demand Resource (DR) Factor | 0.953
Preliminary Forecast Peak Load | 164717.8
Short-Term Resource Procurement Target | 2.5%
Pre-Clearing BRA Credit Rate, $/MW | 38477.21
LOCATIONAL DELIVERABILITY AREA (LDA)
| RTO | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
CETO | NA | 4690 | 6140 | 6140 | 6080 | 2370 | 1440 | 3740 | 4970 | 3350 | 2290 | 4610 | 1310
CETL | NA | 7261 | 9315 | 8029 | 6700 | 2795 | 1869 | 5208 | 8470 | 4940 | 7020 | 6086 | 4336
Reliability Requirement | 179806 | 71804 | 39371 | 17195 | 12759 | 6465 | 3215 | 8715 | 16009 | 6250 | 28991 | 8961 | 10813
Total Peak Load of FRR Entities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Preliminary FRR Obligation | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Reliability Requirement adjusted for FRR | 179806 | 71804 | 39371 | 17195 | 12759 | 6465 | 3215 | 8715 | 16009 | 6250 | 28991 | 8961 | 10813
Short-Term Resource Procurement Target | 4495.2 | 1661.707 | 902.4087 | 388.0682 | 285.7296 | 138.5788 | 66.1118 | 183.6365 | 357.0391 | 122.5226 | 639.8759 | 204.4317 | 205.1413
Net CONE, $/MW-Day (UCAP Price) | 351.39 | 313 | 365.87 | 313 | 365.87 | 365.87 | 365.87 | 313 | 373.75 | 373.75 | 373.75 | 313 | 354.46
Variable Resource Requirement Curve:
Point (a) UCAP Price, $/MW-Day | 527.085 | 469.5 | 548.805 | 469.5 | 548.805 | 548.805 | 548.805 | 469.5 | 560.625 | 560.625 | 560.625 | 469.5 | 531.69
Point (b) UCAP Price, $/MW-Day | 351.39 | 313 | 365.87 | 313 | 365.87 | 365.87 | 365.87 | 313 | 373.75 | 373.75 | 373.75 | 313 | 354.46
Point (c) UCAP Price, $/MW-Day | 70.28 | 62.6 | 73.17 | 62.6 | 73.17 | 73.17 | 73.17 | 62.6 | 74.75 | 74.75 | 74.75 | 62.6 | 70.89
Point (a) UCAP Level, MW | 170648.6 | 68280.5 | 37447.7 | 16361.1 | 12142.4 | 6158.8 | 3065.5 | 8305.4 | 15236.9 | 5965.4 | 27599.4 | 8524.2 | 10327.5
Point (b) UCAP Level, MW | 176864.9 | 70762.9 | 38808.9 | 16955.5 | 12583.5 | 6382.3 | 3176.7 | 8606.7 | 15790.3 | 6181.5 | 28601.7 | 8834 | 10701.3
Point (c) UCAP Level, MW | 183081.2 | 73245.3 | 40170 | 17550 | 13024.7 | 6605.8 | 3287.8 | 8908 | 16343.8 | 6397.6 | 29604 | 9143.8 | 11075.1
Participant-Funded ICTRs Awarded | NA | 159 | NA | 444 | NA | NA | 37 | 191 | NA | NA | NA | NA | NA
Post-Clearing BRA Credit Rate (LMT), $/MW
Post-Clearing BRA Credit Rate (ES), $/MW
Post-Clearing BRA Credit Rate (ANL), $/MW
FRR Load Requirement (% Obligation):
Minimum Internal Resource Requirement | NA | 89.1% | 74.2% | 48.3% | 41.4% | 49.6% | 29.3% | 29.1% | 40.7% | 0% | 72.6% | 25.6% | 47.2%
LDA CETO/CETL Data; Zonal Peak Loads, Base Zonal FRR Scaling Factors, and Zonal Short-Term Resource Procurement Target
LDA/Zone | CETO | CETL | CETL to CETO Ratio % | 2013 Zonal W/N Coincident Peak Loads | Preliminary Zonal Peak Load Forecast | Base Zonal FRR Scaling Factor | Short-Term Resource Procurement Target | FRR Portion of the Preliminary Peak Load Forecast | Preliminary Zonal Peak Load Forecast less FRR load**
RTO | NA | NA | NA | 155456.6 | 164717.8 | NA | 4495.2 | 0 | 164717.8
AE | 1130 | > 1300.0 | > 115% | 2590 | 2750 | 1.0618 | 75.0484 | 0 | 2750
AEP | 1260 | > 1449 | > 115% | 22670 | 23323 | 1.0288 | 636.4919 | 0 | 23323
APS | 3740 | > 4301 | > 115% | 8270 | 8841 | 1.069 | 241.2736 | 0 | 8841
ATSI | 4970 | 8470 | 170.4% | 12680 | 13083 | 1.0318 | 357.0391 | 0 | 13083
ATSI-CLEVELAND | 3350 | 4940 | 147.5% | NA | 4489.6 | NA | 122.5226 | 0 | 4489.6
BGE | 4610 | 6086 | 132% | 6920 | 7491 | 1.0825 | 204.4317 | 0 | 7491
COMED | 2290 | 7020 | 306.6% | 21830 | 23447 | 1.0741 | 639.8759 | 0 | 23447
DAYTON | 970 | > 1116 | > 115% | 3260 | 3503 | 1.0745 | 95.598 | 0 | 3503
DEOK | 3760 | > 4324 | > 115% | 5270 | 5533 | 1.0499 | 150.9973 | 0 | 5533
DLCO | 1520 | > 1748 | > 115% | 2820 | 2976 | 1.0553 | 81.216 | 0 | 2976
DOM | -540 | * | * | 18980 | 20978 | 1.1053 | 572.4961 | 0 | 20978
DPL | 980 | > 1127 | > 115% | 3970 | 4184 | 1.0539 | 114.1827 | 0 | 4184
DPL SOUTH | 1440 | 1869 | 129.8% | NA | 2422.536 | NA | 66.1118 | 0 | 2422.536
EKPC | 250 | > 288 | > 115% | 2051.6 | 2143.8 | 1.0449 | 58.505 | 0 | 2143.8
JCPL | 3370 | > 3876 | > 115% | 6020 | 6369 | 1.058 | 173.812 | 0 | 6369
METED | 1290 | > 1484.0 | > 115% | 2840 | 3061 | 1.0778 | 83.5356 | 0 | 3061
PECO | 3260 | > 3749 | > 115% | 8360 | 8881 | 1.0623 | 242.3653 | 0 | 8881
PENLC | 600 | > 690 | > 115% | 2770 | 3025 | 1.0921 | 82.5532 | 0 | 3025
PEPCO | 3740 | 5208 | 139.3% | 6520 | 6729 | 1.0321 | 183.6365 | 0 | 6729
PL (incl. UGI) | 1310 | 4336 | 331% | 7115 | 7517 | 1.0565 | 205.1413 | 0 | 7517
PS | 6080 | 6700 | 110.2% | 10120 | 10470 | 1.0346 | 285.7296 | 0 | 10470
PS NORTH | 2370 | 2795 | 117.9% | NA | 5077.95 | NA | 138.5788 | 0 | 5077.95
RECO | NA | NA | NA | 400 | 413 | 1.0325 | 11.2709 | 0 | 413
EMAAC | 6140 | 9315 | 151.7% | NA | 33067 | NA | 902.4087 | 0 | ** Used to allocate Short-Term Resource Procurement Target to Zones.
SWMAAC | 6140 | 8029 | 130.8% | NA | 14220 | NA | 388.0682 | 0
Western MAAC | -5010 | * | * | NA | 13603 | NA | 371.2301 | 0
MAAC | 4690 | 7261 | 154.8% | NA | 60890 | NA | 1661.707 | 0
Western PJM | 8210 | > 9442 | > 115% | NA | 82849.8 | NA | 2260.9968 | 0
* LDA has adequate internal resources to meet the reliability criterion.
Limiting conditions at the CETL for modeled LDAs:
LDA | Violation/Limiting Facility
MAAC | Thermal / Brister - Ox 500 kV circuit
EMAAC | Voltage / Voltage collapse for the loss of the Keeney - Rock Springs 500 kV circuit.
SWMAAC | Voltage / Voltage collapse for the loss of Burches Hill - Possum Point 500 kV circuit.
PS | Thermal / Roseland - Wilpipe 230 kV circuit.
PSNORTH | Thermal / Roseland - Wilpipe 230 kV circuit.
DPLSOUTH | Thermal/Easton - Trappe Tap 69 kV circuit.
PEPCO | Voltage / Voltage collapse for the loss of Burches Hill - Possum Point 500 kV circuit.
ATSI | Thermal / South Canton - Harmon 345 kV circuit.
ATSI-CLEVELAND | Thermal / South Canton - Harmon 345 kV circuit.
COMED | Thermal / University Park - East Frankfort 345 kV circuit.
BGE | Thermal / Riverside 115 kV bus section.
PL | Thermal / Wescosville 500/138 kV transformer.

## Net CONE
RPM CONE and E&AS Values for 2017/2018 Base Residual Auction
ICAP to UCAP Conversion Factor:
UCAP Price = ICAP Price/(1 - Pool-Wide Average EFORd)
Pool-Wide Average EFORd for 2017/2018 = | 5.65%
CONE Area 1: AE, DPL, JCPL, PECO, PS, RECO
CONE Area 2: BGE, PEPCO
CONE Area 3: AEP, APS, ATSI, ComEd, Dayton, DEOK, Duquesne (DLCo), EKPC
CONE Area 4: MetEd, Penelec, PPL
CONE Area 5: Dominion
MAAC CONE used is the lowest of the three CONE Areas 1, 2, and 4.
| CONE Area 1 | CONE Area 2 | CONE Area 3 | CONE Area 4 | CONE Area 5 | MAAC: Used Area 2 CONE | RTO
Benchmark CONE (2016/2017 BRA Value): Levelized Revenue Requirement, $/MW-Year | 152460 | 142223.4 | 139485 | 146470.5 | 124919.5 | 142223.4 | 139392
12 Months Handy Whitman Index (July 1, 2013) | 2.9% | 2.9% | 3% | 2.9% | 2.9% | 2.9% | 2.9%
Region basis for the Handy Whitman Index | North Atlantic | North Atlantic | North Central | North Atlantic | South Atlantic | North Atlantic | North Atlantic
2017/2018 BRA CONE, escalated by Handy Whitman Index, $/MW-Year | 156881.34 | 146347.8786 | 143669.55 | 150718.1445 | 128542.1655 | 146347.8786 | 143434.368
Gross CONE, $/MW-Day, UCAP Price | 455.55 | 424.96 | 417.19 | 437.65 | 373.26 | 424.96 | 416.5
Historic (2011-2013) Net Energy Revenue Offset, $/MW-Year | 28686 | 36360 | 12761 | 26452 | 26492 | 36360 | 20224
Zonal LMP used for Net Energy Offset Calculation | AE Zonal LMP | BGE Zonal LMP | ComEd Zonal LMP | MetEd Zonal LMP | Dominion Zonal LMP | BGE Zonal LMP | PJM Average LMP
Ancillary Services Offset, $/MW-Year per Tariff | 2199 | 2199 | 2199 | 2199 | 2199 | 2199 | 2199
Net CONE, $/MW-Day, ICAP Price | 345.1955 | 295.312 | 352.6289 | 334.4305 | 273.5648 | 295.312 | 331.538
Net CONE, $/MW-Day, UCAP Price | 365.87 | 313 | 373.75 | 354.46 | 289.95 | 313 | 351.39
VRR Curve Point (a) UCAP Price, $/MW-Day * | 548.805 | 469.5 | 560.625 | 531.69 | 434.925 | 469.5 | 527.085
* VRR Curve Point (a) UCAP Price is the higher of 1.5 Net CONE or Gross CONE.

## Key Transmission Upgrades
New Key Transmission Upgrades included for 2017/2018 model
Upgrade ID | Description | Transmission Owner
b0497 | Install a second Conastone - Graceton 230 kV circuit and replace Conastone 230 kV breaker 2323/2302 | BGE
b1016 | Rebuild Graceton - Bagley 230 kV as double circuit line using 1590 ACSR. Terminate new line at Graceton with a new circuit breaker. | BGE
b1251 | Rebuild the existing Bagley - Raphael Rd. 230 kV line to double circuit 230 kV line | BGE
b1251.1 | Reconfigure Raphael Rd. to terminate new circuit | BGE
b1813.6 | Build approximately 14 miles new 230 kV Jenkins-Acahela 230 kV Line | PPL
b2015 | Build a new 230 kV circuit from Larrabee to Oceanview | JCPL
b2136 | Reconductor the Morgantown - V3-017 230 kV '23086' circuit and replace terminal equipments at Morgantown | PEPCO
b2137 | Reconductor the Morgantown - Talbert 230 kV '23085' circuit and replace terminal equipments at Morgantown | PEPCO
b2141 | Construct a new Byron to Wayne 345 kV circuit | ComEd
b2228 | +150/-100 MVAR SVC at Cedar 230 kV | AEC
b2360 | Build a new 39 mile 230 kV transmission line from Dooms - Lexington on existing right-of-way | Dominion
b2361 | Construct 230 kV OH line along existing Line #2035 corridor, approx. 2.4 miles from Idylwood - Dulles Toll Road (DTR) and 2.1 miles on new right-of-way along DTR to new Scott's Run Substation | Dominion
b2362 | Install a 250 MVAR SVC at Squab Hollow 230 kV | APS
b2364 | Install a new 230/138kV transformer at Squab Hollow 230kV substation. Loop the Forest - Elko 230 kV line into Squab Hollow. Loop the Brookville - Elko 138 kV line into Squab Hollow. | APS
b2449 | Rebuild the 7-mile 345 kV line between Meadow Lake and Reynolds 345 kV stations | AEP
Key Transmission Upgrades included for 2016/2017 model but not included for 2017/2018 model
Upgrade ID | Description | Transmission Owner
None

## DR Rel Targets
2017/2018 Demand Rresource Constraints
Forecast Pool Requirement | 1.0916
Demand Resource Factor | 0.953
Quantities are in Unforced Capacity Megawatts | PJM Region | MAAC | EMAAC | SWMAAC | PS | PS NORTH | DPL SOUTH | PEPCO | ATSI | ATSI-Cleveland | COMED | BGE | PL
Reliability Requirement adjusted for FRR | 179806 | 71804 | 39371 | 17195 | 12759 | 6465 | 3215 | 8715 | 16009 | 6250 | 28991 | 8961 | 10813
CETL | NA | 7261 | 9315 | 8029 | 6700 | 2795 | 1869 | 5208 | 8470 | 4940 | 7020 | 6086 | 4336
Preliminary Peak Load Forecast | 164717.8 | 60890 | 33067 | 14220 | 10470 | 5077.95 | 2422.536 | 6729 | 13083 | 4489.6 | 23447 | 7491 | 7517
FRR Peak Load | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Peak Load Forecast adjusted for FRR | 164717.8 | 60890 | 33067 | 14220 | 10470 | 5077.95 | 2422.536 | 6729 | 13083 | 4489.6 | 23447 | 7491 | 7517
Short-Term Resource Procurement Target | 4495.2 | 1661.707 | 902.4087 | 388.0682 | 285.7296 | 138.5788 | 66.1118 | 183.6365 | 357.0391 | 122.5226 | 639.8759 | 204.4317 | 205.1413
Limited Demand Resource Reliability Target
Percent of Preliminary Forecast Peak Load | 4.1% | 6.1% | 6.3% | 7.1% | 7% | 7% | 5.9% | 6.5% | 5.2% | 5.2% | 5.4% | 7.2% | 5.4%
Unforced Capacity, MW | 7025.5579 | 3863.9566 | 2167.164 | 1050.3024 | 762.4321 | 369.7795 | 148.6889 | 455.0093 | 707.7292 | 242.8664 | 1317.1568 | 561.0851 | 422.2744
Limited Resource Constraint | 2530.3579 | 2202.2495 | 1264.7553 | 662.2342 | 476.7025 | 231.2007 | 82.5772 | 271.3728 | 350.6901 | 120.3438 | 677.2809 | 356.6534 | 217.1331
Sub-Annual Resource Reliability Target
Percent of Preliminary Forecast Peak Load | 9.3% | 11.3% | 16.7% | 14.9% | 19.1% | 15.3% | 13.6% | 14.6% | 17.3% | 24.7% | 26.5% | 14.8% | 5.5%
Unforced Capacity, MW | 15936.0216 | 7157.8212 | 5744.7045 | 2204.1558 | 2080.3503 | 808.2324 | 342.7406 | 1022.021 | 2354.5606 | 1153.6154 | 6463.8249 | 1153.3416 | 430.0943
Sub-Annual Resource Constraint | 11440.8216 | 5496.1142 | 4842.2958 | 1816.0876 | 1794.6208 | 669.6536 | 276.6289 | 838.3845 | 1997.5215 | 1031.0928 | 5823.949 | 948.9098 | 224.953
DR Constraints for FRR Load (ICAP as % of peak load)
Limited Resource Constraint | 4.1% | 6.1% | 6.3% | 7.1% | 7% | 7% | 5.9% | 6.5% | 5.2% | 5.2% | 5.4% | 7.2% | 5.4%
Sub-Annual Resource Constraint | 9.3% | 11.3% | 16.7% | 14.9% | 19.1% | 15.3% | 13.6% | 14.6% | 17.3% | 24.7% | 26.5% | 14.8% | 5.5%

## Cap Import Limits
2017/2018 Capacity Import Limits in Megawatts
External Source Zone *
| Simultaneous | North | West 1 | West 2 | South 1 | South 2
Capacity Import Limit (CIL) ** | 6499 | 144 | 3739 | 2865 | 1861 | 1877
Network External Designated Transmission Service (NEDTS) (1/29/14) *** | 8521 | 105 | 2403 | 3956 | 1287 | 770
* Implementation of Capacity Import Limits in the auction is subject to approval of FERC filing, Docket No. ER14-503.
** Capacity Import Limits may be adjusted to account for Exceptions granted prior to the auction.
*** Confirmed NEDTS numbers as of 1/29/2014 is subject to change.