## D-NOX Burner Spares
Doosan Recommended Burner Spares List
Description | Cost per Item | Qty Verified on 11/10 | Total Cost $
Replacement of Mark V components
Complete sets of burner gaskets per GA 06350/CRVI/AD/34570/2/0009 - see detail below; | 1387 | 10 | 13870
806832971001 - Observations Door Gasket OD 6 3/8" |  | 10
806832863001 - Outer Ring Burner Gasket OD 88 3/8" |  | 10 sets of 6
806832864001 - Inner Ring Burner Gasket OD 52" |  | 10
806833419001 - Oil Mounting Flange gasket OD 15" |  | 10
806832969001 - Barrel Gasket OD 38" |  | 10
806832865001 - Coal Inlet Elbow Gasket OD 32" |  | 10
806832866001 - Air Inlet Tee Gasket OD 12 1/2" |  | 10
806832868001 - Elbow Cover Plate Gasket Ellispe |  | 10
171023001505 -Full Face 14" 150# Gasket |  | 10
171027001605 - Full Face 24" 150# Gasket |  | 10
806831949001 Coal Inlet Elbows, w/lining | 22638 | 10 | 226380
806831632-xxx Elbow Cover Plates, w/lining consisting of the following: | 13341 | 12 | 160092
2 off -004, & -007, 1 off -003, -009, -010, -002, -006, -001, -005, -008 |  |  | 0
Replacement Flow Divider (SA) Tips Assemblies | 2570 | 12 | 30840
806832892001 Coal Nozzle Tip Cast 309 | 6731 | 10 | 67310
Coal Nozzle Barrel 26" Stainless Steel Spool piece - note attached to above | 3045 | 10 | 30450
806832902001 Coal Distribution Orifice | 1344 | 10 | 13440
806832901-xxx Coal Barrel Vane consisting of the following: | 230 | 10 | 2300
2 off -004, & -007, 1 off -003, -002, -006, -001, -005, -008
544682
Components specific to D-Nox burner (not previously purchased)
Thermocouple, 110" Long - Bayonet Style | 204 | 9 | 1836
Thermocouple, 103" Long - Bayonet Style | 198 | 10 | 1980
Thermocouple, Weld Pad Style | 184 | 10 | 1840
Recommended Actuator Spares kit for Beck Drive Consisting of the following; | 9515 | 1 | 9515
Beck Part # 12-8064-14 Kit Resistor 50/60 Hz Group
Beck Part # 12-8064-10 Kit Capacitor 60 Hz Group
Beck Part # 12-8064-01 Kit Motor 6.0 NM 72 RPM Group 42
Beck Part # 12-8064-03 Kit SLM Rebuild Group 42
Beck Part # 12-8064-04 Kit DCM-2 Group 42 HART / Local
Beck Part # 12-8064-05 Kit Control End Assy Group 42 Opti
Beck Part # 12-8064-16 Kit DCM Fuse 7 Amp 125 Volt
Beck Part # 20-0511-13 Kit Serial Interface RS-232 PC to DCM
Optional Actuator Spares Kit for Beck Drives consisting of the following; | 1535 | 1 | 1535
Beck Part # 12-8064-07 Kit CPS-4 PC Board 42-109
Beck Part # 12-8064-06 Kit Limit / Auxiliary Swith Assy 42
Beck Part # 12-8064-08 Kit CPS-4 Coupling 42-109
Beck Part # 12-8064-09 Kit Rotary Handswitch 42-109
Beck Part # 15-1500-01 Ball Driver 3/32 Bondhus
16706
Total
Coal Nozzle 164 inch New Extended length thermocouple - 591216004403 | 204 | 45 | 9180
SA Flow Divider 170 inch New Extended Length thermocouple - 591216004303 | 204 | 34 | 6936
16116

## COEN Oil Guns Ignitors
Description | COEN Part # | Cost per Item | Qty Verified on 11/10 | Total Cost $
Replacement of Oil Gun / Ignitor assy components
Hybrid Nozzle cap Drilling 1025 CCW | 1369151 | 912 | 11 | 10032
Hybrid Nozzle cap Drilling 1026 CW | 1369162 | 912 | 11 | 10032
Orifice Plate | 1038-097-01 | 354 | 20 | 7080
Distributor Plug, Internal Mix, 440C | 1045-004-07 | 830 | 22 | 18260
Chentronics Base Rod, 17.1mm OD, Dimension XX.XX = 4.50ft | 1336351 | 1015 | 5 | 5075
Extension Rod, 17.1mm OD, Rigid, Dimension xx.xx= 6.58ft | 1349452 | 1405 | 11 | 15455
Ignitor, 17.1mm OD, 305mm (12") long, 1mm Spark Gap | 1297086 | 390 | 8 | 7410 | Note Ron Gratton to pass a further 11 off to LG&E 12th Nov. 14
HEI Exciter Assembly, Non Hazardous, NEMA 4, Diagnostics | 1297084 | 2520 | 5 | 12600
Mounting Plate Gasket | 1349206 | 190 | 5 | 950
HEEI Advance/Retract Pneumatic Cylinder, 40mm Bore 200mm Stroke with Rod Clevis,Corrosion Resistant Coatings, Viton Seals. HEEI Advance/Retract Solenoid Valve, Single coi, Class F 96" Leads | 1250643 | 1950 | 2 | 3900
Igniter Advance/Retract Pneumatic Cylinder, 80mm Bore 300mm Stroke with Rod Clevis,Corrosion Resistant Coatings, Viton Seals. HEEI Advance/Retract Solenoid Valve, Single coi, Class F 96" Leads | 1250644 | 1500 | 2 | 3000
Igniter Retracted or Inserted position switch assembly; complete switch with base, SPDT Lever type, Spring return, NEMA 4 | 2430-024-10 | 330 | 5 | 1650
Oil Gun Assembly, 1MVU 209" Long (includes spray plate and distribuor plug less Cap | 1347690 | 4575 | 1 | 4575
Air Tube, 1 MVU Oil Gun, 209" Long | 1038-044-209 | 1925 | 2 | 3850
Oil Tube, 1 MVU Oil Gun, 209" Long | 1366837 | 1925 | 2 | 3850
Flame Stabilizer CW | 1349081 | 1800 | 2 | 3600
Flame Stabilizer, CCW | 1349082 | 1800 | 2 | 3600
Headstock Bushing Socket 2MV Threaded | 1001-005-01 | 222 | 14 | 3108
Headstock High Capacity | 1021-621-02 | 900 | 4 | 3600
Gaskets 1MV HD to Socket | 1366224 now 1373932 | 6 | 100 | 600
122227

## Forney Flame Scanners
Description | Cost per Item | Qty Transferred | Total Cost $
Replacement of Flame Scanner components
RM-IDD-9000 Flame Amplifier Cards | 2950 | 6 | 17700