## Sheet1
Wall Bay | Bay A | Bay B | Bay C | Bay D | Bay E | Bay F
| 26" Victualic Gaskets - Qty 21 | WCAH Blanking Plates | WCAH Handling / Shipping Plates | Purge Air Fan Modification surplus materials | OFA Damper Actuator (Spare) | Mill Bowl Deflector Plate
24" Victaulic Gaskets - Qty 10
|  |  |  | 2" RNSW SA105 150# - Qty 13 |  | Mill Expansion Joint Internal Seal Assemblies
1" NPT Square Head Plug - Qty 28
| 32" PF Pipe End Caps - Qty 16 |  |  | 1" Coupling - Qty 11 |  | Pressure Part Membrane Strips - Qty 110 (SA387 Gr 12 CL2)
|  |  |  | 12" Diameter Orifice Plate A36 - Qty 2 |  | Type A Blocks - Qty 13 (SA217-WC6)
|  |  |  | Insulation Pins - 2 Boxes - (1000+) |  | Type B Blocks - Qty 20 (SA217-WC6)
|  |  |  | 1" NPT Female X 1" BSPT Male Adapter - Qty 14 |  | Pressure Part Lifting Blocks
|  |  | WCAH Flexible Hoses - Qty 6 | 930000001369 - Air Inlet Cone to Windbox - Qty 10 | Miscellaneous Burner Fastenings
| PF Knife Gate Gaskets - Qty 109 | Flue Gas Gaskets - Core Air Manifolds | 2-BFS-PY352A & B, 2-BFS-PY353A & B, 2-BFS-PY354A & B | 171027001605 - Qty 56 |  | VTI Valve - 2-AT-V005 - 4" Class 2500# A105 Body
|  |  |  | 930000001370 - Front Plate to Slp Flange Qty 3 (3 sets of 4) | M20 x 40 - Qty 600 (Carbon Steel) | Vic Press Items Schedule 10S
| PF Pipe Victaulic Collars | Box 1 - 14" - Qty 12 | WCAH 3/4" Globe Valves - Qty 6 | 171023001505 - Qty 14 | M20 x 90 - Qty 320 (Carbon Steel) | 3/4" P569 316 Stainless Ball Valve with press fit ends - Qty 1
|  | Box 2 - 14" - Qty 31 | 2-BFS-V904A & B, 2-BFS-V905A & B, 2-BFS-V906A & B | 80683286601 - Air Inlet Tee Gasket - Qty 42 |  | 2" X 3/4" P594 Concentric Reducer - Qty 1
| Pipe Hanger Support Cuffs | Box 3 - 6" - Qty 11, 8" - Qty 10, 14" - Qty 12 | A105 - Classs 150#, FLNG ENDS, GRAPHITE PACKING | 816833419001 - Oil Mounting Flange Gasket - Qty 35 |  | 3/4" Tee - P592 - Qty 1
|  |  | 3/4" Gate Valve Class 800# Body F316 Trim 12 - Qty 1 | 806832863001 - Outer Ring Burner Gasket - Qty 39 sets of 6 |  | 2" x 2" x 3/4" P593 Tee w/reducing branch - Qty 1
806832971001 - Observations Door Gasket - Qty 224
|  |  | Fastenings - Carbon Steel (CS) / Stainless Steel (SS) | Burner Sight Glasses & Assc Gaskets |  | Stauff Pipe Clamps 12mm Qty 5
|  |  | M24 Steel Washer - Qty 400 (CS) | Ignitor assy braided hoses x 4 & Assc Parker fittings
|  |  | M16 x 40 Set Screw - Qty 100 (CS) | Misc Burner assy parts |  | Morin Actuator - Qty 1
M24 Hex Nuts - Qty 300 (CS)
|  |  | M16 Steel Washer - Qty 100 (CS) |  |  | Thermocouple Bayonet Adapter - 10+
M16 Hex Nut - Qty 100 (CS)
2nd Hand Limitorque actuators from GAH valve assys | PF Orifice Plates - Unhardened various orifice size openings | Mill Seal Air Dampers (Used) - Qty 2 | WCAH Handling Spreader Beam - Qty 1 + 1 due end wk 38 | D-Nox Burner Lifting Frames | OFA Ducts Doors (x4) | Ladder Gasket Tape - Qty 13 Rolls
Optional Flame Scanner Mounting Plates (x27)
2 new Lisega Supports for Economiser flow line rework scheduled for Spring 15 outage |  | Catalyst Lifting Frames - Qty 4
On Floor in front of rack one case containing various lengths of stainless impulse piping and assc piping and compression fittings, spare ID FAN stall probe casing stabbings and spare Howden stainless braided hoses for rotating seals ID/FD fans