## Actual
All values in MWs.
Month | Peak Load before DLC1 and Curtailable Load2 | Achieved DLC | Peak Load after DLC before Achieved Curtailable Load | Achieved CSR Curtailment - LGE | Achieved CSR Curtailment - KU | Achieved Paris Demand Response | Peak Load after Achieved DLC and Curtailable Load | Owned Capacity3 | Firm Purchase (OVEC) | CSR Curtailable Load - LGE | CSR Curtailable Load - KU | Paris Demand Response | Retirement4 | Total Supply | Theoretical Reserve Margin5
2012-01-01 | 5704 | 0 | 5704 | 0 | 0 | 0 | 5704 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 49.95%
2012-02-01 | 5395 | 0 | 5395 | 0 | 0 | 0 | 5395 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 58.54%
2012-03-01 | 4851 | 0 | 4851 | 0 | 0 | 9.571 | 4851 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 76.31%
2012-04-01 | 4756 | 0 | 4756 | 0 | 0 | 0 | 4756 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 73.93%
2012-05-01 | 5767 | 0 | 5767 | 0 | 0 | 10.139 | 5767 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 43.44%
2012-06-01 | 6944 | 88 | 6856 | 0 | 0 | 9.4025 | 6856 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 20.65%
2012-07-01 | 6911 | 95 | 6816 | 0 | 0 | 8.5061 | 6816 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 21.36%
2012-08-01 | 6603 | 0 | 6603 | 0 | 0 | 0 | 6603 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 25.28%
2012-09-01 | 6261 | 107 | 6154 | 0 | 0 | 7.6702 | 6154 | 7998 | 147 | 50 | 65 | 12 |  | 8272 | 34.42%
2012-10-01 | 4499 | 0 | 4499 | 0 | 0 | 8.1065 | 4499 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 90.11%
2012-11-01 | 5011 | 0 | 5011 | 0 | 0 | 0 | 5011 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 70.68%
2012-12-01 | 5264 | 0 | 5264 | 0 | 0 | 0 | 5264 | 8276 | 150 | 50 | 65 | 12 |  | 8553 | 62.48%
2013-01-01 | 5907 | 0 | 5907 | 0 | 0 | 9.6876 | 5907 | 8259 | 164 | 52 | 67 | 12 |  | 8554 | 44.81%
2013-02-01 | 5901 | 0 | 5901 | 0 | 0 | 9.6293 | 5901 | 8259 | 164 | 52 | 67 | 12 | 73 | 8481 | 43.72%
2013-03-01 | 5346 | 0 | 5346 | 0 | 0 | 10.5257 | 5346 | 8259 | 164 | 52 | 67 | 12 | 73 | 8481 | 58.64%
2013-04-01 | 4540 | 0 | 4540 | 0 | 0 | 0 | 4540 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 80.53%
2013-05-01 | 5654 | 0 | 5654 | 0 | 0 | 0 | 5654 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 44.96%
2013-06-01 | 6288 | 0 | 6288 | 0 | 0 | 0 | 6288 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 30.34%
2013-07-01 | 6409 | 0 | 6409 | 0 | 0 | 0 | 6409 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 27.88%
2013-08-01 | 6333 | 0 | 6333 | 0 | 0 | 9.4975 | 6333 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 29.42%
2013-09-01 | 6434 | 0 | 6434 | 0 | 0 | 9.7783 | 6434 | 7981 | 155 | 52 | 67 | 12 | 71 | 8196 | 27.39%
2013-10-01 | 5235 | 0 | 5235 | 0 | 0 | 0 | 5235 | 8259 | 164 | 52 | 67 | 12 | 73 | 8481 | 62.01%
2013-11-01 | 5165 | 0 | 5165 | 0 | 0 | 0 | 5165 | 8259 | 164 | 52 | 67 | 12 | 73 | 8481 | 64.2%
2013-12-01 | 5721 | 0 | 5721 | 0 | 0 | 0 | 5721 | 8259 | 164 | 52 | 67 | 12 | 73 | 8481 | 48.24%
2014-01-01 | 7114.3411 | 0 | 7114.3411 | 0 | 0 | 8.9467 | 7114.3411 | 7982 | 158 | 52 | 79 | 12 | 73 | 8210 | 15.4%
2014-02-01 | 6290.041 | 0 | 6290.041 | 0 | 0 | 7.6205 | 6290.041 | 7982 | 158 | 52 | 79 | 12 | 73 | 8210 | 30.52%
2014-03-01 | 5756.338 | 0 | 5756.338 | 0 | 0 | 0 | 5756.338 | 7982 | 158 | 52 | 79 | 12 | 73 | 8210 | 42.63%
2014-04-01 | 4643.2341 | 0 | 4643.2341 | 0 | 0 | 6.0437 | 4643.2341 | 7946 | 152 | 52 | 79 | 12 | 71 | 8170 | 75.95%
2014-05-01 | 5561.78 | 0 | 5561.78 | 0 | 0 | 0 | 5561.78 | 7946 | 152 | 52 | 79 | 12 | 71 | 8170 | 46.9%
2014-06-01 | 6359.8799 | 90 | 6269.8799 | 0 | 0 | 8.3722 | 6269.8799 | 7946 | 152 | 52 | 79 | 12 | 71 | 8170 | 30.31%
2014-07-01 | 6388.0811 | 75 | 6313.0811 | 0 | 0 | 0 | 6313.0811 | 7946 | 152 | 52 | 79 | 0 | 71 | 8158 | 29.22%
2014-08-01 | 6336.5789 | 82 | 6254.5789 | 0 | 0 | 0 | 6254.5789 | 7946 | 152 | 52 | 79 | 0 | 71 | 8158 | 30.43%
2014-09-01 | 6191.7783 | 0 | 6191.7783 | 0 | 0 | 0 | 6191.7783 | 7946 | 152 | 52 | 79 | 0 | 71 | 8158 | 31.76%
2014-10-01 | 5206.5739 | 0 | 5206.5739 | 0 | 0 | 0 | 5206.5739 | 7982 | 158 | 52 | 79 | 0 | 73 | 8198 | 57.45%
2014-11-01 | 5679.6331 | 0 | 5679.6331 | 0 | 0 | 0 | 5679.6331 | 7982 | 158 | 52 | 79 | 0 | 73 | 8198 | 44.34%
2014-12-01 | 5313.3521 | 0 | 5313.3521 | 0 | 0 | 0 | 5313.3521 | 7982 | 158 | 52 | 79 | 0 | 73 | 8198 | 54.29%
1DLC (Direct Load Control) includes both residential and commercial DLC programs.
2Curtailable Load includes curtailable loads associated with the Curtailable Service Rider (CSR) and Paris demand response.
3Owned capacity does not reflect unavailable capacity due to planned outages, forced outages, derates, etc.
4Retirement values through the end of 2014 reflect the retirement of Tyrone 3.
5Because outages are not reflected in Owned Capacity, the theoretical reserve margin is typically higher than the actual reserve margin.

## ForecastPeriod
All values in MWs.
Month | Peak Load before DLC1 and Curtailable Load2 | Forecasted DLC | Peak Load after DLC before Forecasted Curtailable Load | Owned Capacity3 | Firm Purchase (OVEC) | Bluegrass Capacity Purchase & Tolling Agreement | CSR Curtailable Load - LGE | CSR Curtailable Load - KU | Retirement4 | Total Supply | Theoretical Reserve Margin5
2015-07-01 | 6982.0614 | 190.3632 | 6791.6982 | 8571 | 152 | 165 | 52 | 81 | 634 | 8387 | 23.49%
2015-08-01 | 7132.6722 | 190.3632 | 6942.309 | 8571 | 152 | 165 | 52 | 81 | 634 | 8387 | 20.81%
2015-09-01 | 5755.4738 | 0 | 5755.4738 | 8571 | 152 | 165 | 52 | 81 | 634 | 8387 | 45.72%
2015-10-01 | 4423.1663 | 0 | 4423.1663 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 95.9%
2015-11-01 | 4649.9814 | 0 | 4649.9814 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 86.34%
2015-12-01 | 5523.4065 | 0 | 5523.4065 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 56.88%
2016-01-01 | 6069.2919 | 0 | 6069.2919 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 42.77%
2016-02-01 | 5680.1671 | 0 | 5680.1671 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 52.55%
2016-03-01 | 4838.2499 | 0 | 4838.2499 | 8845 | 158 | 165 | 52 | 81 | 636 | 8665 | 79.09%
2016-04-01 | 4209.4419 | 0 | 4209.4419 | 8568 | 152 | 165 | 52 | 81 | 634 | 8384 | 99.17%
2016-05-01 | 5227.1217 | 0 | 5227.1217 | 8560 | 152 | 165 | 52 | 81 | 795 | 8215 | 57.16%
2016-06-01 | 6879.3944 | 157.2614 | 6722.133 | 8560 | 152 | 165 | 52 | 81 | 795 | 8215 | 22.21%
2016-07-01 | 7095.3561 | 206 | 6889.3561 | 8560 | 152 | 165 | 52 | 81 | 795 | 8215 | 19.24%
2016-08-01 | 7202 | 206 | 6996 | 8560 | 152 | 165 | 52 | 81 | 795 | 8215 | 17.42%
1DLC (Direct Load Control) includes both residential and commercial DLC programs.
2Curtailable Load includes curtailable loads associated with the Curtailable Service Rider (CSR).
3Owned capacity includes Cane Run 7 and does not reflect unavailable capacity due to planned outages, forced outages, derates, etc.
4Retirement values reflect the cumulative retirements of Tyrone 3, Cane Run 4-6, and Green River 3-4.
5Because outages are not reflected in Owned Capacity, the theoretical reserve margin is typically higher than the actual reserve margin.