## Sheet1
LOSS-ADJUSTED LOADS (KW) AT GENERATION VOLTAGE BY CLASS
Date |  | Res | SGS | MGS Sec | MGS Pri | MGS Sub | LGS Sec | LGS Pri | LGS Sub | LGS Tran | QP Sec | QP Pri | QP Sub | QP Tran | CIP Sub | CIP Tran | MW | OL | SL | System |  | MGS | LGS
| On Peak | Secondary | Secondary | Secondary | Primary | Subtransmission | Secondary | Primary | Subtransmission | Transmission | Secondary | Primary | Subtransmission | Transmission | Subtransmission | Transmission | Secondary | Secondary | Secondary
2014-06-24 | FALSE | 212954.777 | 15147.0048 | 50945.1933 | 766.0134 | 61.2468 | 61130.8706 | 11471.092 | 3026.4181 | 61.5511 | 3078.0853 | 44496.7689 | 38602.1299 | 5826.5875 | 231779.7376 | 7149.0148 | 558.049 | 15318.2241 | 3280.6115 | 705653.3758
2014-06-24 01:00 | FALSE | 193073.9925 | 14997.7021 | 49826.3466 | 747.858 | 59.7963 | 59565.5716 | 11157.4882 | 2943.737 | 59.8914 | 3023.396 | 41883.677 | 35760.3876 | 5754.749 | 224788.6456 | 7136.6298 | 548.305 | 15331.8401 | 3283.5275 | 669943.5417
2014-06-24 02:00 | FALSE | 175602.0249 | 14641.4823 | 49582.6828 | 742.9295 | 59.4012 | 58668.9595 | 10970.7671 | 2894.4206 | 58.9044 | 3087.9692 | 39795.2818 | 32983.7854 | 6154.4017 | 220381.785 | 7136.6068 | 527.2614 | 15348.4193 | 3287.0782 | 641924.1609
2014-06-24 03:00 | FALSE | 154162.0652 | 14269.7528 | 49616.4943 | 741.8911 | 59.3167 | 60981.8166 | 11379.5604 | 3002.2014 | 61.1087 | 2650.3038 | 39708.26 | 32310.4499 | 6053.4314 | 220327.6755 | 7137.242 | 523.3376 | 15374.2626 | 3292.6129 | 621651.783
2014-06-24 04:00 | FALSE | 155049.3348 | 14032.8578 | 51824.8315 | 773.7405 | 61.8618 | 63829.8849 | 11893.0305 | 3137.5983 | 63.8678 | 2972.725 | 40008.6479 | 33663.2624 | 6182.0898 | 223454.0232 | 7140.344 | 533.804 | 0 | 0 | 614621.9043
2014-06-24 05:00 | FALSE | 154175.0526 | 13769.9313 | 52522.9079 | 784.733 | 62.7437 | 70161.1688 | 13082.2072 | 3451.4923 | 70.2462 | 3060.79 | 41074.6598 | 38874.4978 | 5537.1144 | 225305.0055 | 7132.8241 | 545.7279 | 0 | 0 | 629611.1025
2014-06-24 06:00 | FALSE | 163139.7228 | 14804.9669 | 54306.8131 | 812.6847 | 64.9822 | 72521.181 | 13543.8979 | 3573.4983 | 72.7099 | 3205.1186 | 44840.712 | 48711.777 | 6681.6401 | 223791.6256 | 7134.8975 | 523.6505 | 0 | 0 | 657729.8782
2014-06-24 07:00 | TRUE | 183039.5438 | 14915.6433 | 58918.4316 | 884.5363 | 70.7271 | 82100.8746 | 15382.3714 | 4058.55 | 82.5376 | 3272.2719 | 51039.0045 | 58697.2977 | 8351.4886 | 222602.3242 | 7125.9638 | 596.152 | 0 | 0 | 711137.7186
2014-06-24 08:00 | TRUE | 186380.1319 | 16043.7228 | 69854.5239 | 1050.709 | 84.0096 | 91725.7195 | 17218.2927 | 4542.7006 | 92.3444 | 3290.6362 | 54070.8495 | 63659.6359 | 9807.742 | 227819.0871 | 7154.2806 | 635.2765 | 0 | 0 | 753429.6624
2014-06-24 09:00 | TRUE | 212089.7008 | 18393.9665 | 77764.0157 | 1172.5253 | 93.7308 | 95963.6502 | 18057.6548 | 4763.1979 | 96.7884 | 2896.3414 | 54738.25 | 63876.076 | 8491.0315 | 227534.3495 | 7198.7353 | 636.4652 | 0 | 0 | 793766.4793
2014-06-24 10:00 | TRUE | 262505.6177 | 20128.0959 | 86134.0974 | 1302.5156 | 104.0767 | 102431.2992 | 19330.8758 | 5096.8207 | 103.4889 | 2680.9444 | 55533.2823 | 65783.1768 | 8261.5626 | 231303.804 | 7240.8632 | 638.0927 | 0 | 0 | 868578.6139
2014-06-24 11:00 | TRUE | 313129.5108 | 19718.1863 | 89706.7475 | 1358.7915 | 108.5222 | 104147.6776 | 19687.3978 | 5188.3744 | 105.2917 | 2791.1802 | 56084.9166 | 62618.0218 | 10189.3412 | 231943.8271 | 7270.9197 | 633.7119 | 0 | 0 | 924682.4183
2014-06-24 12:00 | TRUE | 329977.2298 | 21190.5013 | 91783.1949 | 1391.0127 | 111.0708 | 107576.4333 | 20346.7989 | 5360.9541 | 108.7661 | 2835.0161 | 56906.1202 | 62605.478 | 10928.9487 | 231873.9969 | 7277.2364 | 640.4013 | 0 | 0 | 950913.1595
2014-06-24 13:00 | TRUE | 364165.8127 | 22769.8873 | 94963.1298 | 1440.2824 | 114.9615 | 108025.2552 | 20446.9709 | 5385.3148 | 109.2086 | 3143.1149 | 57772.4863 | 66427.6865 | 11063.7636 | 232097.7919 | 7285.6511 | 641.1503 | 0 | 0 | 995852.4679
2014-06-24 14:00 | TRUE | 381733.3453 | 22710.1633 | 95633.0894 | 1450.9228 | 115.7878 | 110309.0357 | 20886.1421 | 5499.8932 | 111.5102 | 3516.8452 | 56428.9454 | 64163.2407 | 10783.727 | 233618.0987 | 7284.9313 | 613.9261 | 0 | 0 | 1014859.6042
2014-06-24 15:00 | TRUE | 413796.9747 | 22185.5333 | 96720.0951 | 1468.0565 | 117.1144 | 110475.2517 | 20926.7646 | 5508.6717 | 111.6672 | 3578.0582 | 54779.5228 | 57527.5749 | 7588.2199 | 230574.4528 | 7301.4533 | 644.3863 | 0 | 0 | 1033303.7974
2014-06-24 16:00 | TRUE | 417357.6273 | 20942.1661 | 92470.5792 | 1403.3374 | 111.9708 | 99952.6703 | 18930.581 | 4984.0678 | 101.0469 | 3523.9354 | 52831.3986 | 60420.7786 | 7166.0034 | 230585.4423 | 7305.2257 | 644.1348 | 0 | 0 | 1018730.9655
2014-06-24 17:00 | TRUE | 410568.0217 | 19110.3053 | 84084.5531 | 1275.5995 | 101.809 | 90354.262 | 17106.3677 | 4505.1262 | 91.3656 | 3463.6403 | 51491.5288 | 59467.9434 | 6378.7559 | 230982.2205 | 7275.0145 | 631.5378 | 0 | 0 | 986888.0512
2014-06-24 18:00 | TRUE | 401968.4412 | 18003.9495 | 75565.8814 | 1145.8888 | 91.4821 | 83403.9283 | 15783.8975 | 4158.0058 | 84.3517 | 3351.3333 | 49002.6326 | 58134.4393 | 5973.0947 | 232464.7307 | 7232.7108 | 626.2227 | 0 | 0 | 956990.9903
2014-06-24 19:00 | TRUE | 372671.5734 | 18198.9229 | 69762.4998 | 1057.1259 | 84.4221 | 82271.0723 | 15558.3265 | 4099.8659 | 83.2067 | 3268.3324 | 49726.1806 | 53152.4114 | 5682.6061 | 233706.8971 | 7218.958 | 632.8741 | 0 | 0 | 917175.2752
2014-06-24 20:00 | TRUE | 344294.2274 | 17376.7194 | 66205.8971 | 1002.6967 | 80.0911 | 74362.8908 | 14055.3033 | 3704.524 | 75.2077 | 3266.614 | 48318.2627 | 49044.9444 | 6420.7845 | 232288.6242 | 7213.1785 | 629.0437 | 15297.3154 | 3276.1336 | 886912.4586
2014-06-24 21:00 | FALSE | 322891.5129 | 17884.7443 | 64096.7974 | 970.0578 | 77.5016 | 71738.2604 | 13549.4968 | 3572.0154 | 72.5326 | 3217.1804 | 48460.9993 | 49135.3852 | 6084.6795 | 236446.377 | 7223.4298 | 676.2425 | 15295.2859 | 3275.699 | 864668.1977
2014-06-24 22:00 | FALSE | 278322.3256 | 16980.8966 | 56678.4364 | 855.9528 | 68.4154 | 65785.3226 | 12398.5807 | 3270.0412 | 66.4395 | 3178.9202 | 47849.0877 | 46791.2634 | 5571.4056 | 240151.5699 | 7213.4483 | 674.1541 | 15296.0326 | 3275.8589 | 804428.1516
2014-06-24 23:00 | FALSE | 239785.0521 | 15971.7933 | 52161.3066 | 785.8125 | 62.8248 | 61796.2918 | 11618.3349 | 3065.0229 | 62.3085 | 3151.0275 | 46626.4881 | 44179.6408 | 6466.7527 | 237884.6364 | 7204.1545 | 653.0798 | 15307.1552 | 3278.2409 | 750059.9233
KU 7/17/13
2014-07-22 | FALSE | 282898.7535 | 15325.4882 | 51295.5893 | 687.326 | 50.0717 | 54977.5968 | 10033.0774 | 2746.1656 | 60.6489 | 2686.8091 | 38255.3891 | 40437.8217 | 5313.3542 | 194611.756 | 35687.0904 | 502.1766 | 12009.7725 | 2553.016 | 750131.9032 | 1.1981 | 1.0476 | 1.0437 |  | 7587.53 | 1.0182
2014-07-22 01:00 | FALSE | 234632.4718 | 14812.8278 | 48965.6743 | 654.0901 | 47.6611 | 53009.9511 | 9644.26 | 2640.3297 | 58.3433 | 2697.7742 | 34594.9683 | 38024.2732 | 5181.9458 | 195449.7721 | 35610.6148 | 486.2938 | 12026.6782 | 2556.6098 | 691094.5395 | 1.1038 | 1 | 1.0064 |  | 7579.18 | 1.0171
2014-07-22 02:00 | FALSE | 210037.9691 | 14490.741 | 50277.7928 | 670.3903 | 48.8511 | 52799.051 | 9588.3372 | 2625.1394 | 58.0202 | 2140.8618 | 33275.8479 | 36870.3251 | 5975.9623 | 197942.2227 | 35660.8257 | 477.5809 | 12041.5359 | 2559.7682 | 667541.2225 | 1.0662 | 1.0268 | 1.0023 |  | 7451.93 | 1
2014-07-22 03:00 | FALSE | 187018.9858 | 14221.7364 | 49366.9359 | 656.8175 | 47.8616 | 52675.4342 | 9545.1414 | 2613.2905 | 57.7721 | 2091.2422 | 32695.4065 | 36533.3748 | 6048.772 | 196751.3659 | 35652.3469 | 486.047 | 12060.8341 | 2563.8706 | 641087.2354 | 1.0239 | 1.0082 | 1 |  | 7470.56 | 1.0025
2014-07-22 04:00 | FALSE | 181977.3038 | 14016.9831 | 50672.6885 | 673.3051 | 49.0621 | 55893.5315 | 10114.9836 | 2769.2503 | 61.2272 | 2103.5576 | 31053.0327 | 36914.5094 | 5093.5318 | 196149.1261 | 35655.4601 | 461.8728 | 2012.2088 | 427.7518 | 626099.3861 | 1 | 1.0349 | 1.0611 |  | 7939.87 | 1.0655
2014-07-22 05:00 | FALSE | 184649.6344 | 14032.2961 | 52058.0273 | 692.3429 | 50.4508 | 63050.6662 | 11420.5997 | 3126.7887 | 69.124 | 2157.9042 | 31929.117 | 39140.1406 | 6506.2946 | 195800.9199 | 35663.9789 | 452.2309 | 0 | 0 | 640800.5161 | 1.0235 | 1.0632 | 1.197 |  | 9104.15 | 1.2217
2014-07-22 06:00 | FALSE | 195810.3417 | 14117.2824 | 54559.0868 | 726.6582 | 52.953 | 64644.7673 | 11726.3309 | 3210.5921 | 70.9591 | 2119.9766 | 35194.3895 | 48016.6877 | 6799.9834 | 194003.7616 | 35855.4335 | 432.5033 | 0 | 0 | 667341.707 | 1.0659 | 1.1142 | 1.2272 |  | 11795.38 | 1.5829
2014-07-22 07:00 | TRUE | 231897.3715 | 14572.8688 | 57662.2661 | 770.7208 | 56.1578 | 71541.2494 | 13023.4948 | 3565.3591 | 78.7618 | 2144.6867 | 41830.6933 | 51803.2416 | 9988.734 | 188790.875 | 35815.8949 | 436.346 | 0 | 0 | 723978.7217 | 1.1563 | 1.1776 | 1.3582 |  | 12627.1 | 1.6945
2014-07-22 08:00 | TRUE | 257757.9715 | 16429.3606 | 68702.7021 | 920.8097 | 67.0774 | 82638.9781 | 15085.0479 | 4128.7244 | 91.1511 | 2189.6962 | 45442.5318 | 55599.274 | 11536.9849 | 192296.6497 | 35379.8802 | 411.4533 | 0 | 0 | 788678.293 | 1.2597 | 1.4031 | 1.5688 |  | 13070.91 | 1.754
2014-07-22 09:00 | TRUE | 262766.3297 | 18490.1127 | 80925.4613 | 1085.6367 | 79.0738 | 84129.814 | 15371.4531 | 4206.5459 | 92.8454 | 2476.0809 | 46328.9048 | 54974.209 | 11254.5337 | 195435.1039 | 35337.0692 | 437.4305 | 0 | 0 | 813390.6047 | 1.2991 | 1.6527 | 1.5971 |  | 13604.46 | 1.8256
2014-07-22 10:00 | TRUE | 311953.2178 | 19632.9453 | 85736.4615 | 1152.5307 | 83.9087 | 88522.6542 | 16207.1641 | 4433.2734 | 97.7907 | 2481.5131 | 46238.9105 | 53522.4371 | 11279.4878 | 198386.0642 | 35508.6534 | 456.9275 | 0 | 0 | 875693.9399 | 1.3987 | 1.751 | 1.6805 |  | 13877.56 | 1.8623
2014-07-22 11:00 | TRUE | 377857.6982 | 21136.9136 | 89200.2341 | 1201.0613 | 87.386 | 89445.3816 | 16402.9803 | 4483.9654 | 98.8366 | 2506.0559 | 47118.2621 | 55927.6248 | 10680.0318 | 196143.1666 | 35734.7355 | 424.6918 | 0 | 0 | 948449.0256 | 1.5149 | 1.8217 | 1.698 |  | 14061.79 | 1.887
2014-07-22 12:00 | TRUE | 449054.4296 | 21157.1983 | 90822.1432 | 1224.2554 | 89.004 | 94659.6948 | 17378.4503 | 4746.9157 | 104.5449 | 2538.1788 | 47629.3884 | 55749.0028 | 8186.9187 | 198981.2305 | 35910.2441 | 448.8816 | 0 | 0 | 1028680.4812 | 1.643 | 1.8548 | 1.797 |  | 14015.09 | 1.8807
2014-07-22 13:00 | TRUE | 470300.2877 | 22203.8105 | 95201.3878 | 1283.6482 | 93.2944 | 96835.9494 | 17783.0002 | 4855.9855 | 106.908 | 2571.9753 | 47979.4833 | 57593.6061 | 8835.3676 | 201005.5437 | 35988.7749 | 478.7648 | 0 | 0 | 1063117.7876 | 1.698 | 1.9442 | 1.8384 |  | 13934.44 | 1.8699
2014-07-22 14:00 | TRUE | 522761.9624 | 23369.7093 | 94899.2297 | 1280.0596 | 92.9775 | 98946.2952 | 18177.4397 | 4960.7005 | 109.1532 | 3218.241 | 47053.5618 | 56491.5126 | 9384.4033 | 200991.7977 | 36042.2023 | 466.8091 | 0 | 0 | 1118246.055 | 1.7861 | 1.9381 | 1.8784 |  | 13411.84 | 1.7998
2014-07-22 15:00 | TRUE | 510802.3959 | 23911.5063 | 93909.223 | 1266.5949 | 92.0177 | 96320.9428 | 17693.5865 | 4829.6118 | 106.2939 | 2692.1024 | 44271.182 | 52674.5642 | 8267.9716 | 201564.056 | 36043.5108 | 484.3517 | 0 | 0 | 1094929.9114 | 1.7488 | 1.9179 | 1.8286 |  | 12087.68 | 1.6221
2014-07-22 16:00 | TRUE | 510800.9993 | 23066.087 | 90440.1638 | 1219.6994 | 88.6216 | 87482.0102 | 16068.5201 | 4386.571 | 96.565 | 2637.1007 | 45804.4056 | 49013.5598 | 8024.4716 | 198911.2328 | 36027.1612 | 478.8869 | 0 | 0 | 1074546.0558 | 1.7163 | 1.847 | 1.6608 |  | 11452.61 | 1.5369
2014-07-22 17:00 | TRUE | 547973.8996 | 21843.4965 | 88129.0607 | 1188.7394 | 86.3439 | 83237.5691 | 15291.5871 | 4173.1132 | 91.8406 | 2580.9637 | 46572.4146 | 47161.3159 | 6241.4063 | 199309.8094 | 35993.3669 | 477.3445 | 0 | 0 | 1100352.2714 | 1.7575 | 1.7998 | 1.5802 |  | 10284.62 | 1.3801
2014-07-22 18:00 | TRUE | 582336.8984 | 20053.7964 | 81363.1891 | 1097.5839 | 79.7074 | 78224.796 | 14372.0881 | 3921.4215 | 86.2793 | 2510.2729 | 45642.4159 | 51629.3648 | 4501.1816 | 199984.8909 | 36099.8092 | 468.3077 | 0 | 0 | 1122372.0031 | 1.7926 | 1.6616 | 1.485 |  | 9907.58 | 1.3295
2014-07-22 19:00 | TRUE | 503809.8728 | 18772.7009 | 76934.9239 | 1037.2817 | 75.397 | 74937.3618 | 13760.5962 | 3758.0059 | 82.7613 | 2528.8586 | 45148.7753 | 47869.5198 | 4014.7003 | 199823.9417 | 36165.8651 | 441.5982 | 2009.8271 | 427.2455 | 1031599.233 | 1.6477 | 1.5712 | 1.4226 |  | 9633.73 | 1.2928
2014-07-22 20:00 | TRUE | 426372.2697 | 17857.0469 | 72900.2641 | 982.015 | 71.4336 | 71357.8988 | 13091.721 | 3578.0301 | 78.86 | 2729.4699 | 44594.0784 | 45767.6066 | 4590.4057 | 199575.9412 | 36146.0139 | 462.9787 | 12032.6104 | 2557.8709 | 954746.5147 | 1.5249 | 1.4888 | 1.3547 |  | 9249.89 | 1.2413
2014-07-22 21:00 | FALSE | 487571.2399 | 17499.186 | 68713.4902 | 926.2644 | 67.3441 | 68966.4716 | 12661.8342 | 3458.7885 | 76.1808 | 2903.3278 | 44806.3984 | 47681.2091 | 5809.6659 | 207238.8325 | 35995.2124 | 472.2546 | 12053.8707 | 2562.3904 | 1019463.9612 | 1.6283 | 1.4033 | 1.3093 |  | 8804.78 | 1.1815
2014-07-22 22:00 | FALSE | 429857.5499 | 16611.5568 | 60615.04 | 816.2869 | 59.3919 | 64063.6471 | 11750.0516 | 3212.0839 | 70.805 | 2280.5935 | 41738.232 | 42411.609 | 6093.4153 | 208763.1356 | 35914.7312 | 446.991 | 12027.9547 | 2556.8812 | 939289.9566 | 1.5002 | 1.2379 | 1.2162 |  | 8389.07 | 1.1258
2014-07-22 23:00 | FALSE | 367567.4555 | 16221.5002 | 55933.8889 | 752.0636 | 54.7542 | 58518.2908 | 10716.1032 | 2931.3144 | 64.6733 | 2747.5022 | 38471.2208 | 38574.5088 | 5593.8685 | 203666.5436 | 35955.051 | 455.2372 | 12008.8782 | 2552.8259 | 852785.6803 | 1.3621 | 1.1423 | 1.1109 |  | 8254.52 | 1.1077
2014-08-20 | FALSE | 210612.7776 | 14186.4464 | 48110.5738 | 661.1607 | 44.9992 | 55438.2018 | 9862.306 | 3129.4193 | 60.3064 | 3064.7269 | 41222.0373 | 36475.9745 | 5051.2678 | 228515.4935 | 38590.235 | 486.2799 | 8728.4109 | 1991.7497 | 706232.3668 | 1.1077 | 1.0235 | 1.0227 |  | 8068.77 | 1.0076
2014-08-20 01:00 | FALSE | 202641.8585 | 14364.0384 | 47007.3409 | 645.4596 | 43.9295 | 54563.2962 | 9698.5493 | 3077.3852 | 59.3166 | 3085.5214 | 38079.1383 | 33872.0603 | 5048.0857 | 223712.6898 | 38369.0041 | 412.7186 | 8731.3814 | 1992.4275 | 685404.2013 | 1.075 | 1 | 1.0065 |  | 8007.8 | 1
2014-08-20 02:00 | FALSE | 187844.2509 | 13908.7101 | 47237.4687 | 647.6798 | 44.0798 | 54208.9331 | 9621.6034 | 3052.9129 | 58.8566 | 3026.1175 | 36878.0702 | 34152.8349 | 5200.3361 | 219283.6485 | 38320.0713 | 401.046 | 8739.9277 | 1994.3777 | 664620.9252 | 1.0424 | 1.0049 | 1 |  | 8011.91 | 1.0005
2014-08-20 03:00 | FALSE | 183153.1966 | 14060.3559 | 47633.2881 | 652.9065 | 44.4358 | 55498.7481 | 9847.5109 | 3124.6086 | 60.24 | 2813.2842 | 36735.1301 | 33521.2581 | 4749.1282 | 220485.7448 | 38211.3545 | 422.0578 | 8742.0531 | 1994.8627 | 661750.164 | 1.0379 | 1.0133 | 1.0238 |  | 8075.55 | 1.0085
2014-08-20 04:00 | FALSE | 165062.4888 | 13584.6283 | 50432.2793 | 690.0544 | 46.9626 | 58421.0841 | 10347.7798 | 3283.2485 | 63.3059 | 3022.4372 | 36184.3291 | 33054.1015 | 4425.6015 | 222203.5127 | 29165.9941 | 426.2351 | 5835.9767 | 1331.7206 | 637581.7401 | 1 | 1.0729 | 1.0777 |  | 8868.83 | 1.1075
2014-08-20 05:00 | FALSE | 179546.5623 | 13469.1651 | 51667.9329 | 708.0666 | 48.1901 | 64289.8828 | 11405.0832 | 3618.8428 | 69.767 | 3054.6187 | 35791.6104 | 37370.3796 | 5458.0475 | 218255.4791 | 30898.3062 | 394.0386 | 0 | 0 | 656045.973 | 1.029 | 1.0991 | 1.186 |  | 11012.97 | 1.3753
2014-08-20 06:00 | FALSE | 217238.3699 | 13979.2168 | 54108.2417 | 744.579 | 50.6749 | 70840.3068 | 12619.1651 | 4004.058 | 77.1447 | 3192.2853 | 41938.3783 | 46033.9827 | 6577.4156 | 220264.8527 | 39507.195 | 429.7235 | 0 | 0 | 731605.59 | 1.1475 | 1.1511 | 1.3068 |  | 14838.83 | 1.853
2014-08-20 07:00 | TRUE | 191874.4212 | 14434.77 | 58110.084 | 798.9019 | 54.3731 | 79607.3386 | 14167.6517 | 4495.4822 | 86.6162 | 3241.8305 | 46141.7109 | 52583.9959 | 8199.2564 | 215182.6372 | 38019.6516 | 481.3682 | 0 | 0 | 727480.0896 | 1.141 | 1.2362 | 1.4685 |  | 17596.43 | 2.1974
2014-08-20 08:00 | TRUE | 164432.236 | 14892.3776 | 66397.2944 | 912.2296 | 62.0889 | 90337.6753 | 16066.6567 | 5098.2705 | 98.2167 | 3246.5313 | 49533.4234 | 57966.965 | 8210.2008 | 221871.0444 | 37558.0342 | 496.9256 | 0 | 0 | 737180.1704 | 1.1562 | 1.4125 | 1.6665 |  | 19106.9 | 2.386
2014-08-20 09:00 | TRUE | 168782.3753 | 16194.7655 | 71281.9919 | 980.3958 | 66.7274 | 93730.4502 | 16688.0329 | 5295.3594 | 101.9874 | 2794.9477 | 52849.6843 | 63269.0455 | 8117.6205 | 223671.5931 | 37464.301 | 487.7571 | 0 | 0 | 761777.035 | 1.1948 | 1.5164 | 1.7291 |  | 19920.84 | 2.4877
2014-08-20 10:00 | TRUE | 232329.6523 | 18377.4242 | 80453.6664 | 1112.0092 | 75.6539 | 102613.975 | 18359.9671 | 5823.4738 | 112.0634 | 2564.0978 | 53136.0452 | 65509.799 | 8749.9547 | 223184.7024 | 37595.5904 | 546.1397 | 0 | 0 | 850544.2144 | 1.334 | 1.7115 | 1.8929 |  | 20695.68 | 2.5844
2014-08-20 11:00 | TRUE | 257140.2942 | 19456.8585 | 83890.6444 | 1161.0076 | 78.9687 | 105296.1049 | 18864.1248 | 5981.9721 | 115.0805 | 2584.1947 | 53284.0487 | 60579.6576 | 7446.8808 | 225202.4132 | 37848.3638 | 547.3319 | 0 | 0 | 879477.9465 | 1.3794 | 1.7846 | 1.9424 |  | 20776.93 | 2.5946
2014-08-20 12:00 | TRUE | 281937.6172 | 19241.3703 | 86759.5206 | 1202.0268 | 81.738 | 110984.7824 | 19905.0498 | 6310.455 | 121.3495 | 2647.0708 | 53814.9274 | 60299.8608 | 7300.975 | 229950.9292 | 38090.3774 | 561.098 | 0 | 0 | 919209.1484 | 1.4417 | 1.8457 | 2.0474 |  | 20356.34 | 2.5421
2014-08-20 13:00 | TRUE | 319260.313 | 20927.9357 | 89553.8699 | 1242.0179 | 84.4272 | 108252.596 | 19435.0047 | 6159.2364 | 118.3949 | 2703.9295 | 56005.3418 | 57810.6305 | 9000.9041 | 231784.0412 | 38243.2013 | 542.8944 | 0 | 0 | 961124.7384 | 1.5075 | 1.9051 | 1.997 |  | 19854.24 | 2.4794
2014-08-20 14:00 | TRUE | 356414.0794 | 20748.0759 | 92674.4958 | 1286.3712 | 87.4094 | 109072.8598 | 19598.6258 | 6208.7632 | 119.2939 | 2657.9114 | 56006.1929 | 59087.5603 | 9154.8838 | 232364.9205 | 38407.277 | 506.4468 | 0 | 0 | 1004395.1672 | 1.5753 | 1.9715 | 2.0121 |  | 18670.55 | 2.3315
2014-08-20 15:00 | TRUE | 387919.7124 | 20557.924 | 93522.6977 | 1298.7628 | 88.2274 | 105507.7007 | 18967.0508 | 6007.0488 | 115.3977 | 2628.3768 | 54020.7085 | 57698.335 | 8062.1003 | 227776.5612 | 38510.0468 | 527.1777 | 0 | 0 | 1023207.8287 | 1.6048 | 1.9895 | 1.9463 |  | 16385.31 | 2.0462
2014-08-20 16:00 | TRUE | 437987.2777 | 19563.7088 | 90437.5044 | 1256.5165 | 85.3313 | 95251.7045 | 17131.4937 | 5424.0422 | 104.161 | 2875.5873 | 51971.4152 | 60195.8587 | 9036.5863 | 227839.8545 | 38538.0972 | 513.9743 | 0 | 0 | 1058213.1135 | 1.6597 | 1.9239 | 1.7571 |  | 14088.41 | 1.7593
2014-08-20 17:00 | TRUE | 439855.9375 | 17925.935 | 84695.3674 | 1176.5308 | 79.9117 | 85716.9364 | 15413.9209 | 4880.9865 | 93.7453 | 3436.6277 | 52714.4565 | 61040.9658 | 8169.5349 | 229083.1818 | 38533.115 | 463.0134 | 0 | 0 | 1043280.1666 | 1.6363 | 1.8017 | 1.5812 |  | 12503.35 | 1.5614
2014-08-20 18:00 | TRUE | 423984.8901 | 17365.9387 | 77020.2534 | 1069.456 | 72.6617 | 79810.1833 | 14345.6127 | 4544.1151 | 87.308 | 3316.0602 | 51387.3854 | 59193.5185 | 8805.9368 | 228418.3962 | 38640.7927 | 452.9372 | 0 | 0 | 1008515.4461 | 1.5818 | 1.6385 | 1.4723 |  | 11393.13 | 1.4228
2014-08-20 19:00 | TRUE | 387904.4278 | 17560.0147 | 72524.7494 | 1006.34 | 68.3966 | 74500.4222 | 13381.97 | 4240.3095 | 81.5255 | 3237.1022 | 48227.4901 | 44877.6171 | 5610.8837 | 224854.8462 | 38568.7136 | 452.376 | 5808.6271 | 1325.4797 | 944231.2914 | 1.481 | 1.5428 | 1.3743 |  | 10919.89 | 1.3637
2014-08-20 20:00 | TRUE | 390453.3504 | 15049.1208 | 70152.2085 | 973.3056 | 66.1565 | 67691.0603 | 12157.4373 | 3852.5886 | 74.0689 | 3247.7014 | 49404.7962 | 47196.555 | 5603.0277 | 229381.0855 | 38645.0281 | 415.1314 | 8713.634 | 1988.3777 | 945064.6338 | 1.4823 | 1.4924 | 1.2487 |  | 9973.92 | 1.2455
2014-08-20 21:00 | FALSE | 331716.5226 | 15360.4043 | 61840.1278 | 856.3777 | 58.2447 | 63692.7533 | 11417.9417 | 3620.4837 | 69.6498 | 3170.9867 | 49954.2909 | 47211.8823 | 5971.9414 | 236351.793 | 38643.1805 | 443.0326 | 8708.582 | 1987.2249 | 881075.4199 | 1.3819 | 1.3155 | 1.1749 |  | 9369.56 | 1.1701
2014-08-20 22:00 | FALSE | 278505.7515 | 14750.7883 | 55991.5476 | 773.3693 | 52.6229 | 58553.1796 | 10469.303 | 3321.1852 | 63.9311 | 3038.4716 | 48867.7061 | 45490.622 | 6160.3187 | 241979.6788 | 38692.7731 | 456.7206 | 8711.9991 | 1988.0046 | 817867.9733 | 1.2828 | 1.1911 | 1.0801 |  | 8656.08 | 1.081
2014-08-20 23:00 | FALSE | 240334.4488 | 14961.5879 | 50963.6247 | 702.0362 | 47.7789 | 54354.9016 | 9692.6102 | 3075.4269 | 59.2343 | 3041.1918 | 46609.383 | 41285.6971 | 5961.1163 | 238788.6232 | 38705.6987 | 477.9684 | 8720.0385 | 1989.8391 | 759771.2058 | 1.1916 | 1.0842 | 1.0027 |  | 8215.64 | 1.026
2014-09-27 | FALSE | 143539.0639 | 12003.8315 | 37256.6446 | 504.7839 | 28.6736 | 45587.2686 | 7907.4356 | 2162.3398 | 51.1905 | 2649.9029 | 35877.2228 | 29327.2857 | 5349.7013 | 161639.2319 | 30854.5562 | 411.2783 | 7355.7329 | 1662.6086 | 524168.7526
2014-09-27 01:00 | FALSE | 130418.2052 | 12192.2664 | 36431.1723 | 492.3215 | 27.9608 | 45253.9682 | 7829.2959 | 2140.5932 | 50.6837 | 2573.6371 | 34350.1519 | 28414.6279 | 4911.0579 | 157295.8254 | 30880.8808 | 414.1963 | 7374.1743 | 1666.7769 | 502717.7958
2014-09-27 02:00 | FALSE | 122643.9891 | 11964.9244 | 35855.3385 | 483.6819 | 27.4667 | 45254.6889 | 7815.5579 | 2136.574 | 50.5915 | 2506.6118 | 33710.3221 | 27665.1591 | 4596.1419 | 157337.0428 | 30928.1998 | 392.7611 | 7387.4361 | 1669.7745 | 492426.2622
2014-09-27 03:00 | FALSE | 112847.7038 | 12150.8927 | 36102.5752 | 485.945 | 27.5909 | 45213.2888 | 7791.2194 | 2129.585 | 50.43 | 2044.8066 | 33724.9299 | 26910.3472 | 5237.0498 | 156522.3023 | 30931.5828 | 408.5449 | 7404.0967 | 1673.5402 | 481656.4311
2014-09-27 04:00 | FALSE | 107263.3316 | 12023.7697 | 37568.0066 | 505.2975 | 28.6881 | 45842.6261 | 7893.8507 | 2157.5204 | 51.0926 | 2601.8283 | 33269.8744 | 26566.6039 | 5042.2054 | 157222.7389 | 30966.9589 | 405.7658 | 7409.7352 | 1674.8147 | 478494.7088
2014-09-27 05:00 | FALSE | 107686.8908 | 12109.1803 | 39873.2761 | 536.5318 | 30.4627 | 50750.92 | 8742.7463 | 2389.632 | 56.5892 | 2693.2205 | 33185.2315 | 26475.7959 | 6442.8587 | 155579.4224 | 31018.608 | 404.3877 | 2468.7891 | 558.0178 | 481002.5608
2014-09-27 06:00 | FALSE | 112349.239 | 11943.6897 | 40282.6783 | 542.3327 | 30.7939 | 51752.0459 | 8920.0101 | 2438.2329 | 57.7373 | 2091.4335 | 33935.0095 | 26353.4535 | 6827.3103 | 158272.7806 | 31108.0872 | 417.9198 | 0 | 0 | 487322.7543
2014-09-27 07:00 | FALSE | 131979.9675 | 12019.1263 | 42434.4633 | 574.1346 | 32.61 | 53260.7975 | 9225.5669 | 2522.5564 | 59.7264 | 2524.3278 | 34858.1642 | 23384.3124 | 6881.9694 | 157872.3844 | 31272.2021 | 396.2118 | 0 | 0 | 509298.5211
2014-09-27 08:00 | FALSE | 165508.222 | 11458.7517 | 45627.549 | 620.8686 | 35.2743 | 53087.9627 | 9248.2375 | 2529.4638 | 59.8745 | 2528.558 | 35007.86 | 22322.5147 | 6811.5517 | 158514.5587 | 31331.6272 | 405.2667 | 0 | 0 | 545098.1411
2014-09-27 09:00 | FALSE | 187483.6579 | 12967.4888 | 50865.9013 | 694.6164 | 39.4683 | 53884.3888 | 9420.4499 | 2576.8296 | 60.9824 | 2597.441 | 35119.6395 | 22483.5941 | 6963.6469 | 157830.6342 | 31554.7466 | 390.4091 | 0 | 0 | 574933.8946
2014-09-27 10:00 | FALSE | 197135.0516 | 13821.2087 | 54993.2584 | 752.3418 | 42.7494 | 57462.5154 | 10064.2353 | 2753 | 65.1393 | 2601.4317 | 35701.1364 | 22307.7024 | 6951.1831 | 160935.8992 | 31661.9481 | 391.7058 | 0 | 0 | 597640.5067
2014-09-27 11:00 | FALSE | 246915.6681 | 14448.6637 | 59149.1983 | 812.6389 | 46.1709 | 58219.2132 | 10240.1299 | 2800.8313 | 66.2396 | 2223.6892 | 36128.4261 | 22501.3978 | 6015.8945 | 161495.7829 | 31727.917 | 398.2121 | 0 | 0 | 653190.0736
2014-09-27 12:00 | FALSE | 235243.4804 | 14051.5528 | 60540.9644 | 831.3192 | 47.2338 | 60797.6246 | 10687.9759 | 2923.4188 | 69.1436 | 2273.9673 | 35517.4432 | 23024.3594 | 4724.7439 | 160495.8034 | 31783.1933 | 392.787 | 0 | 0 | 643405.011
2014-09-27 13:00 | FALSE | 230163.368 | 15056.5723 | 61006.8199 | 837.6273 | 47.5921 | 62373.9093 | 10963.918 | 2998.8884 | 70.9292 | 2672.0366 | 35905.7253 | 23068.0443 | 5162.9083 | 160458.9118 | 31770.6148 | 414.6426 | 0 | 0 | 642972.5082
2014-09-27 14:00 | FALSE | 257862.2796 | 15664.1742 | 62365.2884 | 857.7671 | 48.7317 | 60674.2481 | 10683.6888 | 2921.9618 | 69.0947 | 2771.832 | 34958.2312 | 22559.5517 | 5385.654 | 159452.3657 | 31888.6291 | 441.0119 | 0 | 0 | 668604.5102
2014-09-27 15:00 | FALSE | 270751.687 | 16060.4491 | 62443.0737 | 859.3596 | 48.8195 | 58572.0105 | 10319.7975 | 2822.2837 | 66.7311 | 2707.93 | 35599.6238 | 22475.873 | 5224.0379 | 159472.7238 | 31972.7182 | 443.4019 | 0 | 0 | 679840.5202
2014-09-27 16:00 | FALSE | 293762.7615 | 14627.6977 | 62079.028 | 855.2914 | 48.5819 | 60004.1804 | 10583.7863 | 2894.0916 | 68.4167 | 2735.3598 | 35587.7087 | 21935.0335 | 5239.8588 | 158059.6491 | 32077.2715 | 426.9894 | 0 | 0 | 700985.7062
2014-09-27 17:00 | FALSE | 292408.4051 | 13671.9306 | 59765.6629 | 823.2439 | 46.7633 | 60393.5316 | 10650.1958 | 2912.359 | 68.8493 | 2516.7697 | 35555.0733 | 21839.2831 | 4769.7687 | 160427.3343 | 31838.5508 | 440.6324 | 0 | 0 | 698128.3538
2014-09-27 18:00 | FALSE | 265112.873 | 13769.8684 | 56621.46 | 778.7444 | 44.2421 | 57906.8951 | 10196.1104 | 2788.5968 | 65.9424 | 2398.3402 | 35745.5998 | 22029.4023 | 4989.4114 | 159094.012 | 31292.1727 | 437.2113 | 2421.2397 | 547.2703 | 666239.3923
2014-09-27 19:00 | FALSE | 272444.8244 | 13476.2811 | 55173.5092 | 759.2698 | 43.1338 | 56804.8258 | 10007.8573 | 2736.9939 | 64.7151 | 2621.841 | 35239.4588 | 22408.2513 | 4379.0151 | 160111.287 | 30311.1881 | 434.0915 | 7261.6008 | 1641.332 | 675919.4759
2014-09-27 20:00 | FALSE | 260051.9725 | 13326.0075 | 53371.6091 | 733.835 | 41.6919 | 55559.7547 | 9779.9991 | 2674.8718 | 63.2556 | 2595.7014 | 34097.0771 | 22135.709 | 4862.0542 | 160376.2828 | 30201.0529 | 445.3806 | 7264.6814 | 1642.0284 | 659222.9649
2014-09-27 21:00 | FALSE | 216675.0988 | 13087.5823 | 49504.1629 | 678.3093 | 38.542 | 53089.2137 | 9312.8525 | 2547.4194 | 60.2697 | 2571.3166 | 33400.6879 | 21918.2898 | 5158.4411 | 158332.9822 | 30147.8604 | 428.0296 | 7280.8065 | 1645.6731 | 605877.5378
2014-09-27 22:00 | FALSE | 188713.9789 | 12362.0471 | 44763.1894 | 611.2554 | 34.7314 | 49938.276 | 8730.2278 | 2388.0061 | 56.516 | 2585.5181 | 33582.8895 | 22001.0405 | 4950.173 | 156553.4468 | 30043.5494 | 445.5192 | 7300.776 | 1650.1868 | 566711.3272
2014-09-27 23:00 | FALSE | 166142.4353 | 12313.3861 | 39368.5279 | 535.5671 | 30.4265 | 46830.1756 | 8156.0686 | 2230.6438 | 52.8069 | 2640.4347 | 32423.2662 | 21756.6183 | 4559.459 | 151987.7224 | 30007.4822 | 434.6997 | 7325.1185 | 1655.6889 | 528450.5277
[25 empty] | KU 12/12/2013 |  | KPC
2013-12-13 | FALSE | 533311.4597 | 21376.6641 | 65346.7084 | 1305.2433 | 20.5261 | 59315.6547 | 12224.8437 | 4422.3831 | 78.9451 | 3073.709 | 36278.8424 | 38476.9271 | 12185.7116 | 232364.3062 | 30796.5807 | 440.7238 | 7585.4203 | 1675.579 | 1060280.2281 | 1.2073 | 1.1476 | 1.1172 |  | 7629.45 | 1
2013-12-13 01:00 | FALSE | 574626.792 | 24125.5086 | 66377.7882 | 1326.251 | 20.8468 | 59714.1535 | 12310.805 | 4451.4198 | 79.4282 | 3227.0151 | 34154.1781 | 39507.9271 | 13300.4909 | 231344.9854 | 30777.4482 | 449.0167 | 7596.907 | 1678.1164 | 1105069.078 | 1.2583 | 1.1657 | 1.1248 |  | 7909.14 | 1.0367
2013-12-13 02:00 | FALSE | 566753.0107 | 22443.8982 | 67376.9129 | 1346.1484 | 21.1613 | 60066.367 | 12382.8158 | 4477.8265 | 79.9143 | 3121.876 | 32737.0182 | 38210.6965 | 9576.5464 | 226266.7954 | 30728.8291 | 440.4219 | 7592.147 | 1677.0649 | 1085299.4505 | 1.2358 | 1.1832 | 1.1314 |  | 8055.33 | 1.0558
2013-12-13 03:00 | FALSE | 558816.6172 | 24669.7313 | 67908.6518 | 1356.7458 | 21.3284 | 61894.3693 | 12759.4143 | 4614.1147 | 82.3523 | 3077.5788 | 32471.1148 | 37443.6204 | 9487.1929 | 224013.458 | 30713.0893 | 428.1364 | 7590.5725 | 1676.7171 | 1079024.8051 | 1.2287 | 1.1926 | 1.1658 |  | 8253.13 | 1.0817
2013-12-13 04:00 | FALSE | 590760.009 | 23149.272 | 72532.2786 | 1449.4032 | 22.7751 | 66380.0901 | 13686.8006 | 4947.3243 | 88.2576 | 3053.6433 | 33471.6902 | 37090.6233 | 9186.3277 | 227698.3263 | 30702.8416 | 445.4584 | 7603.1168 | 1679.4881 | 1123947.7261 | 1.2798 | 1.2738 | 1.2503 |  | 8620.11 | 1.1298
2013-12-13 05:00 | FALSE | 631705.2506 | 24573.6501 | 72911.2323 | 1457.1884 | 22.8842 | 73762.4832 | 15211.1842 | 5495.1728 | 97.9779 | 3091.9271 | 33968.8864 | 37689.3352 | 9683.9057 | 226915.644 | 30739.1038 | 439.9916 | 7619.107 | 1683.0202 | 1177067.9448 | 1.3403 | 1.2804 | 1.3894 |  | 9673.53 | 1.2679
2013-12-13 06:00 | FALSE | 692408.1398 | 23169.6927 | 78292.7966 | 1564.7889 | 24.5507 | 84155.4245 | 17354.907 | 6263.6578 | 111.593 | 3217.801 | 38562.1827 | 38196.0063 | 14325.3614 | 221031.1246 | 30731.4468 | 447.8888 | 7008.2686 | 1548.0893 | 1258413.7202 | 1.4329 | 1.3749 | 1.5851 |  | 12687.53 | 1.663
2013-12-13 07:00 | TRUE | 693420.2103 | 24726.5993 | 81901.1474 | 1636.9068 | 25.6795 | 91897.5513 | 18951.5229 | 6839.1908 | 121.8299 | 3315.403 | 41237.8162 | 41156.9616 | 17549.5504 | 219635.323 | 30641.8199 | 494.4075 | 0 | 0 | 1273551.9197 | 1.4502 | 1.4383 | 1.7309 |  | 15888.79 | 2.0826
2013-12-13 08:00 | TRUE | 668089.7018 | 25148.6067 | 86672.5224 | 1732.2861 | 27.1812 | 95683.6879 | 19732.5089 | 7122.4481 | 126.8794 | 3368.5327 | 42306.9724 | 42325.9474 | 13201.205 | 227130.7428 | 30603.8771 | 472.6105 | 0 | 0 | 1263745.7106 | 1.439 | 1.5221 | 1.8023 |  | 17686.6 | 2.3182
2013-12-13 09:00 | TRUE | 578150.8341 | 23455.1407 | 85478.6733 | 1708.2256 | 26.8332 | 93187.7701 | 19215.5405 | 6943.4754 | 123.8167 | 3196.6977 | 41259.5273 | 41953.3862 | 13352.7497 | 226684.1627 | 30511.5756 | 495.9588 | 0 | 0 | 1165744.3675 | 1.3274 | 1.5011 | 1.7552 |  | 18001.97 | 2.3595
2013-12-13 10:00 | TRUE | 533630.859 | 23869.0292 | 81684.1101 | 1632.029 | 25.6513 | 90267.316 | 18609.171 | 6728.3194 | 120.0344 | 2960.6047 | 41313.6339 | 42509.7679 | 9739.7679 | 232252.9601 | 30452.5819 | 461.8182 | 0 | 0 | 1116257.6541 | 1.2711 | 1.4345 | 1.7002 |  | 17781.15 | 2.3306
2013-12-13 11:00 | TRUE | 415021.0193 | 23990.1654 | 79303.6633 | 1582.5129 | 24.9044 | 87704.2108 | 18058.4589 | 6537.4236 | 116.7806 | 2712.9406 | 42778.0509 | 42965.6461 | 9883.6569 | 228423.1219 | 30278.4175 | 465.8764 | 0 | 0 | 989846.8494 | 1.1271 | 1.3927 | 1.652 |  | 18034.04 | 2.3637
2013-12-13 12:00 | TRUE | 404729.1724 | 22531.6242 | 74085.2798 | 1477.9344 | 23.2627 | 85485.979 | 17596.4205 | 6371.2979 | 113.84 | 2915.9515 | 42602.1606 | 42301.7177 | 13289.9306 | 226350.3219 | 30190.9396 | 479.9394 | 0 | 0 | 970545.7723 | 1.1051 | 1.301 | 1.6102 |  | 17668.86 | 2.3159
2013-12-13 13:00 | TRUE | 397063.0387 | 22441.2565 | 68186.4174 | 1359.7951 | 21.4071 | 80877.8816 | 16642.2325 | 6026.8968 | 107.7065 | 2789.4141 | 43546.2156 | 42537.9834 | 11094.3103 | 226252.3478 | 30208.2678 | 469.109 | 0 | 0 | 949624.2801 | 1.0813 | 1.1974 | 1.5234 |  | 16467.31 | 2.1584
2013-12-13 14:00 | TRUE | 329194.029 | 22738.965 | 68340.1248 | 1360.6407 | 21.4329 | 80093.7137 | 16454.032 | 5962.2046 | 106.6283 | 2814.8384 | 42676.9297 | 40379.0841 | 11573.3953 | 225765.9053 | 30276.7815 | 448.4898 | 0 | 0 | 878207.195 | 1 | 1.2001 | 1.5086 |  | 15071.59 | 1.9754
2013-12-13 15:00 | TRUE | 344104.2729 | 22521.9275 | 65839.6008 | 1311.1862 | 20.652 | 76751.5423 | 15771.4092 | 5714.3455 | 102.1956 | 2667.7986 | 42846.1579 | 37659.1001 | 10889.035 | 222684.3276 | 30262.6075 | 446.815 | 0 | 0 | 879592.9738 | 1.0016 | 1.1562 | 1.4457 |  | 13663.04 | 1.7908
2013-12-13 16:00 | TRUE | 354128.3768 | 22599.158 | 65838.0637 | 1311.3209 | 20.6539 | 70882.7281 | 14567.2832 | 5277.9981 | 94.3928 | 2796.2565 | 41347.6216 | 36285.0786 | 10537.9804 | 222536.0842 | 30270.8079 | 450.5557 | 0 | 0 | 878944.3603 | 1.0008 | 1.1562 | 1.3351 |  | 11710.64 | 1.5349
2013-12-13 17:00 | TRUE | 407533.2131 | 24418.6691 | 70595.823 | 1408.145 | 22.1659 | 68633.6293 | 14125.7517 | 5115.0146 | 91.4175 | 3006.7893 | 41638.4037 | 36670.7606 | 15329.7217 | 222074.62 | 30345.4937 | 464.0146 | 6932.524 | 1531.3577 | 949937.5146 | 1.0817 | 1.2397 | 1.2928 |  | 10558.44 | 1.3839
2013-12-13 18:00 | TRUE | 434303.497 | 24991.992 | 68182.8826 | 1360.5569 | 21.412 | 66791.375 | 13752.0665 | 4978.5776 | 88.9571 | 2878.0816 | 42665.5844 | 37420.3456 | 9664.3869 | 221457.6103 | 30404.294 | 467.9445 | 7566.0987 | 1671.311 | 968666.9736 | 1.103 | 1.1974 | 1.2581 |  | 9989.84 | 1.3094
2013-12-13 19:00 | TRUE | 455698.7619 | 23526.6651 | 67625.4932 | 1349.8017 | 21.2386 | 66882.7868 | 13774.6353 | 4985.7982 | 89.073 | 2696.7775 | 41239.9398 | 35268.3082 | 7841.552 | 221414.415 | 30536.5757 | 454.226 | 7568.6536 | 1671.8753 | 982646.577 | 1.1189 | 1.1876 | 1.2598 |  | 9595.52 | 1.2577
2013-12-13 20:00 | TRUE | 472008.0792 | 22754.6658 | 63003.4977 | 1257.6814 | 19.7878 | 63775.6061 | 13136.11 | 4754.3621 | 84.9307 | 2930.567 | 41039.6955 | 33327.1552 | 8099.2747 | 224638.0043 | 30561.717 | 453.1366 | 7570.3432 | 1672.2486 | 991086.8628 | 1.1285 | 1.1064 | 1.2013 |  | 9128.06 | 1.1964
2013-12-13 21:00 | FALSE | 413512.2573 | 22109.0323 | 62898.6715 | 1254.3574 | 19.7483 | 60619.5902 | 12473.8073 | 4517.5614 | 80.7452 | 2886.4835 | 40092.2816 | 34109.3765 | 8878.53 | 231090.4628 | 30495.6509 | 419.4608 | 7560.3602 | 1670.0434 | 934688.4203 | 1.0643 | 1.1046 | 1.1418 |  | 8663.05 | 1.1355
2013-12-13 22:00 | FALSE | 427837.3651 | 22669.6048 | 59582.6897 | 1188.4015 | 18.7088 | 57083.0528 | 11747.7985 | 4254.3757 | 76.0411 | 2862.6722 | 37421.4411 | 34689.1304 | 8382.3039 | 227807.2803 | 30501.9121 | 441.7163 | 7559.8525 | 1669.9312 | 935794.2779 | 1.0656 | 1.0463 | 1.0752 |  | 8264.21 | 1.0832
2013-12-13 23:00 | FALSE | 410618.6824 | 22761.6919 | 56943.6542 | 1135.2356 | 17.8753 | 53090.967 | 10921.1286 | 3955.7812 | 70.7272 | 2668.3063 | 37789.6319 | 33428.2147 | 8306.2594 | 222708.3546 | 30467.8332 | 439.5302 | 7554.8833 | 1668.8335 | 904547.5906 | 1.03 | 1 | 1 |  | 7929.35 | 1.0393 | 788.0598 | 1.0026
[25 empty] | KU 1/7/2014 |  | MGS+LGS |  | LGS
2014-01-24 | FALSE | 621322.5069 | 31584.6064 | 95813.0783 | 1977.4248 | 255.7334 | 83127.5645 | 16380.0976 | 4892.2482 | 97.908 | 3507.8586 | 44020.4852 | 37726.7328 | 12917.6691 | 236961.1861 | 32085.0214 | 573.658 | 9680.7908 | 2022.8717 | 1234947.4416 | 1.1465 | 1.122 | 1.0796 | 0 | 10671 | 1.024 | 854.075 | 1.0866 | 779.408 | 1.1152
2014-01-24 01:00 | FALSE | 650070.1253 | 32903.5923 | 97460.2798 | 2011.4203 | 260.0293 | 83990.4093 | 16550.1192 | 4941.1172 | 98.8637 | 3668.4083 | 42126.9821 | 34713.5182 | 14299.6481 | 233271.0387 | 32095.2444 | 577.1863 | 9692.1405 | 2025.2433 | 1260755.3662 | 1.1705 | 1.1413 | 1.0908 | 1 | 10944.29 | 1.0503 | 857.002 | 1.0903 | 784.344 | 1.1222
2014-01-24 02:00 | FALSE | 652928.5202 | 32926.8708 | 96659.5188 | 1994.8939 | 257.8872 | 84477.7681 | 16646.1521 | 4969.6801 | 99.44 | 3520.4954 | 40361.537 | 33759.6258 | 9063.1373 | 229762.0027 | 32111.8265 | 564.6622 | 9690.0082 | 2024.7977 | 1251818.8241 | 1.1622 | 1.1319 | 1.0971 | 2 | 11257.44 | 1.0803 | 867.467 | 1.1036 | 793.52 | 1.1353
2014-01-24 03:00 | FALSE | 626936.7108 | 32102.4723 | 100459.1612 | 2073.3123 | 268.0882 | 86813.6407 | 17106.4305 | 5108.3064 | 102.238 | 3480.9988 | 39197.5225 | 32112.3558 | 9120.7146 | 230016.1576 | 32077.6136 | 562.7346 | 9680.6662 | 2022.8457 | 1229241.9698 | 1.1412 | 1.1764 | 1.1275 | 3 | 11157.89 | 1.0708 | 877.33 | 1.1162 | 804.728 | 1.1514
2014-01-24 04:00 | FALSE | 679557.5949 | 33188.939 | 96535.3336 | 1992.2728 | 257.4543 | 88998.9814 | 17536.5349 | 5233.5901 | 104.6836 | 3478.2356 | 39806.4865 | 31565.8612 | 8558.1983 | 233546.3501 | 31964.8399 | 574.1516 | 9704.1765 | 2027.7583 | 1284631.4428 | 1.1927 | 1.1305 | 1.1559 | 4 | 11415.06 | 1.0954 | 937.791 | 1.1931 | 862.096 | 1.2335
2014-01-24 05:00 | FALSE | 683049.5358 | 33004.5588 | 102275.1402 | 2110.6679 | 272.6895 | 96737.5423 | 19060.7998 | 5687.1444 | 113.7334 | 3257.9428 | 41616.805 | 33387.6161 | 9100.3886 | 230689.5645 | 31941.4422 | 577.8936 | 9712.8709 | 2029.5751 | 1304625.9108 | 1.2112 | 1.1977 | 1.2564 | 5 | 11765.49 | 1.1291 | 1005.51 | 1.2792 | 912.416 | 1.3055
2014-01-24 06:00 | FALSE | 712072.6706 | 33684.695 | 109059.8454 | 2250.4659 | 290.6161 | 100744.3827 | 19848.3609 | 5919.383 | 118.3266 | 3575.4976 | 43106.9098 | 36135.6444 | 15210.1619 | 228981.1263 | 32005.9531 | 573.0319 | 7299.47 | 1525.2774 | 1352401.8184 | 1.2556 | 1.2771 | 1.3084 | 6 | 12851.48 | 1.2333 | 1187.382 | 1.5106 | 1080.712 | 1.5462
2014-01-24 07:00 | TRUE | 728975.5813 | 35490.3525 | 111221.2775 | 2295.0004 | 296.3174 | 100804.6471 | 19859.6543 | 5921.7567 | 118.3508 | 3689.0889 | 45819.9582 | 41297.9824 | 15232.3186 | 226637.3463 | 32007.4244 | 603.9733 | 0 | 0 | 1370271.0301 | 1.2722 | 1.3024 | 1.3092 | 7 | 13641.22 | 1.3091 | 1416.848 | 1.8026 | 1304.368 | 1.8662
2014-01-24 08:00 | TRUE | 720098.1361 | 33161.2913 | 115937.2021 | 2392.3346 | 308.9003 | 104362.3815 | 20560.7682 | 6131.1269 | 122.5243 | 3665.1344 | 46222.6091 | 43954.2536 | 11421.3431 | 231067.1458 | 31769.1484 | 596.9892 | 0 | 0 | 1371771.2889 | 1.2736 | 1.3577 | 1.3554 | 8 | 13629.89 | 1.308 | 1599.957 | 2.0355 | 1478.768 | 2.1158
2014-01-24 09:00 | TRUE | 722395.8829 | 33757.5263 | 120305.7844 | 2482.4067 | 320.4966 | 104283.6658 | 20544.6605 | 6125.6748 | 122.4046 | 3684.6725 | 47632.8901 | 44020.3447 | 11263.8029 | 231034.448 | 31213.5743 | 631.7454 | 0 | 0 | 1379819.9806 | 1.281 | 1.4088 | 1.3544 | 9 | 13775.68 | 1.322 | 1559.973 | 1.9846 | 1430.472 | 2.0467
2014-01-24 10:00 | TRUE | 688333.6141 | 34744.8208 | 119442.2581 | 2464.8524 | 318.3681 | 102542.9925 | 20203.8973 | 6026.6824 | 120.4644 | 3361.9943 | 48461.2701 | 47050.7859 | 8273.7619 | 232033.2888 | 31209.0678 | 628.8516 | 0 | 0 | 1345216.9704 | 1.2489 | 1.3987 | 1.3318 | 10 | 13634.74 | 1.3085 | 1566.736 | 1.9933 | 1440.592 | 2.0612
2014-01-24 11:00 | TRUE | 578550.4739 | 31599.1049 | 111344.3276 | 2297.9195 | 297.2258 | 100862.7705 | 19874.3927 | 5936.7677 | 118.8212 | 3341.2672 | 48973.5567 | 46254.2939 | 8423.9782 | 231472.4807 | 31149.7478 | 627.514 | 0 | 0 | 1221124.6425 | 1.1337 | 1.3039 | 1.3099 | 11 | 13620.05 | 1.307 | 1511.364 | 1.9228 | 1391.376 | 1.9907
2014-01-24 12:00 | TRUE | 546633.5514 | 29976.3083 | 107676.9509 | 2222.0594 | 287.5293 | 103767.7254 | 20445.2046 | 6109.7353 | 122.3228 | 3463.0781 | 48481.4531 | 46820.8177 | 11264.7394 | 232716.2911 | 31307.0099 | 604.2674 | 0 | 0 | 1191899.0441 | 1.1066 | 1.2609 | 1.3477 | 12 | 13623.23 | 1.3074 | 1429.0938 | 1.8181 | 1309.9697 | 1.8743
2014-01-24 13:00 | TRUE | 500761.9728 | 31770.9431 | 102302.1378 | 2110.7115 | 273.2751 | 103108.3238 | 20311.1331 | 6073.0913 | 121.6514 | 3113.6576 | 48658.669 | 48198.7925 | 10256.1424 | 231674.0186 | 31746.241 | 638.4781 | 0 | 0 | 1141119.2389 | 1.0594 | 1.198 | 1.3391 | 13 | 13428 | 1.2886 | 1362.4345 | 1.7333 | 1237.4865 | 1.7706
2014-01-24 14:00 | TRUE | 459567.8202 | 29649.7631 | 98270.8873 | 2026.8283 | 262.5685 | 98606.5892 | 19417.5431 | 5809.3095 | 116.4306 | 3292.5721 | 46779.8815 | 51243.7787 | 10269.6321 | 230876.566 | 31662.1115 | 602.5279 | 0 | 0 | 1088454.8097 | 1.0105 | 1.1508 | 1.2806 | 14 | 13011.13 | 1.2486 | 1311.6978 | 1.6688 | 1198.0448 | 1.7141
2014-01-24 15:00 | TRUE | 462373.4231 | 28668.7023 | 94379.7532 | 1946.4605 | 252.1772 | 93960.3421 | 18501.5276 | 5535.6973 | 110.96 | 2923.0488 | 46807.8945 | 49695.3222 | 9901.7121 | 229923.7697 | 31519.2746 | 615.196 | 0 | 0 | 1077115.2611 | 1 | 1.1052 | 1.2203 | 15 | 12336.22 | 1.1838 | 1132.373 | 1.4406 | 1026.424 | 1.4686
2014-01-24 16:00 | TRUE | 482956.2834 | 27590.0039 | 94501.6191 | 1949.2581 | 252.4959 | 90942.2274 | 17909.8498 | 5357.7388 | 107.3781 | 3296.0175 | 45922.3406 | 48799.5341 | 9633.6199 | 229336.2966 | 31454.0028 | 585.5897 | 0 | 0 | 1090594.2556 | 1.0125 | 1.1066 | 1.1811 | 16 | 11748.72 | 1.1275 | 1023.7087 | 1.3024 | 929.4367 | 1.3298
2014-01-24 17:00 | TRUE | 523471.1419 | 29465.6201 | 92171.9211 | 1901.7775 | 246.2127 | 90873.8713 | 17901.7858 | 5352.4387 | 107.2148 | 3491.1323 | 47586.9851 | 47859.6483 | 13184.013 | 231120.0292 | 31392.1481 | 603.6708 | 7234.3619 | 1511.6726 | 1145475.6454 | 1.0635 | 1.0794 | 1.1802 | 17 | 11409.99 | 1.095 | 992.959 | 1.2633 | 900.576 | 1.2885
2014-01-24 18:00 | TRUE | 513167.3747 | 29885.3182 | 98263.7159 | 2027.4692 | 262.486 | 91355.8072 | 17996.7252 | 5380.8388 | 107.7869 | 3456.1214 | 46701.7577 | 46742.7048 | 8743.5712 | 230601.0975 | 31320.0778 | 598.7084 | 9644.0155 | 2015.1872 | 1138270.7637 | 1.0568 | 1.1507 | 1.1865 | 18 | 11351.5 | 1.0893 | 966.7677 | 1.23 | 879.3618 | 1.2582
2014-01-24 19:00 | TRUE | 513322.387 | 30062.0461 | 96159.1541 | 1984.0266 | 256.8713 | 90978.8068 | 17922.2833 | 5358.7807 | 107.3503 | 3187.768 | 45413.723 | 44031.6669 | 7245.8232 | 233171.9324 | 31339.5316 | 599.6776 | 9642.2518 | 2014.8187 | 1132798.8993 | 1.0517 | 1.1261 | 1.1816 | 19 | 11339.77 | 1.0882 | 926.3863 | 1.1786 | 844.0003 | 1.2076
2014-01-24 20:00 | TRUE | 533725.1314 | 29886.5003 | 90846.9591 | 1874.5126 | 242.6668 | 86543.6587 | 17049.4149 | 5097.2518 | 102.1062 | 3340.5804 | 44588.8934 | 43908.9026 | 7352.7639 | 230314.4022 | 31297.9734 | 605.5156 | 9644.397 | 2015.2669 | 1138436.8975 | 1.0569 | 1.0639 | 1.124 | 20 | 10955.39 | 1.0513 | 842.138 | 1.0714 | 759.259 | 1.0863
2014-01-24 21:00 | FALSE | 523946.2761 | 30057.5657 | 90741.2753 | 1872.2227 | 242.411 | 83569.0933 | 16462.4537 | 4922.5936 | 98.6153 | 3404.8702 | 44025.3607 | 44537.791 | 7968.5391 | 234201.4064 | 31363.4442 | 582.3631 | 9640.8147 | 2014.5184 | 1129651.6144 | 1.0488 | 1.0626 | 1.0853 | 21 | 10964.38 | 1.0522 | 801.4262 | 1.0196 | 717.7713 | 1.027
2014-01-24 22:00 | FALSE | 531083.7586 | 30113.8034 | 86220.149 | 1778.9231 | 230.3427 | 79522.7774 | 15665.2089 | 4684.4446 | 93.8472 | 3121.4828 | 42653.5573 | 41444.8438 | 7289.6509 | 238542.0578 | 31379.3821 | 606.3965 | 9639.3794 | 2014.2185 | 1126084.2239 | 1.0455 | 1.0097 | 1.0328 | 22 | 10867.02 | 1.0429 | 786.0208 | 1 | 698.9248 | 1
2014-01-24 23:00 | FALSE | 530868.694 | 29980.231 | 85394.3239 | 1761.8501 | 228.1424 | 76997.5552 | 15167.4697 | 4535.8079 | 90.8819 | 2715.1329 | 41326.2933 | 41187.2445 | 7251.0899 | 233575.0825 | 31391.7318 | 583.268 | 9635.4759 | 2013.4028 | 1114703.6778 | 1.0349 | 1 | 1 | 23 | 10420.47 | 1 | 788.0598 | 1.0026 | 704.1458 | 1.0075
2014-02-11 | FALSE | 552355.4965 | 26073.5176 | 76778.732 | 1502.253 | 72.7517 | 62976.667 | 13508.6635 | 3881.1382 | 88.2939 | 3332.0658 | 35142.4795 | 40521.2879 | 7322.2622 | 240227.1853 | 11661.7241 | 432.6615 | 12463.3159 | 2588.2928
2014-02-11 01:00 | FALSE | 565089.6987 | 25562.8333 | 78629.5391 | 1538.5857 | 74.5011 | 63339.5137 | 13587.5526 | 3903.2745 | 88.7931 | 3376.1082 | 31732.452 | 38962.4562 | 7750.088 | 236546.8844 | 11658.1643 | 429.7135 | 12466.3354 | 2588.9199
2014-02-11 02:00 | FALSE | 585462.9483 | 27101.8216 | 79369.4209 | 1553.2144 | 75.1894 | 63711.0909 | 13668.593 | 3925.5087 | 89.2848 | 3324.2164 | 30663.2917 | 38325.1468 | 5260.131 | 231864.388 | 11664.8162 | 446.8111 | 12474.0247 | 2590.5168
2014-02-11 03:00 | FALSE | 570226.5517 | 26141.714 | 82641.7947 | 1617.19 | 78.2955 | 65383.2791 | 14026.7987 | 4028.8511 | 91.647 | 3340.5105 | 30541.0318 | 38145.5214 | 5291.7579 | 231114.9092 | 11644.518 | 431.5177 | 12468.4502 | 2589.3591
2014-02-11 04:00 | FALSE | 616868.2744 | 26972.9949 | 84283.2491 | 1649.5518 | 79.8153 | 67945.5066 | 14578.606 | 4184.882 | 95.1458 | 3385.098 | 31024.0251 | 38288.3615 | 5035.7135 | 230245.1618 | 11670.1012 | 443.9389 | 12494.2275 | 2594.7123
2014-02-11 05:00 | FALSE | 648663.9376 | 27022.5682 | 85942.6345 | 1682.094 | 81.3519 | 73970.8451 | 15872.0398 | 4554.043 | 103.491 | 3463.6151 | 32000.4041 | 39380.4971 | 5464.0987 | 230768.8357 | 11649.8865 | 429.6494 | 12517.1905 | 2599.4811
2014-02-11 06:00 | FALSE | 690867.0757 | 26858.6211 | 92299.1477 | 1806.4879 | 87.3184 | 81285.9346 | 17441.4803 | 5001.5071 | 113.5903 | 3536.2317 | 36951.5428 | 44383.6567 | 9015.1841 | 231080.699 | 11724.4014 | 446.964 | 3137.0961 | 651.4898
2014-02-11 07:00 | TRUE | 685070.8424 | 28635.6534 | 95211.8321 | 1863.4771 | 90.0692 | 87167.6834 | 18703.342 | 5363.1289 | 121.7852 | 3531.6367 | 40491.0735 | 53201.7761 | 9703.3967 | 227831.5783 | 11722.3339 | 451.7221 | 0 | 0
2014-02-11 08:00 | TRUE | 645836.2217 | 26841.3557 | 101689.4966 | 1990.2961 | 96.2294 | 93485.46 | 20059.3213 | 5753.7812 | 130.6857 | 3531.3509 | 41206.0929 | 53006.128 | 7256.4753 | 230781.1055 | 11603.7426 | 432.6673 | 0 | 0
2014-02-11 09:00 | TRUE | 615061.8977 | 26466.5753 | 106364.0185 | 2081.7872 | 100.6825 | 94364.5379 | 20247.9464 | 5809.5919 | 131.9858 | 3513.8607 | 41205.4182 | 52501.1998 | 7283.9588 | 232383.6558 | 11563.3942 | 428.4139 | 0 | 0
2014-02-11 10:00 | TRUE | 534403.3235 | 27057.6535 | 102282.053 | 2001.4848 | 96.8929 | 92643.8214 | 19874.6678 | 5708.0328 | 129.8049 | 3292.217 | 39469.4844 | 52972.2572 | 5273.2308 | 227989.2499 | 11553.9276 | 436.2318 | 0 | 0
2014-02-11 11:00 | TRUE | 476283.3281 | 26649.222 | 95177.2904 | 1861.6778 | 90.1926 | 90853.5786 | 19482.4598 | 5599.5979 | 127.4243 | 3111.48 | 39105.4285 | 55752.1834 | 5206.9196 | 227729.9086 | 11572.0836 | 412.3371 | 0 | 0
2014-02-11 12:00 | TRUE | 408284.0291 | 25357.8581 | 85568.9655 | 1672.2579 | 81.0804 | 90660.6754 | 19423.9027 | 5587.222 | 127.2455 | 3130.9345 | 39571.8716 | 52840.128 | 7198.7907 | 230348.2782 | 11585.7782 | 438.471 | 0 | 0
2014-02-11 13:00 | TRUE | 383063.6047 | 25512.492 | 83207.8647 | 1625.231 | 78.8276 | 85567.2419 | 18322.6722 | 5272.2832 | 120.1062 | 2857.9925 | 38810.9088 | 55066.8746 | 6280.7098 | 234002.662 | 11578.7425 | 429.0809 | 0 | 0
2014-02-11 14:00 | TRUE | 365600.4049 | 25527.6793 | 78427.6021 | 1531.1482 | 74.2808 | 83724.1695 | 17919.6579 | 5157.4566 | 117.5216 | 2903.124 | 38537.8073 | 54908.3452 | 6183.7859 | 233145.6363 | 11560.4365 | 432.9747 | 0 | 0
2014-02-11 15:00 | TRUE | 336292.3014 | 23395.3775 | 80888.1073 | 1577.9747 | 76.5738 | 80408.766 | 17196.8671 | 4950.8097 | 112.8618 | 2574.2578 | 37529.582 | 52176.9779 | 6057.0192 | 229371.4793 | 11623.0789 | 426.6443 | 0 | 0
2014-02-11 16:00 | TRUE | 344908.0703 | 22333.0874 | 79409.7399 | 1549.1496 | 75.1739 | 74324.8743 | 15895.8711 | 4576.2008 | 104.3323 | 2807.1667 | 37186.5366 | 49387.0666 | 5795.2595 | 226559.5572 | 11621.9097 | 413.8759 | 0 | 0
2014-02-11 17:00 | TRUE | 402441.9622 | 22760.7036 | 82822.501 | 1617.924 | 78.4672 | 72754.0256 | 15581.0729 | 4483.0586 | 102.1382 | 2809.4236 | 38823.519 | 48291.6025 | 8503.3917 | 230093.5856 | 11599.2679 | 407.7708 | 3102.6475 | 644.3358
2014-02-11 18:00 | TRUE | 489390.3363 | 25605.1404 | 84997.5837 | 1662.5293 | 80.5505 | 71285.7161 | 15286.0691 | 4393.8103 | 99.9993 | 3039.4646 | 37554.2832 | 49237.0313 | 5104.5525 | 232098.356 | 11655.6668 | 436.3936 | 12445.0177 | 2584.4928
2014-02-11 19:00 | TRUE | 539422.0778 | 26653.1858 | 85248.3713 | 1668.0187 | 80.7711 | 71616.2386 | 15362.3231 | 4413.2508 | 100.3932 | 2979.3067 | 37467.2311 | 46354.2293 | 4482.1056 | 231402.6249 | 11685.822 | 425.6439 | 12465.8238 | 2588.8136
2014-02-11 20:00 | TRUE | 573481.5688 | 26484.7857 | 85221.4435 | 1667.7352 | 80.7292 | 70757.5045 | 15180.3323 | 4359.4482 | 99.1351 | 3178.068 | 36561.2028 | 45812.9194 | 4354.3194 | 232522.9904 | 11756.0632 | 438.6552 | 12481.2089 | 2592.0087
2014-02-11 21:00 | FALSE | 575488.8068 | 25647.7004 | 80128.1819 | 1568.0172 | 75.9093 | 67810.943 | 14547.7516 | 4178.176 | 95.0148 | 3199.0813 | 36969.1279 | 43923.7722 | 5171.7127 | 239240.1017 | 11773.9137 | 416.8777 | 12479.6782 | 2591.6908
2014-02-11 22:00 | FALSE | 540299.6118 | 26530.4416 | 78145.1241 | 1528.9283 | 74.0513 | 65541.0562 | 14058.1848 | 4039.446 | 91.8926 | 3208.3931 | 35234.9764 | 44040.5845 | 4598.2513 | 243511.5975 | 11803.9187 | 414.3016 | 12462.1311 | 2588.0468
2014-02-11 23:00 | FALSE | 508535.4624 | 27177.1896 | 75024.7098 | 1467.5055 | 71.1027 | 63436.9315 | 13603.4211 | 3910.2205 | 88.9976 | 3126.7024 | 34337.8596 | 40129.8218 | 4808.7556 | 239513.0411 | 11815.5449 | 405.1361 | 12442.7398 | 2584.0197
2014-03-04 | FALSE | 651630.0166 | 28864.0159 | 86132.4749 | 1768.0333 | 276.4804 | 81362.6063 | 16222.6145 | 5164.637 | 93.9095 | 4650.446 | 40391.7221 | 35165.4005 | 11815.2379 | 211195.6398 | 51839.3418 | 558.0469 | 12548.9675 | 2765.5755
2014-03-04 01:00 | FALSE | 665652.3692 | 27627.1603 | 88300.5656 | 1812.5375 | 283.3861 | 81697.8085 | 16289.4493 | 5184.9313 | 94.2683 | 4748.237 | 39872.3406 | 35793.433 | 14025.1742 | 207609.7946 | 51825.3558 | 557.8499 | 12556.5757 | 2767.2522
2014-03-04 02:00 | FALSE | 696268.3858 | 29078.2627 | 90183.3525 | 1851.1132 | 289.306 | 82116.7076 | 16372.3348 | 5209.3083 | 94.678 | 4614.3979 | 38901.5709 | 37216.3481 | 8241.5138 | 206154.9343 | 51818.506 | 586.0585 | 12573.8519 | 2771.0596
2014-03-04 03:00 | FALSE | 716450.6796 | 28851.0547 | 90956.583 | 1866.912 | 291.7076 | 81617.5343 | 16272.1768 | 5176.2413 | 94.0604 | 4686.257 | 37710.7798 | 36839.848 | 8170.133 | 205379.1556 | 51833.9467 | 598.1211 | 12584.324 | 2773.3675
2014-03-04 04:00 | FALSE | 697155.0494 | 30376.3974 | 93381.1901 | 1916.7151 | 299.5292 | 86015.4046 | 17149.3188 | 5455.9892 | 99.1536 | 4646.1484 | 37311.64 | 36997.0917 | 7111.0249 | 205499.563 | 51911.3901 | 601.8947 | 12578.2627 | 2772.0317
2014-03-04 05:00 | FALSE | 723336.3043 | 29329.1912 | 96536.2059 | 1981.3391 | 309.5021 | 94510.312 | 18841.7072 | 5991.9757 | 108.8482 | 4657.3219 | 39831.051 | 38028.0908 | 8298.4071 | 207545.8419 | 51937.7241 | 604.2491 | 8400.4743 | 1851.3193
2014-03-04 06:00 | FALSE | 785271.0067 | 30947.2668 | 102379.4171 | 2100.8172 | 327.9157 | 98344.5789 | 19601.9157 | 6228.9867 | 113.0658 | 4825.4466 | 42343.9401 | 41876.9765 | 14040.4034 | 209895.7032 | 51942.8956 | 603.4662 | 0 | 0
2014-03-04 07:00 | TRUE | 775127.6817 | 29464.1144 | 101085.3135 | 2074.3632 | 323.822 | 101166.7819 | 20165.4145 | 6408.7546 | 116.3186 | 4639.2867 | 46261.1281 | 47896.4221 | 13824.2315 | 214246.053 | 51862.103 | 615.8637 | 0 | 0
2014-03-04 08:00 | TRUE | 754188.9122 | 27659.9646 | 110539.1391 | 2268.4526 | 354.163 | 104149.9933 | 20760.8612 | 6598.7826 | 119.7617 | 4553.4629 | 48373.1138 | 52819.5901 | 10869.9449 | 218131.1888 | 51769.7697 | 619.5342 | 0 | 0
2014-03-04 09:00 | TRUE | 695519.6793 | 28304.4707 | 107615.7367 | 2208.8462 | 345.1271 | 101596.0871 | 20255.3227 | 6443.1426 | 117.0083 | 4583.7338 | 47392.511 | 56103.9875 | 11240.6387 | 219876.7665 | 51547.1191 | 615.2234 | 0 | 0
2014-03-04 10:00 | TRUE | 618326.7017 | 30738.1178 | 104317.6629 | 2141.319 | 334.8966 | 99008.6202 | 19740.9934 | 6285.5506 | 114.2452 | 4201.1681 | 46856.3381 | 56489.7605 | 8142.7437 | 218766.114 | 51406.2252 | 609.5722 | 0 | 0
2014-03-04 11:00 | TRUE | 551691.7379 | 32457.7998 | 99110.5776 | 2034.1763 | 318.4164 | 94045.0676 | 18748.9554 | 5974.8755 | 108.6797 | 4009.1807 | 47305.1152 | 58316.3287 | 8293.0814 | 220254.1545 | 51387.2124 | 585.7557 | 0 | 0
2014-03-04 12:00 | TRUE | 461531.4562 | 27079.634 | 95766.6979 | 1964.4558 | 307.8171 | 96803.5138 | 19288.1849 | 6152.9993 | 112.0332 | 4142.2823 | 47842.4124 | 54808.0377 | 13200.5494 | 220500.2597 | 51299.3241 | 581.5421 | 0 | 0
2014-03-04 13:00 | TRUE | 423021.2372 | 27446.227 | 91865.2756 | 1883.5286 | 295.2745 | 94158.6685 | 18752.2609 | 5984.8376 | 109.0219 | 3724.8243 | 48052.8391 | 57049.6939 | 12562.6643 | 218628.2609 | 51210.038 | 556.4276 | 0 | 0
2014-03-04 14:00 | TRUE | 389034.2055 | 27292.3614 | 90566.7171 | 1855.9299 | 291.0597 | 91406.8764 | 18194.6743 | 5809.1131 | 105.8636 | 3920.1522 | 47540.4814 | 56103.3243 | 12073.7057 | 219626.3829 | 51129.7499 | 554.6097 | 0 | 0
2014-03-04 15:00 | TRUE | 375660.3075 | 28055.7651 | 89193.9211 | 1827.2831 | 286.6148 | 88734.5641 | 17657.7715 | 5638.6307 | 102.7781 | 3678.8762 | 46979.2894 | 55044.9452 | 11856.4596 | 219002.168 | 51065.4766 | 544.2617 | 0 | 0
2014-03-04 16:00 | TRUE | 370707.574 | 24656.7193 | 85285.9181 | 1746.7463 | 274.0192 | 85862.5957 | 17081.6174 | 5455.3811 | 99.4595 | 3879.1132 | 46520.459 | 53830.294 | 11082.1571 | 216324.8717 | 50925.9195 | 516.5002 | 0 | 0
2014-03-04 17:00 | TRUE | 420864.6916 | 25430.0977 | 81849.6916 | 1677.6067 | 263.0647 | 82166.9474 | 16358.4725 | 5222.2793 | 95.1665 | 4233.5443 | 47407.3129 | 53497.7459 | 15130.5813 | 217075.2187 | 51035.5407 | 541.5394 | 0 | 0
2014-03-04 18:00 | TRUE | 505068.1535 | 25344.7797 | 87036.6998 | 1785.7601 | 279.7367 | 80766.1971 | 16096.1794 | 5133.2697 | 93.4551 | 3989.6962 | 47723.951 | 52516.3131 | 8123.4705 | 215183.0965 | 51539.4984 | 539.8262 | 8321.806 | 1833.9822
2014-03-04 19:00 | TRUE | 496507.3783 | 25276.6386 | 85727.3038 | 1758.8263 | 275.5298 | 81224.0749 | 16186.8016 | 5162.4007 | 93.991 | 3928.2263 | 47535.5831 | 48901.0706 | 5485.7874 | 217973.9583 | 51717.2872 | 583.1713 | 12479.8494 | 2750.3431
2014-03-04 20:00 | TRUE | 462300.1702 | 25213.5005 | 81807.1221 | 1677.8103 | 262.9591 | 78647.477 | 15667.8359 | 4999.1872 | 91.0535 | 4038.0733 | 46791.747 | 50451.1948 | 5815.7033 | 220466.0373 | 51660.1106 | 584.1399 | 12464.0447 | 2746.86
2014-03-04 21:00 | FALSE | 502173.2533 | 24057.7434 | 79589.0549 | 1632.7955 | 255.8173 | 75154.931 | 14976.4336 | 4776.9587 | 86.9759 | 4128.8077 | 46887.8737 | 50695.444 | 7753.6354 | 221460.1508 | 51908.2038 | 579.977 | 12478.0997 | 2749.9575
2014-03-04 22:00 | FALSE | 472727.6773 | 25512.1051 | 75270.1081 | 1543.6654 | 241.9608 | 69161.5778 | 13777.4231 | 4396.4769 | 80.0893 | 4046.8474 | 42664.4298 | 49045.1668 | 7299.1745 | 218837.1787 | 51888.4312 | 590.3248 | 12457.8563 | 2745.4962
2014-03-04 23:00 | FALSE | 460898.5768 | 24807.3537 | 72058.0229 | 1477.5179 | 231.6306 | 68036.9529 | 13550.8874 | 4324.898 | 78.8087 | 3974.1434 | 40876.2028 | 44107.9725 | 7959.2521 | 215864.4059 | 51884.2796 | 581.3519 | 12447.6805 | 2743.2536