## MCC Study
Marginal Customer Connection Study
Kentucky Power 2014
Kentucky Power MCAC (Customer Hookup Cost): 7.2kV
Account | Description | Qty | Material Cost | Std Labor Cost | Admin Overhd | Transpt Overhd | Material Overhd | Labor Overhd | Total Installed Cost | % of Total Cost | Avg Serv Life (yrs)
3640000 | Poles, Towers & Fixtures
| ANC,Expanding,8in,72in,Sg Eye 5/8in | 2 | 35.26 | 80.64 | 30.72 | 64.78 | 8.66 | 185.71 | 405.77
| BKT,Arrestor/CO 12in (1Ph),Fbrgls | 1 | 24.43 | 7.2 | 6.36 | 5.78 | 6 | 16.58 | 66.35
| GYD,Marker-Plastic-Yellow | 2 | 4.41 | 8.64 | 3.4 | 6.94 | 1.08 | 19.9 | 44.37
| GYF,3/8,Down,78in Pole mt,EyePlate | 1 | 31.74 | 17.28 | 10.69 | 13.88 | 7.8 | 39.8 | 121.19
| GYW,3/8 in. EHS (15,400 lbs) | 90 | 20.58 | 0 | 3.5 | 0 | 5.06 | 0 | 29.14
| Pole,40ft,Class 4 | 1 | 233.02 | 97.92 | 69.63 | 78.66 | 57.25 | 225.51 | 761.99
| SAA,3 inch,Clevi | 1 | 4.73 | 6.48 | 2.79 | 5.21 | 1.16 | 14.92 | 35.29
3640000 | Poles, Towers & Fixtures |  | 354.17 | 218.16 | 127.09 | 175.25 | 87.01 | 502.42 | 1464.1 | 36.63% | 31
3650000 | OH Conductor & Devices
| CON,#2 AWG,Alum Alloy,One,Bare | 400 | 68.6 | 54 | 28.22 | 43.38 | 16.85 | 124.36 | 335.41
| DEC,#4 - #2/0 AA,AL,AS | 2 | 12.92 | 24.48 | 9.7 | 19.67 | 3.17 | 56.38 | 126.32
| DEG,#2,Primary Neutral Al | 2 | 2.16 | 5.76 | 2.13 | 4.63 | 0.53 | 13.27 | 28.48
| GND,Cu Clad Adr,#4 | 1 | 16.05 | 25.92 | 10.68 | 20.82 | 3.94 | 59.69 | 137.1
| GND,Cu Clad Rod,#5 | 1 | 104.32 | 25.92 | 25.68 | 20.82 | 25.63 | 59.69 | 262.06
| GND,Extend Gnd To Guy/Eq,#4 | 1 | 7.59 | 2.88 | 2.17 | 2.31 | 1.87 | 6.63 | 23.45
| INS,15kV,Deadend,Polymer | 2 | 16.17 | 0 | 2.75 | 0 | 3.97 | 0 | 22.89
3650000 | OH Conductor & Devices |  | 227.81 | 138.96 | 81.33 | 111.63 | 55.96 | 320.02 | 935.71 | 23.41% | 40
3680000 | Transformer Devices
| EQL,1 Ph,#4, CU Sol,#4,CU Sld, Xfr | 1 | 23.33 | 28.08 | 12.57 | 22.56 | 5.73 | 64.67 | 156.94
| XCO,15kV,100 Amp,10kA | 1 | 51.96 | 11.52 | 12.37 | 9.25 | 12.77 | 26.53 | 124.4
| XFR,15KVA,7.2/12.4kVY,120/240,1BG | 1 | 497.67 | 53.28 | 100.94 | 42.8 | 122.28 | 122.7 | 939.67
3680000 | Transformer Devices |  | 75.29 | 39.6 | 24.94 | 31.81 | 18.5 | 91.2 | 1221.01 | 30.55% | 32
3690000 | Services
| SVC,#2 AWG,Trip,All Alum,Res | 1 | 6.06 | 37.44 | 12.51 | 30.08 | 1.49 | 86.22 | 173.8
| SVW,#2 AWG,Trip,All Alum,Res | 80 | 68.99 | 0 | 11.73 | 0 | 16.95 | 0 | 97.67
3690000 | Services |  | 75.05 | 37.44 | 24.24 | 30.08 | 18.44 | 86.22 | 271.47 | 6.791% | 33
5860000 | Meter Expense
| MTR-Type 0A006 Class200,240v RF | 1 | 58.5 | 5.04 | 11.49 | 4.05 | 14.37 | 11.61 | 105.06
5860000 | Meter Expense | [7 empty] | 105.06 | 2.628% | 25
Total Work Request Charges | [8 empty] | 3997.35
Marginal Cost Per Month to Connect a Residential Customer
Weighted Avg Accounting Life | 33.3903
Levelized 33 Year Carrying Charge | 12.43%
Total Capital Cost | 3997.35
Monthly Capital Recovery $ | 41.4059
Total Basic Service Charge $/month | 41.4059
155.6986