## Cover
KENTUCKY POWER COMPANY
DEPRECIATION STUDY AS OF DECEMBER 31, 2013
DISTRIBUTION PLANT WORK PAPERS
SUMMARY ANALYSIS

## 3601
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 3601 | LAND RIGHTS
Depreciable Balance |  | 5343520
|  | Current | Recommended
Average Service Life (Yrs) |  | 75 | 75
Iowa Curve |  | R4.0 | R4.0
Gross Removal, % |  | N/A | 0
Gross Salvage, % |  | N/A | 0
Net Salvage % |  | 0 | 0
N/A = not available
This account includes land rights and easements associated with distribution property or distribution substations.
Minimal retirement activity in this account provided insufficient data for analysis.
The average age of the property in this account is 20.10 years.
Recommend that we continue to use the R4.0 type Iowa curve with an average service life of 75 years.
Since there is little retirement history for this account, the recommendation is to continue the current estimates of 0% gross salvage and 0% gross removal. The result is 0% net salvage.

## 361
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 361 | STRUCTURES & IMPROVEMENTS
Depreciable Balance |  | 4372006
|  | Current | Recommended
Average Service Life (Yrs) |  | 65 | 70
Iowa Curve |  | L0.5 | R2.0
Gross Removal, % |  | N/A | 16
Gross Salvage, % |  | N/A | 4
Net Salvage % |  | 0 | -12
N/A = not available
This account includes structures and improvements related to a substation and contains items like the foundation, fencing and any buildings found in the station.
The average age of property in this account is 22.91 years.
Property in this account continues to age. The analysis for property in this account indicates a R2.0 type Iowa curve with an average service life of 70 years should be used.
Historical activity from 2000 through 2013 for this account supports a -12% net salvage with a gross salvage of 4% and a gross removal of 16%.

## 362
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 362 | STATION EQUIPMENT
Depreciable Balance |  | 83664562
|  | Current | Recommended
Average Service Life (Yrs) |  | 25 | 33
Iowa Curve |  | L0.0 | R0.5
Gross Removal, % |  | N/A | 17
Gross Salvage, % |  | N/A | 10
Net Salvage % |  | 25 | -7
N/A = not available
This account contains a variety of distribution substation equipment such as transformers and switchgear.
The average age of property in this account is 11.62 years.
The results of the life analysis indicate that the average service life for this account should be changed to 33 years following a R0.5 dispersion.
The salvage and removal analysis for 2000 through 2013 calculates an overall historical gross salvage of 10% and a gross removal of -17% resulting in a -7% net salvage.

## 364
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 364 | POLES, TOWERS & FIXTURES
Depreciable Balance |  | 180551331
|  | Current | Recommended
Average Service Life (Yrs) |  | 28 | 28
Iowa Curve |  | L0.0 | R0.5
Gross Removal, % |  | N/A | 48
Gross Salvage, % |  | N/A | 18
Net Salvage % |  | 25 | -30
N/A = not available
This account includes poles and towers of various material types such as wood, concrete and steel.
The average age of property in this account is 15.38 years.
The results of the life analysis indicate that the average service life for this account is estimated at 26 years following a R0.5 dispersion. Since the analysis indicates an average service close to the life currently in rates, this study recommends no change in the 28 year average service life from Case No. 91-066.
The salvage and removal analysis for 2000 through 2013 calculates an overall historical gross salvage of 18% and a gross removal of 48% resulting in a -30% net salvage.

## 365
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 365 | OVERHEAD CONDUCTOR & DEVICES
Depreciable Balance |  | 179538721
|  | Current | Recommended
Average Service Life (Yrs) |  | 26 | 26
Iowa Curve |  | R1.5 | L0.0
Gross Removal, % |  | N/A | 24
Gross Salvage, % |  | N/A | 30
Net Salvage % |  | 25 | 6
N/A = not available
Account 365 consists of overhead conductor and items like switches, reclosers and lightning arresters.
The average age of property in this account is 12.81 years.
The results of the life analysis indicate that the average service life for this account is estimated at to 25.7 years following a L0.0 dispersion. Since the analysis indicates an average service close to the life currently in rates, this study recommends no change in the 26 year average service life from Case No. 91-066.
The salvage and removal analysis for 2000 through 2013 calculates an overall historical gross salvage of 30% and a gross removal of 24% resulting in a 6% net salvage.

## 366
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 366 | UNDERGROUND CONDUIT
Depreciable Balance |  | 6377091
|  | Current | Recommended
Average Service Life (Yrs) |  | 37 | 45
Iowa Curve |  | R2.0 | R3.0
Gross Removal, % |  | N/A | 0
Gross Salvage, % |  | N/A | 0
Net Salvage % |  | 0 | 0
N/A = not available
This account contains distribution underground conduit, duct banks, manholes and ventilating systems.
The results of the life analysis indicate that the average service life for this account should be changed to 45 years following a R3.0 dispersion.
The average age of property in this account is 11.37 years.
Net Salvage factors have historically been negative for account 366. Since underground conduit is retired in place, the removal and salvage components reflected in the analysis are not indicative of actual practice. Interviews with operations personnel confirm this. The net salvage parameters should continue to use a gross salvage factor of 0% and a 0% gross removal yielding an 0% net salvage.

## 367
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 367 | UNDERGROUND CONDUCTOR & DEVICES
Depreciable Balance |  | 9812956
|  | Current | Recommended
Average Service Life (Yrs) |  | 44 | 44
Iowa Curve |  | R1.0 | R0.5
Gross Removal, % |  | N/A | 14
Gross Salvage, % |  | N/A | 1
Net Salvage % |  | 0 | -13
N/A = not available
Account 367 contains underground property such as distribution conductor, switches and switchgear.
The average age of property in this account is 11.27 years.
The results of the life analysis indicate that the average service life for this account is estimated at 40 years following a R0.5 dispersion. Since the analysis indicates an average service close to the life currently in rates, this study recommends no change in the 44 year average service life from Case No. 91-066.
Based on the historical salvage history for the account, the recommended gross salvage is 1% and the gross removal is 14% resulting in a -13% net salvage.

## 368
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 368 | LINE TRANSFORMERS
Depreciable Balance |  | 119012919
|  | Current | Recommended
Average Service Life (Yrs) |  | 25 | 25
Iowa Curve |  | R1.5 | L0.0
Gross Removal, % |  | N/A | 30
Gross Salvage, % |  | N/A | 29
Net Salvage % |  | 15 | -1
N/A = not available
This account includes line transformers, regulators and capacitors.
The average age of property in this account is 14.13 years.
The results of the life analysis indicate that the average service life for this account should be changed to 23 years following a L0.0 dispersion. Since the analysis indicates an average service close to the life currently in rates, this study recommends no change in the 25 year average service life from Case No. 91-066.
The salvage analysis for the account history supports a gross salvage of 29% and a gross removal of 30%. The result is a net salvage of -1%.

## 369
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 369 | SERVICES
Depreciable Balance |  | 53900363
|  | Current | Recommended
Average Service Life (Yrs) |  | 18 | 20
Iowa Curve |  | R2.0 | L0.0
Gross Removal, % |  | N/A | 39
Gross Salvage, % |  | N/A | 1
Net Salvage % |  | 0 | -38
N/A = not available
Account 369 consists of underground and overhead distribution services.
The average age of property in this account is 10.98 years.
The results of the life analysis indicate that the average service life for this account should be changed to 20 years following a L0.0 dispersion.
The salvage analysis for the account history supports a gross salvage of 1% and a gross removal of 39%. The result is a net salvage of -38%.

## 370
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 370 | METERS
Depreciable Balance |  | 24723286
|  | Current | Recommended
Average Service Life (Yrs) |  | 27 | 17
Iowa Curve |  | R0.5 | R4.0
Gross Removal, % |  | N/A | 19
Gross Salvage, % |  | N/A | 22
Net Salvage % |  | 0 | 3
N/A = not available
Account 370 includes all distribution meters.
The average age of property in this account is 6.77 years.
Since 100% of the Company's electromechanical meters were replaced with AMR meters in the 2005 to 2010 time frame, account history cannot be ued to determine a reasonable useful life. General Electric (the manufacturer of the new meters) estimates that the life expectancy of the AMR meters is from 15 years to 20 years. Based on GE's assessment, a life of 17 years is recommended for account 370, Meters.with an R4.0 dispersion.
The salvage and removal analysis for 2000 through 2012 calculates an overall historical gross salvage of 22% and a gross removal of 19% resulting in a 3% net salvage.

## 371
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 371 | INSTALLATIONS ON CUSTOMERS PREMISES
Depreciable Balance |  | 20056550
|  | Current | Recommended
Average Service Life (Yrs) |  | 11 | 11
Iowa Curve |  | L0.0 | L0.0
Gross Removal, % |  | N/A | 33
Gross Salvage, % |  | N/A | 1
Net Salvage % |  | 30 | -32
N/A = not available
Property included in account 371 consists of items such as cable vaults and commercial lighting equipment.
The average age of property in this account is 7.91 years.
The current life analysis supports an average service life for this account of 10 years with an L0.0 dispersion. Since the analysis indicates an average service close to the life currently in rates, this study recommends no change in the 11 year average service life from Case No. 91-066.
The salvage and removal analysis for 2000 through 2013 calculates an overall historical gross salvage of 1% and a gross removal of 33% resulting in a -32% net salvage.

## 373
KENTUCKY POWER COMPANY
Depreciation Study as of December 31, 2013
Distribution Plant
Account | 373 | STREET LIGHTING & SIGNAL SYSTEMS
Depreciable Balance |  | 3349341
|  | Current | Recommended
Average Service Life (Yrs) |  | 15 | 20
Iowa Curve |  | L0.0 | L0.0
Gross Removal, % |  | N/A | 25
Gross Salvage, % |  | N/A | 1
Net Salvage % |  | 15 | -24
N/A = not available
Account 373 consists of distribution street lights, conductor, conduit and standards.
The average age of property in this account is 17.70 years.
The current life analysis supports an average service life for this account of 20 years with an L0.0 dispersion.
Based on the historical salvage history for the account, the recommended gross salvage is 1% and the gross removal is 25% resulting in a -24% net salvage.