## Cover Sheet
KENTUCKY POWER COMPANY
DEPRECIATION STUDY
DECEMBER 31, 2013
DISTRIBUTION PLANT SALVAGE ANALYSIS

## Narrative
KENTUCKY POWER COMPANY
DISTRIBUTION SALVAGE AND REMOVAL ANALYSIS - NARRATIVE DISCUSSION
DEPRECIATION STUDY AT DECEMBER 31, 2013
Account 360.1 | Retirement data is not available for this account, so no analysis was performed. The net salvage rate currently embedded in Account 360.1 Land Rights from Case No. 91-066 is 0%, recommend that we continue to use a 0% net salvage rate.
Account 361 | Historical removal and salvage for Account 361 for Kentucky from 2000 to 2013 includes only 7 of the 14 years with retirement activity totaling only $69,512 which indicates that not enough data is available to utilitize the -50% calculation for this time period. A review of the most recent depreciation parameters for KEPCo's AEP affiliate in Virginia indicates that an average removal rate for this account is 16% with a gross salvage rate of 4%, yielding a negative net salvage rate of -12%. Recommend that we use a -12% net salvage rate for this account.
Account 362 | Historical salvage, removal and related retirements for Account 362 for Kentucky from 2000 to 2013 were used to calculate a 10% gross salvage rate and a 17% gross removal rate, yielding a -7% net salvage rate.
Account 364 | Historical salvage, removal and related retirements for Account 364 for Kentucky from 2000 to 2013 were used to calculate a 18% gross salvage rate and a 48% gross removal rate, yielding a -30% net salvage rate.
Account 365 | Historical salvage, removal and related retirements for Account 365 for Kentucky from 2000 to 2013 were used to calculate a 30% gross salvage rate and a 24% gross removal rate, yielding a 6% net salvage rate.
Account 366 | Discussions with distribution personnel indicate that most underground conduit is abandoned in place yielding a 0% gross salvage, a 0% gross removal rate and a 0% net salvage.
Account 367 | Historical salvage, removal and related retirements for Account 367 for Kentucky from 2000 to 2013 were used to calculate a 1% gross salvage rate and a 14% gross removal rate, yielding a -13% net salvage rate.
Account 368 | Historical salvage, removal and related retirements for Account 368 for Kentucky from 2000 to 2013 were used to calculate a 29% gross salvage rate and a 30% gross removal rate, yielding a -1% net salvage rate.
Account 369 | Historical salvage, removal and related retirements for Account 369 for Kentucky from 2000 to 2013 were used to calculate a 1% gross salvage rate and a 39% gross removal rate, yielding a -38% net salvage rate.
Account 370 | Historical salvage, removal and related retirements for Account 370 for Kentucky from 2000 to 2013 were used to calculate a 22% gross salvage rate and a 19% gross removal rate, yielding a 3% net salvage rate.
Account 371 | Historical salvage, removal and related retirements for Account 371 for Kentucky from 2000 to 2013 were used to calculate a 1% gross salvage rate and a 33% gross removal rate, yielding a -32% net salvage rate.
Account 373 | Historical salvage, removal and related retirements for Account 373 for Kentucky from 2000 to 2013 were used to calculate a 1% gross salvage rate and a 25% gross removal rate, yielding a -24% net salvage rate.

## Net Salvage
KENTUCKY POWER COMPANY
Distribution Plant Net Salvage
Original Cost Retired by Plant Account
Year | 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
2000 | 0 | 430936 | 1459576 | 1553565 | 6479 | 36661 | 1443110 | 569287 | 1709961 | 637697 | 26217 | 7873489
2001 | 0 | 543501 | 1402184 | 1323285 | 9421 | 11194 | 1029459 | 390080 | 639511 | 563686 | 22268 | 5934589
2002 | 0 | 163287 | 1100199 | 2020300 | 16953 | 71261 | 1055795 | 508684 | 970185 | 370170 | 27698 | 6304532
2003 | 0 | 448926 | 770546 | 1665159 | 2929 | 23089 | 1073924 | 630850 | 624632 | 155458 | 39163 | 5434676
2004 | 370 | 325880 | 3264700 | 1048651 | 2052 | 37052 | 1076234 | 511999 | 832607 | 115921 | 33892 | 7249358
2005 | 25016 | 1290672 | 728627 | 1665652 | 143 | 36728 | 1190630 | 760371 | 1515899 | 818523 | 78077 | 8110338
2006 | 0 | 854863 | 839957 | 2373219 | 7368 | 144643 | 1756227 | 1144609 | 9319669 | 1063929 | 145114 | 17649598
2007 | 0 | 811720 | 1283667 | 2993281 | 3259 | 36512 | 2367716 | 887176 | 9974912 | 930355 | 102177 | 19390775
2008 | 206 | 197774 | 1315032 | 3155687 | 694 | 53234 | 2310335 | 720680 | 1023534 | 1060049 | 97394 | 9934619
2009 | 17511 | 895212 | 1458857 | 4155157 | 3342 | 77397 | 1737905 | 467957 | 915027 | 1237093 | 46439 | 11011897
2010 | 15897 | 268629 | 1379987 | 2211003 | 2392 | 47808 | 1455999 | 420358 | 496628 | 1185896 | 57336 | 7541933
2011 | 1088 | 1480852 | 918788 | 1916866 | 10826 | 110598 | 1307947 | 370511 | 465676 | 1195824 | 57472 | 7836448
2012 | 0 | 1141863.72 | 946893.16 | 2784175.81 | 1132.2 | 94614.33 | 1841400.94 | 357593.72 | 1653695.49 | 1189431.63 | 62662.77 | 10073463.77
2013 | 9424 | 1091672.21 | 972448.82 | 2908747.99 | 1819.09 | 65078.83 | 1079231.66 | 335346 | 866022.58 | 1194662.87 | 68438.6 | 8592892.65
TOTAL | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 8075501.72 | 31007959.07 | 11718695.5 | 864348.37 | 132938608.42
EVALUATION BASED ON 2000 - 2013 RESERVE ACTIVITY
| 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
Total Retirements | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 5482197.15 | 31007959.07 | 7899836.1 | 864348.37 | 126526444.45
Net Salvage Amount | -34438.4 | -718263.34 | -5303692.04 | 1675274.42 | -170929.82 | -103463.3 | -150081.66 | -2054752.57 | 982018.1 | -2522204.47 | -211730.61 | -8612263.69
Net Salvage % | -50% | -7% | -30% | 5% | -248% | -12% | -1% | -37% | 3% | -32% | -24% | -7%
Use Net Salvage % | -12% | -7% | -30% | 6% | 0% | -13% | -1% | -38% | 3% | -32% | -24%
Note: The amounts for 2000 to 2013 were taken from the PowerPlant software continuing property records and the transaction archive providing a 14 year summary of Retirements, Salvage and Removal by plant account.

## Removal
KENTUCKY POWER COMPANY
Distribution Plant Removal Cost
Original Cost Retired by Plant Account
Year | 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
2000 | 0 | 430936 | 1459576 | 1553565 | 6479 | 36661 | 1443110 | 569287 | 1709961 | 637697 | 26217 | 7873489
2001 | 0 | 543501 | 1402184 | 1323285 | 9421 | 11194 | 1029459 | 390080 | 639511 | 563686 | 22268 | 5934589
2002 | 0 | 163287 | 1100199 | 2020300 | 16953 | 71261 | 1055795 | 508684 | 970185 | 370170 | 27698 | 6304532
2003 | 0 | 448926 | 770546 | 1665159 | 2929 | 23089 | 1073924 | 630850 | 624632 | 155458 | 39163 | 5434676
2004 | 370 | 325880 | 3264700 | 1048651 | 2052 | 37052 | 1076234 | 511999 | 832607 | 115921 | 33892 | 7249358
2005 | 25016 | 1290672 | 728627 | 1665652 | 143 | 36728 | 1190630 | 760371 | 1515899 | 818523 | 78077 | 8110338
2006 | 0 | 854863 | 839957 | 2373219 | 7368 | 144643 | 1756227 | 1144609 | 9319669 | 1063929 | 145114 | 17649598
2007 | 0 | 811720 | 1283667 | 2993281 | 3259 | 36512 | 2367716 | 887176 | 9974912 | 930355 | 102177 | 19390775
2008 | 206 | 197774 | 1315032 | 3155687 | 694 | 53234 | 2310335 | 720680 | 1023534 | 1060049 | 97394 | 9934619
2009 | 17511 | 895212 | 1458857 | 4155157 | 3342 | 77397 | 1737905 | 467957 | 915027 | 1237093 | 46439 | 11011897
2010 | 15897 | 268629 | 1379987 | 2211003 | 2392 | 47808 | 1455999 | 420358 | 496628 | 1185896 | 57336 | 7541933
2011 | 1088 | 1480852 | 918788 | 1916866 | 10826 | 110598 | 1307947 | 370511 | 465676 | 1195824 | 57472 | 7836448
2012 | 0 | 1141863.72 | 946893.16 | 2784175.81 | 1132.2 | 94614.33 | 1841400.94 | 357593.72 | 1653695.49 | 1189431.63 | 62662.77 | 10073463.77
2013 | 9424 | 1091672.21 | 972448.82 | 2908747.99 | 1819.09 | 65078.83 | 1079231.66 | 335346 | 866022.58 | 1194662.87 | 68438.6 | 8592892.65
TOTAL | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 8075501.72 | 31007959.07 | 11718695.5 | 864348.37 | 132938608.42
EVALUATION BASED ON 2000 - 2013 RESERVE ACTIVITY
| 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
Total Retirements | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 5482197.15 | 31007959.07 | 7899836.1 | 864348.37 | 126526444.45
Total Removal | 39245.48 | 1701700.86 | 8599327.14 | 7776345.41 | 182559.82 | 114714.51 | 6174475.69 | 2135851.88 | 5861630.93 | 2599314.51 | 219001.33 | 35404167.56
Gross Removal, % | 56% | 17% | 48% | 24% | 265% | 14% | 30% | 39% | 19% | 33% | 25% | 28%
Use Gross Removal % | 16% | 17% | 48% | 24% | 0% | 14% | 30% | 39% | 19% | 33% | 25%
Note: The amounts for 2000 to 2013 were taken from the PowerPlant software continuing property records and the transaction archive providing a 14 year summary of Retirements, Salvage and Removal by plant account.

## Salvage
KENTUCKY POWER COMPANY
Distribution Plant Gross Salvage
Original Cost Retired by Plant Account
Year | 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
2000 | 0 | 430936 | 1459576 | 1553565 | 6479 | 36661 | 1443110 | 569287 | 1709961 | 637697 | 26217 | 7873489
2001 | 0 | 543501 | 1402184 | 1323285 | 9421 | 11194 | 1029459 | 390080 | 639511 | 563686 | 22268 | 5934589
2002 | 0 | 163287 | 1100199 | 2020300 | 16953 | 71261 | 1055795 | 508684 | 970185 | 370170 | 27698 | 6304532
2003 | 0 | 448926 | 770546 | 1665159 | 2929 | 23089 | 1073924 | 630850 | 624632 | 155458 | 39163 | 5434676
2004 | 370 | 325880 | 3264700 | 1048651 | 2052 | 37052 | 1076234 | 511999 | 832607 | 115921 | 33892 | 7249358
2005 | 25016 | 1290672 | 728627 | 1665652 | 143 | 36728 | 1190630 | 760371 | 1515899 | 818523 | 78077 | 8110338
2006 | 0 | 854863 | 839957 | 2373219 | 7368 | 144643 | 1756227 | 1144609 | 9319669 | 1063929 | 145114 | 17649598
2007 | 0 | 811720 | 1283667 | 2993281 | 3259 | 36512 | 2367716 | 887176 | 9974912 | 930355 | 102177 | 19390775
2008 | 206 | 197774 | 1315032 | 3155687 | 694 | 53234 | 2310335 | 720680 | 1023534 | 1060049 | 97394 | 9934619
2009 | 17511 | 895212 | 1458857 | 4155157 | 3342 | 77397 | 1737905 | 467957 | 915027 | 1237093 | 46439 | 11011897
2010 | 15897 | 268629 | 1379987 | 2211003 | 2392 | 47808 | 1455999 | 420358 | 496628 | 1185896 | 57336 | 7541933
2011 | 1088 | 1480852 | 918788 | 1916866 | 10826 | 110598 | 1307947 | 370511 | 465676 | 1195824 | 57472 | 7836448
2012 | 0 | 1141863.72 | 946893.16 | 2784175.81 | 1132.2 | 94614.33 | 1841400.94 | 357593.72 | 1653695.49 | 1189431.63 | 62662.77 | 10073463.77
2013 | 9424 | 1091672.21 | 972448.82 | 2908747.99 | 1819.09 | 65078.83 | 1079231.66 | 335346 | 866022.58 | 1194662.87 | 68438.6 | 8592892.65
TOTAL | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 8075501.72 | 31007959.07 | 11718695.5 | 864348.37 | 132938608.42
EVALUATION BASED ON 2000 - 2013 RESERVE ACTIVITY
| 361 | 362 | 364 | 365 | 366 | 367 | 368 | 369 | 370 | 371 | 373 | Total
Total Retirements | 69512 | 9945787.93 | 17841461.98 | 31774748.8 | 68809.29 | 845870.16 | 20725913.6 | 5482197.15 | 31007959.07 | 7899836.1 | 864348.37 | 126526444.45
Salvage Amount | 4807.08 | 983437.52 | 3295635.1 | 9451619.83 | 11630 | 11251.21 | 6024394.03 | 81099.31 | 6843649.03 | 77110.04 | 7270.72 | 26791903.87
Gross Salvage % | 7% | 10% | 18% | 30% | 17% | 1% | 29% | 1% | 22% | 1% | 1% | 21%
Use Gross Salvage % | 4% | 10% | 18% | 30% | 0% | 1% | 29% | 1% | 22% | 1% | 1%
Note: The amounts for 2000 to 2013 were taken from the PowerPlant software continuing property records and the transaction archive providing a 14 year summary of Retirements, Salvage and Removal by plant account.

## Salvg and Remove 2000 to 2013
Kentucky Power Company
Distribution Removal and Salvage by Account
From CPR Transaction Archive
Years 2000 to 2013
Account | Removal | Salvage
361 | 39245.48 | 4807.08
362 | 1701700.86 | 983437.52
364 | 8599327.14 | 3295635.1
365 | 7776345.41 | 9451619.83
366 | 182559.82 | 11630
367 | 114714.51 | 11251.21
368 | 6174475.69 | 6024394.03
369 | 4980067.36 | 74088.15
370 | 5861630.93 | 6843649.03
371 | 4838805.77 | 72707.64
373 | 219001.33 | 7270.72
| 40487874.3 | 26780490.31

## Adjustments
Kentucky Power Company
Depreciation Study at December 31, 2013
Adjustments to Distribution Retirements, Removal and Salvage by Account
Years 2000 to 2013
Account | Retirements | Removal | Salvage | Comments
369 | 2593304.57 | 2844215.48 | -7011.16 | Eliminate unusual amount of removal cost on blanket work order BKY0000001
371 | 3818859.4 | 2239491.26 | -4402.4 | Eliminate unusual amount of removal cost on blanket work order BKY0000001