## BS Usage for 12 months
Facility Sorc(Query 2 with Supply Chain Aggregate Activity) | Catalog Id(Query 2 with Supply Chain Aggregate Activity) | Trans Qy(Query 2 with Supply Chain Aggregate Activity) | BS Usage Ran 10/16/2014
BSP | 0103141401 | 1 | 12 Month Period
BSP | 0103358250 | 1 | AG1-24
BSP | 0103477620 | 16
BSP | 0103477740 | 16
BSP | 0103477745 | 8
BSP | 0103477770 | 8
BSP | 0104819050 | 10
BSP | 0104834220 | 6
BSP | 0106469672 | 2
BSP | 0106471120 | 2
BSP | 0106485360 | 1
BSP | 0106485520 | 2
BSP | 0106486000 | 5
BSP | 0106486060 | 4
BSP | 0106487825 | 1
BSP | 0106488180 | 8
BSP | 0106501509 | 28
BSP | 0106501510 | 12
BSP | 0106501635 | 1
BSP | 0106501725 | 4
BSP | 0106501823 | 2
BSP | 0106505200 | 1
BSP | 0106514925 | 41
BSP | 0106514968 | 6
BSP | 0106517920 | 1
BSP | 0106519672 | 4
BSP | 0106581752 | 3
BSP | 0106954450 | 3
BSP | 0109271900 | 18
BSP | 0110339152 | 6
BSP | 0111019130 | 1
BSP | 0111023615 | 1
BSP | 0111089194 | 2
BSP | 0111093925 | 2
BSP | 0111093990 | 2
BSP | 0111094100 | 1
BSP | 0111094210 | 1
BSP | 0111094305 | 1
BSP | 0111114900 | 1
BSP | 0111153280 | 1
BSP | 0118010700 | 1
BSP | 0118339400 | 1
BSP | 0121836005 | 2
BSP | 0123115610 | 5
BSP | 0125725775 | 2
BSP | 0127607071 | 10
BSP | 0129309720 | 2
BSP | 0129500110 | 37
BSP | 0142214122 | 1
BSP | 0155564000 | 156
BSP | 0500002946 | 1
BSP | 0500007623 | 2
BSP | 0500012503 | 212
BSP | 0500012647 | 1
BSP | 0500012648 | 1
BSP | 0500012698 | 1
BSP | 0500012699 | 1
BSP | 0500015497 | 10
BSP | 0500015823 | 3
BSP | 0500019226 | 4
BSP | 0500020717 | 2
BSP | 0500020718 | 2
BSP | 0500022702 | 1
BSP | 0500023338 | 3
BSP | 0500023659 | 0
BSP | 0500023661 | 2
BSP | 0500023665 | 12
BSP | 0500028312 | 1
BSP | 0500032591 | 8
BSP | 0500034280 | 1
BSP | 0500034684 | 1
BSP | 0500034891 | 3
BSP | 0500035868 | 34
BSP | 0500036680 | 1
BSP | 0500042258 | 1
BSP | 0500042329 | 1
BSP | 0500042381 | 1
BSP | 0500042628 | 4
BSP | 0500043636 | 5
BSP | 0500043637 | 5
BSP | 0500047609 | 0
BSP | 0500050926 | 5
BSP | 0500050927 | 7
BSP | 0500053217 | 0
BSP | 0500057201 | 256
BSP | 0500061067 | 1
BSP | 0500066335 | 3
87

## Usage by fac
Other Facility Usage Ran 10/16/2014 | [5 empty] | AG1-24
12 Month Period
Facility | Cat Id | Cat Desc | Avg Unit Price | Re Order Point | Target Maximum | Qty In Whse | Trans Qy
AMP | 0103894550 | KIT, REPAIR, ***, BELT, TWO PART EPOXY, PUTTY, PRIMER, FLEXANE | 133.51 | 1 | 2 | 1 | 3
AMP | 0104781880 | BOARD, PRINTED CIRCUIT, INPUT SIGNAL CONVERTER, F/ COAL FEEDER | 254.25 | 1 | 1 | 3 | -1
AMP | 0106486060 | GASKET, FLANGE, NON-SPIRAL, PIPE, 10 IN NOM, 10.125 IN ID, 13.344 IN OD, 0.5 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER | 45.0833 | 3 | 4 | 4 | 6
AMP | 0109267175 | PLUG, OIL, 3/8 IN DIA | 13.2333 | 3 | 6 | 18 | 8
AMP | 0109267176 | PLUG, OIL, 1/4 IN DIA | 10.45 | 3 | 4 | 9 | 17
AMP | 0110339152 | BUSHING, PRIMARY AIR FAN | 36.6101 | 10 | 20 | 15 | 3
AMP | 0111023615 | CAM, STANDARD BLOWING | 181.89 | 1 | 1 | 1 | 1
AMP | 0111077270 | NOZZLE, ***, 3-1/2 IN LG | 179.18 | 2 | 6 | 4 | 1
AMP | 0111094210 | PIN, ROLL, 3/16 IN X 1-1/2 IN | 0.6566 | 6 | 15 | 15 | 12
AMP | 0111147040 | TRIGGER, ***, 360 DEG BLOWING | 80.8315 | 2 | 2 | 2 | 1
AMP | 0129500110 | O-RING, ***, 0.125 IN ID, 0.25 IN OD, 0.0625 IN WD, BUNA-N 70, 006 | 0.5 | 0 | 0 | 0 | 0
AMP | 0129559145 | SEAL, OIL, *** | 4.17 | 2 | 2 | 2 | 3
AMP | 0500023338 | KIT, REPAIR, REBUILD, VACUUM PUMP MODEL 617CA32, (2) SCR, (2) KEEPERS, (2) FLAPPER, (1) PLATE, PISTON ASSY, SLEEVE & HARDWARE | 172 | 3 | 5 | 5 | 11
AMP | 0500023562 | VALVE, SOLENOID, 1 IN NPTF, 120VAC, (2) POSITION SINGLE RETURN, AIR OPERATED, EXPLOSION PROOF COIL, LOCKING, TWIST STYLE, MANUAL OVERRIDE | 756.5 | 1 | 1 | 1 | 2
AMP | 0500023659 | UNIT, HIGH VOLTAGE, 70KV 800MA, F/ PRECIPITATOR | 17658 | 1 | 1 | 1 | 1
AMP | 0500034280 | DRIVE, AC MOTOR, 2 HP (1.5KW), 3PH 600VAC INPUT, 3AMP OUTPUT, IP20 ENCLOSURE, FRAME SIZE B, LED DISPLAY, DIGITAL KEYPAD, POWERFLEX 40 | 859 | 1 | 1 | 1 | 1
CRP | 0111086475 | NUT, FEED TUBE, CARBON STEEL, F/ 2-3/8 IN DIA FEED TUBE | 54.3033 | 1 | 3 | 2 | 4
CRP | 0111089194 | PACKING, FEED TUBE | 59.13 | 3 | 4 | 4 | 6
CRP | 0121852640 | COUPLING, PIPE, 4 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET... | 28.265 | 1 | 2 | 1 | 1
CRP | 0127607071 | GASKET, SPIRAL WOUND, ***, 3-7/8 IN X 4-5/8 IN X 5-1/4 IN, 1500 PSI, FLEXICARB FILLER, 304 SS WINDING, FLEXITALLIC, 900 DEG CONTINUOUS USE | 11.1056 | 0 | 5 | 5 | 10
CRP | 0129559145 | SEAL, OIL, *** | 3.279 | 3 | 4 | 4 | 1
MLP | 0103125850 | IDLER, CONVEYOR BELT, TROUGHING, 35 DEG, 6 IN DIA, 36 IN BELT WD, STEEL ROLL W/ REMOVABLE END BRACKETS | 295.19 | 2 | 5 | 5 | 12
MLP | 0103477620 | BUSHING, HAMMER, PLASTIC | 3.98 | 16 | 16 | 16 | 34
MLP | 0103477715 | PLATE, WEAR | 251.11 | 1 | 1 | 1 | 1
MLP | 0103477745 | SHAFT, HAMMER PIVOT | 31.98 | 9 | 16 | 16 | 8
MLP | 0103477770 | HAMMER, ***, ASTRALLOY HD | 153.2696 | 9 | 16 | 16 | 8
MLP | 0104781880 | BOARD, PRINTED CIRCUIT, INPUT SIGNAL CONVERTER, F/ COAL FEEDER | 260 | 1 | 1 | 1 | 0
MLP | 0104781880 | BOARD, PRINTED CIRCUIT, INPUT SIGNAL CONVERTER, F/ COAL FEEDER | 260 | 1 | 1 | 0 | 0
MLP | 0106483260 | GASKET, RING, 24 IN ID X 25.5 IN OD X 1.5 IN THK, NEOPRENE RUBBER | 62.4 | 2 | 4 | 4 | 4
MLP | 0106486000 | GASKET, FLANGE, NON-SPIRAL, PIPE, 8 IN NOM, 8 IN ID, 10-27/32 IN OD, 1/2 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER, HYDROVEYOR | 36.95 | 6 | 15 | 8 | 34
MLP | 0106486060 | GASKET, FLANGE, NON-SPIRAL, PIPE, 10 IN NOM, 10.125 IN ID, 13.344 IN OD, 0.5 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER | 43.5248 | 3 | 6 | 8 | 3
MLP | 0106519672 | GASKET, FLANGE, NON-SPIRAL, PIPE, 12 IN NOM, 13 IN ID, 16 IN OD, 5/16 IN THK, 500 DEG F MAX, SOFT IRON/RUBBER IMPREGNATED WOVEN FIBERGLASS | 21.1543 | 9 | 12 | 11 | 8
MLP | 0111114740 | ROLLER, BRACKET ASSY, F/ 3-3/4 IN LANCE, FRONT | 269.8623 | 12 | 12 | 12 | 2
MLP | 0118339400 | IMPELLER, PUMP, ***, HIGH CHROME | 3173.8606 | 2 | 2 | 2 | 1
MLP | 0118339400 | IMPELLER, PUMP, ***, HIGH CHROME | 3173.8606 | 2 | 2 | 0 | 1
MLP | 0121852600 | COUPLING, PIPE, 3 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET.. | 22.099 | 4 | 5 | 4 | 2
MLP | 0121852640 | COUPLING, PIPE, 4 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET... | 40.4085 | 2 | 4 | 2 | 5
MLP | 0121852735 | COUPLING, PIPE, 6 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET | 63.76 | 1 | 1 | 1 | 2
MLP | 0126742926 | SENSOR, SPEED, CONVEYOR BELT, DIGITAL, BRUSHLESS, TYPE 61-12C | 735 | 1 | 1 | 1 | 1
MLP | 0127607071 | GASKET, SPIRAL WOUND, ***, 3-7/8 IN X 4-5/8 IN X 5-1/4 IN, 1500 PSI, FLEXICARB FILLER, 304 SS WINDING, FLEXITALLIC, 900 DEG CONTINUOUS USE | 10.5841 | 25 | 36 | 32 | 17
MLP | 0500023338 | KIT, REPAIR, REBUILD, VACUUM PUMP MODEL 617CA32, (2) SCR, (2) KEEPERS, (2) FLAPPER, (1) PLATE, PISTON ASSY, SLEEVE & HARDWARE | 143 | 2 | 4 | 4 | 3
MLP | 0500023665 | MOTOR, COOLING FAN, 0.55KW - 400VY, FLANGED, M2AA71B14-2, F/ ALSTOM PRECIPITATOR | 473.5 | 2 | 2 | 2 | 1
MTP | 0104807900 | WINDOW, SIGHT, 1/2 IN MNPT | 8.59 | 2 | 4 | 4 | 2
MTP | 0104834400 | SHIM, GASKET, 0.002 IN THK, 8.81 IN ID X 10.5 IN OD, PLASTIC, RED | 1.78 | 3 | 5 | 5 | 5
MTP | 0106483260 | GASKET, RING, 24 IN ID X 25.5 IN OD X 1.5 IN THK, NEOPRENE RUBBER | 59.6812 | 4 | 4 | 4 | 1
MTP | 0106486000 | GASKET, FLANGE, NON-SPIRAL, PIPE, 8 IN NOM, 8 IN ID, 10-27/32 IN OD, 1/2 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER, HYDROVEYOR | 36.9247 | 8 | 12 | 6 | 41
MTP | 0106486060 | GASKET, FLANGE, NON-SPIRAL, PIPE, 10 IN NOM, 10.125 IN ID, 13.344 IN OD, 0.5 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER | 40.5 | 1 | 1 | 2 | 1
MTP | 0106503700 | PACKING, ***, RING, 5-1/2 IN X 6-1/2 IN | 18.3 | 0 | 0 | 15 | 5
MTP | 0121836005 | COUPLING, PIPE, 12 IN X 12-3/4 IN OD, STEEL | 411.59 | 1 | 1 | 1 | 2
MTP | 0121852640 | COUPLING, PIPE, 4 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET... | 22.95 | 1 | 1 | 1 | 1
MTP | 0500007623 | PIN, CONVEYOR BELT, 3/16 IN DIA X 33 IN LG, NYLON COATED FLEXIBLE CABLE, W/ BALL & BULLET ENDS FOR AMS FASTENERS | 23 | 2 | 4 | 2 | 3
MTP | 0500012499 | BELT, CONVEYOR, ***, 54 IN WD, 7/32 IN X 1/8 IN THK COVER, 3 PLY, 600 PIW, SURVIVOR, RMA GRADE I, PLYLON PLUS | 52.85 | 1 | 1372 | 1372 | 0
MTP | 0500022282 | KIT, MECHANICAL SEAL, F/ 2.750 STYLE #442 SEAL, RSC FACES, EPR O-RINGS GASKETS, 304 SS | 1532 | 1 | 1 | 1 | 1
MTP | 0500023338 | KIT, REPAIR, REBUILD, VACUUM PUMP MODEL 617CA32, (2) SCR, (2) KEEPERS, (2) FLAPPER, (1) PLATE, PISTON ASSY, SLEEVE & HARDWARE | 172 | 2 | 2 | 2 | 10
RKP | 0106483260 | GASKET, RING, 24 IN ID X 25.5 IN OD X 1.5 IN THK, NEOPRENE RUBBER | 62.4 | 2 | 3 | 3 | 3
RKP | 0106485360 | GASKET, POKE HOLE, 4-1/8 IN ID, 5-5/32 IN OD, 1/4 IN THK, NEOPRENE RUBBER, 40-50 DURO, LOW TEMP | 2.5295 | 2 | 3 | 4 | -1
RKP | 0106486000 | GASKET, FLANGE, NON-SPIRAL, PIPE, 8 IN NOM, 8 IN ID, 10-27/32 IN OD, 1/2 IN THK, 300 F MAX, STEEL REINFORCED, BLACK EPR RUBBER, HYDROVEYOR | 31.2167 | 5 | 6 | 6 | 29
RKP | 0106505200 | PIN, CLEVIS, *** | 1.7 | 2 | 2 | 2 | 1
RKP | 0109267175 | PLUG, OIL, 3/8 IN DIA | 13.4132 | 6 | 7 | 7 | 3
RKP | 0109267176 | PLUG, OIL, 1/4 IN DIA | 12.6833 | 7 | 21 | 21 | 3
RKP | 0111086475 | NUT, FEED TUBE, CARBON STEEL, F/ 2-3/8 IN DIA FEED TUBE | 51.5537 | 6 | 10 | 10 | 11
RKP | 0121852600 | COUPLING, PIPE, 3 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET.. | 28.13 | 1 | 2 | 3 | 1
RKP | 0121852735 | COUPLING, PIPE, 6 IN, GROOVE, 1000 LB, DUCTILE IRON, ASTM A536, GR 65-45-12, FLEXIBLE W/ GR E GREEN STRIPE GASKET | 33.84 | 1 | 1 | 3 | 2
RKP | 0127607071 | GASKET, SPIRAL WOUND, ***, 3-7/8 IN X 4-5/8 IN X 5-1/4 IN, 1500 PSI, FLEXICARB FILLER, 304 SS WINDING, FLEXITALLIC, 900 DEG CONTINUOUS USE | 9.4524 | 10 | 15 | 14 | 30
RKP | 0500009932 | HEAD, SCANNER, DIRECT SIGHT, VIR VI HEAD 1CH/2CL D-S M/CONN | 945 | 1 | 2 | 2 | 1
RKP | 0500023338 | KIT, REPAIR, REBUILD, VACUUM PUMP MODEL 617CA32, (2) SCR, (2) KEEPERS, (2) FLAPPER, (1) PLATE, PISTON ASSY, SLEEVE & HARDWARE | 172 | 2 | 4 | 4 | 2
5 | 44 | [5 empty] | 395
Count All: | 66