## Sheet1
|  | EC-475 |  | Alum |  | Lime |  | Cal-Hypo |  | Bleach |  | Fluoride |  | Carbon |  | KMnO4 |  | Phosphate |  | CUSO4 |  | Delta Floc 801 |  | Sodium Aluminate
|  | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water | Pounds | Pounds per 1,000 gallons of water
June 2013 | 33864699 | 2017 | 0.059561 | 80.2 | 0.0023682 | 721.6 | 0.021308 | 1440.3 | 0.042531 | 4665 | 0.13775 | 355.9 | 0.010509 | 2060.4 | 0.060842 | 82.5 | 0.0024362 | 339.7 | 0.010031 | 668.3 | 0.019734 | 0 | 0 | 0 | 0
July 2013 | 36993149 | 2585 | 0.069878 | 0 | 0 | 1178.6 | 0.03186 | 1410 | 0.038115 | 3678 | 0.099424 | 383.5 | 0.010367 | 2483 | 0.067121 | 77.5 | 0.002095 | 338.4 | 0.0091476 | 829 | 0.02241 | 0 | 0 | 0 | 0
August 2013 | 32836144 | 1859 | 0.056614 | 0 | 0 | 966.2 | 0.029425 | 1520 | 0.04629 | 4226 | 0.1287 | 332.3 | 0.01012 | 2692.5 | 0.081998 | 75.8 | 0.0023084 | 325.3 | 0.0099068 | 847.3 | 0.025804 | 0 | 0 | 0 | 0
September 2013 | 36578339 | 2442 | 0.066761 | 0 | 0 | 1563.7 | 0.042749 | 1783 | 0.048745 | 4013 | 0.10971 | 361.7 | 0.0098884 | 4857.5 | 0.1328 | 56.4 | 0.0015419 | 338.8 | 0.0092623 | 1061.1 | 0.029009 | 0 | 0 | 0 | 0
October 2013 | 38854176 | 1976 | 0.050857 | 0 | 0 | 985.9 | 0.025374 | 1801 | 0.046353 | 3896 | 0.10027 | 381.2 | 0.009811 | 4677.5 | 0.12039 | 7.2 | 0.00018531 | 321.7 | 0.0082797 | 652.4 | 0.016791 | 0 | 0 | 0 | 0
November 2013 | 34834862 | 2045 | 0.058706 | 0 | 0 | 571.3 | 0.0164 | 1397 | 0.040104 | 2416 | 0.069356 | 351.3 | 0.010085 | 1696.5 | 0.048701 | 0 | 0 | 277.6 | 0.007969 | 0 | 0 | 0 | 0 | 0 | 0
December 2013 | 35499607 | 2197 | 0.061888 | 0 | 0 | 447.2 | 0.012597 | 1160 | 0.032676 | 2633 | 0.07417 | 348.8 | 0.0098255 | 2643.4 | 0.074463 | 0 | 0 | 274.9 | 0.0077437 | 0 | 0 | 0 | 0 | 0 | 0
January 2014 | 41717320 | 3137 | 0.075197 | 0 | 0 | 790.2 | 0.018942 | 851 | 0.020399 | 2064 | 0.049476 | 445.2 | 0.010672 | 863.8 | 0.020706 | 0 | 0 | 324.6 | 0.0077809 | 0 | 0 | 0 | 0 | 0 | 0
February 2014 | 33158404 | 2084 | 0.06285 | 0 | 0 | 736.5 | 0.022212 | 551 | 0.016617 | 1230 | 0.037095 | 365.6 | 0.011026 | 0 | 0 | 0 | 0 | 260.8 | 0.0078653 | 0 | 0 | 1036 | 0.031244 | 614.5 | 0.018532
March 2014 | 35687902 | 3184 | 0.089218 | 0 | 0 | 731.7 | 0.020503 | 543 | 0.015215 | 1914 | 0.053632 | 390.4 | 0.010939 | 0 | 0 | 0 | 0 | 286 | 0.0080139 | 0 | 0 | 0 | 0 | 674.8 | 0.018908
April 2014 | 32270575 | 2474 | 0.076664 | 0 | 0 | 593.7 | 0.018398 | 603 | 0.018686 | 1611 | 0.049922 | 354.6 | 0.010988 | 0 | 0 | 0 | 0 | 260.8 | 0.0080817 | 96.5 | 0.0029903 | 0 | 0 | 616.7 | 0.01911
May 2014 | 35667121 | 2260 | 0.063364 | 0 | 0 | 934.5 | 0.026201 | 590 | 0.016542 | 3379 | 0.094737 | 392.1 | 0.010993 | 520.7 | 0.014599 | 0 | 0 | 290.1 | 0.0081335 | 759 | 0.02128 | 0 | 0 | 681.1 | 0.019096
June 2014 | 34618739 | 2286 | 0.066034 | 0 | 0 | 352.7 | 0.010188 | 1034 | 0.029868 | 4260 | 0.12305 | 381.2 | 0.011011 | 2992.1 | 0.08643 | 0 | 0 | 286.6 | 0.0082788 | 993 | 0.028684 | 0 | 0 | 675.1 | 0.019501
July 2014 | 36012964 | 2377 | 0.066004 | 0 | 0 | 618.7 | 0.01718 | 1146 | 0.031822 | 4811 | 0.13359 | 397.4 | 0.011035 | 4228.9 | 0.11743 | 0 | 0 | 307.3 | 0.008533 | 1050.1 | 0.029159 | 0 | 0 | 726.5 | 0.020173
August 2014 | 35383199 | 2062 | 0.058276 | 0 | 0 | 619 | 0.017494 | 1110 | 0.031371 | 4412 | 0.12469 | 389.5 | 0.011008 | 3269.2 | 0.092394 | 0 | 0 | 294.9 | 0.0083345 | 1009.9 | 0.028542 | 0 | 0 | 694 | 0.019614
September 2014 | 35803593 | 1798 | 0.050218 | 0 | 0 | 360.2 | 0.01006 | 1242 | 0.034689 | 4746 | 0.13256 | 390.4 | 0.010904 | 4705.2 | 0.13142 | 0 | 0 | 303.2 | 0.0084684 | 1033.4 | 0.028863 | 0 | 0 | 1340.5 | 0.03744
October 2014 | 35514391 | 2623 | 0.073857 | 0 | 0 | 861.4 | 0.024255 | 1099 | 0.030945 | 3647 | 0.10269 | 381.7 | 0.010748 | 3754.4 | 0.10571 | 0 | 0 | 290.1 | 0.0081685 | 830.3 | 0.023379 | 0 | 0 | 685.8 | 0.01931
November 2014 | 33331137 | 2175 | 0.065254 | 0 | 0 | 1023.1 | 0.030695 | 859 | 0.025772 | 3041 | 0.091236 | 354.2 | 0.010627 | 1856.8 | 0.055708 | 0 | 0 | 270.6 | 0.0081185 | 216.1 | 0.0064834 | 0 | 0 | 719 | 0.021571
December 2014 | 34525841 | 1921 | 0.055639 | 0 | 0 | 498.7 | 0.014444 | 711 | 0.020593 | 3379 | 0.097869 | 370.9 | 0.010743 | 1615.9 | 0.046803 | 0 | 0 | 283.3 | 0.0082054 | 0 | 0 | 0 | 0 | 669.6 | 0.019394
January 2015 | 36239848 | 2003 | 0.055271 | 0 | 0 | 434.7 | 0.011995 | 444 | 0.012252 | 2832 | 0.078146 | 373.3 | 0.010301 | 361 | 0.0099614 | 0 | 0 | 292.3 | 0.0080657 | 0 | 0 | 0 | 0 | 760.1 | 0.020974
February 2015 | 37650630 | 1870 | 0.049667 | 0 | 0 | 643.5 | 0.017091 | 407 | 0.01081 | 2635 | 0.069986 | 376.8 | 0.010008 | 0 | 0 | 0 | 0 | 303.1 | 0.0080503 | 0 | 0 | 0 | 0 | 854.2 | 0.022688
March 2015 | 40368860 | 3309 | 0.081969 | 0 | 0 | 598.6 | 0.014828 | 480 | 0.01189 | 2878 | 0.071293 | 405.6 | 0.010047 | 0 | 0 | 0 | 0 | 318.5 | 0.0078897 | 0 | 0 | 0 | 0 | 873.3 | 0.021633
April 2015 | 34070408 | 2218 | 0.0651 | 0 | 0 | 630.9 | 0.018518 | 386 | 0.011329 | 3223 | 0.094598 | 365.3 | 0.010722 | 0 | 0 | 0 | 0 | 284.2 | 0.0083415 | 0 | 0 | 0 | 0 | 895.8 | 0.026293
May 2015 | 39283078 | 1626 | 0.041392 | 0 | 0 | 702.1 | 0.017873 | 388 | 0.009877 | 5090 | 0.12957 | 415.1 | 0.010567 | 1246 | 0.031718 | 0 | 0 | 330.6 | 0.0084158 | 966.7 | 0.024609 | 0 | 0 | 885.4 | 0.022539
June 2015 | 35364355 | 1619 | 0.045781 | 0 | 0 | 551.8 | 0.015603 | 510 | 0.014421 | 5431 | 0.15357 | 379.4 | 0.010728 | 1464.8 | 0.04142 | 0 | 0 | 301.8 | 0.008534 | 1032 | 0.029182 | 0 | 0 | 708.8 | 0.020043
July 2015 | 37590517 | 2197 | 0.058446 | 0 | 0 | 458.1 | 0.012187 | 849 | 0.022585 | 5096 | 0.13557 | 398.8 | 0.010609 | 2889.4 | 0.076865 | 0 | 0 | 315 | 0.0083798 | 1035.9 | 0.027557 | 0 | 0 | 675.9 | 0.017981
August 2015 | 41284531 | 2448 | 0.059296 | 0 | 0 | 1027.9 | 0.024898 | 906 | 0.021945 | 5168 | 0.12518 | 424.6 | 0.010285 | 2864.9 | 0.069394 | 0 | 0 | 342.8 | 0.0083034 | 1129.4 | 0.027356 | 0 | 0 | 768.2 | 0.018607
September 2015 | 41208951 | 2312 | 0.056104 | 0 | 0 | 1138 | 0.027615 | 1048 | 0.025431 | 4610 | 0.11187 | 418.9 | 0.010165 | 3529.6 | 0.085651 | 0 | 0 | 345.9 | 0.0083938 | 1137.3 | 0.027598 | 0 | 0 | 782.5 | 0.018989
October 2015 | 40448807 | 1730 | 0.04277 | 0 | 0 | 1093.1 | 0.027024 | 923 | 0.022819 | 4077 | 0.10079 | 388.6 | 0.0096072 | 2631.3 | 0.065053 | 0 | 0 | 332.1 | 0.0082104 | 1097.3 | 0.027128 | 0 | 0 | 763.6 | 0.018878
November 2015 | 36927265 | 1674 | 0.045332 | 0 | 0 | 880.2 | 0.023836 | 780 | 0.021123 | 3863 | 0.10461 | 308 | 0.0083407 | 1827.3 | 0.049484 | 0 | 0 | 309.9 | 0.0083922 | 751.4 | 0.020348 | 0 | 0 | 718 | 0.019444
December 2015 | 40613769 | 2515 | 0.061925 | 0 | 0 | 917.6 | 0.022593 | 892 | 0.021963 | 3738 | 0.092038 | 317.3 | 0.0078126 | 1406.3 | 0.034626 | 0 | 0 | 336.9 | 0.0082952 | 0 | 0 | 0 | 0 | 1406.3 | 0.034626