## Sheet1
|  | Ownership |  |  |  | Generator
Generating |  | Percentage (a) |  |  |  | Nameplate | Generator Nameplate Ownership (MW) (c)
Unit (a) | Owner (a) | KU | LGE | Other | Fuels (b) | Ratings (MW) (c) | KU | LGE | Other
Brown 1 | KU | 100% |  |  | Coal | 113.6356 | 114
Brown 2 | KU | 100% |  |  | Coal | 179.52 | 180
Brown 3 | KU | 100% |  |  | Coal | 464 | 464
Brown 5 | Joint | 47% | 53% |  | Gas | 123 | 58 | 65
Brown 6 | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67
Brown 7 | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67
Brown 8 | KU | 100% |  |  | Gas, Oil | 126 | 126
Brown 9 | KU | 100% |  |  | Gas, Oil | 126 | 126
Brown 10 | KU | 100% |  |  | Gas, Oil | 126 | 126
Brown 11 | KU | 100% |  |  | Gas, Oil | 126 | 126
Brown Solar | Joint | 61% | 39% |  | Solar | 10 | 6 | 4
Cane Run 7 | Joint | 78% | 22% |  | Gas | 808 | 630 | 178
Dix Dam 1 (1) | KU | 100% |  |  | Hydro | 11.2 | 11.2
Dix Dam 2 | KU | 100% |  |  | Hydro | 11.2 | 11.2
Dix Dam 3 | KU | 100% |  |  | Hydro | 11.2 | 11.2
Ghent 1 | KU | 100% |  |  | Coal | 556.92 | 557
Ghent 2 | KU | 100% |  |  | Coal | 556.38 | 556
Ghent 3 | KU | 100% |  |  | Coal | 556.56 | 557
Ghent 4 | KU | 100% |  |  | Coal | 556.2 | 556
Haefling 1 | KU | 100% |  |  | Gas, Oil | 20.7 | 21
Haefling 2 | KU | 100% |  |  | Gas, Oil | 20.7 | 21
Mill Creek 1 | LGE |  | 100% |  | Coal | 355.5 |  | 356
Mill Creek 2 | LGE |  | 100% |  | Coal | 355.5 |  | 356
Mill Creek 3 | LGE |  | 100% |  | Coal | 462.6 |  | 463
Mill Creek 4 | LGE |  | 100% |  | Coal | 543.6 |  | 544
Ohio Falls 1 (1) | LGE |  | 100% |  | Hydro | 13 |  | 13
Ohio Falls 2 | LGE |  | 100% |  | Hydro | 13 |  | 13
Ohio Falls 3 | LGE |  | 100% |  | Hydro | 13 |  | 13
|  | Ownership |  |  |  | Generator
Generating |  | Percentage (a) |  |  |  | Nameplate | Generator Nameplate Ownership (MW) (c)
Unit (a) | Owner (a) | KU | LGE | Other | Fuels (b) | Ratings (MW) (c) | KU | LGE | Other
Ohio Falls 4 | LGE |  | 100% |  | Hydro | 10 |  | 10
Ohio Falls 5 | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
Ohio Falls 6 | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
Ohio Falls 7 | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
Ohio Falls 8 | LGE |  | 100% |  | Hydro | 10 |  | 10
Paddys Run 13 | Joint | 47% | 53% |  | Gas | 178.2 | 83.754 | 94.446
Trimble County 1 | LGE |  | 75% | 25% | Coal | 566.1 |  | 425 | 141
Trimble County 2 | Joint | 60.75% | 14.25% | 25% | Coal | 838 | 510 | 119 | 209
Trimble County 5 | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681
Trimble County 6 | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681
Trimble County 7 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593
Trimble County 8 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593
Trimble County 9 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593
Trimble County 10 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593
Cane Run 11 | LGE |  | 100% |  | Gas, Oil | 16.32 |  | 16
Paddy's Run 11 | LGE |  | 100% |  | Gas | 16 |  | 16
Paddy's Run 12 | LGE |  | 100% |  | Gas | 32.64 |  | 33
Zorn 1 | LGE |  | 100% |  | Gas | 18 |  | 18
| KU Gross | LGE Gross | Total Gross | KU Depr. | LGE Depr. | Total Depr. | KU Depr. | LGE Depr. | Total Depr. | 2016 | 2016
Generating | Investment (d) (3) | Investment (d) (3) | Investment (d) (3) | Reserve (e) (3) | Reserve (e) (3) | Reserve (e) (3) | Expense (f) | Expense (f) | Expense (f) | Gross KWH | Net KWH
Unit (a) | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | Produced (g) | Produced (h)
Brown 1 | 84714614.68 |  | 84714614.68 | -49774308.96 |  | -49774308.96 | -4176429.17 |  | -4176429.17 | 264274000 | 224581000
Brown 2 | 65243803.7 |  | 65243803.7 | -32878787.19 |  | -32878787.19 | -1483834.42 |  | -1483834.42 | 464409000 | 410767000
Brown 3 | 959593510.85 |  | 959593510.85 | -242160970.7 |  | -242160970.7 | -27894255.07 |  | -27894255.07 | 1266947000 | 1107092000
Brown 5 | 23887879.64 | 26261284.66 | 50149164.3 | -11691544.2 | -13315420.63 | -25006964.83 | -962188.02 | -1061129.33 | -2023317.35 | 44450000 | 42992000
Brown 6 | 41682017.43 | 24425319.22 | 66107336.65 | -19464326.74 | -9915899.31 | -29380226.05 | -2032872.85 | -1385856.1 | -3418728.95 | 28473000 | 27126000
Brown 7 | 39171355.81 | 22442088.6 | 61613444.41 | -18840385.86 | -11166232.69 | -30006618.55 | -1872979.57 | -1105383.56 | -2978363.13 | 29513000 | 27852000
Brown 8 | 37676407.62 |  | 37676407.62 | -23561898.49 |  | -23561898.49 | -1792466.1 |  | -1792466.1 | 111378000 | 107213000
Brown 9 | 56321311.49 |  | 56321311.49 | -30101445.53 |  | -30101445.53 | -1692226.11 |  | -1692226.11 | 128213000 | 125950000
Brown 10 | 36511347.07 |  | 36511347.07 | -17190237.8 |  | -17190237.8 | -1154581.39 |  | -1154581.39 | 127725000 | 125608000
Brown 11 | 45748645.32 |  | 45748645.32 | -28812152.98 |  | -28812152.98 | -1958189.06 |  | -1958189.06 | 6487500 | 53727000
Brown Solar | 15534585.24 | 9940988.8 | 25475574.04 | -369958.17 | -236336.29 | -606294.46 | -369958.23 | -236336.26 | -606294.49 | 13328000 | 13328000
Cane Run 7 | 411976847.5 | 118444416.86 | 530421264.36 | -18008469.56 | -8881380.74 | -26889850.3 | -11676880.95 | -3357521.21 | -15034402.16 | 4978568000 | 4882121000
Dix Dam 1 (1) | 42370918.61 |  | 42370918.61 | -11849566.1 |  | -11849566.1 | -1249772.77 |  | -1249772.77 | 78769000 | 78652000
Dix Dam 2
Dix Dam 3
Ghent 1 | 732470921.67 |  | 732470921.67 | -259713146.34 |  | -259713146.34 | -36280478.17 |  | -36280478.17 | 3312291000 | 3050212000
Ghent 2 | 426925817.21 |  | 426925817.21 | -196618841.5 |  | -196618841.5 | -6559022.22 |  | -6559022.22 | 3216590000 | 2970771000
Ghent 3 | 694725329 |  | 694725329 | -305345313.59 |  | -305345313.59 | -14934923.06 |  | -14934923.06 | 2755017000 | 2082760000
Ghent 4 | 1197830397.11 |  | 1197830397.11 | -328607489.65 |  | -328607489.65 | -30348173.14 |  | -30348173.14 | 3712315000 | 3104203000
Haefling 1 (2) | 4366959.19 |  | 4366959.19 | -2938524.33 |  | -2938524.33 | -192175.8 |  | -192175.8 | 173000 | 137000
Haefling 2 | [9 empty] | 138000 | 111000
Mill Creek 1 |  | 328252200.8 | 328252200.8 |  | -103671701.42 | -103671701.42 |  | -13132139.96 | -13132139.96 | 2025981000 | 1801866000
Mill Creek 2 |  | 376161674.31 | 376161674.31 |  | -52151573.51 | -52151573.51 |  | -7868990.34 | -7868990.34 | 1868921000 | 1652298000
Mill Creek 3 |  | 534353329.98 | 534353329.98 |  | -121539257.91 | -121539257.91 |  | -9446819.1 | -9446819.1 | 2199137000 | 2007708000
Mill Creek 4 |  | 837207205.16 | 837207205.16 |  | -234853089.27 | -234853089.27 |  | -17432845.06 | -17432845.06 | 2690695000 | 2469155000
Ohio Falls 1 (1) |  | 127492914.42 | 127492914.42 |  | -16553806.68 | -16553806.68 |  | -2926402.81 | -2926402.81 | 320139000 | 313166000
Ohio Falls 2
Ohio Falls 3
| KU Gross | LGE Gross | Total Gross | KU Depr. | LGE Depr. | Total Depr. | KU Depr. | LGE Depr. | Total Depr. | 2016 | 2016
Generating | Investment (d) (3) | Investment (d) (3) | Investment (d) (3) | Reserve (e) (3) | Reserve (e) (3) | Reserve (e) (3) | Expense (f) (3) | Expense (f) (3) | Expense (f) (3) | Gross KWH | Net KWH
Unit (a) | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | 2016-12-31 | Produced (g) | Produced (h)
Ohio Falls 4
Ohio Falls 5
Ohio Falls 6
Ohio Falls 7
Ohio Falls 8
Paddy's Run 13 | 39533730.93 | 44713975.38 | 84247706.31 | -12871620.58 | -14947826.09 | -27819446.67 | -1355497.36 | -1564315.25 | -2919812.61 | 102461000 | 98877000
Trimble County 1 |  | 641927268.03 | 641927268.03 |  | -273134471.96 | -273134471.96 |  | -18475348.09 | -18475348.09 | 3877925000 | 3564930000
Trimble County 2 | 895564524.71 | 215665457.87 | 1111229982.58 | -196333029.81 | -34201277.33 | -230534307.14 | -22668457.51 | -5107953.05 | -27776410.56 | 4463670000 | 4149652000
Trimble County 5 | 48024014.94 | 19749374.41 | 67773389.35 | -21468111.84 | -9137368.69 | -30605480.53 | -1820711.12 | -806681.13 | -2627392.25 | 210330000 | 206990000
Trimble County 6 | 48401814.58 | 19721280.83 | 68123095.41 | -20509557.44 | -8466438.41 | -28975995.85 | -1886879.17 | -782729.59 | -2669608.76 | 89553000 | 87941000
Trimble County 7 | 37111111.45 | 21748072.54 | 58859183.99 | -14092328.47 | -8369488.68 | -22461817.15 | -1415757.8 | -847145.88 | -2262903.68 | 183534000 | 180137000
Trimble County 8 | 35586165.79 | 20841603.05 | 56427768.84 | -13484436.73 | -8016652.74 | -21501089.47 | -1351302.7 | -807224.68 | -2158527.38 | 47164000 | 46199000
Trimble County 9 | 35858471.2 | 21159129.26 | 57017600.46 | -13452087.42 | -8164383.72 | -21616471.14 | -1372296.93 | -820162 | -2192458.93 | 179212000 | 176880000
Trimble County 10 | 39682021.96 | 23329265.67 | 63011287.63 | -15183532.83 | -9125707.9 | -24309240.73 | -1525658.5 | -908913.05 | -2434571.55 | 158908000 | 158030000
Cane Run 11 |  | 3698729.15 | 3698729.15 |  | -3249923.03 | -3249923.03 |  | -213712.03 | -213712.03 | 139000 | 49000
Paddy's Run 11 |  | 2151053.04 | 2151053.04 |  | -1759750.25 | -1759750.25 |  | -1446.96 | -1446.96 | 99000 | 47000
Paddy's Run 12 |  | 4318568.47 | 4318568.47 |  | -4114083.23 | -4114083.23 |  | -126270.24 | -126270.24 | 230000 | 107000
Zorn 1 |  | 1974689.89 | 1974689.89 |  | -2086548.19 | -2086548.19 |  | -2642.69 | -2642.69 | 129000 | 96000
(1) Gross, net generation, investment and depreciation reserve reported for Dix Dam, and Ohio Falls represents total plant.
Generation is not reported on a per unit basis and fixed asset costs are not accumulated on a per unit basis.
(2) Investment and depreciation reserve reported for Haefling represents total plant. Fixed asset costs are not accumulated on a per unit basis
(3) Investment and depreciation reserve is shown for active units only. This does not include structural components still in place, land, and ARO costs associated with retired units.