## Sheet1
Ownership %
Generating Unit | Owner | KU | LG&E | Fuel | Nameplate Rating (MW) | Net Generation in Forecasted Test Year (7/1/2017 – 6/30/2018) (kWh)
Brown 1 | KU |  |  | Coal | 114 | 133696000
Brown 2 | KU |  |  | Coal | 180 | 337136000
Brown 3 | KU |  |  | Coal | 464 | 836934000
Brown 5 | Joint | 47 | 53 | Gas | 123 | 38599000
Brown 6 | Joint | 62 | 38 | Gas/Oil | 177 | 71392000
Brown 7 | Joint | 62 | 38 | Gas/Oil | 177 | 92767000
Brown 8 | KU |  |  | Gas/Oil | 126 | 17630000
Brown 9 | KU |  |  | Gas/Oil | 126 | 11645000
Brown 10 | KU |  |  | Gas/Oil | 126 | 9683000
Brown 11 | KU |  |  | Gas/Oil | 126 | 13080000
Brown Solar | Joint | 61 | 39 | Solar | 10 | 19522000
Cane Run 7 | Joint | 78 | 22 | Gas | 808 | 4881876000
Cane Run 11 | LG&E |  |  | Gas/Oil | 16 | 56000
Dix Dam 1 | KU |  |  | Hydro | 11 | 75806000
Dix Dam 2 | KU |  |  | Hydro | 11
Dix Dam 3 | KU |  |  | Hydro | 11
Ghent 1 | KU |  |  | Coal | 557 | 2984003000
Ghent 2 | KU |  |  | Coal | 556 | 2926599000
Ghent 3 | KU |  |  | Coal | 557 | 2892762000
Ghent 4 | KU |  |  | Coal | 556 | 2928773000
Haefling 1 | KU |  |  | Gas/Oil | 21 | 144000
Haefling 2 | KU |  |  | Gas/Oil | 21
Mill Creek 1 | LG&E |  |  | Coal | 356 | 1892628000
Mill Creek 2 | LG&E |  |  | Coal | 356 | 1578371000
Mill Creek 3 | LG&E |  |  | Coal | 463 | 2296304000
Mill Creek 4 | LG&E |  |  | Coal | 544 | 3205409000
Ohio Falls 1 | LG&E |  |  | Hydro | 13 | 283747000
Ohio Falls 2 | LG&E |  |  | Hydro | 13
Ohio Falls 3 | LG&E |  |  | Hydro | 13
Ohio Falls 4 | LG&E |  |  | Hydro | 13
Ohio Falls 5 | LG&E |  |  | Hydro | 13
Ohio Falls 6 | LG&E |  |  | Hydro | 13
Ohio Falls 7 | LG&E |  |  | Hydro | 13
Ohio Falls 8 | LG&E |  |  | Hydro | 10
Paddy’s Run 11 | LG&E |  |  | Gas | 16 | 209000
Paddy’s Run 12 | LG&E |  |  | Gas | 33 | 182000
Paddy’s Run 13 | Joint | 47 | 53 | Gas | 178 | 192857000
Trimble County 5 | Joint | 71 | 29 | Gas | 199 | 412064000
Trimble County 6 | Joint | 71 | 29 | Gas | 199 | 340822000
Trimble County 7 | Joint | 63 | 37 | Gas | 199 | 216530000
Trimble County 8 | Joint | 63 | 37 | Gas | 199 | 73170000
Trimble County 9 | Joint | 63 | 37 | Gas | 199 | 206922000
Trimble County 10 | Joint | 63 | 37 | Gas | 199 | 47408000
Trimble County 1 | Joint |  | 75 | Coal | 566 | 2063666000
Trimble County 2 | Joint | 60.75 | 14.25 | Coal | 838 | 3367360000
Zorn 1 | LG&E |  |  | Gas | 18 | 126000
Notes:
(1) Net generation data reflect only LG&E and KU's collective ownership share of each unit.
(2) Net generation is forecasted collectively for each of the following stations: Dix Dam, Haefling, Ohio Falls.
(3) Trimble County Units 1 and 2 are also owned by Indiana Municipal Power Agency (12.88%) and Illinois Municipal Electric Agency (12.12%).