## Sheet1
Bullitt County Pipeline
Task | Description | Frequency | Labor Hours | Unit Cost | Burden Rate (Jan 2017) | Estimated Operation & Maintenance Expense
[6 empty] | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028
Maintain corrosion control system | Measure pipe to soil voltage potentials to validate proper operation of cathodic protection system, collect rectifier readings maintain cathodic protection system, and remediate corrosion control deficiencies. | Annual | 24 | 38 | 26.64% | 1154.9203 | 1165.6996 | 1176.5794 | 1187.5608 | 1198.6447 | 1209.8321 | 1221.1239 | 1232.521 | 1244.0246 | 1255.6354
Gas leak survey | Perform leak surveys of the pipeline. Includes annual survey and bi-annual class 3 survey. | Various | 30 | 38.82 | 26.64% | 1474.8029 | 1488.5677 | 1502.461 | 1516.484 | 1530.6378 | 1544.9238 | 1559.343 | 1573.8969 | 1588.5866 | 1603.4134
Pipeline patrols | Perform pipeline patrols as required per regulatory requirements. | Various | 14 | 38.82 | 26.64% | 688.2413 | 694.6649 | 701.1485 | 707.6925 | 714.2976 | 720.9644 | 727.6934 | 734.4852 | 741.3404 | 748.2596
Aerial patrols | Perform pipeline patrols with aerial equipment -identify right of way encroachments, pipeline washouts, and excavation activities nearby pipeline. | Annual |  | 1366 | 0% | 1366 | 1378.7493 | 1391.6177 | 1404.6061 | 1417.7157 | 1430.9478 | 1444.3033 | 1457.7834 | 1471.3894 | 1485.1224
Valve inspections | Perform annual inspections/maintenance. | Annual | 12 | 38.82 | 26.64% | 589.9211 | 595.4271 | 600.9844 | 606.5936 | 612.2551 | 617.9695 | 623.7372 | 629.5588 | 635.4346 | 641.3654
Remote operated valve actuator maintenance | Perform preventative maintenance, operational tests, and repair actuators/control equipment. | Annual | 24 | 37.11 | 26.64% | 1127.8709 | 1138.3977 | 1149.0227 | 1159.7469 | 1170.5712 | 1181.4966 | 1192.5239 | 1203.6541 | 1214.8882 | 1226.2271
Atmospheric corrosion inspections | Perform atmospheric corrosion inspections of above ground piping and remediate exposed piping coating deficiencies. | 3 yr. | 4 | 38.82 | 26.64% | 196.6404 | 198.4757 | 200.3281 | 202.1979 | 204.085 | 205.9898 | 207.9124 | 209.8529 | 211.8115 | 213.7885
Pipeline right-of-way maintenance | Maintain pipeline right-of-ways to provide access for pipeline maintenance and inspections. Includes mowing, tree trimming, and right-of-way repairs. | Annual | 72 | 38.82 | 26.64% | 3539.5269 | 3572.5624 | 3605.9064 | 3639.5615 | 3673.5307 | 3707.817 | 3742.4233 | 3777.3526 | 3812.6079 | 3848.1922
Pipeline locating | Respond to pipeline locate requests by locating the pipeline within 48 hours of receiving an underground locate request from the Kentucky One-Call System 811 center. Provide pipeline mapping updates to the 811 center. | As needed | 54 | 38.82 | 26.64% | 2654.6451 | 2679.4218 | 2704.4298 | 2729.6711 | 2755.148 | 2780.8628 | 2806.8175 | 2833.0144 | 2859.4559 | 2886.1442
Monitoring third party excavations or blasting activities | Monitor third party excavations or blasting operations near the pipeline to ensure pipeline integrity is maintained. | As needed | 40 | 38.82 | 26.64% | 1966.4038 | 1984.7569 | 2003.2813 | 2021.9786 | 2040.8504 | 2059.8983 | 2079.1241 | 2098.5292 | 2118.1155 | 2137.8846
Regulator station maintenance | Perform annual inspections and maintenance of gas regulation and over pressure protection equipment. | Annual | 16 | 37.11 | 26.64% | 751.9139 | 758.9318 | 766.0151 | 773.1646 | 780.3808 | 787.6644 | 795.0159 | 802.4361 | 809.9255 | 817.4848
Misc. compliance functions | Public awareness, record keeping, Class location review, Identified site survey, valve spacing review, etc. | As needed | 1 | 1500 | 0% | 1500 | 1514 | 1528.1307 | 1542.3932 | 1556.7889 | 1571.3189 | 1585.9846 | 1600.7871 | 1615.7278 | 1630.8079
Misc. Materials | Line markers, materials for repairing right of ways, pipe coatings, regulator station materials, etc. | As needed | 1 | 2500 | 13% | 2825 | 2851.3667 | 2877.9794 | 2904.8406 | 2931.9524 | 2959.3173 | 2986.9376 | 3014.8157 | 3042.954 | 3071.3549
Pipeline integrity management program | Perform pipeline integrity inspections. | 10 year |  | 325000 | 0% | Estimated Operation & Maintenance Expense 2028: 356639.5655
[5 empty] | Total1 | 19835.8866 | 20021.0216 | 20207.8844 | 20396.4914 | 20586.8586 | 20779.0026 | 20972.94 | 21168.6874 | 21366.2618 | 378205.2458
|  | Consumer Price Index |  |  | Assumptions
|  | (3 Year Average) |  |  | 1 O&M cost escalations based on 2014-2016 average CPI
|  | Year | CPI
|  | 2014 | 1.6
|  | 2015 | 0.1
|  | 2016 | 1.1
|  | Average | 0.9333%