## Frequency of Maint Activ
Mitchell Plant Maintenance
Frequency of Maintenance Activities
Maintenance Activities | Daily | Weekly | Monthly | By Outage | Annually | Other
Ash Handling Facilities | X | X | X |  |  | X
Ash, Wastewater CCR |  | X | X |  |  | X
Ash, Wastewater-Landfill | X | X | X |  |  | X
Boiler Draft/Combustn Air Grp | X | X | X | X | X
Boiler/Boiler Components | X | X | X | X | X
Boiler-FGD Associated | X | X | X | X | X | X
Cooling Twr, Misc Wtr, ChemGrp |  | X | X |  | X | X
Environmental | X | X | X
FGD (Scrubber) Group | X | X | X | X | X | X
Fossil/Steam-OthDirectUnitCost | X | X | X |  |  | X
Fuel | X | X | X |  |  | X
Generator & Support Systems |  | X | X |  |  | X
Main Generator System |  | X | X | X | X | X
Main Turbine System |  | X | X | X | X | X
Other | X | X | X |  |  | X
Precipitator | X | X | X |  |  | X
Regulatory | X | X | X | X | X | X
SCR | X | X | X | X | X | X
Stm, Condensate, FeedwtrSysGrp | X | X | X |  |  | X
Turbine & Support Systems |  | X | X | X | X | X

## Maint Activ Costs 2012-16
Mitchell Plant Maintenance
Historical Activities and Costs
Sum of Amt $ | By Year
Maintenance Activities | 2012 | 2013 | 2014 | 2015 | 2016 | Grand Total
Ash Handling Facilities |  |  |  |  | 1552.77 | 1552.77
Ash, Wastewater CCR |  |  |  | 17174.69 | 1842.11 | 19016.8
Ash, Wastewater-Landfill |  | 8000 | 0 | 4302.96 | 32.18 | 12335.14
Boiler & Auxiliaries | 64690.145 | 89498.35 |  |  |  | 154188.495
Boiler/Boiler Components | 2073216.495 | 3162933.35 | 1591428.37 | 5536148.33 | 2294388.27 | 14658114.815
Boiler-FGD Associated | 77789.15 | 23906.54 | 1.42 | 0 | 0 | 101697.11
Boiler-Mercury |  | 246138.34 | 114339.82 |  | 17647.32 | 378125.48
Coal Pulverizers/Hammer Mills | 7982.435 | 485.735 | 2886.3 | 21437.71 | 7943 | 40735.18
Condenser & Auxiliaries | -31400.625 |  | 89108.18 | 25959.34 |  | 83666.895
Cooling Twr, Misc Wtr, ChemGrp | 185.475 | 1038.365 | 1875.2 | 100268.63 | 131258.86 | 234626.53
Environmental | 126235.24 | 352173.285 | 486353.22 | 329960.83 | 348180.77 | 1642903.345
FGD (Scrubber) Group | 967710.15 | 2662424.83 | 735410.33 | 1292009.53 | 1181660.85 | 6839215.69
Fossil/Steam-OthDirectUnitCost | 3862242.095 | 3785373.035 | 4005892.209 | 3915470.55 | 4456104.216 | 20025082.105
Fuel | 806355.795 | 525472.9 | 399497.98 | 352574.19 | 714832.26 | 2798733.125
Fuel Systems Group | 16462.235 |  |  |  | 9.95 | 16472.185
Generator & Support Systems |  | 23065.05 | 39321.35 | 78423.16 | 4.84 | 140814.4
Main Generator System | 46821.515 | 227218.62 |  | 401572.85 | 127737.65 | 803350.635
Main Turbine System | 247417.47 | 796057.1 | 307663.33 | 1289574.66 | 198053.94 | 2838766.5
Other | 740364.92 | 807686.115 | 605389.92 | 1167631.28 | 1055495.9 | 4376568.135
Precipitator | 847745.14 | 593107.88 | 119104.23 | 855903.12 | 272051.02 | 2687911.39
Regulatory | 19162.085 | 8128.575 | 3385.12 | 19573 | 940 | 51188.78
SCR | 25562.765 | 28541.805 | 50707.301 | 747887.78 | 25627.49 | 878327.141
Turbine & Support Systems | 612986.91 | 471061.64 |  |  |  | 1084048.55
Turbine Valves & Controls | 358906.09 |  |  |  |  | 358906.09
Wet Gas Scrubber | 8970.045 | 11744.66 | 55866.35 | 361838.02 | 50813.31 | 489232.385
Grand Total | 10879405.53 | 13824056.175 | 8608230.63 | 16517710.63 | 10886176.706 | 60715579.671