## 2011
Current Year Retired Footage | 42153 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2011
Bare Steel
Current Year Retired Footage | 42153 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 0 | hours
Current Year Time Savings for Main Leak Survey | 2.5268 | hours
Total Dollars Save for Main Leak Survey | 88.4375 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2011
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 641 | services
Previous Years Leak Surveying Services Time Savings | 0 | minutes
Current Year Time Savings for Service Line Leak Survey | 2.4 | hours
Total Dollars Save for Service Line Leak Survey | 84 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2011
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 804 | services
Previous Years Leak Revaluation Time Savings |  | minutes
Current Year Time Savings for Leak Revaluation | 12.8375 | hours
Total Dollars Save for Leak Revaluation | 449.3127 | dollars
Total O&M Savings Bare Steel Program 2011 | 621.7501 | dollars
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B24: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2012
Current Year Retired Footage | 86691 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2012
Current Year Retired Footage | 86691 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 2.5268 | hours
Current Year Time Savings for Main Leak Survey | 7.7233 | hours
Total Dollars Save for Main Leak Survey | 270.3162 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2012
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 1463 | services
Previous Years Leak Surveying Services Time Savings | 2.4 | hours
Current Year Time Savings for Service Line Leak Survey | 31.66 | hours
Total Dollars Save for Service Line Leak Survey | 1108.1 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2012
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 832 | services
Previous Years Leak Revaluation Time Savings | 12.8375 | hours
Current Year Time Savings for Leak Revaluation | 40.1583 | hours
Total Dollars Save for Leak Revaluation | 1405.5407 | dollars
Total O&M Savings Bare Steel Program 2012 | 2783.9568 | dollars
Total O&M Savings Since Inception | 3405.707
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2013a
Current Year Retired Footage | 119693 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2013
Current Year Retired Footage | 119693 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 7.7233 | hours
Current Year Time Savings for Main Leak Survey | 14.8981 | hours
Total Dollars Save for Main Leak Survey | 521.4335 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2013
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 2320 | services
Previous Years Leak Surveying Services Time Savings | 31.66 | hours
Current Year Time Savings for Service Line Leak Survey | 78.06 | hours
Total Dollars Save for Service Line Leak Survey | 2732.1 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2013
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 864 | services
Previous Years Leak Revaluation Time Savings | 40.1583 | hours
Current Year Time Savings for Leak Revaluation | 79.3306 | hours
Total Dollars Save for Leak Revaluation | 2776.5696 | dollars
Total O&M Savings Bare Steel Program 2013 | 6030.103 | dollars
Total O&M Savings Since Inception | 9435.81
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2014
Current Year Retired Footage | 152674 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2014
Current Year Retired Footage | 152674 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 14.8981 | hours
Current Year Time Savings for Main Leak Survey | 24.0499 | hours
Total Dollars Save for Main Leak Survey | 841.7452 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2014
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 2670 | services
Previous Years Leak Surveying Services Time Savings | 78.06 | minutes
Current Year Time Savings for Service Line Leak Survey | 131.46 | hours
Total Dollars Save for Service Line Leak Survey | 4601.1 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2014
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 862 | services
Previous Years CP Readings Time Savings | 79.3306 | minutes
Current Year Time Savings for Leak Revaluation | 129.1809 | hours
Total Dollars Save for Leak Revaluation | 4521.3327 | dollars
Total O&M Savings Bare Steel Program 2014 | 9964.1779 | dollars
Total O&M Savings Since Inception | 19399.9879
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2015a
Current Year Retired Footage | 239240 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2015
Current Year Retired Footage | 239240 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 24.0499 | hours
Current Year Time Savings for Main Leak Survey | 38.3907 | hours
Total Dollars Save for Main Leak Survey | 1650.7988 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2015
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 2341 | services
Previous Years Leak Surveying Services Time Savings | 131.46 | minutes
Current Year Time Savings for Service Line Leak Survey | 178.28 | hours
Total Dollars Save for Service Line Leak Survey | 7666.04 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2015
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 840 | services
Previous Years CP Readings Time Savings | 129.1809 | minutes
Current Year Time Savings for Leak Revaluation | 205.3028 | hours
Total Dollars Save for Leak Revaluation | 8828.0183 | dollars
Total O&M Savings Bare Steel Program 2015 | 18144.8572 | dollars
Total O&M Savings Since Inception | 37544.845
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $43 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B25: shudson: $43 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks. Average the current and prior 12 month periods

## 2015 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2015
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 24.0499 | hours
Current Year Time Savings for Main Leak Survey | 24.0499 | hours
Total Dollars Save for Main Leak Survey | 841.7452 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2015
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 131.46 | minutes
Current Year Time Savings for Service Line Leak Survey | 131.46 | hours
Total Dollars Save for Service Line Leak Survey | 4601.1 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2015
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 129.1809 | minutes
Current Year Time Savings for Leak Revaluation | 129.1809 | hours
Total Dollars Save for Leak Revaluation | 4521.3327 | dollars
Total O&M Savings Bare Steel Program 2015 | 9964.1779 | dollars
Total O&M Savings Since Inception | 29364.1658
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2016
Current Year Retired Footage | 190709 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2016
Current Year Retired Footage | 190709 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 38.3907 | hours
Current Year Time Savings for Main Leak Survey | 49.8224 | hours
Total Dollars Save for Main Leak Survey | 1843.4279 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2016
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 1708 | services
Previous Years Leak Surveying Services Time Savings | 178.28 | minutes
Current Year Time Savings for Service Line Leak Survey | 212.44 | hours
Total Dollars Save for Service Line Leak Survey | 7860.28 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2016
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 721 | services
Previous Years CP Readings Time Savings | 205.3028 | minutes
Current Year Time Savings for Leak Revaluation | 257.3865 | hours
Total Dollars Save for Leak Revaluation | 9523.3018 | dollars
Total O&M Savings Bare Steel Program 2016 | 19227.0097 | dollars
Total O&M Savings Since Inception | 56771.8547
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $37 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B25: shudson: $37 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks
Note on B36: Sidney W. Hudson: same as note in B25

## 2017
Current Year Retired Footage | 236243 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2017
Current Year Retired Footage | 236243 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 49.8224 | hours
Current Year Time Savings for Main Leak Survey | 63.9835 | hours
Total Dollars Save for Main Leak Survey | 2239.4236 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2017
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 2710 | services
Previous Years Leak Surveying Services Time Savings | 212.44 | minutes
Current Year Time Savings for Service Line Leak Survey | 266.64 | hours
Total Dollars Save for Service Line Leak Survey | 9332.4 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2017
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 758 | services
Previous Years CP Readings Time Savings | 257.3865 | minutes
Current Year Time Savings for Leak Revaluation | 325.2169 | hours
Total Dollars Save for Leak Revaluation | 11382.5919 | dollars
Total O&M Savings Bare Steel Program 2017 | 22954.4155 | dollars
Total O&M Savings Since Inception | 79726.2703
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks, take active as of 7/1/xxxx for last 2 years and average them

## 2018
Current Year Retired Footage | 326684 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2018
Current Year Retired Footage | 326684 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 63.9835 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 3175.5084 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2018
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 2856 | services
Previous Years Leak Surveying Services Time Savings | 266.64 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 12302.88 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2018
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 623 | services
Previous Years CP Readings Time Savings | 325.2169 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 15287.7567 | dollars
Total O&M Savings Bare Steel Program 2018 | 30766.1451 | dollars
Total O&M Savings Since Inception | 110492.4153
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $38 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits $56,900 (MID PT GRADE 3 AS OF 7.18.17) / 2080 * .3888 (FY 17 BENEFITS %).
Note on B21: shudson: = to budgeted number of expected replacements
Note on B25: shudson: shudson: $38 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits $56,900 (MID PT GRADE 3 AS OF 7.18.17) / 2080 * .3888 (FY 17 BENEFITS %).
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks, take active as of 7/1/xxxx for last 2 years and average them

## 2019 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2019
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2019
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2019
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2019 | 28337.2389 | dollars
Total O&M Savings Since Inception | 138829.6542
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2020 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2020
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2020
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2020
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2020 | 28337.2389 | dollars
Total O&M Savings Since Inception | 167166.8931
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2021 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2021
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2021
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2021
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2021 | 28337.2389 | dollars
Total O&M Savings Since Inception | 195504.132
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2022 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2022
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2022
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2022
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2022 | 28337.2389 | dollars
Total O&M Savings Since Inception | 223841.3708
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2023 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2023
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2023
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2023
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2023 | 28337.2389 | dollars
Total O&M Savings Since Inception | 252178.6097
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2024 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2024
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2024
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2024
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2024 | 28337.2389 | dollars
Total O&M Savings Since Inception | 280515.8486
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2025 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2025
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2025
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2025
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2025 | 28337.2389 | dollars
Total O&M Savings Since Inception | 308853.0875
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks

## 2026 (hidden)
Current Year Retired Footage | 0 | feet
Total Footage to be Retired | 1320000 | feet
ANNUAL TIME SAVINGS FOR LEAK SURVEYING MAIN 2026
Current Year Retired Footage | 0 | feet
Feet / Mile | 5280 | feet
2.11 Hours / Mile | 2.11 | hours
Previous Years Leak Surveying Main Time Savings | 83.566 | hours
Current Year Time Savings for Main Leak Survey | 83.566 | hours
Total Dollars Save for Main Leak Survey | 2924.8104 | dollars
ANNUAL TIME SAVINGS FOR LEAK SURVEYING SERVICES 2026
1.5 Minutes / Service | 1.5 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Renewed Bare Steel Services | 0 | services
Previous Years Leak Surveying Services Time Savings | 323.76 | minutes
Current Year Time Savings for Service Line Leak Survey | 323.76 | hours
Total Dollars Save for Service Line Leak Survey | 11331.6 | dollars
ANNUAL TIME SAVINGS FOR LEAK REVALUATION 2026
30 Minutes / Revaluation | 30 | minutes
60 Minutes / Hour | 60 | minutes
Current Years Grade 3 Leaks | 0 | services
Previous Years CP Readings Time Savings | 402.3094 | minutes
Current Year Time Savings for Leak Revaluation | 402.3094 | hours
Total Dollars Save for Leak Revaluation | 14080.8285 | dollars
Total O&M Savings Bare Steel Program 2026 | 28337.2389 | dollars
Total O&M Savings Since Inception | 337190.3263
C:\Users\jdensman\AppData\Local\Microsoft\Windows\INetCache\Content.Outlook\XV8127HH\[KY PRP OM Savings 2017 Final.xlsx]2018
Note on B3: shudson: input each year from specific budgeted projects
Note on B4: shudson: will not change, amount filed in case
Note on B8: shudson: = B3
Note on B13: shudson: .15 factor is the estimated % of savings due to surveying every 5 instead of 3 yrs
Note on B14: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B21: shudson: Based on 3 year avg, should be 665 for the functional + specific projects
Note on B25: shudson: $35 is a per hr estimate based on the mid pt of a grade 3 employee + associated benefits
Note on B32: shudson: get this number from Bruce T. # of grade 3 leaks