## 1. CUs FROM ET FILE
STAFF-REHEARING-DR-01-009 Attachment 1 | Witness: B.L.Sailers | Tab 1 of 4 |  | Case No. 2017-00321
[20 empty] | Minor Materials adder | Stores, Freight, Handling |  |  |  |  | Fleet Indirect Adder | Design and Project Mgmt Adder | Mgmt and Supervision Adder |  |  | Levelized Fixed Charge Rate
[12 empty] | kWh = (Wattage * (4160 hrs/12 months))/1000 | [7 empty] | 4.98% | 11% |  |  |  |  | 22.07% | 10.81% | 40.8% |  | Fixtures | 12.47%
[7 empty] | Costs updated 01/10/17 | [22 empty] | Poles | 9.63%
CU Name | Description | Equip Type | Color | Technology | Pub/Pri | Item Cost | Item Cost | BILLING TYPE | DESCRIPTION | INITIAL LUMENS | LAMP WATTAGE | Monthly kWh | FIXTURE | MAINTENANCE |  | EQUIP Cost from G | Fixture cost | Crew Hourly Rate w/ 60% Burden | Hours | PUB | Stores, Freight, Handling | Total Material | Set Up Hrs | Set Up Overheads | Labor | Fleet Indirect Adder | Design and Project Mgmt Adder | Mgmt and Supervision Adder | Total Labor | Total Labor, Material & OH's | Monthly Rate
LF-LED-50W-SL-BK-MW | 50W Standard LED-BLACK | Fixture | Black | LED | PUB | 330 | 353.07 | LF-LED-50W-SL-BK-MW | 50W Standard LED-BLACK | 4521 | 50 | 17.3333 | 4.9317 | 4.24 |  | 353.07 | 353.07 | 53.54 | 0.3 | 17.5829 | 38.8377 | 409.4906 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 474.5824 | 4.9317
LF-LED-70W-SL-BK-MW | 70W Standard LED-BLACK | Fixture | Black | LED | PUB | 345 | 351.99 | LF-LED-70W-SL-BK-MW | 70W Standard LED-BLACK | 6261 | 70 | 24.2667 | 4.9187 | 4.24 |  | 351.99 | 351.99 | 53.54 | 0.3 | 17.5291 | 38.7189 | 408.238 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 473.3298 | 4.9187
LF-LED-110W-SL-BK-MW | 110W Standard LED-BLACK | Fixture | Black | LED | PUB | 382 | 406.91 | LF-LED-110W-SL-BK-MW | 110W Standard LED-BLACK | 9336 | 110 | 38.1333 | 5.5806 | 4.24 |  | 406.91 | 406.91 | 53.54 | 0.3 | 20.2641 | 44.7601 | 471.9342 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 537.026 | 5.5806
LF-LED-150W-SL-BK-MW | 150W Standard LED-BLACK | Fixture | Black | LED | PUB | 542 | 557.31 | LF-LED-150W-SL-BK-MW | 150W Standard LED-BLACK | 12642 | 150 | 52 | 7.3933 | 4.24 |  | 557.31 | 557.31 | 53.54 | 0.3 | 27.754 | 61.3041 | 646.3681 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 711.4599 | 7.3933
LF-LED-220W-SL-BK-MW | 220W Standard LED-BLACK | Fixture | Black | LED | PUB | 624 | 639.28 | LF-LED-220W-SL-BK-MW | 220W Standard LED-BLACK | 18641 | 220 | 76.2667 | 8.3812 | 5.17 |  | 639.28 | 639.28 | 53.54 | 0.3 | 31.8361 | 70.3208 | 741.4369 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 806.5287 | 8.3812
LF-LED-280W-SL-BK-MW | 280W Standard LED-BLACK | Fixture | Black | LED | PUB | 776 | 799.73 | LF-LED-280W-SL-BK-MW | 280W Standard LED-BLACK | 24191 | 280 | 97.0667 | 10.315 | 5.17 |  | 799.73 | 799.73 | 53.54 | 0.3 | 39.8266 | 87.9703 | 927.5269 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 992.6186 | 10.315
LF-LED-50W-DA-BK-MW | 50W Deluxe Acorn LED-BLACK | Fixture | Black | LED | PUB | 1058 | 1137.01 | LF-LED-50W-DA-BK-MW | 50W Deluxe Acorn LED-BLACK | 5147 | 50 | 17.3333 | 14.3799 | 4.24 |  | 1137.01 | 1137.01 | 53.54 | 0.3 | 56.6231 | 125.0711 | 1318.7042 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1383.796 | 14.3799
LF-LED-50W-AC-BK-MW | 50W Acorn LED-BLACK | Fixture | Black | LED | PUB | 948 | 1019.01 | LF-LED-50W-AC-BK-MW | 50W Acorn LED-BLACK | 5147 | 50 | 17.3333 | 12.9578 | 4.24 |  | 1019.01 | 1019.01 | 53.54 | 0.3 | 50.7467 | 112.0911 | 1181.8478 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1246.9396 | 12.9578
LF-LED-50W-MB-BK-MW | 50W Mini Bell LED-BLACK | Fixture | Black | LED | PUB | 891 | 957.65 | LF-LED-50W-MB-BK-MW | 50W Mini Bell LED-BLACK | 4500 | 50 | 17.3333 | 12.2183 | 4.24 |  | 957.65 | 957.65 | 53.54 | 0.3 | 47.691 | 105.3415 | 1110.6825 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1175.7743 | 12.2183
LF-LED-70W-BE-BK-MW | 70W Bell LED-BLACK | Fixture | Black | LED | PUB | 1150 | 1234.95 | LF-LED-70W-BE-BK-MW | 70W Bell LED-BLACK | 5508 | 70 | 24.2667 | 15.5603 | 4.24 |  | 1234.95 | 1234.95 | 53.54 | 0.3 | 61.5005 | 135.8445 | 1432.295 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1497.3868 | 15.5603
LF-LED-50W-TR-BK-MW | 50W Traditional LED-BLACK | Fixture | Black | LED | PUB | 686 | 722.73 | LF-LED-50W-TR-BK-MW | 50W Traditional LED-BLACK | 3230 | 50 | 17.3333 | 9.3869 | 4.24 |  | 722.73 | 722.73 | 53.54 | 0.3 | 35.992 | 79.5003 | 838.2223 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 903.314 | 9.3869
LF-LED-50W-OT-BK-MW | 50W Open Traditional LED-BLACK | Fixture | Black | LED | PUB | 686 | 722.73 | LF-LED-50W-OT-BK-MW | 50W Open Traditional LED-BLACK | 3230 | 50 | 17.3333 | 9.3869 | 4.24 |  | 722.73 | 722.73 | 53.54 | 0.3 | 35.992 | 79.5003 | 838.2223 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 903.314 | 9.3869
LF-LED-50W-EN-BK-MW | 50W Enterprise LED-BLACK | Fixture | Black | LED | PUB | 922 | 991.28 | LF-LED-50W-EN-BK-MW | 50W Enterprise LED-BLACK | 3880 | 50 | 17.3333 | 12.6236 | 4.24 |  | 991.28 | 991.28 | 53.54 | 0.3 | 49.3657 | 109.0408 | 1149.6865 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1214.7783 | 12.6236
LF-LED-70W-ODA-BK-MW | 70W LED Open Deluxe Acorn | Fixture | Black | LED | PRI | 1031 | 1107.51 | LF-LED-70W-ODA-BK-MW | 70W LED Open Deluxe Acorn | 6500 | 70 | 24.2667 | 14.0244 | 4.24 |  | 1107.51 | 1107.51 | 53.54 | 0.3 | 55.154 | 121.8261 | 1284.4901 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1349.5819 | 14.0244
LF-LED-150W-TD-BK-MW | 150W LED Teardrop | Fixture | Black | LED | PRI | 1403 | 1506.35 | LF-LED-150W-TD-BK-MW | 150W LED Teardrop | 12500 | 150 | 52 | 18.8313 | 4.24 |  | 1506.35 | 1506.35 | 53.54 | 0.3 | 75.0162 | 165.6985 | 1747.0647 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1812.1565 | 18.8313
LF-LED-50W-TDP-BK-MW | 50W LED Teardrop Pedestrian | Fixture | Black | LED | PRI | 1128 | 1211.35 | LF-LED-50W-TDP-BK-MW | 50W LED Teardrop Pedestrian | 4500 | 50 | 17.3333 | 15.2759 | 4.24 |  | 1211.35 | 1211.35 | 53.54 | 0.3 | 60.3252 | 133.2485 | 1404.9237 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1470.0155 | 15.2759
220W LED SHOEBOX | 220W LED Shoebox | Fixture | none | LED | PUB | 955 | 1026.09 | 220W LED SHOEBOX | 220W LED Shoebox | 18500 | 220 | 76.2667 | 13.0431 | 5.17 |  | 1026.09 | 1026.09 | 53.54 | 0.3 | 51.0993 | 112.8699 | 1190.0592 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1255.151 | 13.0431
LF-LED-50W-SL-BK-MW | MW-LIGHT LED 50W 4521 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 330 | 353.07 | LF-LED-50W-SL-BK-MW | MW-LIGHT LED 50W 4521 LUMENS STANDARD LED BLACK TYPE III 4000K | 4521 | 50 | 17.3333 | 4.9317 | 4.24 |  | 353.07 | 353.07 | 53.54 | 0.3 | 17.5829 | 38.8377 | 409.4906 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 474.5824 | 4.9317
LF-LED-50W-SL-BK-MW | MW-LIGHT LED 50W 4521 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 330 | 353.07 | LF-LED-50W-SL-BK-MW | MW-LIGHT LED 50W 4521 LUMENS STANDARD LED BLACK TYPE III 4000K | 4521 | 50 | 17.3333 | 4.9317 | 4.24 |  | 353.07 | 353.07 | 53.54 | 0.3 | 17.5829 | 38.8377 | 409.4906 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 474.5824 | 4.9317
LF-LED-70W-SL-BK-MW | MW-LIGHT LED 70W 6261 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 345 | 351.99 | LF-LED-70W-SL-BK-MW | MW-LIGHT LED 70W 6261 LUMENS STANDARD LED BLACK TYPE III 4000K | 6261 | 70 | 24.2667 | 4.9187 | 4.24 |  | 351.99 | 351.99 | 53.54 | 0.3 | 17.5291 | 38.7189 | 408.238 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 473.3298 | 4.9187
LF-LED-70W-SL-BK-MW | MW-LIGHT LED 70W 6261 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 345 | 351.99 | LF-LED-70W-SL-BK-MW | MW-LIGHT LED 70W 6261 LUMENS STANDARD LED BLACK TYPE III 4000K | 6261 | 70 | 24.2667 | 4.9187 | 4.24 |  | 351.99 | 351.99 | 53.54 | 0.3 | 17.5291 | 38.7189 | 408.238 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 473.3298 | 4.9187
LF-LED-110W-SL-BK-MW | MW-LIGHT LED 110W 9336 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 382 | 406.91 | LF-LED-110W-SL-BK-MW | MW-LIGHT LED 110W 9336 LUMENS STANDARD LED BLACK TYPE III 4000K | 9336 | 110 | 38.1333 | 5.5806 | 4.24 |  | 406.91 | 406.91 | 53.54 | 0.3 | 20.2641 | 44.7601 | 471.9342 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 537.026 | 5.5806
LF-LED-110W-SL-BK-MW | MW-LIGHT LED 110W 9336 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 382 | 406.91 | LF-LED-110W-SL-BK-MW | MW-LIGHT LED 110W 9336 LUMENS STANDARD LED BLACK TYPE III 4000K | 9336 | 110 | 38.1333 | 5.5806 | 4.24 |  | 406.91 | 406.91 | 53.54 | 0.3 | 20.2641 | 44.7601 | 471.9342 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 537.026 | 5.5806
LF-LED-150W-SL-BK-MW | MW-LIGHT LED 150W 12642 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 542 | 557.31 | LF-LED-150W-SL-BK-MW | MW-LIGHT LED 150W 12642 LUMENS STANDARD LED BLACK TYPE III 4000K | 12642 | 150 | 52 | 7.3933 | 4.24 |  | 557.31 | 557.31 | 53.54 | 0.3 | 27.754 | 61.3041 | 646.3681 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 711.4599 | 7.3933
LF-LED-150W-SL-BK-MW | MW-LIGHT LED 150W 12642 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 542 | 557.31 | LF-LED-150W-SL-BK-MW | MW-LIGHT LED 150W 12642 LUMENS STANDARD LED BLACK TYPE III 4000K | 12642 | 150 | 52 | 7.3933 | 4.24 |  | 557.31 | 557.31 | 53.54 | 0.3 | 27.754 | 61.3041 | 646.3681 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 711.4599 | 7.3933
LF-LED-150W-SL-IV-BK-MW | MW-LIGHT LED 150W 13156 LUMENS STANDARD LED TYPE IV BLACK 4000K | Fixture | Black | LED | PRI | 542 | 557.31 | LF-LED-150W-SL-IV-BK-MW | MW-LIGHT LED 150W 13156 LUMENS STANDARD LED TYPE IV BLACK 4000K | 13156 | 150 | 52 | 7.3933 | 4.24 |  | 557.31 | 557.31 | 53.54 | 0.3 | 27.754 | 61.3041 | 646.3681 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 711.4599 | 7.3933
LF-LED-150W-SL-IV-BK-MW | MW-LIGHT LED 150W 13156 LUMENS STANDARD LED TYPE IV BLACK 4000K | Fixture | Black | LED | PUB | 542 | 557.31 | LF-LED-150W-SL-IV-BK-MW | MW-LIGHT LED 150W 13156 LUMENS STANDARD LED TYPE IV BLACK 4000K | 13156 | 150 | 52 | 7.3933 | 4.24 |  | 557.31 | 557.31 | 53.54 | 0.3 | 27.754 | 61.3041 | 646.3681 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 711.4599 | 7.3933
LF-LED-220W-SL-BK-MW | MW-LIGHT LED 220W 18642 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 624 | 639.28 | LF-LED-220W-SL-BK-MW | MW-LIGHT LED 220W 18642 LUMENS STANDARD LED BLACK TYPE III 4000K | 18642 | 220 | 76.2667 | 8.3812 | 5.17 |  | 639.28 | 639.28 | 53.54 | 0.3 | 31.8361 | 70.3208 | 741.4369 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 806.5287 | 8.3812
LF-LED-220W-SL-BK-MW | MW-LIGHT LED 220W 18642 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 624 | 639.28 | LF-LED-220W-SL-BK-MW | MW-LIGHT LED 220W 18642 LUMENS STANDARD LED BLACK TYPE III 4000K | 18642 | 220 | 76.2667 | 8.3812 | 5.17 |  | 639.28 | 639.28 | 53.54 | 0.3 | 31.8361 | 70.3208 | 741.4369 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 806.5287 | 8.3812
LF-LED-280W-SL-BK-MW | MW-LIGHT LED 280W 24191 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 776 | 799.73 | LF-LED-280W-SL-BK-MW | MW-LIGHT LED 280W 24191 LUMENS STANDARD LED BLACK TYPE III 4000K | 24191 | 280 | 97.0667 | 10.315 | 5.17 |  | 799.73 | 799.73 | 53.54 | 0.3 | 39.8266 | 87.9703 | 927.5269 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 992.6186 | 10.315
LF-LED-280W-SL-BK-MW | MW-LIGHT LED 280W 24191 LUMENS STANDARD LED BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 776 | 799.73 | LF-LED-280W-SL-BK-MW | MW-LIGHT LED 280W 24191 LUMENS STANDARD LED BLACK TYPE III 4000K | 24191 | 280 | 97.0667 | 10.315 | 5.17 |  | 799.73 | 799.73 | 53.54 | 0.3 | 39.8266 | 87.9703 | 927.5269 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 992.6186 | 10.315
LF-LED-50W-DA-BK-MW | MW-LIGHT LED 50W DELUXE ACORN BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 1058 | 1137.01 | LF-LED-50W-DA-BK-MW | MW-LIGHT LED 50W DELUXE ACORN BLACK TYPE III 4000K | 5147 | 50 | 17.3333 | 14.3799 | 4.24 |  | 1137.01 | 1137.01 | 53.54 | 0.3 | 56.6231 | 125.0711 | 1318.7042 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1383.796 | 14.3799
LF-LED-70W-ODA-BK-MW | MW-LIGHT LED 70W OPEN DELUXE ACORN BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 1031 | 1107.51 | LF-LED-70W-ODA-BK-MW | MW-LIGHT LED 70W OPEN DELUXE ACORN BLACK TYPE III 4000K | 6500 | 70 | 24.2667 | 14.0244 | 4.24 |  | 1107.51 | 1107.51 | 53.54 | 0.3 | 55.154 | 121.8261 | 1284.4901 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1349.5819 | 14.0244
LF-LED-50W-AC-BK-MW | MW-LIGHT LED 50W ACORN BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 948 | 1019.01 | LF-LED-50W-AC-BK-MW | MW-LIGHT LED 50W ACORN BLACK TYPE III 4000K | 5147 | 50 | 17.3333 | 12.9578 | 4.24 |  | 1019.01 | 1019.01 | 53.54 | 0.3 | 50.7467 | 112.0911 | 1181.8478 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1246.9396 | 12.9578
LF-LED-50W-MB-BK-MW | MW-LIGHT LED 50W MINI BELL LED BLACK TYPE III 4000K MIDWEST | Fixture | Black | LED | PRI | 891 | 957.65 | LF-LED-50W-MB-BK-MW | MW-LIGHT LED 50W MINI BELL LED BLACK TYPE III 4000K MIDWEST | 4500 | 50 | 17.3333 | 12.2183 | 4.24 |  | 957.65 | 957.65 | 53.54 | 0.3 | 47.691 | 105.3415 | 1110.6825 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1175.7743 | 12.2183
LF-LED-70W-BE-BK-MW | MW-LIGHT LED 70W 5508 LUMENS SANIBELL BLACK TYPE III 4000K | Fixture | Black | LED | PUB | 1150 | 1234.95 | LF-LED-70W-BE-BK-MW | MW-LIGHT LED 70W 5508 LUMENS SANIBELL BLACK TYPE III 4000K | 5508 | 70 | 24.2667 | 15.5603 | 4.24 |  | 1234.95 | 1234.95 | 53.54 | 0.3 | 61.5005 | 135.8445 | 1432.295 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1497.3868 | 15.5603
LF-LED-50W-TR-BK-MW | MW-LIGHT LED 50W TRADITIONAL BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 686 | 722.73 | LF-LED-50W-TR-BK-MW | MW-LIGHT LED 50W TRADITIONAL BLACK TYPE III 4000K | 3303 | 50 | 17.3333 | 9.3869 | 4.24 |  | 722.73 | 722.73 | 53.54 | 0.3 | 35.992 | 79.5003 | 838.2223 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 903.314 | 9.3869
LF-LED-50W-OT-BK-MW | MW-LIGHT LED 50W OPEN TRADITIONAL BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 686 | 722.73 | LF-LED-50W-OT-BK-MW | MW-LIGHT LED 50W OPEN TRADITIONAL BLACK TYPE III 4000K | 3230 | 50 | 17.3333 | 9.3869 | 4.24 |  | 722.73 | 722.73 | 53.54 | 0.3 | 35.992 | 79.5003 | 838.2223 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 903.314 | 9.3869
LF-LED-50W-EN-BK-MW | MW-LIGHT LED 50W ENTERPRISE BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 922 | 991.28 | LF-LED-50W-EN-BK-MW | MW-LIGHT LED 50W ENTERPRISE BLACK TYPE III 4000K | 3880 | 50 | 17.3333 | 12.6236 | 4.24 |  | 991.28 | 991.28 | 53.54 | 0.3 | 49.3657 | 109.0408 | 1149.6865 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1214.7783 | 12.6236
LF-LED-150W-TD-BK-MW | MW-LIGHT LED 150W LARGE TEARDROP BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 1403 | 1506.35 | LF-LED-150W-TD-BK-MW | MW-LIGHT LED 150W LARGE TEARDROP BLACK TYPE III 4000K | 12500 | 150 | 52 | 18.8313 | 4.24 |  | 1506.35 | 1506.35 | 53.54 | 0.3 | 75.0162 | 165.6985 | 1747.0647 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1812.1565 | 18.8313
LF-LED-50W-TDP-BK-MW | MW-LIGHT LED 50W TEARDROP PEDESTRIAN BLACK TYPE III 4000K | Fixture | Black | LED | PRI | 1128 | 1211.35 | LF-LED-50W-TDP-BK-MW | MW-LIGHT LED 50W TEARDROP PEDESTRIAN BLACK TYPE III 4000K | 4500 | 50 | 17.3333 | 15.2759 | 4.24 |  | 1211.35 | 1211.35 | 53.54 | 0.3 | 60.3252 | 133.2485 | 1404.9237 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1470.0155 | 15.2759
LF-LED-220W-SB-BK-MW | MW-LIGHT LED 220W SHOEBOX BLACK TYPE IV 4000K | Fixture | Black | LED | PRI | 1400 | 1026.09 | LF-LED-220W-SB-BK-MW | MW-LIGHT LED 220W SHOEBOX BLACK TYPE IV 4000K | 18500 | 220 | 76.2667 | 13.0431 | 5.17 |  | 1026.09 | 1026.09 | 53.54 | 0.3 | 51.0993 | 112.8699 | 1190.0592 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1255.151 | 13.0431
LF-LED-150W-BE-BK-MW | 150W Sanibel | Fixture | Black | LED | PRI | 276.79 | 1234.95 | LF-LED-150W-BE-BK-MW | 150W Sanibel | 39000 | 150 | 52 | 15.5603 | 4.24 |  | 1234.95 | 1234.95 | 53.54 | 0.3 | 61.5005 | 135.8445 | 1432.295 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1497.3868 | 15.5603
LF-LED-420W-SB-BK-MW | 420W LED Shoebox | Fixture | Black | LED | PRI | 1234.95 | 1558.27 | LF-LED-420W-SB-BK-MW | 420W LED Shoebox | 39078 | 420 | 145.6 | 19.4571 | 5.17 |  | 1558.27 | 1558.27 | 53.54 | 0.3 | 77.6018 | 171.4097 | 1807.2815 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1872.3733 | 19.4571
LF-LED-50W-NB-GY-MW | 50W Neighborhood | Fixture | Black | LED | PRI | 1558.27 | 276.79 | LF-LED-50W-NB-GY-MW | 50W Neighborhood | 5000 | 50 | 17.3333 | 4.0124 | 4.24 |  | 276.79 | 276.79 | 53.54 | 0.3 | 13.7841 | 30.4469 | 321.021 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 386.1128 | 4.0124
LF-LED-50W-NBL-GY-MW | 50W Neighborhood with Lens | Fixture | Black | LED | PRI | 290.95 | 290.95 | LF-LED-50W-NBL-GY-MW | 50W Neighborhood with Lens | 5000 | 50 | 17.3333 | 4.183 | 4.24 |  | 290.95 | 290.95 | 53.54 | 0.3 | 14.4893 | 32.0045 | 337.4438 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 402.5356 | 4.183
POLES | POLES | POLES | POLES | POLES | POLES |  | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES | POLES
LP-12-C-PT-AL-AB-TT-BK-MW | 12' C-Post Top- Anchor Base-Black | Pole | Black | none | PUB | 951 | 942.95 | LP-12-C-PT-AL-AB-TT-BK-MW | 12' C-Post Top- Anchor Base-Black |  |  |  | 9.2988 |  |  | 942.95 | 942.95 | 53.54 | 0.3 | 46.9589 | 103.7245 | 1093.6334 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1158.7252 | 9.2988
LP-25-C-DV-AL-AB-TT-BK-MW | 25' C-Davit Bracket- Anchor Base-Black | Pole | Black | none | PUB | 2500 | 2572.18 | LP-25-C-DV-AL-AB-TT-BK-MW | 25' C-Davit Bracket- Anchor Base-Black |  |  |  | 24.4627 |  |  | 2572.18 | 2572.18 | 53.54 | 0.3 | 128.0946 | 282.9398 | 2983.2144 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3048.3062 | 24.4627
LP-25-C-BH-AL-AB-TT-BK-MW | 25' C-Boston Harbor Bracket- Anchor Base-Black | Pole | Black | none | PUB | 2526 | 2600.67 | LP-25-C-BH-AL-AB-TT-BK-MW | 25' C-Boston Harbor Bracket- Anchor Base-Black |  |  |  | 24.7278 |  |  | 2600.67 | 2600.67 | 53.54 | 0.3 | 129.5134 | 286.0737 | 3016.2571 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3081.3489 | 24.7278
LP-12-E-AL-AB-TT-BK-MW | 12' E-AL - Anchor Base-Black | Pole | Black | none | PUB | 965 | 942.56 | LP-12-E-AL-AB-TT-BK-MW | 12' E-AL - Anchor Base-Black |  |  |  | 9.2951 |  |  | 942.56 | 942.56 | 53.54 | 0.3 | 46.9395 | 103.6816 | 1093.1811 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1158.2729 | 9.2951
15310-40FTALEMB-OLE | 35' AL-Side Mounted-Direct Buried Pole | Pole | none | none | PUB | 1626 | 1635.53 | 15310-40FTALEMB-OLE | 35' AL-Side Mounted-Direct Buried Pole |  |  |  | 15.7449 |  |  | 1635.53 | 1635.53 | 53.54 | 0.3 | 81.4494 | 179.9083 | 1896.8877 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1961.9795 | 15.7449
15320-30FTALAB-OLE | 30' AL-Side Mounted-Anchor Base | Pole | none | none | PRI | 1201 | 1246.71 | 15320-30FTALAB-OLE | 30' AL-Side Mounted-Anchor Base |  |  |  | 12.126 |  |  | 1246.71 | 1246.71 | 53.54 | 0.3 | 62.0862 | 137.1381 | 1445.9343 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1511.026 | 12.126
15320-35FTALAB-OLE | 35' AL-Side Mounted-Anchor Base | Pole | none | none | PRI | 1105 | 1211.64 | 15320-35FTALAB-OLE | 35' AL-Side Mounted-Anchor Base |  |  |  | 11.7996 |  |  | 1211.64 | 1211.64 | 53.54 | 0.3 | 60.3397 | 133.2804 | 1405.2601 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1470.3519 | 11.7996
15320-40FTALAB-OLE | 40' AL-Side Mounted-Anchor Base | Pole | none | none | PRI | 1422 | 1511.43 | 15320-40FTALAB-OLE | 40' AL-Side Mounted-Anchor Base |  |  |  | 14.5898 |  |  | 1511.43 | 1511.43 | 53.54 | 0.3 | 75.2692 | 166.2573 | 1752.9565 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1818.0483 | 14.5898
POLE-30-7 | 30' Class 7 Wood Pole | Pole | none | none | PUB | 590 | 563.6 | POLE-30-7 | 30' Class 7 Wood Pole |  |  |  | 5.768 |  |  | 563.6 | 563.6 | 53.54 | 0.3 | 28.0673 | 61.996 | 653.6633 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 718.7551 | 5.768
POLE-35-5 | 35' Class 5 Wood Pole | Pole | none | none | PUB | 640 | 617.4 | POLE-35-5 | 35' Class 5 Wood Pole |  |  |  | 6.2687 |  |  | 617.4 | 617.4 | 53.54 | 0.3 | 30.7465 | 67.914 | 716.0605 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 781.1523 | 6.2687
POLE-40-4 | 40' Class 4 Wood Pole | Pole | none | none | PUB | 995 | 958.3 | POLE-40-4 | 40' Class 4 Wood Pole |  |  |  | 9.4416 |  |  | 958.3 | 958.3 | 53.54 | 0.3 | 47.7233 | 105.413 | 1111.4363 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1176.5281 | 9.4416
POLE-45-4 | 45' Class 4 Wood Pole | Pole | none | none | PUB | 1028 | 995.21 | POLE-45-4 | 45' Class 4 Wood Pole |  |  |  | 9.7852 |  |  | 995.21 | 995.21 | 53.54 | 0.3 | 49.5615 | 109.4731 | 1154.2446 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1219.3363 | 9.7852
15210-20BRZSTL-OLE | 20' Galleria Anchor Based Pole | Pole | none | none | PRI | 821 | 837.63 | 15210-20BRZSTL-OLE | 20' Galleria Anchor Based Pole |  |  |  | 8.3185 |  |  | 837.63 | 837.63 | 53.54 | 0.3 | 41.714 | 92.1393 | 971.4833 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1036.5751 | 8.3185
15210-30BRZSTL-OLE | 30' Galleria Anchor Based Pole | Pole | none | none | PRI | 978 | 1000.57 | 15210-30BRZSTL-OLE | 30' Galleria Anchor Based Pole |  |  |  | 9.8351 |  |  | 1000.57 | 1000.57 | 53.54 | 0.3 | 49.8284 | 110.0627 | 1160.4611 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1225.5529 | 9.8351
15210-35BRZSTL-OLE | 35' Galleria Anchor Based Pole | Pole | none | none | PRI | 2821 | 2983.69 | 15210-35BRZSTL-OLE | 35' Galleria Anchor Based Pole |  |  |  | 28.2927 |  |  | 2983.69 | 2983.69 | 53.54 | 0.3 | 148.5878 | 328.2059 | 3460.4837 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3525.5755 | 28.2927
LP-12-A-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH- Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 629 | 549.42 | LP-12-A-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH- Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 5.636 |  |  | 549.42 | 549.42 | 53.54 | 0.3 | 27.3611 | 60.4362 | 637.2173 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 702.3091 | 5.636
LP-12-A-AL-DB-TT-BK-MW | MW-Light Pole-Post Top-12’ MH- Style A-Alum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 469 | 462.3 | LP-12-A-AL-DB-TT-BK-MW | MW-Light Pole-Post Top-12’ MH- Style A-Alum-Direct Buried-Top Tenon-Black |  |  |  | 4.8252 |  |  | 462.3 | 462.3 | 53.54 | 0.3 | 23.0225 | 50.853 | 536.1755 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 601.2673 | 4.8252
LP-15-A-AL-AB-TT-BK-MW | Light Pole-15’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 629 | 567.12 | LP-15-A-AL-AB-TT-BK-MW | Light Pole-15’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 5.8008 |  |  | 567.12 | 567.12 | 53.54 | 0.3 | 28.2426 | 62.3832 | 657.7458 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 722.8376 | 5.8008
LP-15-A-AL-DB-TT-BK-MW | Light Pole-15’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 491 | 483.28 | LP-15-A-AL-DB-TT-BK-MW | Light Pole-15’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black |  |  |  | 5.0204 |  |  | 483.28 | 483.28 | 53.54 | 0.3 | 24.0673 | 53.1608 | 560.5081 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 625.5999 | 5.0204
LP-20-A-AL-AB-TT-BK-MW | Light Pole-20’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 673 | 597.55 | LP-20-A-AL-AB-TT-BK-MW | Light Pole-20’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 6.084 |  |  | 597.55 | 597.55 | 53.54 | 0.3 | 29.758 | 65.7305 | 693.0385 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 758.1303 | 6.084
LP-20-A-AL-DB-TT-BK-MW | Light Pole-20’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 957 | 945.43 | LP-20-A-AL-DB-TT-BK-MW | Light Pole-20’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black |  |  |  | 9.3219 |  |  | 945.43 | 945.43 | 53.54 | 0.3 | 47.0824 | 103.9973 | 1096.5097 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1161.6015 | 9.3219
LP-25-A-AL-AB-TT-BK-MW | Light Pole-25’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 794 | 718.16 | LP-25-A-AL-AB-TT-BK-MW | Light Pole-25’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 7.2066 |  |  | 718.16 | 718.16 | 53.54 | 0.3 | 35.7644 | 78.9976 | 832.922 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 898.0138 | 7.2066
LP-25-A-AL-DB-TT-BK-MW | Light Pole-25’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 1067 | 1060.12 | LP-25-A-AL-DB-TT-BK-MW | Light Pole-25’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black |  |  |  | 10.3893 |  |  | 1060.12 | 1060.12 | 53.54 | 0.3 | 52.794 | 116.6132 | 1229.5272 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1294.619 | 10.3893
LP-30-A-AL-AB-TT-BK-MW | Light Pole-30’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 929 | 859.76 | LP-30-A-AL-AB-TT-BK-MW | Light Pole-30’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 8.5245 |  |  | 859.76 | 859.76 | 53.54 | 0.3 | 42.816 | 94.5736 | 997.1496 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1062.2414 | 8.5245
LP-30-A-AL-DB-TT-BK-MW | Light Pole-30’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 1188 | 1186.34 | LP-30-A-AL-DB-TT-BK-MW | Light Pole-30’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black |  |  |  | 11.5641 |  |  | 1186.34 | 1186.34 | 53.54 | 0.3 | 59.0797 | 130.4974 | 1375.9171 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1441.0089 | 11.5641
LP-35-A-AL-AB-TT-BK-MW | Light Pole-35’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 1065 | 1001.36 | LP-35-A-AL-AB-TT-BK-MW | Light Pole-35’ MH-Style A-Aluminum-Anchor Base-Top Tenon-Black |  |  |  | 9.8424 |  |  | 1001.36 | 1001.36 | 53.54 | 0.3 | 49.8677 | 110.1496 | 1161.3773 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1226.4691 | 9.8424
LP-35-A-AL-DB-TT-BK-MW | Light Pole-35’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black | Pole | Black | none | PRI | 1288 | 1285.91 | LP-35-A-AL-DB-TT-BK-MW | Light Pole-35’ MH-Style A-Aluminum-Direct Buried-Top Tenon-Black |  |  |  | 12.4908 |  |  | 1285.91 | 1285.91 | 53.54 | 0.3 | 64.0383 | 141.4501 | 1491.3984 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1556.4902 | 12.4908
LP-12-B-AL-AB-TT-GN-MW | MW-Light Pole-12’ MH- Style B Aluminum Anchor Base-Top Tenon Black Pri | Pole | Black | none | PRI | 808 | 681.58 | LP-12-B-AL-AB-TT-GN-MW | MW-Light Pole-12’ MH- Style B Aluminum Anchor Base-Top Tenon Black Pri |  |  |  | 6.8661 |  |  | 681.58 | 681.58 | 53.54 | 0.3 | 33.9427 | 74.9738 | 790.4965 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 855.5883 | 6.8661
LP-12-C-PT-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH-Style C-Post Top-Alum-Anchor Base-TT-Black Pri | Pole | Black | none | PRI | 951 | 942.95 | LP-12-C-PT-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH-Style C-Post Top-Alum-Anchor Base-TT-Black Pri |  |  |  | 9.2988 |  |  | 942.95 | 942.95 | 53.54 | 0.3 | 46.9589 | 103.7245 | 1093.6334 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1158.7252 | 9.2988
LP-16-C-DV-AL-AB-TT-GN-MW | MW-LT Pole-16’ MH-Style C-Davit Bracket-Alum-Anchor Base-TT-Black | Pole | Black | none | PRI | 855 | 1281.02 | LP-16-C-DV-AL-AB-TT-GN-MW | MW-LT Pole-16’ MH-Style C-Davit Bracket-Alum-Anchor Base-TT-Black |  |  |  | 12.4453 |  |  | 1281.02 | 1281.02 | 53.54 | 0.3 | 63.7948 | 140.9122 | 1485.727 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1550.8188 | 12.4453
LP-25-C-DV-AL-AB-TT-BK-MW | MW-Light Pole-25’ MH-Style C-Davit Bracket-Alum-Anchor Base-TT-Black Pri | Pole | Black | none | PRI | 2500 | 2572.18 | LP-25-C-DV-AL-AB-TT-BK-MW | MW-Light Pole-25’ MH-Style C-Davit Bracket-Alum-Anchor Base-TT-Black Pri |  |  |  | 24.4627 |  |  | 2572.18 | 2572.18 | 53.54 | 0.3 | 128.0946 | 282.9398 | 2983.2144 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3048.3062 | 24.4627
LP-16-C-BH-AL-AB-TT-GN-MW | MW-LT Pole-16’ MH-Style C-Boston Harbor Bracket-AL-AB-TT-Black Pri | Pole | Black | none | PRI | 1049 | 1015.52 | LP-16-C-BH-AL-AB-TT-GN-MW | MW-LT Pole-16’ MH-Style C-Boston Harbor Bracket-AL-AB-TT-Black Pri |  |  |  | 9.9742 |  |  | 1015.52 | 1015.52 | 53.54 | 0.3 | 50.5729 | 111.7072 | 1177.8001 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1242.8919 | 9.9742
LP-25-C-BH-AL-AB-TT-BK-MW | MW-LT Pole-25’ MH-Style C-Boston Harbor Bracket-AL-AB-TT-Black Pri | Pole | Black | none | PRI | 2526 | 2600.67 | LP-25-C-BH-AL-AB-TT-BK-MW | MW-LT Pole-25’ MH-Style C-Boston Harbor Bracket-AL-AB-TT-Black Pri |  |  |  | 24.7278 |  |  | 2600.67 | 2600.67 | 53.54 | 0.3 | 129.5134 | 286.0737 | 3016.2571 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3081.3489 | 24.7278
LP-12-D-AL-AB-TT-GN-MW | MW-LT Pole 12 Ft MH Style D Alum Breakaway Anchor Base TT Black Pri | Pole | Black | none | PRI | 988 | 932.99 | LP-12-D-AL-AB-TT-GN-MW | MW-LT Pole 12 Ft MH Style D Alum Breakaway Anchor Base TT Black Pri |  |  |  | 9.2061 |  |  | 932.99 | 932.99 | 53.54 | 0.3 | 46.4629 | 102.6289 | 1082.0818 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1147.1736 | 9.2061
LP-12-E-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH-Style E-Alum-Anchor Base-Top Tenon-Black | Pole | Black | none | PRI | 965 | 942.56 | LP-12-E-AL-AB-TT-BK-MW | MW-Light Pole-12’ MH-Style E-Alum-Anchor Base-Top Tenon-Black |  |  |  | 9.2951 |  |  | 942.56 | 942.56 | 53.54 | 0.3 | 46.9395 | 103.6816 | 1093.1811 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1158.2729 | 9.2951
LP-12-F-AL-AB-TT-GN-MW | MW-Light Pole-12’ MH-Style F-Alum-Anchor Base-Top Tenon-Black Prie | Pole | Black | none | PRI | 1048 | 1014.34 | LP-12-F-AL-AB-TT-GN-MW | MW-Light Pole-12’ MH-Style F-Alum-Anchor Base-Top Tenon-Black Prie |  |  |  | 9.9632 |  |  | 1014.34 | 1014.34 | 53.54 | 0.3 | 50.5141 | 111.5774 | 1176.4315 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1241.5233 | 9.9632
15210-20BRZSTL-OLE | MW-15210-Galleria Anchor Base-20FT Bronze Steel-OLE | Pole | none | none | PRI | 821 | 837.63 | 15210-20BRZSTL-OLE | MW-15210-Galleria Anchor Base-20FT Bronze Steel-OLE |  |  |  | 8.3185 |  |  | 837.63 | 837.63 | 53.54 | 0.3 | 41.714 | 92.1393 | 971.4833 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1036.5751 | 8.3185
15210-30BRZSTL-OLE | MW-15210-Galleria Anchor Base-30FT Bronze Steel-OLE | Pole | none | none | PRI | 978 | 1000.57 | 15210-30BRZSTL-OLE | MW-15210-Galleria Anchor Base-30FT Bronze Steel-OLE |  |  |  | 9.8351 |  |  | 1000.57 | 1000.57 | 53.54 | 0.3 | 49.8284 | 110.0627 | 1160.4611 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1225.5529 | 9.8351
15210-35BRZSTL-OLE | MW-15210-Galleria Anchor Base-35FT Bronze Steel-OLE | Pole | none | none | PRI | 2821 | 2983.69 | 15210-35BRZSTL-OLE | MW-15210-Galleria Anchor Base-35FT Bronze Steel-OLE |  |  |  | 28.2927 |  |  | 2983.69 | 2983.69 | 53.54 | 0.3 | 148.5878 | 328.2059 | 3460.4837 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 3525.5755 | 28.2927
15310-40FTALEMB-OLE | MW-15310-35FT MH Aluminum Direct Embedded Pole-OLE | Pole | none | none | PRI | 1626 | 1635.53 | 15310-40FTALEMB-OLE | MW-15310-35FT MH Aluminum Direct Embedded Pole-OLE |  |  |  | 15.7449 |  |  | 1635.53 | 1635.53 | 53.54 | 0.3 | 81.4494 | 179.9083 | 1896.8877 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1961.9795 | 15.7449
15320-30FTALAB-OLE | MW-15320-30FT Mounting Height Aluminum Achor Base Pole-OLE | Pole | none | none | PRI | 1201 | 1246.71 | 15320-30FTALAB-OLE | MW-15320-30FT Mounting Height Aluminum Achor Base Pole-OLE |  |  |  | 12.126 |  |  | 1246.71 | 1246.71 | 53.54 | 0.3 | 62.0862 | 137.1381 | 1445.9343 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1511.026 | 12.126
15320-35FTALAB-OLE | MW-15320-35FT Mounting Height Aluminum Achor Base Pole-OLE | Pole | none | none | PRI | 1105 | 1211.64 | 15320-35FTALAB-OLE | MW-15320-35FT Mounting Height Aluminum Achor Base Pole-OLE |  |  |  | 11.7996 |  |  | 1211.64 | 1211.64 | 53.54 | 0.3 | 60.3397 | 133.2804 | 1405.2601 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1470.3519 | 11.7996
15320-40FTALAB-OLE | MW-15320-40FT Mounting Height Aluminum Achor Base Pole-OLE | Pole | none | none | PRI | 1422 | 1511.43 | 15320-40FTALAB-OLE | MW-15320-40FT Mounting Height Aluminum Achor Base Pole-OLE |  |  |  | 14.5898 |  |  | 1511.43 | 1511.43 | 53.54 | 0.3 | 75.2692 | 166.2573 | 1752.9565 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1818.0483 | 14.5898
POLE-30-7 | MW-POLE-30-7 | Pole | none | none | PUB | 590 | 563.6 | POLE-30-7 | MW-POLE-30-7 |  |  |  | 5.768 |  |  | 563.6 | 563.6 | 53.54 | 0.3 | 28.0673 | 61.996 | 653.6633 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 718.7551 | 5.768
POLE-35-5 | MW-POLE-35-5 | Pole | none | none | PUB | 640 | 617.4 | POLE-35-5 | MW-POLE-35-5 |  |  |  | 6.2687 |  |  | 617.4 | 617.4 | 53.54 | 0.3 | 30.7465 | 67.914 | 716.0605 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 781.1523 | 6.2687
POLE-40-4 | MW-POLE-40-4 | Pole | none | none | PUB | 995 | 958.3 | POLE-40-4 | MW-POLE-40-4 |  |  |  | 9.4416 |  |  | 958.3 | 958.3 | 53.54 | 0.3 | 47.7233 | 105.413 | 1111.4363 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1176.5281 | 9.4416
POLE-45-4 | MW-POLE-45-4 | Pole | none | none | PUB | 1028 | 995.21 | POLE-45-4 | MW-POLE-45-4 |  |  |  | 9.7852 |  |  | 995.21 | 995.21 | 53.54 | 0.3 | 49.5615 | 109.4731 | 1154.2446 | 0.4 | 21.416 | 16.062 | 8.2714 | 4.0514 | 15.291 | 65.0918 | 1219.3363 | 9.7852