## PS
DUKE ENERGY KENTUCKY, INC. | [9 empty] | Work Paper FR-16(7)(v)
ELECTRIC COST OF SERVICE STUDY | [9 empty] | Witness Responsible:
CASE NO: 2017-00321 | [9 empty] | James E. Ziolkowski
ALLOCATION FACTORS FOR COST OF SERVICE STUDY | [9 empty] | Page 40
TWELVE MONTHS ENDING DECEMBER 31, 2018
MONTHLY STATISTICS
P - !2 Schools
JANUARY THROUGH DECEMBER, 2016 | [11 empty] | KWH | HOURS | KWH/HR | NCD |  | GROUP |  | SYSTEM |  | DIFFERENCE
| NUMBER OF CUSTOMERS |  | SAMPLE AVG. USAGE | AVERAGE NCP | GROUP COINCIDENT DEMAND |  | SYSTEM COINCIDENT DEMAND |  | NCD LOAD FACTOR | GROUP COIN LOAD FACTOR | SYSTEM COIN LOAD FACTOR |  |  |  | AVERAGE KW * POPULATION | LOAD FACTOR | COINCIDENT DEM KW * POPULTION | COIN LOAD FACTOR | COINCIDENT DEM KW * POPULTION | COIN LOAD FACTOR | NCD LOAD FACTOR | GROUP COIN LOAD FACTOR | SYSTEM COIN LOAD FACTOR
DATE | OBSERVED | POPULATION | KWH | KW | KW | DATE-TIME | KW | DATE-TIME
January | 37 | 66 | 62874 | 205 | 166 | 01/19/16-12:00 | 75 | 01/18/16-20:00 | 41.22 | 50.908 | 112.677 | 4149684 | 744 | 5577.5323 | 13530 | 41.22 | 10956 | 50.908 | 4950 | 112.677 | 0 | 0 | 0
February | 37 | 66 | 61104 | 214 | 173 | 02/03/16-12:00 | 83 | 02/10/16-20:00 | 42.49 | 52.56 | 109.552 | 4032864 | 672 | 6001.2857 | 14124 | 42.49 | 11418 | 52.56 | 5478 | 109.552 | 0 | 0 | 0
March | 37 | 66 | 68703 | 239 | 199 | 03/15/16-1:00 | 83 | 03/03/16-20:00 | 38.64 | 46.403 | 111.256 | 4534398 | 744 | 6094.621 | 15774 | 38.64 | 13134 | 46.403 | 5478 | 111.256 | 0 | 0 | 0
April | 37 | 66 | 64666 | 269 | 244 | 04/26/16-1:00 | 213 | 04/26/16-16:00 | 33.39 | 36.809 | 42.166 | 4267956 | 720 | 5927.7167 | 17754 | 33.39 | 16104 | 36.809 | 14058 | 42.166 | 0 | 0 | 0
May | 37 | 66 | 74936 | 274 | 224 | 05/25/16-1:00 | 172 | 05/31/16-16:00 | 36.76 | 44.964 | 58.558 | 4945776 | 744 | 6647.5484 | 18084 | 36.76 | 14784 | 44.964 | 11352 | 58.558 | 0 | 0 | 0
June | 37 | 66 | 69228 | 229 | 198 | 06/27/16-10:00 | 146 | 06/20/16-17:00 | 41.99 | 48.561 | 65.856 | 4569048 | 720 | 6345.9 | 15114 | 41.99 | 13068 | 48.561 | 9636 | 65.856 | 0 | 0 | 0
July | 37 | 66 | 72621 | 247 | 211 | 07/25/16-1:00 | 219 | 07/25/16-14:00 | 39.52 | 46.26 | 44.57 | 4792986 | 744 | 6442.1855 | 16302 | 39.52 | 13926 | 46.26 | 14454 | 44.57 | 0 | 0 | 0
August | 37 | 66 | 98887 | 281 | 290 | 08/25/16-1:00 | 237 | 08/11/16-15:00 | 47.3 | 45.832 | 56.081 | 6526542 | 744 | 8772.2339 | 18546 | 47.3 | 19140 | 45.832 | 15642 | 56.081 | 0 | 0 | 0
September | 37 | 66 | 93081 | 327 | 291 | 09/08/16-1:00 | 285 | 09/07/16-15:00 | 39.53 | 44.426 | 45.361 | 6143346 | 720 | 8532.425 | 21582 | 39.53 | 19206 | 44.426 | 18810 | 45.361 | 0 | 0 | 0
October | 37 | 66 | 75480 | 281 | 247 | 10/19/16-1:00 | 205 | 10/06/16-16:00 | 36.1 | 41.074 | 49.489 | 4981680 | 744 | 6695.8065 | 18546 | 36.1 | 16302 | 41.074 | 13530 | 49.489 | 0 | 0 | 0
November | 37 | 66 | 66592 | 254 | 218 | 11/03/16-12:00 | 141 | 11/22/16-08:00 | 36.41 | 42.426 | 65.595 | 4395072 | 720 | 6104.2667 | 16764 | 36.41 | 14388 | 42.426 | 9306 | 65.595 | 0 | 0 | 0
December | 37 | 66 | 60950 | 198 | 157 | 12/15/16-12:00 | 145 | 12/15/16-08:00 | 41.37 | 52.18 | 56.498 | 4022700 | 744 | 5406.8548 | 13068 | 41.37 | 10362 | 52.18 | 9570 | 56.498 | 0 | 0 | 0
Note: All hours are in EST
0

## DS
DUKE ENERGY KENTUCKY, INC. | [9 empty] | Work Paper FR-16(7)(v)
ELECTRIC COST OF SERVICE STUDY | [9 empty] | Witness Responsible:
CASE NO: 2017-00321 | [9 empty] | James E. Ziolkowski
ALLOCATION FACTORS FOR COST OF SERVICE STUDY | [9 empty] | Page 40
TWELVE MONTHS ENDING DECEMBER 31, 2018
MONTHLY STATISTICS
DISTRIBUTION SECONDARY - SMALL AND MEDIUM - DS < 500kw RATE GROUP
JANUARY THROUGH DECEMBER, 2016 | [11 empty] | KWH | HOURS | KWH/HR | NCD |  | GROUP |  | SYSTEM |  | DIFFERENCE
| NUMBER OF CUSTOMERS |  | SAMPLE AVG. USAGE | AVERAGE NCP | GROUP COINCIDENT DEMAND |  | SYSTEM COINCIDENT DEMAND |  | NCD LOAD FACTOR | GROUP COIN LOAD FACTOR | SYSTEM COIN LOAD FACTOR |  |  |  | AVERAGE KW * POPULATION | LOAD FACTOR | COINCIDENT DEM KW * POPULTION | COIN LOAD FACTOR | COINCIDENT DEM KW * POPULTION | COIN LOAD FACTOR | NCD LOAD FACTOR | GROUP COIN LOAD FACTOR | SYSTEM COIN LOAD FACTOR
DATE | OBSERVED | POPULATION | KWH | KW | KW | DATE-TIME | KW | DATE-TIME
January | 110 | 12484.0071 | 5513.9977 | 16.2028 | 11.072 | 01/19/16-11:00 | 9.5 | 01/18/16-20:00 | 45.7407 | 66.9372 | 78.0134 | 68836786.2314 | 744 | 92522.5621 | 202275.8696 | 45.74 | 138222.9262 | 66.937 | 118598.0671 | 78.014 | 0.0007 | 0.0002 | -0.0006
February | 104 | 12521.9806 | 5213.9086 | 16.3032 | 10.8811 | 02/11/16-12:00 | 9.1417 | 02/10/16-20:00 | 45.9496 | 68.8465 | 81.9462 | 65288462.1445 | 672 | 97155.4496 | 204148.3535 | 47.59 | 136252.9227 | 71.305 | 114472.1897 | 84.873 | -1.6404 | -2.4585 | -2.9268
March | 108 | 12554.0539 | 4959.6635 | 15.7533 | 9.7134 | 03/03/16-13:00 | 7.7909 | 03/03/16-20:00 | 42.3163 | 68.6288 | 85.564 | 62263882.9803 | 744 | 83688.0148 | 197767.7775 | 42.32 | 121942.5473 | 68.629 | 97807.3786 | 85.564 | -0.0037 | -0.0002 | 0
April | 107 | 12558.0178 | 4824.7332 | 16.2905 | 11.1534 | 04/26/16-14:00 | 10.5592 | 04/26/16-16:00 | 41.1344 | 60.0804 | 63.4616 | 60589085.3926 | 720 | 84151.5075 | 204576.3889 | 41.13 | 140064.5957 | 60.08 | 132602.6215 | 63.461 | 0.0044 | 0.0004 | 0.0006
May | 108 | 12608.9518 | 5272.1598 | 17.7843 | 12.8776 | 05/31/16-14:00 | 12.7463 | 05/31/16-16:00 | 39.8455 | 55.0278 | 55.5945 | 66476408.5546 | 744 | 89350.0115 | 224241.3807 | 39.85 | 162373.0371 | 55.028 | 160717.4817 | 55.594 | -0.0045 | -0.0002 | 0.0005
June | 101 | 12665.9854 | 6090.7912 | 18.2948 | 13.6947 | 06/20/16-14:00 | 12.6283 | 06/20/16-17:00 | 46.2395 | 61.7716 | 66.9879 | 77145872.2547 | 720 | 107147.0448 | 231721.6692 | 46.24 | 173456.8699 | 61.772 | 159949.8631 | 66.988 | -0.0005 | -0.0004 | -0.0001
July | 104 | 12665 | 6509.7552 | 18.6014 | 14.5311 | 07/25/16-14:00 | 14.5311 | 07/25/16-14:00 | 47.0378 | 60.2133 | 60.2133 | 82446049.2393 | 744 | 110814.5823 | 235586.1275 | 47.04 | 184036.7484 | 60.213 | 184036.7484 | 60.213 | -0.0021784 | 0.00029069 | 0.00029069
August | 105 | 12691 | 6582.7753 | 18.4239 | 13.7056 | 08/26/16-14:00 | 13.6951 | 08/11/16-15:00 | 48.0235 | 64.5562 | 64.6056 | 83542001.039 | 744 | 112287.6358 | 233818.1622 | 48.02 | 173937.8572 | 64.556 | 173804.8588 | 64.606 | 0.0034875 | 0.00017979 | -0.00042075
September | 106 | 12676 | 6027.4056 | 18.553 | 14.3778 | 09/08/16-14:00 | 14.2856 | 09/07/16-15:00 | 45.1215 | 58.2246 | 58.6002 | 76403393.4322 | 720 | 106115.8242 | 235178.1293 | 45.12 | 182252.5577 | 58.225 | 181084.343 | 58.6 | 0.0014679 | -0.00039917 | 0.00022047
October | 106 | 12629 | 5154.9453 | 16.2339 | 11.8041 | 10/06/16-14:00 | 11.7001 | 10/06/16-16:00 | 42.6805 | 58.6973 | 59.2189 | 65101804.0008 | 744 | 87502.4247 | 205017.4693 | 42.68 | 149073.9978 | 58.697 | 147760.9826 | 59.219 | 0.00047257 | 0.00030873 | -0.00010255
November | 107 | 12632 | 5143.5313 | 16.8011 | 11.5616 | 11/02/16-14:00 | 8.2416 | 11/22/16-08:00 | 42.5199 | 61.789 | 86.6793 | 64973087.4996 | 720 | 90240.3993 | 212231.1995 | 42.52 | 146045.9707 | 61.789 | 104108.3122 | 86.679 | -0.00014453 | 3.7308e-05 | 0.00034133
December | 107 | 12663 | 5548.8809 | 16.2382 | 11.0942 | 12/15/16-14:00 | 9.4459 | 12/15/16-08:00 | 45.9298 | 67.2261 | 78.9571 | 70265479.0764 | 744 | 94442.8482 | 205624.5373 | 45.93 | 140485.4159 | 67.226 | 119612.8819 | 78.957 | -0.00024403 | 8.7225e-05 | 8.783e-05
Note: All hours are in EST
0