## sort by dispatch
[8 empty] | Ownership |  |  |  | Generator
[6 empty] | Generating |  | Percentage (a) |  |  |  | Nameplate | Generator Nameplate Ownership (MW) (c)
Order of Dispatech Per AG 1-147 | Forecasted Fuel Cost per AG 1-149 | Capacity Factor ( claculated) | Gross Investment 10/31/18 per AG 1-145 | KU/LG&E Capacity | Accum Capacity | Unit (a) | Owner (a) | KU | LGE | Other | Fuels (b) | Ratings (MW) (c) | KU | LGE | Other | Net Generation in Forecasted Test Year (5/1/2019 – 4/30/2020) (kWh)
1 |  | 20.95% | 25492.4 | 10 | 10 | Brown Solar | Joint | 61% | 39% |  | Solar | 10 | 6 | 4 |  | 18400000
2 |  | 83.13% | 43422.8 | 11.2 | 21.2 | Dix Dam 1 (1) | KU | 100% |  |  | Hydro | 11.2 | 11.2 |  |  | 81780000
2 |  | 0% |  | 11.2 | 32.4 | Dix Dam 2 | KU | 100% |  |  | Hydro | 11.2 | 11.2
2 |  | 0% |  | 11.2 | 43.6 | Dix Dam 3 | KU | 100% |  |  | Hydro | 11.2 | 11.2
2 |  | 263% | 143394.8 | 13 | 56.6 | Ohio Falls 1 (1) | LGE |  | 100% |  | Hydro | 13 |  | 13 |  | 300360000
2 |  | 0% |  | 13 | 69.6 | Ohio Falls 2 | LGE |  | 100% |  | Hydro | 13 |  | 13
2 |  | 0% |  | 13 | 82.6 | Ohio Falls 3 | LGE |  | 100% |  | Hydro | 13 |  | 13
2 |  | 0% |  | 12.6 | 95.2 | Ohio Falls 4 | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
2 |  | 0% |  | 12.6 | 107.8 | Ohio Falls 5 | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
2 |  | 0% |  | 12.7 | 120.5 | Ohio Falls 6 | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
2 |  | 0% |  | 12.7 | 133.2 | Ohio Falls 7 | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
2 |  | 0% |  | 12.6 | 145.8 | Ohio Falls 8 | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
3 | 1.95 | 46.8% | 1128924.8 | 629 | 774.8 | Trimble County 2 | Joint | 60.75% | 14.25% | 25% | Coal | 838 | 510 | 119 | 209 | 3445250000
4 | 1.99 | 66.79% | 550214.7 | 808 | 1582.8 | Cane Run 7 | Joint | 78% | 22% |  | Gas | 808 | 630 | 178 |  | 4740180000
5 | 2.02 | 58.65% | 434348.3 | 556 | 2138.8 | Ghent 2 | KU | 100% |  |  | Coal | 556.38 | 556 |  |  | 2866140000
6 | 2.15 | 63.25% | 865072.4 | 544 | 2682.8 | Mill Creek 4 | LGE |  | 100% |  | Coal | 543.6 |  | 544 |  | 3020190000
7 | 2.09 | 46.62% | 648331 | 425 | 3107.8 | Trimble County 1 | LGE |  | 75% | 25% | Coal | 566.1 |  | 425 | 141 | 2318340000
8 | 2.2 | 58.11% | 320319.5 | 356 | 3463.8 | Mill Creek 1 | LGE |  | 100% |  | Coal | 355.5 |  | 356 |  | 1814490000
9 | 2.21 | 52.92% | 388271.4 | 356 | 3819.8 | Mill Creek 2 | LGE |  | 100% |  | Coal | 355.5 |  | 356 |  | 1652540000
10 | 2.23 | 49.78% | 547177.4 | 463 | 4282.8 | Mill Creek 3 | LGE |  | 100% |  | Coal | 462.6 |  | 463 |  | 2022930000
11 | ? |  | 65601.8 | 180 | 4462.8 | Brown 2 | KU | 100% |  |  | Coal | 179.52 | 180 |  |  | 0
12 | 2.17 | 54.41% | 702479.6 | 557 | 5019.8 | Ghent 1 | KU | 100% |  |  | Coal | 556.92 | 557 |  |  | 2661540000
13 | 2.17 | 49.77% | 1238207.2 | 556 | 5575.8 | Ghent 4 | KU | 100% |  |  | Coal | 556.2 | 556 |  |  | 2431550000
14 | ? |  | 100480.1 | 114 | 5689.8 | Brown 1 | KU | 100% |  |  | Coal | 113.6356 | 114 |  |  | 0
15 | 2.26 | 46.14% | 699121 | 557 | 6246.8 | Ghent 3 | KU | 100% |  |  | Coal | 556.56 | 557 |  |  | 2255570000
16 | 4 | 16.44% | 976435.3 | 464 | 6710.8 | Brown 3 | KU | 100% |  |  | Coal | 464 | 464 |  |  | 669990000
18 | 3.8 | 22.84% | 73841.6 | 198.9 | 6909.7 | Trimble County 5 | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681 |  | 399070000
19 | 4.07 | 17.53% | 66354.4 | 198.9 | 7108.6 | Trimble County 6 | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681 |  | 306320000
20 | 4.54 | 12.53% | 57011.8 | 198.9 | 7307.5 | Trimble County 7 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 218900000
21 | 6.47 | 5.684% | 56457.7 | 198.9 | 7506.4 | Trimble County 8 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 99300000
22 | 8.69 | 3.492% | 56793.9 | 198.9 | 7705.3 | Trimble County 9 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 61010000
23 | 15.24 | 1.64% | 70160.8 | 198.9 | 7904.2 | Trimble County 10 | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 28660000
24 | 4.57 | 9.55% | 84764.4 | 178.2 | 8082.4 | Paddys Run 13 | Joint | 47% | 53% |  | Gas | 178.2 | 83.754 | 94.446 |  | 149490000
26 | 2.96 | 10.26% | 66454.8 | 177 | 8259.4 | Brown 6 | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67 |  | 159530000
27 | 2.98 | 4.388% | 62219 | 177 | 8436.4 | Brown 7 | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67 |  | 68220000
28 | 3.73 | 14.97% | 55080.1 | 123 | 8559.4 | Brown 5 | Joint | 47% | 53% |  | Gas | 123 | 58 | 65 |  | 161770000
29 | 4.23 | 2.292% | 56667.4 | 126 | 8685.4 | Brown 9 | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 25370000
30 | 4.37 | 3.243% | 36732 | 126 | 8811.4 | Brown 10 | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 35890000
31 | 4.22 | 2.042% | 37790.5 | 126 | 8937.4 | Brown 8 | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 22600000
32 | 4.3 | 1.52% | 46676.1 | 126 | 9063.4 | Brown 11 | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 16820000
33 | 46.52 | 0.5092% | 3726.4 | 16 | 9079.4 | Cane Run 11 | LGE |  | 100% |  | Gas, Oil | 16.32 |  | 16 |  | 730000
34 | 102.63 | 0.2206% | 2151.1 | 16 | 9095.4 | Paddy's Run 11 | LGE |  | 100% |  | Gas | 16 |  | 16 |  | 310000
35 | 115.18 | 0.2162% | 4339.2 | 33 | 9128.4 | Paddy's Run 12 | LGE |  | 100% |  | Gas | 32.64 |  | 33 |  | 620000
36 | 6.11 | 0.3415% | 1974.7 | 18 | 9146.4 | Zorn 1 | LGE |  | 100% |  | Gas | 18 |  | 18 |  | 540000
37 | 13.86 | 0.3905% | 4374.1 | 21 | 9167.4 | Haefling 1 | KU | 100% |  |  | Gas, Oil | 20.7 | 21 |  |  | 710000
37 | 13.86 | 0% |  | 21 | 9188.4 | Haefling 2 | KU | 100% |  |  | Gas, Oil | 20.7 | 21
|  |  | 85 |  |  | Business Solar | LGE |  | 100% |  | Solar | 0.3 |  | 0.3
Notes:
(1) Net generation data reflect only LG&E and KU's collective ownership share of each unit.
(2) Net generation is forecasted collectively for each of the following stations: Dix Dam, Haefling, Ohio Falls.
(3) Trimble County Units 1 and 2 are also owned by Indiana Municipal Power Agency (12.88%) and Illinois Municipal Electric Agency (12.12%).
Source except as noted: AG 1-146

## GAW-3
Schedule GAW-3
KU and LG&E Generating Unit Characteristics
[10 empty] | Percentage (a) |  |  |  | Nameplate | Generator Nameplate Ownership (MW) (c)
Generating Unit (a) | Designation | Order of Dispatch 1/ | Forecasted Fuel Cost/MWH 2/ | KU/LG&E Capacity 3/ | Capacity Factor | Gross Investment 10/31/18 ($000) 4/ | Accum Capacity |  | Owner (a) | KU | LGE | Other | Fuels 3/ | Ratings (MW) (c) | KU | LGE | Other | Net Generation in Forecasted Test Year 3/
Trimble County 2 | Base | 3 | 19.5 | 629 | 46.8% | 1128924.8 | 629 |  | Joint | 60.75% | 14.25% | 25% | Coal | 838 | 510 | 119 | 209 | 3445250000
Cane Run 7 | Base | 4 | 19.9 | 808 | 66.79% | 550214.7 | 1437 |  | Joint | 78% | 22% |  | Gas | 808 | 630 | 178 |  | 4740180000
Ghent 2 | Base | 5 | 20.2 | 556 | 58.65% | 434348.3 | 1993 |  | KU | 100% |  |  | Coal | 556.38 | 556 |  |  | 2866140000
Trimble County 1 | Base | 7 | 20.9 | 425 | 46.62% | 648331 | 2418 |  | LGE |  | 75% | 25% | Coal | 566.1 |  | 425 | 141 | 2318340000
Mill Creek 4 | Base | 6 | 21.5 | 544 | 63.25% | 865072.4 | 2962 |  | LGE |  | 100% |  | Coal | 543.6 |  | 544 |  | 3020190000
Ghent 1 | Base | 12 | 21.7 | 557 | 54.41% | 702479.6 | 3519 |  | KU | 100% |  |  | Coal | 556.92 | 557 |  |  | 2661540000
Ghent 4 | Base | 13 | 21.7 | 556 | 49.77% | 1238207.2 | 4075 |  | KU | 100% |  |  | Coal | 556.2 | 556 |  |  | 2431550000
Mill Creek 1 | Base | 8 | 22 | 356 | 58.11% | 320319.5 | 4431 |  | LGE |  | 100% |  | Coal | 355.5 |  | 356 |  | 1814490000
Mill Creek 2 | Base | 9 | 22.1 | 356 | 52.92% | 388271.4 | 4787 |  | LGE |  | 100% |  | Coal | 355.5 |  | 356 |  | 1652540000
Mill Creek 3 | Base | 10 | 22.3 | 463 | 49.78% | 547177.4 | 5250 |  | LGE |  | 100% |  | Coal | 462.6 |  | 463 |  | 2022930000
Ghent 3 | Base | 15 | 22.6 | 557 | 46.14% | 699121 | 5807 |  | KU | 100% |  |  | Coal | 556.56 | 557 |  |  | 2255570000
| Total Base |  |  | 5807 |  | 7522467.3
Brown 6 | Intermediate | 26 | 29.6 | 177 | 10.26% | 66454.8 | 5984 |  | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67 |  | 159530000
Brown 7 | Intermediate | 27 | 29.8 | 177 | 4.388% | 62219 | 6161 |  | Joint | 62% | 38% |  | Gas, Oil | 177 | 110 | 67 |  | 68220000
Brown 5 | Intermediate | 28 | 37.3 | 123 | 14.97% | 55080.1 | 6284 |  | Joint | 47% | 53% |  | Gas | 123 | 58 | 65 |  | 161770000
Trimble County 5 | Intermediate | 18 | 38 | 198.9 | 22.84% | 73841.6 | 6482.9 |  | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681 |  | 399070000
Brown 3 | Intermediate | 16 | 40 | 464 | 16.44% | 976435.3 | 6946.9 |  | KU | 100% |  |  | Coal | 464 | 464 |  |  | 669990000
Trimble County 6 | Intermediate | 19 | 40.7 | 198.9 | 17.53% | 66354.4 | 7145.8 |  | Joint | 71% | 29% |  | Gas | 198.9 | 141.219 | 57.681 |  | 306320000
| Total Intermediate |  |  | 1338.8 |  | 1300385.2
Brown 8 | Peak | 31 | 42.2 | 126 | 2.042% | 37790.5 | 7271.8 |  | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 22600000
Brown 9 | Peak | 29 | 42.3 | 126 | 2.292% | 56667.4 | 7397.8 |  | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 25370000
Brown 11 | Peak | 32 | 43 | 126 | 1.52% | 46676.1 | 7523.8 |  | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 16820000
Brown 10 | Peak | 30 | 43.7 | 126 | 3.243% | 36732 | 7649.8 |  | KU | 100% |  |  | Gas, Oil | 126 | 126 |  |  | 35890000
Trimble County 7 | Peak | 20 | 45.4 | 198.9 | 12.53% | 57011.8 | 7848.7 |  | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 218900000
Paddys Run 13 | Peak | 24 | 45.7 | 178.2 | 9.55% | 84764.4 | 8026.9 |  | Joint | 47% | 53% |  | Gas | 178.2 | 83.754 | 94.446 |  | 149490000
Zorn 1 | Peak | 36 | 61.1 | 18 | 0.3415% | 1974.7 | 8044.9 |  | LGE |  | 100% |  | Gas | 18 |  | 18 |  | 540000
Trimble County 8 | Peak | 21 | 64.7 | 198.9 | 5.684% | 56457.7 | 8243.8 |  | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 99300000
Trimble County 9 | Peak | 22 | 86.9 | 198.9 | 3.492% | 56793.9 | 8442.7 |  | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 61010000
Haefling 1 | Peak | 37 | 138.6 | 21 | 0.3905% | 4374.1 | 8463.7 |  | KU | 100% |  |  | Gas, Oil | 20.7 | 21 |  |  | 710000
Haefling 2 | Peak | 37 | 138.6 | 21 | 0% |  | 8484.7 |  | KU | 100% |  |  | Gas, Oil | 20.7 | 21
Trimble County 10 | Peak | 23 | 152.4 | 198.9 | 1.64% | 70160.8 | 8683.6 |  | Joint | 63% | 37% |  | Gas | 198.9 | 125.307 | 73.593 |  | 28660000
Cane Run 11 | Peak | 33 | 465.2 | 16 | 0.5092% | 3726.4 | 8699.6 |  | LGE |  | 100% |  | Gas, Oil | 16.32 |  | 16 |  | 730000
Paddy's Run 11 | Peak | 34 | 1026.3 | 16 | 0.2206% | 2151.1 | 8715.6 |  | LGE |  | 100% |  | Gas | 16 |  | 16 |  | 310000
Paddy's Run 12 | Peak | 35 | 1151.8 | 33 | 0.2162% | 4339.2 | 8748.6 |  | LGE |  | 100% |  | Gas | 32.64 |  | 33 |  | 620000
| Total Peak |  |  | 1602.8 |  | 519620.1
Brown 2 |  | 11 | ? | 180 |  | 65601.8 | 8928.6 |  | KU | 100% |  |  | Coal | 179.52 | 180 |  |  | 0
Brown 1 |  | 14 | ? | 114 |  | 100480.1 | 9042.6 |  | KU | 100% |  |  | Coal | 113.6356 | 114 |  |  | 0
Brown Solar | Solar & Hydro | 1 |  | 10 | 20.95% | 25492.4 | 9052.6 |  | Joint | 61% | 39% |  | Solar | 10 | 6 | 4 |  | 18400000
Dix Dam 1 (1) | Solar & Hydro | 2 |  | 11.2 | 83.13% | 43422.8 | 9063.8 |  | KU | 100% |  |  | Hydro | 11.2 | 11.2 |  |  | 81780000
Dix Dam 2 | Solar & Hydro | 2 |  | 11.2 | 0% |  | 9075 |  | KU | 100% |  |  | Hydro | 11.2 | 11.2
Dix Dam 3 | Solar & Hydro | 2 |  | 11.2 | 0% |  | 9086.2 |  | KU | 100% |  |  | Hydro | 11.2 | 11.2
Ohio Falls 1 (1) | Solar & Hydro | 2 |  | 13 | 263% | 143394.8 | 9099.2 |  | LGE |  | 100% |  | Hydro | 13 |  | 13 |  | 300360000
Ohio Falls 2 | Solar & Hydro | 2 |  | 13 | 0% |  | 9112.2 |  | LGE |  | 100% |  | Hydro | 13 |  | 13
Ohio Falls 3 | Solar & Hydro | 2 |  | 13 | 0% |  | 9125.2 |  | LGE |  | 100% |  | Hydro | 13 |  | 13
Ohio Falls 4 | Solar & Hydro | 2 |  | 12.6 | 0% |  | 9137.8 |  | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
Ohio Falls 5 | Solar & Hydro | 2 |  | 12.6 | 0% |  | 9150.4 |  | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
Ohio Falls 6 | Solar & Hydro | 2 |  | 12.7 | 0% |  | 9163.1 |  | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
Ohio Falls 7 | Solar & Hydro | 2 |  | 12.7 | 0% |  | 9175.8 |  | LGE |  | 100% |  | Hydro | 12.7 |  | 12.7
Ohio Falls 8 | Solar & Hydro | 2 |  | 12.6 | 0% |  | 9188.4 |  | LGE |  | 100% |  | Hydro | 12.6 |  | 12.6
| Total Solar & Hydro |  |  | 145.8 |  | 212310
Business Solar | [5 empty] | 85 |  |  | LGE |  | 100% |  | Solar | 0.3 |  | 0.3
1/ Per response to LG&E 1-147.
2/ Per response to LG&E 1-149.
3/ Per response to LG&E 1-146.
4/ Per response to LG&E 1-145.
Notes:
Source except as noted: AG 1-146