## All Info
|  | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Average | Average | Average | Coicidence | CP Load | NCP Load
Rate | Company | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | CP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | NCP kW | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | CP | NCP | Factor | Factor | Factor
Time-of-Day Secondary Service | KU | 452 | 534 | 59 | 438 | 571 | 624 | 642 | 775 | 589 | 712 | 632 | 605 | 402 | 603 | 567 | 607 | 670 | 669 | 654 | 690 | 790 | 834 | 821 | 771 | 814 | 782 | 223125 | 196244 | 166366 | 250622 | 223721 | 252570 | 260922 | 329441 | 336932 | 298675 | 354791 | 342081 | 344633 | 279749.8333 | 548.5833 | 722.4167 | 0.75937 | 0.69894 | 0.53076
Time-of-Day Secondary Service | KU | 276 | 273 | 177 | 220 | 446 | 397 | 323 | 262 | 449 | 317 | 332 | 327 | 400 | 392 | 409 | 401 | 443 | 446 | 445 | 462 | 455 | 513 | 466 | 467 | 472 | 453 | 159783 | 135459 | 129158 | 180223 | 193474 | 205440 | 195226 | 228353 | 241611 | 216158 | 223763 | 201412 | 249170 | 199953.9167 | 326.9167 | 452.6667 | 0.7222 | 0.83832 | 0.60543
Time-of-Day Secondary Service | KU | 99 | 341 | 522 | 539 | 539 | 449 | 366 | 95 | 94 | 89 | 95 | 107 | 105 | 326 | 402 | 530 | 564 | 552 | 467 | 473 | 331 | 118 | 128 | 123 | 121 | 310 | 78683 | 117982 | 201017 | 256972 | 148078 | 176333 | 118563 | 55987 | 47874 | 54665 | 59293 | 51306 | 89358 | 114785.6667 | 278.4167 | 343.25 | 0.81112 | 0.56508 | 0.45834
Time-of-Day Secondary Service | KU | 360 | 177 | 156 | 262 | 241 | 247 | 214 | 344 | 301 | 183 | 317 | 316 | 267 | 392 | 375 | 365 | 372 | 353 | 372 | 367 | 409 | 408 | 388 | 400 | 399 | 385 | 176707 | 157962 | 155393 | 164690 | 145210 | 168731 | 170414 | 196116 | 193160 | 177354 | 185934 | 177626 | 175909 | 172374.9167 | 252.0833 | 382.75 | 0.65861 | 0.93723 | 0.61727
Time-of-Day Secondary Service | KU | 439 | 389 | 390 | 395 | 396 | 422 | 315 | 440 | 469 | 517 | 477 | 456 | 402 | 507 | 431 | 417 | 441 | 502 | 444 | 447 | 511 | 552 | 543 | 528 | 519 | 496 | 175782 | 156280 | 175084 | 194903 | 193748 | 187526 | 183432 | 227175 | 234536 | 239996 | 252880 | 220608 | 202884 | 205754.3333 | 422.3333 | 485.9167 | 0.86915 | 0.66774 | 0.58037
Time-of-Day Secondary Service | KU | 358 | 0 | 139 | 0 | 202 | 0 | 0 | 81 | 358 | 0 | 359 | 360 | 360 | 362 | 365 | 367 | 369 | 368 | 366 | 365 | 363 | 362 | 362 | 362 | 363 | 364 | 142695 | 129655 | 129510 | 151100 | 127537 | 137446 | 135104 | 150511 | 144490 | 151654 | 149688 | 149042 | 119329 | 139588.8333 | 154.9167 | 364.6667 | 0.42482 | 1.235 | 0.52465
Time-of-Day Secondary Service | KU | 32 | 291 | 220 | 248 | 219 | 241 | 250 | 34 | 123 | 177 | 204 | 98 | 136 | 345 | 329 | 312 | 319 | 330 | 303 | 296 | 343 | 293 | 324 | 321 | 323 | 327 | 80943 | 71695 | 63658 | 75238 | 74301 | 97832 | 98694 | 106966 | 98086 | 97151 | 101053 | 94764 | 117651 | 91424.0833 | 186.75 | 318.3333 | 0.58665 | 0.67099 | 0.39363
Power Service Secondary | KU | 67 | 48 | 21 | 52 | 52 | 69 | 38 | 56 | 90 | 76 | 107 | 105 | 62 | 72 | 62 | 58 | 59 | 84 | 79 | 68 | 112 | 107 | 103 | 120 | 106 | 96 | 22586 | 20985 | 20202 | 25165 | 20225 | 22595 | 21599 | 26152 | 29869 | 32931 | 38656 | 30592 | 25205 | 26181.3333 | 64.6667 | 87.8333 | 0.73624 | 0.55491 | 0.40855
Time-of-Day Secondary Service | KU | 280 | 227 | 319 | 434 | 286 | 261 | 223 | 287 | 262 | 270 | 217 | 211 | 231 | 414 | 388 | 423 | 447 | 406 | 313 | 389 | 419 | 431 | 352 | 237 | 238 | 313 | 129744 | 105425 | 153435 | 191288 | 103033 | 132686 | 86840 | 217489 | 201385 | 172765 | 153382 | 149384 | 119234 | 148862.1667 | 269 | 363 | 0.74105 | 0.75849 | 0.56207
Time-of-Day Secondary Service | KU | 441 | 413 | 409 | 441 | 183 | 415 | 386 | 490 | 488 | 487 | 473 | 428 | 175 | 512 | 480 | 504 | 498 | 506 | 494 | 505 | 541 | 547 | 547 | 530 | 523 | 482 | 197927 | 184256 | 187458 | 208078 | 202307 | 203166 | 199165 | 245319 | 230360 | 230635 | 235582 | 203862 | 196317 | 210542.0833 | 399 | 513.0833 | 0.77765 | 0.72324 | 0.56243
Time-of-Day Secondary Service | KU | 325 | 229 | 162 | 199 | 221 | 189 | 207 | 245 | 235 | 210 | 291 | 269 | 259 | 347 | 335 | 280 | 291 | 297 | 282 | 278 | 275 | 250 | 267 | 308 | 311 | 310 | 162768 | 145171 | 121859 | 135697 | 131532 | 131768 | 127807 | 131563 | 123204 | 131003 | 141822 | 148716 | 141128 | 134272.5 | 226.3333 | 290.3333 | 0.77956 | 0.81312 | 0.63388
Time-of-Day Secondary Service | KU | 98 | 246 | 324 | 368 | 303 | 238 | 203 | 127 | 144 | 155 | 146 | 140 | 123 | 196 | 246 | 353 | 398 | 316 | 259 | 230 | 130 | 149 | 156 | 148 | 148 | 193 | 66536 | 85092 | 129525 | 151328 | 86365 | 98113 | 70453 | 58176 | 63330 | 68685 | 66176 | 62262 | 74359 | 84488.6667 | 209.75 | 227.1667 | 0.92333 | 0.55209 | 0.50976
Power Service Primary - PF Adjusted | KU | 104 | 152 | 156 | 161 | 151 | 125 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 145 | 189 | 159 | 180 | 172 | 149 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 71364 | 81946 | 99539 | 104337 | 84199 | 86170 | 18093 | 0 | 0 | 0 | 0 | 0 | 0 | 39523.6667 | 69.4167 | 78.25 | 0.88711 | 0.78038 | 0.69229
Time-of-Day Secondary Service | KU | 304 | 276 | 148 | 304 | 253 | 229 | 245 | 282 | 291 | 225 | 328 | 333 | 300 | 339 | 344 | 308 | 307 | 325 | 296 | 298 | 318 | 326 | 330 | 377 | 359 | 354 | 137314 | 124474 | 120748 | 163395 | 147934 | 153008 | 132523 | 148872 | 137231 | 139085 | 152852 | 136306 | 135128 | 140963 | 267.8333 | 328.5 | 0.81532 | 0.72137 | 0.58815
Time-of-Day Secondary Service | KU | 311 | 137 | 133 | 151 | 147 | 135 | 135 | 331 | 335 | 388 | 377 | 370 | 459 | 366 | 312 | 251 | 255 | 337 | 293 | 362 | 368 | 371 | 389 | 400 | 405 | 469 | 131100 | 101547 | 88074 | 92526 | 96190 | 97206 | 107569 | 159426 | 167229 | 178409 | 177699 | 167771 | 109625 | 128605.9167 | 258.1667 | 351 | 0.73552 | 0.68277 | 0.50219
Time-of-Day Secondary Service | KU | 580 | 549 | 575 | 478 | 380 | 554 | 527 | 309 | 259 | 230 | 167 | 146 | 532 | 842 | 662 | 599 | 501 | 419 | 595 | 622 | 373 | 303 | 284 | 268 | 641 | 724 | 388414 | 346533 | 367071 | 293767 | 220969 | 335705 | 364682 | 187474 | 150411 | 161355 | 135056 | 220628 | 372740 | 263032.5833 | 392.1667 | 499.25 | 0.78551 | 0.91929 | 0.72212
Power Service Secondary | KU | 43 | 128 | 132 | 152 | 111 | 130 | 127 | 28 | 46 | 117 | 125 | 42 | 69 | 164 | 169 | 160 | 170 | 167 | 168 | 158 | 169 | 163 | 170 | 161 | 161 | 159 | 38358 | 41905 | 47458 | 54755 | 43898 | 48133 | 41420 | 41827 | 39585 | 40984 | 41720 | 35715 | 36024 | 42785.3333 | 100.5833 | 164.5833 | 0.61114 | 0.58302 | 0.35631
Power Service Secondary | KU | 53 | 36 | 18 | 48 | 37 | 36 | 32 | 57 | 64 | 61 | 64 | 63 | 64 | 58 | 57 | 45 | 55 | 52 | 50 | 48 | 69 | 77 | 74 | 73 | 82 | 64 | 20887 | 19778 | 18637 | 23176 | 17795 | 18793 | 17367 | 22254 | 24183 | 24393 | 27810 | 27127 | 22590 | 21991.9167 | 48.3333 | 62.1667 | 0.77748 | 0.62364 | 0.48486
Time-of-Day Secondary Service | KU | 380 | 495 | 114 | 358 | 537 | 527 | 491 | 506 | 505 | 442 | 447 | 415 | 407 | 696 | 648 | 677 | 775 | 766 | 725 | 690 | 818 | 809 | 743 | 857 | 798 | 758 | 298810 | 256101 | 216139 | 314414 | 297666 | 313542 | 295522 | 320557 | 328807 | 271752 | 329073 | 316266 | 284239 | 295339.8333 | 437 | 755.3333 | 0.57855 | 0.92631 | 0.53592
Time-of-Day Secondary Service | KU | 83 | 203 | 60 | 73 | 255 | 253 | 221 | 350 | 374 | 98 | 355 | 353 | 250 | 343 | 338 | 323 | 300 | 331 | 307 | 340 | 369 | 381 | 383 | 383 | 366 | 352 | 157224 | 178725 | 139938 | 141446 | 128855 | 156052 | 161585 | 195834 | 222766 | 178500 | 220506 | 189154 | 162756 | 173009.75 | 237.0833 | 347.75 | 0.68176 | 1.0002 | 0.6819
Time-of-Day Secondary Service | KU | 124 | 218 | 258 | 255 | 257 | 256 | 266 | 122 | 124 | 128 | 154 | 124 | 125 | 221 | 278 | 289 | 294 | 303 | 298 | 295 | 231 | 186 | 212 | 174 | 176 | 255 | 90929 | 101841 | 146134 | 143284 | 114015 | 141151 | 122628 | 83369 | 82173 | 87397 | 85372 | 79393 | 100797 | 107296.1667 | 190.5833 | 249.25 | 0.76463 | 0.77164 | 0.59002
Time-of-Day Secondary Service | KU | 135 | 188 | 188 | 184 | 270 | 226 | 174 | 168 | 111 | 124 | 249 | 228 | 200 | 270 | 238 | 266 | 337 | 311 | 289 | 312 | 279 | 199 | 124 | 318 | 348 | 348 | 81077 | 86732 | 116163 | 153986 | 127917 | 131795 | 117535 | 114201 | 75234 | 63565 | 137943 | 125384 | 148633 | 116590.6667 | 192.5 | 280.75 | 0.68566 | 0.83013 | 0.56919
Time-of-Day Secondary Service | KU | 162 | 90 | 78 | 142 | 147 | 143 | 136 | 142 | 177 | 190 | 218 | 203 | 154 | 218 | 183 | 160 | 184 | 216 | 193 | 206 | 223 | 223 | 248 | 256 | 262 | 213 | 85961 | 66328 | 60976 | 78544 | 69852 | 73399 | 76334 | 87930 | 87568 | 88203 | 95717 | 86845 | 67725 | 78285.0833 | 151.6667 | 213.9167 | 0.709 | 0.70746 | 0.50159
Time-of-Day Secondary Service | KU | 248 | 157 | 18 | 98 | 151 | 67 | 86 | 342 | 264 | 253 | 260 | 219 | 284 | 327 | 296 | 281 | 279 | 264 | 260 | 264 | 354 | 353 | 343 | 358 | 346 | 344 | 96958 | 88296 | 60662 | 88270 | 73988 | 83865 | 79566 | 109528 | 120462 | 117599 | 146446 | 120659 | 120927 | 100855.6667 | 183.25 | 311.8333 | 0.58765 | 0.75435 | 0.4433
Power Service Secondary | KU | 136 | 72 | 99 | 136 | 110 | 65 | 50 | 82 | 109 | 134 | 146 | 152 | 133 | 153 | 118 | 130 | 139 | 125 | 117 | 112 | 170 | 122 | 134 | 169 | 175 | 150 | 46074 | 39689 | 46157 | 41072 | 33331 | 34949 | 31774 | 45671 | 41812 | 44482 | 52224 | 48763 | 41354 | 41773.1667 | 107.3333 | 138.4167 | 0.77544 | 0.53343 | 0.41364
Power Service Secondary | KU | 163 | 72 | 78 | 93 | 110 | 90 | 78 | 187 | 202 | 201 | 205 | 204 | 198 | 165 | 122 | 114 | 117 | 229 | 180 | 188 | 209 | 205 | 206 | 211 | 213 | 206 | 62740 | 51479 | 56206 | 60820 | 54368 | 58593 | 60579 | 88739 | 93420 | 99303 | 99653 | 88253 | 75186 | 73883.25 | 143.1667 | 183.3333 | 0.78091 | 0.70733 | 0.55236
Power Service Primary - PF Adjusted | KU | 131 | 87 | 65 | 76 | 89 | 60 | 61 | 127 | 143 | 145 | 131 | 137 | 111 | 154 | 125 | 109 | 121 | 114 | 111 | 108 | 141 | 150 | 166 | 149 | 159 | 144 | 54691 | 48351 | 48147 | 59033 | 48487 | 48286 | 45285 | 57021 | 69510 | 74750 | 63956 | 56327 | 50342 | 55791.25 | 102.6667 | 133.0833 | 0.77145 | 0.74482 | 0.57459
Power Service Secondary | KU | 88 | 48 | 24 | 38 | 26 | 41 | 38 | 40 | 48 | 42 | 51 | 44 | 41 | 109 | 103 | 87 | 87 | 47 | 46 | 60 | 62 | 58 | 49 | 75 | 58 | 55 | 41362 | 34034 | 24295 | 26687 | 21756 | 23627 | 21343 | 28339 | 24647 | 29213 | 30250 | 26308 | 21851 | 26029.1667 | 40.0833 | 65.5833 | 0.61118 | 0.89004 | 0.54398
Power Service - Secondary Pf Adj | KU | 179 | 140 | 200 | 214 | 218 | 202 | 182 | 135 | 184 | 150 | 175 | 184 | 106 | 221 | 216 | 219 | 231 | 231 | 229 | 227 | 238 | 221 | 218 | 222 | 224 | 247 | 78318 | 68064 | 61792 | 76578 | 67853 | 72164 | 63951 | 70285 | 71439 | 71793 | 75994 | 66863 | 79582 | 70529.8333 | 174.1667 | 226.9167 | 0.76754 | 0.55504 | 0.42601
Power Service Secondary | KU | 107 | 81 | 90 | 101 | 88 | 85 | 73 | 53 | 140 | 147 | 141 | 122 | 127 | 128 | 127 | 104 | 114 | 137 | 110 | 114 | 141 | 153 | 161 | 150 | 152 | 136 | 46637 | 42006 | 44780 | 47774 | 40998 | 45911 | 43149 | 53081 | 54177 | 56270 | 55322 | 48708 | 44782 | 48079.8333 | 104 | 133.25 | 0.78049 | 0.63364 | 0.49455
Power Service Secondary | KU | 90 | 59 | 106 | 132 | 94 | 100 | 77 | 87 | 117 | 117 | 118 | 148 | 114 | 150 | 149 | 229 | 264 | 194 | 172 | 176 | 128 | 129 | 158 | 160 | 178 | 158 | 46327 | 36601 | 45906 | 57553 | 45618 | 49092 | 49668 | 55723 | 60244 | 55929 | 59024 | 59964 | 48523 | 51987.0833 | 105.75 | 174.5833 | 0.60573 | 0.6738 | 0.40814
Power Service Secondary | KU | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 2 | 3 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 710 | 743 | 745 | 744 | 672 | 744 | 720 | 744 | 649 | 572 | 631 | 376 | 92 | 619.3333 | 0.91667 | 1.25 | 0.73333 | 0.92604 | 0.67909
Power Service Primary - PF Adjusted | KU | 71 | 104 | 96 | 105 | 106 | 108 | 105 | 29 | 70 | 56 | 127 | 77 | 42 | 125 | 120 | 115 | 120 | 134 | 112 | 116 | 138 | 146 | 160 | 134 | 127 | 124 | 38677 | 38815 | 45267 | 40550 | 37649 | 39109 | 37243 | 40425 | 45715 | 50748 | 46957 | 42171 | 33412 | 41505.0833 | 85.4167 | 128.8333 | 0.663 | 0.666 | 0.44156
Power Service - Secondary Pf Adj | KU | 80 | 63 | 40 | 52 | 44 | 68 | 61 | 20 | 98 | 94 | 118 | 98 | 96 | 169 | 145 | 146 | 147 | 150 | 121 | 160 | 164 | 104 | 103 | 175 | 171 | 168 | 43160 | 36125 | 29276 | 39566 | 37527 | 38988 | 43207 | 39012 | 37507 | 43992 | 49689 | 47797 | 39944 | 40219.1667 | 71 | 146.1667 | 0.48575 | 0.77641 | 0.37714
Power Service Secondary | KU | 43 | 45 | 34 | 46 | 56 | 45 | 43 | 41 | 66 | 75 | 77 | 88 | 44 | 104 | 84 | 62 | 91 | 111 | 76 | 81 | 90 | 86 | 75 | 108 | 107 | 105 | 31683 | 24212 | 22469 | 29371 | 25059 | 23280 | 22977 | 31601 | 34781 | 36271 | 42998 | 41092 | 31730 | 30486.75 | 55 | 89.6667 | 0.61338 | 0.75974 | 0.46601
Power Service - Secondary Pf Adj | KU | 133 | 105 | 70 | 125 | 113 | 109 | 105 | 108 | 174 | 176 | 202 | 167 | 135 | 170 | 132 | 129 | 150 | 144 | 141 | 145 | 181 | 191 | 188 | 213 | 227 | 158 | 51288 | 47391 | 48583 | 59802 | 51872 | 55635 | 53674 | 63842 | 61989 | 62880 | 65525 | 55347 | 48265 | 56233.75 | 132.4167 | 166.5833 | 0.7949 | 0.58206 | 0.46268
Power Service Primary | KU | 109 | 111 | 156 | 176 | 144 | 114 | 93 | 179 | 212 | 193 | 154 | 186 | 136 | 125 | 128 | 175 | 188 | 162 | 126 | 108 | 179 | 212 | 206 | 188 | 193 | 156 | 40692 | 45298 | 67731 | 80054 | 53116 | 54146 | 42361 | 64589 | 74210 | 80030 | 75233 | 59830 | 47405 | 62000.25 | 154.5 | 168.4167 | 0.91737 | 0.55002 | 0.50457
Power Service Secondary | KU | 133 | 124 | 72 | 147 | 124 | 97 | 99 | 111 | 135 | 126 | 141 | 146 | 113 | 173 | 194 | 171 | 176 | 155 | 147 | 156 | 128 | 163 | 143 | 175 | 183 | 173 | 56628 | 55184 | 49708 | 65875 | 60423 | 62460 | 52940 | 54748 | 56285 | 58487 | 68600 | 61937 | 67911 | 59546.5 | 119.5833 | 163.6667 | 0.73065 | 0.6825 | 0.49867
Power Service - Secondary Pf Adj | KU | 65 | 137 | 77 | 154 | 97 | 163 | 134 | 87 | 90 | 92 | 94 | 93 | 95 | 162 | 188 | 164 | 161 | 157 | 163 | 170 | 166 | 180 | 192 | 175 | 183 | 168 | 51942 | 49933 | 49580 | 56120 | 49293 | 54564 | 49896 | 53566 | 60034 | 68151 | 67805 | 57894 | 56006 | 56070.1667 | 109.4167 | 172.25 | 0.63522 | 0.70237 | 0.44616
Power Service Secondary | KU | 3 | 125 | 170 | 66 | 167 | 167 | 159 | 3 | 65 | 57 | 87 | 16 | 92 | 165 | 168 | 172 | 174 | 169 | 169 | 167 | 158 | 160 | 160 | 158 | 159 | 163 | 50401 | 52242 | 54286 | 65068 | 48170 | 50407 | 45359 | 46759 | 47293 | 48488 | 48687 | 46108 | 47891 | 50063.1667 | 97.8333 | 164.75 | 0.59383 | 0.70137 | 0.41649
Power Service Secondary | KU | 75 | 23 | 42 | 61 | 39 | 34 | 20 | 47 | 76 | 94 | 54 | 54 | 81 | 113 | 99 | 57 | 73 | 59 | 61 | 52 | 134 | 145 | 134 | 145 | 158 | 131 | 20732 | 18759 | 21349 | 27040 | 20151 | 16226 | 15136 | 19502 | 27094 | 34220 | 35170 | 29275 | 18648 | 23547.5 | 52.0833 | 104 | 0.5008 | 0.61967 | 0.31033
Power Service Secondary | KU | 33 | 53 | 63 | 114 | 73 | 67 | 59 | 37 | 51 | 55 | 68 | 58 | 36 | 79 | 58 | 87 | 148 | 112 | 87 | 73 | 47 | 63 | 70 | 68 | 64 | 59 | 14308 | 21190 | 29524 | 58936 | 28860 | 30609 | 20725 | 15517 | 20366 | 24649 | 22915 | 18867 | 20345 | 26041.9167 | 61.1667 | 78 | 0.78419 | 0.58354 | 0.45761
Power Service Secondary | KU | 6 | 128 | 109 | 103 | 91 | 135 | 132 | 7 | 6 | 7 | 7 | 7 | 7 | 148 | 138 | 158 | 159 | 143 | 139 | 150 | 145 | 140 | 127 | 141 | 144 | 147 | 26028 | 21785 | 24477 | 25423 | 21031 | 21464 | 23943 | 24644 | 22440 | 22493 | 28787 | 25561 | 30940 | 24415.6667 | 61.5833 | 144.25 | 0.42692 | 0.5434 | 0.23199
Power Service Secondary | KU | 35 | 25 | 70 | 145 | 128 | 66 | 60 | 2 | 2 | 1 | 1 | 20 | 4 | 70 | 90 | 176 | 160 | 143 | 84 | 61 | 21 | 8 | 50 | 42 | 51 | 133 | 13898 | 20359 | 46521 | 74496 | 22954 | 27409 | 14022 | 1598 | 1434 | 8600 | 6675 | 4945 | 3665 | 19389.8333 | 43.6667 | 84.9167 | 0.51423 | 0.60861 | 0.31297 | 94874.3314 | 174.7519 | 246.8617 | 0.70789 | 0.74412 | 0.52676
Power Service Secondary - Commercial | LG&E | 126 | 87 | 70 | 125 | 135 | 91 | 47 | 181 | 203 | 245 | 224 | 194 | 136 | 197 | 135 | 135 | 158 | 170 | 133 | 158 | 266 | 205 | 245 | 238 | 237 | 215 | 55501 | 45600 | 43317 | 52528 | 46568 | 45931 | 44336 | 74607 | 73666 | 77640 | 83020 | 69498 | 54755 | 59288.8333 | 144.8333 | 191.25 | 0.7573 | 0.56107 | 0.4249
Power Service Secondary - Commercial | LG&E | 184 | 221 | 257 | 281 | 241 | 214 | 222 | 163 | 234 | 252 | 268 | 230 | 229 | 235 | 248 | 264 | 281 | 262 | 280 | 246 | 257 | 270 | 287 | 279 | 267 | 264 | 75841 | 81146 | 89022 | 103743 | 80336 | 102168 | 88164 | 87679 | 88574 | 92174 | 94458 | 81167 | 84628 | 89438.25 | 234.3333 | 267.0833 | 0.87738 | 0.52312 | 0.45898
Time-of-Day Secondary, Commercial | LG&E | 258 | 90 | 137 | 133 | 127 | 110 | 102 | 281 | 304 | 286 | 300 | 302 | 306 | 303 | 296 | 254 | 239 | 234 | 232 | 227 | 296 | 311 | 326 | 306 | 306 | 347 | 93114 | 89675 | 103251 | 91306 | 75941 | 82428 | 80674 | 103591 | 114081 | 112819 | 119633 | 110138 | 119308 | 100237.0833 | 206.5 | 281.1667 | 0.73444 | 0.66531 | 0.48863
Time-of-Day Secondary, Commercial | LG&E | 376 | 312 | 373 | 378 | 322 | 270 | 282 | 338 | 370 | 387 | 412 | 388 | 386 | 422 | 484 | 489 | 484 | 429 | 413 | 386 | 412 | 405 | 400 | 430 | 421 | 404 | 222008 | 217555 | 248037 | 252103 | 185675 | 201227 | 184151 | 222787 | 210551 | 218457 | 241922 | 215879 | 208451 | 217232.9167 | 351.5 | 429.75 | 0.81792 | 0.84706 | 0.69283
Power Service Secondary - Commercial | LG&E | 8 | 42 | 52 | 51 | 59 | 43 | 33 | 7 | 8 | 9 | 5 | 5 | 4 | 24 | 46 | 53 | 93 | 62 | 50 | 40 | 20 | 9 | 11 | 8 | 7 | 62 | 7658 | 15848 | 25865 | 37333 | 21288 | 20949 | 12925 | 4191 | 3721 | 3826 | 2853 | 1966 | 6267 | 13086 | 26.5 | 38.4167 | 0.6898 | 0.67682 | 0.46688
Time-of-Day Secondary, Commercial | LG&E | 171 | 118 | 114 | 142 | 122 | 89 | 133 | 192 | 130 | 204 | 180 | 186 | 211 | 206 | 187 | 171 | 168 | 174 | 159 | 168 | 200 | 203 | 212 | 210 | 205 | 214 | 95574 | 85076 | 76785 | 88236 | 79021 | 81596 | 81324 | 100719 | 96523 | 112315 | 108911 | 90700 | 96631 | 91486.4167 | 151.75 | 189.25 | 0.80185 | 0.82631 | 0.66258
Power Service Secondary - Commercial | LG&E | 4 | 2 | 39 | 50 | 17 | 15 | 12 | 9 | 15 | 16 | 2 | 4 | 3 | 10 | 4 | 73 | 167 | 28 | 25 | 20 | 14 | 15 | 16 | 6 | 4 | 4 | 2229 | 1473 | 9869 | 28738 | 5756 | 7135 | 3306 | 4800 | 6400 | 3813 | 1725 | 1531 | 1781 | 6360.5833 | 15.3333 | 31.3333 | 0.48936 | 0.56856 | 0.27823
Power Service Secondary - Commercial | LG&E | 183 | 103 | 116 | 132 | 129 | 102 | 96 | 194 | 226 | 253 | 252 | 223 | 216 | 210 | 175 | 181 | 164 | 173 | 159 | 162 | 242 | 255 | 267 | 256 | 256 | 238 | 73922 | 64786 | 66347 | 63574 | 60263 | 64609 | 54193 | 96018 | 103785 | 114765 | 111046 | 90025 | 79683 | 80757.8333 | 170.1667 | 210.6667 | 0.80775 | 0.65047 | 0.52542
Time-of-Day Secondary, Commercial | LG&E | 343 | 189 | 291 | 327 | 252 | 183 | 164 | 367 | 440 | 437 | 439 | 419 | 401 | 376 | 256 | 309 | 334 | 284 | 253 | 250 | 412 | 457 | 460 | 448 | 442 | 416 | 129521 | 111235 | 133002 | 149819 | 110187 | 123119 | 114680 | 194970 | 213694 | 229444 | 229349 | 189203 | 143066 | 161814 | 325.75 | 360.0833 | 0.90465 | 0.68084 | 0.61593
Time-of-Day Secondary, Commercial | LG&E | 502 | 264 | 139 | 124 | 164 | 139 | 119 | 492 | 514 | 517 | 520 | 519 | 516 | 547 | 532 | 503 | 470 | 511 | 406 | 476 | 511 | 521 | 522 | 524 | 560 | 540 | 187213 | 183177 | 184689 | 164746 | 159118 | 147776 | 151466 | 195631 | 193065 | 200242 | 208280 | 196115 | 184386 | 180724.25 | 335.5833 | 506.3333 | 0.66277 | 0.73813 | 0.48921
Power Service Secondary - Commercial | LG&E | 191 | 136 | 231 | 310 | 228 | 123 | 111 | 157 | 196 | 206 | 226 | 188 | 195 | 221 | 206 | 249 | 310 | 246 | 205 | 210 | 221 | 223 | 219 | 233 | 215 | 233 | 91535 | 81801 | 95289 | 110331 | 85911 | 86271 | 81577 | 94482 | 91436 | 94853 | 96234 | 86534 | 85351 | 90839.1667 | 192.25 | 230.8333 | 0.83285 | 0.64762 | 0.53937
Power Service Secondary - Commercial | LG&E | 103 | 47 | 47 | 57 | 54 | 51 | 41 | 116 | 156 | 164 | 126 | 156 | 135 | 115 | 76 | 92 | 91 | 79 | 71 | 68 | 139 | 162 | 169 | 172 | 160 | 139 | 42877 | 35875 | 36406 | 35026 | 30514 | 29773 | 28830 | 52849 | 65938 | 65481 | 66634 | 60732 | 42025 | 45840.25 | 95.8333 | 118.1667 | 0.811 | 0.65561 | 0.5317
Power Service Secondary - Commercial | LG&E | 90 | 44 | 51 | 57 | 51 | 45 | 44 | 99 | 114 | 91 | 109 | 126 | 100 | 92 | 92 | 56 | 64 | 56 | 49 | 76 | 99 | 130 | 132 | 130 | 129 | 107 | 35774 | 29834 | 29939 | 32494 | 26131 | 28550 | 27355 | 51458 | 59919 | 61952 | 62358 | 50333 | 41696 | 41834.9167 | 77.5833 | 93.3333 | 0.83125 | 0.73907 | 0.61435
Power Service Secondary - Commercial | LG&E | 45 | 53 | 62 | 56 | 49 | 65 | 67 | 45 | 52 | 47 | 44 | 50 | 43 | 85 | 84 | 95 | 96 | 103 | 126 | 130 | 74 | 84 | 74 | 68 | 71 | 88 | 37493 | 37323 | 36252 | 40029 | 33274 | 40135 | 39007 | 35756 | 34418 | 35578 | 34108 | 34042 | 38284 | 36517.1667 | 52.75 | 91.0833 | 0.57914 | 0.94883 | 0.54951
Power Service Secondary - Commercial | LG&E | 123 | 14 | 18 | 12 | 13 | 10 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 164 | 34 | 20 | 16 | 13 | 12 | 2 | 1 | 1 | 9 | 2 | 2 | 2 | 52793 | 11126 | 12630 | 7744 | 6184 | 5375 | 721 | 743 | 720 | 1155 | 1488 | 1440 | 1488 | 4234.5 | 6.4167 | 9.5 | 0.67544 | 0.9045 | 0.61093
Power Service Secondary - Commercial | LG&E | 191 | 97 | 95 | 90 | 91 | 100 | 112 | 202 | 240 | 252 | 242 | 229 | 232 | 205 | 161 | 151 | 139 | 159 | 142 | 158 | 237 | 242 | 257 | 250 | 261 | 243 | 72367 | 67431 | 67097 | 63105 | 57374 | 61244 | 59625 | 82747 | 89135 | 94433 | 95379 | 80701 | 68851 | 73926.8333 | 165.1667 | 200 | 0.82583 | 0.61347 | 0.50663
Power Service Secondary - Commercial | LG&E | 183 | 74 | 76 | 84 | 81 | 39 | 39 | 206 | 221 | 229 | 219 | 222 | 189 | 192 | 154 | 117 | 101 | 147 | 133 | 166 | 221 | 225 | 231 | 220 | 222 | 196 | 64703 | 52885 | 52345 | 47041 | 44193 | 52210 | 55719 | 85246 | 85961 | 91119 | 89676 | 75767 | 62314 | 66206.3333 | 139.9167 | 177.75 | 0.78715 | 0.64855 | 0.51051
Power Service Primary - Commercial | LG&E | 218 | 195 | 195 | 145 | 185 | 239 | 222 | 133 | 170 | 170 | 164 | 168 | 209 | 231 | 250 | 243 | 224 | 229 | 240 | 249 | 236 | 237 | 253 | 237 | 247 | 244 | 98804 | 96503 | 92250 | 94479 | 83417 | 101333 | 97193 | 97751 | 107189 | 115216 | 115699 | 110010 | 114851 | 102157.5833 | 182.9167 | 240.75 | 0.75978 | 0.76548 | 0.58159
Power Service Secondary - Commercial | LG&E | 142 | 98 | 247 | 262 | 172 | 78 | 41 | 202 | 257 | 301 | 245 | 242 | 206 | 151 | 98 | 248 | 287 | 182 | 120 | 106 | 238 | 295 | 311 | 255 | 260 | 215 | 42743 | 29909 | 62676 | 87911 | 43861 | 34733 | 24795 | 82537 | 106278 | 124113 | 113964 | 84391 | 48194 | 70280.1667 | 195.9167 | 217.9167 | 0.89904 | 0.49167 | 0.44204
Power Service Secondary - Commercial | LG&E | 65 | 42 | 34 | 28 | 45 | 38 | 38 | 78 | 85 | 83 | 73 | 91 | 80 | 84 | 65 | 57 | 61 | 68 | 56 | 49 | 93 | 94 | 103 | 83 | 99 | 110 | 34476 | 23759 | 22146 | 29899 | 27215 | 21248 | 17776 | 29568 | 32284 | 36937 | 36646 | 26283 | 24094 | 27321.25 | 59.5833 | 78.1667 | 0.76226 | 0.62848 | 0.47906
Power Service Secondary - Commercial | LG&E | 61 | 28 | 14 | 39 | 25 | 23 | 23 | 56 | 58 | 55 | 63 | 58 | 55 | 76 | 54 | 40 | 70 | 61 | 33 | 63 | 71 | 65 | 63 | 63 | 66 | 60 | 15714 | 18201 | 14921 | 21487 | 13511 | 14717 | 18279 | 32164 | 29644 | 30666 | 32190 | 30771 | 22868 | 23284.9167 | 41.4167 | 59.0833 | 0.70099 | 0.77057 | 0.54016
Power Service Secondary - Commercial | LG&E | 98 | 51 | 55 | 55 | 55 | 49 | 47 | 89 | 92 | 103 | 103 | 102 | 94 | 98 | 67 | 69 | 69 | 68 | 66 | 69 | 101 | 112 | 113 | 107 | 104 | 100 | 33650 | 28837 | 28991 | 29910 | 26790 | 28764 | 27041 | 39274 | 43013 | 47319 | 47889 | 39514 | 29908 | 34770.8333 | 74.5833 | 87.0833 | 0.85646 | 0.63898 | 0.54726
Power Service Secondary - Commercial | LG&E | 94 | 64 | 101 | 134 | 126 | 83 | 62 | 89 | 106 | 93 | 163 | 110 | 140 | 140 | 120 | 125 | 154 | 132 | 119 | 112 | 158 | 126 | 108 | 168 | 173 | 153 | 43555 | 41493 | 48295 | 57571 | 42939 | 43885 | 35750 | 50735 | 47999 | 43975 | 55159 | 51919 | 45545 | 47105.4167 | 105.9167 | 137.3333 | 0.77124 | 0.60957 | 0.47012
Power Service Secondary - Commercial | LG&E | 66 | 112 | 53 | 126 | 107 | 79 | 77 | 39 | 73 | 16 | 99 | 83 | 82 | 142 | 196 | 162 | 187 | 165 | 156 | 126 | 125 | 106 | 130 | 132 | 121 | 151 | 28202 | 53011 | 53981 | 72304 | 58826 | 45692 | 36785 | 30656 | 25719 | 29744 | 31204 | 30272 | 36711 | 42075.4167 | 78.8333 | 146.4167 | 0.53842 | 0.73153 | 0.39387
Power Service Secondary - Commercial | LG&E | 78 | 136 | 103 | 153 | 120 | 147 | 133 | 48 | 84 | 130 | 170 | 104 | 121 | 167 | 150 | 153 | 156 | 161 | 157 | 155 | 171 | 178 | 180 | 180 | 182 | 171 | 44144 | 41197 | 40262 | 42740 | 39497 | 43696 | 40935 | 46385 | 45977 | 49810 | 52616 | 46076 | 45277 | 44539 | 120.75 | 166.1667 | 0.72668 | 0.50556 | 0.36738
Power Service Secondary - Commercial | LG&E | 34 | 141 | 28 | 113 | 97 | 131 | 133 | 40 | 39 | 40 | 76 | 38 | 36 | 160 | 150 | 143 | 161 | 157 | 151 | 158 | 169 | 161 | 150 | 174 | 169 | 166 | 34163 | 29368 | 21603 | 36370 | 35565 | 35015 | 32062 | 39295 | 36794 | 34622 | 42234 | 34594 | 28722 | 33853.6667 | 76 | 159.0833 | 0.47774 | 0.61053 | 0.29167
Power Service Secondary - Commercial | LG&E | 115 | 29 | 42 | 69 | 97 | 69 | 34 | 132 | 116 | 124 | 167 | 145 | 145 | 142 | 95 | 92 | 98 | 97 | 100 | 108 | 178 | 126 | 126 | 180 | 180 | 164 | 44071 | 30746 | 29121 | 35873 | 31542 | 35975 | 32373 | 65929 | 57315 | 60350 | 67415 | 59513 | 45582 | 45977.8333 | 97.4167 | 128.6667 | 0.75712 | 0.64689 | 0.48978
Power Service Primary - Industrial | LG&E | 16 | 64 | 28 | 67 | 63 | 59 | 55 | 29 | 45 | 61 | 70 | 54 | 74 | 73 | 73 | 76 | 83 | 71 | 73 | 68 | 72 | 70 | 72 | 91 | 83 | 81 | 21317 | 21815 | 19433 | 21949 | 18963 | 21671 | 19613 | 27227 | 25070 | 25872 | 29164 | 35006 | 29982 | 24647.0833 | 55.75 | 76.0833 | 0.73275 | 0.60595 | 0.44401
Power Service Primary - Industrial | LG&E | 17 | 43 | 74 | 74 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34 | 46 | 77 | 77 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13731 | 16401 | 36963 | 46160 | 27048 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10547.6667 | 20.75 | 21.6667 | 0.95769 | 0.69671 | 0.66724
Power Service Primary - Industrial | LG&E | 70 | 173 | 178 | 189 | 164 | 167 | 173 | 35 | 47 | 76 | 109 | 47 | 55 | 179 | 182 | 192 | 192 | 202 | 193 | 191 | 145 | 155 | 160 | 165 | 157 | 184 | 38848 | 43583 | 60542 | 59085 | 47009 | 51239 | 46448 | 41612 | 42362 | 46534 | 49662 | 41063 | 42967 | 47675.5 | 117.75 | 176.5 | 0.66714 | 0.55494 | 0.37022
[41 empty] | 82277.4628 | 156.8761 | 215.9842 | 0.72633 | 0.71885 | 0.52212