{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Saved"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Saved","index":0,"n_rows":21,"n_cols":10,"rows_kept":21,"cut":false,"hidden":false,"merged":[[0,6,0,9]]}
[null,null,null,null,null,null,"Case No. 2018-00304\nAttachment to Response to AG-1 Question No. 7(a.i)\nPage 1 of 1\nWolfe"]
[null,null,null,null,null,null,"Totals",null,{"$f":"SUM(I4:I49941)","v":16763},{"$f":"SUM(J4:J49941)","v":6312430.5958240004}]
["Substation","Circuit","Inc #","Outage Date","Out Duration","Customers Out","Customers Would Have Been Out",null,"CI Saved by Recloser","CMI Saved by Recloser"]
["OKOLONA","OK1272",18003558,"2018-01-10T16:49:28",36.433332999999998,604,987,null,{"$f":"G4-F4","v":383},{"$f":"I4*E4","v":13953.966538999999}]
["LOUDON AVENUE",127,18013848,"2018-02-19T10:09:04",30.266666000000001,1187,2564,null,1377,41677.199081999999]
["OKOLONA","OK1273",18016313,"2018-02-25T13:03:41",41.816665999999998,504,792,null,288,12043.199807999999]
["LANSDOWNE",38,18058732,"2018-06-05T07:01:03",110.983333,1025,1604,null,579,64259.349806999999]
["LOUDON AVENUE",127,18059468,"2018-06-06T13:11:09",61.65,1258,2606,null,1348,83104.2]
["LANSDOWNE",38,18066240,"2018-06-20T13:58:53",62.8,733,1604,null,871,54698.799999999996]
["NACHAND","NA1266",18070469,"2018-06-26T13:38:15",189.55,864,2651,null,1787,338725.85000000003]
["NACHAND","NA1266",18069545,"2018-06-26T13:38:15",141.38333299999999,1246,2651,null,1405,198643.582865]
["NACHAND","NA1272",18077361,"2018-07-05T20:04:43",34.133333,118,1389,null,1271,43383.466243000003]
["NACHAND","NA1272",18080826,"2018-07-14T16:38:04",109.75,260,1389,null,1129,123907.75]
["NACHAND","NA1272",18080860,"2018-07-14T16:50:37",135.73333299999999,130,1389,null,1259,170888.26624699999]
["NACHAND","NA1272",18082379,"2018-07-19T04:47:37",220.63333299999999,8,1389,null,1381,304694.632873]
["LANSDOWNE",106,18083741,"2018-07-20T16:12:15",1703.5333330000001,299,1332,null,1033,1759749.9329890001]
["IBM",103,18085223,"2018-07-20T16:13:05",176.6,599,1155,null,556,98189.599999999991]
["LANSDOWNE",118,18090355,"2018-07-20T16:14:47",3079.9333329999999,208,444,null,236,726864.266588]
["LIBERTY ROAD",42,18090252,"2018-07-20T16:27:53",2177.8833330000002,1040,1777,null,737,1605100.0164210002]
["BRYANT ROAD",874,18087564,"2018-07-20T22:35:00",1403.8166659999999,1956,2413,null,457,641544.21636199998]
["BRYANT ROAD",904,18099065,"2018-08-04T18:34:25",46.55,389,1055,null,666,31002.3]