## BIRS Revenue Analysis
Southeast Division
Kentucky-American Water Co.
Reporting Month | 12 | [6 empty] | 0
Reporting Year | 2018
System Delivery, Sales & NRW Overview ( 000s Gals)
MTD | Actual | 2018 Plan | Variance | Variance% | Sys Del Var % | LY | Variance | Variance%
System Delivery | 1125834.8572 | 1099596.65 | 26238.2072 | 2.386% | 2.386% | 1138697.5715 | -12862.7143 | -1.13%
Usage | 847939.24 | 927178.5286 | -79239.2886 | -8.546% | -7.206% | 870370.171 | -22430.931 | -2.577%
NRW | 277895.6172 | 172418.1214 | 105477.4958 | 61.18% | 9.592% | 268327.4005 | 9568.2167 | 3.566%
NRW% | 24.68% | 15.68% | 9.003% |  |  | 23.56%
| 0 | 0 | 0
QTD | Actual | 2018 Plan | Variance | Variance% | Sys Del Var % | LY | Variance | Variance%
System Delivery | 3530736.0002 | 3531130.6858 | -394.6857 | -0.01118% | -0.01118% | 3529688.5715 | 1047.4287 | 0.02967%
Usage | 2782420.504 | 3021848.8863 | -239428.3823 | -7.923% | -6.781% | 2876879.566 | -94459.062 | -3.283%
NRW | 748315.4962 | 509281.7995 | 239033.6966 | 46.94% | 6.769% | 652809.0055 | 95506.4907 | 14.63%
NRW% | 21.19% | 14.42% | 6.772% |  |  | 18.49%
| 0 | 0 | 0
YTD | Actual | 2018 Plan | Variance | Variance% | Sys Del Var % | LY | Variance | Variance%
System Delivery | 14917915.0002 | 14277962.4275 | 639952.5726 | 4.482% | 4.482% | 14772354.7143 | 145560.2859 | 0.9854%
Usage | 11813004.511 | 12127345.3134 | -314340.8024 | -2.592% | -2.202% | 12017597.415 | -204592.904 | -1.702%
NRW | 3104910.4892 | 2150617.1141 | 954293.375 | 44.37% | 6.684% | 2754757.2993 | 350153.1899 | 12.71%
NRW% | 20.81% | 15.06% | 5.751% |  |  | 18.65%
| 0 | 0 | 0
12 MONTH ROLLING | Actual
System Delivery | 14917915.0002
Usage | 11813004.511
NRW | 3104910.4892
NRW% | 20.81%

## Sys Del Sales NRW
Month | Year | Calendar Month End | Revised SYS DEL | Revised SALES | Revised NRW | NRW 12 month rolling volume | Monthly NRW % | YTD NRW | 12 MTD NRW
1 | 2017 | 2017-01-31 | 1129833 | 849574 | 280259 | 280259 | 24.81% | 24.81% | 24.81%
2 | 2017 | 2017-02-28 | 994746 | 935511 | 59235 | 339494 | 5.955% | 15.98% | 15.98%
3 | 2017 | 2017-03-31 | 1104240 | 829451 | 274789 | 614283 | 24.88% | 19.03% | 19.03%
4 | 2017 | 2017-04-30 | 1132661 | 894775 | 237886 | 852169 | 21% | 19.54% | 19.54%
5 | 2017 | 2017-05-31 | 1271554 | 959124 | 312430 | 1164599 | 24.57% | 20.67% | 20.67%
6 | 2017 | 2017-06-30 | 1355291 | 1124824 | 230467 | 1395066 | 17% | 19.96% | 19.96%
7 | 2017 | 2017-07-31 | 1507965 | 1169407 | 338558 | 1733624 | 22.45% | 20.4% | 20.4%
8 | 2017 | 2017-08-31 | 1458060 | 1162600 | 295460 | 2029084 | 20.26% | 20.38% | 20.38%
9 | 2017 | 2017-09-30 | 1288316.4286 | 1215452.078 | 72864.3506 | 2101948.3506 | 5.656% | 18.7% | 18.7%
10 | 2017 | 2017-10-31 | 1275048.5713 | 1035178.95 | 239869.6213 | 2341817.9719 | 18.81% | 18.71% | 18.71%
11 | 2017 | 2017-11-30 | 1115942 | 971330 | 144612 | 2486429.9719 | 12.96% | 18.24% | 18.24%
12 | 2017 | 2017-12-31 | 1138698 | 870370.171 | 268327.829 | 2754757.8009 | 23.56% | 18.65% | 18.65% | Original Numbers Prior to System Delivery Adjustment
1 | 2018 | 2018-01-31 | 1253375 | 977615.054 | 275759.946 | 2750258.747 | 22% | 22% | 18.46% | 2018-01-31 | 1253375 | 977615.05 | 275759.95 | 2750258.7509 | 22% | 22% | 18.46%
2 | 2018 | 2018-02-28 | 1031475 | 863790.912 | 167684.088 | 2858707.8349 | 16.26% | 19.41% | 19.14% | 2018-02-28 | 1031475 | 863790.91 | 167684.09 | 2858707.8409 | 16.26% | 19.41% | 19.14%
3 | 2018 | 2018-03-31 | 1131684.4287 | 828984.137 | 302700.2917 | 2886619.1266 | 26.75% | 21.84% | 19.3% | 2018-03-31 | 1131684 | 828984 | 302700 | 2886618.8409 | 26.75% | 21.84% | 19.3%
4 | 2018 | 2018-04-30 | 1131911.9999 | 926168.022 | 205743.9779 | 2854477.1046 | 18.18% | 20.93% | 19.08% | 2018-04-30 | 1138263 | 926168 | 212095 | 2860827.8409 | 18.63% | 21.04% | 19.12%
5 | 2018 | 2018-05-31 | 1341188.1428 | 923098.083 | 418090.0598 | 2960137.1643 | 31.17% | 23.26% | 19.7% | 2018-05-31 | 1357936 | 923098 | 434838 | 2983235.8409 | 32.02% | 23.56% | 19.82%
6 | 2018 | 2018-06-30 | 1345273.5713 | 1139436.636 | 205836.9353 | 2935507.0996 | 15.3% | 21.78% | 19.55% | 2018-06-30 | 1357083.2855 | 1139436.636 | 217646.6495 | 2970415.4905 | 16.04% | 22.16% | 19.73%
7 | 2018 | 2018-07-31 | 1439957.8572 | 1100389.819 | 339568.0382 | 2936517.1378 | 23.58% | 22.08% | 19.64% | 2018-07-31 | 1462540.8572 | 1100389.819 | 362151.0382 | 2994008.5287 | 24.76% | 22.59% | 19.95%
8 | 2018 | 2018-08-31 | 1395086.5716 | 1123123.9 | 271962.6716 | 2913019.8094 | 19.49% | 21.72% | 19.57% | 2018-08-31 | 1434892.5716 | 1123123.9 | 311768.6716 | 3010317.2003 | 21.73% | 22.47% | 20.09%
9 | 2018 | 2018-09-30 | 1317226.4285 | 1147977.444 | 169248.9845 | 3009404.4433 | 12.85% | 20.7% | 20.17% | 2018-09-30 | 1317226.4285 | 1147977.444 | 169248.9845 | 3009404.4433 | 12.85% | 20.7% | 20.17%
10 | 2018 | 2018-10-31 | 1268249 | 1034532.212 | 233716.7881 | 3003251.6101 | 18.43% | 20.47% | 20.14% | 2018-10-31 | 1268249 | 1034532.212 | 233716.7881 | 3003251.6101 | 18.43% | 20.47% | 20.14%
11 | 2018 | 2018-11-30 | 1136652.1429 | 899949.052 | 236703.0909 | 3095342.701 | 20.82% | 20.5% | 20.73% | 2018-11-30 | 1136652.1429 | 899949.052 | 236703.0909 | 3095342.701 | 20.82% | 20.5% | 20.73%
12 | 2018 | 2018-12-31 | 1125834.8572 | 847939.24 | 277895.6172 | 3104910.4892 | 24.68% | 20.81% | 20.81% | 2018-12-31 | 1125834.8572 | 847939.24 | 277895.6172 | 3104910.4892 | 24.68% | 20.81% | 20.81%

## NRW Detail
PSC Category | Description | District | 2018-01-01 | 2018-02-01 | 2018-03-01 | 2018-04-01 | 2018-05-01 | 2018-06-01 | 2018-07-01 | 2018-08-01 | 2018-09-01 | 2018-10-01 | 2018-11-01 | 2018-12-01 | YTD 2018
FIRE | Fire Usage - Fayette Co | Kentucky-Central | 29 | 5 | 24 | 3 | 7 | 97 | 5 | 34 | 77 | 81 | 50 | 53 | 465
FIRE | Bourbon Co | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 16 | 0 | 0 | 22
FIRE | Scott Co | Kentucky-Central | 8 | 1 | 0 | 2 | 18 | 49 | 31 | 17 | 1 | 27 | 18 | 71 | 243
FIRE | Woodford Co | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE | Georgetown | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE | Millersburg | Kentucky-Central | 0 | 12 | 0 | 0 | 1 |  | 0 | 0 | 0 | 1 | 0 | 1 | 15
FIRE | Clark Co | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 336 | 0 | 26 | 0 | 3 | 0 | 0 | 365
FLUSHING | Annual System Flushing | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FLUSHING | Blowoff Flushing | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FLUSHING | Fire Service Fire Flow Test | Kentucky-Central | 6 | 2 | 27 | 30 | 20 | 0 | 21 | 27 | 27 | 37 | 63 | 0 | 260
FLUSHING | Fixed BLOW-OFF USAGES Metered | Kentucky-Central | 7188 | 5363 | 5460 | 4698 | 5101 | 5011 | 5143 | 7160 | 8770 | 8884 | 10326 | 10625 | 83729
FLUSHING | FIXED BLOW-OFF USAGES Not Metered | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FLUSHING | Hydrant Inspections | Kentucky-Central | 85 | 0 | 1173 | 15206 | 11555 | 4836 | 4019 | 5706 | 4667 | 5571 | 377 | 0 | 53195
FLUSHING | Main Break Flushing | Kentucky-Central | 384 | 141 | 223 | 467 | 847 | 169 | 230 | 246 | 206 | 212 | 507 | 119 | 3751
FLUSHING | Water Quality Flushing | Kentucky-Central | 0 | 14 | 64 | 49 | 177 | 49 | 140 | 57 | 5469 | 8234 | 30 | 64 | 14347
LINE BREAKS | Estimated NRW Loss on Private Services Before Meter(1000's of Gal) LOOS & PO | Kentucky-Central | 288 | 65 | 158 | 0 | 0 | 0 | 0 | 0 | 0 | 1080 | 0 | 0 | 1591
LINE BREAKS | Estimated NRW Loss through Repaired Leaks (1000's of Gallons) | Kentucky-Central | 17213 | 2566 | 12190 | 16558 | 2052 | 16396 | 8852 | 4289 | 7937 | 5363 | 3682 | 1553 | 98651
OTHER | DONATED WATER | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 19 | 0 | 0 | 0 | 0 | 0 | 19
OTHER | STREET CLEANING / SEWER FLUSHING / OTHER MUNICIPAL | Kentucky-Central | 0 | 0 | 131 | 68 | 214 | 183 | 135 | 112 | 99 | 0 | 22 | 26 | 990
OTHER | THEFT OF SERVICE | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
OTHER | UNAUTHORIZED USAGE (APPARENT LOSSES) | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 360 | 0 | 0 | 0 | 0 | 0 | 360
OTHER | WATER LOADING STATION Variance Report | Kentucky-Central | [12 empty] | 0
TANK OVERFLOW | Tank over Flow | Kentucky-Central | 931 | 14 | 16 | 15 | 16 | 15 | 16 | 16 | 15 | 787 | 16 | 16 | 1873
UTILITY USE | CHLORINE ANALYZERS | Kentucky-Central | 132 | 93 | 117 | 128 | 143 | 156 | 180 | 171 | 200 | 153 | 172 | 121 | 1766
UTILITY USE | DRAINED STORAGE | Kentucky-Central | 0 | 850 | 0 | 0 | 0 | 0 | 0 | 2000 | 0 | 0 | 0 | 0 | 2850
UTILITY USE | METER SHOP / Large meter Field Testing Usage | Kentucky-Central | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 112 | 112 | 112 | 336
UTILITY USE | Meter Shop- Test bench usage | Kentucky-Central | 18 | 15 | 28 | 35 | 42 | 49 | 55 | 55 | 55 | 55 | 27 | 25 | 459
UTILITY USE | Office Building Usage | Kentucky-Central | 61 | 66 | 48 | 34 | 34 | 129 | 98 | 102 | 86 | 98 | 62 | 18 | 836
WASTEWATER PLANT | Wastewater Treatment Plant-Millersburg | Kentucky-Central | 499 | 402 | 399 | 404 | 399 | 443 | 405 | 405 | 499 | 395 | 417 | 426 | 5093
WASTEWATER PLANT | Wastewater Treatment Plant-Rockwell | Kentucky-Central | 5 | 5 | 5 | 107 | 5 | 4 | 5 | 4 | 5 | 5 | 4 | 4 | 158
FIRE | Glencoe Fire | Kentucky-Northern | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 3
FIRE | Jonesville | Kentucky-Northern | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FIRE | Monterey | Kentucky-Northern | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1
FIRE | New Liberty | Kentucky-Northern | 2 | 0 | 2 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 6
FIRE | Owen County | Kentucky-Northern | 15 | 1 | 5 | 1 | 14 | 2 | 18 | 2 | 6 | 5 | 7 | 1 | 77
FIRE | Owenton Fire | Kentucky-Northern | 1 | 1 | 1 | 1 | 1 | 7 | 0 | 2 | 1 | 1 | 3 | 1 | 20
FLUSHING | Annual System Flushing | Kentucky-Northern | 2018-04-01: 2213.2 | 2213.2
FLUSHING | Blowoff Flushing | Kentucky-Northern | [12 empty] | 0
FLUSHING | Fire Service Fire Flow Test | Kentucky-Northern | [12 empty] | 0
FLUSHING | Fixed BLOW-OFF USAGES Metered | Kentucky-Northern | [12 empty] | 0
FLUSHING | FIXED BLOW-OFF USAGES Not Metered | Kentucky-Northern | 2018-06-01: 45; 2018-11-01: 30 | 75
FLUSHING | FIXED BLOW-OFF USAGES not in orcom ??? | Kentucky-Northern | [12 empty] | 0
FLUSHING | Hydrant Inspections | Kentucky-Northern | [12 empty] | 0
FLUSHING | Main Break Flushing | Kentucky-Northern | 33 |  | 40 |  |  | 142 | 16 | 108 | 35 | 62 | 9 |  | 445
FLUSHING | Water Quality Flushing | Kentucky-Northern | 2018-01-01: 1; 2018-06-01: 2; 2018-07-01: 1; 2018-08-01: 1; 2018-11-01: 1; 2018-12-01: 1 | 7
LINE BREAKS | Estimated NRW Loss on Private Services Before Meter(1000's of Gal) LOOS & PO | Kentucky-Northern | 2018-01-01: 2.196; 2018-03-01: 15; 2018-06-01: 310; 2018-07-01: 193; 2018-08-01: 338; 2018-11-01: 817; 2018-12-01: 370 | 2045.196
LINE BREAKS | Estimated NRW Loss through Repaired Leaks (1000's of Gallons) | Kentucky-Northern | 3.026 |  | 1744 |  |  | 7528 | 3389 | 295 | 1122 | 264 | 53 |  | 14398.026
OTHER | Closed services with usage (inactive w/ consumption) | Kentucky-Northern | 63 | 119 | 135 | 91 | 80 | 60 | 70 | 60 | 75 | 80 | 60 | 248 | 1141
OTHER | UNAUTHORIZED USAGE (APPARENT LOSSES) | Kentucky-Northern | [12 empty] | 0
OTHER | WATER LOADING STATION Variance Report (Northern) | Kentucky-Northern | 2018-01-01: 214.07 | 214.07
OTHER | Water used in killing services | Kentucky-Northern | [12 empty] | 0
TANK OVERFLOW | Tank over Flow | Kentucky-Northern | [12 empty] | 0
UTILITY USE | CHLORINE ANALYZERS | Kentucky-Northern | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 35 | 420
UTILITY USE | DRAINED STORAGE | Kentucky-Northern | [12 empty] | 0
UTILITY USE | Meter Box problem usage (meter bottoms,shut off broke) | Kentucky-Northern | [12 empty] | 0
UTILITY USE | Office Building Usage | Kentucky-Northern | [12 empty] | 0
WASTEWATER PLANT | Office/Dist./Op. Bld. Usages in Orcom Sewer Plant Premise 9120127499 | Kentucky-Northern | 498 | 542 | 450 | 570 | 486 | 372 | 531 | 255 | 389 | 445 | 510 | 944 | 5992