## System Data
Monthly Water Accountability Reports
Month: |  |  | Year: | 2019
Water System: |  | Cawood Water | [5 empty] | PWSID: | 480565
Contact Person: |  | Charles Tomlin | [5 empty] | Phone: | 60-573-3744
Mailing Address: |  | Box 429
| City: | Cawood |  |  |  |  | State: | ky | Zip: | 40815
Cubic Feet Conversion: |  |  |  |  | cubic feet equals |  | 0 |  | gallons
[5 empty] | gallons equals |  | 0 |  | cubic feet
|  |  |  | ft3 costing |  | equals |  | per thousand gallons
Revised 12/21/2017
Revised 10/11/12

## Regulations
Regulations
All Utilities
Utilities under PSC jurisdiction
DOW: | 502-564-3410 | (normal hours) | PSC: | 502-564-3940
| 502-564-2380 | (after hours) |  | 1-800-772-4636 | (Hotline)
| 800-928-2380 | (chemical spills)
401 KAR 8:150
Section 4:
(2) Line repairs due to breaks or ruptures.
(a) The system shall thoroughly flush the break area and maintain at least a minimum disinfectant residual, pursuant to Section 1(1) of this administrative regulation.
(b) The system may leave the line in service or return the line to service before receiving bacteriological results and may forego a boil water advisory if:
1. Pressure is maintained;
2. The break area is thoroughly flushed; and
3. At least the minimum disinfectant residual is maintained, pursuant to Section 1(1) of this administrative regulation.
(c)1. The system shall take at least two (2) bacteriological tests, one (1) located before, or just upstream of, the break or rupture, and one (1) located behind, or just downstream of, the break or rupture, as close to the break or rupture as practical pursuant to 40 C.F.R. 141.21. Additional samples may be required, if necessary to be representative of the area affected by the break.
2. Sample bottles shall be clearly identified as "special" tests, and the results submitted to the cabinet shall be clearly marked as "special" samples
(d)1. Records of results shall be submitted to the cabinet with routine monthly compliance samples, unless the samples are required to lift a boil water advisory, and shall be maintained for one (1) year. 2. Samples needed to remove a boil water advisory shall be submitted to the cabinet as soon as the results are known.
(e) A water system shall notify the cabinet immediately if:
1. The pressure drops below twenty (20) pounds per square inch in the distribution system surrounding the break; or
2. A break or rupture occurs that requires more than eight (8) hours to repair, with the eight (8) hours beginning when the water system becomes aware of the break.
(f) Boil Water Advisories shall be issued in accordance with 401 KAR 8:020, Section 2(9).
(g) Reports pursuant to 401 KAR 8:020, Section 2(7)(c) shall not be required for a loss of pressure, break, or rupture occurring in service lines serving only one (1) single family residence.
(h)1. A community or nontransient noncommunity public water system shall maintain a log of all breaks or ruptures, which shall include the:
a. Date and location of the break or rupture;
b. Time it was discovered;
c. Population affected;
d. Length of time required to repair the break or rupture;
e. Date and time disinfectant residuals are detected; and
f. Date and time bacteriological samples are taken.
2. The log shall be available for inspection by the cabinet.
807 KAR 5:006. General Rules.
Section 27. Reporting of Accidents, Property Damage or Loss of Service. (1) Within two (2) hours following discovery each utility, other than a natural gas utility, shall notify the commission by telephone or electronic mail of any utility related accident which results in:
(a) Death; or shock or burn requiring medical treatment at a hospital or similar medical facility, or any accident requiring inpatient overnight hospitalization;
(b) Actual or potential property damage of $25,000 or more; or
(c) Loss of service for four (4) or more hours to ten (10) percent or 500 or more of the utility's customers, whichever is less.
(2) A summary written report shall be submitted by the utility to the commission within seven (7) calendar days of the utility related accident. For good cause shown, the executive director of the commission, may, upon application in writing, allow a reasonable extension of time for submission of this report.
807 KAR 5:066. Water.
Section 3. (4) (b) Report to the commission. If a utility is required by the Natural Resources Cabinet to make a public notification pursuant to administrative regulations of the Natural Resources Cabinet, the utility shall provide the commission with a copy of the public notification when it is made.

## Line Break Log
Monthly Line Break Log |  | (water system) |  | Cawood Water
Month | 0 |  |  |  | PWSID | 480565
Year | 2019
|  | Time Found | Population Affected | Time for Repair | Disinfectant Residuals |  |  | Bact Samples
Date | Location |  |  |  | Date | Time | Result | Date | Time | Result

## Boil Water Advisory
Boil Water Advisory
This consumer advisory is being issued by:
Cawood Water
What should you do?
Although NO CONTAMINATION HAS BEEN CONFIRMED we recommend: Bring all water to a rolling boil, let it boil for three (3) minutes, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and food preparation until further notice. Boiling kills bacteria and other organisms in the water.
What are the areas being affected? |  | (insert areas)
People with severely compromised immune systems, infants, and some elderly may be at increased risk. These people should seek advice from their health care providers about drinking water.
What happened? | (explain details)
How are we correcting the problem? |  | (explain)
We apologize for any inconvenience this may have caused you. This advisory was issued as a precautionary action and can only be lifted with the approval of the Kentucky Division of Water. When all appropriate laboratory testing is completed and the Kentucky Division of Water allows us to lift the advisory, we will inform you when you no longer need to boil your water.
For more information, please contact: |  | Charles Tomlin
Box 429
60-573-3744 |  | Cawood
|  | ky | 40815
Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.
This notice is being sent to you by: |  | Cawood Water
Public Water System ID #: |  | 480565
Date
Spanish - Este informe contiene información muy importante sobre la calidad de su agua beber. Tradúzcalo o hable con alguien que lo entienda bien.

## Production Costs
Basic Costs of Water Production and Distribution |  |  |  |  | Month: |  |  | Year:
System Name: | [6 empty] | PWSID:
Total Gallons Treated:
Man-Hours Cost | (for hours actually worked at treatment plant)
Employee Name | Hourly Wage | Hourly Fringe | Hours Worked | Monthly Cost |  | This report does not include analytical and other water system operational or maintenance costs. For determining customer and wholesale rates consider a cost of service study.
Total Man-Hours Cost
Chemical Cost
Chemical Name | Units (lbs or gals) | Cost per Unit | Monthly Cost |  | Chemical Name |  | Units (lbs or gals) | Cost per Unit | Monthly Cost
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
|  |  | 0 | [5 empty] | 0
[6 empty] | Total Chemical Cost: |  |  | 0
Electrical Cost
Treatment Facility:
Low Service (if separate): | [5 empty] | Total Electrical Cost:
High Service (if separate):
Gas for heating: | [5 empty] | Total Heating Cost:
Additional Distribution Cost
Booster Pump Station Name | Gallons Pumped |  | Electricity | chemical (lbs or gals) | cost per lb or gal | chemical cost | Station Cost | Cost of Production plus Distribution Per Thousand
Total Production Cost for Month: |  |  |  |  | Production Cost Per Thousand Gallons:
Total Disrtibution Cost for Month: |  |  | 0 |  | Average Production + Distribution:
|  | Total: | 0

## Excavation Breaks
Monthly Excavation Break Report | [7 empty] | Area Calculator
[5 empty] | diameter in inches |  |  | Insert the approximate dimensions of the hole or crack to determine the area of the break. Insert the area in the spreadsheet below.
Cawood Water |  | (name of Water System) | Hole =
|  |  | Area = |  | 0 | sq. in.
480565 |  | (PWSID)
[5 empty] | length (in) | width (in)
Month | 0 |  | Crack =
Year | 2019 |  | Area = |  | 0 | sq. in.
Date | Excavation Break Location | Excavator | Minutes | Hole or Crack? | Area of hole or crack | Normal PSI |  | GPM | Gallons Lost During Break
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  | Total Gallons Lost Due to Excavation Breaks | [5 empty] | 0

## Repaired Line Breaks
Monthly Leak Repair Report | [6 empty] | Area Calculator
|  |  |  | diameter in inches |  |  | Insert the approximate dimensions of the hole or crack to determine the area of the break. Insert the area in the spreadsheet below.
Cawood Water |  |  | Hole= | 0.25
| (Water System) |  | Area= | 0.049063 | sq. in. | 0
480565
| (PWSID) |  |  | length (in) | width (in)
Month | 0 |  | Crack=
Year | 2019 |  | Area= | 0 | sq. in.
Date of Repair | Location of Leak or Line Break | Days Line Leaked? | Hole or Crack? | Area of hole or crack | Normal PSI |  | GPM | Calculated Loss for Month | Estimated Loss for Month
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
| Total Gallons Lost Due to Line Breaks | [5 empty] | 0

## DBP Maintenance
DBP Maintenance Flushing (Hydrants and Tanks)
Cawood Water |  | (name of Water System) |  |  |  |  | Month | 0
[7 empty] | Year | 2019
480565 |  | (PWSID)
[5 empty] | unit conversion factor |  |  | 29.83
|  | Formula: | GPM = 29.83 cd2√p |  | coefficient value |  |  | 0.95
Date | Indicate Water Storage Tank Name or Hydrant Location and/or Number |  | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated or Metered Flow
2019-08-05 |  |  | 9 | 4 | 20 | 4.4721 | 2027.738 | 18249.642
2019-08-10 |  |  | 12 | 4 | 20 | 4.4721 | 2027.738 | 24332.856
2019-08-15 |  |  | 12 | 4 | 20 | 4.4721 | 2027.738 | 24332.856
2019-08-20 |  |  | 15 | 4 | 20 | 4.4721 | 2027.738 | 30416.0699
2019-08-16 |  |  | 12 | 4 | 20 | 4.4721 | 2027.738 | 24332.856
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 121664.2798

## System Flushing
Monthly Hydrant Flushing Report (Flushing for other than DBP maintenance)
Cawood Water |  | (name of Water System) |  |  |  |  | Month | 0
[7 empty] | Year | 2019
480565 |  | (PWSID)
[5 empty] | unit conversion factor |  |  | 29.83
|  | Formula: | GPM = 29.83 cd2√p |  | coefficient value |  |  | 0.95
Date | Hydrant Location and/or Number | Reason Operated | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated Flow if Pitot not used
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 0

## Fire Department
Fire Department - Water Usage Report Form
KRS 278.170(3) 807 KAR 5:095 Section 9
Any city, county, urban-county, charter county, fire protection district, or volunteer fire protection district (“User”) may withdraw water from the utility’s water distribution system for the purpose of fighting fires or training firefighters at no charge on the condition that it maintains estimates of the amount of water used for fire protection and training during the calendar month and reports the amount of this water usage to the utility no later than the 15th day of the following calendar month.
Any city, county, urban-county, charter county, fire protection district, or volunteer fire protection district that withdraws water from the utility’s water distribution system for fire protection or training purposes and fails to submit the required report on water usage in a timely manner shall be assessed the cost of this water.
A non-reporting user’s usage shall be presumed to be 0.3 percent of the utility’s total water sales for the calendar month.
|  | (name of Fire Department) |  |  |  |  | Month
Year
(name of Water System)
[5 empty] | unit conversion factor |  |  | 29.83
[5 empty] | coefficient value |  |  | 0.95
Date | Hydrant Location and/or Number | Reason Operated | Total Minutes Operated | Nozzle size (typically 2.5 or 4.5) | Pitot Pressure |  | GPM | Gallons Flowed | Estimated Flow if Pitot not used
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
0
|  |  |  | Total Gallons for Month |  |  |  | 0

## Water Use Report
Monthly Water Use Report
Water Utility: |  | Cawood Water |  |  | PWSID: | 480565
For the Month of: |  | 0 |  |  | Year: | 2019
1 | PRODUCTION COST PER THOUSAND |  |  | (insert cost)
2 | PURCHASE COST PER THOUSAND |  |  | (insert cost)
GALLONS
WATER PRODUCED or PURCHASED
3 | Water Produced
4 | Water Purchased
5 | TOTAL PRODUCED AND PURCHASED |  |  |  |  | 0
6 | #VALUE! |  | TOTAL COST
WATER SOLD
7 | Residential
8 | Commercial
9 | Industrial
10 | Bulk Loading Stations
11 | Wholesale
12 | Other Sales (explain)
13 | TOTAL WATER SOLD |  |  |  |  | 0
14 | TOTAL WATER NOT SOLD |  |  |  |  | 0
BREAKDOWN OF WATER USAGE
15 | Water Treatment Plant
16 | Wastewater Treatment Plant
17 | System Flushing |  |  |  |  | 0
18 | Fire Department Usage |  |  |  |  | 0
19 | DBP Flushing |  | DBP Maintenance
20 | TOTAL USAGE |  |  |  |  | 0
21 | WATER LOSS PERCENTAGE FOR RATE PURPOSES
BREAKDOWN OF WATER LOST
22 | Tank Overflows (other than for DBP maintenance)
23 | Excavation Breaks |  |  |  |  | 0
24 | Repaired Line Breaks |  |  |  |  | 0
25 | Unknown Loss |  |  |  |  | 0
26 | TOTAL WATER NOT SOLD OR USED |  |  |  |  | 0
27 | COST OF WATER NOT SOLD OR USED
"UNKNOWN LOSS" FLOW RATE AND COST:
28 |  |  |  |  | "Unknown Loss" | 0
29 |  |  |  |  | % "Unknown Loss"
30 | (insert days of operation during month) |  |  |  | Number of Days in Period
31 |  |  |  |  | "Unknown Loss" per Day (Gallons per Day)
32 |  |  |  |  | "Unknown Loss" per Minute (GPM)
33 |  |  |  |  | "Unknown Loss" Cost for Month

## PSC Report Values
Monthly Water Use Report
Water Utility: |  | Cawood Water |  | PWSID: | 480565
For the Month of: |  | 0 |  | Year: | 2019
Line # |  |  | Item |  | Gallons
1 | Water Produced, Purchased and Distributed
2 | Water Produced |  |  |  | 0
3 | Water Purchased |  |  |  | 0
4 | Water Produced & Purchased |  |  |  | 0
5
6 | Water Sales
7 | Residential |  |  |  | 0
8 | Commercial |  |  |  | 0
9 | Industrial |  |  |  | 0
10 | Bulk Loading Stations |  |  |  | 0
11 | Wholesale |  |  |  | 0
12 | Other Sales (explain) |  | 0 |  | 0
13 | Total Water Sales |  |  |  | 0
14
15 | Other Water Used
16 | Utility and/or Water Treatment Plant |  |  |  | 0
17 | Wastewater Treatment Plant |  |  |  | 0
18 | System Flushing |  |  |  | 0
19 | Fire Department Usage |  |  |  | 0
20 | Other Usage (explain) |  | DBP Maintenance |  | 0
21 | Total Other Water Used |  |  |  | 0
22
23 | Water Loss
24 | Tank Overflows |  |  |  | 0
25 | Line Breaks |  |  |  | 0
26 | Line Leaks |  |  |  | 0
27 | Other
28 | Total Line Loss |  |  |  | 0 | #DIV/0!
29
30 | Note: Line 13 + Line 21 + Line 28 Must Equal Line 4
31
32 | Water Loss Percentage
33 | Unaccounted-For Water (Line 28 Divided by Line 4) |  |  |  | #DIV/0!

## Comments
Comments and Adjustments
Cawood Water |  | PWSID: | 480565
0 | 2019
In the areas below list any comments, adjustments, etc. to explain monthly water accountability entries.